## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate | NH4+ Permeability
0 | 5.4913e-06 | 0.036947 | 0.0019128 | 0.03916 | 8.8 | 19.0622 | 19.3774 | 18.8982 | 19.7565 | 5.3 | 4.3005 | 5.3278 | 0.0014078 | 7.6753e-05 | 0.015321 | 0.013977 | 0.00034432 | 1.7273e-05 | 0.010467 | 0.0024832 | 34.7924 | 0 | 1.735e-06
1 | 5.4855e-06 | 0.037301 | 0.0019339 | 0.039553 | 8.8 |  |  |  |  | 5.3039 | 4.2998 | 5.3321 | 0.0014213 | 7.6487e-05 | 0.015335 | 0.013974 | 0.00034762 | 1.0022e-05 | 0.010547 | 0.0025051 | 34.9458 | 0 | 1.7348e-06
2 | 5.4793e-06 | 0.037662 | 0.0019556 | 0.039953 | 8.8 |  |  |  |  | 5.3077 | 4.3018 | 5.3362 | 0.001435 | 7.7364e-05 | 0.015349 | 0.013975 | 0.00035107 | 1.0084e-05 | 0.010629 | 0.0025284 | 35.1057 | 0 | 1.7346e-06
3 | 5.473e-06 | 0.03803 | 0.0019778 | 0.040363 | 8.8 |  |  |  |  | 5.3116 | 4.3039 | 5.3403 | 0.001449 | 7.8245e-05 | 0.015363 | 0.013976 | 0.00035458 | 1.0144e-05 | 0.010713 | 0.0025521 | 35.2687 | 0 | 1.7344e-06
4 | 5.4666e-06 | 0.038405 | 0.0020005 | 0.04078 | 8.7999 |  |  |  |  | 5.3156 | 4.306 | 5.3445 | 0.0014633 | 7.9148e-05 | 0.015378 | 0.013977 | 0.00035817 | 1.0205e-05 | 0.010798 | 0.0025764 | 35.4345 | 0 | 1.7342e-06
5 | 5.46e-06 | 0.038788 | 0.0020237 | 0.041207 | 8.7999 |  |  |  |  | 5.3195 | 4.3081 | 5.3488 | 0.0014778 | 8.0071e-05 | 0.015392 | 0.013978 | 0.00036183 | 1.0267e-05 | 0.010885 | 0.0026011 | 35.6027 | 0 | 1.734e-06
6 | 5.4534e-06 | 0.03918 | 0.0020475 | 0.041642 | 8.7999 |  |  |  |  | 5.3235 | 4.3103 | 5.3531 | 0.0014927 | 8.1017e-05 | 0.015407 | 0.013979 | 0.00036557 | 1.0328e-05 | 0.010973 | 0.0026263 | 35.7733 | 0 | 1.7338e-06
7 | 5.4465e-06 | 0.039579 | 0.0020718 | 0.042087 | 8.7999 |  |  |  |  | 5.3276 | 4.3125 | 5.3574 | 0.0015079 | 8.1986e-05 | 0.015423 | 0.01398 | 0.00036939 | 1.0391e-05 | 0.011062 | 0.0026521 | 35.9465 | 0 | 1.7336e-06
8 | 5.4395e-06 | 0.039987 | 0.0020968 | 0.042542 | 8.7999 |  |  |  |  | 5.3317 | 4.3147 | 5.3618 | 0.0015234 | 8.2978e-05 | 0.015438 | 0.013981 | 0.00037329 | 1.0454e-05 | 0.011154 | 0.0026784 | 36.1221 | 0 | 1.7334e-06
9 | 5.4324e-06 | 0.040403 | 0.0021223 | 0.043007 | 8.7999 |  |  |  |  | 5.3358 | 4.3171 | 5.3662 | 0.0015392 | 8.3994e-05 | 0.015454 | 0.013982 | 0.00037728 | 1.0517e-05 | 0.011247 | 0.0027053 | 36.3002 | 0 | 1.7332e-06
10 | 5.4251e-06 | 0.040828 | 0.0021485 | 0.043482 | 8.7998 |  |  |  |  | 5.34 | 4.3194 | 5.3707 | 0.0015554 | 8.5036e-05 | 0.015471 | 0.013983 | 0.00038136 | 1.0582e-05 | 0.011342 | 0.0027327 | 36.481 | 0 | 1.733e-06
11 | 5.4177e-06 | 0.041263 | 0.0021754 | 0.043968 | 8.7998 |  |  |  |  | 5.3443 | 4.3219 | 5.3752 | 0.0015719 | 8.6104e-05 | 0.015487 | 0.013984 | 0.00038552 | 1.0646e-05 | 0.011439 | 0.0027608 | 36.6644 | 0 | 1.7328e-06
12 | 5.4101e-06 | 0.041707 | 0.0022029 | 0.044465 | 8.7998 |  |  |  |  | 5.3485 | 4.3243 | 5.3798 | 0.0015888 | 8.72e-05 | 0.015505 | 0.013985 | 0.00038978 | 1.0711e-05 | 0.011537 | 0.0027895 | 36.8505 | 0 | 1.7326e-06
13 | 5.4023e-06 | 0.042161 | 0.0022312 | 0.044974 | 8.7998 |  |  |  |  | 5.3529 | 4.3269 | 5.3844 | 0.001606 | 8.8323e-05 | 0.015522 | 0.013986 | 0.00039414 | 1.0777e-05 | 0.011638 | 0.0028189 | 37.0394 | 0 | 1.7324e-06
14 | 5.3943e-06 | 0.042625 | 0.0022602 | 0.045494 | 8.7998 |  |  |  |  | 5.3572 | 4.3295 | 5.3891 | 0.0016237 | 8.9476e-05 | 0.01554 | 0.013987 | 0.0003986 | 1.0843e-05 | 0.01174 | 0.0028489 | 37.2311 | 0 | 1.7321e-06
15 | 5.3862e-06 | 0.0431 | 0.0022899 | 0.046027 | 8.7998 |  |  |  |  | 5.3617 | 4.3321 | 5.3939 | 0.0016417 | 9.066e-05 | 0.015558 | 0.013988 | 0.00040316 | 1.091e-05 | 0.011845 | 0.0028796 | 37.4258 | 0 | 1.7319e-06
16 | 5.3778e-06 | 0.043586 | 0.0023205 | 0.046573 | 8.7998 |  |  |  |  | 5.3661 | 4.3348 | 5.3986 | 0.0016602 | 9.1876e-05 | 0.015577 | 0.01399 | 0.00040783 | 1.0977e-05 | 0.011952 | 0.002911 | 37.6235 | 0 | 1.7317e-06
17 | 5.3693e-06 | 0.044083 | 0.0023519 | 0.047132 | 8.7997 |  |  |  |  | 5.3707 | 4.3376 | 5.4035 | 0.0016791 | 9.3125e-05 | 0.015596 | 0.013991 | 0.00041261 | 1.1045e-05 | 0.012061 | 0.0029432 | 37.8243 | 0 | 1.7315e-06
18 | 5.3605e-06 | 0.044592 | 0.0023841 | 0.047704 | 8.7997 |  |  |  |  | 5.3752 | 4.3405 | 5.4084 | 0.0016984 | 9.4408e-05 | 0.015615 | 0.013992 | 0.00041751 | 1.1113e-05 | 0.012172 | 0.0029762 | 38.0282 | 0 | 1.7312e-06
19 | 5.3516e-06 | 0.045113 | 0.0024173 | 0.048291 | 8.7997 |  |  |  |  | 5.3799 | 4.3434 | 5.4134 | 0.0017182 | 9.5728e-05 | 0.015636 | 0.013993 | 0.00042253 | 1.1181e-05 | 0.012285 | 0.0030099 | 38.2354 | 0 | 1.731e-06
20 | 5.3424e-06 | 0.045647 | 0.0024514 | 0.048892 | 8.7997 |  |  |  |  | 5.3845 | 4.3463 | 5.4184 | 0.0017385 | 9.7084e-05 | 0.015656 | 0.013995 | 0.00042767 | 1.125e-05 | 0.012401 | 0.0030445 | 38.446 | 0 | 1.7308e-06
21 | 5.333e-06 | 0.046194 | 0.0024865 | 0.049509 | 8.7997 |  |  |  |  | 5.3893 | 4.3494 | 5.4235 | 0.0017593 | 9.848e-05 | 0.015677 | 0.013996 | 0.00043294 | 1.1319e-05 | 0.01252 | 0.00308 | 38.66 | 0 | 1.7305e-06
22 | 5.3233e-06 | 0.046754 | 0.0025226 | 0.050142 | 8.7997 |  |  |  |  | 5.3941 | 4.3525 | 5.4287 | 0.0017806 | 9.9917e-05 | 0.015699 | 0.013997 | 0.00043834 | 1.1389e-05 | 0.012641 | 0.0031164 | 38.8776 | 0 | 1.7303e-06
23 | 5.3134e-06 | 0.047329 | 0.0025598 | 0.050791 | 8.7996 |  |  |  |  | 5.3989 | 4.3558 | 5.4339 | 0.0018024 | 0.0001014 | 0.015721 | 0.013999 | 0.00044389 | 1.1458e-05 | 0.012764 | 0.0031537 | 39.0988 | 0 | 1.7301e-06
24 | 5.3033e-06 | 0.047918 | 0.0025981 | 0.051458 | 8.7996 |  |  |  |  | 5.4039 | 4.3591 | 5.4392 | 0.0018248 | 0.00010292 | 0.015743 | 0.014 | 0.00044958 | 1.1528e-05 | 0.012891 | 0.003192 | 39.3237 | 0 | 1.7298e-06
25 | 5.2929e-06 | 0.048522 | 0.0026376 | 0.052142 | 8.7996 |  |  |  |  | 5.4088 | 4.3624 | 5.4446 | 0.0018478 | 0.00010449 | 0.015767 | 0.014002 | 0.00045542 | 1.1599e-05 | 0.01302 | 0.0032313 | 39.5526 | 0 | 1.7296e-06
26 | 5.2822e-06 | 0.049142 | 0.0026783 | 0.052845 | 8.7996 |  |  |  |  | 5.4139 | 4.3659 | 5.4501 | 0.0018713 | 0.00010611 | 0.01579 | 0.014003 | 0.00046142 | 1.1669e-05 | 0.013152 | 0.0032717 | 39.7854 | 0 | 1.7293e-06
27 | 5.2712e-06 | 0.049778 | 0.0027203 | 0.053568 | 8.7996 |  |  |  |  | 5.419 | 4.3695 | 5.4556 | 0.0018955 | 0.00010778 | 0.015815 | 0.014005 | 0.00046758 | 1.174e-05 | 0.013288 | 0.0033131 | 40.0224 | 0 | 1.7291e-06
28 | 5.2599e-06 | 0.050432 | 0.0027636 | 0.05431 | 8.7996 |  |  |  |  | 5.4242 | 4.3731 | 5.4612 | 0.0019203 | 0.0001095 | 0.01584 | 0.014007 | 0.00047391 | 1.181e-05 | 0.013426 | 0.0033558 | 40.2636 | 0 | 1.7288e-06
29 | 5.2483e-06 | 0.051103 | 0.0028083 | 0.055074 | 8.7995 |  |  |  |  | 5.4294 | 4.3769 | 5.4669 | 0.0019458 | 0.00011128 | 0.015866 | 0.014008 | 0.00048042 | 1.1881e-05 | 0.013568 | 0.0033996 | 40.5092 | 0 | 1.7285e-06
30 | 5.2364e-06 | 0.051793 | 0.0028545 | 0.055859 | 8.7995 |  |  |  |  | 5.4347 | 4.3807 | 5.4726 | 0.001972 | 0.00011312 | 0.015892 | 0.01401 | 0.00048711 | 1.1952e-05 | 0.013713 | 0.0034447 | 40.7594 | 0 | 1.7283e-06
31 | 5.2241e-06 | 0.052503 | 0.0029023 | 0.056668 | 8.7995 |  |  |  |  | 5.4401 | 4.3847 | 5.4785 | 0.001999 | 0.00011501 | 0.01592 | 0.014012 | 0.000494 | 1.2022e-05 | 0.013862 | 0.0034911 | 41.0142 | 0 | 1.728e-06
32 | 5.2115e-06 | 0.053232 | 0.0029517 | 0.0575 | 8.7995 |  |  |  |  | 5.4456 | 4.3888 | 5.4844 | 0.0020267 | 0.00011698 | 0.015948 | 0.014014 | 0.00050108 | 1.2092e-05 | 0.014015 | 0.0035388 | 41.2738 | 0 | 1.7277e-06
33 | 5.1985e-06 | 0.053982 | 0.0030028 | 0.058357 | 8.7995 |  |  |  |  | 5.4511 | 4.393 | 5.4904 | 0.0020552 | 0.00011901 | 0.015977 | 0.014015 | 0.00050838 | 1.2162e-05 | 0.014171 | 0.0035881 | 41.5385 | 0 | 1.7274e-06
34 | 5.1852e-06 | 0.054755 | 0.0030557 | 0.059241 | 8.7994 |  |  |  |  | 5.4567 | 4.3973 | 5.4965 | 0.0020845 | 0.00012111 | 0.016006 | 0.014017 | 0.0005159 | 1.2231e-05 | 0.014331 | 0.0036388 | 41.8083 | 0 | 1.7272e-06
35 | 5.1714e-06 | 0.05555 | 0.0031105 | 0.060151 | 8.7994 |  |  |  |  | 5.4624 | 4.4017 | 5.5027 | 0.0021147 | 0.00012329 | 0.016037 | 0.014019 | 0.00052365 | 1.23e-05 | 0.014496 | 0.0036911 | 42.0835 | 0 | 1.7269e-06
36 | 5.1572e-06 | 0.05637 | 0.0031673 | 0.061091 | 8.7994 |  |  |  |  | 5.4682 | 4.4063 | 5.509 | 0.0021459 | 0.00012555 | 0.016069 | 0.014021 | 0.00053164 | 1.2368e-05 | 0.014665 | 0.003745 | 42.3643 | 0 | 1.7266e-06
37 | 5.1426e-06 | 0.057214 | 0.0032262 | 0.06206 | 8.7994 |  |  |  |  | 5.4741 | 4.411 | 5.5154 | 0.0021779 | 0.00012789 | 0.016101 | 0.014024 | 0.00053988 | 1.2436e-05 | 0.014838 | 0.0038007 | 42.6508 | 0 | 1.7263e-06
38 | 5.1275e-06 | 0.058085 | 0.0032874 | 0.06306 | 8.7994 |  |  |  |  | 5.48 | 4.4159 | 5.5219 | 0.002211 | 0.00013032 | 0.016135 | 0.014026 | 0.00054839 | 1.2502e-05 | 0.015016 | 0.0038582 | 42.9432 | 0 | 1.726e-06
39 | 5.1119e-06 | 0.058983 | 0.0033509 | 0.064094 | 8.7994 |  |  |  |  | 5.4861 | 4.4209 | 5.5285 | 0.0022451 | 0.00013284 | 0.016169 | 0.014028 | 0.00055717 | 1.2567e-05 | 0.015199 | 0.0039176 | 43.2419 | 0 | 1.7257e-06
40 | 5.0958e-06 | 0.05991 | 0.0034169 | 0.065162 | 8.7993 |  |  |  |  | 5.4922 | 4.426 | 5.5352 | 0.0022803 | 0.00013546 | 0.016205 | 0.01403 | 0.00056625 | 1.2631e-05 | 0.015387 | 0.0039791 | 43.547 | 0 | 1.7254e-06
41 | 5.0792e-06 | 0.060868 | 0.0034856 | 0.066266 | 8.7993 |  |  |  |  | 5.4984 | 4.4313 | 5.542 | 0.0023167 | 0.00013819 | 0.016242 | 0.014033 | 0.00057563 | 1.2693e-05 | 0.01558 | 0.0040426 | 43.8588 | 0 | 1.7251e-06
42 | 5.062e-06 | 0.061857 | 0.0035571 | 0.067409 | 8.7993 |  |  |  |  | 5.5048 | 4.4368 | 5.549 | 0.0023542 | 0.00014103 | 0.01628 | 0.014035 | 0.00058534 | 1.2754e-05 | 0.015779 | 0.0041084 | 44.1775 | 0 | 1.7248e-06
43 | 5.0442e-06 | 0.06288 | 0.0036316 | 0.068591 | 8.7993 |  |  |  |  | 5.5112 | 4.4425 | 5.556 | 0.002393 | 0.00014398 | 0.016319 | 0.014038 | 0.00059539 | 1.2812e-05 | 0.015984 | 0.0041766 | 44.5034 | 0 | 1.7244e-06
44 | 5.0259e-06 | 0.063938 | 0.0037093 | 0.069816 | 8.7993 |  |  |  |  | 5.5178 | 4.4483 | 5.5632 | 0.0024332 | 0.00014706 | 0.01636 | 0.014041 | 0.00060579 | 1.2868e-05 | 0.016195 | 0.0042473 | 44.8369 | 0 | 1.7241e-06
45 | 5.0068e-06 | 0.065033 | 0.0037903 | 0.071086 | 8.7992 |  |  |  |  | 5.5244 | 4.4544 | 5.5705 | 0.0024748 | 0.00015028 | 0.016402 | 0.014043 | 0.00061657 | 1.2921e-05 | 0.016412 | 0.0043207 | 45.1782 | 0 | 1.7238e-06
46 | 5.7186e-06 | 0.066167 | 0.0032865 | 0.069932 | 9.8092 |  |  |  |  | 5.5312 | 4.4198 | 5.5626 | 0.0025178 | 0.0001323 | 0.016446 | 0.014032 | 0.00062775 | 1.7993e-05 | 0.016636 | 0.0039067 | 45.3816 | 0 | 1.7234e-06
47 | 5.6989e-06 | 0.067354 | 0.0033588 | 0.071237 | 9.8092 |  |  |  |  | 5.5381 | 4.4261 | 5.5699 | 0.0025628 | 0.00013553 | 0.016491 | 0.014036 | 0.00063925 | 1.9554e-05 | 0.016876 | 0.0039766 | 45.5969 | 0 | 1.7231e-06
48 | 5.6784e-06 | 0.068584 | 0.0034344 | 0.072591 | 9.8092 |  |  |  |  | 5.5452 | 4.4321 | 5.5775 | 0.0026095 | 0.0001386 | 0.016538 | 0.014039 | 0.00065117 | 1.9847e-05 | 0.017124 | 0.0040491 | 45.8241 | 0 | 1.7227e-06
49 | 5.6572e-06 | 0.069862 | 0.0035135 | 0.073998 | 9.8092 |  |  |  |  | 5.5524 | 4.4383 | 5.5852 | 0.002658 | 0.00014182 | 0.016587 | 0.014042 | 0.00066355 | 2.015e-05 | 0.017381 | 0.0041244 | 46.0634 | 0 | 1.7224e-06
50 | 5.6352e-06 | 0.071189 | 0.0035963 | 0.075462 | 9.8092 |  |  |  |  | 5.5597 | 4.4447 | 5.5931 | 0.0027083 | 0.00014519 | 0.016638 | 0.014045 | 0.00067642 | 2.0463e-05 | 0.017646 | 0.0042029 | 46.3148 | 0 | 1.722e-06
51 | 5.6117e-06 | 0.072568 | 0.0036835 | 0.076984 | 9.8085 |  |  |  |  | 5.5672 | 4.4514 | 5.6011 | 0.0027606 | 0.00014873 | 0.016691 | 0.014049 | 0.0006898 | 2.0789e-05 | 0.01792 | 0.0042849 | 46.5787 | 0 | 1.7216e-06
52 | 5.5879e-06 | 0.074003 | 0.0037746 | 0.07857 | 9.8084 |  |  |  |  | 5.5748 | 4.4583 | 5.6093 | 0.002815 | 0.00015244 | 0.016746 | 0.014052 | 0.00070374 | 2.1123e-05 | 0.018204 | 0.0043702 | 46.8551 | 0 | 1.7213e-06
53 | 5.563e-06 | 0.075498 | 0.0038704 | 0.080222 | 9.8084 |  |  |  |  | 5.5825 | 4.4655 | 5.6176 | 0.0028716 | 0.00015633 | 0.016804 | 0.014056 | 0.00071827 | 2.1469e-05 | 0.018499 | 0.0044593 | 47.1445 | 0 | 1.7209e-06
54 | 5.5372e-06 | 0.077055 | 0.0039712 | 0.081947 | 9.8084 |  |  |  |  | 5.5905 | 4.4729 | 5.6261 | 0.0029307 | 0.00016043 | 0.016863 | 0.01406 | 0.00073341 | 2.1828e-05 | 0.018804 | 0.0045525 | 47.447 | 0 | 1.7205e-06
55 | 5.5102e-06 | 0.078679 | 0.0040773 | 0.083747 | 9.8084 |  |  |  |  | 5.5985 | 4.4807 | 5.6348 | 0.0029922 | 0.00016474 | 0.016926 | 0.014064 | 0.00074923 | 2.22e-05 | 0.019121 | 0.00465 | 47.7632 | 0 | 1.7201e-06
56 | 5.482e-06 | 0.080374 | 0.0041893 | 0.085628 | 9.8084 |  |  |  |  | 5.6068 | 4.4888 | 5.6437 | 0.0030565 | 0.00016928 | 0.016991 | 0.014068 | 0.00076575 | 2.2586e-05 | 0.019449 | 0.0047521 | 48.0933 | 0 | 1.7197e-06
57 | 5.4526e-06 | 0.082146 | 0.0043076 | 0.087596 | 9.8083 |  |  |  |  | 5.6152 | 4.4971 | 5.6528 | 0.0031236 | 0.00017409 | 0.017059 | 0.014072 | 0.00078303 | 2.2986e-05 | 0.019791 | 0.0048592 | 48.438 | 0 | 1.7192e-06
58 | 5.4218e-06 | 0.083999 | 0.0044327 | 0.089658 | 9.8083 |  |  |  |  | 5.6238 | 4.5059 | 5.6621 | 0.0031939 | 0.00017916 | 0.01713 | 0.014077 | 0.00080113 | 2.3402e-05 | 0.020147 | 0.0049718 | 48.7977 | 0 | 1.7188e-06
59 | 5.3896e-06 | 0.08594 | 0.0045653 | 0.091818 | 9.8083 |  |  |  |  | 5.6325 | 4.515 | 5.6716 | 0.0032674 | 0.00018454 | 0.017204 | 0.014082 | 0.0008201 | 2.3835e-05 | 0.020517 | 0.0050901 | 49.173 | 0 | 1.7184e-06
60 | 5.3558e-06 | 0.087974 | 0.0047061 | 0.094086 | 9.8083 |  |  |  |  | 5.6415 | 4.5245 | 5.6814 | 0.0033445 | 0.00019025 | 0.017282 | 0.014087 | 0.00084 | 2.4286e-05 | 0.020903 | 0.0052148 | 49.5646 | 0 | 1.7179e-06
61 | 5.3204e-06 | 0.090109 | 0.0048557 | 0.096468 | 9.8083 |  |  |  |  | 5.6507 | 4.5344 | 5.6914 | 0.0034254 | 0.00019631 | 0.017364 | 0.014093 | 0.00086092 | 2.4756e-05 | 0.021305 | 0.0053463 | 49.9734 | 0 | 1.7175e-06
62 | 5.2832e-06 | 0.092353 | 0.0050152 | 0.098974 | 9.8082 |  |  |  |  | 5.6601 | 4.5448 | 5.7016 | 0.0035103 | 0.00020276 | 0.01745 | 0.014099 | 0.00088292 | 2.5246e-05 | 0.021725 | 0.0054852 | 50.4 | 0 | 1.717e-06
63 | 5.2441e-06 | 0.094713 | 0.0051854 | 0.10161 | 9.8082 |  |  |  |  | 5.6697 | 4.5556 | 5.7121 | 0.0035997 | 0.00020964 | 0.017541 | 0.014105 | 0.00090611 | 2.5759e-05 | 0.022164 | 0.0056322 | 50.8456 | 0 | 1.7165e-06
64 | 5.203e-06 | 0.0972 | 0.0053674 | 0.1044 | 9.8082 |  |  |  |  | 5.6796 | 4.5669 | 5.7229 | 0.0036939 | 0.000217 | 0.017636 | 0.014112 | 0.00093056 | 2.6295e-05 | 0.022623 | 0.005788 | 51.311 | 0 | 1.716e-06
65 | 5.1596e-06 | 0.099824 | 0.0055626 | 0.10734 | 9.8082 |  |  |  |  | 5.6897 | 4.5788 | 5.7339 | 0.0037932 | 0.00022489 | 0.017737 | 0.014119 | 0.0009564 | 2.6858e-05 | 0.023104 | 0.0059536 | 51.7974 | 0 | 1.7155e-06
66 | 5.1137e-06 | 0.1026 | 0.0057723 | 0.11045 | 9.8081 |  |  |  |  | 5.7 | 4.5912 | 5.7453 | 0.0038982 | 0.00023335 | 0.017843 | 0.014127 | 0.00098373 | 2.7448e-05 | 0.023608 | 0.0061298 | 52.3061 | 0 | 1.715e-06
67 | 5.0653e-06 | 0.10553 | 0.0059984 | 0.11374 | 9.8081 |  |  |  |  | 5.7107 | 4.6043 | 5.757 | 0.0040092 | 0.00024246 | 0.017956 | 0.014135 | 0.0010127 | 2.807e-05 | 0.024138 | 0.0063177 | 52.8387 | 0 | 1.7145e-06
68 | 5.0141e-06 | 0.10864 | 0.0062425 | 0.11724 | 9.8081 |  |  |  |  | 5.7216 | 4.618 | 5.769 | 0.0041269 | 0.0002523 | 0.018075 | 0.014144 | 0.0010435 | 2.8725e-05 | 0.024695 | 0.0065185 | 53.3965 | 0 | 1.7139e-06
69 | 4.9597e-06 | 0.11194 | 0.0065071 | 0.12095 | 9.8081 |  |  |  |  | 5.7328 | 4.6324 | 5.7814 | 0.0042519 | 0.00026294 | 0.018202 | 0.014153 | 0.0010762 | 2.9417e-05 | 0.025281 | 0.0067338 | 53.9815 | 0 | 1.7134e-06
70 | 4.902e-06 | 0.11546 | 0.0067948 | 0.12491 | 9.808 |  |  |  |  | 5.7444 | 4.6476 | 5.7942 | 0.0043849 | 0.0002745 | 0.018337 | 0.014164 | 0.0011111 | 3.0151e-05 | 0.025899 | 0.0069651 | 54.5957 | 0 | 1.7128e-06
71 | 5.9095e-06 | 0.11921 | 0.0057375 | 0.12597 | 11.308 |  |  |  |  | 5.7563 | 4.5958 | 5.7954 | 0.0045266 | 0.0002366 | 0.018481 | 0.014141 | 0.0011484 | 3.251e-05 | 0.026552 | 0.0061462 | 55.0334 | 0 | 1.7122e-06
72 | 5.8442e-06 | 0.12326 | 0.0060022 | 0.13039 | 11.308 |  |  |  |  | 5.7687 | 4.6122 | 5.8085 | 0.0046799 | 0.00024834 | 0.018636 | 0.014158 | 0.0011882 | 3.6183e-05 | 0.027281 | 0.006374 | 55.5029 | 0 | 1.7116e-06
73 | 5.7743e-06 | 0.1276 | 0.0062922 | 0.13513 | 11.308 |  |  |  |  | 5.7815 | 4.6286 | 5.8224 | 0.004844 | 0.00026029 | 0.018802 | 0.014169 | 0.0012309 | 3.7448e-05 | 0.028055 | 0.0066202 | 56.0063 | 0 | 1.7109e-06
74 | 5.6994e-06 | 0.13227 | 0.0066114 | 0.14023 | 11.308 |  |  |  |  | 5.7948 | 4.6459 | 5.8369 | 0.0050203 | 0.00027343 | 0.01898 | 0.014182 | 0.0012768 | 3.8818e-05 | 0.02888 | 0.0068878 | 56.5463 | 0 | 1.7103e-06
75 | 5.6181e-06 | 0.13729 | 0.0069651 | 0.14573 | 11.3069 |  |  |  |  | 5.8084 | 4.6643 | 5.8519 | 0.0052102 | 0.00028796 | 0.019172 | 0.014197 | 0.0013263 | 4.0312e-05 | 0.02976 | 0.0071807 | 57.1261 | 0 | 1.7096e-06
76 | 5.5313e-06 | 0.14272 | 0.0073573 | 0.15167 | 11.3069 |  |  |  |  | 5.8226 | 4.684 | 5.8674 | 0.0054152 | 0.00030403 | 0.019379 | 0.014212 | 0.0013799 | 4.1934e-05 | 0.0307 | 0.0075012 | 57.7491 | 0 | 1.7089e-06
77 | 5.4375e-06 | 0.14861 | 0.0077955 | 0.15811 | 11.3069 |  |  |  |  | 5.8373 | 4.7049 | 5.8835 | 0.0056375 | 0.00032194 | 0.019604 | 0.01423 | 0.0014381 | 4.3714e-05 | 0.031709 | 0.0078541 | 58.4196 | 0 | 1.7081e-06
78 | 5.3359e-06 | 0.15501 | 0.0082882 | 0.16511 | 11.3069 |  |  |  |  | 5.8525 | 4.7273 | 5.9003 | 0.0058791 | 0.00034202 | 0.019848 | 0.01425 | 0.0015015 | 4.5679e-05 | 0.032793 | 0.008245 | 59.1424 | 0 | 1.7074e-06
79 | 5.2255e-06 | 0.162 | 0.008846 | 0.17276 | 11.3068 |  |  |  |  | 5.8683 | 4.7513 | 5.9178 | 0.0061428 | 0.00036469 | 0.020115 | 0.014272 | 0.0015708 | 4.7861e-05 | 0.033962 | 0.0086802 | 59.9233 | 0 | 1.7066e-06
80 | 5.1051e-06 | 0.16965 | 0.0094823 | 0.18114 | 11.3068 |  |  |  |  | 5.8847 | 4.7771 | 5.9361 | 0.0064317 | 0.00039046 | 0.020407 | 0.014298 | 0.0016469 | 5.0303e-05 | 0.035226 | 0.0091679 | 60.7693 | 0 | 1.7058e-06
81 | 4.9734e-06 | 0.17808 | 0.010215 | 0.19036 | 11.3068 |  |  |  |  | 5.9018 | 4.8049 | 5.9552 | 0.0067496 | 0.00042001 | 0.020729 | 0.014327 | 0.001731 | 5.3063e-05 | 0.036598 | 0.0097182 | 61.6888 | 0 | 1.7049e-06
82 | 4.8288e-06 | 0.18741 | 0.011066 | 0.20055 | 11.3067 |  |  |  |  | 5.9197 | 4.8351 | 5.9752 | 0.0071013 | 0.0004542 | 0.021084 | 0.014361 | 0.0018242 | 5.6215e-05 | 0.038091 | 0.010344 | 62.6917 | 0 | 1.704e-06
83 | 4.6694e-06 | 0.19778 | 0.012066 | 0.21186 | 11.3067 |  |  |  |  | 5.9384 | 4.8679 | 5.9962 | 0.0074923 | 0.00049421 | 0.02148 | 0.014401 | 0.0019282 | 5.9859e-05 | 0.039723 | 0.011063 | 63.7906 | 0 | 1.7031e-06
84 | 4.4931e-06 | 0.20939 | 0.013257 | 0.22448 | 11.3067 |  |  |  |  | 5.9522 | 4.9037 | 6.0182 | 0.0079297 | 0.00054143 | 0.021922 | 0.014447 | 0.002045 | 6.4139e-05 | 0.041515 | 0.011895 | 65.0008 | 1.927e-05 | 1.7024e-06
85 | 4.2973e-06 | 0.22247 | 0.014697 | 0.23865 | 11.3066 |  |  |  |  | 5.9508 | 4.9429 | 6.0411 | 0.0084222 | 0.00059763 | 0.02242 | 0.014495 | 0.002177 | 6.9267e-05 | 0.043489 | 0.012865 | 66.3409 | 9.7226e-05 | 1.7025e-06
86 | 7.5448e-06 | 0.23731 | 0.0092226 | 0.25597 | 16.5066 |  |  |  |  | 5.949 | 4.7848 | 6.0668 | 0.0089811 | 0.00039683 | 0.022986 | 0.014278 | 0.0023276 | 4.1085e-05 | 0.045677 | 0.00888 | 67.0085 | 0.00018609 | 1.7025e-06
87 | 7.2607e-06 | 0.25485 | 0.010297 | 0.27542 | 16.5053 |  |  |  |  | 5.9476 | 4.8293 | 6.0887 | 0.0096414 | 0.00044776 | 0.023656 | 0.014394 | 0.0025034 | 5.6281e-05 | 0.048507 | 0.0097435 | 67.7983 | 0.00028917 | 1.7026e-06
88 | 6.9348e-06 | 0.27523 | 0.011643 | 0.29796 | 16.5053 |  |  |  |  | 5.946 | 4.8744 | 6.1172 | 0.010408 | 0.00050282 | 0.024428 | 0.014446 | 0.0027074 | 6.1422e-05 | 0.051738 | 0.01079 | 68.7352 | 0.000409 | 1.7027e-06
89 | 6.5566e-06 | 0.29919 | 0.013375 | 0.32436 | 16.5052 |  |  |  |  | 5.9442 | 4.9255 | 6.1476 | 0.011308 | 0.0005728 | 0.025336 | 0.014516 | 0.0029479 | 6.7874e-05 | 0.05546 | 0.012097 | 69.8548 | 0.00054994 | 1.7028e-06
90 | 6.1137e-06 | 0.32778 | 0.015681 | 0.35563 | 16.5052 |  |  |  |  | 5.9421 | 4.984 | 6.1802 | 0.012382 | 0.00066441 | 0.026418 | 0.014613 | 0.0032359 | 7.6254e-05 | 0.059796 | 0.013775 | 71.2081 | 0.00071804 | 1.7029e-06
91 | 5.5905e-06 | 0.36245 | 0.018882 | 0.3932 | 16.5051 |  |  |  |  | 5.9396 | 5.0521 | 6.215 | 0.013683 | 0.00078926 | 0.027729 | 0.014754 | 0.003587 | 8.77e-05 | 0.06491 | 0.016002 | 72.8711 | 0.00092198 | 1.703e-06
92 | 4.9674e-06 | 0.4054 | 0.023585 | 0.43903 | 16.5051 |  |  |  |  | 5.9366 | 5.1329 | 6.2523 | 0.015295 | 0.00096878 | 0.029351 | 0.014971 | 0.0040244 | 0.00010444 | 0.071023 | 0.019087 | 74.9632 | 0.0011745 | 1.7032e-06
93 | 4.2217e-06 | 0.45994 | 0.031053 | 0.49594 | 16.5028 |  |  |  |  | 5.9329 | 5.2316 | 6.2918 | 0.017342 | 0.0012469 | 0.031405 | 0.015328 | 0.0045844 | 0.00013137 | 0.078443 | 0.023605 | 77.6841 | 0.0014954 | 1.7034e-06
94 | 3.3409e-06 | 0.53142 | 0.044236 | 0.5683 | 16.5026 |  |  |  |  | 5.9282 | 5.3562 | 6.3327 | 0.020024 | 0.0017239 | 0.034085 | 0.015967 | 0.0053266 | 0.00018048 | 0.087582 | 0.030674 | 81.3903 | 0.0019163 | 1.7036e-06