## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate | NH4+ Permeability
0 | 7.4654e-06 | 0.036947 | 0.0016201 | 0.040015 | 8.8 | 25.8486 | 26.1476 | 25.2234 | 25.5981 | 5.5 | 4.3665 | 5.536 | 0.0021252 | 9.7441e-05 | 0.015321 | 0.013284 | 0.00034432 | 1.4413e-05 | 0.010467 | 0.0020541 | 28.7796 | 0 | 1.725e-06
1 | 7.4567e-06 | 0.037304 | 0.0016385 | 0.040426 | 8.8 |  |  |  |  | 5.5039 | 4.3665 | 5.5409 | 0.0021457 | 9.7398e-05 | 0.015342 | 0.013279 | 0.00034765 | 7.6657e-06 | 0.010552 | 0.0020726 | 28.9094 | 0 | 1.7248e-06
2 | 7.4479e-06 | 0.037668 | 0.0016574 | 0.040845 | 8.8 |  |  |  |  | 5.5078 | 4.3691 | 5.5451 | 0.0021666 | 9.8545e-05 | 0.015363 | 0.01328 | 0.00035112 | 7.7065e-06 | 0.010638 | 0.0020926 | 29.0459 | 0 | 1.7246e-06
3 | 7.4388e-06 | 0.038039 | 0.0016768 | 0.041273 | 8.8 |  |  |  |  | 5.5118 | 4.3717 | 5.5494 | 0.0021879 | 9.9705e-05 | 0.015385 | 0.013281 | 0.00035466 | 7.7439e-06 | 0.010726 | 0.0021129 | 29.1855 | 0 | 1.7244e-06
4 | 7.4295e-06 | 0.038418 | 0.0016966 | 0.041711 | 8.7999 |  |  |  |  | 5.5157 | 4.3743 | 5.5537 | 0.0022096 | 0.00010089 | 0.015406 | 0.013282 | 0.00035827 | 7.7814e-06 | 0.010816 | 0.0021337 | 29.3276 | 0 | 1.7242e-06
5 | 7.42e-06 | 0.038804 | 0.0017168 | 0.042158 | 8.7999 |  |  |  |  | 5.5198 | 4.377 | 5.558 | 0.0022318 | 0.00010211 | 0.015429 | 0.013283 | 0.00036196 | 7.8189e-06 | 0.010907 | 0.002155 | 29.4719 | 0 | 1.724e-06
6 | 7.4104e-06 | 0.039199 | 0.0017376 | 0.042614 | 8.7999 |  |  |  |  | 5.5238 | 4.3798 | 5.5625 | 0.0022545 | 0.00010335 | 0.015452 | 0.013284 | 0.00036573 | 7.8564e-06 | 0.011001 | 0.0021767 | 29.6184 | 0 | 1.7238e-06
7 | 7.4005e-06 | 0.039602 | 0.0017589 | 0.043081 | 8.7999 |  |  |  |  | 5.5279 | 4.3826 | 5.5669 | 0.0022776 | 0.00010463 | 0.015475 | 0.013286 | 0.00036958 | 7.8939e-06 | 0.011095 | 0.0021989 | 29.7672 | 0 | 1.7236e-06
8 | 7.3904e-06 | 0.040013 | 0.0017807 | 0.043558 | 8.7999 |  |  |  |  | 5.5321 | 4.3855 | 5.5714 | 0.0023012 | 0.00010593 | 0.015499 | 0.013287 | 0.00037351 | 7.9314e-06 | 0.011192 | 0.0022215 | 29.9182 | 0 | 1.7234e-06
9 | 7.3801e-06 | 0.040433 | 0.001803 | 0.044046 | 8.7999 |  |  |  |  | 5.5363 | 4.3885 | 5.5759 | 0.0023254 | 0.00010727 | 0.015523 | 0.013288 | 0.00037753 | 7.9688e-06 | 0.011291 | 0.0022447 | 30.0714 | 0 | 1.7232e-06
10 | 7.3696e-06 | 0.040862 | 0.0018259 | 0.044545 | 8.7998 |  |  |  |  | 5.5405 | 4.3915 | 5.5805 | 0.00235 | 0.00010865 | 0.015548 | 0.01329 | 0.00038163 | 8.0061e-06 | 0.011391 | 0.0022684 | 30.227 | 0 | 1.723e-06
11 | 7.3588e-06 | 0.041301 | 0.0018495 | 0.045055 | 8.7998 |  |  |  |  | 5.5448 | 4.3946 | 5.5852 | 0.0023752 | 0.00011006 | 0.015573 | 0.013291 | 0.00038583 | 8.0432e-06 | 0.011494 | 0.0022927 | 30.385 | 0 | 1.7228e-06
12 | 7.3477e-06 | 0.041749 | 0.0018736 | 0.045577 | 8.7998 |  |  |  |  | 5.5491 | 4.3977 | 5.5899 | 0.0024009 | 0.0001115 | 0.015599 | 0.013292 | 0.00039013 | 8.0802e-06 | 0.011598 | 0.0023175 | 30.5455 | 0 | 1.7225e-06
13 | 7.3365e-06 | 0.042207 | 0.0018983 | 0.046111 | 8.7998 |  |  |  |  | 5.5535 | 4.4009 | 5.5946 | 0.0024272 | 0.00011299 | 0.015626 | 0.013294 | 0.00039452 | 8.117e-06 | 0.011705 | 0.0023429 | 30.7084 | 0 | 1.7223e-06
14 | 7.3249e-06 | 0.042676 | 0.0019238 | 0.046659 | 8.7998 |  |  |  |  | 5.5579 | 4.4042 | 5.5995 | 0.0024541 | 0.00011451 | 0.015653 | 0.013295 | 0.00039901 | 8.1536e-06 | 0.011814 | 0.0023689 | 30.8739 | 0 | 1.7221e-06
15 | 7.3131e-06 | 0.043156 | 0.0019499 | 0.047219 | 8.7998 |  |  |  |  | 5.5624 | 4.4075 | 5.6043 | 0.0024817 | 0.00011608 | 0.015681 | 0.013296 | 0.00040361 | 8.1899e-06 | 0.011925 | 0.0023956 | 31.042 | 0 | 1.7219e-06
16 | 7.301e-06 | 0.043646 | 0.0019767 | 0.047793 | 8.7998 |  |  |  |  | 5.5669 | 4.411 | 5.6093 | 0.0025098 | 0.00011768 | 0.015709 | 0.013298 | 0.00040832 | 8.2259e-06 | 0.012038 | 0.0024228 | 31.2129 | 0 | 1.7217e-06
17 | 7.2886e-06 | 0.044148 | 0.0020043 | 0.048381 | 8.7997 |  |  |  |  | 5.5714 | 4.4145 | 5.6142 | 0.0025387 | 0.00011934 | 0.015738 | 0.0133 | 0.00041314 | 8.2614e-06 | 0.012154 | 0.0024508 | 31.3865 | 0 | 1.7214e-06
18 | 7.2759e-06 | 0.044662 | 0.0020327 | 0.048984 | 8.7997 |  |  |  |  | 5.5761 | 4.4181 | 5.6193 | 0.0025682 | 0.00012104 | 0.015768 | 0.013301 | 0.00041807 | 8.2966e-06 | 0.012273 | 0.0024795 | 31.563 | 0 | 1.7212e-06
19 | 7.2629e-06 | 0.045188 | 0.0020618 | 0.049601 | 8.7997 |  |  |  |  | 5.5807 | 4.4217 | 5.6244 | 0.0025984 | 0.00012279 | 0.015798 | 0.013303 | 0.00042313 | 8.3312e-06 | 0.012394 | 0.0025089 | 31.7425 | 0 | 1.721e-06
20 | 7.2496e-06 | 0.045728 | 0.0020919 | 0.050235 | 8.7997 |  |  |  |  | 5.5855 | 4.4255 | 5.6296 | 0.0026293 | 0.00012459 | 0.015829 | 0.013304 | 0.00042832 | 8.3653e-06 | 0.012517 | 0.002539 | 31.925 | 0 | 1.7207e-06
21 | 7.2359e-06 | 0.04628 | 0.0021228 | 0.050885 | 8.7997 |  |  |  |  | 5.5903 | 4.4293 | 5.6348 | 0.002661 | 0.00012644 | 0.015861 | 0.013306 | 0.00043363 | 8.3988e-06 | 0.012643 | 0.00257 | 32.1106 | 0 | 1.7205e-06
22 | 7.2219e-06 | 0.046846 | 0.0021546 | 0.051552 | 8.7997 |  |  |  |  | 5.5951 | 4.4333 | 5.6401 | 0.0026935 | 0.00012835 | 0.015894 | 0.013308 | 0.00043908 | 8.4316e-06 | 0.012773 | 0.0026018 | 32.2994 | 0 | 1.7202e-06
23 | 7.2075e-06 | 0.047426 | 0.0021874 | 0.052237 | 8.7996 |  |  |  |  | 5.6 | 4.4373 | 5.6455 | 0.0027268 | 0.00013031 | 0.015928 | 0.01331 | 0.00044468 | 8.4635e-06 | 0.012905 | 0.0026344 | 32.4915 | 0 | 1.72e-06
24 | 7.1927e-06 | 0.048022 | 0.0022212 | 0.052941 | 8.7996 |  |  |  |  | 5.605 | 4.4414 | 5.6509 | 0.002761 | 0.00013234 | 0.015962 | 0.013311 | 0.00045042 | 8.4946e-06 | 0.01304 | 0.0026679 | 32.6871 | 0 | 1.7198e-06
25 | 7.1776e-06 | 0.048632 | 0.0022561 | 0.053663 | 8.7996 |  |  |  |  | 5.61 | 4.4456 | 5.6565 | 0.002796 | 0.00013443 | 0.015997 | 0.013313 | 0.00045631 | 8.5247e-06 | 0.013178 | 0.0027024 | 32.8862 | 0 | 1.7195e-06
26 | 7.162e-06 | 0.049259 | 0.0022921 | 0.054405 | 8.7996 |  |  |  |  | 5.6151 | 4.45 | 5.662 | 0.002832 | 0.00013658 | 0.016034 | 0.013315 | 0.00046236 | 8.5538e-06 | 0.01332 | 0.0027378 | 33.0889 | 0 | 1.7192e-06
27 | 7.146e-06 | 0.049902 | 0.0023292 | 0.055169 | 8.7996 |  |  |  |  | 5.6203 | 4.4544 | 5.6677 | 0.0028689 | 0.00013881 | 0.016071 | 0.013317 | 0.00046858 | 8.5817e-06 | 0.013465 | 0.0027743 | 33.2954 | 0 | 1.719e-06
28 | 7.1295e-06 | 0.050563 | 0.0023676 | 0.055953 | 8.7996 |  |  |  |  | 5.6255 | 4.459 | 5.6735 | 0.0029069 | 0.00014111 | 0.016109 | 0.013319 | 0.00047497 | 8.6082e-06 | 0.013613 | 0.0028118 | 33.5058 | 0 | 1.7187e-06
29 | 7.1126e-06 | 0.051242 | 0.0024072 | 0.056761 | 8.7995 |  |  |  |  | 5.6308 | 4.4636 | 5.6793 | 0.0029458 | 0.00014348 | 0.016149 | 0.013321 | 0.00048153 | 8.6333e-06 | 0.013765 | 0.0028504 | 33.7201 | 0 | 1.7185e-06
30 | 7.0952e-06 | 0.05194 | 0.0024482 | 0.057592 | 8.7995 |  |  |  |  | 5.6361 | 4.4684 | 5.6852 | 0.0029858 | 0.00014594 | 0.016189 | 0.013324 | 0.00048829 | 8.6568e-06 | 0.013921 | 0.0028902 | 33.9387 | 0 | 1.7182e-06
31 | 7.0773e-06 | 0.052657 | 0.0024905 | 0.058447 | 8.7995 |  |  |  |  | 5.6416 | 4.4733 | 5.6912 | 0.003027 | 0.00014847 | 0.01623 | 0.013326 | 0.00049524 | 8.6785e-06 | 0.014081 | 0.0029312 | 34.1615 | 0 | 1.7179e-06
32 | 7.0589e-06 | 0.053395 | 0.0025344 | 0.059329 | 8.7995 |  |  |  |  | 5.6471 | 4.4784 | 5.6973 | 0.0030693 | 0.0001511 | 0.016273 | 0.013328 | 0.0005024 | 8.6983e-06 | 0.014245 | 0.0029735 | 34.3888 | 0 | 1.7176e-06
33 | 7.04e-06 | 0.054154 | 0.0025798 | 0.060237 | 8.7995 |  |  |  |  | 5.6527 | 4.4836 | 5.7035 | 0.0031129 | 0.00015382 | 0.016317 | 0.013331 | 0.00050977 | 8.716e-06 | 0.014413 | 0.0030171 | 34.6206 | 0 | 1.7174e-06
34 | 7.0204e-06 | 0.054935 | 0.0026269 | 0.061173 | 8.7994 |  |  |  |  | 5.6583 | 4.4889 | 5.7097 | 0.0031577 | 0.00015664 | 0.016362 | 0.013333 | 0.00051736 | 8.7314e-06 | 0.014586 | 0.0030621 | 34.8572 | 0 | 1.7171e-06
35 | 7.0003e-06 | 0.05574 | 0.0026757 | 0.062138 | 8.7994 |  |  |  |  | 5.6641 | 4.4943 | 5.7161 | 0.0032039 | 0.00015956 | 0.016409 | 0.013336 | 0.00052518 | 8.7443e-06 | 0.014763 | 0.0031085 | 35.0988 | 0 | 1.7168e-06
36 | 6.9795e-06 | 0.056569 | 0.0027264 | 0.063135 | 8.7994 |  |  |  |  | 5.6699 | 4.4999 | 5.7226 | 0.0032515 | 0.00016259 | 0.016457 | 0.013338 | 0.00053325 | 8.7543e-06 | 0.014945 | 0.0031565 | 35.3455 | 0 | 1.7165e-06
37 | 6.9581e-06 | 0.057424 | 0.0027789 | 0.064163 | 8.7994 |  |  |  |  | 5.6758 | 4.5057 | 5.7291 | 0.0033005 | 0.00016574 | 0.016506 | 0.013341 | 0.00054158 | 8.7613e-06 | 0.015132 | 0.0032062 | 35.5975 | 0 | 1.7162e-06
38 | 6.936e-06 | 0.058305 | 0.0028335 | 0.065225 | 8.7994 |  |  |  |  | 5.6818 | 4.5116 | 5.7358 | 0.003351 | 0.00016901 | 0.016558 | 0.013344 | 0.00055017 | 8.765e-06 | 0.015325 | 0.0032575 | 35.855 | 0 | 1.7159e-06
39 | 6.9131e-06 | 0.059214 | 0.0028903 | 0.066323 | 8.7994 |  |  |  |  | 5.6879 | 4.5177 | 5.7426 | 0.0034032 | 0.00017241 | 0.01661 | 0.013347 | 0.00055905 | 8.7649e-06 | 0.015523 | 0.0033107 | 36.1183 | 0 | 1.7156e-06
40 | 6.8896e-06 | 0.060153 | 0.0029494 | 0.067458 | 8.7993 |  |  |  |  | 5.6941 | 4.524 | 5.7495 | 0.0034571 | 0.00017594 | 0.016665 | 0.01335 | 0.00056822 | 8.7609e-06 | 0.015726 | 0.0033657 | 36.3875 | 0 | 1.7153e-06
41 | 6.8652e-06 | 0.061123 | 0.0030109 | 0.068632 | 8.7993 |  |  |  |  | 5.7004 | 4.5305 | 5.7565 | 0.0035127 | 0.00017962 | 0.016721 | 0.013353 | 0.0005777 | 8.7525e-06 | 0.015936 | 0.0034228 | 36.663 | 0 | 1.715e-06
42 | 6.84e-06 | 0.062125 | 0.003075 | 0.069847 | 8.7993 |  |  |  |  | 5.7067 | 4.5371 | 5.7636 | 0.0035701 | 0.00018346 | 0.016779 | 0.013356 | 0.00058751 | 8.7392e-06 | 0.016151 | 0.003482 | 36.9449 | 0 | 1.7147e-06
43 | 6.8139e-06 | 0.063161 | 0.0031419 | 0.071105 | 8.7993 |  |  |  |  | 5.7132 | 4.544 | 5.7709 | 0.0036296 | 0.00018746 | 0.016839 | 0.01336 | 0.00059766 | 8.7207e-06 | 0.016374 | 0.0035434 | 37.2336 | 0 | 1.7143e-06
44 | 6.7869e-06 | 0.064232 | 0.0032117 | 0.072409 | 8.7993 |  |  |  |  | 5.7198 | 4.5511 | 5.7782 | 0.003691 | 0.00019163 | 0.016901 | 0.013363 | 0.00060818 | 8.6964e-06 | 0.016603 | 0.0036072 | 37.5293 | 0 | 1.714e-06
45 | 6.7589e-06 | 0.065342 | 0.0032846 | 0.073761 | 8.7992 |  |  |  |  | 5.7265 | 4.5583 | 5.7857 | 0.0037546 | 0.00019599 | 0.016965 | 0.013367 | 0.00061908 | 8.6658e-06 | 0.016839 | 0.0036736 | 37.8324 | 0 | 1.7137e-06
46 | 7.7503e-06 | 0.066491 | 0.0028009 | 0.071714 | 9.8092 |  |  |  |  | 5.7333 | 4.5119 | 5.7725 | 0.0038205 | 0.00016927 | 0.017032 | 0.013353 | 0.00063038 | 1.3594e-05 | 0.017083 | 0.0032568 | 37.9983 | 0 | 1.7133e-06
47 | 7.7219e-06 | 0.067693 | 0.0028643 | 0.073079 | 9.8092 |  |  |  |  | 5.7403 | 4.5194 | 5.7799 | 0.0038894 | 0.00017351 | 0.017101 | 0.01336 | 0.00064202 | 1.5187e-05 | 0.017344 | 0.0033183 | 38.1753 | 0 | 1.713e-06
48 | 7.6923e-06 | 0.068939 | 0.0029307 | 0.074498 | 9.8092 |  |  |  |  | 5.7474 | 4.5266 | 5.7876 | 0.0039609 | 0.00017755 | 0.017173 | 0.013364 | 0.00065408 | 1.539e-05 | 0.017613 | 0.003382 | 38.3632 | 0 | 1.7126e-06
49 | 7.6617e-06 | 0.070234 | 0.0030002 | 0.075972 | 9.8092 |  |  |  |  | 5.7547 | 4.534 | 5.7955 | 0.0040351 | 0.0001818 | 0.017248 | 0.013368 | 0.0006666 | 1.56e-05 | 0.017892 | 0.0034484 | 38.5623 | 0 | 1.7123e-06
50 | 7.6298e-06 | 0.071578 | 0.003073 | 0.077506 | 9.8092 |  |  |  |  | 5.762 | 4.5416 | 5.8035 | 0.0041121 | 0.00018624 | 0.017326 | 0.013372 | 0.00067962 | 1.5815e-05 | 0.018181 | 0.0035177 | 38.7726 | 0 | 1.7119e-06
51 | 7.596e-06 | 0.072976 | 0.0031497 | 0.079103 | 9.8085 |  |  |  |  | 5.7695 | 4.5496 | 5.8117 | 0.0041923 | 0.00019092 | 0.017406 | 0.013376 | 0.00069317 | 1.6038e-05 | 0.018481 | 0.0035903 | 38.9943 | 0 | 1.7115e-06
52 | 7.5615e-06 | 0.074431 | 0.0032301 | 0.080767 | 9.8084 |  |  |  |  | 5.7772 | 4.5577 | 5.82 | 0.0042756 | 0.00019583 | 0.01749 | 0.013381 | 0.00070727 | 1.6264e-05 | 0.018791 | 0.003666 | 39.2277 | 0 | 1.7111e-06
53 | 7.5255e-06 | 0.075946 | 0.0033146 | 0.082502 | 9.8084 |  |  |  |  | 5.785 | 4.5662 | 5.8285 | 0.0043624 | 0.00020098 | 0.017578 | 0.013386 | 0.00072197 | 1.6497e-05 | 0.019113 | 0.0037451 | 39.473 | 0 | 1.7107e-06
54 | 7.4881e-06 | 0.077525 | 0.0034036 | 0.084312 | 9.8084 |  |  |  |  | 5.793 | 4.575 | 5.8372 | 0.0044529 | 0.00020641 | 0.017669 | 0.013391 | 0.00073731 | 1.6737e-05 | 0.019447 | 0.0038281 | 39.7305 | 0 | 1.7104e-06
55 | 7.449e-06 | 0.079172 | 0.0034975 | 0.086204 | 9.8084 |  |  |  |  | 5.8011 | 4.5841 | 5.8461 | 0.0045473 | 0.00021213 | 0.017764 | 0.013396 | 0.00075332 | 1.6984e-05 | 0.019794 | 0.0039151 | 40.0006 | 0 | 1.7099e-06
56 | 7.4081e-06 | 0.080892 | 0.0035966 | 0.088182 | 9.8084 |  |  |  |  | 5.8094 | 4.5935 | 5.8552 | 0.0046458 | 0.00021817 | 0.017863 | 0.013401 | 0.00077006 | 1.7237e-05 | 0.020155 | 0.0040065 | 40.2836 | 0 | 1.7095e-06
57 | 7.3654e-06 | 0.08269 | 0.0037015 | 0.090251 | 9.8083 |  |  |  |  | 5.8178 | 4.6033 | 5.8645 | 0.0047488 | 0.00022456 | 0.017967 | 0.013407 | 0.00078757 | 1.7498e-05 | 0.02053 | 0.0041026 | 40.5801 | 0 | 1.7091e-06
58 | 7.3208e-06 | 0.08457 | 0.0038126 | 0.09242 | 9.8083 |  |  |  |  | 5.8264 | 4.6135 | 5.874 | 0.0048565 | 0.00023132 | 0.018076 | 0.013414 | 0.0008059 | 1.7766e-05 | 0.020921 | 0.0042038 | 40.8906 | 0 | 1.7087e-06
59 | 7.274e-06 | 0.08654 | 0.0039305 | 0.094694 | 9.8083 |  |  |  |  | 5.8353 | 4.624 | 5.8837 | 0.0049693 | 0.00023849 | 0.018189 | 0.01342 | 0.00082512 | 1.8043e-05 | 0.021329 | 0.0043105 | 41.2157 | 0 | 1.7082e-06
60 | 7.225e-06 | 0.088605 | 0.0040558 | 0.097082 | 9.8083 |  |  |  |  | 5.8443 | 4.635 | 5.8936 | 0.0050876 | 0.00024611 | 0.018308 | 0.013427 | 0.0008453 | 1.8327e-05 | 0.021754 | 0.0044232 | 41.556 | 0 | 1.7078e-06
61 | 7.1735e-06 | 0.090773 | 0.0041893 | 0.099591 | 9.8083 |  |  |  |  | 5.8535 | 4.6464 | 5.9038 | 0.0052117 | 0.00025422 | 0.018434 | 0.013434 | 0.00086651 | 1.8621e-05 | 0.022199 | 0.0045424 | 41.9122 | 0 | 1.7073e-06
62 | 7.1194e-06 | 0.093052 | 0.0043317 | 0.10223 | 9.8082 |  |  |  |  | 5.8629 | 4.6583 | 5.9142 | 0.0053422 | 0.00026287 | 0.018565 | 0.013442 | 0.00088882 | 1.8923e-05 | 0.022663 | 0.0046687 | 42.2853 | 0 | 1.7069e-06
63 | 7.0625e-06 | 0.09545 | 0.0044839 | 0.10502 | 9.8082 |  |  |  |  | 5.8726 | 4.6707 | 5.9249 | 0.0054794 | 0.00027211 | 0.018704 | 0.01345 | 0.00091233 | 1.9235e-05 | 0.02315 | 0.0048029 | 42.676 | 0 | 1.7064e-06
64 | 7.0026e-06 | 0.097976 | 0.004647 | 0.10795 | 9.8082 |  |  |  |  | 5.8825 | 4.6836 | 5.9359 | 0.0056241 | 0.000282 | 0.01885 | 0.013459 | 0.00093714 | 1.9556e-05 | 0.023659 | 0.0049455 | 43.0855 | 0 | 1.7059e-06
65 | 6.9394e-06 | 0.10064 | 0.0048222 | 0.11105 | 9.8082 |  |  |  |  | 5.8926 | 4.6971 | 5.9472 | 0.0057767 | 0.00029262 | 0.019004 | 0.013469 | 0.00096335 | 1.9888e-05 | 0.024194 | 0.0050976 | 43.5148 | 0 | 1.7054e-06
66 | 6.8726e-06 | 0.10346 | 0.0050108 | 0.11434 | 9.8081 |  |  |  |  | 5.903 | 4.7112 | 5.9588 | 0.005938 | 0.00030404 | 0.019166 | 0.013479 | 0.0009911 | 2.0231e-05 | 0.024756 | 0.00526 | 43.9653 | 0 | 1.7048e-06
67 | 6.802e-06 | 0.10644 | 0.0052145 | 0.11781 | 9.8081 |  |  |  |  | 5.9137 | 4.726 | 5.9707 | 0.0061087 | 0.00031636 | 0.019339 | 0.01349 | 0.0010205 | 2.0585e-05 | 0.025347 | 0.0054338 | 44.4384 | 0 | 1.7043e-06
68 | 6.7273e-06 | 0.10961 | 0.005435 | 0.12151 | 9.8081 |  |  |  |  | 5.9246 | 4.7414 | 5.983 | 0.0062898 | 0.00032969 | 0.019522 | 0.013501 | 0.0010518 | 2.0951e-05 | 0.025969 | 0.0056205 | 44.9356 | 0 | 1.7038e-06
69 | 6.648e-06 | 0.11297 | 0.0056744 | 0.12543 | 9.8081 |  |  |  |  | 5.9359 | 4.7576 | 5.9956 | 0.006482 | 0.00034415 | 0.019716 | 0.013514 | 0.001085 | 2.1331e-05 | 0.026625 | 0.0058213 | 45.4588 | 0 | 1.7032e-06
70 | 6.5638e-06 | 0.11654 | 0.0059353 | 0.12961 | 9.808 |  |  |  |  | 5.9474 | 4.7746 | 6.0086 | 0.0066866 | 0.00035989 | 0.019922 | 0.013528 | 0.0011205 | 2.1724e-05 | 0.027319 | 0.006038 | 46.0101 | 0 | 1.7026e-06
71 | 7.9606e-06 | 0.12036 | 0.0049378 | 0.12972 | 11.308 |  |  |  |  | 5.9593 | 4.7116 | 6.0061 | 0.0069048 | 0.0003048 | 0.020143 | 0.013501 | 0.0011584 | 2.4385e-05 | 0.028053 | 0.0052147 | 46.3858 | 0 | 1.702e-06
72 | 7.8663e-06 | 0.12448 | 0.0051729 | 0.13435 | 11.308 |  |  |  |  | 5.9718 | 4.7296 | 6.0191 | 0.0071405 | 0.00032024 | 0.02038 | 0.013528 | 0.0011989 | 2.7854e-05 | 0.028868 | 0.0054222 | 46.7911 | 0 | 1.7014e-06
73 | 7.7654e-06 | 0.1289 | 0.0054311 | 0.13932 | 11.308 |  |  |  |  | 5.9846 | 4.7478 | 6.0332 | 0.0073931 | 0.00033613 | 0.020634 | 0.013543 | 0.0012422 | 2.8736e-05 | 0.029737 | 0.005647 | 47.228 | 0 | 1.7008e-06
74 | 7.6571e-06 | 0.13365 | 0.005716 | 0.14466 | 11.308 |  |  |  |  | 5.9978 | 4.7669 | 6.0479 | 0.0076645 | 0.00035365 | 0.020907 | 0.013561 | 0.0012889 | 2.9686e-05 | 0.030663 | 0.0058926 | 47.6991 | 0 | 1.7001e-06
75 | 7.5397e-06 | 0.13877 | 0.0060323 | 0.15042 | 11.3069 |  |  |  |  | 6.0115 | 4.7873 | 6.0631 | 0.0079569 | 0.00037307 | 0.021201 | 0.01358 | 0.0013393 | 3.0716e-05 | 0.031654 | 0.0061627 | 48.2076 | 0 | 1.6994e-06
76 | 7.4141e-06 | 0.1443 | 0.0063841 | 0.15665 | 11.3069 |  |  |  |  | 6.0257 | 4.8088 | 6.0788 | 0.0082729 | 0.00039461 | 0.021518 | 0.013601 | 0.0013938 | 3.1825e-05 | 0.032716 | 0.0064598 | 48.757 | 0 | 1.6987e-06
77 | 7.2785e-06 | 0.15029 | 0.0067782 | 0.1634 | 11.3069 |  |  |  |  | 6.0403 | 4.8317 | 6.0952 | 0.0086155 | 0.00041869 | 0.021862 | 0.013625 | 0.001453 | 3.3034e-05 | 0.033858 | 0.0067889 | 49.3513 | 0 | 1.698e-06
78 | 7.1314e-06 | 0.15682 | 0.0072228 | 0.17074 | 11.3069 |  |  |  |  | 6.0555 | 4.8562 | 6.1122 | 0.0089881 | 0.00044577 | 0.022237 | 0.013651 | 0.0015176 | 3.4358e-05 | 0.035088 | 0.0071556 | 49.9957 | 0 | 1.6972e-06
79 | 6.9716e-06 | 0.16394 | 0.0077278 | 0.17876 | 11.3068 |  |  |  |  | 6.0713 | 4.8823 | 6.13 | 0.0093948 | 0.00047645 | 0.022646 | 0.013681 | 0.0015882 | 3.5818e-05 | 0.036418 | 0.0075667 | 50.696 | 0 | 1.6964e-06
80 | 6.7974e-06 | 0.17175 | 0.0083061 | 0.18754 | 11.3068 |  |  |  |  | 6.0757 | 4.9104 | 6.1486 | 0.0098407 | 0.00051121 | 0.023094 | 0.013706 | 0.0016658 | 3.744e-05 | 0.037861 | 0.0080337 | 51.4598 | 4.6453e-05 | 1.6962e-06
81 | 6.6068e-06 | 0.18035 | 0.0089742 | 0.1972 | 11.3068 |  |  |  |  | 6.0787 | 4.9406 | 6.168 | 0.010332 | 0.00055117 | 0.023588 | 0.013733 | 0.0017515 | 3.9249e-05 | 0.039431 | 0.0085651 | 52.2957 | 0.0001044 | 1.6961e-06
82 | 6.3977e-06 | 0.18987 | 0.0097543 | 0.20786 | 11.3067 |  |  |  |  | 6.0818 | 4.9733 | 6.1884 | 0.010875 | 0.00059762 | 0.024135 | 0.013766 | 0.0018466 | 4.1302e-05 | 0.041145 | 0.0091745 | 53.2143 | 0.00016832 | 1.6959e-06
83 | 6.1674e-06 | 0.20047 | 0.010676 | 0.21969 | 11.3067 |  |  |  |  | 6.0851 | 5.0088 | 6.2097 | 0.01148 | 0.00065223 | 0.024745 | 0.013807 | 0.0019528 | 4.3665e-05 | 0.043026 | 0.0098802 | 54.2288 | 0.0002392 | 1.6957e-06
84 | 5.9128e-06 | 0.21233 | 0.011779 | 0.23288 | 11.3067 |  |  |  |  | 6.0886 | 5.0474 | 6.2321 | 0.012156 | 0.00071729 | 0.025429 | 0.013858 | 0.0020722 | 4.6433e-05 | 0.045098 | 0.010707 | 55.3557 | 0.00031824 | 1.6956e-06
85 | 5.6306e-06 | 0.2257 | 0.013121 | 0.24766 | 11.3066 |  |  |  |  | 6.0924 | 5.0899 | 6.2556 | 0.012919 | 0.00079597 | 0.0262 | 0.013923 | 0.0022072 | 4.9744e-05 | 0.04739 | 0.011686 | 56.6159 | 0.00040692 | 1.6954e-06
86 | 1.0037e-05 | 0.24089 | 0.0081108 | 0.26656 | 16.5066 |  |  |  |  | 6.0965 | 4.9216 | 6.284 | 0.013785 | 0.00052016 | 0.027077 | 0.013603 | 0.0023613 | 2.786e-05 | 0.049941 | 0.0077574 | 57.2144 | 0.0005073 | 1.6952e-06
87 | 9.6266e-06 | 0.25879 | 0.0090939 | 0.28701 | 16.5053 |  |  |  |  | 6.1014 | 4.9657 | 6.3037 | 0.014805 | 0.00058718 | 0.028114 | 0.0138 | 0.0025408 | 4.1547e-05 | 0.053185 | 0.0085784 | 57.9301 | 0.00062253 | 1.6949e-06
88 | 9.1558e-06 | 0.2796 | 0.010333 | 0.31067 | 16.5053 |  |  |  |  | 6.1071 | 5.0148 | 6.333 | 0.01599 | 0.00066316 | 0.029307 | 0.013865 | 0.0027491 | 4.4928e-05 | 0.056903 | 0.0095838 | 58.788 | 0.0007554 | 1.6946e-06
89 | 8.6107e-06 | 0.30408 | 0.011939 | 0.33831 | 16.5052 |  |  |  |  | 6.1133 | 5.0702 | 6.3644 | 0.017384 | 0.00076061 | 0.03071 | 0.013955 | 0.0029949 | 4.9171e-05 | 0.061204 | 0.010858 | 59.8251 | 0.00091007 | 1.6943e-06
90 | 7.9745e-06 | 0.33329 | 0.014096 | 0.37095 | 16.5052 |  |  |  |  | 6.1203 | 5.1335 | 6.3978 | 0.019046 | 0.00088958 | 0.032386 | 0.014081 | 0.0032895 | 5.4691e-05 | 0.066239 | 0.012521 | 61.0956 | 0.0010925 | 1.694e-06
91 | 7.2265e-06 | 0.36876 | 0.017124 | 0.40996 | 16.5051 |  |  |  |  | 6.128 | 5.207 | 6.4335 | 0.021063 | 0.0010677 | 0.03442 | 0.01427 | 0.0036489 | 6.2294e-05 | 0.072208 | 0.014777 | 62.6819 | 0.0013111 | 1.6936e-06
92 | 6.3425e-06 | 0.41271 | 0.021633 | 0.45722 | 16.5051 |  |  |  |  | 6.1368 | 5.2941 | 6.4713 | 0.023563 | 0.0013281 | 0.036939 | 0.014566 | 0.0040972 | 7.3616e-05 | 0.079386 | 0.017985 | 64.7174 | 0.0015781 | 1.6932e-06
93 | 5.2962e-06 | 0.46858 | 0.028931 | 0.51536 | 16.5028 |  |  |  |  | 6.1465 | 5.4004 | 6.5107 | 0.026739 | 0.0017402 | 0.040135 | 0.015069 | 0.004672 | 9.2412e-05 | 0.088158 | 0.02285 | 67.4348 | 0.0019127 | 1.6927e-06
94 | 4.0815e-06 | 0.54186 | 0.04216 | 0.58844 | 16.5026 |  |  |  |  | 6.1574 | 5.5346 | 6.5505 | 0.030905 | 0.0024689 | 0.044312 | 0.015995 | 0.0054353 | 0.00012826 | 0.099043 | 0.030824 | 71.2709 | 0.0023458 | 1.6921e-06
95 | 2.754e-06 | 0.6418 | 0.070158 | 0.68355 | 16.5024 |  |  |  |  | 0 | 0 | 0 | 0.036593 | 0 | 0.049976 | 0 | 0.0064967 | 0 | 0.11269 | 0 | 70.5285 | 0 | 0