## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate | NH4+ Permeability
0 | 5.3126e-06 | 0.036947 | 0.0026699 | 0.03904 | 6.5 | 18.2285 | 18.8301 | 18.5957 | 21.0113 | 6.9879 | 5.9372 | 7.0299 | 0.013077 | 0.00098269 | 0.015321 | 0.0033844 | 0.00034432 | 1.1037e-05 | 0.010467 | 0.002598 | 36.4004 | 2.2665e-05 | 1.6506e-06
1 | 5.3052e-06 | 0.037293 | 0.0026995 | 0.039421 | 6.5 |  |  |  |  | 6.9899 | 5.9604 | 7.0512 | 0.013199 | 0.0010004 | 0.015442 | 0.0033176 | 0.00034768 | 6.1575e-06 | 0.010546 | 0.0026229 | 36.5753 | 2.5287e-05 | 1.6505e-06
2 | 5.2973e-06 | 0.037646 | 0.00273 | 0.039811 | 6.5 |  |  |  |  | 6.9918 | 5.9655 | 7.0551 | 0.013323 | 0.0010121 | 0.015566 | 0.0033284 | 0.00035117 | 6.158e-06 | 0.010627 | 0.0026471 | 36.7463 | 2.7927e-05 | 1.6504e-06
3 | 5.2892e-06 | 0.038006 | 0.0027611 | 0.040208 | 6.5 |  |  |  |  | 6.9937 | 5.9705 | 7.059 | 0.01345 | 0.0010239 | 0.015692 | 0.0033396 | 0.00035473 | 6.1604e-06 | 0.010709 | 0.0026717 | 36.9182 | 3.0612e-05 | 1.6503e-06
4 | 5.281e-06 | 0.038373 | 0.002793 | 0.040613 | 6.4999 |  |  |  |  | 6.9957 | 5.9756 | 7.063 | 0.01358 | 0.0010359 | 0.015821 | 0.0033509 | 0.00035836 | 6.1623e-06 | 0.010793 | 0.0026969 | 37.0918 | 3.3342e-05 | 1.6502e-06
5 | 5.2726e-06 | 0.038748 | 0.0028257 | 0.041027 | 6.4999 |  |  |  |  | 6.9976 | 5.9807 | 7.0671 | 0.013712 | 0.0010483 | 0.015952 | 0.0033625 | 0.00036206 | 6.1639e-06 | 0.010878 | 0.0027226 | 37.2676 | 3.6118e-05 | 1.6501e-06
6 | 5.264e-06 | 0.03913 | 0.0028591 | 0.041449 | 6.4999 |  |  |  |  | 6.9996 | 5.9858 | 7.0711 | 0.013846 | 0.0010609 | 0.016086 | 0.0033745 | 0.00036585 | 6.1651e-06 | 0.010965 | 0.0027489 | 37.4457 | 3.8942e-05 | 1.65e-06
7 | 5.2552e-06 | 0.03952 | 0.0028933 | 0.041881 | 6.4999 |  |  |  |  | 7.0016 | 5.9911 | 7.0753 | 0.013984 | 0.0010738 | 0.016222 | 0.0033866 | 0.00036972 | 6.1658e-06 | 0.011053 | 0.0027757 | 37.6263 | 4.1816e-05 | 1.6499e-06
8 | 5.2463e-06 | 0.039918 | 0.0029284 | 0.042321 | 6.4999 |  |  |  |  | 7.0036 | 5.9964 | 7.0794 | 0.014124 | 0.0010871 | 0.016362 | 0.0033991 | 0.00037367 | 6.1661e-06 | 0.011143 | 0.0028031 | 37.8094 | 4.4741e-05 | 1.6498e-06
9 | 5.2372e-06 | 0.040324 | 0.0029644 | 0.042772 | 6.4999 |  |  |  |  | 7.0056 | 6.0018 | 7.0836 | 0.014268 | 0.0011007 | 0.016504 | 0.0034119 | 0.00037771 | 6.1659e-06 | 0.011235 | 0.0028312 | 37.9953 | 4.7719e-05 | 1.6497e-06
10 | 5.2279e-06 | 0.04074 | 0.0030012 | 0.043232 | 6.4998 |  |  |  |  | 7.0077 | 6.0072 | 7.0879 | 0.014414 | 0.0011146 | 0.01665 | 0.003425 | 0.00038184 | 6.1653e-06 | 0.011328 | 0.0028598 | 38.1838 | 5.075e-05 | 1.6496e-06
11 | 5.2183e-06 | 0.041164 | 0.003039 | 0.043702 | 6.4998 |  |  |  |  | 7.0098 | 6.0127 | 7.0922 | 0.014563 | 0.0011289 | 0.016798 | 0.0034384 | 0.00038606 | 6.1641e-06 | 0.011424 | 0.0028892 | 38.3752 | 5.3837e-05 | 1.6495e-06
12 | 5.2086e-06 | 0.041597 | 0.0030778 | 0.044183 | 6.4998 |  |  |  |  | 7.0118 | 6.0183 | 7.0965 | 0.014716 | 0.0011435 | 0.01695 | 0.0034522 | 0.00039038 | 6.1625e-06 | 0.011521 | 0.0029192 | 38.5695 | 5.698e-05 | 1.6494e-06
13 | 5.1987e-06 | 0.04204 | 0.0031176 | 0.044675 | 6.4998 |  |  |  |  | 7.0139 | 6.024 | 7.1009 | 0.014872 | 0.0011586 | 0.017105 | 0.0034663 | 0.00039479 | 6.1603e-06 | 0.011619 | 0.0029499 | 38.7667 | 6.0183e-05 | 1.6493e-06
14 | 5.1885e-06 | 0.042492 | 0.0031584 | 0.045178 | 6.4998 |  |  |  |  | 7.016 | 6.0297 | 7.1054 | 0.015031 | 0.001174 | 0.017264 | 0.0034807 | 0.00039931 | 6.1576e-06 | 0.01172 | 0.0029814 | 38.9671 | 6.3447e-05 | 1.6492e-06
15 | 5.1781e-06 | 0.042955 | 0.0032004 | 0.045692 | 6.4998 |  |  |  |  | 7.0182 | 6.0356 | 7.1099 | 0.015194 | 0.0011899 | 0.017426 | 0.0034956 | 0.00040394 | 6.1543e-06 | 0.011823 | 0.0030136 | 39.1706 | 6.6773e-05 | 1.6491e-06
16 | 5.1675e-06 | 0.043428 | 0.0032434 | 0.046219 | 6.4998 |  |  |  |  | 7.0203 | 6.0415 | 7.1144 | 0.015361 | 0.0012062 | 0.017592 | 0.0035108 | 0.00040867 | 6.1504e-06 | 0.011928 | 0.0030466 | 39.3774 | 7.0165e-05 | 1.649e-06
17 | 5.1566e-06 | 0.043912 | 0.0032877 | 0.046758 | 6.4997 |  |  |  |  | 7.0225 | 6.0475 | 7.119 | 0.015532 | 0.0012229 | 0.017762 | 0.0035265 | 0.00041352 | 6.1459e-06 | 0.012035 | 0.0030804 | 39.5875 | 7.3623e-05 | 1.6489e-06
18 | 5.1455e-06 | 0.044408 | 0.0033332 | 0.04731 | 6.4997 |  |  |  |  | 7.0247 | 6.0536 | 7.1237 | 0.015706 | 0.0012402 | 0.017935 | 0.0035426 | 0.00041849 | 6.1407e-06 | 0.012144 | 0.0031151 | 39.801 | 7.715e-05 | 1.6488e-06
19 | 5.1341e-06 | 0.044915 | 0.00338 | 0.047876 | 6.4997 |  |  |  |  | 7.0269 | 6.0598 | 7.1284 | 0.015885 | 0.0012579 | 0.018113 | 0.0035591 | 0.00042358 | 6.1348e-06 | 0.012256 | 0.0031506 | 40.0181 | 8.0749e-05 | 1.6487e-06
20 | 5.1224e-06 | 0.045434 | 0.0034282 | 0.048456 | 6.4997 |  |  |  |  | 7.0291 | 6.066 | 7.1332 | 0.016068 | 0.0012761 | 0.018295 | 0.0035761 | 0.0004288 | 6.1282e-06 | 0.012369 | 0.0031871 | 40.2389 | 8.4422e-05 | 1.6485e-06
21 | 5.1105e-06 | 0.045966 | 0.0034778 | 0.04905 | 6.4997 |  |  |  |  | 7.0314 | 6.0724 | 7.138 | 0.016255 | 0.0012949 | 0.018481 | 0.0035936 | 0.00043415 | 6.121e-06 | 0.012486 | 0.0032245 | 40.4634 | 8.8171e-05 | 1.6484e-06
22 | 5.0983e-06 | 0.04651 | 0.0035288 | 0.049659 | 6.4997 |  |  |  |  | 7.0337 | 6.0789 | 7.1429 | 0.016447 | 0.0013142 | 0.018672 | 0.0036116 | 0.00043964 | 6.1129e-06 | 0.012604 | 0.0032629 | 40.6918 | 9.1999e-05 | 1.6483e-06
23 | 5.0857e-06 | 0.047069 | 0.0035813 | 0.050283 | 6.4996 |  |  |  |  | 7.036 | 6.0855 | 7.1479 | 0.016643 | 0.0013341 | 0.018868 | 0.0036301 | 0.00044527 | 6.1041e-06 | 0.012726 | 0.0033023 | 40.9242 | 9.5909e-05 | 1.6482e-06
24 | 5.0729e-06 | 0.047641 | 0.0036355 | 0.050924 | 6.4996 |  |  |  |  | 7.0383 | 6.0921 | 7.1529 | 0.016845 | 0.0013546 | 0.019068 | 0.0036492 | 0.00045104 | 6.0944e-06 | 0.01285 | 0.0033429 | 41.1607 | 9.9903e-05 | 1.6481e-06
25 | 5.0597e-06 | 0.048228 | 0.0036913 | 0.051581 | 6.4996 |  |  |  |  | 7.0406 | 6.0989 | 7.158 | 0.017051 | 0.0013758 | 0.019274 | 0.0036689 | 0.00045698 | 6.0839e-06 | 0.012976 | 0.0033845 | 41.4015 | 0.00010399 | 1.648e-06
26 | 5.0462e-06 | 0.048829 | 0.0037489 | 0.052256 | 6.4996 |  |  |  |  | 7.043 | 6.1058 | 7.1631 | 0.017263 | 0.0013976 | 0.019485 | 0.0036891 | 0.00046307 | 6.0725e-06 | 0.013106 | 0.0034273 | 41.6466 | 0.00010816 | 1.6479e-06
27 | 5.0323e-06 | 0.049447 | 0.0038084 | 0.052949 | 6.4996 |  |  |  |  | 7.0453 | 6.1128 | 7.1683 | 0.01748 | 0.0014201 | 0.019701 | 0.00371 | 0.00046933 | 6.0601e-06 | 0.013239 | 0.0034714 | 41.8963 | 0.00011243 | 1.6477e-06
28 | 5.0181e-06 | 0.050081 | 0.0038697 | 0.053661 | 6.4996 |  |  |  |  | 7.0477 | 6.12 | 7.1736 | 0.017703 | 0.0014434 | 0.019923 | 0.0037316 | 0.00047576 | 6.0468e-06 | 0.013374 | 0.0035167 | 42.1506 | 0.00011679 | 1.6476e-06
29 | 5.0034e-06 | 0.050732 | 0.0039331 | 0.054393 | 6.4995 |  |  |  |  | 7.0501 | 6.1272 | 7.179 | 0.017932 | 0.0014674 | 0.020151 | 0.0037539 | 0.00048238 | 6.0325e-06 | 0.013513 | 0.0035633 | 42.4098 | 0.00012126 | 1.6475e-06
30 | 4.9884e-06 | 0.0514 | 0.0039987 | 0.055145 | 6.4995 |  |  |  |  | 7.0526 | 6.1346 | 7.1844 | 0.018168 | 0.0014922 | 0.020385 | 0.0037768 | 0.00048918 | 6.0172e-06 | 0.013655 | 0.0036114 | 42.674 | 0.00012583 | 1.6474e-06
31 | 4.973e-06 | 0.052087 | 0.0040664 | 0.055918 | 6.4995 |  |  |  |  | 7.055 | 6.1421 | 7.19 | 0.018409 | 0.0015179 | 0.020626 | 0.0038006 | 0.00049619 | 6.0007e-06 | 0.013801 | 0.0036609 | 42.9433 | 0.00013051 | 1.6472e-06
32 | 4.9572e-06 | 0.052793 | 0.0041365 | 0.056714 | 6.4995 |  |  |  |  | 7.0575 | 6.1498 | 7.1955 | 0.018658 | 0.0015445 | 0.020874 | 0.0038251 | 0.0005034 | 5.9832e-06 | 0.01395 | 0.0037119 | 43.218 | 0.00013531 | 1.6471e-06
33 | 4.9409e-06 | 0.05352 | 0.0042091 | 0.057533 | 6.4995 |  |  |  |  | 7.06 | 6.1576 | 7.2012 | 0.018913 | 0.001572 | 0.021128 | 0.0038506 | 0.00051082 | 5.9644e-06 | 0.014103 | 0.0037646 | 43.4982 | 0.00014023 | 1.647e-06
34 | 4.9241e-06 | 0.054267 | 0.0042842 | 0.058377 | 6.4994 |  |  |  |  | 7.0626 | 6.1655 | 7.207 | 0.019176 | 0.0016005 | 0.02139 | 0.0038769 | 0.00051847 | 5.9444e-06 | 0.014259 | 0.0038189 | 43.7842 | 0.00014527 | 1.6469e-06
35 | 4.9068e-06 | 0.055036 | 0.0043622 | 0.059245 | 6.4994 |  |  |  |  | 7.0651 | 6.1736 | 7.2128 | 0.019446 | 0.00163 | 0.021659 | 0.0039041 | 0.00052635 | 5.9232e-06 | 0.01442 | 0.003875 | 44.0761 | 0.00015044 | 1.6467e-06
36 | 4.8891e-06 | 0.055828 | 0.004443 | 0.06014 | 6.4994 |  |  |  |  | 7.0677 | 6.1819 | 7.2187 | 0.019725 | 0.0016607 | 0.021937 | 0.0039324 | 0.00053449 | 5.9006e-06 | 0.014585 | 0.0039329 | 44.3741 | 0.00015574 | 1.6466e-06
37 | 4.8708e-06 | 0.056643 | 0.0045268 | 0.061063 | 6.4994 |  |  |  |  | 7.0703 | 6.1903 | 7.2248 | 0.020011 | 0.0016925 | 0.022222 | 0.0039616 | 0.00054288 | 5.8766e-06 | 0.014754 | 0.0039928 | 44.6786 | 0.00016119 | 1.6465e-06
38 | 4.8519e-06 | 0.057484 | 0.0046139 | 0.062016 | 6.4994 |  |  |  |  | 7.0729 | 6.1989 | 7.2309 | 0.020307 | 0.0017255 | 0.022517 | 0.003992 | 0.00055154 | 5.8512e-06 | 0.014927 | 0.0040548 | 44.9897 | 0.00016678 | 1.6464e-06
39 | 4.8325e-06 | 0.05835 | 0.0047045 | 0.062998 | 6.4994 |  |  |  |  | 7.0755 | 6.2076 | 7.2371 | 0.020611 | 0.0017598 | 0.022821 | 0.0040236 | 0.00056048 | 5.8242e-06 | 0.015106 | 0.0041189 | 45.3077 | 0.00017252 | 1.6462e-06
40 | 4.8125e-06 | 0.059245 | 0.0047986 | 0.064012 | 6.4993 |  |  |  |  | 7.0782 | 6.2166 | 7.2434 | 0.020926 | 0.0017955 | 0.023134 | 0.0040564 | 0.00056973 | 5.7957e-06 | 0.015289 | 0.0041852 | 45.6328 | 0.00017843 | 1.6461e-06
41 | 4.7918e-06 | 0.060167 | 0.0048966 | 0.06506 | 6.4993 |  |  |  |  | 7.0809 | 6.2257 | 7.2498 | 0.02125 | 0.0018327 | 0.023457 | 0.0040906 | 0.00057929 | 5.7656e-06 | 0.015477 | 0.004254 | 45.9655 | 0.0001845 | 1.646e-06
42 | 4.7705e-06 | 0.06112 | 0.0049987 | 0.066143 | 6.4993 |  |  |  |  | 7.0836 | 6.235 | 7.2563 | 0.021585 | 0.0018714 | 0.023791 | 0.0041261 | 0.00058917 | 5.7338e-06 | 0.015671 | 0.0043253 | 46.3058 | 0.00019075 | 1.6458e-06
43 | 4.7485e-06 | 0.062105 | 0.0051051 | 0.067263 | 6.4993 |  |  |  |  | 7.0863 | 6.2446 | 7.263 | 0.02193 | 0.0019117 | 0.024136 | 0.0041632 | 0.00059941 | 5.7002e-06 | 0.01587 | 0.0043993 | 46.6543 | 0.00019719 | 1.6457e-06
44 | 4.7257e-06 | 0.063123 | 0.0052162 | 0.068422 | 6.4993 |  |  |  |  | 7.089 | 6.2543 | 7.2697 | 0.022288 | 0.0019538 | 0.024493 | 0.0042018 | 0.00061001 | 5.6647e-06 | 0.016074 | 0.0044762 | 47.0112 | 0.00020382 | 1.6455e-06
45 | 4.7022e-06 | 0.064176 | 0.0053321 | 0.069621 | 6.4992 |  |  |  |  | 7.0918 | 6.2643 | 7.2766 | 0.022658 | 0.0019978 | 0.024862 | 0.0042421 | 0.000621 | 5.6273e-06 | 0.016285 | 0.004556 | 47.377 | 0.00021065 | 1.6454e-06
46 | 5.6517e-06 | 0.065265 | 0.0044452 | 0.068863 | 7.5092 |  |  |  |  | 7.0946 | 6.1686 | 7.2509 | 0.02304 | 0.0016756 | 0.025244 | 0.0040388 | 0.0006324 | 7.5132e-06 | 0.016502 | 0.0039216 | 47.538 | 0.0002177 | 1.6453e-06
47 | 5.6267e-06 | 0.066413 | 0.004545 | 0.070118 | 7.5092 |  |  |  |  | 7.0978 | 6.1727 | 7.2529 | 0.023443 | 0.001712 | 0.025644 | 0.0041019 | 0.00064419 | 8.3837e-06 | 0.01674 | 0.0039937 | 47.7133 | 0.00022503 | 1.6451e-06
48 | 5.6007e-06 | 0.067603 | 0.0046494 | 0.07142 | 7.5092 |  |  |  |  | 7.1011 | 6.1825 | 7.2598 | 0.023861 | 0.0017517 | 0.026058 | 0.0041403 | 0.00065641 | 8.4087e-06 | 0.016985 | 0.0040699 | 47.9033 | 0.00023261 | 1.6449e-06
49 | 5.5738e-06 | 0.068837 | 0.0047588 | 0.072771 | 7.5092 |  |  |  |  | 7.1044 | 6.1927 | 7.2667 | 0.024295 | 0.0017935 | 0.026488 | 0.0041804 | 0.00066912 | 8.4323e-06 | 0.017238 | 0.0041493 | 48.108 | 0.00024044 | 1.6448e-06
50 | 5.5459e-06 | 0.070119 | 0.0048735 | 0.074176 | 7.5092 |  |  |  |  | 7.1078 | 6.203 | 7.2738 | 0.024745 | 0.0018372 | 0.026934 | 0.0042224 | 0.00068233 | 8.456e-06 | 0.0175 | 0.0042323 | 48.3274 | 0.00024853 | 1.6446e-06
51 | 5.5162e-06 | 0.07145 | 0.0049943 | 0.075635 | 7.5085 |  |  |  |  | 7.1112 | 6.2137 | 7.281 | 0.025212 | 0.0018833 | 0.027397 | 0.0042667 | 0.00069609 | 8.4813e-06 | 0.017771 | 0.0043193 | 48.5618 | 0.00025691 | 1.6444e-06
52 | 5.4861e-06 | 0.072835 | 0.0051208 | 0.077155 | 7.5084 |  |  |  |  | 7.1146 | 6.2246 | 7.2884 | 0.025698 | 0.0019315 | 0.027879 | 0.0043128 | 0.00071041 | 8.5047e-06 | 0.018051 | 0.0044098 | 48.8114 | 0.00026558 | 1.6443e-06
53 | 5.4547e-06 | 0.074275 | 0.0052538 | 0.078737 | 7.5084 |  |  |  |  | 7.1181 | 6.2358 | 7.2959 | 0.026204 | 0.0019822 | 0.028381 | 0.0043614 | 0.00072534 | 8.5286e-06 | 0.018341 | 0.0045046 | 49.0762 | 0.00027457 | 1.6441e-06
54 | 5.4221e-06 | 0.075776 | 0.005394 | 0.080386 | 7.5084 |  |  |  |  | 7.1216 | 6.2473 | 7.3035 | 0.026731 | 0.0020355 | 0.028903 | 0.0044125 | 0.00074093 | 8.5527e-06 | 0.018642 | 0.004604 | 49.3568 | 0.00028389 | 1.6439e-06
55 | 5.3882e-06 | 0.07734 | 0.0055418 | 0.082106 | 7.5084 |  |  |  |  | 7.1251 | 6.2591 | 7.3113 | 0.027279 | 0.0020918 | 0.029447 | 0.0044663 | 0.0007572 | 8.5771e-06 | 0.018954 | 0.0047082 | 49.6534 | 0.00029357 | 1.6437e-06
56 | 5.3528e-06 | 0.078972 | 0.0056979 | 0.083902 | 7.5084 |  |  |  |  | 7.1287 | 6.2713 | 7.3193 | 0.027852 | 0.0021512 | 0.030015 | 0.0045231 | 0.00077422 | 8.6016e-06 | 0.019278 | 0.0048176 | 49.9664 | 0.00030362 | 1.6436e-06
57 | 5.3159e-06 | 0.080676 | 0.005863 | 0.085779 | 7.5083 |  |  |  |  | 7.1324 | 6.2838 | 7.3274 | 0.02845 | 0.0022141 | 0.030608 | 0.0045831 | 0.00079202 | 8.6265e-06 | 0.019614 | 0.0049327 | 50.2965 | 0.00031408 | 1.6434e-06
58 | 5.2774e-06 | 0.082457 | 0.0060379 | 0.087742 | 7.5083 |  |  |  |  | 7.136 | 6.2966 | 7.3357 | 0.029074 | 0.0022806 | 0.031227 | 0.0046466 | 0.00081067 | 8.6518e-06 | 0.019964 | 0.0050539 | 50.6442 | 0.00032498 | 1.6432e-06
59 | 5.2371e-06 | 0.084321 | 0.0062236 | 0.089797 | 7.5083 |  |  |  |  | 7.1397 | 6.3099 | 7.3441 | 0.029728 | 0.0023511 | 0.031875 | 0.0047139 | 0.00083024 | 8.6777e-06 | 0.020327 | 0.0051817 | 51.0101 | 0.00033634 | 1.643e-06
60 | 5.195e-06 | 0.086273 | 0.006421 | 0.091952 | 7.5083 |  |  |  |  | 7.1435 | 6.3235 | 7.3527 | 0.030412 | 0.002426 | 0.032555 | 0.0047853 | 0.00085077 | 8.7042e-06 | 0.020706 | 0.0053166 | 51.3951 | 0.00034819 | 1.6428e-06
61 | 5.1509e-06 | 0.088321 | 0.0066312 | 0.094212 | 7.5083 |  |  |  |  | 7.1473 | 6.3376 | 7.3615 | 0.03113 | 0.0025058 | 0.033267 | 0.0048613 | 0.00087237 | 8.7315e-06 | 0.0211 | 0.0054594 | 51.7999 | 0.00036057 | 1.6426e-06
62 | 5.1048e-06 | 0.09047 | 0.0068555 | 0.096587 | 7.5082 |  |  |  |  | 7.1511 | 6.3522 | 7.3705 | 0.031883 | 0.0025908 | 0.034014 | 0.0049423 | 0.00089509 | 8.7599e-06 | 0.021512 | 0.0056106 | 52.2254 | 0.00037353 | 1.6424e-06
63 | 5.0563e-06 | 0.09273 | 0.0070953 | 0.099085 | 7.5082 |  |  |  |  | 7.1549 | 6.3673 | 7.3798 | 0.032675 | 0.0026816 | 0.0348 | 0.0050288 | 0.00091905 | 8.7895e-06 | 0.021942 | 0.0057711 | 52.6728 | 0.00038711 | 1.6423e-06
64 | 5.0054e-06 | 0.095109 | 0.0073524 | 0.10172 | 7.5082 |  |  |  |  | 7.1588 | 6.3829 | 7.3892 | 0.033508 | 0.0027788 | 0.035627 | 0.0051214 | 0.00094433 | 8.8206e-06 | 0.022391 | 0.0059418 | 53.1433 | 0.00040136 | 1.6421e-06
65 | 4.9519e-06 | 0.097616 | 0.0076285 | 0.10449 | 7.5082 |  |  |  |  | 7.1627 | 6.399 | 7.3988 | 0.034386 | 0.0028831 | 0.036498 | 0.0052207 | 0.00097106 | 8.8536e-06 | 0.022861 | 0.0061237 | 53.638 | 0.00041634 | 1.6419e-06
66 | 4.8956e-06 | 0.10026 | 0.0079258 | 0.10742 | 7.5081 |  |  |  |  | 7.1667 | 6.4157 | 7.4087 | 0.035312 | 0.0029952 | 0.037418 | 0.0053275 | 0.00099936 | 8.8888e-06 | 0.023353 | 0.0063178 | 54.1587 | 0.0004321 | 1.6417e-06
67 | 4.8363e-06 | 0.10306 | 0.0082469 | 0.11052 | 7.5081 |  |  |  |  | 7.1707 | 6.4331 | 7.4188 | 0.036292 | 0.0031162 | 0.038391 | 0.0054428 | 0.0010294 | 8.9269e-06 | 0.02387 | 0.0065255 | 54.7068 | 0.00044872 | 1.6415e-06
68 | 4.7737e-06 | 0.10602 | 0.0085946 | 0.1138 | 7.5081 |  |  |  |  | 7.1747 | 6.4512 | 7.4291 | 0.037328 | 0.0032469 | 0.03942 | 0.0055674 | 0.0010613 | 8.9682e-06 | 0.024411 | 0.0067483 | 55.2842 | 0.00046628 | 1.6413e-06
69 | 4.7076e-06 | 0.10917 | 0.0089723 | 0.11728 | 7.5081 |  |  |  |  | 7.1787 | 6.47 | 7.4397 | 0.038428 | 0.0033887 | 0.040512 | 0.0057026 | 0.0010952 | 9.0137e-06 | 0.024981 | 0.0069879 | 55.8931 | 0.00048487 | 1.6411e-06
70 | 4.6377e-06 | 0.11251 | 0.0093839 | 0.12097 | 7.508 |  |  |  |  | 7.1827 | 6.4896 | 7.4505 | 0.039596 | 0.0035429 | 0.041673 | 0.0058497 | 0.0011314 | 9.0641e-06 | 0.025581 | 0.0072461 | 56.5358 | 0.00050459 | 1.6409e-06
71 | 5.9753e-06 | 0.11606 | 0.0075122 | 0.12261 | 9.008 |  |  |  |  | 7.1867 | 6.3803 | 7.4337 | 0.040839 | 0.0028865 | 0.042908 | 0.0053324 | 0.0011701 | 9.1022e-06 | 0.026213 | 0.0060244 | 56.9229 | 0.00052556 | 1.6407e-06
72 | 5.8934e-06 | 0.11994 | 0.0078714 | 0.12682 | 9.008 |  |  |  |  | 7.1914 | 6.3879 | 7.4358 | 0.042194 | 0.0030171 | 0.04425 | 0.0055241 | 0.0012116 | 1.0384e-05 | 0.026934 | 0.0062611 | 57.3449 | 0.00054796 | 1.6404e-06
73 | 5.8059e-06 | 0.12409 | 0.0082661 | 0.13132 | 9.008 |  |  |  |  | 7.1964 | 6.4087 | 7.4474 | 0.043645 | 0.0031673 | 0.045684 | 0.00567 | 0.0012561 | 1.0514e-05 | 0.0277 | 0.0065244 | 57.8053 | 0.00057191 | 1.6402e-06
74 | 5.7124e-06 | 0.12855 | 0.0087018 | 0.13616 | 9.008 |  |  |  |  | 7.2014 | 6.4306 | 7.4594 | 0.045202 | 0.0033329 | 0.047223 | 0.0058304 | 0.001304 | 1.0651e-05 | 0.028514 | 0.0068121 | 58.3071 | 0.00059757 | 1.6399e-06
75 | 5.6113e-06 | 0.13334 | 0.0091866 | 0.14136 | 9.0069 |  |  |  |  | 7.2064 | 6.4536 | 7.4717 | 0.046877 | 0.0035166 | 0.048879 | 0.0060084 | 0.0013557 | 1.0806e-05 | 0.029383 | 0.0071286 | 58.8541 | 0.00062512 | 1.6397e-06
76 | 5.5038e-06 | 0.13851 | 0.0097257 | 0.14698 | 9.0069 |  |  |  |  | 7.2114 | 6.4779 | 7.4844 | 0.048684 | 0.0037203 | 0.050665 | 0.0062056 | 0.0014117 | 1.0975e-05 | 0.03031 | 0.0074764 | 59.4502 | 0.00065482 | 1.6394e-06
77 | 5.3881e-06 | 0.14411 | 0.01033 | 0.15305 | 9.0069 |  |  |  |  | 7.2165 | 6.5034 | 7.4974 | 0.050639 | 0.0039479 | 0.052598 | 0.0064263 | 0.0014727 | 1.1165e-05 | 0.031303 | 0.0078615 | 60.1002 | 0.00068694 | 1.6392e-06
78 | 5.2633e-06 | 0.15019 | 0.011013 | 0.15964 | 9.0069 |  |  |  |  | 7.2216 | 6.5304 | 7.5109 | 0.052761 | 0.004204 | 0.054697 | 0.0066746 | 0.0015391 | 1.1381e-05 | 0.032368 | 0.0082901 | 60.8097 | 0.00072182 | 1.6389e-06
79 | 5.1284e-06 | 0.15682 | 0.01179 | 0.16682 | 9.0068 |  |  |  |  | 7.2266 | 6.5591 | 7.5248 | 0.055073 | 0.0044939 | 0.056984 | 0.006956 | 0.0016118 | 1.1628e-05 | 0.033515 | 0.00877 | 61.5855 | 0.00075983 | 1.6387e-06
80 | 4.9822e-06 | 0.16407 | 0.01268 | 0.17466 | 9.0068 |  |  |  |  | 7.2317 | 6.5895 | 7.5391 | 0.057602 | 0.0048246 | 0.059485 | 0.0072774 | 0.0016918 | 1.1915e-05 | 0.034752 | 0.0093108 | 62.4357 | 0.00080147 | 1.6384e-06
81 | 4.8234e-06 | 0.17204 | 0.013709 | 0.18326 | 9.0068 |  |  |  |  | 7.2366 | 6.622 | 7.5538 | 0.06038 | 0.0052052 | 0.062233 | 0.007648 | 0.0017803 | 1.2251e-05 | 0.036091 | 0.0099247 | 63.3701 | 0.00084729 | 1.6382e-06
82 | 4.6504e-06 | 0.18084 | 0.014912 | 0.19272 | 9.0067 |  |  |  |  | 7.2416 | 6.6567 | 7.569 | 0.063445 | 0.0056472 | 0.065265 | 0.0080794 | 0.0018785 | 1.2652e-05 | 0.037545 | 0.010627 | 64.4005 | 0.00089799 | 1.6379e-06
83 | 4.4615e-06 | 0.1906 | 0.016334 | 0.20319 | 9.0067 |  |  |  |  | 7.2464 | 6.6939 | 7.5846 | 0.066845 | 0.0061664 | 0.068629 | 0.0085874 | 0.0019882 | 1.3138e-05 | 0.039128 | 0.011438 | 65.5417 | 0.00095445 | 1.6377e-06
84 | 4.2548e-06 | 0.20149 | 0.018038 | 0.21483 | 9.0067 |  |  |  |  | 7.251 | 6.7339 | 7.6006 | 0.070637 | 0.006784 | 0.072382 | 0.0091934 | 0.0021117 | 1.3735e-05 | 0.040859 | 0.012384 | 66.812 | 0.0010177 | 1.6374e-06
85 | 4.0283e-06 | 0.21372 | 0.02011 | 0.22782 | 9.0066 |  |  |  |  | 7.2555 | 6.7771 | 7.617 | 0.074894 | 0.0075292 | 0.076595 | 0.0099273 | 0.0022515 | 1.4484e-05 | 0.042757 | 0.0135 | 68.2344 | 0.0010892 | 1.6372e-06
86 | 8.3157e-06 | 0.22755 | 0.011072 | 0.24715 | 14.2066 |  |  |  |  | 7.2598 | 6.6225 | 7.6605 | 0.079706 | 0.0045971 | 0.081357 | 0.0067752 | 0.0024113 | 6.0897e-06 | 0.044847 | 0.0082886 | 68.7849 | 0.0011706 | 1.637e-06
87 | 7.956e-06 | 0.2442 | 0.012413 | 0.26564 | 14.2053 |  |  |  |  | 7.2638 | 6.5907 | 7.6369 | 0.085484 | 0.0050453 | 0.087094 | 0.0076075 | 0.0025964 | 9.6143e-06 | 0.047659 | 0.0090812 | 69.4492 | 0.0012645 | 1.6368e-06
88 | 7.5461e-06 | 0.26351 | 0.014104 | 0.287 | 14.2053 |  |  |  |  | 7.2693 | 6.6442 | 7.6575 | 0.092187 | 0.0056995 | 0.093717 | 0.0082361 | 0.0028119 | 1.0146e-05 | 0.050874 | 0.010145 | 70.2659 | 0.0013738 | 1.6365e-06
89 | 7.0742e-06 | 0.28619 | 0.016297 | 0.31191 | 14.2052 |  |  |  |  | 7.2744 | 6.705 | 7.6793 | 0.10005 | 0.0065363 | 0.10149 | 0.0090377 | 0.0030666 | 1.0805e-05 | 0.054576 | 0.011488 | 71.2735 | 0.0015026 | 1.6363e-06
90 | 6.5275e-06 | 0.31318 | 0.01924 | 0.34127 | 14.2052 |  |  |  |  | 7.2789 | 6.7733 | 7.7019 | 0.1094 | 0.0076393 | 0.11073 | 0.010102 | 0.0033722 | 1.1721e-05 | 0.058885 | 0.013231 | 72.5275 | 0.0016568 | 1.6361e-06
91 | 5.8908e-06 | 0.34583 | 0.023367 | 0.37632 | 14.2051 |  |  |  |  | 7.2828 | 6.8509 | 7.725 | 0.12071 | 0.0091539 | 0.12191 | 0.011575 | 0.0037456 | 1.3059e-05 | 0.063958 | 0.015578 | 74.1116 | 0.0018449 | 1.6359e-06
92 | 5.1481e-06 | 0.38614 | 0.029489 | 0.41875 | 14.2051 |  |  |  |  | 7.2857 | 6.9393 | 7.7483 | 0.13465 | 0.01135 | 0.13571 | 0.013732 | 0.0042122 | 1.5145e-05 | 0.070005 | 0.018882 | 76.1593 | 0.0020795 | 1.6357e-06
93 | 4.2858e-06 | 0.43709 | 0.039286 | 0.47101 | 14.2028 |  |  |  |  | 7.2872 | 7.0405 | 7.7712 | 0.15227 | 0.014779 | 0.15313 | 0.017135 | 0.0048117 | 1.8679e-05 | 0.077309 | 0.023805 | 78.8973 | 0.0023806 | 1.6356e-06
94 | 3.3157e-06 | 0.5034 | 0.056511 | 0.53695 | 14.2026 |  |  |  |  | 7.2867 | 7.1559 | 7.7932 | 0.17518 | 0.020666 | 0.1758 | 0.023027 | 0.0056106 | 2.5245e-05 | 0.086226 | 0.031607 | 82.7283 | 0.0027813 | 1.6357e-06
95 | 2.3048e-06 | 0.59277 | 0.090209 | 0.62331 | 14.2024 |  |  |  |  | 0 | 0 | 0 | 0.20608 | 0 | 0.20635 | 0 | 0.0067276 | 0 | 0.09715 | 0 | 81.8665 | 0 | 0