## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate
0 | 5.204e-06 | 0.036626 | 0.0026449 | 0.038658 | 6.5 | 17.8711 | 18.4958 | 18.3131 | 20.6785 | 8.3001 | 8.6044 | 8.2863 | 0.0099993 | 0.00083971 | 0.0087614 | 0.00070178 | 0.00087283 | 2.4204e-06 | 0.0025449 | 0.00066897 | 9.3729 | 0
1 | 5.1967e-06 | 0.03697 | 0.0026743 | 0.039036 | 6.5 |  |  |  |  | 8.2989 | 8.6459 | 8.3096 | 0.010092 | 0.00085671 | 0.0088428 | 0.00070407 | 0.00088162 | 2.2316e-06 | 0.0025639 | 0.00068385 | 9.4771 | 0
2 | 5.1891e-06 | 0.03732 | 0.0027043 | 0.039421 | 6.5 |  |  |  |  | 8.2977 | 8.6434 | 8.3086 | 0.010186 | 0.00086499 | 0.0089258 | 0.00071194 | 0.0008906 | 2.2571e-06 | 0.0025831 | 0.00068916 | 9.5367 | 0
3 | 5.1813e-06 | 0.037676 | 0.0027351 | 0.039814 | 6.5 |  |  |  |  | 8.2964 | 8.6404 | 8.3077 | 0.010282 | 0.00087329 | 0.0090105 | 0.00071993 | 0.00089976 | 2.2821e-06 | 0.0026026 | 0.00069463 | 9.5856 | 0
4 | 5.1734e-06 | 0.03804 | 0.0027666 | 0.040215 | 6.4999 |  |  |  |  | 8.2951 | 8.6374 | 8.3068 | 0.01038 | 0.00088177 | 0.0090969 | 0.0007281 | 0.00090911 | 2.3076e-06 | 0.0026225 | 0.00070021 | 9.6306 | 0
5 | 5.1653e-06 | 0.038412 | 0.0027988 | 0.040624 | 6.4999 |  |  |  |  | 8.2937 | 8.6343 | 8.3059 | 0.01048 | 0.00089045 | 0.009185 | 0.00073646 | 0.00091865 | 2.3336e-06 | 0.0026427 | 0.00070591 | 9.6739 | 0
6 | 5.1571e-06 | 0.038791 | 0.0028319 | 0.041042 | 6.4999 |  |  |  |  | 8.2924 | 8.6313 | 8.3051 | 0.010582 | 0.00089933 | 0.0092749 | 0.00074502 | 0.0009284 | 2.3602e-06 | 0.0026633 | 0.00071172 | 9.7165 | 0
7 | 5.1486e-06 | 0.039177 | 0.0028657 | 0.041469 | 6.4999 |  |  |  |  | 8.2911 | 8.6282 | 8.3042 | 0.010686 | 0.00090842 | 0.0093666 | 0.00075377 | 0.00093836 | 2.3873e-06 | 0.0026843 | 0.00071767 | 9.7588 | 0
8 | 5.1401e-06 | 0.039572 | 0.0029003 | 0.041905 | 6.4999 |  |  |  |  | 8.2897 | 8.625 | 8.3033 | 0.010793 | 0.00091772 | 0.0094602 | 0.00076274 | 0.00094853 | 2.4151e-06 | 0.0027057 | 0.00072373 | 9.8012 | 0
9 | 5.1313e-06 | 0.039975 | 0.0029358 | 0.042351 | 6.4999 |  |  |  |  | 8.2884 | 8.6218 | 8.3024 | 0.010901 | 0.00092723 | 0.0095558 | 0.00077192 | 0.00095893 | 2.4435e-06 | 0.0027275 | 0.00072994 | 9.8438 | 0
10 | 5.1223e-06 | 0.040387 | 0.0029722 | 0.042806 | 6.4998 |  |  |  |  | 8.287 | 8.6186 | 8.3015 | 0.011012 | 0.00093698 | 0.0096534 | 0.00078133 | 0.00096955 | 2.4725e-06 | 0.0027497 | 0.00073627 | 9.8867 | 0
11 | 5.1132e-06 | 0.040807 | 0.0030095 | 0.043272 | 6.4998 |  |  |  |  | 8.2856 | 8.6154 | 8.3007 | 0.011125 | 0.00094698 | 0.009753 | 0.00079097 | 0.00098042 | 2.5021e-06 | 0.0027723 | 0.00074276 | 9.9301 | 0
12 | 5.1038e-06 | 0.041236 | 0.0030478 | 0.043748 | 6.4998 |  |  |  |  | 8.2842 | 8.6121 | 8.2998 | 0.011241 | 0.00095721 | 0.0098549 | 0.00080085 | 0.00099153 | 2.5324e-06 | 0.0027953 | 0.00074938 | 9.9739 | 0
13 | 5.0943e-06 | 0.041675 | 0.0030871 | 0.044234 | 6.4998 |  |  |  |  | 8.2828 | 8.6087 | 8.2989 | 0.011359 | 0.0009677 | 0.009959 | 0.00081098 | 0.0010029 | 2.5635e-06 | 0.0028189 | 0.00075616 | 10.0182 | 0
14 | 5.0845e-06 | 0.042124 | 0.0031274 | 0.044732 | 6.4998 |  |  |  |  | 8.2814 | 8.6054 | 8.298 | 0.01148 | 0.00097846 | 0.010065 | 0.00082138 | 0.0010145 | 2.5952e-06 | 0.0028428 | 0.0007631 | 10.0631 | 0
15 | 5.0745e-06 | 0.042583 | 0.0031688 | 0.045241 | 6.4998 |  |  |  |  | 8.2799 | 8.6019 | 8.2971 | 0.011603 | 0.00098949 | 0.010174 | 0.00083204 | 0.0010264 | 2.6277e-06 | 0.0028673 | 0.00077019 | 10.1086 | 0
16 | 5.0643e-06 | 0.043052 | 0.0032113 | 0.045763 | 6.4998 |  |  |  |  | 8.2785 | 8.5985 | 8.2962 | 0.01173 | 0.0010008 | 0.010285 | 0.00084299 | 0.0010386 | 2.661e-06 | 0.0028923 | 0.00077746 | 10.1548 | 0
17 | 5.0538e-06 | 0.043532 | 0.003255 | 0.046296 | 6.4997 |  |  |  |  | 8.277 | 8.595 | 8.2954 | 0.011859 | 0.0010124 | 0.010399 | 0.00085423 | 0.0010511 | 2.6951e-06 | 0.0029178 | 0.0007849 | 10.2016 | 0
18 | 5.0431e-06 | 0.044023 | 0.0032999 | 0.046843 | 6.4997 |  |  |  |  | 8.2756 | 8.5914 | 8.2945 | 0.011991 | 0.0010244 | 0.010515 | 0.00086577 | 0.0010639 | 2.73e-06 | 0.0029438 | 0.00079253 | 10.2491 | 0
19 | 5.0322e-06 | 0.044526 | 0.0033461 | 0.047402 | 6.4997 |  |  |  |  | 8.2741 | 8.5879 | 8.2936 | 0.012127 | 0.0010366 | 0.010635 | 0.00087763 | 0.001077 | 2.7658e-06 | 0.0029703 | 0.00080034 | 10.2973 | 0
20 | 5.0209e-06 | 0.045041 | 0.0033937 | 0.047976 | 6.4997 |  |  |  |  | 8.2726 | 8.5842 | 8.2927 | 0.012265 | 0.0010492 | 0.010757 | 0.00088982 | 0.0010904 | 2.8026e-06 | 0.0029974 | 0.00080835 | 10.3463 | 0
21 | 5.0095e-06 | 0.045568 | 0.0034425 | 0.048564 | 6.4997 |  |  |  |  | 8.2711 | 8.5805 | 8.2918 | 0.012407 | 0.0010622 | 0.010881 | 0.00090236 | 0.0011042 | 2.8402e-06 | 0.0030252 | 0.00081656 | 10.396 | 0
22 | 4.9977e-06 | 0.046108 | 0.0034929 | 0.049166 | 6.4997 |  |  |  |  | 8.2695 | 8.5768 | 8.2909 | 0.012553 | 0.0010755 | 0.011009 | 0.00091525 | 0.0011183 | 2.8789e-06 | 0.0030535 | 0.00082499 | 10.4466 | 0
23 | 4.9856e-06 | 0.046661 | 0.0035447 | 0.049784 | 6.4996 |  |  |  |  | 8.268 | 8.573 | 8.2901 | 0.012702 | 0.0010892 | 0.01114 | 0.00092852 | 0.0011328 | 2.9185e-06 | 0.0030824 | 0.00083364 | 10.498 | 0
24 | 4.9733e-06 | 0.047229 | 0.0035982 | 0.050418 | 6.4996 |  |  |  |  | 8.2664 | 8.5692 | 8.2892 | 0.012855 | 0.0011033 | 0.011275 | 0.00094218 | 0.0011477 | 2.9593e-06 | 0.003112 | 0.00084251 | 10.5502 | 0
25 | 4.9606e-06 | 0.047811 | 0.0036533 | 0.051069 | 6.4996 |  |  |  |  | 8.2648 | 8.5653 | 8.2883 | 0.013011 | 0.0011178 | 0.011413 | 0.00095625 | 0.0011629 | 3.0011e-06 | 0.0031423 | 0.00085162 | 10.6034 | 0
26 | 4.9476e-06 | 0.048407 | 0.0037101 | 0.051737 | 6.4996 |  |  |  |  | 8.2633 | 8.5614 | 8.2874 | 0.013172 | 0.0011327 | 0.011554 | 0.00097075 | 0.0011786 | 3.0441e-06 | 0.0031732 | 0.00086099 | 10.6575 | 0
27 | 4.9342e-06 | 0.04902 | 0.0037687 | 0.052423 | 6.4996 |  |  |  |  | 8.2617 | 8.5574 | 8.2866 | 0.013337 | 0.0011482 | 0.011699 | 0.0009857 | 0.0011947 | 3.0882e-06 | 0.0032049 | 0.00087062 | 10.7125 | 0
28 | 4.9206e-06 | 0.049648 | 0.0038292 | 0.053127 | 6.4996 |  |  |  |  | 8.26 | 8.5533 | 8.2857 | 0.013506 | 0.001164 | 0.011848 | 0.0010011 | 0.0012113 | 3.1337e-06 | 0.0032373 | 0.00088051 | 10.7685 | 0
29 | 4.9065e-06 | 0.050293 | 0.0038917 | 0.053851 | 6.4995 |  |  |  |  | 8.2584 | 8.5492 | 8.2848 | 0.01368 | 0.0011804 | 0.012 | 0.001017 | 0.0012283 | 3.1805e-06 | 0.0032705 | 0.00089069 | 10.8255 | 0
30 | 4.8921e-06 | 0.050956 | 0.0039563 | 0.054596 | 6.4995 |  |  |  |  | 8.2567 | 8.5451 | 8.2839 | 0.013859 | 0.0011973 | 0.012157 | 0.0010334 | 0.0012458 | 3.2286e-06 | 0.0033045 | 0.00090117 | 10.8836 | 0
31 | 4.8772e-06 | 0.051637 | 0.0040231 | 0.055361 | 6.4995 |  |  |  |  | 8.255 | 8.5408 | 8.283 | 0.014042 | 0.0012148 | 0.012319 | 0.0010504 | 0.0012638 | 3.2782e-06 | 0.0033393 | 0.00091196 | 10.9428 | 0
32 | 4.862e-06 | 0.052338 | 0.0040922 | 0.056149 | 6.4995 |  |  |  |  | 8.2534 | 8.5365 | 8.2822 | 0.014231 | 0.0012328 | 0.012484 | 0.0010679 | 0.0012823 | 3.3293e-06 | 0.003375 | 0.00092307 | 11.0031 | 0
33 | 4.8463e-06 | 0.053058 | 0.0041637 | 0.056959 | 6.4995 |  |  |  |  | 8.2516 | 8.5322 | 8.2813 | 0.014425 | 0.0012515 | 0.012655 | 0.0010861 | 0.0013014 | 3.3818e-06 | 0.0034116 | 0.00093452 | 11.0646 | 0
34 | 4.8302e-06 | 0.053798 | 0.0042378 | 0.057794 | 6.4994 |  |  |  |  | 8.2499 | 8.5278 | 8.2805 | 0.014624 | 0.0012708 | 0.01283 | 0.0011048 | 0.0013211 | 3.4361e-06 | 0.0034492 | 0.00094633 | 11.1273 | 0
35 | 4.8135e-06 | 0.054561 | 0.0043146 | 0.058654 | 6.4994 |  |  |  |  | 8.2481 | 8.5233 | 8.2796 | 0.01483 | 0.0012907 | 0.01301 | 0.0011242 | 0.0013413 | 3.4922e-06 | 0.0034877 | 0.0009585 | 11.1912 | 0
36 | 4.7965e-06 | 0.055346 | 0.0043942 | 0.05954 | 6.4994 |  |  |  |  | 8.2464 | 8.5188 | 8.2787 | 0.015041 | 0.0013114 | 0.013196 | 0.0011443 | 0.0013622 | 3.5501e-06 | 0.0035272 | 0.00097108 | 11.2565 | 0
37 | 4.7789e-06 | 0.056155 | 0.0044768 | 0.060453 | 6.4994 |  |  |  |  | 8.2446 | 8.5142 | 8.2779 | 0.015259 | 0.0013328 | 0.013387 | 0.0011652 | 0.0013838 | 3.6098e-06 | 0.0035678 | 0.00098406 | 11.3231 | 0
38 | 4.7607e-06 | 0.056988 | 0.0045627 | 0.061396 | 6.4994 |  |  |  |  | 8.2427 | 8.5095 | 8.277 | 0.015484 | 0.001355 | 0.013584 | 0.0011868 | 0.0014061 | 3.6716e-06 | 0.0036094 | 0.00099748 | 11.3911 | 0
39 | 4.742e-06 | 0.057848 | 0.0046518 | 0.062368 | 6.4993 |  |  |  |  | 8.2409 | 8.5047 | 8.2762 | 0.015715 | 0.0013781 | 0.013788 | 0.0012093 | 0.0014291 | 3.7355e-06 | 0.0036522 | 0.0010114 | 11.4606 | 0
40 | 4.7228e-06 | 0.058734 | 0.0047446 | 0.063372 | 6.4993 |  |  |  |  | 8.239 | 8.4999 | 8.2753 | 0.015954 | 0.001402 | 0.013997 | 0.0012326 | 0.0014528 | 3.8016e-06 | 0.0036963 | 0.0010257 | 11.5316 | 0
41 | 4.7029e-06 | 0.059649 | 0.0048411 | 0.064409 | 6.4993 |  |  |  |  | 8.2371 | 8.4949 | 8.2745 | 0.016201 | 0.0014269 | 0.014214 | 0.0012568 | 0.0014774 | 3.8701e-06 | 0.0037415 | 0.0010406 | 11.6041 | 0
42 | 4.6823e-06 | 0.060594 | 0.0049416 | 0.065481 | 6.4993 |  |  |  |  | 8.2352 | 8.4899 | 8.2737 | 0.016456 | 0.0014527 | 0.014437 | 0.001282 | 0.0015028 | 3.941e-06 | 0.0037881 | 0.001056 | 11.6784 | 0
43 | 4.6611e-06 | 0.061571 | 0.0050464 | 0.06659 | 6.4993 |  |  |  |  | 8.2333 | 8.4849 | 8.2729 | 0.016719 | 0.0014796 | 0.014668 | 0.0013082 | 0.0015291 | 4.0146e-06 | 0.003836 | 0.0010719 | 11.7543 | 0
44 | 4.6392e-06 | 0.06258 | 0.0051557 | 0.067737 | 6.4993 |  |  |  |  | 8.2313 | 8.4797 | 8.272 | 0.016991 | 0.0015076 | 0.014906 | 0.0013355 | 0.0015563 | 4.0911e-06 | 0.0038854 | 0.0010885 | 11.832 | 0
45 | 4.6166e-06 | 0.063624 | 0.0052699 | 0.068924 | 6.4992 |  |  |  |  | 8.2293 | 8.4744 | 8.2712 | 0.017273 | 0.0015368 | 0.015153 | 0.001364 | 0.0015845 | 4.1704e-06 | 0.0039362 | 0.0011056 | 11.9115 | 0
46 | 5.5439e-06 | 0.064705 | 0.0043987 | 0.068204 | 7.5092 |  |  |  |  | 8.2272 | 8.4944 | 8.2594 | 0.017564 | 0.0013276 | 0.015409 | 0.0011669 | 0.0016138 | 3.6491e-06 | 0.0039887 | 0.0009842 | 11.9515 | 0
47 | 5.5198e-06 | 0.065843 | 0.0044972 | 0.069446 | 7.5092 |  |  |  |  | 8.2252 | 8.4805 | 8.2552 | 0.01787 | 0.0013525 | 0.015677 | 0.0011943 | 0.0016442 | 3.7662e-06 | 0.0040453 | 0.0009983 | 11.9939 | 0
48 | 5.4948e-06 | 0.067022 | 0.0046001 | 0.070735 | 7.5092 |  |  |  |  | 8.2231 | 8.4745 | 8.2542 | 0.018188 | 0.0013793 | 0.015956 | 0.0012206 | 0.0016757 | 3.8418e-06 | 0.0041039 | 0.0010149 | 12.0393 | 0
49 | 5.4689e-06 | 0.068246 | 0.0047079 | 0.072073 | 7.5092 |  |  |  |  | 8.221 | 8.4684 | 8.2532 | 0.018518 | 0.0014074 | 0.016245 | 0.0012481 | 0.0017085 | 3.9207e-06 | 0.0041645 | 0.0010322 | 12.0878 | 0
50 | 5.442e-06 | 0.069517 | 0.0048209 | 0.073464 | 7.5092 |  |  |  |  | 8.2189 | 8.4623 | 8.2523 | 0.01886 | 0.0014367 | 0.016545 | 0.0012769 | 0.0017426 | 4.0029e-06 | 0.0042272 | 0.0010502 | 12.1392 | 0
51 | 5.4133e-06 | 0.070838 | 0.0049401 | 0.074909 | 7.5085 |  |  |  |  | 8.2167 | 8.456 | 8.2513 | 0.019215 | 0.0014676 | 0.016856 | 0.0013072 | 0.0017781 | 4.0892e-06 | 0.004292 | 0.001069 | 12.1938 | 0
52 | 5.3843e-06 | 0.07221 | 0.0050647 | 0.076414 | 7.5084 |  |  |  |  | 8.2145 | 8.4496 | 8.2504 | 0.019585 | 0.0014999 | 0.01718 | 0.0013388 | 0.001815 | 4.1787e-06 | 0.0043591 | 0.0010886 | 12.2515 | 0
53 | 5.3541e-06 | 0.073639 | 0.0051957 | 0.077981 | 7.5084 |  |  |  |  | 8.2122 | 8.4431 | 8.2495 | 0.01997 | 0.0015337 | 0.017517 | 0.001372 | 0.0018536 | 4.2723e-06 | 0.0044287 | 0.0011091 | 12.3124 | 0
54 | 5.3227e-06 | 0.075127 | 0.0053338 | 0.079614 | 7.5084 |  |  |  |  | 8.2099 | 8.4364 | 8.2485 | 0.020371 | 0.0015693 | 0.017868 | 0.001407 | 0.0018938 | 4.3703e-06 | 0.0045009 | 0.0011305 | 12.3766 | 0
55 | 5.2899e-06 | 0.076678 | 0.0054793 | 0.081317 | 7.5084 |  |  |  |  | 8.2076 | 8.4296 | 8.2476 | 0.020789 | 0.0016067 | 0.018234 | 0.0014437 | 0.0019358 | 4.473e-06 | 0.0045758 | 0.001153 | 12.444 | 0
56 | 5.2558e-06 | 0.078296 | 0.0056331 | 0.083096 | 7.5084 |  |  |  |  | 8.2052 | 8.4227 | 8.2467 | 0.021224 | 0.0016461 | 0.018616 | 0.0014824 | 0.0019797 | 4.5806e-06 | 0.0046536 | 0.0011765 | 12.5149 | 0
57 | 5.2202e-06 | 0.079986 | 0.0057957 | 0.084955 | 7.5083 |  |  |  |  | 8.2028 | 8.4157 | 8.2458 | 0.02168 | 0.0016877 | 0.019014 | 0.0015233 | 0.0020256 | 4.6937e-06 | 0.0047344 | 0.0012013 | 12.5893 | 0
58 | 5.1831e-06 | 0.081752 | 0.0059679 | 0.086899 | 7.5083 |  |  |  |  | 8.2004 | 8.4084 | 8.245 | 0.022156 | 0.0017316 | 0.019431 | 0.0015665 | 0.0020737 | 4.8127e-06 | 0.0048186 | 0.0012273 | 12.6674 | 0
59 | 5.1442e-06 | 0.083601 | 0.0061506 | 0.088935 | 7.5083 |  |  |  |  | 8.1979 | 8.4011 | 8.2441 | 0.022654 | 0.0017781 | 0.019866 | 0.0016122 | 0.0021242 | 4.9379e-06 | 0.0049062 | 0.0012546 | 12.7493 | 0
60 | 5.1036e-06 | 0.085537 | 0.0063449 | 0.091069 | 7.5083 |  |  |  |  | 8.1953 | 8.3936 | 8.2433 | 0.023176 | 0.0018274 | 0.020323 | 0.0016606 | 0.0021771 | 5.0701e-06 | 0.0049974 | 0.0012835 | 12.8351 | 0
61 | 5.0611e-06 | 0.087567 | 0.0065517 | 0.093308 | 7.5083 |  |  |  |  | 8.1927 | 8.3859 | 8.2424 | 0.023723 | 0.0018798 | 0.020801 | 0.0017121 | 0.0022328 | 5.2098e-06 | 0.0050927 | 0.001314 | 12.925 | 0
62 | 5.0165e-06 | 0.089699 | 0.0067723 | 0.095661 | 7.5082 |  |  |  |  | 8.19 | 8.378 | 8.2417 | 0.024298 | 0.0019355 | 0.021303 | 0.0017669 | 0.0022915 | 5.3576e-06 | 0.0051921 | 0.0013462 | 13.0192 | 0
63 | 4.9697e-06 | 0.091941 | 0.0070082 | 0.098135 | 7.5082 |  |  |  |  | 8.1873 | 8.3699 | 8.2409 | 0.024902 | 0.0019948 | 0.021831 | 0.0018254 | 0.0023532 | 5.5146e-06 | 0.0052961 | 0.0013804 | 13.118 | 0
64 | 4.9206e-06 | 0.0943 | 0.007261 | 0.10074 | 7.5082 |  |  |  |  | 8.1845 | 8.3617 | 8.2401 | 0.025539 | 0.0020583 | 0.022387 | 0.0018878 | 0.0024185 | 5.6812e-06 | 0.0054048 | 0.0014167 | 13.2215 | 0
65 | 4.8689e-06 | 0.096787 | 0.0075325 | 0.10349 | 7.5082 |  |  |  |  | 8.1816 | 8.3533 | 8.2394 | 0.02621 | 0.0021262 | 0.022973 | 0.0019546 | 0.0024874 | 5.8588e-06 | 0.0055188 | 0.0014553 | 13.3301 | 0
66 | 4.8145e-06 | 0.099412 | 0.0078248 | 0.10639 | 7.5081 |  |  |  |  | 8.1787 | 8.3447 | 8.2387 | 0.026918 | 0.0021991 | 0.023591 | 0.0020264 | 0.0025604 | 6.0485e-06 | 0.0056383 | 0.0014964 | 13.4441 | 0
67 | 4.7572e-06 | 0.10219 | 0.0081403 | 0.10946 | 7.5081 |  |  |  |  | 8.1757 | 8.3358 | 8.2381 | 0.027667 | 0.0022775 | 0.024245 | 0.0021037 | 0.0026378 | 6.2513e-06 | 0.0057638 | 0.0015403 | 13.5638 | 0
68 | 4.6966e-06 | 0.10513 | 0.0084819 | 0.11271 | 7.5081 |  |  |  |  | 8.1726 | 8.3268 | 8.2374 | 0.02846 | 0.0023621 | 0.024936 | 0.0021871 | 0.00272 | 6.469e-06 | 0.0058958 | 0.0015874 | 13.6895 | 0
69 | 4.6327e-06 | 0.10824 | 0.0088529 | 0.11616 | 7.5081 |  |  |  |  | 8.1694 | 8.3175 | 8.2369 | 0.029302 | 0.0024537 | 0.02567 | 0.0022774 | 0.0028076 | 6.7033e-06 | 0.0060348 | 0.0016379 | 13.8218 | 0
70 | 4.565e-06 | 0.11156 | 0.0092571 | 0.11982 | 7.508 |  |  |  |  | 8.1661 | 8.308 | 8.2363 | 0.030197 | 0.0025531 | 0.02645 | 0.0023754 | 0.0029009 | 6.9563e-06 | 0.0061813 | 0.0016923 | 13.9611 | 0
71 | 5.8728e-06 | 0.11508 | 0.007422 | 0.12147 | 9.008 |  |  |  |  | 8.1628 | 8.3411 | 8.2288 | 0.031151 | 0.0021335 | 0.02728 | 0.001966 | 0.0030007 | 5.7068e-06 | 0.0063361 | 0.0014676 | 14.0528 | 0
72 | 5.7935e-06 | 0.11893 | 0.0077754 | 0.12564 | 9.008 |  |  |  |  | 8.1592 | 8.3181 | 8.2242 | 0.032187 | 0.0022218 | 0.028184 | 0.0020585 | 0.0031077 | 6.0123e-06 | 0.00651 | 0.001516 | 14.1512 | 0
73 | 5.7089e-06 | 0.12305 | 0.0081636 | 0.1301 | 9.008 |  |  |  |  | 8.1555 | 8.3073 | 8.2235 | 0.033297 | 0.0023192 | 0.029152 | 0.0021546 | 0.0032225 | 6.2549e-06 | 0.006695 | 0.001572 | 14.2576 | 0
74 | 5.6184e-06 | 0.12746 | 0.0085921 | 0.1349 | 9.008 |  |  |  |  | 8.1517 | 8.2963 | 8.2229 | 0.034488 | 0.0024263 | 0.03019 | 0.0022602 | 0.0033463 | 6.52e-06 | 0.006892 | 0.001633 | 14.3726 | 0
75 | 5.5204e-06 | 0.13222 | 0.0090686 | 0.14005 | 9.0069 |  |  |  |  | 8.1478 | 8.285 | 8.2224 | 0.035771 | 0.0025447 | 0.031307 | 0.002377 | 0.0034798 | 6.8115e-06 | 0.0071024 | 0.0016999 | 14.4969 | 0
76 | 5.4162e-06 | 0.13735 | 0.0095984 | 0.14562 | 9.0069 |  |  |  |  | 8.1438 | 8.2734 | 8.222 | 0.037155 | 0.0026758 | 0.032513 | 0.0025064 | 0.0036246 | 7.1312e-06 | 0.0073275 | 0.0017732 | 14.6313 | 0
77 | 5.304e-06 | 0.14291 | 0.010193 | 0.15164 | 9.0069 |  |  |  |  | 8.1395 | 8.2616 | 8.2216 | 0.038654 | 0.0028221 | 0.033818 | 0.0026506 | 0.0037818 | 7.4853e-06 | 0.007569 | 0.0018542 | 14.7768 | 0
78 | 5.1829e-06 | 0.14894 | 0.010863 | 0.15818 | 9.0069 |  |  |  |  | 8.1351 | 8.2494 | 8.2213 | 0.040283 | 0.0029862 | 0.035234 | 0.0028126 | 0.0039534 | 7.8796e-06 | 0.0078287 | 0.0019442 | 14.9345 | 0
79 | 5.0519e-06 | 0.15551 | 0.011626 | 0.16529 | 9.0068 |  |  |  |  | 8.1306 | 8.2369 | 8.2212 | 0.042059 | 0.0031718 | 0.036778 | 0.0029957 | 0.0041413 | 8.3219e-06 | 0.0081089 | 0.0020446 | 15.1059 | 0
80 | 4.9098e-06 | 0.16271 | 0.012499 | 0.17307 | 9.0068 |  |  |  |  | 8.1258 | 8.224 | 8.2211 | 0.044003 | 0.0033831 | 0.038467 | 0.0032044 | 0.0043479 | 8.8219e-06 | 0.0084121 | 0.0021576 | 15.2927 | 0
81 | 4.7553e-06 | 0.17061 | 0.013509 | 0.18159 | 9.0068 |  |  |  |  | 8.1207 | 8.2107 | 8.2213 | 0.046141 | 0.0036261 | 0.040323 | 0.0034442 | 0.0045763 | 9.3919e-06 | 0.0087413 | 0.0022857 | 15.4967 | 0
82 | 4.5869e-06 | 0.17934 | 0.01469 | 0.19099 | 9.0067 |  |  |  |  | 8.1154 | 8.197 | 8.2216 | 0.048503 | 0.003908 | 0.042372 | 0.0037227 | 0.00483 | 1.0048e-05 | 0.0091 | 0.002432 | 15.7205 | 0
83 | 4.4028e-06 | 0.18903 | 0.016085 | 0.20137 | 9.0067 |  |  |  |  | 8.1099 | 8.1829 | 8.222 | 0.051126 | 0.004239 | 0.044646 | 0.0040497 | 0.0051135 | 1.0813e-05 | 0.0094922 | 0.0026008 | 15.9672 | 0
84 | 4.2011e-06 | 0.19984 | 0.017756 | 0.21292 | 9.0067 |  |  |  |  | 8.104 | 8.1682 | 8.2228 | 0.054057 | 0.0046326 | 0.047183 | 0.0044387 | 0.0054325 | 1.1715e-05 | 0.0099229 | 0.0027976 | 16.2405 | 0
85 | 3.9796e-06 | 0.21197 | 0.019787 | 0.22582 | 9.0066 |  |  |  |  | 8.0978 | 8.153 | 8.2237 | 0.057352 | 0.0051078 | 0.050032 | 0.0049086 | 0.0057938 | 1.2796e-05 | 0.010398 | 0.00303 | 16.5453 | 0
86 | 8.1795e-06 | 0.2257 | 0.010928 | 0.24479 | 14.2066 |  |  |  |  | 8.0911 | 8.3083 | 8.229 | 0.061083 | 0.0031636 | 0.053255 | 0.0029477 | 0.0062068 | 6.7329e-06 | 0.010924 | 0.0020747 | 16.6892 | 0
87 | 7.8289e-06 | 0.24222 | 0.012247 | 0.26311 | 14.2053 |  |  |  |  | 8.0829 | 8.2422 | 8.2183 | 0.065539 | 0.0034878 | 0.057125 | 0.0032933 | 0.0066837 | 7.6553e-06 | 0.011605 | 0.002242 | 16.8566 | 0
88 | 7.4288e-06 | 0.26139 | 0.01391 | 0.28428 | 14.2053 |  |  |  |  | 8.0742 | 8.2287 | 8.2198 | 0.07071 | 0.0038967 | 0.061611 | 0.0036911 | 0.00724 | 8.4209e-06 | 0.012385 | 0.002467 | 17.0555 | 0
89 | 6.9674e-06 | 0.28389 | 0.016067 | 0.30896 | 14.2052 |  |  |  |  | 8.0648 | 8.215 | 8.2219 | 0.076784 | 0.0044196 | 0.066877 | 0.0041999 | 0.0078975 | 9.3887e-06 | 0.013287 | 0.0027487 | 17.2939 | 0
90 | 6.4317e-06 | 0.31067 | 0.018962 | 0.33806 | 14.2052 |  |  |  |  | 8.0544 | 8.2007 | 8.2247 | 0.08402 | 0.0051107 | 0.073144 | 0.0048726 | 0.0086863 | 1.0651e-05 | 0.014341 | 0.0031121 | 17.5831 | 0
91 | 5.8062e-06 | 0.34308 | 0.023025 | 0.37281 | 14.2051 |  |  |  |  | 8.0428 | 8.1852 | 8.2283 | 0.092788 | 0.006064 | 0.08073 | 0.0058016 | 0.0096502 | 1.237e-05 | 0.015588 | 0.0035989 | 17.94 | 0
92 | 5.0741e-06 | 0.38309 | 0.029061 | 0.41488 | 14.2051 |  |  |  |  | 8.0297 | 8.1672 | 8.2332 | 0.10363 | 0.0074553 | 0.090096 | 0.0071602 | 0.010855 | 1.4849e-05 | 0.017087 | 0.0042832 | 18.3924 | 0
93 | 4.2208e-06 | 0.43366 | 0.038751 | 0.4667 | 14.2028 |  |  |  |  | 8.0147 | 8.1443 | 8.2397 | 0.11737 | 0.0096477 | 0.10194 | 0.0093073 | 0.012404 | 1.8701e-05 | 0.018916 | 0.0053082 | 18.988 | 0
94 | 3.2562e-06 | 0.49948 | 0.05589 | 0.53205 | 14.2026 |  |  |  |  | 7.9973 | 8.113 | 8.2484 | 0.13532 | 0.013455 | 0.11738 | 0.013051 | 0.014468 | 2.5264e-05 | 0.021184 | 0.0069617 | 19.8148 | 0
95 | 2.2467e-06 | 0.5882 | 0.089784 | 0.61757 | 14.2024 |  |  |  |  | 0 | 0 | 0 | 0.15969 | 0 | 0.13825 | 0 | 0.017356 | 0 | 0.024029 | 0 | 19.6084 | 0