## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate | NH4+ Permeability
0 | 2.0125e-08 | 10.0279 | 9.5264 | 10.028 | 6.5 | 0.079022 | 0.10092 | 0.12712 | 0.17488 | 7.1768 | 8.4193 | 8.3078 | 0.0013029 | 0.0003876 | 0.00016677 | 0.00015531 | 0.00087238 | 3.0449e-05 | 0.0025436 | 0.0025269 | 35.4043 | 0.00021385 | 1.6412e-06
1 | 2.0218e-08 | 10.0329 | 9.529 | 10.0331 | 6.5 |  |  |  |  | 7.1698 | 8.4177 | 8.3093 | 0.0013121 | 0.00038724 | 0.00016688 | 0.00015538 | 0.00088089 | 3.061e-05 | 0.0025438 | 0.002527 | 35.4048 | 0.00021604 | 1.6415e-06
2 | 2.0283e-08 | 10.0381 | 9.5323 | 10.0382 | 6.5 |  |  |  |  | 7.1627 | 8.4181 | 8.3102 | 0.0013215 | 0.00038775 | 0.000167 | 0.00015547 | 0.00088956 | 3.0846e-05 | 0.002544 | 0.0025271 | 35.4054 | 0.00021827 | 1.6419e-06
3 | 2.0349e-08 | 10.0433 | 9.5357 | 10.0434 | 6.5 |  |  |  |  | 7.1555 | 8.4185 | 8.3111 | 0.0013312 | 0.00038827 | 0.00016712 | 0.00015555 | 0.00089842 | 3.1085e-05 | 0.0025442 | 0.0025272 | 35.406 | 0.00022054 | 1.6422e-06
4 | 2.0415e-08 | 10.0486 | 9.5392 | 10.0487 | 6.4999 |  |  |  |  | 7.1483 | 8.4189 | 8.312 | 0.001341 | 0.0003888 | 0.00016724 | 0.00015564 | 0.00090745 | 3.1329e-05 | 0.0025443 | 0.0025272 | 35.4067 | 0.00022287 | 1.6426e-06
5 | 2.0483e-08 | 10.0539 | 9.5427 | 10.0541 | 6.4999 |  |  |  |  | 7.141 | 8.4194 | 8.3129 | 0.001351 | 0.00038934 | 0.00016736 | 0.00015572 | 0.00091667 | 3.1576e-05 | 0.0025445 | 0.0025273 | 35.4073 | 0.00022524 | 1.6429e-06
6 | 2.0551e-08 | 10.0594 | 9.5462 | 10.0595 | 6.4999 |  |  |  |  | 7.1337 | 8.4198 | 8.3139 | 0.0013612 | 0.00038989 | 0.00016749 | 0.00015581 | 0.00092609 | 3.1828e-05 | 0.0025447 | 0.0025274 | 35.408 | 0.00022767 | 1.6433e-06
7 | 2.062e-08 | 10.0649 | 9.5498 | 10.065 | 6.4999 |  |  |  |  | 7.1263 | 8.4202 | 8.3148 | 0.0013717 | 0.00039045 | 0.00016761 | 0.0001559 | 0.0009357 | 3.2085e-05 | 0.0025449 | 0.0025275 | 35.4087 | 0.00023015 | 1.6437e-06
8 | 2.069e-08 | 10.0705 | 9.5535 | 10.0706 | 6.4999 |  |  |  |  | 7.1189 | 8.4207 | 8.3158 | 0.0013823 | 0.00039102 | 0.00016774 | 0.00015599 | 0.00094553 | 3.2345e-05 | 0.0025451 | 0.0025276 | 35.4094 | 0.00023268 | 1.6441e-06
9 | 2.0761e-08 | 10.0762 | 9.5572 | 10.0763 | 6.4999 |  |  |  |  | 7.1114 | 8.4211 | 8.3168 | 0.0013932 | 0.0003916 | 0.00016787 | 0.00015608 | 0.00095556 | 3.261e-05 | 0.0025453 | 0.0025277 | 35.4101 | 0.00023527 | 1.6444e-06
10 | 2.0834e-08 | 10.082 | 9.5609 | 10.0821 | 6.4998 |  |  |  |  | 7.1038 | 8.4216 | 8.3178 | 0.0014044 | 0.00039219 | 0.000168 | 0.00015617 | 0.00096582 | 3.288e-05 | 0.0025454 | 0.0025279 | 35.4108 | 0.00023792 | 1.6448e-06
11 | 2.0907e-08 | 10.0878 | 9.5647 | 10.0879 | 6.4998 |  |  |  |  | 7.0962 | 8.4221 | 8.3188 | 0.0014157 | 0.00039279 | 0.00016813 | 0.00015626 | 0.0009763 | 3.3155e-05 | 0.0025456 | 0.002528 | 35.4115 | 0.00024062 | 1.6452e-06
12 | 2.0981e-08 | 10.0938 | 9.5686 | 10.0939 | 6.4998 |  |  |  |  | 7.0886 | 8.4226 | 8.3198 | 0.0014274 | 0.0003934 | 0.00016827 | 0.00015636 | 0.00098702 | 3.3435e-05 | 0.0025458 | 0.0025281 | 35.4122 | 0.00024339 | 1.6456e-06
13 | 2.1056e-08 | 10.0998 | 9.5726 | 10.0999 | 6.4998 |  |  |  |  | 7.0808 | 8.4231 | 8.3209 | 0.0014393 | 0.00039402 | 0.0001684 | 0.00015645 | 0.00099798 | 3.3719e-05 | 0.0025461 | 0.0025282 | 35.4129 | 0.00024623 | 1.646e-06
14 | 2.1132e-08 | 10.1059 | 9.5766 | 10.1061 | 6.4998 |  |  |  |  | 7.073 | 8.4236 | 8.322 | 0.0014514 | 0.00039466 | 0.00016854 | 0.00015655 | 0.0010092 | 3.4009e-05 | 0.0025463 | 0.0025283 | 35.4136 | 0.00024913 | 1.6463e-06
15 | 2.121e-08 | 10.1121 | 9.5806 | 10.1123 | 6.4998 |  |  |  |  | 7.0652 | 8.4241 | 8.3231 | 0.0014638 | 0.00039531 | 0.00016868 | 0.00015665 | 0.0010207 | 3.4305e-05 | 0.0025465 | 0.0025284 | 35.4143 | 0.0002521 | 1.6467e-06
16 | 2.1288e-08 | 10.1185 | 9.5848 | 10.1186 | 6.4998 |  |  |  |  | 7.0573 | 8.4247 | 8.3242 | 0.0014766 | 0.00039598 | 0.00016883 | 0.00015675 | 0.0010324 | 3.4606e-05 | 0.0025467 | 0.0025285 | 35.4151 | 0.00025514 | 1.6471e-06
17 | 2.1368e-08 | 10.1249 | 9.589 | 10.1251 | 6.4997 |  |  |  |  | 7.0493 | 8.4252 | 8.3253 | 0.0014896 | 0.00039665 | 0.00016897 | 0.00015685 | 0.0010444 | 3.4912e-05 | 0.0025469 | 0.0025286 | 35.4158 | 0.00025826 | 1.6475e-06
18 | 2.1448e-08 | 10.1314 | 9.5932 | 10.1316 | 6.4997 |  |  |  |  | 7.0412 | 8.4258 | 8.3265 | 0.0015029 | 0.00039735 | 0.00016912 | 0.00015695 | 0.0010567 | 3.5225e-05 | 0.0025471 | 0.0025287 | 35.4166 | 0.00026145 | 1.6479e-06
19 | 2.153e-08 | 10.1381 | 9.5976 | 10.1382 | 6.4997 |  |  |  |  | 7.0331 | 8.4264 | 8.3277 | 0.0015166 | 0.00039805 | 0.00016927 | 0.00015706 | 0.0010693 | 3.5543e-05 | 0.0025474 | 0.0025289 | 35.4173 | 0.00026472 | 1.6483e-06
20 | 2.1614e-08 | 10.1448 | 9.602 | 10.145 | 6.4997 |  |  |  |  | 7.0248 | 8.427 | 8.3289 | 0.0015305 | 0.00039877 | 0.00016942 | 0.00015717 | 0.0010823 | 3.5868e-05 | 0.0025476 | 0.002529 | 35.4181 | 0.00026808 | 1.6488e-06
21 | 2.1698e-08 | 10.1517 | 9.6065 | 10.1519 | 6.4997 |  |  |  |  | 7.0166 | 8.4276 | 8.3302 | 0.0015449 | 0.00039951 | 0.00016958 | 0.00015728 | 0.0010955 | 3.6199e-05 | 0.0025478 | 0.0025291 | 35.4189 | 0.00027152 | 1.6492e-06
22 | 2.1784e-08 | 10.1587 | 9.6111 | 10.1589 | 6.4997 |  |  |  |  | 7.0082 | 8.4283 | 8.3314 | 0.0015595 | 0.00040027 | 0.00016973 | 0.00015739 | 0.0011091 | 3.6536e-05 | 0.0025481 | 0.0025292 | 35.4197 | 0.00027505 | 1.6496e-06
23 | 2.1871e-08 | 10.1658 | 9.6157 | 10.166 | 6.4996 |  |  |  |  | 6.9997 | 8.4289 | 8.3327 | 0.0015746 | 0.00040104 | 0.0001699 | 0.0001575 | 0.001123 | 3.6881e-05 | 0.0025483 | 0.0025293 | 35.4205 | 0.00027867 | 1.65e-06
24 | 2.196e-08 | 10.1731 | 9.6205 | 10.1732 | 6.4996 |  |  |  |  | 6.9912 | 8.4296 | 8.334 | 0.00159 | 0.00040183 | 0.00017006 | 0.00015761 | 0.0011373 | 3.7232e-05 | 0.0025486 | 0.0025295 | 35.4213 | 0.00028239 | 1.6504e-06
25 | 2.205e-08 | 10.1804 | 9.6253 | 10.1806 | 6.4996 |  |  |  |  | 6.9826 | 8.4303 | 8.3354 | 0.0016059 | 0.00040264 | 0.00017022 | 0.00015773 | 0.001152 | 3.759e-05 | 0.0025488 | 0.0025296 | 35.4221 | 0.00028621 | 1.6509e-06
26 | 2.2141e-08 | 10.1879 | 9.6302 | 10.1881 | 6.4996 |  |  |  |  | 6.9739 | 8.431 | 8.3368 | 0.0016221 | 0.00040347 | 0.00017039 | 0.00015785 | 0.001167 | 3.7956e-05 | 0.0025491 | 0.0025297 | 35.4229 | 0.00029014 | 1.6513e-06
27 | 2.2234e-08 | 10.1956 | 9.6352 | 10.1957 | 6.4996 |  |  |  |  | 6.9651 | 8.4317 | 8.3382 | 0.0016388 | 0.00040431 | 0.00017057 | 0.00015797 | 0.0011825 | 3.833e-05 | 0.0025493 | 0.0025299 | 35.4237 | 0.00029417 | 1.6517e-06
28 | 2.2329e-08 | 10.2033 | 9.6403 | 10.2035 | 6.4996 |  |  |  |  | 6.9563 | 8.4325 | 8.3396 | 0.001656 | 0.00040518 | 0.00017074 | 0.00015809 | 0.0011984 | 3.8711e-05 | 0.0025496 | 0.00253 | 35.4245 | 0.00029831 | 1.6522e-06
29 | 2.2425e-08 | 10.2113 | 9.6455 | 10.2115 | 6.4995 |  |  |  |  | 6.9473 | 8.4333 | 8.3411 | 0.0016736 | 0.00040607 | 0.00017092 | 0.00015821 | 0.0012147 | 3.9101e-05 | 0.0025499 | 0.0025301 | 35.4254 | 0.00030257 | 1.6526e-06
30 | 2.2523e-08 | 10.2194 | 9.6508 | 10.2196 | 6.4995 |  |  |  |  | 6.9382 | 8.4341 | 8.3426 | 0.0016917 | 0.00040699 | 0.0001711 | 0.00015834 | 0.0012315 | 3.9498e-05 | 0.0025502 | 0.0025303 | 35.4262 | 0.00030696 | 1.6531e-06
31 | 2.2622e-08 | 10.2276 | 9.6562 | 10.2278 | 6.4995 |  |  |  |  | 6.9291 | 8.4349 | 8.3442 | 0.0017103 | 0.00040792 | 0.00017128 | 0.00015847 | 0.0012488 | 3.9905e-05 | 0.0025505 | 0.0025304 | 35.4271 | 0.00031147 | 1.6535e-06
32 | 2.2723e-08 | 10.236 | 9.6618 | 10.2362 | 6.4995 |  |  |  |  | 6.9198 | 8.4358 | 8.3458 | 0.0017295 | 0.00040888 | 0.00017147 | 0.0001586 | 0.0012666 | 4.032e-05 | 0.0025507 | 0.0025306 | 35.428 | 0.00031612 | 1.654e-06
33 | 2.2826e-08 | 10.2446 | 9.6674 | 10.2448 | 6.4995 |  |  |  |  | 6.9105 | 8.4367 | 8.3474 | 0.0017492 | 0.00040987 | 0.00017167 | 0.00015874 | 0.0012849 | 4.0745e-05 | 0.002551 | 0.0025307 | 35.4289 | 0.0003209 | 1.6545e-06
34 | 2.2931e-08 | 10.2533 | 9.6732 | 10.2535 | 6.4994 |  |  |  |  | 6.901 | 8.4376 | 8.3491 | 0.0017695 | 0.00041089 | 0.00017186 | 0.00015887 | 0.0013037 | 4.1179e-05 | 0.0025514 | 0.0025309 | 35.4298 | 0.00032583 | 1.655e-06
35 | 2.3038e-08 | 10.2622 | 9.679 | 10.2625 | 6.4994 |  |  |  |  | 6.8914 | 8.4386 | 8.3508 | 0.0017904 | 0.00041193 | 0.00017206 | 0.00015901 | 0.0013232 | 4.1623e-05 | 0.0025517 | 0.002531 | 35.4307 | 0.00033091 | 1.6554e-06
36 | 2.3147e-08 | 10.2713 | 9.685 | 10.2716 | 6.4994 |  |  |  |  | 6.8817 | 8.4396 | 8.3525 | 0.0018119 | 0.000413 | 0.00017226 | 0.00015916 | 0.0013432 | 4.2077e-05 | 0.002552 | 0.0025312 | 35.4316 | 0.00033616 | 1.6559e-06
37 | 2.3257e-08 | 10.2807 | 9.6912 | 10.2809 | 6.4994 |  |  |  |  | 6.8719 | 8.4406 | 8.3543 | 0.0018341 | 0.0004141 | 0.00017247 | 0.0001593 | 0.0013638 | 4.2542e-05 | 0.0025523 | 0.0025314 | 35.4325 | 0.00034156 | 1.6564e-06
38 | 2.337e-08 | 10.2902 | 9.6974 | 10.2904 | 6.4994 |  |  |  |  | 6.8619 | 8.4417 | 8.3562 | 0.001857 | 0.00041524 | 0.00017269 | 0.00015945 | 0.0013852 | 4.3018e-05 | 0.0025527 | 0.0025315 | 35.4335 | 0.00034715 | 1.6569e-06
39 | 2.3485e-08 | 10.2999 | 9.7039 | 10.3001 | 6.4993 |  |  |  |  | 6.8519 | 8.4428 | 8.3581 | 0.0018807 | 0.00041641 | 0.0001729 | 0.0001596 | 0.0014072 | 4.3504e-05 | 0.002553 | 0.0025317 | 35.4344 | 0.00035291 | 1.6574e-06
40 | 2.3602e-08 | 10.3098 | 9.7104 | 10.3101 | 6.4993 |  |  |  |  | 6.8417 | 8.4439 | 8.3601 | 0.0019051 | 0.00041762 | 0.00017312 | 0.00015976 | 0.0014299 | 4.4003e-05 | 0.0025534 | 0.0025319 | 35.4354 | 0.00035887 | 1.6579e-06
41 | 2.3722e-08 | 10.32 | 9.7171 | 10.3202 | 6.4993 |  |  |  |  | 6.8313 | 8.4451 | 8.3621 | 0.0019303 | 0.00041886 | 0.00017335 | 0.00015991 | 0.0014534 | 4.4513e-05 | 0.0025537 | 0.0025321 | 35.4364 | 0.00036503 | 1.6584e-06
42 | 2.3843e-08 | 10.3304 | 9.724 | 10.3306 | 6.4993 |  |  |  |  | 6.8208 | 8.4464 | 8.3642 | 0.0019563 | 0.00042014 | 0.00017358 | 0.00016008 | 0.0014777 | 4.5037e-05 | 0.0025541 | 0.0025322 | 35.4374 | 0.0003714 | 1.659e-06
43 | 2.3968e-08 | 10.341 | 9.731 | 10.3413 | 6.4993 |  |  |  |  | 6.8102 | 8.4477 | 8.3663 | 0.0019833 | 0.00042147 | 0.00017382 | 0.00016024 | 0.0015028 | 4.5573e-05 | 0.0025545 | 0.0025324 | 35.4384 | 0.00037799 | 1.6595e-06
44 | 2.4095e-08 | 10.3519 | 9.7383 | 10.3522 | 6.4993 |  |  |  |  | 6.7994 | 8.449 | 8.3685 | 0.0020112 | 0.00042284 | 0.00017406 | 0.00016041 | 0.0015288 | 4.6122e-05 | 0.0025549 | 0.0025326 | 35.4394 | 0.00038482 | 1.66e-06
45 | 2.4224e-08 | 10.3631 | 9.7456 | 10.3633 | 6.4992 |  |  |  |  | 6.7885 | 8.4505 | 8.3708 | 0.0020401 | 0.00042426 | 0.00017431 | 0.00016058 | 0.0015558 | 4.6685e-05 | 0.0025553 | 0.0025328 | 35.4405 | 0.0003919 | 1.6606e-06
46 | 2.6094e-08 | 10.3745 | 9.7116 | 10.3747 | 7.5092 |  |  |  |  | 6.7774 | 8.4523 | 8.3726 | 0.00207 | 0.00042469 | 0.00017456 | 0.00016008 | 0.0015837 | 4.7131e-05 | 0.0025557 | 0.002531 | 35.4409 | 0.00039924 | 1.6611e-06
47 | 2.6227e-08 | 10.387 | 9.7202 | 10.3872 | 7.5092 |  |  |  |  | 6.7661 | 8.4538 | 8.375 | 0.002101 | 0.0004262 | 0.00017484 | 0.00016027 | 0.0016127 | 4.7723e-05 | 0.0025562 | 0.0025313 | 35.4414 | 0.00040685 | 1.6617e-06
48 | 2.6363e-08 | 10.3998 | 9.7289 | 10.4 | 7.5092 |  |  |  |  | 6.7547 | 8.4554 | 8.3775 | 0.0021332 | 0.00042778 | 0.00017512 | 0.00016047 | 0.0016428 | 4.833e-05 | 0.0025566 | 0.0025315 | 35.442 | 0.00041475 | 1.6623e-06
49 | 2.6503e-08 | 10.413 | 9.7379 | 10.4132 | 7.5092 |  |  |  |  | 6.7431 | 8.457 | 8.38 | 0.0021667 | 0.00042941 | 0.0001754 | 0.00016068 | 0.0016741 | 4.8953e-05 | 0.0025571 | 0.0025318 | 35.4426 | 0.00042297 | 1.6628e-06
50 | 2.6645e-08 | 10.4265 | 9.7471 | 10.4267 | 7.5092 |  |  |  |  | 6.7313 | 8.4588 | 8.3827 | 0.0022014 | 0.00043111 | 0.0001757 | 0.00016088 | 0.0017066 | 4.9592e-05 | 0.0025576 | 0.002532 | 35.4433 | 0.0004315 | 1.6634e-06
51 | 2.679e-08 | 10.4403 | 9.7567 | 10.4405 | 7.5085 |  |  |  |  | 6.7193 | 8.4606 | 8.3855 | 0.0022376 | 0.00043287 | 0.000176 | 0.0001611 | 0.0017404 | 5.025e-05 | 0.0025582 | 0.0025323 | 35.444 | 0.00044039 | 1.664e-06
52 | 2.6939e-08 | 10.4546 | 9.7664 | 10.4548 | 7.5084 |  |  |  |  | 6.7071 | 8.4625 | 8.3883 | 0.0022752 | 0.00043471 | 0.00017631 | 0.00016132 | 0.0017756 | 5.0924e-05 | 0.0025587 | 0.0025326 | 35.4448 | 0.00044963 | 1.6646e-06
53 | 2.7091e-08 | 10.4692 | 9.7765 | 10.4694 | 7.5084 |  |  |  |  | 6.6947 | 8.4646 | 8.3913 | 0.0023143 | 0.00043662 | 0.00017663 | 0.00016154 | 0.0018123 | 5.1618e-05 | 0.0025593 | 0.0025329 | 35.4456 | 0.00045927 | 1.6653e-06
54 | 2.7247e-08 | 10.4843 | 9.7868 | 10.4845 | 7.5084 |  |  |  |  | 6.682 | 8.4667 | 8.3944 | 0.0023551 | 0.0004386 | 0.00017696 | 0.00016178 | 0.0018506 | 5.233e-05 | 0.0025598 | 0.0025331 | 35.4464 | 0.00046933 | 1.6659e-06
55 | 2.7407e-08 | 10.4998 | 9.7974 | 10.5 | 7.5084 |  |  |  |  | 6.6692 | 8.469 | 8.3976 | 0.0023977 | 0.00044068 | 0.0001773 | 0.00016201 | 0.0018905 | 5.3063e-05 | 0.0025604 | 0.0025334 | 35.4473 | 0.00047982 | 1.6665e-06
56 | 2.7571e-08 | 10.5157 | 9.8084 | 10.516 | 7.5084 |  |  |  |  | 6.656 | 8.4714 | 8.4009 | 0.0024422 | 0.00044285 | 0.00017764 | 0.00016226 | 0.0019323 | 5.3816e-05 | 0.002561 | 0.0025338 | 35.4482 | 0.00049079 | 1.6672e-06
57 | 2.774e-08 | 10.5322 | 9.8197 | 10.5324 | 7.5083 |  |  |  |  | 6.6427 | 8.4739 | 8.4044 | 0.0024887 | 0.00044511 | 0.000178 | 0.00016251 | 0.001976 | 5.459e-05 | 0.0025617 | 0.0025341 | 35.4492 | 0.00050225 | 1.6679e-06
58 | 2.7912e-08 | 10.5492 | 9.8314 | 10.5494 | 7.5083 |  |  |  |  | 6.629 | 8.4766 | 8.408 | 0.0025374 | 0.00044748 | 0.00017837 | 0.00016277 | 0.0020217 | 5.5387e-05 | 0.0025623 | 0.0025344 | 35.4502 | 0.00051426 | 1.6685e-06
59 | 2.8089e-08 | 10.5667 | 9.8435 | 10.5669 | 7.5083 |  |  |  |  | 6.6151 | 8.4794 | 8.4117 | 0.0025883 | 0.00044997 | 0.00017875 | 0.00016304 | 0.0020697 | 5.6207e-05 | 0.002563 | 0.0025348 | 35.4513 | 0.00052685 | 1.6692e-06
60 | 2.8271e-08 | 10.5847 | 9.856 | 10.585 | 7.5083 |  |  |  |  | 6.6008 | 8.4824 | 8.4157 | 0.0026418 | 0.00045257 | 0.00017914 | 0.00016332 | 0.00212 | 5.7051e-05 | 0.0025637 | 0.0025351 | 35.4524 | 0.00054005 | 1.67e-06
61 | 2.8458e-08 | 10.6034 | 9.8689 | 10.6037 | 7.5083 |  |  |  |  | 6.5863 | 8.4856 | 8.4198 | 0.0026979 | 0.00045531 | 0.00017955 | 0.00016361 | 0.0021729 | 5.7919e-05 | 0.0025645 | 0.0025355 | 35.4536 | 0.00055392 | 1.6707e-06
62 | 2.865e-08 | 10.6228 | 9.8823 | 10.6231 | 7.5082 |  |  |  |  | 6.5715 | 8.489 | 8.4241 | 0.0027569 | 0.0004582 | 0.00017997 | 0.0001639 | 0.0022286 | 5.8812e-05 | 0.0025652 | 0.0025359 | 35.4548 | 0.0005685 | 1.6714e-06
63 | 2.8847e-08 | 10.6428 | 9.8962 | 10.6431 | 7.5082 |  |  |  |  | 6.5562 | 8.4926 | 8.4286 | 0.0028191 | 0.00046124 | 0.0001804 | 0.00016421 | 0.0022872 | 5.9732e-05 | 0.002566 | 0.0025363 | 35.4561 | 0.00058387 | 1.6722e-06
64 | 2.905e-08 | 10.6635 | 9.9106 | 10.6638 | 7.5082 |  |  |  |  | 6.5407 | 8.4965 | 8.4333 | 0.0028846 | 0.00046446 | 0.00018085 | 0.00016453 | 0.0023491 | 6.0679e-05 | 0.0025668 | 0.0025367 | 35.4574 | 0.00060006 | 1.673e-06
65 | 2.9259e-08 | 10.685 | 9.9255 | 10.6854 | 7.5082 |  |  |  |  | 6.5247 | 8.5007 | 8.4383 | 0.0029537 | 0.00046786 | 0.00018132 | 0.00016485 | 0.0024145 | 6.1653e-05 | 0.0025677 | 0.0025372 | 35.4588 | 0.00061717 | 1.6738e-06
66 | 2.9474e-08 | 10.7074 | 9.9411 | 10.7077 | 7.5081 |  |  |  |  | 6.5084 | 8.5051 | 8.4436 | 0.0030268 | 0.00047146 | 0.0001818 | 0.0001652 | 0.0024837 | 6.2656e-05 | 0.0025686 | 0.0025376 | 35.4602 | 0.00063526 | 1.6746e-06
67 | 2.9696e-08 | 10.7306 | 9.9573 | 10.7309 | 7.5081 |  |  |  |  | 6.4916 | 8.5099 | 8.4491 | 0.0031042 | 0.00047529 | 0.00018231 | 0.00016555 | 0.002557 | 6.3688e-05 | 0.0025695 | 0.0025381 | 35.4617 | 0.00065443 | 1.6754e-06
68 | 2.9925e-08 | 10.7548 | 9.9742 | 10.7551 | 7.5081 |  |  |  |  | 6.4743 | 8.5151 | 8.455 | 0.0031864 | 0.00047937 | 0.00018283 | 0.00016592 | 0.002635 | 6.4749e-05 | 0.0025705 | 0.0025387 | 35.4633 | 0.00067477 | 1.6763e-06
69 | 3.0162e-08 | 10.7799 | 9.9918 | 10.7803 | 7.5081 |  |  |  |  | 6.4566 | 8.5207 | 8.4612 | 0.0032737 | 0.00048372 | 0.00018338 | 0.00016631 | 0.0027179 | 6.5839e-05 | 0.0025715 | 0.0025392 | 35.4649 | 0.00069639 | 1.6772e-06
70 | 3.0406e-08 | 10.8062 | 10.0103 | 10.8066 | 7.508 |  |  |  |  | 6.4384 | 8.5267 | 8.4677 | 0.0033667 | 0.00048838 | 0.00018395 | 0.00016671 | 0.0028063 | 6.696e-05 | 0.0025726 | 0.0025398 | 35.4666 | 0.00071942 | 1.6781e-06
71 | 3.3211e-08 | 10.8336 | 9.9678 | 10.8339 | 9.008 |  |  |  |  | 6.4196 | 8.5344 | 8.4742 | 0.003466 | 0.00049201 | 0.00018454 | 0.00016611 | 0.0029007 | 6.7764e-05 | 0.0025737 | 0.0025372 | 35.4677 | 0.000744 | 1.679e-06
72 | 3.3465e-08 | 10.8646 | 9.9901 | 10.8649 | 9.008 |  |  |  |  | 6.4002 | 8.5414 | 8.4816 | 0.0035722 | 0.00049736 | 0.0001852 | 0.00016658 | 0.0030019 | 6.8941e-05 | 0.002575 | 0.002538 | 35.469 | 0.0007703 | 1.68e-06
73 | 3.3728e-08 | 10.897 | 10.0136 | 10.8973 | 9.008 |  |  |  |  | 6.3802 | 8.549 | 8.4895 | 0.0036861 | 0.00050316 | 0.00018589 | 0.00016707 | 0.0031105 | 7.0148e-05 | 0.0025764 | 0.0025387 | 35.4703 | 0.0007985 | 1.681e-06
74 | 3.4e-08 | 10.9309 | 10.0383 | 10.9313 | 9.008 |  |  |  |  | 6.3596 | 8.5573 | 8.498 | 0.0038085 | 0.00050945 | 0.00018661 | 0.00016759 | 0.0032275 | 7.138e-05 | 0.0025779 | 0.0025396 | 35.4718 | 0.00082882 | 1.682e-06
75 | 3.4281e-08 | 10.9666 | 10.0643 | 10.967 | 9.0069 |  |  |  |  | 6.3382 | 8.5664 | 8.5071 | 0.0039405 | 0.00051628 | 0.00018737 | 0.00016813 | 0.0033537 | 7.2636e-05 | 0.0025794 | 0.0025404 | 35.4734 | 0.0008615 | 1.6831e-06
76 | 3.4573e-08 | 11.0042 | 10.0917 | 11.0046 | 9.0069 |  |  |  |  | 6.316 | 8.5764 | 8.5168 | 0.0040831 | 0.00052373 | 0.00018817 | 0.0001687 | 0.0034904 | 7.3912e-05 | 0.002581 | 0.0025414 | 35.4752 | 0.00089683 | 1.6842e-06
77 | 3.4877e-08 | 11.0439 | 10.1207 | 11.0443 | 9.0069 |  |  |  |  | 6.293 | 8.5874 | 8.5274 | 0.0042379 | 0.00053189 | 0.00018902 | 0.00016931 | 0.003639 | 7.5204e-05 | 0.0025827 | 0.0025424 | 35.4771 | 0.00093516 | 1.6854e-06
78 | 3.5193e-08 | 11.0859 | 10.1515 | 11.0863 | 9.0069 |  |  |  |  | 6.269 | 8.5996 | 8.5389 | 0.0044063 | 0.00054088 | 0.00018992 | 0.00016995 | 0.003801 | 7.6503e-05 | 0.0025846 | 0.0025435 | 35.4791 | 0.00097687 | 1.6865e-06
79 | 3.5521e-08 | 11.1304 | 10.1843 | 11.1308 | 9.0068 |  |  |  |  | 6.2441 | 8.6131 | 8.5514 | 0.0045904 | 0.00055083 | 0.00019087 | 0.00017062 | 0.0039783 | 7.7802e-05 | 0.0025865 | 0.0025447 | 35.4813 | 0.0010224 | 1.6878e-06
80 | 3.5862e-08 | 11.1777 | 10.2192 | 11.1781 | 9.0068 |  |  |  |  | 6.2181 | 8.6281 | 8.565 | 0.0047924 | 0.0005619 | 0.00019188 | 0.00017134 | 0.0041734 | 7.9087e-05 | 0.0025886 | 0.0025459 | 35.4836 | 0.0010725 | 1.6891e-06
81 | 3.6218e-08 | 11.2281 | 10.2567 | 11.2286 | 9.0068 |  |  |  |  | 6.1908 | 8.645 | 8.58 | 0.0050151 | 0.00057432 | 0.00019296 | 0.00017211 | 0.0043888 | 8.0341e-05 | 0.0025909 | 0.0025473 | 35.4861 | 0.0011276 | 1.6905e-06
82 | 3.6588e-08 | 11.2821 | 10.2969 | 11.2826 | 9.0067 |  |  |  |  | 6.1622 | 8.6639 | 8.5966 | 0.0052618 | 0.00058833 | 0.00019412 | 0.00017293 | 0.0046282 | 8.1543e-05 | 0.0025933 | 0.0025489 | 35.4889 | 0.0011887 | 1.6919e-06
83 | 3.6973e-08 | 11.34 | 10.3403 | 11.3406 | 9.0067 |  |  |  |  | 6.1322 | 8.6852 | 8.6151 | 0.0055367 | 0.00060428 | 0.00019537 | 0.00017381 | 0.0048957 | 8.2661e-05 | 0.0025959 | 0.0025506 | 35.4918 | 0.0012567 | 1.6934e-06
84 | 3.7375e-08 | 11.4025 | 10.3874 | 11.4031 | 9.0067 |  |  |  |  | 6.1005 | 8.7094 | 8.6357 | 0.0058449 | 0.0006226 | 0.00019671 | 0.00017476 | 0.0051965 | 8.3656e-05 | 0.0025987 | 0.0025525 | 35.495 | 0.001333 | 1.695e-06
85 | 3.7793e-08 | 11.4702 | 10.4387 | 11.4709 | 9.0066 |  |  |  |  | 6.0669 | 8.7369 | 8.659 | 0.0061931 | 0.00064386 | 0.00019818 | 0.00017578 | 0.0055373 | 8.4474e-05 | 0.0026018 | 0.0025546 | 35.4984 | 0.0014192 | 1.6967e-06
86 | 4.6966e-08 | 11.5439 | 10.2811 | 11.5445 | 14.2066 |  |  |  |  | 6.0312 | 8.7743 | 8.6851 | 0.0065895 | 0.00066486 | 0.00019978 | 0.00017331 | 0.0059268 | 8.338e-05 | 0.0026052 | 0.0025458 | 35.5004 | 0.0015172 | 1.6984e-06
87 | 4.734e-08 | 11.641 | 10.3586 | 11.6417 | 14.2053 |  |  |  |  | 5.9933 | 8.8098 | 8.715 | 0.0070452 | 0.00069441 | 0.00020181 | 0.00017478 | 0.0063763 | 8.3679e-05 | 0.0026098 | 0.0025493 | 35.5029 | 0.00163 | 1.7003e-06
88 | 4.7725e-08 | 11.7479 | 10.4444 | 11.7486 | 14.2053 |  |  |  |  | 5.9526 | 8.8513 | 8.7497 | 0.0075744 | 0.00073027 | 0.00020406 | 0.00017638 | 0.0069007 | 8.3518e-05 | 0.0026148 | 0.0025534 | 35.506 | 0.0017609 | 1.7024e-06
89 | 4.8116e-08 | 11.8664 | 10.5402 | 11.8672 | 14.2052 |  |  |  |  | 5.9087 | 8.9003 | 8.7907 | 0.0081966 | 0.00077449 | 0.00020658 | 0.00017816 | 0.0075204 | 8.2719e-05 | 0.0026204 | 0.0025582 | 35.5097 | 0.0019148 | 1.7046e-06
90 | 4.8508e-08 | 11.999 | 10.6484 | 11.9999 | 14.2052 |  |  |  |  | 5.861 | 8.9587 | 8.8399 | 0.0089389 | 0.00083029 | 0.00020942 | 0.00018012 | 0.0082642 | 8.1039e-05 | 0.0026266 | 0.0025638 | 35.5142 | 0.0020984 | 1.707e-06
91 | 4.8891e-08 | 12.149 | 10.7721 | 12.1501 | 14.2051 |  |  |  |  | 5.8087 | 9.0293 | 8.9001 | 0.0098398 | 0.00090267 | 0.00021268 | 0.00018232 | 0.0091734 | 7.8136e-05 | 0.0026336 | 0.0025706 | 35.5197 | 0.0023214 | 1.7096e-06
92 | 4.9248e-08 | 12.3212 | 10.9158 | 12.3223 | 14.2051 |  |  |  |  | 5.7509 | 9.1161 | 8.9758 | 0.010957 | 0.00099978 | 0.00021647 | 0.00018478 | 0.01031 | 7.3541e-05 | 0.0026415 | 0.0025791 | 35.5263 | 0.002598 | 1.7125e-06
93 | 4.9545e-08 | 12.5219 | 11.0862 | 12.5233 | 14.2028 |  |  |  |  | 5.6861 | 9.2255 | 9.0744 | 0.012379 | 0.0011355 | 0.000221 | 0.00018755 | 0.011773 | 6.6621e-05 | 0.0026504 | 0.0025899 | 35.5344 | 0.0029503 | 1.7157e-06
94 | 4.9736e-08 | 12.7612 | 11.2932 | 12.7628 | 14.2026 |  |  |  |  | 5.6122 | 9.3675 | 9.2093 | 0.014253 | 0.0013343 | 0.00022658 | 0.00019065 | 0.013724 | 5.656e-05 | 0.0026604 | 0.0026043 | 35.5445 | 0.0034148 | 1.7194e-06
95 | 4.9708e-08 | 13.0548 | 11.554 | 13.0567 | 14.2024 |  |  |  |  | 0 | 0 | 0 | 0.016837 | 0 | 0.00023377 | 0 | 0.016457 | 0 | 0.0026717 | 0 | 35.1742 | 0 | 0