## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate | NH4+ Permeability
0 | 5.204e-06 | 0.036626 | 0.0026449 | 0.038658 | 6.5 | 17.8711 | 18.4958 | 18.3131 | 20.6785 | 7.7587 | 8.6641 | 8.3514 | 0.0099993 | 0.00087192 | 0.0087614 | 0.00068776 | 0.00087283 | 2.0814e-06 | 0.0025449 | 0.00081622 | 11.436 | 0.00028649 | 1.6121e-06
1 | 5.1967e-06 | 0.03697 | 0.0026743 | 0.039036 | 6.5 |  |  |  |  | 7.7557 | 8.7038 | 8.3776 | 0.010092 | 0.00089235 | 0.0088429 | 0.00068995 | 0.00088163 | 1.8913e-06 | 0.0025624 | 0.00083378 | 11.559 | 0.00028978 | 1.6122e-06
2 | 5.1891e-06 | 0.03732 | 0.0027043 | 0.039421 | 6.5 |  |  |  |  | 7.7526 | 8.7017 | 8.3767 | 0.010185 | 0.00090074 | 0.0089261 | 0.00069762 | 0.00089061 | 1.9123e-06 | 0.00258 | 0.00083996 | 11.6289 | 0.00029312 | 1.6124e-06
3 | 5.1813e-06 | 0.037676 | 0.0027351 | 0.039814 | 6.5 |  |  |  |  | 7.7494 | 8.6994 | 8.376 | 0.010281 | 0.00090919 | 0.009011 | 0.00070541 | 0.00089977 | 1.9326e-06 | 0.002598 | 0.00084634 | 11.6862 | 0.00029654 | 1.6125e-06
4 | 5.1734e-06 | 0.03804 | 0.0027666 | 0.040215 | 6.4999 |  |  |  |  | 7.7462 | 8.6971 | 8.3754 | 0.010379 | 0.00091783 | 0.0090975 | 0.00071338 | 0.00090912 | 1.9531e-06 | 0.0026162 | 0.00085285 | 11.7388 | 0.00030003 | 1.6127e-06
5 | 5.1653e-06 | 0.038412 | 0.0027988 | 0.040624 | 6.4999 |  |  |  |  | 7.7431 | 8.6948 | 8.3747 | 0.010478 | 0.00092666 | 0.0091857 | 0.00072153 | 0.00091867 | 1.9741e-06 | 0.0026348 | 0.00085949 | 11.7894 | 0.0003036 | 1.6128e-06
6 | 5.1571e-06 | 0.038791 | 0.0028319 | 0.041042 | 6.4999 |  |  |  |  | 7.7398 | 8.6925 | 8.3741 | 0.01058 | 0.0009357 | 0.0092758 | 0.00072987 | 0.00092842 | 1.9955e-06 | 0.0026537 | 0.00086627 | 11.8391 | 0.00030724 | 1.613e-06
7 | 5.1486e-06 | 0.039177 | 0.0028657 | 0.041469 | 6.4999 |  |  |  |  | 7.7366 | 8.6901 | 8.3734 | 0.010684 | 0.00094494 | 0.0093677 | 0.0007384 | 0.00093838 | 2.0173e-06 | 0.0026729 | 0.00087318 | 11.8885 | 0.00031097 | 1.6132e-06
8 | 5.1401e-06 | 0.039572 | 0.0029003 | 0.041905 | 6.4999 |  |  |  |  | 7.7334 | 8.6877 | 8.3728 | 0.010789 | 0.0009544 | 0.0094615 | 0.00074714 | 0.00094856 | 2.0396e-06 | 0.0026925 | 0.00088025 | 11.9379 | 0.00031478 | 1.6133e-06
9 | 5.1313e-06 | 0.039975 | 0.0029358 | 0.042351 | 6.4999 |  |  |  |  | 7.7301 | 8.6853 | 8.3721 | 0.010898 | 0.00096409 | 0.0095572 | 0.00075609 | 0.00095896 | 2.0624e-06 | 0.0027124 | 0.00088746 | 11.9875 | 0.00031868 | 1.6135e-06
10 | 5.1223e-06 | 0.040387 | 0.0029722 | 0.042806 | 6.4998 |  |  |  |  | 7.7268 | 8.6829 | 8.3715 | 0.011008 | 0.00097401 | 0.009655 | 0.00076525 | 0.00096959 | 2.0857e-06 | 0.0027327 | 0.00089483 | 12.0375 | 0.00032267 | 1.6137e-06
11 | 5.1132e-06 | 0.040807 | 0.0030095 | 0.043272 | 6.4998 |  |  |  |  | 7.7235 | 8.6804 | 8.3709 | 0.011121 | 0.00098418 | 0.0097549 | 0.00077465 | 0.00098046 | 2.1094e-06 | 0.0027533 | 0.00090236 | 12.088 | 0.00032675 | 1.6138e-06
12 | 5.1038e-06 | 0.041236 | 0.0030478 | 0.043748 | 6.4998 |  |  |  |  | 7.7202 | 8.6779 | 8.3702 | 0.011236 | 0.00099458 | 0.0098569 | 0.00078428 | 0.00099158 | 2.1338e-06 | 0.0027743 | 0.00091004 | 12.1389 | 0.00033093 | 1.614e-06
13 | 5.0943e-06 | 0.041675 | 0.0030871 | 0.044234 | 6.4998 |  |  |  |  | 7.7168 | 8.6754 | 8.3696 | 0.011354 | 0.0010053 | 0.0099612 | 0.00079415 | 0.001003 | 2.1586e-06 | 0.0027958 | 0.00091791 | 12.1905 | 0.0003352 | 1.6142e-06
14 | 5.0845e-06 | 0.042124 | 0.0031274 | 0.044732 | 6.4998 |  |  |  |  | 7.7135 | 8.6729 | 8.3689 | 0.011474 | 0.0010162 | 0.010068 | 0.00080428 | 0.0010146 | 2.1839e-06 | 0.0028176 | 0.00092595 | 12.2427 | 0.00033958 | 1.6143e-06
15 | 5.0745e-06 | 0.042583 | 0.0031688 | 0.045241 | 6.4998 |  |  |  |  | 7.7101 | 8.6703 | 8.3683 | 0.011597 | 0.0010274 | 0.010177 | 0.00081467 | 0.0010265 | 2.21e-06 | 0.0028399 | 0.00093417 | 12.2956 | 0.00034407 | 1.6145e-06
16 | 5.0643e-06 | 0.043052 | 0.0032113 | 0.045763 | 6.4998 |  |  |  |  | 7.7067 | 8.6678 | 8.3677 | 0.011723 | 0.0010389 | 0.010288 | 0.00082533 | 0.0010387 | 2.2365e-06 | 0.0028625 | 0.00094259 | 12.3492 | 0.00034866 | 1.6147e-06
17 | 5.0538e-06 | 0.043532 | 0.003255 | 0.046296 | 6.4997 |  |  |  |  | 7.7033 | 8.6651 | 8.3671 | 0.011851 | 0.0010507 | 0.010402 | 0.00083628 | 0.0010512 | 2.2637e-06 | 0.0028857 | 0.0009512 | 12.4035 | 0.00035337 | 1.6148e-06
18 | 5.0431e-06 | 0.044023 | 0.0032999 | 0.046843 | 6.4997 |  |  |  |  | 7.6998 | 8.6625 | 8.3665 | 0.011983 | 0.0010629 | 0.010519 | 0.00084753 | 0.001064 | 2.2915e-06 | 0.0029093 | 0.00096002 | 12.4586 | 0.0003582 | 1.615e-06
19 | 5.0322e-06 | 0.044526 | 0.0033461 | 0.047402 | 6.4997 |  |  |  |  | 7.6963 | 8.6598 | 8.3658 | 0.012118 | 0.0010753 | 0.010638 | 0.00085908 | 0.0010771 | 2.32e-06 | 0.0029333 | 0.00096905 | 12.5146 | 0.00036316 | 1.6152e-06
20 | 5.0209e-06 | 0.045041 | 0.0033937 | 0.047976 | 6.4997 |  |  |  |  | 7.6928 | 8.6571 | 8.3652 | 0.012256 | 0.0010881 | 0.010761 | 0.00087096 | 0.0010905 | 2.3493e-06 | 0.0029579 | 0.00097829 | 12.5713 | 0.00036824 | 1.6154e-06
21 | 5.0095e-06 | 0.045568 | 0.0034425 | 0.048564 | 6.4997 |  |  |  |  | 7.6893 | 8.6544 | 8.3646 | 0.012397 | 0.0011013 | 0.010886 | 0.00088317 | 0.0011043 | 2.3792e-06 | 0.0029829 | 0.00098777 | 12.629 | 0.00037345 | 1.6155e-06
22 | 4.9977e-06 | 0.046108 | 0.0034929 | 0.049166 | 6.4997 |  |  |  |  | 7.6858 | 8.6516 | 8.3641 | 0.012542 | 0.0011148 | 0.011014 | 0.00089573 | 0.0011184 | 2.4098e-06 | 0.0030085 | 0.00099749 | 12.6875 | 0.00037881 | 1.6157e-06
23 | 4.9856e-06 | 0.046661 | 0.0035447 | 0.049784 | 6.4996 |  |  |  |  | 7.6822 | 8.6488 | 8.3635 | 0.012691 | 0.0011287 | 0.011145 | 0.00090865 | 0.0011329 | 2.4413e-06 | 0.0030346 | 0.0010074 | 12.747 | 0.0003843 | 1.6159e-06
24 | 4.9733e-06 | 0.047229 | 0.0035982 | 0.050418 | 6.4996 |  |  |  |  | 7.6786 | 8.646 | 8.3629 | 0.012843 | 0.0011431 | 0.01128 | 0.00092196 | 0.0011478 | 2.4735e-06 | 0.0030613 | 0.0010177 | 12.8075 | 0.00038995 | 1.6161e-06
25 | 4.9606e-06 | 0.047811 | 0.0036533 | 0.051069 | 6.4996 |  |  |  |  | 7.675 | 8.6432 | 8.3623 | 0.012999 | 0.0011578 | 0.011418 | 0.00093566 | 0.0011631 | 2.5066e-06 | 0.0030886 | 0.0010282 | 12.869 | 0.00039575 | 1.6163e-06
26 | 4.9476e-06 | 0.048407 | 0.0037101 | 0.051737 | 6.4996 |  |  |  |  | 7.6713 | 8.6403 | 8.3617 | 0.013159 | 0.001173 | 0.01156 | 0.00094979 | 0.0011787 | 2.5406e-06 | 0.0031164 | 0.0010389 | 12.9314 | 0.00040171 | 1.6164e-06
27 | 4.9342e-06 | 0.04902 | 0.0037687 | 0.052423 | 6.4996 |  |  |  |  | 7.6677 | 8.6373 | 8.3612 | 0.013323 | 0.0011886 | 0.011705 | 0.00096435 | 0.0011949 | 2.5755e-06 | 0.0031449 | 0.00105 | 12.995 | 0.00040784 | 1.6166e-06
28 | 4.9206e-06 | 0.049648 | 0.0038292 | 0.053127 | 6.4996 |  |  |  |  | 7.664 | 8.6344 | 8.3606 | 0.013492 | 0.0012048 | 0.011854 | 0.00097936 | 0.0012114 | 2.6113e-06 | 0.003174 | 0.0010613 | 13.0597 | 0.00041415 | 1.6168e-06
29 | 4.9065e-06 | 0.050293 | 0.0038917 | 0.053851 | 6.4995 |  |  |  |  | 7.6602 | 8.6314 | 8.3601 | 0.013665 | 0.0012214 | 0.012008 | 0.00099485 | 0.0012284 | 2.6482e-06 | 0.0032037 | 0.001073 | 13.1255 | 0.00042063 | 1.617e-06
30 | 4.8921e-06 | 0.050956 | 0.0039563 | 0.054596 | 6.4995 |  |  |  |  | 7.6565 | 8.6283 | 8.3595 | 0.013842 | 0.0012386 | 0.012165 | 0.0010108 | 0.0012459 | 2.6861e-06 | 0.0032342 | 0.001085 | 13.1924 | 0.00042731 | 1.6172e-06
31 | 4.8772e-06 | 0.051637 | 0.0040231 | 0.055361 | 6.4995 |  |  |  |  | 7.6527 | 8.6253 | 8.359 | 0.014025 | 0.0012563 | 0.012327 | 0.0010274 | 0.001264 | 2.7251e-06 | 0.0032653 | 0.0010973 | 13.2606 | 0.00043419 | 1.6174e-06
32 | 4.862e-06 | 0.052338 | 0.0040922 | 0.056149 | 6.4995 |  |  |  |  | 7.6489 | 8.6221 | 8.3585 | 0.014213 | 0.0012746 | 0.012493 | 0.0010444 | 0.0012825 | 2.7652e-06 | 0.0032972 | 0.00111 | 13.3301 | 0.00044128 | 1.6176e-06
33 | 4.8463e-06 | 0.053058 | 0.0041637 | 0.056959 | 6.4995 |  |  |  |  | 7.645 | 8.619 | 8.358 | 0.014406 | 0.0012935 | 0.012664 | 0.0010621 | 0.0013016 | 2.8065e-06 | 0.0033298 | 0.0011231 | 13.4009 | 0.00044859 | 1.6177e-06
34 | 4.8302e-06 | 0.053798 | 0.0042378 | 0.057794 | 6.4994 |  |  |  |  | 7.6412 | 8.6158 | 8.3575 | 0.014605 | 0.0013131 | 0.012839 | 0.0010804 | 0.0013213 | 2.849e-06 | 0.0033633 | 0.0011366 | 13.473 | 0.00045612 | 1.6179e-06
35 | 4.8135e-06 | 0.054561 | 0.0043146 | 0.058654 | 6.4994 |  |  |  |  | 7.6372 | 8.6125 | 8.357 | 0.014809 | 0.0013333 | 0.01302 | 0.0010993 | 0.0013416 | 2.8929e-06 | 0.0033975 | 0.0011505 | 13.5465 | 0.00046389 | 1.6181e-06
36 | 4.7965e-06 | 0.055346 | 0.0043942 | 0.05954 | 6.4994 |  |  |  |  | 7.6333 | 8.6093 | 8.3565 | 0.01502 | 0.0013543 | 0.013207 | 0.0011189 | 0.0013625 | 2.9381e-06 | 0.0034326 | 0.0011648 | 13.6214 | 0.00047191 | 1.6183e-06
37 | 4.7789e-06 | 0.056155 | 0.0044768 | 0.060453 | 6.4994 |  |  |  |  | 7.6293 | 8.6059 | 8.356 | 0.015236 | 0.001376 | 0.013398 | 0.0011392 | 0.0013841 | 2.9848e-06 | 0.0034686 | 0.0011795 | 13.6979 | 0.0004802 | 1.6185e-06
38 | 4.7607e-06 | 0.056988 | 0.0045627 | 0.061396 | 6.4994 |  |  |  |  | 7.6253 | 8.6025 | 8.3556 | 0.01546 | 0.0013985 | 0.013596 | 0.0011602 | 0.0014064 | 3.033e-06 | 0.0035055 | 0.0011948 | 13.7759 | 0.00048875 | 1.6187e-06
39 | 4.742e-06 | 0.057848 | 0.0046518 | 0.062368 | 6.4993 |  |  |  |  | 7.6212 | 8.5991 | 8.3551 | 0.015691 | 0.0014218 | 0.0138 | 0.0011821 | 0.0014294 | 3.0828e-06 | 0.0035434 | 0.0012105 | 13.8555 | 0.0004976 | 1.6189e-06
40 | 4.7228e-06 | 0.058734 | 0.0047446 | 0.063372 | 6.4993 |  |  |  |  | 7.6171 | 8.5956 | 8.3547 | 0.015928 | 0.0014461 | 0.01401 | 0.0012048 | 0.0014531 | 3.1342e-06 | 0.0035823 | 0.0012268 | 13.9368 | 0.00050675 | 1.6191e-06
41 | 4.7029e-06 | 0.059649 | 0.0048411 | 0.064409 | 6.4993 |  |  |  |  | 7.613 | 8.5921 | 8.3543 | 0.016174 | 0.0014712 | 0.014227 | 0.0012284 | 0.0014777 | 3.1875e-06 | 0.0036222 | 0.0012436 | 14.0198 | 0.00051621 | 1.6193e-06
42 | 4.6823e-06 | 0.060594 | 0.0049416 | 0.065481 | 6.4993 |  |  |  |  | 7.6088 | 8.5885 | 8.3539 | 0.016427 | 0.0014974 | 0.014451 | 0.0012529 | 0.0015031 | 3.2426e-06 | 0.0036632 | 0.001261 | 14.1047 | 0.00052602 | 1.6196e-06
43 | 4.6611e-06 | 0.061571 | 0.0050464 | 0.06659 | 6.4993 |  |  |  |  | 7.6046 | 8.5848 | 8.3535 | 0.016689 | 0.0015246 | 0.014683 | 0.0012785 | 0.0015294 | 3.2997e-06 | 0.0037054 | 0.001279 | 14.1914 | 0.00053617 | 1.6198e-06
44 | 4.6392e-06 | 0.06258 | 0.0051557 | 0.067737 | 6.4993 |  |  |  |  | 7.6004 | 8.5811 | 8.3531 | 0.01696 | 0.001553 | 0.014922 | 0.0013051 | 0.0015567 | 3.3589e-06 | 0.0037487 | 0.0012977 | 14.2801 | 0.00054669 | 1.62e-06
45 | 4.6166e-06 | 0.063624 | 0.0052699 | 0.068924 | 6.4992 |  |  |  |  | 7.5961 | 8.5773 | 8.3528 | 0.01724 | 0.0015825 | 0.01517 | 0.0013328 | 0.0015849 | 3.4203e-06 | 0.0037933 | 0.001317 | 14.3708 | 0.00055761 | 1.6202e-06
46 | 5.5439e-06 | 0.064705 | 0.0043987 | 0.068204 | 7.5092 |  |  |  |  | 7.5917 | 8.5845 | 8.3306 | 0.01753 | 0.0013654 | 0.015426 | 0.0011405 | 0.0016142 | 3.0758e-06 | 0.0038391 | 0.0011677 | 14.4131 | 0.00056895 | 1.6204e-06
47 | 5.5198e-06 | 0.065843 | 0.0044972 | 0.069446 | 7.5092 |  |  |  |  | 7.5876 | 8.5732 | 8.3266 | 0.017835 | 0.00139 | 0.015696 | 0.0011671 | 0.0016446 | 3.1758e-06 | 0.0038895 | 0.0011838 | 14.4584 | 0.00058074 | 1.6206e-06
48 | 5.4948e-06 | 0.067022 | 0.0046001 | 0.070735 | 7.5092 |  |  |  |  | 7.5834 | 8.569 | 8.3261 | 0.018151 | 0.0014172 | 0.015975 | 0.0011928 | 0.0016762 | 3.236e-06 | 0.0039416 | 0.0012027 | 14.5072 | 0.000593 | 1.6208e-06
49 | 5.4689e-06 | 0.068246 | 0.0047079 | 0.072073 | 7.5092 |  |  |  |  | 7.5792 | 8.5646 | 8.3256 | 0.01848 | 0.0014456 | 0.016265 | 0.0012196 | 0.001709 | 3.2989e-06 | 0.0039953 | 0.0012223 | 14.5596 | 0.00060576 | 1.621e-06
50 | 5.442e-06 | 0.069517 | 0.0048209 | 0.073464 | 7.5092 |  |  |  |  | 7.575 | 8.5602 | 8.3251 | 0.01882 | 0.0014754 | 0.016566 | 0.0012476 | 0.0017431 | 3.3644e-06 | 0.0040507 | 0.0012427 | 14.6155 | 0.00061903 | 1.6213e-06
51 | 5.4133e-06 | 0.070838 | 0.0049401 | 0.074909 | 7.5085 |  |  |  |  | 7.5707 | 8.5557 | 8.3246 | 0.019174 | 0.0015066 | 0.016878 | 0.0012771 | 0.0017786 | 3.433e-06 | 0.004108 | 0.001264 | 14.675 | 0.00063286 | 1.6215e-06
52 | 5.3843e-06 | 0.07221 | 0.0050647 | 0.076414 | 7.5084 |  |  |  |  | 7.5663 | 8.5511 | 8.3241 | 0.019542 | 0.0015393 | 0.017204 | 0.0013079 | 0.0018156 | 3.5041e-06 | 0.0041673 | 0.0012862 | 14.7381 | 0.00064727 | 1.6217e-06
53 | 5.3541e-06 | 0.073639 | 0.0051957 | 0.077981 | 7.5084 |  |  |  |  | 7.5619 | 8.5465 | 8.3237 | 0.019925 | 0.0015735 | 0.017542 | 0.0013403 | 0.0018541 | 3.5783e-06 | 0.0042286 | 0.0013093 | 14.8049 | 0.00066232 | 1.6219e-06
54 | 5.3227e-06 | 0.075127 | 0.0053338 | 0.079614 | 7.5084 |  |  |  |  | 7.5574 | 8.5417 | 8.3233 | 0.020324 | 0.0016095 | 0.017894 | 0.0013743 | 0.0018944 | 3.656e-06 | 0.0042921 | 0.0013335 | 14.8755 | 0.00067802 | 1.6221e-06
55 | 5.2899e-06 | 0.076678 | 0.0054793 | 0.081317 | 7.5084 |  |  |  |  | 7.5529 | 8.5369 | 8.3229 | 0.02074 | 0.0016473 | 0.018261 | 0.0014101 | 0.0019364 | 3.7371e-06 | 0.0043578 | 0.0013588 | 14.9498 | 0.00069445 | 1.6224e-06
56 | 5.2558e-06 | 0.078296 | 0.0056331 | 0.083096 | 7.5084 |  |  |  |  | 7.5483 | 8.5319 | 8.3225 | 0.021174 | 0.0016872 | 0.018644 | 0.0014478 | 0.0019803 | 3.8222e-06 | 0.004426 | 0.0013853 | 15.028 | 0.00071163 | 1.6226e-06
57 | 5.2202e-06 | 0.079986 | 0.0057957 | 0.084955 | 7.5083 |  |  |  |  | 7.5437 | 8.5268 | 8.3222 | 0.021627 | 0.0017292 | 0.019044 | 0.0014876 | 0.0020263 | 3.9114e-06 | 0.0044967 | 0.0014131 | 15.1103 | 0.00072963 | 1.6228e-06
58 | 5.1831e-06 | 0.081752 | 0.0059679 | 0.086899 | 7.5083 |  |  |  |  | 7.5389 | 8.5217 | 8.3218 | 0.022101 | 0.0017736 | 0.019462 | 0.0015297 | 0.0020744 | 4.0051e-06 | 0.0045701 | 0.0014422 | 15.1967 | 0.0007485 | 1.6231e-06
59 | 5.1442e-06 | 0.083601 | 0.0061506 | 0.088935 | 7.5083 |  |  |  |  | 7.5342 | 8.5164 | 8.3216 | 0.022597 | 0.0018206 | 0.019899 | 0.0015743 | 0.0021249 | 4.1037e-06 | 0.0046464 | 0.0014728 | 15.2873 | 0.0007683 | 1.6233e-06
60 | 5.1036e-06 | 0.085537 | 0.0063449 | 0.091069 | 7.5083 |  |  |  |  | 7.5293 | 8.511 | 8.3213 | 0.023116 | 0.0018704 | 0.020357 | 0.0016215 | 0.002178 | 4.2075e-06 | 0.0047257 | 0.0015051 | 15.3824 | 0.00078912 | 1.6235e-06
61 | 5.0611e-06 | 0.087567 | 0.0065517 | 0.093308 | 7.5083 |  |  |  |  | 7.5243 | 8.5054 | 8.3211 | 0.023661 | 0.0019233 | 0.020838 | 0.0016718 | 0.0022337 | 4.3172e-06 | 0.0048083 | 0.001539 | 15.4821 | 0.00081102 | 1.6238e-06
62 | 5.0165e-06 | 0.089699 | 0.0067723 | 0.095661 | 7.5082 |  |  |  |  | 7.5193 | 8.4998 | 8.3209 | 0.024233 | 0.0019795 | 0.021342 | 0.0017252 | 0.0022924 | 4.4331e-06 | 0.0048943 | 0.0015749 | 15.5866 | 0.0008341 | 1.624e-06
63 | 4.9697e-06 | 0.091941 | 0.0070082 | 0.098135 | 7.5082 |  |  |  |  | 7.5142 | 8.4939 | 8.3208 | 0.024834 | 0.0020394 | 0.021872 | 0.0017822 | 0.0023542 | 4.5559e-06 | 0.0049841 | 0.0016128 | 15.6961 | 0.00085844 | 1.6243e-06
64 | 4.9206e-06 | 0.0943 | 0.007261 | 0.10074 | 7.5082 |  |  |  |  | 7.509 | 8.4879 | 8.3207 | 0.025468 | 0.0021033 | 0.02243 | 0.0018431 | 0.0024195 | 4.6862e-06 | 0.0050777 | 0.001653 | 15.811 | 0.00088416 | 1.6246e-06
65 | 4.8689e-06 | 0.096787 | 0.0075325 | 0.10349 | 7.5082 |  |  |  |  | 7.5037 | 8.4817 | 8.3206 | 0.026135 | 0.0021718 | 0.023019 | 0.0019084 | 0.0024885 | 4.825e-06 | 0.0051756 | 0.0016956 | 15.9314 | 0.00091137 | 1.6248e-06
66 | 4.8145e-06 | 0.099412 | 0.0078248 | 0.10639 | 7.5081 |  |  |  |  | 7.4983 | 8.4753 | 8.3206 | 0.02684 | 0.0022452 | 0.02364 | 0.0019785 | 0.0025615 | 4.9729e-06 | 0.0052779 | 0.001741 | 16.0577 | 0.0009402 | 1.6251e-06
67 | 4.7572e-06 | 0.10219 | 0.0081403 | 0.10946 | 7.5081 |  |  |  |  | 7.4928 | 8.4688 | 8.3207 | 0.027585 | 0.0023242 | 0.024296 | 0.002054 | 0.002639 | 5.1311e-06 | 0.0053851 | 0.0017892 | 16.1902 | 0.00097081 | 1.6254e-06
68 | 4.6966e-06 | 0.10513 | 0.0084819 | 0.11271 | 7.5081 |  |  |  |  | 7.4871 | 8.462 | 8.3208 | 0.028375 | 0.0024094 | 0.024991 | 0.0021354 | 0.0027213 | 5.3006e-06 | 0.0054975 | 0.0018408 | 16.3293 | 0.0010034 | 1.6256e-06
69 | 4.6327e-06 | 0.10824 | 0.0088529 | 0.11616 | 7.5081 |  |  |  |  | 7.4814 | 8.4549 | 8.3209 | 0.029212 | 0.0025015 | 0.025728 | 0.0022237 | 0.0028089 | 5.483e-06 | 0.0056154 | 0.001896 | 16.4756 | 0.001038 | 1.6259e-06
70 | 4.565e-06 | 0.11156 | 0.0092571 | 0.11982 | 7.508 |  |  |  |  | 7.4755 | 8.4476 | 8.3212 | 0.030103 | 0.0026015 | 0.026512 | 0.0023195 | 0.0029023 | 5.6797e-06 | 0.0057394 | 0.0019552 | 16.6294 | 0.0010751 | 1.6262e-06
71 | 5.8728e-06 | 0.11508 | 0.007422 | 0.12147 | 9.008 |  |  |  |  | 7.4694 | 8.4764 | 8.3066 | 0.031051 | 0.0021757 | 0.027346 | 0.0019157 | 0.0030022 | 4.7445e-06 | 0.0058699 | 0.0016934 | 16.7279 | 0.0011147 | 1.6265e-06
72 | 5.7935e-06 | 0.11893 | 0.0077754 | 0.12564 | 9.008 |  |  |  |  | 7.4636 | 8.459 | 8.3025 | 0.032082 | 0.002264 | 0.028254 | 0.0020058 | 0.0031093 | 4.9954e-06 | 0.006019 | 0.001747 | 16.8341 | 0.0011572 | 1.6268e-06
73 | 5.7089e-06 | 0.12305 | 0.0081636 | 0.1301 | 9.008 |  |  |  |  | 7.4576 | 8.4511 | 8.3028 | 0.033187 | 0.0023622 | 0.029226 | 0.0020995 | 0.0032243 | 5.1864e-06 | 0.0061773 | 0.0018088 | 16.9491 | 0.0012029 | 1.6271e-06
74 | 5.6184e-06 | 0.12746 | 0.0085921 | 0.1349 | 9.008 |  |  |  |  | 7.4515 | 8.443 | 8.303 | 0.034372 | 0.0024701 | 0.03027 | 0.0022025 | 0.0033481 | 5.3947e-06 | 0.0063453 | 0.0018759 | 17.0735 | 0.0012522 | 1.6274e-06
75 | 5.5204e-06 | 0.13222 | 0.0090686 | 0.14005 | 9.0069 |  |  |  |  | 7.4452 | 8.4345 | 8.3034 | 0.035648 | 0.0025894 | 0.031392 | 0.0023166 | 0.0034818 | 5.6238e-06 | 0.006524 | 0.0019493 | 17.2083 | 0.0013054 | 1.6277e-06
76 | 5.4162e-06 | 0.13735 | 0.0095984 | 0.14562 | 9.0069 |  |  |  |  | 7.4387 | 8.4257 | 8.3039 | 0.037026 | 0.0027214 | 0.032604 | 0.0024429 | 0.0036266 | 5.8748e-06 | 0.0067147 | 0.0020295 | 17.3541 | 0.0013632 | 1.6281e-06
77 | 5.304e-06 | 0.14291 | 0.010193 | 0.15164 | 9.0069 |  |  |  |  | 7.432 | 8.4164 | 8.3045 | 0.038517 | 0.0028685 | 0.033915 | 0.002584 | 0.003784 | 6.1524e-06 | 0.0069184 | 0.0021177 | 17.512 | 0.001426 | 1.6284e-06
78 | 5.1829e-06 | 0.14894 | 0.010863 | 0.15818 | 9.0069 |  |  |  |  | 7.4251 | 8.4066 | 8.3052 | 0.040138 | 0.0030335 | 0.035339 | 0.0027425 | 0.0039558 | 6.4615e-06 | 0.0071366 | 0.0022152 | 17.6832 | 0.0014945 | 1.6287e-06
79 | 5.0519e-06 | 0.15551 | 0.011626 | 0.16529 | 9.0068 |  |  |  |  | 7.4179 | 8.3962 | 8.306 | 0.041904 | 0.0032199 | 0.036892 | 0.0029219 | 0.0041438 | 6.8079e-06 | 0.0073709 | 0.0023237 | 17.8691 | 0.0015697 | 1.6291e-06
80 | 4.9098e-06 | 0.16271 | 0.012499 | 0.17307 | 9.0068 |  |  |  |  | 7.4105 | 8.3852 | 8.307 | 0.043839 | 0.0034321 | 0.03859 | 0.0031264 | 0.0043507 | 7.1995e-06 | 0.0076233 | 0.002445 | 18.0714 | 0.0016525 | 1.6295e-06
81 | 4.7553e-06 | 0.17061 | 0.013509 | 0.18159 | 9.0068 |  |  |  |  | 7.4027 | 8.3734 | 8.3081 | 0.045965 | 0.0036757 | 0.040457 | 0.0033617 | 0.0045793 | 7.646e-06 | 0.0078958 | 0.0025817 | 18.2922 | 0.0017441 | 1.6299e-06
82 | 4.5869e-06 | 0.17934 | 0.01469 | 0.19099 | 9.0067 |  |  |  |  | 7.3945 | 8.3607 | 8.3095 | 0.048315 | 0.0039583 | 0.042517 | 0.0036353 | 0.0048333 | 8.1604e-06 | 0.0081911 | 0.0027369 | 18.5338 | 0.0018459 | 1.6303e-06
83 | 4.4028e-06 | 0.18903 | 0.016085 | 0.20137 | 9.0067 |  |  |  |  | 7.386 | 8.3469 | 8.311 | 0.050924 | 0.0042898 | 0.044805 | 0.0039569 | 0.0051171 | 8.7599e-06 | 0.0085119 | 0.0029147 | 18.7993 | 0.0019599 | 1.6307e-06
84 | 4.2011e-06 | 0.19984 | 0.017756 | 0.21292 | 9.0067 |  |  |  |  | 7.377 | 8.3318 | 8.3127 | 0.053839 | 0.0046837 | 0.047358 | 0.0043401 | 0.0054363 | 9.4681e-06 | 0.0088617 | 0.0031203 | 19.0925 | 0.0020881 | 1.6312e-06
85 | 3.9796e-06 | 0.21197 | 0.019787 | 0.22582 | 9.0066 |  |  |  |  | 7.3674 | 8.3151 | 8.3147 | 0.057116 | 0.0051589 | 0.050225 | 0.0048036 | 0.0057981 | 1.0318e-05 | 0.0092445 | 0.0033608 | 19.418 | 0.0022337 | 1.6316e-06
86 | 8.1795e-06 | 0.2257 | 0.010928 | 0.24479 | 14.2066 |  |  |  |  | 7.3573 | 8.523 | 8.3265 | 0.060827 | 0.0032272 | 0.05347 | 0.0028314 | 0.0062116 | 5.3413e-06 | 0.0096647 | 0.0023315 | 19.5703 | 0.0024002 | 1.6321e-06
87 | 7.8289e-06 | 0.24222 | 0.012247 | 0.26311 | 14.2053 |  |  |  |  | 7.3472 | 8.4765 | 8.3169 | 0.065257 | 0.0035513 | 0.057365 | 0.0031649 | 0.006689 | 6.0683e-06 | 0.010229 | 0.0025137 | 19.7481 | 0.0025925 | 1.6326e-06
88 | 7.4288e-06 | 0.26139 | 0.01391 | 0.28428 | 14.2053 |  |  |  |  | 7.3366 | 8.4619 | 8.3199 | 0.0704 | 0.0039625 | 0.061882 | 0.0035518 | 0.0072459 | 6.6521e-06 | 0.010872 | 0.0027565 | 19.9602 | 0.002817 | 1.6332e-06
89 | 6.9674e-06 | 0.28389 | 0.016067 | 0.30896 | 14.2052 |  |  |  |  | 7.3251 | 8.4447 | 8.3232 | 0.076439 | 0.0044873 | 0.067185 | 0.0040484 | 0.007904 | 7.3927e-06 | 0.01161 | 0.003058 | 20.2145 | 0.0030826 | 1.6337e-06
90 | 6.4317e-06 | 0.31067 | 0.018962 | 0.33806 | 14.2052 |  |  |  |  | 7.3126 | 8.4238 | 8.3271 | 0.083635 | 0.0051795 | 0.073498 | 0.0047073 | 0.0086936 | 8.3631e-06 | 0.012465 | 0.0034429 | 20.5224 | 0.0034017 | 1.6344e-06
91 | 5.8062e-06 | 0.34308 | 0.023025 | 0.37281 | 14.2051 |  |  |  |  | 7.2988 | 8.3976 | 8.3317 | 0.092352 | 0.0061326 | 0.081142 | 0.0056208 | 0.0096587 | 9.6924e-06 | 0.013467 | 0.0039519 | 20.9012 | 0.0037922 | 1.6351e-06
92 | 5.0741e-06 | 0.38309 | 0.029061 | 0.41488 | 14.2051 |  |  |  |  | 7.2832 | 8.3636 | 8.337 | 0.10313 | 0.0075217 | 0.090582 | 0.0069626 | 0.010865 | 1.1622e-05 | 0.014656 | 0.0046556 | 21.3779 | 0.0042808 | 1.6358e-06
93 | 4.2208e-06 | 0.43366 | 0.038751 | 0.4667 | 14.2028 |  |  |  |  | 7.2655 | 8.3182 | 8.3432 | 0.11679 | 0.0097085 | 0.10253 | 0.0090924 | 0.012415 | 1.4647e-05 | 0.016085 | 0.0056855 | 21.9979 | 0.0049098 | 1.6367e-06
94 | 3.2562e-06 | 0.49948 | 0.05589 | 0.53205 | 14.2026 |  |  |  |  | 7.2446 | 8.2573 | 8.3508 | 0.13463 | 0.013506 | 0.1181 | 0.012821 | 0.014482 | 1.9845e-05 | 0.017818 | 0.0072911 | 22.8417 | 0.0057497 | 1.6378e-06
95 | 2.2467e-06 | 0.5882 | 0.089784 | 0.61757 | 14.2024 |  |  |  |  | 0 | 0 | 0 | 0.15886 | 0 | 0.13916 | 0 | 0.017374 | 0 | 0.019924 | 0 | 22.6037 | 0 | 0