## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate | NH4+ Permeability
0 | 5.0671e-06 | 0.043176 | 0.0031914 | 0.045502 | 6.5 | 17.2378 | 17.4342 | 16.5416 | 17.5656 | 7.9231 | 8.4684 | 8.3564 | 0.016639 | 0.0013556 | 0.015326 | 0.0012262 | 0.00087318 | 2.1113e-06 | 0.0025459 | 0.00082598 | 11.5729 | 0.00029464 | 1.6038e-06
1 | 5.0581e-06 | 0.04358 | 0.0032278 | 0.045944 | 6.5 |  |  |  |  | 7.9212 | 8.5149 | 8.3774 | 0.016794 | 0.0013783 | 0.015468 | 0.0012324 | 0.00088198 | 1.9384e-06 | 0.0025633 | 0.00084139 | 11.6808 | 0.00029804 | 1.6039e-06
2 | 5.0492e-06 | 0.043992 | 0.0032648 | 0.046396 | 6.5 |  |  |  |  | 7.9192 | 8.5128 | 8.377 | 0.016951 | 0.0013926 | 0.015614 | 0.0012462 | 0.00089096 | 1.9585e-06 | 0.0025809 | 0.00084791 | 11.7472 | 0.00030151 | 1.604e-06
3 | 5.0401e-06 | 0.044412 | 0.0033027 | 0.046856 | 6.5 |  |  |  |  | 7.9172 | 8.5104 | 8.3768 | 0.017111 | 0.0014071 | 0.015762 | 0.0012603 | 0.00090012 | 1.978e-06 | 0.0025988 | 0.00085462 | 11.8039 | 0.00030505 | 1.6041e-06
4 | 5.0309e-06 | 0.04484 | 0.0033415 | 0.047326 | 6.4999 |  |  |  |  | 7.9152 | 8.5081 | 8.3765 | 0.017275 | 0.0014219 | 0.015913 | 0.0012747 | 0.00090948 | 1.9978e-06 | 0.0026169 | 0.00086145 | 11.8571 | 0.00030866 | 1.6042e-06
5 | 5.0215e-06 | 0.045277 | 0.0033812 | 0.047805 | 6.4999 |  |  |  |  | 7.9131 | 8.5057 | 8.3763 | 0.017442 | 0.001437 | 0.016067 | 0.0012894 | 0.00091903 | 2.0181e-06 | 0.0026354 | 0.00086843 | 11.9089 | 0.00031236 | 1.6043e-06
6 | 5.0119e-06 | 0.045723 | 0.003422 | 0.048295 | 6.4999 |  |  |  |  | 7.9111 | 8.5033 | 8.376 | 0.017612 | 0.0014525 | 0.016224 | 0.0013044 | 0.00092878 | 2.0388e-06 | 0.0026542 | 0.00087555 | 11.9601 | 0.00031613 | 1.6044e-06
7 | 5.0021e-06 | 0.046178 | 0.0034637 | 0.048795 | 6.4999 |  |  |  |  | 7.909 | 8.5008 | 8.3758 | 0.017786 | 0.0014684 | 0.016385 | 0.0013199 | 0.00093875 | 2.0599e-06 | 0.0026733 | 0.00088281 | 12.0112 | 0.00031999 | 1.6045e-06
8 | 4.9921e-06 | 0.046642 | 0.0035064 | 0.049305 | 6.4999 |  |  |  |  | 7.9069 | 8.4984 | 8.3756 | 0.017963 | 0.0014846 | 0.016548 | 0.0013357 | 0.00094893 | 2.0815e-06 | 0.0026928 | 0.00089023 | 12.0625 | 0.00032393 | 1.6047e-06
9 | 4.9819e-06 | 0.047116 | 0.0035503 | 0.049827 | 6.4999 |  |  |  |  | 7.9048 | 8.4959 | 8.3753 | 0.018144 | 0.0015012 | 0.016715 | 0.0013519 | 0.00095933 | 2.1035e-06 | 0.0027126 | 0.00089781 | 12.1142 | 0.00032796 | 1.6048e-06
10 | 4.9714e-06 | 0.0476 | 0.0035952 | 0.05036 | 6.4998 |  |  |  |  | 7.9027 | 8.4934 | 8.3751 | 0.018329 | 0.0015183 | 0.016886 | 0.0013684 | 0.00096997 | 2.1261e-06 | 0.0027328 | 0.00090554 | 12.1663 | 0.00033208 | 1.6049e-06
11 | 4.9608e-06 | 0.048094 | 0.0036413 | 0.050904 | 6.4998 |  |  |  |  | 7.9006 | 8.4908 | 8.3749 | 0.018518 | 0.0015358 | 0.01706 | 0.0013855 | 0.00098085 | 2.1491e-06 | 0.0027533 | 0.00091345 | 12.219 | 0.0003363 | 1.605e-06
12 | 4.9499e-06 | 0.048599 | 0.0036887 | 0.051461 | 6.4998 |  |  |  |  | 7.8985 | 8.4883 | 8.3747 | 0.018711 | 0.0015537 | 0.017239 | 0.0014029 | 0.00099197 | 2.1727e-06 | 0.0027742 | 0.00092153 | 12.2722 | 0.00034061 | 1.6051e-06
13 | 4.9388e-06 | 0.049116 | 0.0037373 | 0.05203 | 6.4998 |  |  |  |  | 7.8963 | 8.4857 | 8.3745 | 0.018908 | 0.0015721 | 0.017421 | 0.0014208 | 0.0010033 | 2.1968e-06 | 0.0027955 | 0.00092979 | 12.3262 | 0.00034503 | 1.6052e-06
14 | 4.9274e-06 | 0.049643 | 0.0037872 | 0.052612 | 6.4998 |  |  |  |  | 7.8942 | 8.483 | 8.3743 | 0.01911 | 0.0015909 | 0.017607 | 0.0014392 | 0.001015 | 2.2214e-06 | 0.0028172 | 0.00093824 | 12.3808 | 0.00034955 | 1.6053e-06
15 | 4.9158e-06 | 0.050183 | 0.0038384 | 0.053208 | 6.4998 |  |  |  |  | 7.892 | 8.4804 | 8.3741 | 0.019316 | 0.0016103 | 0.017797 | 0.001458 | 0.0010269 | 2.2466e-06 | 0.0028393 | 0.00094688 | 12.4362 | 0.00035418 | 1.6054e-06
16 | 4.9039e-06 | 0.050735 | 0.0038911 | 0.053817 | 6.4998 |  |  |  |  | 7.8898 | 8.4777 | 8.3739 | 0.019527 | 0.0016301 | 0.017991 | 0.0014774 | 0.0010391 | 2.2725e-06 | 0.0028618 | 0.00095572 | 12.4923 | 0.00035892 | 1.6055e-06
17 | 4.8918e-06 | 0.051299 | 0.0039453 | 0.054441 | 6.4997 |  |  |  |  | 7.8876 | 8.475 | 8.3737 | 0.019742 | 0.0016505 | 0.01819 | 0.0014973 | 0.0010516 | 2.2989e-06 | 0.0028848 | 0.00096477 | 12.5493 | 0.00036378 | 1.6056e-06
18 | 4.8793e-06 | 0.051876 | 0.004001 | 0.05508 | 6.4997 |  |  |  |  | 7.8853 | 8.4723 | 8.3735 | 0.019963 | 0.0016715 | 0.018394 | 0.0015177 | 0.0010644 | 2.326e-06 | 0.0029082 | 0.00097404 | 12.6071 | 0.00036876 | 1.6057e-06
19 | 4.8666e-06 | 0.052467 | 0.0040583 | 0.055734 | 6.4997 |  |  |  |  | 7.8831 | 8.4695 | 8.3733 | 0.020189 | 0.0016931 | 0.018602 | 0.0015387 | 0.0010775 | 2.3538e-06 | 0.0029321 | 0.00098352 | 12.6657 | 0.00037387 | 1.6058e-06
20 | 4.8536e-06 | 0.053073 | 0.0041173 | 0.056404 | 6.4997 |  |  |  |  | 7.8808 | 8.4667 | 8.3732 | 0.02042 | 0.0017152 | 0.018816 | 0.0015603 | 0.0010909 | 2.3823e-06 | 0.0029564 | 0.00099324 | 12.7253 | 0.0003791 | 1.606e-06
21 | 4.8403e-06 | 0.053692 | 0.0041781 | 0.057091 | 6.4997 |  |  |  |  | 7.8785 | 8.4639 | 8.373 | 0.020657 | 0.001738 | 0.019034 | 0.0015826 | 0.0011047 | 2.4115e-06 | 0.0029813 | 0.0010032 | 12.7858 | 0.00038447 | 1.6061e-06
22 | 4.8266e-06 | 0.054327 | 0.0042407 | 0.057794 | 6.4997 |  |  |  |  | 7.8762 | 8.4611 | 8.3728 | 0.020899 | 0.0017615 | 0.019258 | 0.0016054 | 0.0011188 | 2.4414e-06 | 0.0030067 | 0.0010134 | 12.8472 | 0.00038998 | 1.6062e-06
23 | 4.8126e-06 | 0.054978 | 0.0043052 | 0.058516 | 6.4996 |  |  |  |  | 7.8739 | 8.4582 | 8.3727 | 0.021148 | 0.0017856 | 0.019487 | 0.001629 | 0.0011333 | 2.4722e-06 | 0.0030325 | 0.0010239 | 12.9096 | 0.00039564 | 1.6063e-06
24 | 4.7983e-06 | 0.055644 | 0.0043717 | 0.059256 | 6.4996 |  |  |  |  | 7.8715 | 8.4552 | 8.3726 | 0.021403 | 0.0018105 | 0.019722 | 0.0016533 | 0.0011482 | 2.5038e-06 | 0.003059 | 0.0010346 | 12.9731 | 0.00040145 | 1.6064e-06
25 | 4.7836e-06 | 0.056328 | 0.0044403 | 0.060015 | 6.4996 |  |  |  |  | 7.8692 | 8.4523 | 8.3724 | 0.021664 | 0.0018361 | 0.019963 | 0.0016783 | 0.0011635 | 2.5362e-06 | 0.003086 | 0.0010457 | 13.0376 | 0.00040742 | 1.6065e-06
26 | 4.7685e-06 | 0.057029 | 0.0045112 | 0.060795 | 6.4996 |  |  |  |  | 7.8668 | 8.4493 | 8.3723 | 0.021932 | 0.0018626 | 0.02021 | 0.0017041 | 0.0011792 | 2.5695e-06 | 0.0031135 | 0.001057 | 13.1032 | 0.00041355 | 1.6067e-06
27 | 4.7531e-06 | 0.057749 | 0.0045843 | 0.061595 | 6.4996 |  |  |  |  | 7.8644 | 8.4462 | 8.3722 | 0.022207 | 0.0018898 | 0.020463 | 0.0017307 | 0.0011953 | 2.6038e-06 | 0.0031417 | 0.0010686 | 13.17 | 0.00041985 | 1.6068e-06
28 | 4.7372e-06 | 0.058487 | 0.0046598 | 0.062417 | 6.4996 |  |  |  |  | 7.862 | 8.4432 | 8.3721 | 0.022489 | 0.001918 | 0.020724 | 0.0017582 | 0.0012119 | 2.639e-06 | 0.0031705 | 0.0010805 | 13.2379 | 0.00042633 | 1.6069e-06
29 | 4.721e-06 | 0.059245 | 0.0047379 | 0.063261 | 6.4995 |  |  |  |  | 7.8595 | 8.4401 | 8.372 | 0.022779 | 0.001947 | 0.020991 | 0.0017866 | 0.0012289 | 2.6753e-06 | 0.0031999 | 0.0010928 | 13.307 | 0.00043299 | 1.607e-06
30 | 4.7043e-06 | 0.060024 | 0.0048187 | 0.064129 | 6.4995 |  |  |  |  | 7.857 | 8.4369 | 8.3719 | 0.023076 | 0.001977 | 0.021265 | 0.0018159 | 0.0012464 | 2.7126e-06 | 0.00323 | 0.0011054 | 13.3773 | 0.00043985 | 1.6071e-06
31 | 4.6871e-06 | 0.060824 | 0.0049022 | 0.065021 | 6.4995 |  |  |  |  | 7.8545 | 8.4337 | 8.3718 | 0.023382 | 0.002008 | 0.021547 | 0.0018462 | 0.0012645 | 2.7511e-06 | 0.0032608 | 0.0011184 | 13.449 | 0.00044691 | 1.6073e-06
32 | 4.6695e-06 | 0.061646 | 0.0049888 | 0.065938 | 6.4995 |  |  |  |  | 7.852 | 8.4305 | 8.3717 | 0.023696 | 0.00204 | 0.021837 | 0.0018776 | 0.001283 | 2.7907e-06 | 0.0032923 | 0.0011318 | 13.522 | 0.00045419 | 1.6074e-06
33 | 4.6513e-06 | 0.062492 | 0.0050784 | 0.066882 | 6.4995 |  |  |  |  | 7.8495 | 8.4272 | 8.3717 | 0.024019 | 0.0020732 | 0.022135 | 0.00191 | 0.0013021 | 2.8316e-06 | 0.0033246 | 0.0011455 | 13.5963 | 0.00046168 | 1.6075e-06
34 | 4.6327e-06 | 0.063362 | 0.0051713 | 0.067854 | 6.4994 |  |  |  |  | 7.8469 | 8.4239 | 8.3716 | 0.024352 | 0.0021076 | 0.022441 | 0.0019436 | 0.0013218 | 2.8738e-06 | 0.0033576 | 0.0011597 | 13.6721 | 0.00046941 | 1.6077e-06
35 | 4.6136e-06 | 0.064257 | 0.0052677 | 0.068855 | 6.4994 |  |  |  |  | 7.8443 | 8.4205 | 8.3716 | 0.024694 | 0.0021431 | 0.022756 | 0.0019785 | 0.0013421 | 2.9173e-06 | 0.0033914 | 0.0011743 | 13.7494 | 0.00047737 | 1.6078e-06
36 | 4.5938e-06 | 0.065179 | 0.0053678 | 0.069886 | 6.4994 |  |  |  |  | 7.8417 | 8.4171 | 8.3715 | 0.025047 | 0.00218 | 0.023081 | 0.0020146 | 0.001363 | 2.9623e-06 | 0.003426 | 0.0011894 | 13.8282 | 0.00048559 | 1.6079e-06
37 | 4.5736e-06 | 0.066128 | 0.0054717 | 0.070948 | 6.4994 |  |  |  |  | 7.839 | 8.4136 | 8.3715 | 0.02541 | 0.0022183 | 0.023415 | 0.002052 | 0.0013846 | 3.0087e-06 | 0.0034616 | 0.0012049 | 13.9085 | 0.00049408 | 1.608e-06
38 | 4.5527e-06 | 0.067106 | 0.0055797 | 0.072044 | 6.4994 |  |  |  |  | 7.8363 | 8.4101 | 8.3715 | 0.025784 | 0.002258 | 0.02376 | 0.0020909 | 0.0014069 | 3.0568e-06 | 0.0034979 | 0.001221 | 13.9906 | 0.00050284 | 1.6082e-06
39 | 4.5311e-06 | 0.068115 | 0.0056921 | 0.073174 | 6.4993 |  |  |  |  | 7.8336 | 8.4065 | 8.3715 | 0.026169 | 0.0022993 | 0.024115 | 0.0021313 | 0.0014299 | 3.1065e-06 | 0.0035353 | 0.0012376 | 14.0743 | 0.00051189 | 1.6083e-06
40 | 4.509e-06 | 0.069155 | 0.0058091 | 0.074341 | 6.4993 |  |  |  |  | 7.8309 | 8.4029 | 8.3715 | 0.026567 | 0.0023421 | 0.024482 | 0.0021734 | 0.0014537 | 3.158e-06 | 0.0035736 | 0.0012547 | 14.1598 | 0.00052125 | 1.6085e-06
41 | 4.4861e-06 | 0.070229 | 0.0059309 | 0.075545 | 6.4993 |  |  |  |  | 7.8281 | 8.3992 | 8.3716 | 0.026978 | 0.0023867 | 0.02486 | 0.0022171 | 0.0014783 | 3.2114e-06 | 0.0036129 | 0.0012724 | 14.2471 | 0.00053094 | 1.6086e-06
42 | 4.4625e-06 | 0.071338 | 0.006058 | 0.07679 | 6.4993 |  |  |  |  | 7.8253 | 8.3955 | 8.3716 | 0.027402 | 0.0024332 | 0.02525 | 0.0022626 | 0.0015037 | 3.2668e-06 | 0.0036532 | 0.0012908 | 14.3364 | 0.00054096 | 1.6087e-06
43 | 4.4381e-06 | 0.072483 | 0.0061906 | 0.078076 | 6.4993 |  |  |  |  | 7.8225 | 8.3917 | 8.3717 | 0.02784 | 0.0024816 | 0.025653 | 0.0023101 | 0.00153 | 3.3243e-06 | 0.0036947 | 0.0013098 | 14.4277 | 0.00055134 | 1.6089e-06
44 | 4.413e-06 | 0.073667 | 0.0063291 | 0.079406 | 6.4993 |  |  |  |  | 7.8196 | 8.3879 | 8.3718 | 0.028293 | 0.0025321 | 0.02607 | 0.0023596 | 0.0015573 | 3.3841e-06 | 0.0037373 | 0.0013295 | 14.521 | 0.00056209 | 1.609e-06
45 | 4.387e-06 | 0.074891 | 0.0064739 | 0.080783 | 6.4992 |  |  |  |  | 7.8167 | 8.384 | 8.3719 | 0.028761 | 0.0025848 | 0.026501 | 0.0024113 | 0.0015855 | 3.4461e-06 | 0.003781 | 0.0013499 | 14.6165 | 0.00057324 | 1.6092e-06
46 | 5.309e-06 | 0.076158 | 0.0053783 | 0.080086 | 7.5092 |  |  |  |  | 7.8137 | 8.3859 | 8.3573 | 0.029246 | 0.0022001 | 0.026947 | 0.0020457 | 0.0016148 | 3.029e-06 | 0.0038261 | 0.001199 | 14.6629 | 0.00058482 | 1.6093e-06
47 | 5.281e-06 | 0.077493 | 0.0055026 | 0.081534 | 7.5092 |  |  |  |  | 7.8109 | 8.374 | 8.3547 | 0.029756 | 0.0022461 | 0.027417 | 0.002094 | 0.0016452 | 3.1201e-06 | 0.0038756 | 0.0012167 | 14.7126 | 0.00059684 | 1.6095e-06
48 | 5.2521e-06 | 0.078878 | 0.0056327 | 0.083036 | 7.5092 |  |  |  |  | 7.808 | 8.3696 | 8.3547 | 0.030285 | 0.0022942 | 0.027904 | 0.0021413 | 0.0016768 | 3.179e-06 | 0.0039268 | 0.0012366 | 14.7659 | 0.00060933 | 1.6096e-06
49 | 5.2222e-06 | 0.080314 | 0.0057692 | 0.084596 | 7.5092 |  |  |  |  | 7.8051 | 8.3652 | 8.3547 | 0.030834 | 0.0023445 | 0.028409 | 0.0021908 | 0.0017096 | 3.2406e-06 | 0.0039795 | 0.0012574 | 14.8229 | 0.00062231 | 1.6097e-06
50 | 5.1911e-06 | 0.081805 | 0.0059124 | 0.086215 | 7.5092 |  |  |  |  | 7.8022 | 8.3607 | 8.3547 | 0.031404 | 0.0023973 | 0.028934 | 0.0022427 | 0.0017438 | 3.3048e-06 | 0.0040339 | 0.001279 | 14.8837 | 0.00063582 | 1.6099e-06
51 | 5.1582e-06 | 0.083354 | 0.0060636 | 0.087898 | 7.5085 |  |  |  |  | 7.7992 | 8.3561 | 8.3548 | 0.031996 | 0.0024528 | 0.029479 | 0.0022974 | 0.0017793 | 3.3723e-06 | 0.0040902 | 0.0013016 | 14.9482 | 0.00064989 | 1.61e-06
52 | 5.1247e-06 | 0.084964 | 0.006222 | 0.089649 | 7.5084 |  |  |  |  | 7.7962 | 8.3515 | 8.3548 | 0.032611 | 0.0025109 | 0.030045 | 0.0023546 | 0.0018163 | 3.4423e-06 | 0.0041483 | 0.0013251 | 15.0164 | 0.00066456 | 1.6102e-06
53 | 5.0899e-06 | 0.086639 | 0.0063889 | 0.091472 | 7.5084 |  |  |  |  | 7.7932 | 8.3467 | 8.3549 | 0.033251 | 0.002572 | 0.030634 | 0.0024147 | 0.0018549 | 3.5157e-06 | 0.0042083 | 0.0013497 | 15.0885 | 0.00067985 | 1.6103e-06
54 | 5.0537e-06 | 0.088384 | 0.0065649 | 0.09337 | 7.5084 |  |  |  |  | 7.7901 | 8.3419 | 8.355 | 0.033918 | 0.0026364 | 0.031247 | 0.0024781 | 0.0018951 | 3.5926e-06 | 0.0042705 | 0.0013753 | 15.1646 | 0.00069582 | 1.6105e-06
55 | 5.016e-06 | 0.090202 | 0.0067509 | 0.09535 | 7.5084 |  |  |  |  | 7.7869 | 8.3371 | 8.3552 | 0.034614 | 0.0027042 | 0.031887 | 0.0025449 | 0.0019371 | 3.6732e-06 | 0.0043348 | 0.0014022 | 15.2446 | 0.00071251 | 1.6107e-06
56 | 4.9768e-06 | 0.092099 | 0.0069476 | 0.097416 | 7.5084 |  |  |  |  | 7.7837 | 8.3321 | 8.3553 | 0.035339 | 0.0027758 | 0.032554 | 0.0026155 | 0.0019811 | 3.758e-06 | 0.0044015 | 0.0014303 | 15.3287 | 0.00072996 | 1.6108e-06
57 | 4.936e-06 | 0.094079 | 0.0071561 | 0.099574 | 7.5083 |  |  |  |  | 7.7805 | 8.327 | 8.3555 | 0.036096 | 0.0028515 | 0.03325 | 0.0026901 | 0.0020271 | 3.8472e-06 | 0.0044706 | 0.0014599 | 15.4171 | 0.00074824 | 1.611e-06
58 | 4.8933e-06 | 0.096149 | 0.0073773 | 0.10183 | 7.5083 |  |  |  |  | 7.7771 | 8.3218 | 8.3557 | 0.036888 | 0.0029317 | 0.033977 | 0.0027691 | 0.0020752 | 3.9411e-06 | 0.0045422 | 0.0014909 | 15.5098 | 0.00076739 | 1.6111e-06
59 | 4.8488e-06 | 0.098314 | 0.0076126 | 0.10419 | 7.5083 |  |  |  |  | 7.7738 | 8.3165 | 8.356 | 0.037716 | 0.0030168 | 0.034739 | 0.0028531 | 0.0021258 | 4.0403e-06 | 0.0046167 | 0.0015235 | 15.6071 | 0.00078749 | 1.6113e-06
60 | 4.8023e-06 | 0.10058 | 0.0078631 | 0.10666 | 7.5083 |  |  |  |  | 7.7703 | 8.3112 | 8.3563 | 0.038583 | 0.0031073 | 0.035536 | 0.0029422 | 0.0021788 | 4.1452e-06 | 0.004694 | 0.0015578 | 15.7091 | 0.00080861 | 1.6115e-06
61 | 4.7537e-06 | 0.10296 | 0.0081306 | 0.10926 | 7.5083 |  |  |  |  | 7.7668 | 8.3057 | 8.3566 | 0.039493 | 0.0032035 | 0.036372 | 0.0030372 | 0.0022346 | 4.2563e-06 | 0.0047744 | 0.0015941 | 15.8159 | 0.00083082 | 1.6117e-06
62 | 4.7028e-06 | 0.10545 | 0.0084166 | 0.11198 | 7.5082 |  |  |  |  | 7.7633 | 8.3001 | 8.357 | 0.040448 | 0.0033063 | 0.037249 | 0.0031386 | 0.0022933 | 4.3743e-06 | 0.0048581 | 0.0016324 | 15.9279 | 0.00085421 | 1.6118e-06
63 | 4.6495e-06 | 0.10808 | 0.0087231 | 0.11484 | 7.5082 |  |  |  |  | 7.7596 | 8.2943 | 8.3574 | 0.041452 | 0.0034161 | 0.038171 | 0.0032471 | 0.0023551 | 4.4997e-06 | 0.0049453 | 0.0016729 | 16.0453 | 0.00087888 | 1.612e-06
64 | 4.5936e-06 | 0.11084 | 0.0090524 | 0.11785 | 7.5082 |  |  |  |  | 7.7559 | 8.2885 | 8.3578 | 0.042508 | 0.0035338 | 0.039141 | 0.0033633 | 0.0024204 | 4.6334e-06 | 0.0050362 | 0.0017159 | 16.1683 | 0.00090493 | 1.6122e-06
65 | 4.5349e-06 | 0.11374 | 0.0094071 | 0.12102 | 7.5082 |  |  |  |  | 7.7521 | 8.2825 | 8.3583 | 0.043622 | 0.0036603 | 0.040163 | 0.0034883 | 0.0024894 | 4.7763e-06 | 0.0051311 | 0.0017615 | 16.2973 | 0.00093249 | 1.6124e-06
66 | 4.4732e-06 | 0.11681 | 0.0097901 | 0.12437 | 7.5081 |  |  |  |  | 7.7482 | 8.2764 | 8.3588 | 0.044797 | 0.0037964 | 0.041242 | 0.0036229 | 0.0025625 | 4.9294e-06 | 0.0052302 | 0.0018101 | 16.4326 | 0.00096168 | 1.6126e-06
67 | 4.4083e-06 | 0.12006 | 0.010205 | 0.12791 | 7.5081 |  |  |  |  | 7.7442 | 8.2701 | 8.3594 | 0.04604 | 0.0039435 | 0.042382 | 0.0037683 | 0.00264 | 5.0939e-06 | 0.0053338 | 0.001862 | 16.5745 | 0.00099266 | 1.6128e-06
68 | 4.34e-06 | 0.12349 | 0.010655 | 0.13165 | 7.5081 |  |  |  |  | 7.7401 | 8.2636 | 8.3601 | 0.047355 | 0.0041029 | 0.043588 | 0.0039259 | 0.0027223 | 5.2712e-06 | 0.0054423 | 0.0019174 | 16.7237 | 0.0010256 | 1.613e-06
69 | 4.2679e-06 | 0.12713 | 0.011146 | 0.13561 | 7.5081 |  |  |  |  | 7.7359 | 8.257 | 8.3608 | 0.04875 | 0.004276 | 0.044868 | 0.0040972 | 0.00281 | 5.4628e-06 | 0.005556 | 0.0019768 | 16.8805 | 0.0010607 | 1.6132e-06
70 | 4.1918e-06 | 0.131 | 0.011683 | 0.13982 | 7.508 |  |  |  |  | 7.7316 | 8.2501 | 8.3615 | 0.050233 | 0.0044648 | 0.046227 | 0.0042841 | 0.0029035 | 5.6706e-06 | 0.0056753 | 0.0020407 | 17.0454 | 0.0010981 | 1.6134e-06
71 | 5.4745e-06 | 0.13511 | 0.00927 | 0.14205 | 9.008 |  |  |  |  | 7.7272 | 8.2696 | 8.3537 | 0.051811 | 0.003648 | 0.047673 | 0.0034826 | 0.0030034 | 4.6095e-06 | 0.0058006 | 0.0017654 | 17.1522 | 0.0011381 | 1.6136e-06
72 | 5.3841e-06 | 0.1396 | 0.0097349 | 0.14687 | 9.008 |  |  |  |  | 7.7229 | 8.2528 | 8.3516 | 0.053531 | 0.0038156 | 0.049251 | 0.0036533 | 0.0031105 | 4.8479e-06 | 0.0059447 | 0.0018242 | 17.2674 | 0.0011811 | 1.6139e-06
73 | 5.2878e-06 | 0.14441 | 0.010248 | 0.15203 | 9.008 |  |  |  |  | 7.7184 | 8.2456 | 8.3524 | 0.055372 | 0.0039985 | 0.05094 | 0.003834 | 0.0032255 | 5.0444e-06 | 0.0060974 | 0.0018909 | 17.3921 | 0.0012272 | 1.6141e-06
74 | 5.1851e-06 | 0.14957 | 0.010817 | 0.15756 | 9.008 |  |  |  |  | 7.7138 | 8.2382 | 8.3532 | 0.057348 | 0.0042005 | 0.052752 | 0.0040338 | 0.0033494 | 5.2601e-06 | 0.0062591 | 0.0019635 | 17.527 | 0.0012769 | 1.6143e-06
75 | 5.0743e-06 | 0.15512 | 0.011453 | 0.1635 | 9.0069 |  |  |  |  | 7.7091 | 8.2305 | 8.3542 | 0.059474 | 0.0044254 | 0.054701 | 0.0042562 | 0.0034832 | 5.4988e-06 | 0.006431 | 0.0020431 | 17.673 | 0.0013306 | 1.6145e-06
76 | 4.9567e-06 | 0.16111 | 0.012163 | 0.16991 | 9.0069 |  |  |  |  | 7.7042 | 8.2227 | 8.3553 | 0.061768 | 0.0046759 | 0.056802 | 0.004504 | 0.0036281 | 5.7623e-06 | 0.0066138 | 0.0021302 | 17.8311 | 0.0013888 | 1.6148e-06
77 | 4.8305e-06 | 0.16759 | 0.012965 | 0.17683 | 9.0069 |  |  |  |  | 7.6991 | 8.2147 | 8.3565 | 0.06425 | 0.0049573 | 0.059076 | 0.0047825 | 0.0037856 | 6.0563e-06 | 0.0068087 | 0.0022263 | 18.0024 | 0.0014521 | 1.615e-06
78 | 4.6948e-06 | 0.17461 | 0.013876 | 0.18433 | 9.0069 |  |  |  |  | 7.6938 | 8.2063 | 8.3578 | 0.066945 | 0.0052756 | 0.061544 | 0.0050977 | 0.0039574 | 6.3865e-06 | 0.007017 | 0.0023329 | 18.1883 | 0.0015212 | 1.6153e-06
79 | 4.5486e-06 | 0.18227 | 0.014919 | 0.19248 | 9.0068 |  |  |  |  | 7.6883 | 8.1976 | 8.3593 | 0.069882 | 0.0056384 | 0.064232 | 0.0054571 | 0.0041455 | 6.76e-06 | 0.0072401 | 0.0024519 | 18.3903 | 0.0015969 | 1.6156e-06
80 | 4.3909e-06 | 0.19064 | 0.016124 | 0.20136 | 9.0068 |  |  |  |  | 7.6825 | 8.1886 | 8.361 | 0.073094 | 0.0060555 | 0.067171 | 0.0058706 | 0.0043524 | 7.1864e-06 | 0.0074795 | 0.0025855 | 18.6105 | 0.0016803 | 1.6159e-06
81 | 4.2205e-06 | 0.19982 | 0.017528 | 0.21109 | 9.0068 |  |  |  |  | 7.6765 | 8.1792 | 8.3628 | 0.076623 | 0.0065397 | 0.070397 | 0.0063508 | 0.0045811 | 7.6777e-06 | 0.0077371 | 0.0027366 | 18.8512 | 0.0017725 | 1.6162e-06
82 | 4.036e-06 | 0.20995 | 0.019185 | 0.22177 | 9.0067 |  |  |  |  | 7.6701 | 8.1693 | 8.3649 | 0.080516 | 0.0071079 | 0.073955 | 0.0069146 | 0.0048352 | 8.25e-06 | 0.0080149 | 0.0029089 | 19.1151 | 0.001875 | 1.6165e-06
83 | 3.836e-06 | 0.22117 | 0.021162 | 0.23356 | 9.0067 |  |  |  |  | 7.6634 | 8.1589 | 8.3672 | 0.084834 | 0.007783 | 0.077899 | 0.0075848 | 0.0051191 | 8.9249e-06 | 0.0083152 | 0.0031071 | 19.4058 | 0.0019896 | 1.6168e-06
84 | 3.6193e-06 | 0.23367 | 0.023556 | 0.24662 | 9.0067 |  |  |  |  | 7.6563 | 8.148 | 8.3698 | 0.08965 | 0.0085963 | 0.082293 | 0.0083929 | 0.0054385 | 9.7319e-06 | 0.0086407 | 0.0033373 | 19.7276 | 0.0021186 | 1.6172e-06
85 | 3.3845e-06 | 0.24768 | 0.0265 | 0.26116 | 9.0066 |  |  |  |  | 7.6487 | 8.1363 | 8.3727 | 0.095054 | 0.0095918 | 0.08722 | 0.0093825 | 0.0058005 | 1.0712e-05 | 0.0089943 | 0.0036075 | 20.0859 | 0.002265 | 1.6176e-06
86 | 7.4289e-06 | 0.26348 | 0.013874 | 0.28355 | 14.2066 |  |  |  |  | 7.6405 | 8.2824 | 8.383 | 0.10116 | 0.0054333 | 0.09278 | 0.0051951 | 0.006214 | 5.276e-06 | 0.0093791 | 0.0024358 | 20.2473 | 0.0024324 | 1.618e-06
87 | 7.0374e-06 | 0.28268 | 0.015679 | 0.30438 | 14.2053 |  |  |  |  | 7.6323 | 8.2381 | 8.3778 | 0.10852 | 0.0060746 | 0.099517 | 0.0058497 | 0.0066916 | 5.9948e-06 | 0.0099132 | 0.0026411 | 20.4378 | 0.0026254 | 1.6184e-06
88 | 6.5937e-06 | 0.30493 | 0.017991 | 0.32836 | 14.2053 |  |  |  |  | 7.6235 | 8.2272 | 8.3814 | 0.11706 | 0.0068769 | 0.10732 | 0.0066372 | 0.0072487 | 6.6478e-06 | 0.010519 | 0.0029086 | 20.666 | 0.0028509 | 1.6188e-06
89 | 6.0871e-06 | 0.33101 | 0.021045 | 0.35622 | 14.2052 |  |  |  |  | 7.614 | 8.2149 | 8.3856 | 0.12708 | 0.0079262 | 0.11648 | 0.0076687 | 0.0079071 | 7.4921e-06 | 0.011211 | 0.0032449 | 20.9416 | 0.0031175 | 1.6193e-06
90 | 5.5068e-06 | 0.36201 | 0.025241 | 0.38891 | 14.2052 |  |  |  |  | 7.6035 | 8.2004 | 8.3906 | 0.13899 | 0.0093516 | 0.12736 | 0.009072 | 0.0086971 | 8.6254e-06 | 0.012008 | 0.0036804 | 21.2781 | 0.0034376 | 1.6198e-06
91 | 4.8421e-06 | 0.39943 | 0.031292 | 0.42773 | 14.2051 |  |  |  |  | 7.5918 | 8.1825 | 8.3965 | 0.15339 | 0.011384 | 0.1405 | 0.011077 | 0.0096624 | 1.0222e-05 | 0.012933 | 0.0042658 | 21.6965 | 0.0038293 | 1.6204e-06
92 | 4.0868e-06 | 0.44544 | 0.040579 | 0.47448 | 14.2051 |  |  |  |  | 7.5786 | 8.1598 | 8.4037 | 0.17115 | 0.014469 | 0.15668 | 0.014128 | 0.010869 | 1.261e-05 | 0.014016 | 0.0050888 | 22.2298 | 0.0043193 | 1.6211e-06
93 | 3.2484e-06 | 0.50328 | 0.055985 | 0.53181 | 14.2028 |  |  |  |  | 7.5632 | 8.13 | 8.4127 | 0.19353 | 0.019532 | 0.17704 | 0.019147 | 0.01242 | 1.6454e-05 | 0.015292 | 0.0063044 | 22.933 | 0.0049499 | 1.6218e-06
94 | 2.3775e-06 | 0.57783 | 0.083659 | 0.60407 | 14.2026 |  |  |  |  | 7.5448 | 8.0917 | 8.4246 | 0.22253 | 0.028539 | 0.20336 | 0.028096 | 0.014487 | 2.3076e-05 | 0.016789 | 0.0081566 | 23.8946 | 0.0057917 | 1.6228e-06
95 | 1.5843e-06 | 0.67667 | 0.13584 | 0.69895 | 14.2024 |  |  |  |  | 0 | 0 | 0 | 0.26132 | 0 | 0.23841 | 0 | 0.01738 | 0 | 0.018516 | 0 | 23.6457 | 0 | 0