## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate | NH4+ Permeability
0 | 5.204e-06 | 0.036626 | 0.0026449 | 0.038658 | 6.5 | 17.8711 | 18.4958 | 18.3131 | 20.6785 | 7.7586 | 8.6638 | 8.3513 | 0.0099993 | 0.00087186 | 0.0087614 | 0.00068778 | 0.00087283 | 2.082e-06 | 0.0025449 | 0.00081617 | 11.4354 | 0.00028648 | 1.6121e-06
1 | 5.1967e-06 | 0.03697 | 0.0026743 | 0.039036 | 6.5 |  |  |  |  | 7.7571 | 8.7057 | 8.3787 | 0.010092 | 0.00089299 | 0.0088429 | 0.00068974 | 0.00088163 | 1.8862e-06 | 0.0025624 | 0.00083426 | 11.5621 | 0.00028991 | 1.6121e-06
2 | 5.1891e-06 | 0.03732 | 0.0027043 | 0.039421 | 6.5 |  |  |  |  | 7.7557 | 8.706 | 8.3792 | 0.010185 | 0.00090216 | 0.0089261 | 0.00069717 | 0.00089061 | 1.9012e-06 | 0.00258 | 0.00084102 | 11.6359 | 0.00029342 | 1.6122e-06
3 | 5.1813e-06 | 0.037676 | 0.0027351 | 0.039814 | 6.5 |  |  |  |  | 7.7542 | 8.7061 | 8.3799 | 0.010281 | 0.0009114 | 0.009011 | 0.0007047 | 0.00089977 | 1.9151e-06 | 0.002598 | 0.00084798 | 11.6972 | 0.00029699 | 1.6123e-06
4 | 5.1734e-06 | 0.03804 | 0.0027666 | 0.040215 | 6.4999 |  |  |  |  | 7.7528 | 8.7061 | 8.3807 | 0.010379 | 0.00092084 | 0.0090975 | 0.00071241 | 0.00090912 | 1.9293e-06 | 0.0026162 | 0.00085509 | 11.7539 | 0.00030065 | 1.6124e-06
5 | 5.1653e-06 | 0.038412 | 0.0027988 | 0.040624 | 6.4999 |  |  |  |  | 7.7513 | 8.7062 | 8.3814 | 0.010478 | 0.0009305 | 0.0091858 | 0.00072029 | 0.00091867 | 1.9437e-06 | 0.0026347 | 0.00086233 | 11.8086 | 0.00030438 | 1.6124e-06
6 | 5.1571e-06 | 0.038791 | 0.0028319 | 0.041042 | 6.4999 |  |  |  |  | 7.7498 | 8.7063 | 8.3821 | 0.01058 | 0.00094038 | 0.0092758 | 0.00072836 | 0.00092842 | 1.9584e-06 | 0.0026536 | 0.00086972 | 11.8624 | 0.0003082 | 1.6125e-06
7 | 5.1486e-06 | 0.039177 | 0.0028657 | 0.041469 | 6.4999 |  |  |  |  | 7.7483 | 8.7064 | 8.3829 | 0.010683 | 0.00095048 | 0.0093677 | 0.00073661 | 0.00093838 | 1.9734e-06 | 0.0026728 | 0.00087726 | 11.9161 | 0.0003121 | 1.6126e-06
8 | 5.1401e-06 | 0.039572 | 0.0029003 | 0.041905 | 6.4999 |  |  |  |  | 7.7469 | 8.7065 | 8.3836 | 0.010789 | 0.00096082 | 0.0094615 | 0.00074506 | 0.00094856 | 1.9886e-06 | 0.0026923 | 0.00088496 | 11.9697 | 0.00031609 | 1.6127e-06
9 | 5.1313e-06 | 0.039975 | 0.0029358 | 0.042351 | 6.4999 |  |  |  |  | 7.7454 | 8.7065 | 8.3844 | 0.010897 | 0.0009714 | 0.0095573 | 0.00075372 | 0.00095896 | 2.0042e-06 | 0.0027122 | 0.00089281 | 12.0237 | 0.00032016 | 1.6127e-06
10 | 5.1223e-06 | 0.040387 | 0.0029722 | 0.042806 | 6.4998 |  |  |  |  | 7.7439 | 8.7066 | 8.3852 | 0.011008 | 0.00098223 | 0.0096551 | 0.00076258 | 0.0009696 | 2.02e-06 | 0.0027324 | 0.00090083 | 12.078 | 0.00032433 | 1.6128e-06
11 | 5.1132e-06 | 0.040807 | 0.0030095 | 0.043272 | 6.4998 |  |  |  |  | 7.7424 | 8.7067 | 8.386 | 0.01112 | 0.00099332 | 0.0097551 | 0.00077167 | 0.00098047 | 2.0362e-06 | 0.0027529 | 0.00090902 | 12.1329 | 0.0003286 | 1.6129e-06
12 | 5.1038e-06 | 0.041236 | 0.0030478 | 0.043748 | 6.4998 |  |  |  |  | 7.7408 | 8.7068 | 8.3868 | 0.011235 | 0.0010047 | 0.0098571 | 0.00078098 | 0.00099159 | 2.0526e-06 | 0.0027739 | 0.00091739 | 12.1883 | 0.00033296 | 1.613e-06
13 | 5.0943e-06 | 0.041675 | 0.0030871 | 0.044234 | 6.4998 |  |  |  |  | 7.7393 | 8.7068 | 8.3877 | 0.011353 | 0.0010163 | 0.0099615 | 0.00079053 | 0.001003 | 2.0694e-06 | 0.0027952 | 0.00092594 | 12.2444 | 0.00033743 | 1.613e-06
14 | 5.0845e-06 | 0.042124 | 0.0031274 | 0.044732 | 6.4998 |  |  |  |  | 7.7378 | 8.7069 | 8.3885 | 0.011473 | 0.0010282 | 0.010068 | 0.00080032 | 0.0010146 | 2.0866e-06 | 0.002817 | 0.00093468 | 12.3012 | 0.000342 | 1.6131e-06
15 | 5.0745e-06 | 0.042583 | 0.0031688 | 0.045241 | 6.4998 |  |  |  |  | 7.7363 | 8.7069 | 8.3894 | 0.011596 | 0.0010405 | 0.010177 | 0.00081037 | 0.0010265 | 2.1041e-06 | 0.0028391 | 0.00094361 | 12.3586 | 0.00034669 | 1.6132e-06
16 | 5.0643e-06 | 0.043052 | 0.0032113 | 0.045763 | 6.4998 |  |  |  |  | 7.7347 | 8.707 | 8.3902 | 0.011722 | 0.001053 | 0.010289 | 0.00082068 | 0.0010387 | 2.1219e-06 | 0.0028617 | 0.00095275 | 12.4169 | 0.00035148 | 1.6133e-06
17 | 5.0538e-06 | 0.043532 | 0.003255 | 0.046296 | 6.4997 |  |  |  |  | 7.7332 | 8.7071 | 8.3911 | 0.01185 | 0.0010659 | 0.010403 | 0.00083127 | 0.0010512 | 2.1402e-06 | 0.0028847 | 0.0009621 | 12.476 | 0.0003564 | 1.6133e-06
18 | 5.0431e-06 | 0.044023 | 0.0032999 | 0.046843 | 6.4997 |  |  |  |  | 7.7316 | 8.7071 | 8.392 | 0.011982 | 0.0010791 | 0.010519 | 0.00084214 | 0.001064 | 2.1589e-06 | 0.0029081 | 0.00097166 | 12.5358 | 0.00036144 | 1.6134e-06
19 | 5.0322e-06 | 0.044526 | 0.0033461 | 0.047402 | 6.4997 |  |  |  |  | 7.73 | 8.7071 | 8.3929 | 0.012116 | 0.0010927 | 0.010639 | 0.00085332 | 0.0010771 | 2.1779e-06 | 0.002932 | 0.00098145 | 12.5966 | 0.00036661 | 1.6135e-06
20 | 5.0209e-06 | 0.045041 | 0.0033937 | 0.047976 | 6.4997 |  |  |  |  | 7.7285 | 8.7072 | 8.3939 | 0.012254 | 0.0011066 | 0.010761 | 0.0008648 | 0.0010905 | 2.1974e-06 | 0.0029564 | 0.00099147 | 12.6583 | 0.0003719 | 1.6136e-06
21 | 5.0095e-06 | 0.045568 | 0.0034425 | 0.048564 | 6.4997 |  |  |  |  | 7.7269 | 8.7072 | 8.3948 | 0.012395 | 0.0011209 | 0.010887 | 0.00087661 | 0.0011043 | 2.2173e-06 | 0.0029813 | 0.0010017 | 12.7209 | 0.00037734 | 1.6137e-06
22 | 4.9977e-06 | 0.046108 | 0.0034929 | 0.049166 | 6.4997 |  |  |  |  | 7.7253 | 8.7073 | 8.3958 | 0.01254 | 0.0011356 | 0.011015 | 0.00088876 | 0.0011184 | 2.2377e-06 | 0.0030067 | 0.0010122 | 12.7844 | 0.00038292 | 1.6137e-06
23 | 4.9856e-06 | 0.046661 | 0.0035447 | 0.049784 | 6.4996 |  |  |  |  | 7.7237 | 8.7073 | 8.3968 | 0.012688 | 0.0011508 | 0.011146 | 0.00090126 | 0.0011329 | 2.2585e-06 | 0.0030326 | 0.001023 | 12.849 | 0.00038864 | 1.6138e-06
24 | 4.9733e-06 | 0.047229 | 0.0035982 | 0.050418 | 6.4996 |  |  |  |  | 7.7221 | 8.7073 | 8.3978 | 0.01284 | 0.0011663 | 0.011281 | 0.00091413 | 0.0011478 | 2.2799e-06 | 0.003059 | 0.0010341 | 12.9145 | 0.00039452 | 1.6139e-06
25 | 4.9606e-06 | 0.047811 | 0.0036533 | 0.051069 | 6.4996 |  |  |  |  | 7.7205 | 8.7073 | 8.3988 | 0.012995 | 0.0011823 | 0.011419 | 0.00092739 | 0.0011631 | 2.3018e-06 | 0.003086 | 0.0010454 | 12.9812 | 0.00040056 | 1.614e-06
26 | 4.9476e-06 | 0.048407 | 0.0037101 | 0.051737 | 6.4996 |  |  |  |  | 7.7189 | 8.7073 | 8.3999 | 0.013155 | 0.0011988 | 0.011561 | 0.00094105 | 0.0011788 | 2.3242e-06 | 0.0031136 | 0.001057 | 13.0489 | 0.00040676 | 1.6141e-06
27 | 4.9342e-06 | 0.04902 | 0.0037687 | 0.052423 | 6.4996 |  |  |  |  | 7.7172 | 8.7073 | 8.4009 | 0.013319 | 0.0012158 | 0.011707 | 0.00095513 | 0.0011949 | 2.3472e-06 | 0.0031418 | 0.001069 | 13.1178 | 0.00041314 | 1.6141e-06
28 | 4.9206e-06 | 0.049648 | 0.0038292 | 0.053127 | 6.4996 |  |  |  |  | 7.7156 | 8.7073 | 8.402 | 0.013487 | 0.0012333 | 0.011856 | 0.00096965 | 0.0012115 | 2.3707e-06 | 0.0031706 | 0.0010812 | 13.1878 | 0.0004197 | 1.6142e-06
29 | 4.9065e-06 | 0.050293 | 0.0038917 | 0.053851 | 6.4995 |  |  |  |  | 7.7139 | 8.7073 | 8.4031 | 0.013659 | 0.0012513 | 0.012009 | 0.00098464 | 0.0012285 | 2.3948e-06 | 0.0032 | 0.0010938 | 13.2591 | 0.00042645 | 1.6143e-06
30 | 4.8921e-06 | 0.050956 | 0.0039563 | 0.054596 | 6.4995 |  |  |  |  | 7.7123 | 8.7073 | 8.4042 | 0.013837 | 0.0012699 | 0.012167 | 0.0010001 | 0.001246 | 2.4197e-06 | 0.0032301 | 0.0011067 | 13.3315 | 0.0004334 | 1.6144e-06
31 | 4.8772e-06 | 0.051637 | 0.0040231 | 0.055361 | 6.4995 |  |  |  |  | 7.7106 | 8.7072 | 8.4054 | 0.014019 | 0.0012891 | 0.012329 | 0.0010161 | 0.001264 | 2.4451e-06 | 0.0032608 | 0.00112 | 13.4053 | 0.00044055 | 1.6145e-06
32 | 4.862e-06 | 0.052338 | 0.0040922 | 0.056149 | 6.4995 |  |  |  |  | 7.709 | 8.7072 | 8.4066 | 0.014206 | 0.0013089 | 0.012495 | 0.0010326 | 0.0012826 | 2.4713e-06 | 0.0032923 | 0.0011337 | 13.4804 | 0.00044791 | 1.6146e-06
33 | 4.8463e-06 | 0.053058 | 0.0041637 | 0.056959 | 6.4995 |  |  |  |  | 7.7073 | 8.7071 | 8.4078 | 0.014398 | 0.0013294 | 0.012666 | 0.0010497 | 0.0013017 | 2.4982e-06 | 0.0033245 | 0.0011477 | 13.5569 | 0.0004555 | 1.6146e-06
34 | 4.8302e-06 | 0.053798 | 0.0042378 | 0.057794 | 6.4994 |  |  |  |  | 7.7056 | 8.707 | 8.409 | 0.014596 | 0.0013506 | 0.012842 | 0.0010674 | 0.0013214 | 2.5259e-06 | 0.0033575 | 0.0011622 | 13.6348 | 0.00046332 | 1.6147e-06
35 | 4.8135e-06 | 0.054561 | 0.0043146 | 0.058654 | 6.4994 |  |  |  |  | 7.7039 | 8.7069 | 8.4102 | 0.0148 | 0.0013725 | 0.013023 | 0.0010857 | 0.0013417 | 2.5543e-06 | 0.0033913 | 0.0011771 | 13.7142 | 0.00047138 | 1.6148e-06
36 | 4.7965e-06 | 0.055346 | 0.0043942 | 0.05954 | 6.4994 |  |  |  |  | 7.7022 | 8.7068 | 8.4115 | 0.01501 | 0.0013951 | 0.01321 | 0.0011047 | 0.0013626 | 2.5836e-06 | 0.0034259 | 0.0011924 | 13.7951 | 0.00047971 | 1.6149e-06
37 | 4.7789e-06 | 0.056155 | 0.0044768 | 0.060453 | 6.4994 |  |  |  |  | 7.7004 | 8.7067 | 8.4128 | 0.015226 | 0.0014186 | 0.013402 | 0.0011243 | 0.0013842 | 2.6138e-06 | 0.0034613 | 0.0012083 | 13.8775 | 0.0004883 | 1.615e-06
38 | 4.7607e-06 | 0.056988 | 0.0045627 | 0.061396 | 6.4994 |  |  |  |  | 7.6987 | 8.7066 | 8.4141 | 0.015449 | 0.0014429 | 0.0136 | 0.0011447 | 0.0014064 | 2.6449e-06 | 0.0034977 | 0.0012246 | 13.9616 | 0.00049717 | 1.6151e-06
39 | 4.742e-06 | 0.057848 | 0.0046518 | 0.062368 | 6.4993 |  |  |  |  | 7.697 | 8.7064 | 8.4155 | 0.015678 | 0.0014681 | 0.013804 | 0.0011659 | 0.0014295 | 2.6769e-06 | 0.003535 | 0.0012414 | 14.0474 | 0.00050634 | 1.6152e-06
40 | 4.7228e-06 | 0.058734 | 0.0047446 | 0.063372 | 6.4993 |  |  |  |  | 7.6952 | 8.7062 | 8.4168 | 0.015915 | 0.0014942 | 0.014015 | 0.0011879 | 0.0014532 | 2.71e-06 | 0.0035732 | 0.0012588 | 14.135 | 0.00051582 | 1.6152e-06
41 | 4.7029e-06 | 0.059649 | 0.0048411 | 0.064409 | 6.4993 |  |  |  |  | 7.6934 | 8.706 | 8.4183 | 0.01616 | 0.0015213 | 0.014232 | 0.0012107 | 0.0014778 | 2.7442e-06 | 0.0036124 | 0.0012768 | 14.2244 | 0.00052563 | 1.6153e-06
42 | 4.6823e-06 | 0.060594 | 0.0049416 | 0.065481 | 6.4993 |  |  |  |  | 7.6917 | 8.7058 | 8.4197 | 0.016412 | 0.0015495 | 0.014457 | 0.0012345 | 0.0015033 | 2.7796e-06 | 0.0036527 | 0.0012953 | 14.3156 | 0.00053578 | 1.6154e-06
43 | 4.6611e-06 | 0.061571 | 0.0050464 | 0.06659 | 6.4993 |  |  |  |  | 7.6899 | 8.7055 | 8.4212 | 0.016673 | 0.0015788 | 0.014689 | 0.0012593 | 0.0015296 | 2.8161e-06 | 0.003694 | 0.0013145 | 14.4089 | 0.00054629 | 1.6155e-06
44 | 4.6392e-06 | 0.06258 | 0.0051557 | 0.067737 | 6.4993 |  |  |  |  | 7.6881 | 8.7053 | 8.4227 | 0.016942 | 0.0016093 | 0.014928 | 0.0012851 | 0.0015568 | 2.854e-06 | 0.0037365 | 0.0013344 | 14.5042 | 0.00055718 | 1.6156e-06
45 | 4.6166e-06 | 0.063624 | 0.0052699 | 0.068924 | 6.4992 |  |  |  |  | 7.6862 | 8.7049 | 8.4242 | 0.017221 | 0.0016411 | 0.015176 | 0.001312 | 0.0015851 | 2.8932e-06 | 0.0037802 | 0.001355 | 14.6016 | 0.00056847 | 1.6157e-06
46 | 5.5439e-06 | 0.064705 | 0.0043987 | 0.068204 | 7.5092 |  |  |  |  | 7.6844 | 8.7315 | 8.4077 | 0.01751 | 0.001426 | 0.015433 | 0.0011173 | 0.0016144 | 2.5677e-06 | 0.0038251 | 0.0012101 | 14.6516 | 0.0005802 | 1.6158e-06
47 | 5.5198e-06 | 0.065843 | 0.0044972 | 0.069446 | 7.5092 |  |  |  |  | 7.6828 | 8.7261 | 8.4059 | 0.017813 | 0.0014528 | 0.015703 | 0.0011427 | 0.0016448 | 2.637e-06 | 0.0038744 | 0.0012274 | 14.7047 | 0.00059238 | 1.6159e-06
48 | 5.4948e-06 | 0.067022 | 0.0046001 | 0.070735 | 7.5092 |  |  |  |  | 7.6811 | 8.7259 | 8.4074 | 0.018128 | 0.0014824 | 0.015983 | 0.0011673 | 0.0016764 | 2.6744e-06 | 0.0039254 | 0.0012478 | 14.7613 | 0.00060503 | 1.6159e-06
49 | 5.4689e-06 | 0.068246 | 0.0047079 | 0.072073 | 7.5092 |  |  |  |  | 7.6795 | 8.7256 | 8.4089 | 0.018454 | 0.0015133 | 0.016274 | 0.0011931 | 0.0017092 | 2.7134e-06 | 0.0039779 | 0.0012688 | 14.8217 | 0.00061819 | 1.616e-06
50 | 5.442e-06 | 0.069517 | 0.0048209 | 0.073464 | 7.5092 |  |  |  |  | 7.6778 | 8.7253 | 8.4105 | 0.018793 | 0.0015456 | 0.016575 | 0.00122 | 0.0017433 | 2.754e-06 | 0.004032 | 0.0012908 | 14.8857 | 0.00063188 | 1.6161e-06
51 | 5.4133e-06 | 0.070838 | 0.0049401 | 0.074909 | 7.5085 |  |  |  |  | 7.6761 | 8.7249 | 8.4121 | 0.019145 | 0.0015795 | 0.016889 | 0.0012484 | 0.0017789 | 2.7965e-06 | 0.004088 | 0.0013136 | 14.9533 | 0.00064614 | 1.6162e-06
52 | 5.3843e-06 | 0.07221 | 0.0050647 | 0.076414 | 7.5084 |  |  |  |  | 7.6745 | 8.7245 | 8.4137 | 0.019511 | 0.0016149 | 0.017215 | 0.001278 | 0.0018159 | 2.8403e-06 | 0.0041458 | 0.0013374 | 15.0248 | 0.000661 | 1.6163e-06
53 | 5.3541e-06 | 0.073639 | 0.0051957 | 0.077981 | 7.5084 |  |  |  |  | 7.6728 | 8.7241 | 8.4154 | 0.019892 | 0.001652 | 0.017554 | 0.0013092 | 0.0018544 | 2.886e-06 | 0.0042055 | 0.0013622 | 15.1 | 0.0006765 | 1.6164e-06
54 | 5.3227e-06 | 0.075127 | 0.0053338 | 0.079614 | 7.5084 |  |  |  |  | 7.6711 | 8.7236 | 8.4171 | 0.020288 | 0.001691 | 0.017907 | 0.0013419 | 0.0018947 | 2.9337e-06 | 0.0042673 | 0.001388 | 15.179 | 0.00069268 | 1.6164e-06
55 | 5.2899e-06 | 0.076678 | 0.0054793 | 0.081317 | 7.5084 |  |  |  |  | 7.6694 | 8.7231 | 8.4189 | 0.020701 | 0.0017319 | 0.018275 | 0.0013764 | 0.0019367 | 2.9835e-06 | 0.0043313 | 0.001415 | 15.262 | 0.00070959 | 1.6165e-06
56 | 5.2558e-06 | 0.078296 | 0.0056331 | 0.083096 | 7.5084 |  |  |  |  | 7.6677 | 8.7225 | 8.4207 | 0.021133 | 0.001775 | 0.018659 | 0.0014127 | 0.0019807 | 3.0356e-06 | 0.0043976 | 0.0014432 | 15.349 | 0.00072727 | 1.6166e-06
57 | 5.2202e-06 | 0.079986 | 0.0057957 | 0.084955 | 7.5083 |  |  |  |  | 7.666 | 8.7219 | 8.4226 | 0.021583 | 0.0018203 | 0.01906 | 0.0014511 | 0.0020267 | 3.0901e-06 | 0.0044663 | 0.0014728 | 15.4401 | 0.00074579 | 1.6167e-06
58 | 5.1831e-06 | 0.081752 | 0.0059679 | 0.086899 | 7.5083 |  |  |  |  | 7.6643 | 8.7211 | 8.4245 | 0.022053 | 0.0018682 | 0.019479 | 0.0014916 | 0.0020748 | 3.1473e-06 | 0.0045376 | 0.0015037 | 15.5355 | 0.0007652 | 1.6168e-06
59 | 5.1442e-06 | 0.083601 | 0.0061506 | 0.088935 | 7.5083 |  |  |  |  | 7.6625 | 8.7204 | 8.4265 | 0.022546 | 0.0019189 | 0.019918 | 0.0015346 | 0.0021254 | 3.2074e-06 | 0.0046116 | 0.0015362 | 15.6353 | 0.00078557 | 1.6169e-06
60 | 5.1036e-06 | 0.085537 | 0.0063449 | 0.091069 | 7.5083 |  |  |  |  | 7.6608 | 8.7195 | 8.4285 | 0.023061 | 0.0019724 | 0.020378 | 0.0015802 | 0.0021784 | 3.2706e-06 | 0.0046885 | 0.0015704 | 15.7397 | 0.00080696 | 1.617e-06
61 | 5.0611e-06 | 0.087567 | 0.0065517 | 0.093308 | 7.5083 |  |  |  |  | 7.659 | 8.7185 | 8.4307 | 0.023602 | 0.0020293 | 0.02086 | 0.0016287 | 0.0022342 | 3.3372e-06 | 0.0047684 | 0.0016063 | 15.8488 | 0.00082946 | 1.617e-06
62 | 5.0165e-06 | 0.089699 | 0.0067723 | 0.095661 | 7.5082 |  |  |  |  | 7.6573 | 8.7175 | 8.4329 | 0.02417 | 0.0020896 | 0.021366 | 0.0016803 | 0.0022929 | 3.4076e-06 | 0.0048516 | 0.0016442 | 15.9629 | 0.00085316 | 1.6171e-06
63 | 4.9697e-06 | 0.091941 | 0.0070082 | 0.098135 | 7.5082 |  |  |  |  | 7.6555 | 8.7163 | 8.4351 | 0.024766 | 0.0021539 | 0.021898 | 0.0017353 | 0.0023548 | 3.482e-06 | 0.0049383 | 0.0016841 | 16.0822 | 0.00087815 | 1.6172e-06
64 | 4.9206e-06 | 0.0943 | 0.007261 | 0.10074 | 7.5082 |  |  |  |  | 7.6538 | 8.715 | 8.4375 | 0.025395 | 0.0022224 | 0.022458 | 0.0017942 | 0.0024201 | 3.5609e-06 | 0.0050287 | 0.0017264 | 16.2069 | 0.00090455 | 1.6173e-06
65 | 4.8689e-06 | 0.096787 | 0.0075325 | 0.10349 | 7.5082 |  |  |  |  | 7.652 | 8.7136 | 8.4399 | 0.026057 | 0.0022956 | 0.023048 | 0.0018574 | 0.0024891 | 3.6447e-06 | 0.0051231 | 0.0017711 | 16.3374 | 0.00093246 | 1.6174e-06
66 | 4.8145e-06 | 0.099412 | 0.0078248 | 0.10639 | 7.5081 |  |  |  |  | 7.6502 | 8.712 | 8.4424 | 0.026755 | 0.0023741 | 0.023672 | 0.0019252 | 0.0025623 | 3.734e-06 | 0.0052217 | 0.0018186 | 16.4738 | 0.00096203 | 1.6175e-06
67 | 4.7572e-06 | 0.10219 | 0.0081403 | 0.10946 | 7.5081 |  |  |  |  | 7.6484 | 8.7102 | 8.445 | 0.027494 | 0.0024583 | 0.024331 | 0.0019983 | 0.0026398 | 3.8293e-06 | 0.0053248 | 0.0018691 | 16.6167 | 0.00099341 | 1.6176e-06
68 | 4.6966e-06 | 0.10513 | 0.0084819 | 0.11271 | 7.5081 |  |  |  |  | 7.6466 | 8.7083 | 8.4477 | 0.028277 | 0.0025491 | 0.025028 | 0.0020773 | 0.0027222 | 3.9314e-06 | 0.0054328 | 0.0019228 | 16.7663 | 0.0010268 | 1.6177e-06
69 | 4.6327e-06 | 0.10824 | 0.0088529 | 0.11616 | 7.5081 |  |  |  |  | 7.6447 | 8.7061 | 8.4505 | 0.029107 | 0.002647 | 0.025769 | 0.0021629 | 0.0028098 | 4.041e-06 | 0.005546 | 0.0019802 | 16.9231 | 0.0010623 | 1.6178e-06
70 | 4.565e-06 | 0.11156 | 0.0092571 | 0.11982 | 7.508 |  |  |  |  | 7.6429 | 8.7037 | 8.4534 | 0.029989 | 0.0027532 | 0.026556 | 0.0022559 | 0.0029034 | 4.1592e-06 | 0.0056649 | 0.0020416 | 17.0877 | 0.0011002 | 1.6179e-06
71 | 5.8728e-06 | 0.11508 | 0.007422 | 0.12147 | 9.008 |  |  |  |  | 7.6411 | 8.7648 | 8.4462 | 0.030928 | 0.0023344 | 0.027394 | 0.0018461 | 0.0030033 | 3.4136e-06 | 0.0057898 | 0.0017961 | 17.1999 | 0.0011407 | 1.6179e-06
72 | 5.7935e-06 | 0.11893 | 0.0077754 | 0.12564 | 9.008 |  |  |  |  | 7.6397 | 8.7576 | 8.4458 | 0.031949 | 0.0024294 | 0.028306 | 0.0019318 | 0.0031105 | 3.5638e-06 | 0.0059324 | 0.0018527 | 17.3198 | 0.0011842 | 1.618e-06
73 | 5.7089e-06 | 0.12305 | 0.0081636 | 0.1301 | 9.008 |  |  |  |  | 7.6383 | 8.7555 | 8.4489 | 0.033042 | 0.0025352 | 0.029283 | 0.0020219 | 0.0032256 | 3.6741e-06 | 0.0060835 | 0.0019179 | 17.4489 | 0.001231 | 1.6181e-06
74 | 5.6184e-06 | 0.12746 | 0.0085921 | 0.1349 | 9.008 |  |  |  |  | 7.637 | 8.7531 | 8.4522 | 0.034216 | 0.0026512 | 0.030331 | 0.002121 | 0.0033495 | 3.7944e-06 | 0.0062437 | 0.0019884 | 17.5877 | 0.0012813 | 1.6182e-06
75 | 5.5204e-06 | 0.13222 | 0.0090686 | 0.14005 | 9.0069 |  |  |  |  | 7.6357 | 8.7502 | 8.4556 | 0.035478 | 0.0027791 | 0.03146 | 0.0022309 | 0.0034833 | 3.9265e-06 | 0.006414 | 0.0020651 | 17.737 | 0.0013357 | 1.6182e-06
76 | 5.4162e-06 | 0.13735 | 0.0095984 | 0.14562 | 9.0069 |  |  |  |  | 7.6344 | 8.7471 | 8.4592 | 0.036841 | 0.0029203 | 0.032678 | 0.0023527 | 0.0036283 | 4.0709e-06 | 0.0065952 | 0.0021487 | 17.8976 | 0.0013947 | 1.6183e-06
77 | 5.304e-06 | 0.14291 | 0.010193 | 0.15164 | 9.0069 |  |  |  |  | 7.6331 | 8.7434 | 8.463 | 0.038315 | 0.0030774 | 0.033996 | 0.0024889 | 0.0037858 | 4.2306e-06 | 0.0067885 | 0.0022403 | 18.0706 | 0.0014588 | 1.6183e-06
78 | 5.1829e-06 | 0.14894 | 0.010863 | 0.15818 | 9.0069 |  |  |  |  | 7.6319 | 8.7393 | 8.467 | 0.039917 | 0.0032531 | 0.035428 | 0.0026421 | 0.0039577 | 4.4081e-06 | 0.0069952 | 0.0023412 | 18.2571 | 0.0015288 | 1.6184e-06
79 | 5.0519e-06 | 0.15551 | 0.011626 | 0.16529 | 9.0068 |  |  |  |  | 7.6307 | 8.7344 | 8.4712 | 0.041663 | 0.003451 | 0.036989 | 0.0028157 | 0.004146 | 4.6069e-06 | 0.0072168 | 0.0024528 | 18.4585 | 0.0016055 | 1.6185e-06
80 | 4.9098e-06 | 0.16271 | 0.012499 | 0.17307 | 9.0068 |  |  |  |  | 7.6295 | 8.7288 | 8.4757 | 0.043574 | 0.0036756 | 0.038698 | 0.003014 | 0.0043531 | 4.8313e-06 | 0.007455 | 0.0025771 | 18.6764 | 0.0016899 | 1.6185e-06
81 | 4.7553e-06 | 0.17061 | 0.013509 | 0.18159 | 9.0068 |  |  |  |  | 7.6283 | 8.7223 | 8.4804 | 0.045674 | 0.0039328 | 0.040576 | 0.0032425 | 0.0045819 | 5.0869e-06 | 0.0077118 | 0.0027164 | 18.9128 | 0.0017832 | 1.6186e-06
82 | 4.5869e-06 | 0.17934 | 0.01469 | 0.19099 | 9.0067 |  |  |  |  | 7.6272 | 8.7146 | 8.4854 | 0.047993 | 0.0042301 | 0.04265 | 0.0035085 | 0.0048362 | 5.3808e-06 | 0.0079893 | 0.0028737 | 19.17 | 0.0018869 | 1.6186e-06
83 | 4.4028e-06 | 0.18903 | 0.016085 | 0.20137 | 9.0067 |  |  |  |  | 7.6262 | 8.7056 | 8.4908 | 0.050567 | 0.0045777 | 0.044953 | 0.0038218 | 0.0051203 | 5.7229e-06 | 0.0082902 | 0.0030527 | 19.451 | 0.0020029 | 1.6187e-06
84 | 4.2011e-06 | 0.19984 | 0.017756 | 0.21292 | 9.0067 |  |  |  |  | 7.6251 | 8.695 | 8.4965 | 0.053441 | 0.0049892 | 0.047524 | 0.0041957 | 0.00544 | 6.1261e-06 | 0.0086175 | 0.0032585 | 19.7592 | 0.0021334 | 1.6187e-06
85 | 3.9796e-06 | 0.21197 | 0.019787 | 0.22582 | 9.0066 |  |  |  |  | 7.6241 | 8.6824 | 8.5027 | 0.056671 | 0.0054837 | 0.050412 | 0.0046486 | 0.0058023 | 6.6085e-06 | 0.0089748 | 0.0034974 | 20.0993 | 0.0022814 | 1.6188e-06
86 | 8.1795e-06 | 0.2257 | 0.010928 | 0.24479 | 14.2066 |  |  |  |  | 7.6232 | 8.9099 | 8.514 | 0.060327 | 0.0035777 | 0.053681 | 0.0026764 | 0.0062162 | 3.4248e-06 | 0.0093661 | 0.0025637 | 20.2811 | 0.0024507 | 1.6188e-06
87 | 7.8289e-06 | 0.24222 | 0.012247 | 0.26311 | 14.2053 |  |  |  |  | 7.6248 | 8.8877 | 8.5117 | 0.064693 | 0.0039272 | 0.057604 | 0.0029906 | 0.0066942 | 3.8226e-06 | 0.0098893 | 0.0027551 | 20.4893 | 0.0026462 | 1.6188e-06
88 | 7.4288e-06 | 0.26139 | 0.01391 | 0.28428 | 14.2053 |  |  |  |  | 7.6269 | 8.877 | 8.5193 | 0.069757 | 0.0043702 | 0.062155 | 0.003363 | 0.0072517 | 4.1441e-06 | 0.010484 | 0.0030075 | 20.7325 | 0.0028744 | 1.6187e-06
89 | 6.9674e-06 | 0.28389 | 0.016067 | 0.30896 | 14.2052 |  |  |  |  | 7.6295 | 8.863 | 8.5276 | 0.075701 | 0.0049317 | 0.0675 | 0.0038425 | 0.0079106 | 4.5509e-06 | 0.011163 | 0.0033172 | 21.0186 | 0.0031442 | 1.6185e-06
90 | 6.4317e-06 | 0.31067 | 0.018962 | 0.33806 | 14.2052 |  |  |  |  | 7.6328 | 8.8443 | 8.5368 | 0.082778 | 0.0056667 | 0.073866 | 0.0044815 | 0.0087012 | 5.0826e-06 | 0.011948 | 0.003707 | 21.3584 | 0.0034681 | 1.6184e-06
91 | 5.8062e-06 | 0.34308 | 0.023025 | 0.37281 | 14.2051 |  |  |  |  | 7.6368 | 8.8189 | 8.5472 | 0.091346 | 0.0066704 | 0.081575 | 0.0053711 | 0.0096674 | 5.8081e-06 | 0.012864 | 0.0042143 | 21.768 | 0.0038642 | 1.6182e-06
92 | 5.0741e-06 | 0.38309 | 0.029061 | 0.41488 | 14.2051 |  |  |  |  | 7.6418 | 8.7837 | 8.559 | 0.10193 | 0.0081198 | 0.091101 | 0.0066833 | 0.010875 | 6.8548e-06 | 0.013945 | 0.0049029 | 22.2726 | 0.0043595 | 1.6179e-06
93 | 4.2208e-06 | 0.43366 | 0.038751 | 0.4667 | 14.2028 |  |  |  |  | 7.6479 | 8.7335 | 8.5729 | 0.11533 | 0.010379 | 0.10316 | 0.0087747 | 0.012428 | 8.4817e-06 | 0.015237 | 0.0058906 | 22.9137 | 0.0049966 | 1.6176e-06
94 | 3.2562e-06 | 0.49948 | 0.05589 | 0.53205 | 14.2026 |  |  |  |  | 7.6552 | 8.6605 | 8.5895 | 0.13282 | 0.014265 | 0.11889 | 0.01245 | 0.014498 | 1.1244e-05 | 0.016794 | 0.0073979 | 23.7636 | 0.0058464 | 1.6172e-06
95 | 2.2467e-06 | 0.5882 | 0.089784 | 0.61757 | 14.2024 |  |  |  |  | 0 | 0 | 0 | 0.15654 | 0 | 0.14018 | 0 | 0.017395 | 0 | 0.018674 | 0 | 23.516 | 0 | 0