## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Mass transfer | Pressure drop Corr | CP modulus Corr | Cross-flow Velocity | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Film layer Alkalinity | Permeate Alkalinity | Trace Conc. in Brine | Trace Conc. in Permeate
0 | 8.4853e-06 | 0.015283 | 4.7646e-05 | 0.016795 | 7.42 | 29.8352 | 37.8176 | 61.5063 | 88.0517 | 133.5561 | 0.83387 | 0.031947 | 0.030473 | 0.035008 | 0.037418 | 0.96872 | 1.0173 | 8.9645e-05 | 0.0013985 | 1.0554 | 0.17 | 7.9969 | 9.5277 | 8.432 | 0.0025256 | 0.20591 | 6.6525e-05 | 0.0025562 | 2.8246e-05
1 | 8.4828e-06 | 0.015437 | 4.8179e-05 | 0.016978 | 7.42 | [12 empty] | 8.8856e-05 | 0.001402 | 1.0556 | 0.1683 | 7.9942 | 9.5259 | 8.4331 | 0.0025504 |  | 6.6642e-05 | 0.0025817 | 2.849e-05
2 | 8.4777e-06 | 0.015594 | 4.8737e-05 | 0.017164 | 7.42 | [12 empty] | 8.807e-05 | 0.0014055 | 1.0559 | 0.1666 | 7.9915 | 9.5242 | 8.4343 | 0.0025758 |  | 6.6779e-05 | 0.0026078 | 2.8738e-05
3 | 8.4724e-06 | 0.015754 | 4.9308e-05 | 0.017355 | 7.42 | [12 empty] | 8.7283e-05 | 0.0014092 | 1.0561 | 0.1649 | 7.9889 | 9.5225 | 8.4357 | 0.0026016 |  | 6.6918e-05 | 0.0026344 | 2.8987e-05
4 | 8.467e-06 | 0.015918 | 4.9893e-05 | 0.017549 | 7.4199 | [12 empty] | 8.6495e-05 | 0.0014128 | 1.0564 | 0.1632 | 7.9862 | 9.5208 | 8.4371 | 0.002628 |  | 6.7059e-05 | 0.0026615 | 2.9237e-05
5 | 8.4614e-06 | 0.016085 | 5.0491e-05 | 0.017748 | 7.4199 | [12 empty] | 8.5705e-05 | 0.0014165 | 1.0566 | 0.1615 | 7.9836 | 9.5191 | 8.4385 | 0.002655 |  | 6.7204e-05 | 0.0026892 | 2.9492e-05
6 | 8.4558e-06 | 0.016255 | 5.1104e-05 | 0.017952 | 7.4199 | [12 empty] | 8.4915e-05 | 0.0014203 | 1.0569 | 0.1598 | 7.9809 | 9.5175 | 8.4401 | 0.0026825 |  | 6.7352e-05 | 0.0027175 | 2.9746e-05
7 | 8.45e-06 | 0.016429 | 5.1732e-05 | 0.01816 | 7.4199 | [12 empty] | 8.4124e-05 | 0.0014241 | 1.0571 | 0.1581 | 7.9783 | 9.5158 | 8.4417 | 0.0027107 |  | 6.7502e-05 | 0.0027464 | 3.0003e-05
8 | 8.4441e-06 | 0.016607 | 5.2375e-05 | 0.018373 | 7.4199 | [12 empty] | 8.3332e-05 | 0.001428 | 1.0574 | 0.1564 | 7.9757 | 9.5142 | 8.4434 | 0.0027394 |  | 6.7657e-05 | 0.0027759 | 3.0262e-05
9 | 8.4381e-06 | 0.016789 | 5.3034e-05 | 0.018591 | 7.4199 | [12 empty] | 8.2538e-05 | 0.0014319 | 1.0577 | 0.1547 | 7.973 | 9.5125 | 8.4452 | 0.0027687 |  | 6.7815e-05 | 0.0028061 | 3.0523e-05
10 | 8.4319e-06 | 0.016975 | 5.371e-05 | 0.018814 | 7.4199 | [12 empty] | 8.1744e-05 | 0.0014359 | 1.0579 | 0.153 | 7.9704 | 9.5109 | 8.4471 | 0.0027988 |  | 6.7977e-05 | 0.0028369 | 3.0787e-05
11 | 8.4255e-06 | 0.017165 | 5.4403e-05 | 0.019042 | 7.4198 | [12 empty] | 8.0948e-05 | 0.0014399 | 1.0582 | 0.1513 | 7.9678 | 9.5093 | 8.4491 | 0.0028294 |  | 6.8143e-05 | 0.0028685 | 3.1053e-05
12 | 8.419e-06 | 0.01736 | 5.5113e-05 | 0.019276 | 7.4198 | [12 empty] | 8.0152e-05 | 0.001444 | 1.0585 | 0.1496 | 7.9652 | 9.5077 | 8.4511 | 0.0028608 |  | 6.8313e-05 | 0.0029007 | 3.1322e-05
13 | 8.4124e-06 | 0.017559 | 5.5843e-05 | 0.019516 | 7.4198 | [12 empty] | 7.9354e-05 | 0.0014481 | 1.0588 | 0.1479 | 7.9626 | 9.5061 | 8.4533 | 0.0028929 |  | 6.8488e-05 | 0.0029337 | 3.1593e-05
14 | 8.4056e-06 | 0.017762 | 5.6592e-05 | 0.019762 | 7.4198 | [12 empty] | 7.8555e-05 | 0.0014523 | 1.0591 | 0.1462 | 7.96 | 9.5045 | 8.4555 | 0.0029258 |  | 6.8669e-05 | 0.0029674 | 3.1868e-05
15 | 8.3986e-06 | 0.017971 | 5.7361e-05 | 0.020014 | 7.4198 | [12 empty] | 7.7755e-05 | 0.0014566 | 1.0593 | 0.1445 | 7.9574 | 9.503 | 8.4578 | 0.0029594 |  | 6.8854e-05 | 0.003002 | 3.2145e-05
16 | 8.3915e-06 | 0.018184 | 5.815e-05 | 0.020272 | 7.4198 | [12 empty] | 7.6954e-05 | 0.0014609 | 1.0596 | 0.1428 | 7.9549 | 9.5014 | 8.4603 | 0.0029938 |  | 6.9045e-05 | 0.0030373 | 3.2423e-05
17 | 8.3842e-06 | 0.018402 | 5.8962e-05 | 0.020537 | 7.4197 | [12 empty] | 7.6151e-05 | 0.0014653 | 1.0599 | 0.1411 | 7.9523 | 9.5 | 8.4628 | 0.003029 |  | 6.9243e-05 | 0.0030735 | 3.2707e-05
18 | 8.3766e-06 | 0.018626 | 5.9796e-05 | 0.020809 | 7.4197 | [12 empty] | 7.5348e-05 | 0.0014698 | 1.0603 | 0.1394 | 7.9497 | 9.4985 | 8.4654 | 0.0030651 |  | 6.9447e-05 | 0.0031106 | 3.2994e-05
19 | 8.3689e-06 | 0.018855 | 6.0654e-05 | 0.021088 | 7.4197 | [12 empty] | 7.4543e-05 | 0.0014743 | 1.0606 | 0.1377 | 7.9472 | 9.497 | 8.4681 | 0.0031021 |  | 6.9657e-05 | 0.0031486 | 3.3284e-05
20 | 8.361e-06 | 0.01909 | 6.1536e-05 | 0.021375 | 7.4197 | [12 empty] | 7.3736e-05 | 0.0014789 | 1.0609 | 0.136 | 7.9446 | 9.4956 | 8.4709 | 0.00314 |  | 6.9875e-05 | 0.0031876 | 3.3578e-05
21 | 8.3529e-06 | 0.019331 | 6.2444e-05 | 0.021669 | 7.4197 | [12 empty] | 7.2929e-05 | 0.0014836 | 1.0612 | 0.1343 | 7.942 | 9.4943 | 8.4737 | 0.0031789 |  | 7.0101e-05 | 0.0032275 | 3.3876e-05
22 | 8.3445e-06 | 0.019578 | 6.3379e-05 | 0.021972 | 7.4197 | [12 empty] | 7.212e-05 | 0.0014883 | 1.0615 | 0.1326 | 7.9395 | 9.493 | 8.4767 | 0.0032187 |  | 7.0335e-05 | 0.0032684 | 3.4177e-05
23 | 8.336e-06 | 0.019831 | 6.4342e-05 | 0.022283 | 7.4196 | [12 empty] | 7.131e-05 | 0.0014931 | 1.0619 | 0.1309 | 7.9369 | 9.4917 | 8.4798 | 0.0032596 |  | 7.0578e-05 | 0.0033104 | 3.4482e-05
24 | 8.3271e-06 | 0.020092 | 6.5334e-05 | 0.022602 | 7.4196 | [12 empty] | 7.0499e-05 | 0.001498 | 1.0622 | 0.1292 | 7.9344 | 9.4905 | 8.483 | 0.0033016 |  | 7.083e-05 | 0.0033535 | 3.4795e-05
25 | 8.3181e-06 | 0.020359 | 6.6356e-05 | 0.022931 | 7.4196 | [12 empty] | 6.9686e-05 | 0.001503 | 1.0626 | 0.1275 | 7.9318 | 9.4893 | 8.4862 | 0.0033446 |  | 7.1092e-05 | 0.0033978 | 3.5111e-05
26 | 8.3088e-06 | 0.020633 | 6.7411e-05 | 0.02327 | 7.4196 | [12 empty] | 6.8872e-05 | 0.0015081 | 1.0629 | 0.1258 | 7.9293 | 9.4882 | 8.4896 | 0.0033889 |  | 7.1365e-05 | 0.0034432 | 3.5432e-05
27 | 8.2992e-06 | 0.020914 | 6.8499e-05 | 0.023618 | 7.4196 | [12 empty] | 6.8057e-05 | 0.0015132 | 1.0633 | 0.1241 | 7.9267 | 9.4871 | 8.493 | 0.0034343 |  | 7.1648e-05 | 0.0034899 | 3.576e-05
28 | 8.2893e-06 | 0.021204 | 6.9622e-05 | 0.023977 | 7.4196 | [12 empty] | 6.724e-05 | 0.0015185 | 1.0637 | 0.1224 | 7.9242 | 9.4861 | 8.4966 | 0.003481 |  | 7.1944e-05 | 0.0035379 | 3.6094e-05
29 | 8.2791e-06 | 0.021502 | 7.0783e-05 | 0.024347 | 7.4195 | [12 empty] | 6.6422e-05 | 0.0015238 | 1.064 | 0.1207 | 7.9217 | 9.4852 | 8.5003 | 0.003529 |  | 7.2252e-05 | 0.0035872 | 3.6433e-05
30 | 8.2686e-06 | 0.021808 | 7.1981e-05 | 0.024728 | 7.4195 | [12 empty] | 6.5602e-05 | 0.0015292 | 1.0644 | 0.119 | 7.9191 | 9.4843 | 8.504 | 0.0035784 |  | 7.2573e-05 | 0.0036379 | 3.6781e-05
31 | 8.2578e-06 | 0.022123 | 7.3221e-05 | 0.025121 | 7.4195 | [12 empty] | 6.4781e-05 | 0.0015348 | 1.0648 | 0.1173 | 7.9166 | 9.4835 | 8.5078 | 0.0036292 |  | 7.2909e-05 | 0.0036901 | 3.7134e-05
32 | 8.2467e-06 | 0.022447 | 7.4503e-05 | 0.025526 | 7.4195 | [12 empty] | 6.3959e-05 | 0.0015404 | 1.0652 | 0.1156 | 7.914 | 9.4827 | 8.5118 | 0.0036815 |  | 7.326e-05 | 0.0037438 | 3.7497e-05
33 | 8.2352e-06 | 0.022781 | 7.5829e-05 | 0.025944 | 7.4195 | [12 empty] | 6.3135e-05 | 0.0015461 | 1.0656 | 0.1139 | 7.9114 | 9.4821 | 8.5158 | 0.0037354 |  | 7.3626e-05 | 0.0037992 | 3.7868e-05
34 | 8.2233e-06 | 0.023125 | 7.7203e-05 | 0.026377 | 7.4195 | [12 empty] | 6.2309e-05 | 0.001552 | 1.066 | 0.1122 | 7.9089 | 9.4815 | 8.5199 | 0.0037909 |  | 7.4009e-05 | 0.0038561 | 3.8248e-05
35 | 8.2111e-06 | 0.02348 | 7.8627e-05 | 0.026823 | 7.4194 | [12 empty] | 6.1482e-05 | 0.0015579 | 1.0665 | 0.1105 | 7.9063 | 9.481 | 8.5241 | 0.0038481 |  | 7.441e-05 | 0.0039149 | 3.8638e-05
36 | 8.1984e-06 | 0.023845 | 8.0104e-05 | 0.027285 | 7.4194 | [12 empty] | 6.0653e-05 | 0.001564 | 1.0669 | 0.1088 | 7.9037 | 9.4806 | 8.5285 | 0.003907 |  | 7.483e-05 | 0.0039754 | 3.9038e-05
37 | 8.1853e-06 | 0.024222 | 8.1635e-05 | 0.027762 | 7.4194 | [12 empty] | 5.9822e-05 | 0.0015702 | 1.0674 | 0.1071 | 7.9012 | 9.4803 | 8.5329 | 0.0039678 |  | 7.527e-05 | 0.0040379 | 3.945e-05
38 | 8.1718e-06 | 0.024612 | 8.3225e-05 | 0.028256 | 7.4194 | [12 empty] | 5.899e-05 | 0.0015765 | 1.0678 | 0.1054 | 7.8986 | 9.4801 | 8.5374 | 0.0040306 |  | 7.5732e-05 | 0.0041024 | 3.9873e-05
39 | 8.1578e-06 | 0.025014 | 8.4877e-05 | 0.028768 | 7.4194 | [12 empty] | 5.8157e-05 | 0.0015829 | 1.0683 | 0.1037 | 7.896 | 9.48 | 8.542 | 0.0040955 |  | 7.6215e-05 | 0.004169 | 4.0308e-05
40 | 8.1433e-06 | 0.025429 | 8.6595e-05 | 0.029298 | 7.4194 | [12 empty] | 5.7321e-05 | 0.0015895 | 1.0688 | 0.102 | 7.8934 | 9.4799 | 8.5467 | 0.0041625 |  | 7.6723e-05 | 0.0042378 | 4.0759e-05
41 | 8.1282e-06 | 0.025859 | 8.8382e-05 | 0.029848 | 7.4193 | [12 empty] | 5.6484e-05 | 0.0015962 | 1.0692 | 0.1003 | 7.8908 | 9.48 | 8.5515 | 0.0042317 |  | 7.7255e-05 | 0.004309 | 4.1224e-05
42 | 8.1126e-06 | 0.026303 | 9.0242e-05 | 0.030418 | 7.4193 | [12 empty] | 5.5645e-05 | 0.0016031 | 1.0697 | 0.0986 | 7.8881 | 9.4802 | 8.5563 | 0.0043033 |  | 7.7815e-05 | 0.0043825 | 4.1704e-05
43 | 8.0965e-06 | 0.026763 | 9.2181e-05 | 0.031009 | 7.4193 | [12 empty] | 5.4804e-05 | 0.0016101 | 1.0703 | 0.0969 | 7.8855 | 9.4805 | 8.5613 | 0.0043775 |  | 7.8403e-05 | 0.0044587 | 4.2201e-05
44 | 8.0797e-06 | 0.027239 | 9.4203e-05 | 0.031624 | 7.4193 | [12 empty] | 5.3961e-05 | 0.0016173 | 1.0708 | 0.0952 | 7.8828 | 9.4809 | 8.5664 | 0.0044542 |  | 7.902e-05 | 0.0045376 | 4.2717e-05
45 | 8.0622e-06 | 0.027733 | 9.6313e-05 | 0.032263 | 7.4193 | [12 empty] | 5.3117e-05 | 0.0016246 | 1.0713 | 0.0935 | 7.8802 | 9.4815 | 8.5715 | 0.0045338 |  | 7.967e-05 | 0.0046193 | 4.3251e-05
46 | 8.0441e-06 | 0.028245 | 9.8518e-05 | 0.032927 | 7.4192 | [12 empty] | 5.227e-05 | 0.0016321 | 1.0719 | 0.0918 | 7.8775 | 9.4821 | 8.5767 | 0.0046163 |  | 8.0354e-05 | 0.004704 | 4.3807e-05
47 | 8.0252e-06 | 0.028776 | 0.00010082 | 0.033619 | 7.4192 | [12 empty] | 5.1422e-05 | 0.0016398 | 1.0725 | 0.0901 | 7.8748 | 9.4829 | 8.582 | 0.0047018 |  | 8.1073e-05 | 0.004792 | 4.4385e-05
48 | 8.0056e-06 | 0.029327 | 0.00010324 | 0.03434 | 7.4192 | [12 empty] | 5.0572e-05 | 0.0016476 | 1.073 | 0.0884 | 7.872 | 9.4838 | 8.5874 | 0.0047907 |  | 8.1831e-05 | 0.0048833 | 4.4987e-05
49 | 7.9851e-06 | 0.0299 | 0.00010576 | 0.035091 | 7.4192 | [12 empty] | 4.9719e-05 | 0.0016557 | 1.0736 | 0.0867 | 7.8693 | 9.4848 | 8.5929 | 0.004883 |  | 8.2629e-05 | 0.0049781 | 4.5616e-05
50 | 7.9625e-06 | 0.030496 | 0.00010843 | 0.035874 | 7.4181 | [12 empty] | 4.8865e-05 | 0.0037439 | 1.0743 | 0.085 | 7.8665 | 9.4861 | 8.5985 | 0.004979 |  | 8.3483e-05 | 0.0050768 | 4.6274e-05
51 | 1.0889e-05 | 0.031116 | 8.1447e-05 | 0.035093 | 9.7193 | [12 empty] | 9.0309e-05 | 0.0014209 | 1.0552 | 0.1715 | 7.8626 | 9.3696 | 8.6681 | 0.005079 |  | 6.3976e-05 | 0.0051794 | 3.6429e-05
52 | 1.0867e-05 | 0.031763 | 8.3469e-05 | 0.035892 | 9.7192 | [12 empty] | 8.8693e-05 | 0.0014283 | 1.0557 | 0.168 | 7.8603 | 9.372 | 8.6739 | 0.0051834 |  | 6.4683e-05 | 0.0052866 | 3.6934e-05
53 | 1.0844e-05 | 0.032437 | 8.5592e-05 | 0.036727 | 9.7192 | [12 empty] | 8.7073e-05 | 0.0014359 | 1.0562 | 0.1645 | 7.858 | 9.3745 | 8.6796 | 0.0052923 |  | 6.5425e-05 | 0.0053983 | 3.7463e-05
54 | 1.082e-05 | 0.03314 | 8.7824e-05 | 0.037602 | 9.7192 | [12 empty] | 8.5449e-05 | 0.0014436 | 1.0567 | 0.161 | 7.8556 | 9.377 | 8.6855 | 0.005406 |  | 6.6205e-05 | 0.0055148 | 3.802e-05
55 | 1.0795e-05 | 0.033875 | 9.0174e-05 | 0.038518 | 9.7192 | [12 empty] | 8.382e-05 | 0.0014516 | 1.0573 | 0.1575 | 7.8532 | 9.3797 | 8.6913 | 0.0055246 |  | 6.7025e-05 | 0.0056365 | 3.8606e-05
56 | 1.0768e-05 | 0.034643 | 9.2649e-05 | 0.039479 | 9.7192 | [12 empty] | 8.2187e-05 | 0.0014598 | 1.0578 | 0.154 | 7.8508 | 9.3825 | 8.6973 | 0.0056487 |  | 6.7889e-05 | 0.0057638 | 3.9223e-05
57 | 1.074e-05 | 0.035446 | 9.5262e-05 | 0.040488 | 9.7191 | [12 empty] | 8.0549e-05 | 0.0014683 | 1.0584 | 0.1505 | 7.8483 | 9.3853 | 8.7032 | 0.0057785 |  | 6.8797e-05 | 0.0058969 | 3.9874e-05
58 | 1.0711e-05 | 0.036288 | 9.8023e-05 | 0.041549 | 9.7191 | [12 empty] | 7.8906e-05 | 0.001477 | 1.059 | 0.147 | 7.8458 | 9.3882 | 8.7093 | 0.0059144 |  | 6.9754e-05 | 0.0060363 | 4.0563e-05
59 | 1.0681e-05 | 0.03717 | 0.00010095 | 0.042666 | 9.7191 | [12 empty] | 7.7259e-05 | 0.001486 | 1.0596 | 0.1435 | 7.8433 | 9.3913 | 8.7153 | 0.006057 |  | 7.0764e-05 | 0.0061826 | 4.1291e-05
60 | 1.0649e-05 | 0.038097 | 0.00010404 | 0.043843 | 9.7191 | [12 empty] | 7.5606e-05 | 0.0014952 | 1.0602 | 0.14 | 7.8407 | 9.3944 | 8.7214 | 0.0062066 |  | 7.1829e-05 | 0.0063361 | 4.2063e-05
61 | 1.0615e-05 | 0.039071 | 0.00010733 | 0.045086 | 9.7191 | [12 empty] | 7.3949e-05 | 0.0015048 | 1.0608 | 0.1365 | 7.838 | 9.3975 | 8.7276 | 0.0063639 |  | 7.2953e-05 | 0.0064975 | 4.2882e-05
62 | 1.0579e-05 | 0.040097 | 0.00011083 | 0.046398 | 9.719 | [12 empty] | 7.2286e-05 | 0.0015146 | 1.0615 | 0.133 | 7.8353 | 9.4007 | 8.7338 | 0.0065295 |  | 7.4141e-05 | 0.0066674 | 4.3754e-05
63 | 1.0541e-05 | 0.041177 | 0.00011456 | 0.047788 | 9.719 | [12 empty] | 7.0617e-05 | 0.0015248 | 1.0622 | 0.1295 | 7.8326 | 9.4039 | 8.74 | 0.0067039 |  | 7.5398e-05 | 0.0068464 | 4.4681e-05
64 | 1.0501e-05 | 0.042318 | 0.00011854 | 0.049261 | 9.719 | [12 empty] | 6.8943e-05 | 0.0015354 | 1.0629 | 0.126 | 7.8297 | 9.4072 | 8.7463 | 0.0068881 |  | 7.673e-05 | 0.0070353 | 4.567e-05
65 | 1.0458e-05 | 0.043524 | 0.0001228 | 0.050825 | 9.719 | [12 empty] | 6.7263e-05 | 0.0015463 | 1.0637 | 0.1225 | 7.8269 | 9.4105 | 8.7526 | 0.0070827 |  | 7.8143e-05 | 0.007235 | 4.6728e-05
66 | 1.0413e-05 | 0.0448 | 0.00012737 | 0.052488 | 9.719 | [12 empty] | 6.5577e-05 | 0.0015576 | 1.0645 | 0.119 | 7.8239 | 9.4138 | 8.7589 | 0.0072887 |  | 7.9642e-05 | 0.0074464 | 4.7862e-05
67 | 1.0365e-05 | 0.046154 | 0.00013228 | 0.05426 | 9.7189 | [12 empty] | 6.3885e-05 | 0.0015693 | 1.0653 | 0.1155 | 7.8209 | 9.4171 | 8.7653 | 0.0075071 |  | 8.1237e-05 | 0.0076706 | 4.9078e-05
68 | 1.0313e-05 | 0.047592 | 0.00013758 | 0.056152 | 9.7189 | [12 empty] | 6.2186e-05 | 0.0015815 | 1.0661 | 0.112 | 7.8178 | 9.4203 | 8.7717 | 0.0077392 |  | 8.2935e-05 | 0.0079088 | 5.0386e-05
69 | 1.0258e-05 | 0.049123 | 0.0001433 | 0.058177 | 9.7189 | [12 empty] | 6.0481e-05 | 0.0015942 | 1.067 | 0.1085 | 7.8147 | 9.4235 | 8.7781 | 0.0079862 |  | 8.4746e-05 | 0.0081623 | 5.1796e-05
70 | 1.0199e-05 | 0.050756 | 0.0001495 | 0.060347 | 9.7189 | [12 empty] | 5.8768e-05 | 0.0016074 | 1.068 | 0.105 | 7.8114 | 9.4266 | 8.7845 | 0.0082496 |  | 8.6682e-05 | 0.0084327 | 5.3319e-05
71 | 1.0136e-05 | 0.052501 | 0.00015624 | 0.062678 | 9.7188 | [12 empty] | 5.7049e-05 | 0.0016212 | 1.069 | 0.1015 | 7.8081 | 9.4295 | 8.7909 | 0.008531 |  | 8.8751e-05 | 0.0087216 | 5.4973e-05
72 | 1.0068e-05 | 0.05437 | 0.00016359 | 0.06519 | 9.7188 | [12 empty] | 5.5322e-05 | 0.0016356 | 1.07 | 0.098 | 7.8047 | 9.4322 | 8.7974 | 0.0088325 |  | 9.0972e-05 | 0.0090311 | 5.6767e-05
73 | 9.9949e-06 | 0.056378 | 0.00017165 | 0.067902 | 9.7188 | [12 empty] | 5.3588e-05 | 0.0016507 | 1.0711 | 0.0945 | 7.8011 | 9.4347 | 8.8038 | 0.0091563 |  | 9.3355e-05 | 0.0093635 | 5.8727e-05
74 | 9.9136e-06 | 0.058539 | 0.00018053 | 0.070837 | 9.7171 | [12 empty] | 5.1845e-05 | 0.0039041 | 1.0722 | 0.091 | 7.7975 | 9.4369 | 8.8103 | 0.0095049 |  | 9.5938e-05 | 0.0097214 | 6.0871e-05
75 | 1.8223e-05 | 0.060874 | 0.00010463 | 0.074585 | 11.7189 | [12 empty] | 8.9572e-05 | 0.0014007 | 1.0555 | 0.17 | 7.7927 | 8.7807 | 8.8403 | 0.0098812 |  | 5.5547e-05 | 0.010108 | 4.821e-05
76 | 1.8081e-05 | 0.063406 | 0.00011047 | 0.078135 | 11.7189 | [12 empty] | 8.6425e-05 | 0.0014152 | 1.0565 | 0.1632 | 7.7902 | 8.7774 | 8.8479 | 0.010291 |  | 5.7238e-05 | 0.010527 | 4.9916e-05
77 | 1.7925e-05 | 0.066158 | 0.00011697 | 0.082022 | 11.7189 | [12 empty] | 8.3262e-05 | 0.0014305 | 1.0575 | 0.1564 | 7.7875 | 8.7705 | 8.8554 | 0.010736 |  | 5.9057e-05 | 0.010982 | 5.1808e-05
78 | 1.7754e-05 | 0.06916 | 0.00012425 | 0.086294 | 11.7188 | [12 empty] | 8.0082e-05 | 0.0014466 | 1.0586 | 0.1496 | 7.7846 | 8.7585 | 8.8629 | 0.011221 |  | 6.1012e-05 | 0.011479 | 5.3919e-05
79 | 1.7566e-05 | 0.072447 | 0.00013244 | 0.091009 | 11.7188 | [12 empty] | 7.6883e-05 | 0.0014637 | 1.0597 | 0.1428 | 7.7816 | 8.7407 | 8.8703 | 0.011752 |  | 6.3119e-05 | 0.012023 | 5.6272e-05
80 | 1.7357e-05 | 0.076063 | 0.00014173 | 0.096234 | 11.7188 | [12 empty] | 7.3665e-05 | 0.0014818 | 1.061 | 0.136 | 7.7783 | 8.7136 | 8.8776 | 0.012337 |  | 6.5382e-05 | 0.012622 | 5.8919e-05
81 | 1.7125e-05 | 0.080059 | 0.00015233 | 0.10205 | 11.7188 | [12 empty] | 7.0427e-05 | 0.0015012 | 1.0623 | 0.1292 | 7.7749 | 8.6735 | 8.8849 | 0.012983 |  | 6.7811e-05 | 0.013283 | 6.1906e-05
82 | 1.6865e-05 | 0.084498 | 0.00016455 | 0.10857 | 11.7187 | [12 empty] | 6.7168e-05 | 0.0015218 | 1.0638 | 0.1224 | 7.7713 | 8.6129 | 8.892 | 0.0137 |  | 7.0415e-05 | 0.014017 | 6.5305e-05
83 | 1.6574e-05 | 0.089459 | 0.00017875 | 0.1159 | 11.7187 | [12 empty] | 6.3886e-05 | 0.001544 | 1.0654 | 0.1156 | 7.7674 | 8.5206 | 8.8991 | 0.014502 |  | 7.3222e-05 | 0.014838 | 6.9197e-05
84 | 1.6244e-05 | 0.095039 | 0.00019543 | 0.12421 | 11.7187 | [12 empty] | 6.0579e-05 | 0.0015679 | 1.0671 | 0.1088 | 7.7633 | 8.3779 | 8.906 | 0.015404 |  | 7.6306e-05 | 0.015761 | 7.3693e-05
85 | 1.587e-05 | 0.10136 | 0.00021529 | 0.13367 | 11.7186 | [12 empty] | 5.7247e-05 | 0.0015938 | 1.0689 | 0.102 | 7.7588 | 8.1628 | 8.9126 | 0.016425 |  | 7.9826e-05 | 0.016807 | 7.8952e-05
86 | 1.5437e-05 | 0.10859 | 0.00023928 | 0.14453 | 11.7165 | [12 empty] | 5.3886e-05 | 0.003947 | 1.071 | 0.0952 | 7.754 | 7.9063 | 8.9187 | 0.017593 |  | 8.4102e-05 | 0.018002 | 8.5189e-05
87 | 2.744e-05 | 0.11692 | 0.00014098 | 0.15875 | 16.9188 | [12 empty] | 8.9623e-05 | 0.0014078 | 1.0555 | 0.1703 | 7.7462 | 6.6651 | 8.9273 | 0.01894 |  | 5.0316e-05 | 0.01938 | 7.4181e-05
88 | 2.6744e-05 | 0.12665 | 0.00015888 | 0.17438 | 16.9187 | [12 empty] | 8.3547e-05 | 0.0014367 | 1.0575 | 0.1572 | 7.7414 | 6.6432 | 8.9318 | 0.020514 |  | 5.3959e-05 | 0.020989 | 8.086e-05
89 | 2.5916e-05 | 0.13815 | 0.00018148 | 0.19302 | 16.9187 | [12 empty] | 7.7407e-05 | 0.0014689 | 1.0596 | 0.1441 | 7.7358 | 6.627 | 8.9353 | 0.022374 |  | 5.8724e-05 | 0.02289 | 8.9082e-05
90 | 2.4918e-05 | 0.15195 | 0.00021076 | 0.21554 | 16.9186 | [12 empty] | 7.1196e-05 | 0.0015051 | 1.0621 | 0.131 | 7.7295 | 6.6155 | 8.9375 | 0.024605 |  | 6.4958e-05 | 0.02517 | 9.9388e-05
91 | 2.37e-05 | 0.16881 | 0.00024992 | 0.24309 | 16.9186 | [12 empty] | 6.4906e-05 | 0.0015462 | 1.065 | 0.1179 | 7.7221 | 6.6089 | 8.9383 | 0.027332 |  | 7.324e-05 | 0.027955 | 0.00011259
92 | 2.2193e-05 | 0.18988 | 0.0003044 | 0.27729 | 16.9185 | [12 empty] | 5.8528e-05 | 0.0015935 | 1.0683 | 0.1048 | 7.7135 | 6.6089 | 8.9373 | 0.03074 |  | 8.4604e-05 | 0.031436 | 0.00012996
93 | 2.0301e-05 | 0.21696 | 0.00038432 | 0.32027 | 16.9163 | [12 empty] | 5.2049e-05 | 0.0039035 | 1.0724 | 0.0917 | 7.7029 | 6.6201 | 8.9343 | 0.035119 |  | 0.00010102 | 0.035908 | 0.00015366
94 | 4.2144e-05 | 0.25306 | 0.00023471 | 0.4058 | 29.4187 | [12 empty] | 8.9177e-05 | 0.0014073 | 1.0559 | 0.1698 | 7.6841 | 6.1155 | 8.9115 | 0.040955 |  | 5.7245e-05 | 0.041867 | 0.00015439
95 | 3.7996e-05 | 0.30362 | 0.00032107 | 0.50049 | 29.4186 | [12 empty] | 7.5957e-05 | 0.0014755 | 1.0605 | 0.1415 | 7.6687 | 6.1223 | 8.8962 | 0.049135 |  | 7.3159e-05 | 0.05021 | 0.00019463
96 | 3.2136e-05 | 0.37945 | 0.00048139 | 0.63475 | 29.4185 | [12 empty] | 6.2396e-05 | 0.0015644 | 1.0666 | 0.1132 | 7.6477 | 6.1564 | 8.8746 | 0.0614 |  | 0.00010239 | 0.062713 | 0.00025835
97 | 2.3799e-05 | 0.50577 | 0.00084617 | 0.82651 | 29.4183 | [12 empty] | 4.8393e-05 | 0.0016886 | 1.0755 | 0.0849 | 7.6167 | 6.2553 | 8.8475 | 0.081833 |  | 0.00016831 | 0.083532 | 0.00037063
98 | 1.2321e-05 | 0.75823 | 0.0021557 | 1.0911 | 29.4166 | [12 empty] | 3.3768e-05 | 0.0033525 | 1.0905 | 0.0566 | 0 | 0 | 0 | 0.12266 |  | 0 | 0.12511 | 0