## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Mass transfer | Pressure drop Corr | Cross-flow Velocity | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. in Brine | Trace Conc. in Permeate
0 | 1.0247e-05 | 0.015283 | 4.0674e-05 | 0.017129 | 5.4 | 35.6206 | 32.7003 | 19.2188 | 19.3388 | 40.0208 | 0.29919 | 0.009723 | 0.0019134 | 0.0033166 | 0.0056127 | 0.31976 | 1.0014 | 8.9641e-05 | 0.0013985 | 0.17 | 7.9979 | 9.4069 | 8.4315 | 0.0025256 | 5.6744e-05 | 0.0025562 | 2.7746e-05
1 | 1.0238e-05 | 0.015437 | 4.1156e-05 | 0.017317 | 5.4 | [12 empty] | 8.8856e-05 | 0.001402 | 0.1683 | 7.9958 | 9.4054 | 8.4339 | 0.0025505 | 5.6852e-05 | 0.0025817 | 2.7933e-05
2 | 1.0229e-05 | 0.015594 | 4.1651e-05 | 0.017509 | 5.4 | [12 empty] | 8.807e-05 | 0.0014055 | 0.1666 | 7.9937 | 9.4039 | 8.4363 | 0.002576 | 5.6964e-05 | 0.0026078 | 2.8122e-05
3 | 1.022e-05 | 0.015754 | 4.2156e-05 | 0.017706 | 5.4 | [12 empty] | 8.7283e-05 | 0.0014092 | 0.1649 | 7.9916 | 9.4025 | 8.4387 | 0.0026019 | 5.7079e-05 | 0.0026344 | 2.8312e-05
4 | 1.021e-05 | 0.015918 | 4.2675e-05 | 0.017907 | 5.3999 | [12 empty] | 8.6495e-05 | 0.0014128 | 0.1632 | 7.9894 | 9.401 | 8.4413 | 0.0026285 | 5.7197e-05 | 0.0026615 | 2.8503e-05
5 | 1.02e-05 | 0.016085 | 4.3205e-05 | 0.018112 | 5.3999 | [12 empty] | 8.5705e-05 | 0.0014165 | 0.1615 | 7.9873 | 9.3996 | 8.4439 | 0.0026555 | 5.7319e-05 | 0.0026892 | 2.8696e-05
6 | 1.019e-05 | 0.016256 | 4.3749e-05 | 0.018323 | 5.3999 | [12 empty] | 8.4915e-05 | 0.0014203 | 0.1598 | 7.9852 | 9.3983 | 8.4466 | 0.0026832 | 5.7445e-05 | 0.0027175 | 2.8889e-05
7 | 1.018e-05 | 0.01643 | 4.4307e-05 | 0.018538 | 5.3999 | [12 empty] | 8.4124e-05 | 0.0014241 | 0.1581 | 7.9831 | 9.3969 | 8.4494 | 0.0027114 | 5.7576e-05 | 0.0027465 | 2.9085e-05
8 | 1.017e-05 | 0.016608 | 4.4879e-05 | 0.018758 | 5.3999 | [12 empty] | 8.3332e-05 | 0.001428 | 0.1564 | 7.9811 | 9.3957 | 8.4522 | 0.0027402 | 5.7711e-05 | 0.002776 | 2.9283e-05
9 | 1.0159e-05 | 0.01679 | 4.5465e-05 | 0.018983 | 5.3999 | [12 empty] | 8.2538e-05 | 0.0014319 | 0.1547 | 7.979 | 9.3944 | 8.4552 | 0.0027697 | 5.7851e-05 | 0.0028062 | 2.9482e-05
10 | 1.0148e-05 | 0.016976 | 4.6067e-05 | 0.019214 | 5.3999 | [12 empty] | 8.1744e-05 | 0.0014359 | 0.153 | 7.9769 | 9.3932 | 8.4582 | 0.0027998 | 5.7996e-05 | 0.002837 | 2.9683e-05
11 | 1.0137e-05 | 0.017166 | 4.6684e-05 | 0.01945 | 5.3998 | [12 empty] | 8.0948e-05 | 0.0014399 | 0.1513 | 7.9748 | 9.3921 | 8.4613 | 0.0028307 | 5.8146e-05 | 0.0028686 | 2.9885e-05
12 | 1.0126e-05 | 0.017361 | 4.7318e-05 | 0.019692 | 5.3998 | [12 empty] | 8.0152e-05 | 0.001444 | 0.1496 | 7.9727 | 9.3909 | 8.4645 | 0.0028622 | 5.8303e-05 | 0.0029008 | 3.0091e-05
13 | 1.0114e-05 | 0.01756 | 4.797e-05 | 0.01994 | 5.3998 | [12 empty] | 7.9354e-05 | 0.0014481 | 0.1479 | 7.9706 | 9.3899 | 8.4677 | 0.0028944 | 5.8465e-05 | 0.0029338 | 3.0299e-05
14 | 1.0102e-05 | 0.017764 | 4.8639e-05 | 0.020195 | 5.3998 | [12 empty] | 7.8555e-05 | 0.0014523 | 0.1462 | 7.9685 | 9.3889 | 8.471 | 0.0029274 | 5.8634e-05 | 0.0029676 | 3.0509e-05
15 | 1.009e-05 | 0.017972 | 4.9326e-05 | 0.020455 | 5.3998 | [12 empty] | 7.7755e-05 | 0.0014566 | 0.1445 | 7.9664 | 9.388 | 8.4745 | 0.0029611 | 5.881e-05 | 0.0030021 | 3.0721e-05
16 | 1.0077e-05 | 0.018185 | 5.0033e-05 | 0.020723 | 5.3998 | [12 empty] | 7.6954e-05 | 0.0014609 | 0.1428 | 7.9643 | 9.3871 | 8.4779 | 0.0029957 | 5.8994e-05 | 0.0030375 | 3.0938e-05
17 | 1.0065e-05 | 0.018404 | 5.076e-05 | 0.020997 | 5.3997 | [12 empty] | 7.6151e-05 | 0.0014653 | 0.1411 | 7.9622 | 9.3863 | 8.4815 | 0.003031 | 5.9185e-05 | 0.0030737 | 3.1156e-05
18 | 1.0051e-05 | 0.018628 | 5.1508e-05 | 0.021279 | 5.3997 | [12 empty] | 7.5348e-05 | 0.0014698 | 0.1394 | 7.9602 | 9.3856 | 8.4852 | 0.0030673 | 5.9384e-05 | 0.0031108 | 3.1379e-05
19 | 1.0038e-05 | 0.018857 | 5.2278e-05 | 0.021568 | 5.3997 | [12 empty] | 7.4543e-05 | 0.0014743 | 0.1377 | 7.9581 | 9.3849 | 8.4889 | 0.0031044 | 5.9592e-05 | 0.0031489 | 3.1604e-05
20 | 1.0024e-05 | 0.019092 | 5.3071e-05 | 0.021864 | 5.3997 | [12 empty] | 7.3736e-05 | 0.0014789 | 0.136 | 7.956 | 9.3843 | 8.4927 | 0.0031425 | 5.981e-05 | 0.0031878 | 3.1834e-05
21 | 1.001e-05 | 0.019333 | 5.3888e-05 | 0.022169 | 5.3997 | [12 empty] | 7.2929e-05 | 0.0014836 | 0.1343 | 7.9539 | 9.3838 | 8.4966 | 0.0031815 | 6.0037e-05 | 0.0032278 | 3.2068e-05
22 | 9.9949e-06 | 0.01958 | 5.4729e-05 | 0.022483 | 5.3997 | [12 empty] | 7.212e-05 | 0.0014883 | 0.1326 | 7.9518 | 9.3834 | 8.5006 | 0.0032215 | 6.0275e-05 | 0.0032687 | 3.2306e-05
23 | 9.9798e-06 | 0.019834 | 5.5597e-05 | 0.022805 | 5.3996 | [12 empty] | 7.131e-05 | 0.0014931 | 0.1309 | 7.9497 | 9.3831 | 8.5046 | 0.0032626 | 6.0523e-05 | 0.0033108 | 3.2548e-05
24 | 9.9643e-06 | 0.020094 | 5.6492e-05 | 0.023136 | 5.3996 | [12 empty] | 7.0499e-05 | 0.001498 | 0.1292 | 7.9475 | 9.3829 | 8.5088 | 0.0033047 | 6.0783e-05 | 0.0033539 | 3.2796e-05
25 | 9.9484e-06 | 0.020361 | 5.7416e-05 | 0.023477 | 5.3996 | [12 empty] | 6.9686e-05 | 0.001503 | 0.1275 | 7.9454 | 9.3827 | 8.5129 | 0.003348 | 6.1054e-05 | 0.0033982 | 3.3051e-05
26 | 9.932e-06 | 0.020636 | 5.837e-05 | 0.023828 | 5.3996 | [12 empty] | 6.8872e-05 | 0.0015081 | 0.1258 | 7.9433 | 9.3827 | 8.5172 | 0.0033924 | 6.1339e-05 | 0.0034437 | 3.331e-05
27 | 9.9151e-06 | 0.020917 | 5.9355e-05 | 0.024189 | 5.3996 | [12 empty] | 6.8057e-05 | 0.0015132 | 0.1241 | 7.9412 | 9.3827 | 8.5216 | 0.003438 | 6.1637e-05 | 0.0034904 | 3.3576e-05
28 | 9.8977e-06 | 0.021207 | 6.0374e-05 | 0.024561 | 5.3996 | [12 empty] | 6.724e-05 | 0.0015185 | 0.1224 | 7.939 | 9.3829 | 8.526 | 0.0034849 | 6.1949e-05 | 0.0035384 | 3.3848e-05
29 | 9.8798e-06 | 0.021505 | 6.1427e-05 | 0.024944 | 5.3995 | [12 empty] | 6.6422e-05 | 0.0015238 | 0.1207 | 7.9369 | 9.3832 | 8.5305 | 0.0035331 | 6.2276e-05 | 0.0035878 | 3.4125e-05
30 | 9.8613e-06 | 0.021811 | 6.2516e-05 | 0.025339 | 5.3995 | [12 empty] | 6.5602e-05 | 0.0015292 | 0.119 | 7.9347 | 9.3836 | 8.5351 | 0.0035827 | 6.2619e-05 | 0.0036385 | 3.4413e-05
31 | 9.8423e-06 | 0.022126 | 6.3644e-05 | 0.025747 | 5.3995 | [12 empty] | 6.4781e-05 | 0.0015348 | 0.1173 | 7.9326 | 9.3841 | 8.5397 | 0.0036337 | 6.2978e-05 | 0.0036908 | 3.4709e-05
32 | 9.8227e-06 | 0.022451 | 6.4812e-05 | 0.026167 | 5.3995 | [12 empty] | 6.3959e-05 | 0.0015404 | 0.1156 | 7.9304 | 9.3847 | 8.5445 | 0.0036862 | 6.3355e-05 | 0.0037445 | 3.5012e-05
33 | 9.8024e-06 | 0.022785 | 6.6023e-05 | 0.026601 | 5.3995 | [12 empty] | 6.3135e-05 | 0.0015461 | 0.1139 | 7.9282 | 9.3855 | 8.5492 | 0.0037403 | 6.375e-05 | 0.0037999 | 3.5325e-05
34 | 9.7815e-06 | 0.023129 | 6.7279e-05 | 0.027049 | 5.3995 | [12 empty] | 6.2309e-05 | 0.001552 | 0.1122 | 7.926 | 9.3863 | 8.5541 | 0.003796 | 6.4165e-05 | 0.0038569 | 3.5649e-05
35 | 9.76e-06 | 0.023484 | 6.8582e-05 | 0.027512 | 5.3994 | [12 empty] | 6.1482e-05 | 0.0015579 | 0.1105 | 7.9238 | 9.3873 | 8.559 | 0.0038534 | 6.46e-05 | 0.0039157 | 3.5982e-05
36 | 9.7377e-06 | 0.02385 | 6.9935e-05 | 0.027991 | 5.3994 | [12 empty] | 6.0653e-05 | 0.001564 | 0.1088 | 7.9216 | 9.3885 | 8.564 | 0.0039126 | 6.5056e-05 | 0.0039763 | 3.6326e-05
37 | 9.7146e-06 | 0.024227 | 7.1341e-05 | 0.028487 | 5.3994 | [12 empty] | 5.9822e-05 | 0.0015702 | 0.1071 | 7.9194 | 9.3897 | 8.5691 | 0.0039737 | 6.5535e-05 | 0.0040389 | 3.6684e-05
38 | 9.6908e-06 | 0.024617 | 7.2803e-05 | 0.028999 | 5.3994 | [12 empty] | 5.899e-05 | 0.0015765 | 0.1054 | 7.9171 | 9.3912 | 8.5743 | 0.0040367 | 6.6038e-05 | 0.0041034 | 3.7051e-05
39 | 9.6661e-06 | 0.025019 | 7.4324e-05 | 0.02953 | 5.3994 | [12 empty] | 5.8157e-05 | 0.0015829 | 0.1037 | 7.9148 | 9.3927 | 8.5794 | 0.0041018 | 6.6566e-05 | 0.0041701 | 3.7436e-05
40 | 9.6405e-06 | 0.025435 | 7.5908e-05 | 0.03008 | 5.3994 | [12 empty] | 5.7321e-05 | 0.0015895 | 0.102 | 7.9125 | 9.3944 | 8.5847 | 0.0041691 | 6.712e-05 | 0.004239 | 3.7834e-05
41 | 9.614e-06 | 0.025865 | 7.7559e-05 | 0.03065 | 5.3993 | [12 empty] | 5.6484e-05 | 0.0015962 | 0.1003 | 7.9102 | 9.3962 | 8.59 | 0.0042386 | 6.7703e-05 | 0.0043102 | 3.8248e-05
42 | 9.5866e-06 | 0.02631 | 7.9281e-05 | 0.031241 | 5.3993 | [12 empty] | 5.5645e-05 | 0.0016031 | 0.0986 | 7.9079 | 9.3982 | 8.5954 | 0.0043105 | 6.8315e-05 | 0.0043838 | 3.8679e-05
43 | 9.5581e-06 | 0.02677 | 8.1079e-05 | 0.031855 | 5.3993 | [12 empty] | 5.4804e-05 | 0.0016101 | 0.0969 | 7.9056 | 9.4003 | 8.6008 | 0.0043849 | 6.8958e-05 | 0.0044601 | 3.9127e-05
44 | 9.5285e-06 | 0.027246 | 8.2958e-05 | 0.032492 | 5.3993 | [12 empty] | 5.3961e-05 | 0.0016173 | 0.0952 | 7.9032 | 9.4026 | 8.6064 | 0.004462 | 6.9635e-05 | 0.004539 | 3.9595e-05
45 | 9.4978e-06 | 0.02774 | 8.4922e-05 | 0.033155 | 5.3993 | [12 empty] | 5.3117e-05 | 0.0016246 | 0.0935 | 7.9008 | 9.4051 | 8.6119 | 0.0045419 | 7.0346e-05 | 0.0046208 | 4.0083e-05
46 | 9.4659e-06 | 0.028252 | 8.6979e-05 | 0.033844 | 5.3992 | [12 empty] | 5.227e-05 | 0.0016321 | 0.0918 | 7.8984 | 9.4077 | 8.6175 | 0.0046247 | 7.1095e-05 | 0.0047056 | 4.0593e-05
47 | 9.4327e-06 | 0.028784 | 8.9134e-05 | 0.034561 | 5.3992 | [12 empty] | 5.1422e-05 | 0.0016398 | 0.0901 | 7.8959 | 9.4104 | 8.6232 | 0.0047106 | 7.1882e-05 | 0.0047937 | 4.1128e-05
48 | 9.3981e-06 | 0.029336 | 9.1394e-05 | 0.035308 | 5.3992 | [12 empty] | 5.0572e-05 | 0.0016476 | 0.0884 | 7.8934 | 9.4134 | 8.6289 | 0.0047998 | 7.2712e-05 | 0.0048851 | 4.1688e-05
49 | 9.3621e-06 | 0.029909 | 9.3768e-05 | 0.036087 | 5.3992 | [12 empty] | 4.9719e-05 | 0.0016557 | 0.0867 | 7.8909 | 9.4164 | 8.6347 | 0.0048925 | 7.3585e-05 | 0.00498 | 4.2275e-05
50 | 9.3225e-06 | 0.030505 | 9.628e-05 | 0.036897 | 5.3981 | [12 empty] | 4.8865e-05 | 0.0037439 | 0.085 | 7.8884 | 9.4198 | 8.6405 | 0.0049889 | 7.4521e-05 | 0.0050788 | 4.2894e-05
51 | 9.6298e-06 | 0.031126 | 9.1785e-05 | 0.034618 | 6.0974 | [12 empty] | 9.0309e-05 | 0.0014209 | 0.1715 | 7.8855 | 9.5036 | 8.7042 | 0.0050892 | 7.3737e-05 | 0.0051815 | 3.6364e-05
52 | 9.5981e-06 | 0.031772 | 9.4149e-05 | 0.035393 | 6.0973 | [12 empty] | 8.8693e-05 | 0.0014283 | 0.168 | 7.8826 | 9.5062 | 8.7089 | 0.0051936 | 7.4637e-05 | 0.0052887 | 3.6958e-05
53 | 9.565e-06 | 0.032446 | 9.6635e-05 | 0.036203 | 6.0973 | [12 empty] | 8.7073e-05 | 0.0014359 | 0.1645 | 7.8797 | 9.5089 | 8.7136 | 0.0053026 | 7.558e-05 | 0.0054005 | 3.7582e-05
54 | 9.5305e-06 | 0.03315 | 9.9252e-05 | 0.037049 | 6.0973 | [12 empty] | 8.5449e-05 | 0.0014436 | 0.161 | 7.8767 | 9.5117 | 8.7184 | 0.0054162 | 7.6569e-05 | 0.0055171 | 3.8237e-05
55 | 9.4943e-06 | 0.033884 | 0.00010201 | 0.037936 | 6.0973 | [12 empty] | 8.382e-05 | 0.0014516 | 0.1575 | 7.8737 | 9.5147 | 8.7232 | 0.0055348 | 7.7611e-05 | 0.0056388 | 3.8924e-05
56 | 9.4565e-06 | 0.034652 | 0.00010493 | 0.038865 | 6.0973 | [12 empty] | 8.2187e-05 | 0.0014598 | 0.154 | 7.8707 | 9.5177 | 8.7281 | 0.0056589 | 7.8705e-05 | 0.0057661 | 3.9647e-05
57 | 9.4168e-06 | 0.035455 | 0.00010801 | 0.039839 | 6.0972 | [12 empty] | 8.0549e-05 | 0.0014683 | 0.1505 | 7.8676 | 9.5209 | 8.733 | 0.0057886 | 7.9857e-05 | 0.0058993 | 4.041e-05
58 | 9.3752e-06 | 0.036297 | 0.00011127 | 0.040862 | 6.0972 | [12 empty] | 7.8906e-05 | 0.001477 | 0.147 | 7.8645 | 9.5241 | 8.738 | 0.0059246 | 8.107e-05 | 0.0060388 | 4.1215e-05
59 | 9.3314e-06 | 0.03718 | 0.00011474 | 0.041938 | 6.0972 | [12 empty] | 7.7259e-05 | 0.001486 | 0.1435 | 7.8613 | 9.5275 | 8.743 | 0.0060671 | 8.235e-05 | 0.006185 | 4.2066e-05
60 | 9.2854e-06 | 0.038106 | 0.00011842 | 0.04307 | 6.0972 | [12 empty] | 7.5606e-05 | 0.0014952 | 0.14 | 7.8581 | 9.531 | 8.7481 | 0.0062167 | 8.3703e-05 | 0.0063386 | 4.2967e-05
61 | 9.237e-06 | 0.03908 | 0.00012234 | 0.044263 | 6.0972 | [12 empty] | 7.3949e-05 | 0.0015048 | 0.1365 | 7.8548 | 9.5346 | 8.7532 | 0.006374 | 8.5132e-05 | 0.0065 | 4.3922e-05
62 | 9.1859e-06 | 0.040105 | 0.00012651 | 0.045523 | 6.0971 | [12 empty] | 7.2286e-05 | 0.0015146 | 0.133 | 7.8515 | 9.5383 | 8.7583 | 0.0065395 | 8.6646e-05 | 0.0066699 | 4.4938e-05
63 | 9.132e-06 | 0.041186 | 0.00013098 | 0.046854 | 6.0971 | [12 empty] | 7.0617e-05 | 0.0015248 | 0.1295 | 7.8481 | 9.5421 | 8.7635 | 0.0067139 | 8.825e-05 | 0.006849 | 4.6019e-05
64 | 9.075e-06 | 0.042326 | 0.00013576 | 0.048262 | 6.0971 | [12 empty] | 6.8943e-05 | 0.0015354 | 0.126 | 7.8446 | 9.5461 | 8.7687 | 0.0068979 | 8.9955e-05 | 0.007038 | 4.7171e-05
65 | 9.0146e-06 | 0.043532 | 0.0001409 | 0.049755 | 6.0971 | [12 empty] | 6.7263e-05 | 0.0015463 | 0.1225 | 7.8411 | 9.5501 | 8.7739 | 0.0070924 | 9.1768e-05 | 0.0072377 | 4.8404e-05
66 | 8.9505e-06 | 0.044808 | 0.00014642 | 0.051339 | 6.097 | [12 empty] | 6.5577e-05 | 0.0015576 | 0.119 | 7.8375 | 9.5543 | 8.7792 | 0.0072983 | 9.37e-05 | 0.0074491 | 4.9724e-05
67 | 8.8825e-06 | 0.046161 | 0.00015238 | 0.053024 | 6.097 | [12 empty] | 6.3885e-05 | 0.0015693 | 0.1155 | 7.8338 | 9.5586 | 8.7845 | 0.0075167 | 9.5763e-05 | 0.0076734 | 5.1141e-05
68 | 8.8101e-06 | 0.047599 | 0.00015883 | 0.05482 | 6.097 | [12 empty] | 6.2186e-05 | 0.0015815 | 0.112 | 7.8301 | 9.5629 | 8.7898 | 0.0077486 | 9.7969e-05 | 0.0079116 | 5.2667e-05
69 | 8.7329e-06 | 0.049129 | 0.00016583 | 0.056735 | 6.097 | [12 empty] | 6.0481e-05 | 0.0015942 | 0.1085 | 7.8262 | 9.5674 | 8.7951 | 0.0079953 | 0.00010033 | 0.0081651 | 5.4313e-05
70 | 8.6504e-06 | 0.050762 | 0.00017345 | 0.058784 | 6.0969 | [12 empty] | 5.8768e-05 | 0.0016074 | 0.105 | 7.8223 | 9.5721 | 8.8005 | 0.0082585 | 0.00010288 | 0.0084354 | 5.6093e-05
71 | 8.5621e-06 | 0.052506 | 0.00018178 | 0.060979 | 6.0969 | [12 empty] | 5.7049e-05 | 0.0016212 | 0.1015 | 7.8183 | 9.5766 | 8.8058 | 0.0085397 | 0.00010561 | 0.0087244 | 5.8033e-05
72 | 8.4674e-06 | 0.054375 | 0.00019091 | 0.063336 | 6.0969 | [12 empty] | 5.5322e-05 | 0.0016356 | 0.098 | 7.8141 | 9.5814 | 8.8112 | 0.008841 | 0.00010858 | 0.0090339 | 6.0136e-05
73 | 8.3656e-06 | 0.056382 | 0.00020097 | 0.065874 | 6.0969 | [12 empty] | 5.3588e-05 | 0.0016507 | 0.0945 | 7.8098 | 9.5862 | 8.8166 | 0.0091644 | 0.00011178 | 0.0093663 | 6.244e-05
74 | 8.253e-06 | 0.058542 | 0.00021216 | 0.068608 | 6.0951 | [12 empty] | 5.1845e-05 | 0.0039041 | 0.091 | 7.8054 | 9.5914 | 8.822 | 0.0095126 | 0.00011531 | 0.0097241 | 6.4972e-05
75 | 5.9138e-06 | 0.060876 | 0.0002643 | 0.065012 | 6.3641 | [12 empty] | 8.9572e-05 | 0.0014007 | 0.17 | 7.8008 | 9.8269 | 8.8506 | 0.0098885 | 0.00015907 | 0.01011 | 7.2246e-05
76 | 5.8396e-06 | 0.063401 | 0.00027918 | 0.067813 | 6.364 | [12 empty] | 8.6425e-05 | 0.0014152 | 0.1632 | 7.7944 | 9.8276 | 8.8534 | 0.010294 | 0.00016348 | 0.010529 | 7.5642e-05
77 | 5.7589e-06 | 0.066145 | 0.00029579 | 0.070861 | 6.364 | [12 empty] | 8.3262e-05 | 0.0014305 | 0.1564 | 7.7879 | 9.828 | 8.8561 | 0.010734 | 0.0001683 | 0.010983 | 7.9401e-05
78 | 5.6709e-06 | 0.069139 | 0.00031447 | 0.074189 | 6.364 | [12 empty] | 8.0082e-05 | 0.0014466 | 0.1496 | 7.7812 | 9.828 | 8.8588 | 0.011215 | 0.00017357 | 0.011479 | 8.3586e-05
79 | 5.5747e-06 | 0.072416 | 0.0003356 | 0.077836 | 6.364 | [12 empty] | 7.6883e-05 | 0.0014637 | 0.1428 | 7.7744 | 9.8275 | 8.8616 | 0.01174 | 0.00017937 | 0.012021 | 8.8272e-05
80 | 5.4689e-06 | 0.07602 | 0.00035971 | 0.081851 | 6.3639 | [12 empty] | 7.3665e-05 | 0.0014818 | 0.136 | 7.7673 | 9.8261 | 8.8645 | 0.012318 | 0.00018576 | 0.012618 | 9.3555e-05
81 | 5.3522e-06 | 0.080002 | 0.00038744 | 0.086288 | 6.3639 | [12 empty] | 7.0427e-05 | 0.0015012 | 0.1292 | 7.7601 | 9.8235 | 8.8674 | 0.012957 | 0.00019278 | 0.013277 | 9.9563e-05
82 | 5.2227e-06 | 0.084425 | 0.00041968 | 0.091218 | 6.3639 | [12 empty] | 6.7168e-05 | 0.0015218 | 0.1224 | 7.7526 | 9.8188 | 8.8703 | 0.013666 | 0.0002005 | 0.014009 | 0.00010646
83 | 5.0785e-06 | 0.089367 | 0.00045759 | 0.096723 | 6.3638 | [12 empty] | 6.3886e-05 | 0.001544 | 0.1156 | 7.7449 | 9.8111 | 8.8734 | 0.014458 | 0.00020898 | 0.014827 | 0.00011444
84 | 4.9168e-06 | 0.094923 | 0.00050277 | 0.10291 | 6.3638 | [12 empty] | 6.0579e-05 | 0.0015679 | 0.1088 | 7.7369 | 9.7987 | 8.8766 | 0.015349 | 0.0002182 | 0.015747 | 0.00012381
85 | 4.7344e-06 | 0.10122 | 0.00055751 | 0.1099 | 6.3638 | [12 empty] | 5.7247e-05 | 0.0015938 | 0.102 | 7.7286 | 9.7792 | 8.88 | 0.016357 | 0.00022817 | 0.016788 | 0.00013496
86 | 4.5312e-06 | 0.10841 | 0.00062458 | 0.11786 | 6.3617 | [12 empty] | 5.3886e-05 | 0.003947 | 0.0952 | 7.72 | 9.7487 | 8.8836 | 0.01751 | 0.0002388 | 0.017978 | 0.0001484
87 | 5.5167e-06 | 0.1167 | 0.00056695 | 0.12405 | 7.2604 | [12 empty] | 8.9938e-05 | 0.0014056 | 0.1703 | 7.7106 | 9.6445 | 8.893 | 0.018838 | 0.00020516 | 0.019349 | 0.00013533
88 | 5.4748e-06 | 0.11774 | 0.00057861 | 0.12564 | 7.2604 | [12 empty] | 8.3868e-05 | 0.0014343 | 0.1572 | 7.7033 | 9.652 | 8.9149 | 0.020391 | 0.00021797 | 0.02095 | 0.00014518
89 | 5.4301e-06 | 0.11879 | 0.00059127 | 0.12734 | 7.2603 | [12 empty] | 7.7734e-05 | 0.0014662 | 0.1441 | 7.6954 | 9.6593 | 8.9383 | 0.022225 | 0.00023309 | 0.022842 | 0.00015692
90 | 5.3818e-06 | 0.11987 | 0.00060518 | 0.12919 | 7.2603 | [12 empty] | 7.153e-05 | 0.001502 | 0.131 | 7.6867 | 9.6663 | 8.9634 | 0.024424 | 0.0002512 | 0.02511 | 0.00017116
91 | 5.3289e-06 | 0.12096 | 0.00062069 | 0.1312 | 7.2602 | [12 empty] | 6.5249e-05 | 0.0015426 | 0.1179 | 7.6771 | 9.6723 | 8.9904 | 0.02711 | 0.00027328 | 0.027881 | 0.00018879
92 | 5.2701e-06 | 0.12207 | 0.00063832 | 0.13345 | 7.2602 | [12 empty] | 5.888e-05 | 0.0015893 | 0.1048 | 7.6663 | 9.6765 | 9.0196 | 0.030464 | 0.0003008 | 0.031343 | 0.00021119
93 | 5.2007e-06 | 0.12321 | 0.00065915 | 0.13599 | 7.258 | [12 empty] | 5.241e-05 | 0.0038916 | 0.0917 | 7.6539 | 9.6775 | 9.0514 | 0.034773 | 0.00033623 | 0.03579 | 0.00024067
94 | 9.1785e-06 | 0.12437 | 0.00037894 | 0.13769 | 10.5566 | [12 empty] | 8.9908e-05 | 0.0014022 | 0.1698 | 7.638 | 9.3952 | 9.0877 | 0.040513 | 0.00022807 | 0.041715 | 0.00018275
95 | 9.0842e-06 | 0.12555 | 0.00039284 | 0.14128 | 10.5566 | [12 empty] | 7.6715e-05 | 0.0014691 | 0.1415 | 7.623 | 9.3983 | 9.1282 | 0.04857 | 0.00026554 | 0.050022 | 0.0002162
96 | 8.9603e-06 | 0.12675 | 0.00041156 | 0.146 | 10.5565 | [12 empty] | 6.3187e-05 | 0.0015557 | 0.1132 | 7.6038 | 9.3763 | 9.1716 | 0.060646 | 0.00032117 | 0.062473 | 0.0002686
97 | 8.7797e-06 | 0.12798 | 0.00043979 | 0.15288 | 10.5563 | [12 empty] | 4.9228e-05 | 0.001676 | 0.0849 | 7.5773 | 9.2916 | 9.2158 | 0.080754 | 0.00041396 | 0.083208 | 0.00036203
98 | 8.4648e-06 | 0.12923 | 0.00049176 | 0.16483 | 10.5547 | [12 empty] | 3.4669e-05 | 0.0033139 | 0.0566 | 0 | 0 | 0 | 0.12092 | 0 | 0.12463 | 0