## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate
0 | 3.0433e-06 | 0.036947 | 0.0029685 | 0.03812 | 5.6 | 10.3927 | 10.9737 | 8.9321 | 10.8875 | 6.9879 | 5.9798 | 7.0207 | 0.013077 | 0.0010846 | 0.015321 | 0.0034861 | 0.00034432 | 1.2445e-05 | 0.010467 | 0.0022429 | 31.4247 | 2.2661e-05
1 | 3.0388e-06 | 0.03729 | 0.0030008 | 0.038483 | 5.6 |  |  |  |  | 6.9899 | 5.9929 | 7.0326 | 0.013198 | 0.0010994 | 0.015441 | 0.0034615 | 0.00034767 | 9.7045e-06 | 0.01055 | 0.002265 | 31.5799 | 2.5269e-05
2 | 3.0338e-06 | 0.03764 | 0.0030343 | 0.038853 | 5.6 |  |  |  |  | 6.9918 | 5.9977 | 7.0363 | 0.013321 | 0.001112 | 0.015563 | 0.0034739 | 0.00035112 | 9.7394e-06 | 0.010634 | 0.0022872 | 31.7355 | 2.7911e-05
3 | 3.0287e-06 | 0.037997 | 0.0030685 | 0.03923 | 5.6 |  |  |  |  | 6.9938 | 6.0024 | 7.04 | 0.013447 | 0.0011247 | 0.015688 | 0.0034867 | 0.00035464 | 9.775e-06 | 0.01072 | 0.0023099 | 31.8928 | 3.0596e-05
4 | 3.0234e-06 | 0.038361 | 0.0031035 | 0.039615 | 5.5999 |  |  |  |  | 6.9958 | 6.0073 | 7.0438 | 0.013576 | 0.0011377 | 0.015815 | 0.0034997 | 0.00035823 | 9.8108e-06 | 0.010808 | 0.0023331 | 32.0522 | 3.3327e-05
5 | 3.0181e-06 | 0.038732 | 0.0031394 | 0.040007 | 5.5999 |  |  |  |  | 6.9978 | 6.0121 | 7.0476 | 0.013706 | 0.001151 | 0.015945 | 0.003513 | 0.0003619 | 9.8469e-06 | 0.010897 | 0.0023569 | 32.2138 | 3.6105e-05
6 | 3.0127e-06 | 0.03911 | 0.0031761 | 0.040408 | 5.5999 |  |  |  |  | 6.9998 | 6.0171 | 7.0514 | 0.01384 | 0.0011646 | 0.016077 | 0.0035266 | 0.00036564 | 9.8833e-06 | 0.010988 | 0.0023811 | 32.3778 | 3.893e-05
7 | 3.0071e-06 | 0.039497 | 0.0032137 | 0.040817 | 5.5999 |  |  |  |  | 7.0018 | 6.0221 | 7.0553 | 0.013976 | 0.0011786 | 0.016212 | 0.0035406 | 0.00036947 | 9.9199e-06 | 0.011081 | 0.0024059 | 32.5442 | 4.1805e-05
8 | 3.0015e-06 | 0.039891 | 0.0032522 | 0.041235 | 5.5999 |  |  |  |  | 7.0039 | 6.0272 | 7.0592 | 0.014115 | 0.0011928 | 0.01635 | 0.0035548 | 0.00037338 | 9.9568e-06 | 0.011175 | 0.0024312 | 32.7131 | 4.4731e-05
9 | 2.9957e-06 | 0.040294 | 0.0032917 | 0.041661 | 5.5999 |  |  |  |  | 7.006 | 6.0323 | 7.0632 | 0.014257 | 0.0012075 | 0.01649 | 0.0035695 | 0.00037737 | 9.994e-06 | 0.011271 | 0.0024572 | 32.8845 | 4.7709e-05
10 | 2.9898e-06 | 0.040705 | 0.0033322 | 0.042097 | 5.5998 |  |  |  |  | 7.0081 | 6.0375 | 7.0672 | 0.014402 | 0.0012225 | 0.016634 | 0.0035845 | 0.00038145 | 1.0031e-05 | 0.011369 | 0.0024837 | 33.0586 | 5.0741e-05
11 | 2.9838e-06 | 0.041125 | 0.0033736 | 0.042542 | 5.5998 |  |  |  |  | 7.0102 | 6.0427 | 7.0712 | 0.014551 | 0.0012379 | 0.01678 | 0.0035998 | 0.00038563 | 1.0069e-05 | 0.011469 | 0.0025109 | 33.2354 | 5.3829e-05
12 | 2.9777e-06 | 0.041554 | 0.0034162 | 0.042997 | 5.5998 |  |  |  |  | 7.0123 | 6.0481 | 7.0753 | 0.014702 | 0.0012537 | 0.01693 | 0.0036156 | 0.00038989 | 1.0107e-05 | 0.011571 | 0.0025388 | 33.4151 | 5.6973e-05
13 | 2.9714e-06 | 0.041992 | 0.0034599 | 0.043462 | 5.5998 |  |  |  |  | 7.0145 | 6.0535 | 7.0794 | 0.014856 | 0.0012699 | 0.017083 | 0.0036317 | 0.00039426 | 1.0145e-05 | 0.011674 | 0.0025673 | 33.5976 | 6.0177e-05
14 | 2.965e-06 | 0.04244 | 0.0035047 | 0.043938 | 5.5998 |  |  |  |  | 7.0167 | 6.0589 | 7.0835 | 0.015014 | 0.0012865 | 0.01724 | 0.0036483 | 0.00039873 | 1.0184e-05 | 0.01178 | 0.0025965 | 33.783 | 6.3442e-05
15 | 2.9584e-06 | 0.042898 | 0.0035507 | 0.044424 | 5.5998 |  |  |  |  | 7.0189 | 6.0645 | 7.0878 | 0.015176 | 0.0013036 | 0.017399 | 0.0036653 | 0.0004033 | 1.0223e-05 | 0.011888 | 0.0026264 | 33.9715 | 6.6769e-05
16 | 2.9517e-06 | 0.043367 | 0.003598 | 0.044922 | 5.5998 |  |  |  |  | 7.0211 | 6.0701 | 7.092 | 0.015341 | 0.0013211 | 0.017563 | 0.0036828 | 0.00040798 | 1.0262e-05 | 0.011999 | 0.0026571 | 34.1631 | 7.0161e-05
17 | 2.9449e-06 | 0.043846 | 0.0036465 | 0.045431 | 5.5997 |  |  |  |  | 7.0234 | 6.0758 | 7.0963 | 0.01551 | 0.0013391 | 0.01773 | 0.0037007 | 0.00041277 | 1.0302e-05 | 0.012111 | 0.0026886 | 34.358 | 7.362e-05
18 | 2.9379e-06 | 0.044336 | 0.0036964 | 0.045952 | 5.5997 |  |  |  |  | 7.0256 | 6.0816 | 7.1007 | 0.015683 | 0.0013576 | 0.017901 | 0.0037192 | 0.00041768 | 1.0341e-05 | 0.012226 | 0.0027209 | 34.5561 | 7.7147e-05
19 | 2.9307e-06 | 0.044838 | 0.0037477 | 0.046485 | 5.5997 |  |  |  |  | 7.0279 | 6.0874 | 7.1051 | 0.01586 | 0.0013767 | 0.018076 | 0.0037381 | 0.0004227 | 1.0382e-05 | 0.012343 | 0.0027541 | 34.7577 | 8.0746e-05
20 | 2.9234e-06 | 0.045351 | 0.0038005 | 0.047032 | 5.5997 |  |  |  |  | 7.0302 | 6.0934 | 7.1095 | 0.016041 | 0.0013963 | 0.018256 | 0.0037576 | 0.00042786 | 1.0422e-05 | 0.012463 | 0.0027881 | 34.9628 | 8.4419e-05
21 | 2.9159e-06 | 0.045877 | 0.0038549 | 0.047591 | 5.5997 |  |  |  |  | 7.0326 | 6.0994 | 7.114 | 0.016226 | 0.0014164 | 0.018439 | 0.0037776 | 0.00043314 | 1.0463e-05 | 0.012586 | 0.0028231 | 35.1715 | 8.8168e-05
22 | 2.9082e-06 | 0.046416 | 0.0039108 | 0.048165 | 5.5997 |  |  |  |  | 7.0349 | 6.1056 | 7.1186 | 0.016416 | 0.0014372 | 0.018627 | 0.0037982 | 0.00043856 | 1.0504e-05 | 0.012711 | 0.002859 | 35.384 | 9.1995e-05
23 | 2.9003e-06 | 0.046968 | 0.0039684 | 0.048753 | 5.5996 |  |  |  |  | 7.0373 | 6.1118 | 7.1232 | 0.01661 | 0.0014586 | 0.01882 | 0.0038194 | 0.00044412 | 1.0545e-05 | 0.012839 | 0.002896 | 35.6003 | 9.5904e-05
24 | 2.8923e-06 | 0.047534 | 0.0040277 | 0.049356 | 5.5996 |  |  |  |  | 7.0397 | 6.1181 | 7.1278 | 0.01681 | 0.0014806 | 0.019017 | 0.0038412 | 0.00044983 | 1.0587e-05 | 0.01297 | 0.002934 | 35.8206 | 9.9898e-05
25 | 2.884e-06 | 0.048114 | 0.0040889 | 0.049974 | 5.5996 |  |  |  |  | 7.0422 | 6.1245 | 7.1326 | 0.017014 | 0.0015033 | 0.019219 | 0.0038637 | 0.00045568 | 1.063e-05 | 0.013104 | 0.002973 | 36.045 | 0.00010398
26 | 2.8755e-06 | 0.048709 | 0.004152 | 0.050608 | 5.5996 |  |  |  |  | 7.0446 | 6.131 | 7.1373 | 0.017224 | 0.0015267 | 0.019427 | 0.0038869 | 0.0004617 | 1.0672e-05 | 0.01324 | 0.0030133 | 36.2736 | 0.00010815
27 | 2.8669e-06 | 0.049319 | 0.0042171 | 0.05126 | 5.5996 |  |  |  |  | 7.0471 | 6.1376 | 7.1422 | 0.017439 | 0.0015509 | 0.01964 | 0.0039108 | 0.00046788 | 1.0715e-05 | 0.013381 | 0.0030547 | 36.5067 | 0.00011242
28 | 2.8579e-06 | 0.049946 | 0.0042843 | 0.051928 | 5.5996 |  |  |  |  | 7.0496 | 6.1444 | 7.1471 | 0.017659 | 0.0015758 | 0.019858 | 0.0039355 | 0.00047422 | 1.0759e-05 | 0.013524 | 0.0030973 | 36.7443 | 0.00011678
29 | 2.8488e-06 | 0.050589 | 0.0043538 | 0.052615 | 5.5995 |  |  |  |  | 7.0522 | 6.1512 | 7.152 | 0.017886 | 0.0016016 | 0.020082 | 0.0039609 | 0.00048075 | 1.0803e-05 | 0.013671 | 0.0031413 | 36.9865 | 0.00012124
30 | 2.8394e-06 | 0.051249 | 0.0044255 | 0.05332 | 5.5995 |  |  |  |  | 7.0547 | 6.1582 | 7.1571 | 0.018119 | 0.0016282 | 0.020313 | 0.0039872 | 0.00048747 | 1.0847e-05 | 0.013821 | 0.0031866 | 37.2337 | 0.00012581
31 | 2.8298e-06 | 0.051928 | 0.0044997 | 0.054045 | 5.5995 |  |  |  |  | 7.0573 | 6.1653 | 7.1622 | 0.018358 | 0.0016557 | 0.020549 | 0.0040144 | 0.00049437 | 1.0892e-05 | 0.013975 | 0.0032334 | 37.4858 | 0.00013049
32 | 2.8199e-06 | 0.052625 | 0.0045764 | 0.054791 | 5.5995 |  |  |  |  | 7.0599 | 6.1725 | 7.1673 | 0.018603 | 0.0016842 | 0.020793 | 0.0040425 | 0.00050148 | 1.0937e-05 | 0.014133 | 0.0032816 | 37.7432 | 0.00013528
33 | 2.8098e-06 | 0.053343 | 0.0046559 | 0.055558 | 5.5995 |  |  |  |  | 7.0626 | 6.1798 | 7.1725 | 0.018856 | 0.0017136 | 0.021043 | 0.0040715 | 0.00050881 | 1.0983e-05 | 0.014295 | 0.0033314 | 38.0059 | 0.0001402
34 | 2.7993e-06 | 0.05408 | 0.0047381 | 0.056347 | 5.5994 |  |  |  |  | 7.0652 | 6.1872 | 7.1778 | 0.019116 | 0.0017441 | 0.0213 | 0.0041016 | 0.00051635 | 1.1029e-05 | 0.014461 | 0.0033829 | 38.2743 | 0.00014523
35 | 2.7886e-06 | 0.054839 | 0.0048234 | 0.05716 | 5.5994 |  |  |  |  | 7.0679 | 6.1948 | 7.1832 | 0.019383 | 0.0017758 | 0.021564 | 0.0041327 | 0.00052412 | 1.1076e-05 | 0.014632 | 0.0034362 | 38.5485 | 0.00015039
36 | 2.7775e-06 | 0.055621 | 0.0049118 | 0.057997 | 5.5994 |  |  |  |  | 7.0707 | 6.2026 | 7.1887 | 0.019658 | 0.0018086 | 0.021837 | 0.004165 | 0.00053214 | 1.1123e-05 | 0.014807 | 0.0034912 | 38.8287 | 0.00015569
37 | 2.7662e-06 | 0.056426 | 0.0050036 | 0.058859 | 5.5994 |  |  |  |  | 7.0734 | 6.2105 | 7.1942 | 0.019941 | 0.0018426 | 0.022117 | 0.0041985 | 0.00054041 | 1.1171e-05 | 0.014986 | 0.0035482 | 39.1151 | 0.00016112
38 | 2.7545e-06 | 0.057255 | 0.0050989 | 0.059748 | 5.5994 |  |  |  |  | 7.0762 | 6.2185 | 7.1998 | 0.020233 | 0.0018779 | 0.022406 | 0.0042332 | 0.00054894 | 1.122e-05 | 0.015171 | 0.0036072 | 39.4081 | 0.0001667
39 | 2.7424e-06 | 0.05811 | 0.0051979 | 0.060665 | 5.5994 |  |  |  |  | 7.0791 | 6.2267 | 7.2055 | 0.020534 | 0.0019146 | 0.022704 | 0.0042693 | 0.00055776 | 1.1269e-05 | 0.01536 | 0.0036684 | 39.7078 | 0.00017244
40 | 2.73e-06 | 0.058992 | 0.0053009 | 0.061611 | 5.5993 |  |  |  |  | 7.0819 | 6.2351 | 7.2113 | 0.020844 | 0.0019528 | 0.023011 | 0.0043068 | 0.00056687 | 1.1319e-05 | 0.015555 | 0.0037318 | 40.0146 | 0.00017833
41 | 2.7172e-06 | 0.059902 | 0.0054081 | 0.062587 | 5.5993 |  |  |  |  | 7.0848 | 6.2436 | 7.2171 | 0.021165 | 0.0019925 | 0.023328 | 0.0043457 | 0.00057628 | 1.137e-05 | 0.015756 | 0.0037977 | 40.3288 | 0.00018439
42 | 2.704e-06 | 0.060842 | 0.0055197 | 0.063596 | 5.5993 |  |  |  |  | 7.0877 | 6.2523 | 7.2231 | 0.021495 | 0.0020338 | 0.023656 | 0.0043863 | 0.00058602 | 1.1422e-05 | 0.015962 | 0.003866 | 40.6506 | 0.00019062
43 | 2.6904e-06 | 0.061812 | 0.0056361 | 0.064638 | 5.5993 |  |  |  |  | 7.0907 | 6.2612 | 7.2291 | 0.021837 | 0.0020769 | 0.023994 | 0.0044285 | 0.0005961 | 1.1474e-05 | 0.016174 | 0.0039371 | 40.9804 | 0.00019704
44 | 2.6764e-06 | 0.062815 | 0.0057575 | 0.065716 | 5.5993 |  |  |  |  | 7.0936 | 6.2703 | 7.2353 | 0.022189 | 0.0021219 | 0.024343 | 0.0044725 | 0.00060654 | 1.1527e-05 | 0.016393 | 0.004011 | 41.3186 | 0.00020365
45 | 2.6619e-06 | 0.063853 | 0.0058843 | 0.066831 | 5.5992 |  |  |  |  | 7.0967 | 6.2796 | 7.2415 | 0.022554 | 0.0021688 | 0.024704 | 0.0045185 | 0.00061736 | 1.1581e-05 | 0.016618 | 0.0040879 | 41.6655 | 0.00021046
46 | 3.3143e-06 | 0.064926 | 0.0048205 | 0.066986 | 6.6492 |  |  |  |  | 7.0997 | 6.1913 | 7.2324 | 0.022932 | 0.0017961 | 0.025078 | 0.0042001 | 0.00062858 | 1.1055e-05 | 0.01685 | 0.0033841 | 41.7878 | 0.00021749
47 | 3.2984e-06 | 0.06606 | 0.0049284 | 0.06818 | 6.6492 |  |  |  |  | 7.103 | 6.1974 | 7.2359 | 0.023331 | 0.001836 | 0.025472 | 0.0042574 | 0.00064023 | 1.1762e-05 | 0.017104 | 0.0034515 | 41.9247 | 0.00022477
48 | 3.2819e-06 | 0.067236 | 0.0050413 | 0.069419 | 6.6492 |  |  |  |  | 7.1064 | 6.2069 | 7.2423 | 0.023744 | 0.0018784 | 0.02588 | 0.0042999 | 0.00065232 | 1.1845e-05 | 0.017366 | 0.0035225 | 42.0763 | 0.0002323
49 | 3.2648e-06 | 0.068455 | 0.0051596 | 0.070704 | 6.6492 |  |  |  |  | 7.1099 | 6.2166 | 7.2489 | 0.024173 | 0.0019228 | 0.026303 | 0.0043444 | 0.00066488 | 1.1929e-05 | 0.017638 | 0.0035967 | 42.2427 | 0.00024007
50 | 3.247e-06 | 0.069721 | 0.0052835 | 0.072038 | 6.6492 |  |  |  |  | 7.1134 | 6.2265 | 7.2555 | 0.024618 | 0.0019693 | 0.026742 | 0.004391 | 0.00067794 | 1.2017e-05 | 0.017919 | 0.0036743 | 42.4238 | 0.00024811
51 | 3.2282e-06 | 0.071036 | 0.0054144 | 0.073424 | 6.6485 |  |  |  |  | 7.1169 | 6.2368 | 7.2623 | 0.02508 | 0.0020184 | 0.027198 | 0.0044401 | 0.00069153 | 1.2109e-05 | 0.018209 | 0.0037559 | 42.62 | 0.00025642
52 | 3.209e-06 | 0.072403 | 0.0055512 | 0.074866 | 6.6484 |  |  |  |  | 7.1205 | 6.2473 | 7.2692 | 0.02556 | 0.0020697 | 0.027673 | 0.0044914 | 0.00070568 | 1.2201e-05 | 0.01851 | 0.003841 | 42.8312 | 0.00026503
53 | 3.1892e-06 | 0.073826 | 0.0056951 | 0.076367 | 6.6484 |  |  |  |  | 7.1241 | 6.258 | 7.2762 | 0.02606 | 0.0021236 | 0.028166 | 0.0045453 | 0.00072044 | 1.2297e-05 | 0.018823 | 0.0039302 | 43.0578 | 0.00027395
54 | 3.1685e-06 | 0.075307 | 0.0058467 | 0.077931 | 6.6484 |  |  |  |  | 7.1278 | 6.269 | 7.2833 | 0.02658 | 0.0021804 | 0.028679 | 0.0046019 | 0.00073583 | 1.2396e-05 | 0.019146 | 0.0040239 | 43.3 | 0.0002832
55 | 3.1471e-06 | 0.076851 | 0.0060067 | 0.07956 | 6.6484 |  |  |  |  | 7.1315 | 6.2803 | 7.2906 | 0.027123 | 0.0022403 | 0.029214 | 0.0046617 | 0.00075191 | 1.2498e-05 | 0.019482 | 0.0041224 | 43.5582 | 0.0002928
56 | 3.1247e-06 | 0.078461 | 0.0061756 | 0.081261 | 6.6484 |  |  |  |  | 7.1353 | 6.2919 | 7.298 | 0.027688 | 0.0023035 | 0.029772 | 0.0047246 | 0.00076871 | 1.2605e-05 | 0.019831 | 0.0042261 | 43.8328 | 0.00030278
57 | 3.1014e-06 | 0.080142 | 0.0063544 | 0.083038 | 6.6483 |  |  |  |  | 7.1391 | 6.3039 | 7.3055 | 0.028278 | 0.0023704 | 0.030355 | 0.0047912 | 0.00078629 | 1.2715e-05 | 0.020194 | 0.0043355 | 44.1244 | 0.00031316
58 | 3.0771e-06 | 0.081899 | 0.0065439 | 0.084895 | 6.6483 |  |  |  |  | 7.143 | 6.3162 | 7.3132 | 0.028895 | 0.0024412 | 0.030964 | 0.0048616 | 0.00080471 | 1.283e-05 | 0.020572 | 0.0044509 | 44.4335 | 0.00032396
59 | 3.0517e-06 | 0.083736 | 0.006745 | 0.086838 | 6.6483 |  |  |  |  | 7.1469 | 6.3288 | 7.3211 | 0.029541 | 0.0025163 | 0.0316 | 0.0049362 | 0.00082403 | 1.295e-05 | 0.020965 | 0.004573 | 44.7608 | 0.00033522
60 | 3.0252e-06 | 0.085661 | 0.0069589 | 0.088873 | 6.6483 |  |  |  |  | 7.1509 | 6.3419 | 7.3291 | 0.030216 | 0.0025961 | 0.032267 | 0.0050154 | 0.0008443 | 1.3075e-05 | 0.021375 | 0.0047022 | 45.107 | 0.00034697
61 | 2.9975e-06 | 0.087679 | 0.0071868 | 0.091008 | 6.6483 |  |  |  |  | 7.1549 | 6.3553 | 7.3372 | 0.030924 | 0.002681 | 0.032966 | 0.0050997 | 0.00086562 | 1.3207e-05 | 0.021802 | 0.0048394 | 45.4731 | 0.00035924
62 | 2.9684e-06 | 0.089797 | 0.0074301 | 0.09325 | 6.6482 |  |  |  |  | 7.159 | 6.3692 | 7.3456 | 0.031668 | 0.0027716 | 0.033699 | 0.0051895 | 0.00088805 | 1.3345e-05 | 0.022249 | 0.0049852 | 45.86 | 0.00037208
63 | 2.938e-06 | 0.092024 | 0.0076903 | 0.095605 | 6.6482 |  |  |  |  | 7.1631 | 6.3836 | 7.3541 | 0.032449 | 0.0028684 | 0.034469 | 0.0052853 | 0.00091169 | 1.349e-05 | 0.022715 | 0.0051404 | 46.2688 | 0.00038553
64 | 2.9061e-06 | 0.094366 | 0.0079694 | 0.098085 | 6.6482 |  |  |  |  | 7.1673 | 6.3984 | 7.3628 | 0.03327 | 0.002972 | 0.03528 | 0.0053879 | 0.00093664 | 1.3643e-05 | 0.023204 | 0.005306 | 46.7007 | 0.00039964
65 | 2.8726e-06 | 0.096835 | 0.0082693 | 0.1007 | 6.6482 |  |  |  |  | 7.1715 | 6.4138 | 7.3717 | 0.034136 | 0.0030833 | 0.036134 | 0.005498 | 0.00096301 | 1.3806e-05 | 0.023715 | 0.0054831 | 47.1571 | 0.00041447
66 | 2.8374e-06 | 0.09944 | 0.0085924 | 0.10346 | 6.6481 |  |  |  |  | 7.1758 | 6.4298 | 7.3808 | 0.035049 | 0.003203 | 0.037035 | 0.0056163 | 0.00099093 | 1.3978e-05 | 0.024251 | 0.0056729 | 47.6396 | 0.00043007
67 | 2.8003e-06 | 0.10219 | 0.0089416 | 0.10637 | 6.6481 |  |  |  |  | 7.1801 | 6.4463 | 7.3901 | 0.036014 | 0.0033322 | 0.037987 | 0.0057439 | 0.0010205 | 1.4162e-05 | 0.024814 | 0.0058768 | 48.1499 | 0.00044652
68 | 2.7612e-06 | 0.10511 | 0.00932 | 0.10945 | 6.6481 |  |  |  |  | 7.1845 | 6.4635 | 7.3996 | 0.037036 | 0.003472 | 0.038995 | 0.0058819 | 0.001052 | 1.4359e-05 | 0.025406 | 0.0060965 | 48.69 | 0.00046389
69 | 2.72e-06 | 0.1082 | 0.0097313 | 0.11272 | 6.6481 |  |  |  |  | 7.1889 | 6.4814 | 7.4094 | 0.038118 | 0.0036236 | 0.040063 | 0.0060316 | 0.0010855 | 1.4571e-05 | 0.026029 | 0.0063337 | 49.2622 | 0.00048228
70 | 2.6765e-06 | 0.11148 | 0.01018 | 0.1162 | 6.648 |  |  |  |  | 7.1934 | 6.5001 | 7.4194 | 0.039268 | 0.0037887 | 0.041197 | 0.0061945 | 0.0011212 | 1.48e-05 | 0.026685 | 0.0065908 | 49.869 | 0.00050177
71 | 2.9578e-06 | 0.11497 | 0.0094392 | 0.11808 | 7.148 |  |  |  |  | 7.1979 | 6.4532 | 7.4096 | 0.040492 | 0.0035274 | 0.042404 | 0.0060338 | 0.0011593 | 1.5596e-05 | 0.027378 | 0.0061391 | 50.371 | 0.00052249
72 | 2.9083e-06 | 0.11874 | 0.0099045 | 0.12199 | 7.148 |  |  |  |  | 7.2028 | 6.47 | 7.4178 | 0.041812 | 0.0036977 | 0.043703 | 0.0062192 | 0.0012001 | 1.6298e-05 | 0.028137 | 0.0064075 | 50.9108 | 0.00054461
73 | 2.8556e-06 | 0.12277 | 0.010417 | 0.12617 | 7.148 |  |  |  |  | 7.2079 | 6.4904 | 7.4285 | 0.043223 | 0.0038863 | 0.045092 | 0.0064078 | 0.001244 | 1.6645e-05 | 0.028942 | 0.0067026 | 51.4918 | 0.00056823
74 | 2.7995e-06 | 0.12709 | 0.010986 | 0.13065 | 7.148 |  |  |  |  | 7.213 | 6.5118 | 7.4394 | 0.044736 | 0.0040947 | 0.046579 | 0.0066159 | 0.0012912 | 1.7025e-05 | 0.029797 | 0.007027 | 52.118 | 0.00059352
75 | 2.739e-06 | 0.13174 | 0.01162 | 0.13547 | 7.1469 |  |  |  |  | 7.2182 | 6.5344 | 7.4507 | 0.046362 | 0.0043269 | 0.048178 | 0.0068477 | 0.0013422 | 1.7448e-05 | 0.030708 | 0.0073866 | 52.794 | 0.00062069
76 | 2.675e-06 | 0.13674 | 0.012329 | 0.14065 | 7.1469 |  |  |  |  | 7.2234 | 6.5581 | 7.4622 | 0.048113 | 0.0045851 | 0.0499 | 0.0071052 | 0.0013974 | 1.7913e-05 | 0.031679 | 0.0077841 | 53.5248 | 0.00064997
77 | 2.6065e-06 | 0.14215 | 0.013126 | 0.14625 | 7.1469 |  |  |  |  | 7.2287 | 6.5831 | 7.4741 | 0.050006 | 0.004875 | 0.051761 | 0.0073942 | 0.0014573 | 1.8434e-05 | 0.032718 | 0.0082275 | 54.3165 | 0.00068162
78 | 2.5331e-06 | 0.14802 | 0.014031 | 0.15232 | 7.1469 |  |  |  |  | 7.234 | 6.6096 | 7.4864 | 0.052057 | 0.0052025 | 0.053777 | 0.0077206 | 0.0015227 | 1.902e-05 | 0.033832 | 0.008725 | 55.1764 | 0.00071598
79 | 2.4541e-06 | 0.1544 | 0.015064 | 0.15891 | 7.1468 |  |  |  |  | 7.2393 | 6.6378 | 7.499 | 0.054289 | 0.0055753 | 0.055971 | 0.008092 | 0.0015944 | 1.9686e-05 | 0.035027 | 0.0092869 | 56.1131 | 0.00075343
80 | 2.3692e-06 | 0.16136 | 0.016255 | 0.1661 | 7.1468 |  |  |  |  | 7.2446 | 6.6677 | 7.5121 | 0.056724 | 0.0060031 | 0.058365 | 0.0085181 | 0.0016731 | 2.045e-05 | 0.036314 | 0.009926 | 57.1373 | 0.00079443
81 | 2.2777e-06 | 0.169 | 0.01764 | 0.17397 | 7.1468 |  |  |  |  | 7.2498 | 6.6997 | 7.5255 | 0.059394 | 0.0064983 | 0.060988 | 0.0090114 | 0.0017601 | 2.1335e-05 | 0.037703 | 0.010659 | 58.2617 | 0.00083954
82 | 2.1789e-06 | 0.17741 | 0.019267 | 0.18262 | 7.1467 |  |  |  |  | 7.2551 | 6.734 | 7.5394 | 0.062332 | 0.0070774 | 0.063876 | 0.0095884 | 0.0018567 | 2.2373e-05 | 0.039205 | 0.011506 | 59.502 | 0.00088944
83 | 2.0723e-06 | 0.18671 | 0.021203 | 0.19217 | 7.1467 |  |  |  |  | 7.2602 | 6.7709 | 7.5537 | 0.065583 | 0.0077623 | 0.067069 | 0.010271 | 0.0019646 | 2.3605e-05 | 0.040835 | 0.012494 | 60.8777 | 0.00094498
84 | 1.9571e-06 | 0.19706 | 0.023534 | 0.20275 | 7.1467 |  |  |  |  | 7.2653 | 6.8107 | 7.5685 | 0.069196 | 0.0085829 | 0.070619 | 0.011089 | 0.0020859 | 2.5088e-05 | 0.042606 | 0.01366 | 62.4132 | 0.0010072
85 | 1.833e-06 | 0.20862 | 0.026383 | 0.21455 | 7.1466 |  |  |  |  | 7.2702 | 6.8537 | 7.5839 | 0.073237 | 0.0095799 | 0.074587 | 0.012084 | 0.0022233 | 2.6902e-05 | 0.044536 | 0.01505 | 64.1393 | 0.0010775
86 | 4.4733e-06 | 0.22164 | 0.012584 | 0.23162 | 11.9966 |  |  |  |  | 7.2748 | 6.6384 | 7.6254 | 0.077784 | 0.0050442 | 0.079052 | 0.0073434 | 0.0023801 | 1.0225e-05 | 0.046642 | 0.0076055 | 64.6269 | 0.0011575
87 | 4.2555e-06 | 0.23772 | 0.014156 | 0.24856 | 11.9953 |  |  |  |  | 7.2797 | 6.6308 | 7.6118 | 0.08338 | 0.0055937 | 0.084568 | 0.0081738 | 0.0025624 | 1.4106e-05 | 0.049645 | 0.0084219 | 65.2334 | 0.00125
88 | 4.0083e-06 | 0.25635 | 0.016155 | 0.26812 | 11.9953 |  |  |  |  | 7.2857 | 6.6834 | 7.6309 | 0.089862 | 0.0063433 | 0.090934 | 0.0089109 | 0.0027748 | 1.5105e-05 | 0.05308 | 0.009508 | 65.9973 | 0.0013576
89 | 3.7251e-06 | 0.27819 | 0.018776 | 0.29093 | 11.9952 |  |  |  |  | 7.2914 | 6.7432 | 7.6511 | 0.097454 | 0.0073137 | 0.098391 | 0.0098628 | 0.0030257 | 1.639e-05 | 0.057041 | 0.010908 | 66.9621 | 0.0014845
90 | 3.3991e-06 | 0.30413 | 0.022343 | 0.31785 | 11.9952 |  |  |  |  | 7.2966 | 6.8112 | 7.6721 | 0.10647 | 0.0086134 | 0.10724 | 0.01114 | 0.0033266 | 1.8141e-05 | 0.061655 | 0.012774 | 68.1931 | 0.0016363
91 | 3.0229e-06 | 0.33544 | 0.027429 | 0.35005 | 11.9951 |  |  |  |  | 7.3011 | 6.8897 | 7.6941 | 0.11734 | 0.010435 | 0.11792 | 0.012934 | 0.0036942 | 2.0648e-05 | 0.067086 | 0.015368 | 69.7923 | 0.0018215
92 | 2.5906e-06 | 0.37394 | 0.035125 | 0.38919 | 11.9951 |  |  |  |  | 7.3048 | 6.9813 | 7.7171 | 0.1307 | 0.013139 | 0.13105 | 0.015608 | 0.0041534 | 2.4458e-05 | 0.07355 | 0.019166 | 71.9293 | 0.0020524
93 | 2.1021e-06 | 0.42234 | 0.047681 | 0.43769 | 11.9928 |  |  |  |  | 7.307 | 7.0886 | 7.741 | 0.1475 | 0.017465 | 0.14754 | 0.019903 | 0.0047433 | 3.0696e-05 | 0.08132 | 0.025079 | 74.9022 | 0.0023487
94 | 1.5808e-06 | 0.48479 | 0.069831 | 0.49936 | 11.9926 |  |  |  |  | 7.3071 | 7.2122 | 7.7663 | 0.16917 | 0.024961 | 0.16881 | 0.027364 | 0.0055287 | 4.1595e-05 | 0.090693 | 0.034759 | 79.2402 | 0.0027427