## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate
0 | 3.2998e-06 | 0.036947 | 0.0027523 | 0.038229 | 5.6 | 11.2546 | 11.8485 | 9.5534 | 11.4885 | 8.4327 | 9.0642 | 8.4864 | 0.017514 | 0.0025019 | 0.015321 | 0.0012019 | 0.00034432 | 6.5825e-07 | 0.010467 | 0.0031689 | 44.3993 | 0.0001643
1 | 3.2948e-06 | 0.037292 | 0.0027826 | 0.038596 | 5.6 |  |  |  |  | 8.43 | 9.0808 | 8.502 | 0.017666 | 0.002567 | 0.015464 | 0.0012106 | 0.00034779 | 5.0834e-07 | 0.01054 | 0.00323 | 44.8273 | 0.00016605
2 | 3.2893e-06 | 0.037644 | 0.002814 | 0.03897 | 5.6 |  |  |  |  | 8.4272 | 9.0776 | 8.4999 | 0.01782 | 0.0025832 | 0.015609 | 0.0012246 | 0.00035133 | 5.1568e-07 | 0.010615 | 0.0032505 | 45.0656 | 0.00016783
3 | 3.2836e-06 | 0.038003 | 0.0028461 | 0.039351 | 5.6 |  |  |  |  | 8.4243 | 9.0743 | 8.4978 | 0.017977 | 0.0025998 | 0.015758 | 0.0012387 | 0.00035495 | 5.2242e-07 | 0.010691 | 0.0032716 | 45.2589 | 0.00016964
4 | 3.2778e-06 | 0.03837 | 0.0028789 | 0.03974 | 5.5999 |  |  |  |  | 8.4214 | 9.071 | 8.4957 | 0.018137 | 0.0026168 | 0.015909 | 0.0012533 | 0.00035864 | 5.293e-07 | 0.010768 | 0.0032932 | 45.4353 | 0.0001715
5 | 3.2719e-06 | 0.038743 | 0.0029125 | 0.040137 | 5.5999 |  |  |  |  | 8.4185 | 9.0676 | 8.4935 | 0.0183 | 0.0026342 | 0.016063 | 0.0012681 | 0.00036241 | 5.3633e-07 | 0.010847 | 0.0033152 | 45.6043 | 0.00017339
6 | 3.2659e-06 | 0.039124 | 0.002947 | 0.040543 | 5.5999 |  |  |  |  | 8.4156 | 9.0642 | 8.4914 | 0.018467 | 0.002652 | 0.016221 | 0.0012834 | 0.00036626 | 5.4353e-07 | 0.010927 | 0.0033378 | 45.7702 | 0.00017532
7 | 3.2598e-06 | 0.039513 | 0.0029823 | 0.040957 | 5.5999 |  |  |  |  | 8.4126 | 9.0608 | 8.4893 | 0.018637 | 0.0026702 | 0.016381 | 0.0012989 | 0.00037019 | 5.5088e-07 | 0.011009 | 0.0033608 | 45.9349 | 0.0001773
8 | 3.2535e-06 | 0.039911 | 0.0030184 | 0.041379 | 5.5999 |  |  |  |  | 8.4096 | 9.0573 | 8.4871 | 0.018811 | 0.0026888 | 0.016545 | 0.0013149 | 0.00037421 | 5.5841e-07 | 0.011092 | 0.0033843 | 46.0997 | 0.00017931
9 | 3.2471e-06 | 0.040316 | 0.0030555 | 0.041811 | 5.5999 |  |  |  |  | 8.4066 | 9.0538 | 8.485 | 0.018988 | 0.0027079 | 0.016713 | 0.0013313 | 0.00037832 | 5.6611e-07 | 0.011177 | 0.0034084 | 46.2652 | 0.00018137
10 | 3.2406e-06 | 0.04073 | 0.0030934 | 0.042252 | 5.5998 |  |  |  |  | 8.4035 | 9.0503 | 8.4828 | 0.019169 | 0.0027274 | 0.016884 | 0.001348 | 0.00038251 | 5.7399e-07 | 0.011263 | 0.003433 | 46.4319 | 0.00018348
11 | 3.2339e-06 | 0.041153 | 0.0031324 | 0.042702 | 5.5998 |  |  |  |  | 8.4004 | 9.0467 | 8.4806 | 0.019353 | 0.0027474 | 0.017058 | 0.0013652 | 0.00038681 | 5.8206e-07 | 0.011351 | 0.0034582 | 46.6003 | 0.00018563
12 | 3.2271e-06 | 0.041585 | 0.0031724 | 0.043163 | 5.5998 |  |  |  |  | 8.3973 | 9.043 | 8.4784 | 0.019542 | 0.0027679 | 0.017236 | 0.0013829 | 0.0003912 | 5.9032e-07 | 0.011441 | 0.0034839 | 46.7705 | 0.00018783
13 | 3.2202e-06 | 0.042026 | 0.0032134 | 0.043634 | 5.5998 |  |  |  |  | 8.3941 | 9.0394 | 8.4762 | 0.019735 | 0.0027889 | 0.017419 | 0.001401 | 0.00039569 | 5.9878e-07 | 0.011532 | 0.0035103 | 46.9429 | 0.00019009
14 | 3.213e-06 | 0.042478 | 0.0032555 | 0.044115 | 5.5998 |  |  |  |  | 8.3909 | 9.0356 | 8.4739 | 0.019932 | 0.0028105 | 0.017605 | 0.0014195 | 0.00040028 | 6.0745e-07 | 0.011625 | 0.0035373 | 47.1175 | 0.00019239
15 | 3.2058e-06 | 0.042939 | 0.0032987 | 0.044608 | 5.5998 |  |  |  |  | 8.3877 | 9.0319 | 8.4717 | 0.020133 | 0.0028326 | 0.017795 | 0.0014386 | 0.00040498 | 6.1634e-07 | 0.01172 | 0.003565 | 47.2944 | 0.00019475
16 | 3.1984e-06 | 0.043411 | 0.0033432 | 0.045111 | 5.5998 |  |  |  |  | 8.3844 | 9.028 | 8.4694 | 0.020339 | 0.0028552 | 0.01799 | 0.0014582 | 0.00040979 | 6.2545e-07 | 0.011817 | 0.0035934 | 47.474 | 0.00019716
17 | 3.1908e-06 | 0.043894 | 0.0033888 | 0.045627 | 5.5997 |  |  |  |  | 8.3811 | 9.0242 | 8.4671 | 0.02055 | 0.0028785 | 0.018189 | 0.0014783 | 0.00041472 | 6.3479e-07 | 0.011917 | 0.0036224 | 47.6562 | 0.00019964
18 | 3.183e-06 | 0.044388 | 0.0034358 | 0.046155 | 5.5997 |  |  |  |  | 8.3778 | 9.0202 | 8.4648 | 0.020766 | 0.0029024 | 0.018393 | 0.001499 | 0.00041977 | 6.4436e-07 | 0.012018 | 0.0036522 | 47.8412 | 0.00020217
19 | 3.1751e-06 | 0.044893 | 0.003484 | 0.046695 | 5.5997 |  |  |  |  | 8.3744 | 9.0163 | 8.4625 | 0.020986 | 0.0029269 | 0.018602 | 0.0015203 | 0.00042495 | 6.5419e-07 | 0.012121 | 0.0036828 | 48.0291 | 0.00020476
20 | 3.1669e-06 | 0.045411 | 0.0035337 | 0.047249 | 5.5997 |  |  |  |  | 8.371 | 9.0122 | 8.4602 | 0.021212 | 0.0029521 | 0.018815 | 0.0015421 | 0.00043025 | 6.6428e-07 | 0.012226 | 0.0037141 | 48.22 | 0.00020742
21 | 3.1586e-06 | 0.045941 | 0.0035848 | 0.047816 | 5.5997 |  |  |  |  | 8.3675 | 9.0081 | 8.4579 | 0.021443 | 0.0029781 | 0.019034 | 0.0015646 | 0.00043569 | 6.7462e-07 | 0.012334 | 0.0037463 | 48.4141 | 0.00021015
22 | 3.1501e-06 | 0.046484 | 0.0036375 | 0.048397 | 5.5997 |  |  |  |  | 8.3641 | 9.004 | 8.4555 | 0.02168 | 0.0030047 | 0.019258 | 0.0015878 | 0.00044127 | 6.8525e-07 | 0.012444 | 0.0037794 | 48.6114 | 0.00021294
23 | 3.1413e-06 | 0.047041 | 0.0036917 | 0.048993 | 5.5996 |  |  |  |  | 8.3605 | 8.9998 | 8.4532 | 0.021922 | 0.0030321 | 0.019487 | 0.0016116 | 0.00044699 | 6.9617e-07 | 0.012557 | 0.0038133 | 48.8121 | 0.00021581
24 | 3.1324e-06 | 0.047611 | 0.0037476 | 0.049604 | 5.5996 |  |  |  |  | 8.3569 | 8.9955 | 8.4508 | 0.022171 | 0.0030604 | 0.019722 | 0.0016362 | 0.00045286 | 7.0739e-07 | 0.012672 | 0.0038482 | 49.0163 | 0.00021875
25 | 3.1232e-06 | 0.048196 | 0.0038053 | 0.05023 | 5.5996 |  |  |  |  | 8.3533 | 8.9912 | 8.4484 | 0.022426 | 0.0030894 | 0.019964 | 0.0016616 | 0.00045889 | 7.1892e-07 | 0.01279 | 0.003884 | 49.2241 | 0.00022178
26 | 3.1138e-06 | 0.048796 | 0.0038648 | 0.050873 | 5.5996 |  |  |  |  | 8.3497 | 8.9868 | 8.446 | 0.022687 | 0.0031193 | 0.020211 | 0.0016877 | 0.00046508 | 7.3078e-07 | 0.01291 | 0.0039209 | 49.4357 | 0.00022488
27 | 3.1042e-06 | 0.049411 | 0.0039261 | 0.051534 | 5.5996 |  |  |  |  | 8.3459 | 8.9824 | 8.4436 | 0.022955 | 0.0031502 | 0.020465 | 0.0017146 | 0.00047144 | 7.4298e-07 | 0.013033 | 0.0039589 | 49.6511 | 0.00022807
28 | 3.0943e-06 | 0.050043 | 0.0039895 | 0.052211 | 5.5996 |  |  |  |  | 8.3422 | 8.9779 | 8.4411 | 0.02323 | 0.003182 | 0.020725 | 0.0017424 | 0.00047798 | 7.5553e-07 | 0.013159 | 0.0039979 | 49.8705 | 0.00023134
29 | 3.0842e-06 | 0.050692 | 0.004055 | 0.052908 | 5.5995 |  |  |  |  | 8.3384 | 8.9733 | 8.4387 | 0.023512 | 0.0032148 | 0.020992 | 0.0017711 | 0.0004847 | 7.6845e-07 | 0.013288 | 0.0040381 | 50.0941 | 0.00023471
30 | 3.0737e-06 | 0.051358 | 0.0041227 | 0.053623 | 5.5995 |  |  |  |  | 8.3345 | 8.9686 | 8.4362 | 0.023802 | 0.0032486 | 0.021267 | 0.0018008 | 0.00049162 | 7.8177e-07 | 0.01342 | 0.0040796 | 50.322 | 0.00023817
31 | 3.063e-06 | 0.052042 | 0.0041927 | 0.054359 | 5.5995 |  |  |  |  | 8.3306 | 8.9639 | 8.4337 | 0.0241 | 0.0032836 | 0.021549 | 0.0018315 | 0.00049873 | 7.9547e-07 | 0.013556 | 0.0041223 | 50.5544 | 0.00024174
32 | 3.0521e-06 | 0.052746 | 0.0042652 | 0.055115 | 5.5995 |  |  |  |  | 8.3267 | 8.9591 | 8.4312 | 0.024406 | 0.0033197 | 0.021839 | 0.0018632 | 0.00050605 | 8.0961e-07 | 0.013694 | 0.0041663 | 50.7914 | 0.0002454
33 | 3.0408e-06 | 0.05347 | 0.0043402 | 0.055893 | 5.5995 |  |  |  |  | 8.3227 | 8.9542 | 8.4287 | 0.024721 | 0.003357 | 0.022137 | 0.001896 | 0.00051359 | 8.2419e-07 | 0.013837 | 0.0042118 | 51.0331 | 0.00024918
34 | 3.0292e-06 | 0.054214 | 0.004418 | 0.056694 | 5.5994 |  |  |  |  | 8.3186 | 8.9492 | 8.4262 | 0.025045 | 0.0033957 | 0.022444 | 0.00193 | 0.00052136 | 8.3922e-07 | 0.013982 | 0.0042587 | 51.2799 | 0.00025307
35 | 3.0172e-06 | 0.05498 | 0.0044986 | 0.057519 | 5.5994 |  |  |  |  | 8.3145 | 8.9442 | 8.4237 | 0.025378 | 0.0034356 | 0.022759 | 0.0019653 | 0.00052937 | 8.5475e-07 | 0.014132 | 0.0043072 | 51.5318 | 0.00025708
36 | 3.005e-06 | 0.055769 | 0.0045822 | 0.058368 | 5.5994 |  |  |  |  | 8.3103 | 8.9391 | 8.4211 | 0.025721 | 0.003477 | 0.023084 | 0.0020018 | 0.00053763 | 8.7077e-07 | 0.014285 | 0.0043573 | 51.789 | 0.00026122
37 | 2.9923e-06 | 0.056581 | 0.004669 | 0.059244 | 5.5994 |  |  |  |  | 8.3061 | 8.9338 | 8.4185 | 0.026074 | 0.0035199 | 0.023419 | 0.0020397 | 0.00054615 | 8.8733e-07 | 0.014443 | 0.0044091 | 52.0518 | 0.00026548
38 | 2.9793e-06 | 0.057419 | 0.0047592 | 0.060146 | 5.5994 |  |  |  |  | 8.3018 | 8.9285 | 8.4159 | 0.026438 | 0.0035643 | 0.023764 | 0.002079 | 0.00055494 | 9.0445e-07 | 0.014605 | 0.0044627 | 52.3204 | 0.00026989
39 | 2.9659e-06 | 0.058282 | 0.0048529 | 0.061077 | 5.5994 |  |  |  |  | 8.2974 | 8.9231 | 8.4133 | 0.026813 | 0.0036104 | 0.024119 | 0.0021198 | 0.00056402 | 9.2216e-07 | 0.014771 | 0.0045182 | 52.595 | 0.00027443
40 | 2.9521e-06 | 0.059172 | 0.0049505 | 0.062038 | 5.5993 |  |  |  |  | 8.293 | 8.9176 | 8.4107 | 0.027199 | 0.0036583 | 0.024486 | 0.0021623 | 0.00057341 | 9.4049e-07 | 0.014942 | 0.0045757 | 52.8759 | 0.00027913
41 | 2.9379e-06 | 0.060091 | 0.005052 | 0.063029 | 5.5993 |  |  |  |  | 8.2885 | 8.912 | 8.4081 | 0.027598 | 0.0037081 | 0.024864 | 0.0022065 | 0.00058311 | 9.5947e-07 | 0.015118 | 0.0046354 | 53.1633 | 0.00028399
42 | 2.9232e-06 | 0.06104 | 0.0051579 | 0.064054 | 5.5993 |  |  |  |  | 8.284 | 8.9063 | 8.4054 | 0.02801 | 0.0037598 | 0.025255 | 0.0022525 | 0.00059315 | 9.7915e-07 | 0.015299 | 0.0046972 | 53.4575 | 0.00028901
43 | 2.908e-06 | 0.062021 | 0.0052683 | 0.065113 | 5.5993 |  |  |  |  | 8.2793 | 8.9004 | 8.4028 | 0.028436 | 0.0038137 | 0.025659 | 0.0023005 | 0.00060354 | 9.9954e-07 | 0.015484 | 0.0047615 | 53.7587 | 0.00029421
44 | 2.8924e-06 | 0.063034 | 0.0053835 | 0.066208 | 5.5993 |  |  |  |  | 8.2746 | 8.8945 | 8.4001 | 0.028875 | 0.0038698 | 0.026076 | 0.0023505 | 0.0006143 | 1.0207e-06 | 0.015676 | 0.0048282 | 54.0674 | 0.0002996
45 | 2.8762e-06 | 0.064082 | 0.0055039 | 0.067341 | 5.5992 |  |  |  |  | 8.2699 | 8.8884 | 8.3974 | 0.02933 | 0.0039282 | 0.026507 | 0.0024026 | 0.00062545 | 1.0427e-06 | 0.015873 | 0.0048976 | 54.3838 | 0.00030518
46 | 3.5869e-06 | 0.065167 | 0.0044913 | 0.067421 | 6.6492 |  |  |  |  | 8.265 | 8.9499 | 8.385 | 0.0298 | 0.0034836 | 0.026953 | 0.0020032 | 0.00063701 | 9.8984e-07 | 0.016076 | 0.0042896 | 54.5054 | 0.00031097
47 | 3.5692e-06 | 0.066312 | 0.0045931 | 0.068631 | 6.6492 |  |  |  |  | 8.26 | 8.9381 | 8.3779 | 0.030297 | 0.003522 | 0.027424 | 0.002052 | 0.00064901 | 1.0683e-06 | 0.016299 | 0.00434 | 54.6367 | 0.00031697
48 | 3.5509e-06 | 0.067499 | 0.0046996 | 0.069887 | 6.6492 |  |  |  |  | 8.2551 | 8.9316 | 8.3749 | 0.030812 | 0.0035756 | 0.027912 | 0.0020994 | 0.00066147 | 1.0942e-06 | 0.016529 | 0.0044048 | 54.7812 | 0.0003232
49 | 3.532e-06 | 0.06873 | 0.0048112 | 0.07119 | 6.6492 |  |  |  |  | 8.25 | 8.9249 | 8.3718 | 0.031346 | 0.0036316 | 0.028418 | 0.0021491 | 0.00067442 | 1.1214e-06 | 0.016767 | 0.0044724 | 54.9388 | 0.00032968
50 | 3.5123e-06 | 0.070009 | 0.0049283 | 0.072543 | 6.6492 |  |  |  |  | 8.2449 | 8.918 | 8.3687 | 0.0319 | 0.0036903 | 0.028944 | 0.0022011 | 0.00068789 | 1.1499e-06 | 0.017012 | 0.0045429 | 55.1096 | 0.00033642
51 | 3.4913e-06 | 0.071337 | 0.0050519 | 0.073949 | 6.6485 |  |  |  |  | 8.2396 | 8.911 | 8.3656 | 0.032476 | 0.0037519 | 0.029489 | 0.0022559 | 0.0007019 | 1.1799e-06 | 0.017267 | 0.0046171 | 55.2939 | 0.00034342
52 | 3.4701e-06 | 0.072718 | 0.0051811 | 0.075412 | 6.6484 |  |  |  |  | 8.2343 | 8.9038 | 8.3625 | 0.033074 | 0.0038162 | 0.030057 | 0.0023132 | 0.0007165 | 1.2111e-06 | 0.01753 | 0.0046943 | 55.4916 | 0.00035073
53 | 3.4481e-06 | 0.074155 | 0.0053172 | 0.076935 | 6.6484 |  |  |  |  | 8.2289 | 8.8965 | 8.3593 | 0.033697 | 0.0038838 | 0.030647 | 0.0023735 | 0.00073172 | 1.2438e-06 | 0.017804 | 0.0047751 | 55.7029 | 0.00035834
54 | 3.4251e-06 | 0.075651 | 0.0054607 | 0.078521 | 6.6484 |  |  |  |  | 8.2234 | 8.889 | 8.3561 | 0.034345 | 0.0039548 | 0.031262 | 0.0024369 | 0.0007476 | 1.2781e-06 | 0.018087 | 0.0048599 | 55.9282 | 0.00036628
55 | 3.4013e-06 | 0.077211 | 0.0056121 | 0.080175 | 6.6484 |  |  |  |  | 8.2178 | 8.8813 | 8.3529 | 0.03502 | 0.0040295 | 0.031902 | 0.0025038 | 0.00076418 | 1.3141e-06 | 0.018381 | 0.0049489 | 56.1676 | 0.00037457
56 | 3.3764e-06 | 0.078838 | 0.0057722 | 0.081902 | 6.6484 |  |  |  |  | 8.2121 | 8.8734 | 8.3497 | 0.035725 | 0.0041082 | 0.03257 | 0.0025744 | 0.00078152 | 1.352e-06 | 0.018686 | 0.0050425 | 56.4217 | 0.00038324
57 | 3.3505e-06 | 0.080537 | 0.0059416 | 0.083705 | 6.6483 |  |  |  |  | 8.2063 | 8.8652 | 8.3464 | 0.03646 | 0.0041912 | 0.033268 | 0.002649 | 0.00079967 | 1.3919e-06 | 0.019003 | 0.005141 | 56.6908 | 0.00039232
58 | 3.3235e-06 | 0.082313 | 0.0061213 | 0.08559 | 6.6483 |  |  |  |  | 8.2004 | 8.8569 | 8.3432 | 0.037228 | 0.004279 | 0.033997 | 0.0027279 | 0.00081867 | 1.434e-06 | 0.019333 | 0.0052448 | 56.9755 | 0.00040182
59 | 3.2952e-06 | 0.084172 | 0.0063122 | 0.087564 | 6.6483 |  |  |  |  | 8.1943 | 8.8483 | 8.3399 | 0.038032 | 0.0043719 | 0.03476 | 0.0028117 | 0.00083861 | 1.4784e-06 | 0.019677 | 0.0053545 | 57.2762 | 0.00041179
60 | 3.2658e-06 | 0.086118 | 0.0065154 | 0.089631 | 6.6483 |  |  |  |  | 8.1882 | 8.8395 | 8.3366 | 0.038873 | 0.0044704 | 0.035558 | 0.0029007 | 0.00085953 | 1.5254e-06 | 0.020035 | 0.0054704 | 57.5938 | 0.00042225
61 | 3.2349e-06 | 0.088159 | 0.006732 | 0.0918 | 6.6483 |  |  |  |  | 8.1819 | 8.8305 | 8.3333 | 0.039755 | 0.004575 | 0.036396 | 0.0029953 | 0.00088153 | 1.5752e-06 | 0.020408 | 0.0055933 | 57.9288 | 0.00043325
62 | 3.2026e-06 | 0.090302 | 0.0069634 | 0.094077 | 6.6482 |  |  |  |  | 8.1755 | 8.8211 | 8.33 | 0.040681 | 0.0046863 | 0.037275 | 0.0030963 | 0.00090469 | 1.6281e-06 | 0.020798 | 0.0057237 | 58.2823 | 0.00044483
63 | 3.1688e-06 | 0.092555 | 0.0072112 | 0.096471 | 6.6482 |  |  |  |  | 8.1689 | 8.8114 | 8.3266 | 0.041654 | 0.004805 | 0.038198 | 0.0032041 | 0.0009291 | 1.6843e-06 | 0.021206 | 0.0058622 | 58.655 | 0.00045703
64 | 3.1332e-06 | 0.094925 | 0.0074771 | 0.09899 | 6.6482 |  |  |  |  | 8.1622 | 8.8015 | 8.3233 | 0.042678 | 0.0049319 | 0.03917 | 0.0033197 | 0.00095486 | 1.7443e-06 | 0.021632 | 0.0060099 | 59.048 | 0.00046991
65 | 3.0959e-06 | 0.097424 | 0.0077631 | 0.10165 | 6.6482 |  |  |  |  | 8.1554 | 8.7912 | 8.3199 | 0.043756 | 0.0050678 | 0.040195 | 0.0034436 | 0.00098209 | 1.8083e-06 | 0.022078 | 0.0061675 | 59.4627 | 0.00048353
66 | 3.0567e-06 | 0.10006 | 0.0080717 | 0.10445 | 6.6481 |  |  |  |  | 8.1484 | 8.7805 | 8.3166 | 0.044894 | 0.0052137 | 0.041276 | 0.003577 | 0.0010109 | 1.8769e-06 | 0.022546 | 0.0063362 | 59.9002 | 0.00049794
67 | 3.0154e-06 | 0.10285 | 0.0084054 | 0.10741 | 6.6481 |  |  |  |  | 8.1412 | 8.7695 | 8.3132 | 0.046096 | 0.0053707 | 0.042418 | 0.003721 | 0.0010415 | 1.9506e-06 | 0.023038 | 0.0065172 | 60.3621 | 0.00051323
68 | 2.9719e-06 | 0.1058 | 0.0087675 | 0.11055 | 6.6481 |  |  |  |  | 8.1339 | 8.758 | 8.3098 | 0.047369 | 0.0055403 | 0.043627 | 0.0038768 | 0.001074 | 2.0299e-06 | 0.023554 | 0.0067118 | 60.8502 | 0.00052947
69 | 2.9259e-06 | 0.10893 | 0.0091616 | 0.11387 | 6.6481 |  |  |  |  | 8.1264 | 8.7461 | 8.3065 | 0.048718 | 0.0057239 | 0.04491 | 0.0040459 | 0.0011086 | 2.1155e-06 | 0.024097 | 0.0069217 | 61.3663 | 0.00054675
70 | 2.8774e-06 | 0.11226 | 0.0095921 | 0.11741 | 6.648 |  |  |  |  | 8.1186 | 8.7337 | 8.3031 | 0.050151 | 0.0059234 | 0.046272 | 0.0042301 | 0.0011454 | 2.2083e-06 | 0.02467 | 0.0071487 | 61.9127 | 0.00056519
71 | 3.1848e-06 | 0.1158 | 0.0088674 | 0.11919 | 7.148 |  |  |  |  | 8.1107 | 8.7451 | 8.2882 | 0.051677 | 0.0055952 | 0.047721 | 0.0039621 | 0.0011849 | 2.3246e-06 | 0.025274 | 0.0067413 | 62.3647 | 0.0005849
72 | 3.1297e-06 | 0.11961 | 0.0093123 | 0.12316 | 7.148 |  |  |  |  | 8.1028 | 8.7282 | 8.2824 | 0.053322 | 0.0057946 | 0.049284 | 0.0041578 | 0.0012271 | 2.4926e-06 | 0.025936 | 0.006972 | 62.8485 | 0.00060601
73 | 3.0711e-06 | 0.1237 | 0.0098034 | 0.12741 | 7.148 |  |  |  |  | 8.0948 | 8.714 | 8.2787 | 0.055083 | 0.0060223 | 0.050956 | 0.0043693 | 0.0012725 | 2.6198e-06 | 0.026638 | 0.0072323 | 63.3685 | 0.00062869
74 | 3.0086e-06 | 0.12808 | 0.010348 | 0.13196 | 7.148 |  |  |  |  | 8.0865 | 8.6992 | 8.2751 | 0.05697 | 0.0062733 | 0.052747 | 0.0046031 | 0.0013213 | 2.7603e-06 | 0.027384 | 0.007518 | 63.9281 | 0.00065311
75 | 2.9412e-06 | 0.13279 | 0.010958 | 0.13686 | 7.1469 |  |  |  |  | 8.078 | 8.6835 | 8.2714 | 0.058997 | 0.0065523 | 0.054673 | 0.0048638 | 0.001374 | 2.9166e-06 | 0.028179 | 0.0078341 | 64.5312 | 0.00067947
76 | 2.8699e-06 | 0.13787 | 0.01164 | 0.14213 | 7.1469 |  |  |  |  | 8.0692 | 8.667 | 8.2678 | 0.061183 | 0.0068622 | 0.056749 | 0.0051541 | 0.0014312 | 3.0898e-06 | 0.029027 | 0.008183 | 65.1821 | 0.00070803
77 | 2.7936e-06 | 0.14335 | 0.012409 | 0.14782 | 7.1469 |  |  |  |  | 8.0602 | 8.6496 | 8.2642 | 0.063544 | 0.0072094 | 0.058992 | 0.0054803 | 0.0014933 | 3.284e-06 | 0.029933 | 0.0085718 | 65.8862 | 0.00073908
78 | 2.7117e-06 | 0.14931 | 0.013283 | 0.15399 | 7.1469 |  |  |  |  | 8.0509 | 8.6312 | 8.2606 | 0.066105 | 0.0076011 | 0.061424 | 0.0058496 | 0.001561 | 3.5031e-06 | 0.030904 | 0.0090075 | 66.6497 | 0.00077294
79 | 2.6237e-06 | 0.15578 | 0.014285 | 0.16069 | 7.1468 |  |  |  |  | 8.0413 | 8.6116 | 8.2571 | 0.068891 | 0.0080464 | 0.064071 | 0.0062708 | 0.0016352 | 3.7524e-06 | 0.031947 | 0.0094991 | 67.4802 | 0.00081001
80 | 2.529e-06 | 0.16286 | 0.015443 | 0.168 | 7.1468 |  |  |  |  | 8.0314 | 8.5906 | 8.2537 | 0.071933 | 0.0085569 | 0.066961 | 0.0067552 | 0.0017167 | 4.0385e-06 | 0.033069 | 0.010058 | 68.3869 | 0.0008508
81 | 2.4269e-06 | 0.17062 | 0.016794 | 0.17601 | 7.1468 |  |  |  |  | 8.0211 | 8.5682 | 8.2503 | 0.075269 | 0.0091475 | 0.070129 | 0.0073177 | 0.0018069 | 4.3703e-06 | 0.03428 | 0.010698 | 69.3809 | 0.00089586
82 | 2.3168e-06 | 0.17916 | 0.018388 | 0.1848 | 7.1467 |  |  |  |  | 8.0104 | 8.544 | 8.247 | 0.078942 | 0.0098382 | 0.073619 | 0.007978 | 0.001907 | 4.7592e-06 | 0.03559 | 0.011439 | 70.4759 | 0.00094593
83 | 2.1979e-06 | 0.18862 | 0.020292 | 0.19451 | 7.1467 |  |  |  |  | 7.9994 | 8.5179 | 8.2439 | 0.083007 | 0.010656 | 0.07748 | 0.0087625 | 0.0020189 | 5.221e-06 | 0.037011 | 0.012304 | 71.6891 | 0.0010019
84 | 2.0696e-06 | 0.19914 | 0.022596 | 0.20527 | 7.1467 |  |  |  |  | 7.9879 | 8.4896 | 8.241 | 0.087529 | 0.011636 | 0.081775 | 0.009707 | 0.0021448 | 5.7775e-06 | 0.038555 | 0.013325 | 73.0421 | 0.0010648
85 | 1.9314e-06 | 0.21091 | 0.025428 | 0.21727 | 7.1466 |  |  |  |  | 7.9759 | 8.4587 | 8.2382 | 0.092589 | 0.01283 | 0.086579 | 0.010862 | 0.0022874 | 6.4591e-06 | 0.040237 | 0.014544 | 74.5622 | 0.0011361
86 | 4.7929e-06 | 0.22416 | 0.011917 | 0.23503 | 11.9966 |  |  |  |  | 7.9633 | 8.7699 | 8.2503 | 0.098286 | 0.0076952 | 0.091988 | 0.0055474 | 0.0024503 | 2.5881e-06 | 0.042072 | 0.0084359 | 75.0637 | 0.0012176
87 | 4.5508e-06 | 0.24049 | 0.013436 | 0.25227 | 11.9953 |  |  |  |  | 7.9475 | 8.694 | 8.2224 | 0.10525 | 0.0082834 | 0.098637 | 0.0062773 | 0.0026386 | 3.6064e-06 | 0.04466 | 0.0090719 | 75.6551 | 0.0013116
88 | 4.2759e-06 | 0.25941 | 0.015375 | 0.27217 | 11.9953 |  |  |  |  | 7.9321 | 8.6604 | 8.2186 | 0.11334 | 0.0091852 | 0.10633 | 0.0071087 | 0.0028581 | 4.0587e-06 | 0.047625 | 0.010031 | 76.3843 | 0.0014214
89 | 3.9612e-06 | 0.28159 | 0.017931 | 0.29538 | 11.9952 |  |  |  |  | 7.9158 | 8.6217 | 8.2149 | 0.1228 | 0.010348 | 0.11535 | 0.0081908 | 0.0031176 | 4.6528e-06 | 0.051043 | 0.011261 | 77.2887 | 0.001551
90 | 3.5991e-06 | 0.30796 | 0.021432 | 0.32275 | 11.9952 |  |  |  |  | 7.8984 | 8.5767 | 8.2116 | 0.13405 | 0.011904 | 0.12607 | 0.0096521 | 0.0034289 | 5.4558e-06 | 0.055021 | 0.012894 | 78.4246 | 0.0017066
91 | 3.1819e-06 | 0.33979 | 0.026469 | 0.35546 | 11.9951 |  |  |  |  | 7.8796 | 8.5231 | 8.2088 | 0.14762 | 0.014088 | 0.13901 | 0.011723 | 0.0038093 | 6.598e-06 | 0.059702 | 0.015161 | 79.8811 | 0.0018967
92 | 2.7038e-06 | 0.37896 | 0.034179 | 0.39517 | 11.9951 |  |  |  |  | 7.8593 | 8.4576 | 8.2067 | 0.16431 | 0.017347 | 0.15492 | 0.014848 | 0.0042846 | 8.332e-06 | 0.06527 | 0.018485 | 81.8071 | 0.0021343
93 | 2.167e-06 | 0.42821 | 0.046945 | 0.44432 | 11.9928 |  |  |  |  | 7.837 | 8.3761 | 8.2055 | 0.18531 | 0.02261 | 0.17493 | 0.019949 | 0.0048955 | 1.1188e-05 | 0.071953 | 0.023688 | 84.4676 | 0.0024397
94 | 1.6016e-06 | 0.49176 | 0.069841 | 0.50677 | 11.9926 |  |  |  |  | 7.8122 | 8.2775 | 8.2061 | 0.21242 | 0.031847 | 0.20076 | 0.028983 | 0.0057096 | 1.6265e-05 | 0.079997 | 0.032269 | 88.3377 | 0.0028466