## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate
0 | 5.7012e-06 | 0.036947 | 0.00017411 | 0.039361 | 5.6 | 19.1342 | 19.1051 | 18.9961 | 18.616 | 7.1313 | 5.32 | 7.2052 | 0.013859 | 0.00015412 | 0.015321 | 0.0018054 | 0.00034432 | 5.4092e-07 | 0.010467 | 0.0019887 | 27.8641 | 6.0632e-05
1 | 5.6898e-06 | 0.037318 | 0.00017628 | 0.039774 | 5.6 |  |  |  |  | 7.1333 | 5.3629 | 7.2304 | 0.013998 | 0.0001625 | 0.015458 | 0.0017319 | 0.00034779 | 3.3931e-07 | 0.010552 | 0.0020358 | 28.1942 | 6.3089e-05
2 | 5.6778e-06 | 0.037697 | 0.00017853 | 0.040196 | 5.6 |  |  |  |  | 7.1351 | 5.3696 | 7.2346 | 0.014139 | 0.00016506 | 0.015598 | 0.0017328 | 0.00035134 | 3.3706e-07 | 0.010639 | 0.0020576 | 28.4059 | 6.5552e-05
3 | 5.6655e-06 | 0.038084 | 0.00018083 | 0.040626 | 5.6 |  |  |  |  | 7.137 | 5.376 | 7.2386 | 0.014283 | 0.00016763 | 0.015741 | 0.0017348 | 0.00035495 | 3.3736e-07 | 0.010728 | 0.0020798 | 28.5896 | 6.8057e-05
4 | 5.653e-06 | 0.038479 | 0.00018319 | 0.041065 | 5.5999 |  |  |  |  | 7.1389 | 5.3825 | 7.2426 | 0.01443 | 0.00017026 | 0.015887 | 0.0017369 | 0.00035865 | 3.3766e-07 | 0.010818 | 0.0021026 | 28.7635 | 7.0606e-05
5 | 5.6402e-06 | 0.038882 | 0.00018561 | 0.041514 | 5.5999 |  |  |  |  | 7.1408 | 5.3891 | 7.2466 | 0.01458 | 0.00017296 | 0.016036 | 0.001739 | 0.00036242 | 3.3795e-07 | 0.01091 | 0.0021258 | 28.9338 | 7.3198e-05
6 | 5.6271e-06 | 0.039294 | 0.00018809 | 0.041973 | 5.5999 |  |  |  |  | 7.1427 | 5.3957 | 7.2507 | 0.014733 | 0.00017574 | 0.016188 | 0.0017412 | 0.00036627 | 3.3823e-07 | 0.011003 | 0.0021497 | 29.1031 | 7.5838e-05
7 | 5.6137e-06 | 0.039714 | 0.00019064 | 0.042441 | 5.5999 |  |  |  |  | 7.1446 | 5.4025 | 7.2548 | 0.01489 | 0.00017859 | 0.016343 | 0.0017434 | 0.00037021 | 3.385e-07 | 0.011098 | 0.002174 | 29.2727 | 7.8524e-05
8 | 5.6001e-06 | 0.040144 | 0.00019326 | 0.042921 | 5.5999 |  |  |  |  | 7.1466 | 5.4093 | 7.259 | 0.01505 | 0.00018152 | 0.016502 | 0.0017457 | 0.00037423 | 3.3876e-07 | 0.011195 | 0.002199 | 29.4436 | 8.1258e-05
9 | 5.5861e-06 | 0.040583 | 0.00019596 | 0.04341 | 5.5999 |  |  |  |  | 7.1486 | 5.4162 | 7.2631 | 0.015213 | 0.00018453 | 0.016664 | 0.001748 | 0.00037834 | 3.3901e-07 | 0.011294 | 0.0022246 | 29.6161 | 8.4043e-05
10 | 5.5718e-06 | 0.041032 | 0.00019872 | 0.043912 | 5.5998 |  |  |  |  | 7.1505 | 5.4232 | 7.2674 | 0.01538 | 0.00018763 | 0.01683 | 0.0017504 | 0.00038254 | 3.3924e-07 | 0.011395 | 0.0022508 | 29.7907 | 8.688e-05
11 | 5.5572e-06 | 0.04149 | 0.00020157 | 0.044424 | 5.5998 |  |  |  |  | 7.1525 | 5.4303 | 7.2717 | 0.015551 | 0.00019082 | 0.016999 | 0.0017528 | 0.00038683 | 3.3947e-07 | 0.011498 | 0.0022777 | 29.9676 | 8.977e-05
12 | 5.5423e-06 | 0.04196 | 0.0002045 | 0.044949 | 5.5998 |  |  |  |  | 7.1545 | 5.4375 | 7.276 | 0.015725 | 0.00019409 | 0.017173 | 0.0017553 | 0.00039122 | 3.3968e-07 | 0.011602 | 0.0023053 | 30.1469 | 9.2714e-05
13 | 5.527e-06 | 0.042439 | 0.00020751 | 0.045485 | 5.5998 |  |  |  |  | 7.1566 | 5.4448 | 7.2804 | 0.015904 | 0.00019746 | 0.01735 | 0.0017579 | 0.00039572 | 3.3989e-07 | 0.011709 | 0.0023336 | 30.329 | 9.5715e-05
14 | 5.5114e-06 | 0.042931 | 0.00021061 | 0.046035 | 5.5998 |  |  |  |  | 7.1586 | 5.4522 | 7.2848 | 0.016087 | 0.00020094 | 0.017531 | 0.0017605 | 0.00040031 | 3.4007e-07 | 0.011818 | 0.0023626 | 30.5139 | 9.8775e-05
15 | 5.4954e-06 | 0.043433 | 0.0002138 | 0.046598 | 5.5998 |  |  |  |  | 7.1607 | 5.4597 | 7.2892 | 0.016273 | 0.00020451 | 0.017717 | 0.0017632 | 0.00040502 | 3.4025e-07 | 0.01193 | 0.0023924 | 30.7017 | 0.0001019
16 | 5.479e-06 | 0.043948 | 0.00021709 | 0.047174 | 5.5998 |  |  |  |  | 7.1627 | 5.4673 | 7.2937 | 0.016465 | 0.0002082 | 0.017906 | 0.001766 | 0.00040984 | 3.4041e-07 | 0.012043 | 0.002423 | 30.8927 | 0.00010508
17 | 5.4622e-06 | 0.044475 | 0.00022048 | 0.047765 | 5.5997 |  |  |  |  | 7.1648 | 5.475 | 7.2983 | 0.016661 | 0.00021199 | 0.018101 | 0.0017689 | 0.00041477 | 3.4056e-07 | 0.012159 | 0.0024544 | 31.087 | 0.00010832
18 | 5.445e-06 | 0.045014 | 0.00022398 | 0.04837 | 5.5997 |  |  |  |  | 7.1669 | 5.4828 | 7.3029 | 0.016861 | 0.0002159 | 0.0183 | 0.0017718 | 0.00041982 | 3.407e-07 | 0.012277 | 0.0024867 | 31.2846 | 0.00011164
19 | 5.4273e-06 | 0.045567 | 0.00022759 | 0.048991 | 5.5997 |  |  |  |  | 7.1691 | 5.4907 | 7.3075 | 0.017067 | 0.00021994 | 0.018504 | 0.0017749 | 0.000425 | 3.4083e-07 | 0.012398 | 0.0025199 | 31.4857 | 0.00011502
20 | 5.4093e-06 | 0.046134 | 0.00023131 | 0.049628 | 5.5997 |  |  |  |  | 7.1712 | 5.4988 | 7.3122 | 0.017277 | 0.0002241 | 0.018713 | 0.001778 | 0.00043031 | 3.4094e-07 | 0.012522 | 0.0025541 | 31.6904 | 0.00011847
21 | 5.3907e-06 | 0.046715 | 0.00023515 | 0.05028 | 5.5997 |  |  |  |  | 7.1734 | 5.5069 | 7.317 | 0.017493 | 0.00022839 | 0.018928 | 0.0017812 | 0.00043575 | 3.4104e-07 | 0.012648 | 0.0025892 | 31.8989 | 0.000122
22 | 5.3717e-06 | 0.047311 | 0.00023913 | 0.05095 | 5.5997 |  |  |  |  | 7.1755 | 5.5152 | 7.3218 | 0.017715 | 0.00023282 | 0.019147 | 0.0017845 | 0.00044134 | 3.4112e-07 | 0.012777 | 0.0026254 | 32.1113 | 0.0001256
23 | 5.3522e-06 | 0.047922 | 0.00024323 | 0.051638 | 5.5996 |  |  |  |  | 7.1777 | 5.5236 | 7.3267 | 0.017942 | 0.0002374 | 0.019373 | 0.0017879 | 0.00044706 | 3.4118e-07 | 0.012909 | 0.0026626 | 32.3278 | 0.00012928
24 | 5.3322e-06 | 0.04855 | 0.00024748 | 0.052344 | 5.5996 |  |  |  |  | 7.18 | 5.5321 | 7.3316 | 0.018174 | 0.00024213 | 0.019604 | 0.0017914 | 0.00045294 | 3.4124e-07 | 0.013043 | 0.002701 | 32.5484 | 0.00013305
25 | 5.3116e-06 | 0.049194 | 0.00025188 | 0.053069 | 5.5996 |  |  |  |  | 7.1822 | 5.5408 | 7.3365 | 0.018414 | 0.00024702 | 0.019842 | 0.001795 | 0.00045898 | 3.4128e-07 | 0.013181 | 0.0027405 | 32.7734 | 0.0001369
26 | 5.2905e-06 | 0.049855 | 0.00025643 | 0.053815 | 5.5996 |  |  |  |  | 7.1844 | 5.5496 | 7.3416 | 0.018659 | 0.00025207 | 0.020086 | 0.0017987 | 0.00046517 | 3.413e-07 | 0.013322 | 0.0027813 | 33.0028 | 0.00014083
27 | 5.2688e-06 | 0.050534 | 0.00026114 | 0.054581 | 5.5996 |  |  |  |  | 7.1867 | 5.5585 | 7.3467 | 0.018911 | 0.0002573 | 0.020336 | 0.0018025 | 0.00047154 | 3.4132e-07 | 0.013467 | 0.0028234 | 33.237 | 0.00014486
28 | 5.2465e-06 | 0.051233 | 0.00026603 | 0.055368 | 5.5996 |  |  |  |  | 7.189 | 5.5676 | 7.3518 | 0.01917 | 0.00026271 | 0.020594 | 0.0018065 | 0.00047808 | 3.4131e-07 | 0.013615 | 0.0028668 | 33.4759 | 0.00014898
29 | 5.2236e-06 | 0.05195 | 0.0002711 | 0.056178 | 5.5995 |  |  |  |  | 7.1913 | 5.5768 | 7.357 | 0.019437 | 0.00026831 | 0.020858 | 0.0018106 | 0.00048481 | 3.413e-07 | 0.013766 | 0.0029116 | 33.7199 | 0.00015321
30 | 5.2e-06 | 0.052689 | 0.00027637 | 0.057012 | 5.5995 |  |  |  |  | 7.1936 | 5.5861 | 7.3623 | 0.01971 | 0.00027411 | 0.02113 | 0.0018148 | 0.00049173 | 3.4127e-07 | 0.013921 | 0.0029579 | 33.969 | 0.00015753
31 | 5.1757e-06 | 0.053448 | 0.00028184 | 0.05787 | 5.5995 |  |  |  |  | 7.196 | 5.5956 | 7.3676 | 0.019992 | 0.00028012 | 0.02141 | 0.0018192 | 0.00049886 | 3.4122e-07 | 0.01408 | 0.0030058 | 34.2236 | 0.00016196
32 | 5.1507e-06 | 0.05423 | 0.00028752 | 0.058753 | 5.5995 |  |  |  |  | 7.1983 | 5.6053 | 7.373 | 0.020282 | 0.00028635 | 0.021698 | 0.0018238 | 0.00050619 | 3.4117e-07 | 0.014243 | 0.0030554 | 34.4838 | 0.0001665
33 | 5.125e-06 | 0.055035 | 0.00029343 | 0.059664 | 5.5995 |  |  |  |  | 7.2007 | 5.6151 | 7.3784 | 0.02058 | 0.00029281 | 0.021995 | 0.0018285 | 0.00051374 | 3.411e-07 | 0.01441 | 0.0031066 | 34.7497 | 0.00017116
34 | 5.0985e-06 | 0.055865 | 0.00029959 | 0.060602 | 5.5994 |  |  |  |  | 7.2031 | 5.6251 | 7.3839 | 0.020888 | 0.00029951 | 0.022301 | 0.0018334 | 0.00052152 | 3.4102e-07 | 0.014581 | 0.0031597 | 35.0218 | 0.00017594
35 | 5.0712e-06 | 0.05672 | 0.000306 | 0.061569 | 5.5994 |  |  |  |  | 7.2055 | 5.6352 | 7.3895 | 0.021205 | 0.00030647 | 0.022615 | 0.0018384 | 0.00052953 | 3.4093e-07 | 0.014757 | 0.0032147 | 35.3001 | 0.00018085
36 | 5.043e-06 | 0.057601 | 0.00031269 | 0.062567 | 5.5994 |  |  |  |  | 7.208 | 5.6455 | 7.3952 | 0.021531 | 0.0003137 | 0.02294 | 0.0018437 | 0.0005378 | 3.4083e-07 | 0.014937 | 0.0032718 | 35.585 | 0.00018589
37 | 5.014e-06 | 0.05851 | 0.00031967 | 0.063597 | 5.5994 |  |  |  |  | 7.2104 | 5.656 | 7.4009 | 0.021868 | 0.00032122 | 0.023275 | 0.0018492 | 0.00054633 | 3.4072e-07 | 0.015122 | 0.003331 | 35.8767 | 0.00019106
38 | 4.984e-06 | 0.059449 | 0.00032696 | 0.06466 | 5.5994 |  |  |  |  | 7.2129 | 5.6666 | 7.4067 | 0.022215 | 0.00032903 | 0.023621 | 0.0018548 | 0.00055514 | 3.406e-07 | 0.015312 | 0.0033924 | 36.1756 | 0.00019638
39 | 4.953e-06 | 0.060418 | 0.00033458 | 0.065759 | 5.5994 |  |  |  |  | 7.2154 | 5.6775 | 7.4126 | 0.022574 | 0.00033715 | 0.023977 | 0.0018608 | 0.00056424 | 3.4048e-07 | 0.015508 | 0.0034563 | 36.4818 | 0.00020185
40 | 4.9211e-06 | 0.06142 | 0.00034256 | 0.066894 | 5.5993 |  |  |  |  | 7.2179 | 5.6885 | 7.4186 | 0.022945 | 0.00034561 | 0.024346 | 0.0018669 | 0.00057363 | 3.4036e-07 | 0.015709 | 0.0035227 | 36.7958 | 0.00020748
41 | 4.888e-06 | 0.062455 | 0.00035091 | 0.068068 | 5.5993 |  |  |  |  | 7.2205 | 5.6997 | 7.4246 | 0.023328 | 0.00035442 | 0.024727 | 0.0018734 | 0.00058335 | 3.4023e-07 | 0.015915 | 0.0035918 | 37.118 | 0.00021327
42 | 4.8539e-06 | 0.063525 | 0.00035967 | 0.069282 | 5.5993 |  |  |  |  | 7.223 | 5.7112 | 7.4307 | 0.023724 | 0.0003636 | 0.025121 | 0.0018801 | 0.0005934 | 3.4011e-07 | 0.016128 | 0.0036638 | 37.4486 | 0.00021924
43 | 4.8185e-06 | 0.064634 | 0.00036887 | 0.070539 | 5.5993 |  |  |  |  | 7.2256 | 5.7228 | 7.4369 | 0.024134 | 0.00037317 | 0.025529 | 0.0018871 | 0.00060381 | 3.3999e-07 | 0.016346 | 0.0037388 | 37.788 | 0.00022539
44 | 4.7819e-06 | 0.065781 | 0.00037854 | 0.071841 | 5.5993 |  |  |  |  | 7.2282 | 5.7346 | 7.4431 | 0.024558 | 0.00038316 | 0.025951 | 0.0018944 | 0.00061458 | 3.3989e-07 | 0.016572 | 0.0038171 | 38.1368 | 0.00023173
45 | 4.744e-06 | 0.06697 | 0.00038871 | 0.07319 | 5.5992 |  |  |  |  | 7.2308 | 5.7467 | 7.4495 | 0.024998 | 0.00039359 | 0.026388 | 0.0019021 | 0.00062575 | 3.398e-07 | 0.016803 | 0.0038988 | 38.4952 | 0.00023827
46 | 5.9768e-06 | 0.068203 | 0.00029148 | 0.072459 | 6.6492 |  |  |  |  | 7.2334 | 5.6701 | 7.4242 | 0.025453 | 0.00034931 | 0.026842 | 0.0019579 | 0.00063733 | 3.7483e-07 | 0.017042 | 0.0032137 | 38.6342 | 0.00024503
47 | 5.9377e-06 | 0.069485 | 0.00029908 | 0.073864 | 6.6492 |  |  |  |  | 7.2363 | 5.6671 | 7.4229 | 0.025927 | 0.00035441 | 0.027311 | 0.0019969 | 0.00064935 | 4.2367e-07 | 0.017303 | 0.0032807 | 38.7869 | 0.00025205
48 | 5.8972e-06 | 0.070815 | 0.00030708 | 0.075324 | 6.6492 |  |  |  |  | 7.2394 | 5.6789 | 7.4293 | 0.026419 | 0.00036435 | 0.027798 | 0.0020059 | 0.00066183 | 4.2613e-07 | 0.017573 | 0.003354 | 38.9544 | 0.00025932
49 | 5.8551e-06 | 0.072198 | 0.00031551 | 0.076841 | 6.6492 |  |  |  |  | 7.2424 | 5.6911 | 7.4357 | 0.02693 | 0.00037477 | 0.028304 | 0.0020151 | 0.0006748 | 4.2849e-07 | 0.017852 | 0.0034308 | 39.1367 | 0.00026684
50 | 5.8113e-06 | 0.073635 | 0.0003244 | 0.078419 | 6.6492 |  |  |  |  | 7.2455 | 5.7034 | 7.4423 | 0.027461 | 0.00038568 | 0.02883 | 0.0020247 | 0.00068829 | 4.3095e-07 | 0.01814 | 0.0035114 | 39.334 | 0.00027463
51 | 5.7649e-06 | 0.075132 | 0.00033385 | 0.080061 | 6.6485 |  |  |  |  | 7.2487 | 5.716 | 7.4489 | 0.028013 | 0.00039712 | 0.029377 | 0.0020349 | 0.00070232 | 4.3364e-07 | 0.018439 | 0.0035963 | 39.5466 | 0.0002827
52 | 5.7175e-06 | 0.07669 | 0.0003438 | 0.081773 | 6.6484 |  |  |  |  | 7.2518 | 5.7289 | 7.4557 | 0.028589 | 0.0004091 | 0.029946 | 0.0020455 | 0.00071695 | 4.3634e-07 | 0.018748 | 0.0036851 | 39.7746 | 0.00029106
53 | 5.668e-06 | 0.078314 | 0.00035436 | 0.083557 | 6.6484 |  |  |  |  | 7.255 | 5.742 | 7.4626 | 0.029188 | 0.00042168 | 0.03054 | 0.0020566 | 0.00073219 | 4.3921e-07 | 0.019069 | 0.0037786 | 40.0184 | 0.00029974
54 | 5.6165e-06 | 0.080009 | 0.00036556 | 0.085419 | 6.6484 |  |  |  |  | 7.2583 | 5.7553 | 7.4695 | 0.029814 | 0.00043488 | 0.031159 | 0.0020683 | 0.0007481 | 4.4225e-07 | 0.019401 | 0.0038771 | 40.2785 | 0.00030876
55 | 5.5627e-06 | 0.081779 | 0.00037748 | 0.087363 | 6.6484 |  |  |  |  | 7.2615 | 5.7689 | 7.4766 | 0.030466 | 0.00044876 | 0.031806 | 0.0020806 | 0.00076471 | 4.4546e-07 | 0.019746 | 0.003981 | 40.5552 | 0.00031813
56 | 5.5065e-06 | 0.083629 | 0.00039019 | 0.089396 | 6.6484 |  |  |  |  | 7.2648 | 5.7827 | 7.4837 | 0.031149 | 0.00046335 | 0.032481 | 0.0020936 | 0.00078208 | 4.4889e-07 | 0.020104 | 0.0040908 | 40.8493 | 0.00032789
57 | 5.4478e-06 | 0.085565 | 0.00040376 | 0.091522 | 6.6483 |  |  |  |  | 7.2681 | 5.7969 | 7.491 | 0.031862 | 0.00047873 | 0.033188 | 0.0021072 | 0.00080026 | 4.5255e-07 | 0.020477 | 0.004207 | 41.1613 | 0.00033805
58 | 5.3863e-06 | 0.087592 | 0.00041828 | 0.09375 | 6.6483 |  |  |  |  | 7.2715 | 5.8113 | 7.4984 | 0.032609 | 0.00049493 | 0.033928 | 0.0021217 | 0.0008193 | 4.5647e-07 | 0.020864 | 0.0043302 | 41.4919 | 0.00034865
59 | 5.3219e-06 | 0.089718 | 0.00043386 | 0.096084 | 6.6483 |  |  |  |  | 7.2748 | 5.826 | 7.506 | 0.033393 | 0.00051203 | 0.034704 | 0.0021371 | 0.00083928 | 4.6068e-07 | 0.021267 | 0.004461 | 41.8421 | 0.00035972
60 | 5.2544e-06 | 0.091951 | 0.00045062 | 0.098534 | 6.6483 |  |  |  |  | 7.2783 | 5.841 | 7.5136 | 0.034215 | 0.00053009 | 0.035518 | 0.0021533 | 0.00086025 | 4.6523e-07 | 0.021687 | 0.0046002 | 42.2128 | 0.00037129
61 | 5.1836e-06 | 0.094297 | 0.00046868 | 0.10111 | 6.6483 |  |  |  |  | 7.2817 | 5.8563 | 7.5214 | 0.035078 | 0.00054921 | 0.036373 | 0.0021706 | 0.00088229 | 4.7016e-07 | 0.022126 | 0.0047486 | 42.605 | 0.0003834
62 | 5.1091e-06 | 0.096766 | 0.00048821 | 0.10382 | 6.6482 |  |  |  |  | 7.2852 | 5.872 | 7.5292 | 0.035987 | 0.00056947 | 0.037273 | 0.002189 | 0.0009055 | 4.7553e-07 | 0.022583 | 0.0049071 | 43.0201 | 0.0003961
63 | 5.0308e-06 | 0.099368 | 0.00050939 | 0.10667 | 6.6482 |  |  |  |  | 7.2887 | 5.888 | 7.5373 | 0.036944 | 0.00059099 | 0.038222 | 0.0022087 | 0.00092996 | 4.8141e-07 | 0.023061 | 0.0050768 | 43.4593 | 0.00040942
64 | 4.9483e-06 | 0.10211 | 0.00053243 | 0.10967 | 6.6482 |  |  |  |  | 7.2922 | 5.9044 | 7.5454 | 0.037954 | 0.00061388 | 0.039222 | 0.0022297 | 0.00095578 | 4.8787e-07 | 0.02356 | 0.005259 | 43.9243 | 0.00042342
65 | 4.8613e-06 | 0.10502 | 0.00055759 | 0.11284 | 6.6482 |  |  |  |  | 7.2958 | 5.9212 | 7.5537 | 0.039021 | 0.0006383 | 0.040279 | 0.0022523 | 0.00098307 | 4.9501e-07 | 0.024083 | 0.0054551 | 44.4168 | 0.00043816
66 | 4.7694e-06 | 0.10809 | 0.00058516 | 0.1162 | 6.6481 |  |  |  |  | 7.2994 | 5.9384 | 7.5621 | 0.04015 | 0.00066443 | 0.041397 | 0.0022766 | 0.001012 | 5.0296e-07 | 0.024631 | 0.0056667 | 44.9389 | 0.00045371
67 | 4.6723e-06 | 0.11135 | 0.0006155 | 0.11975 | 6.6481 |  |  |  |  | 7.303 | 5.9562 | 7.5706 | 0.041346 | 0.00069246 | 0.042583 | 0.0023028 | 0.0010426 | 5.1184e-07 | 0.025206 | 0.0058958 | 45.4929 | 0.00047013
68 | 4.5695e-06 | 0.11481 | 0.00064905 | 0.12351 | 6.6481 |  |  |  |  | 7.3067 | 5.9744 | 7.5793 | 0.042617 | 0.00072264 | 0.043841 | 0.0023312 | 0.0010752 | 5.2184e-07 | 0.025809 | 0.0061446 | 46.0812 | 0.00048751
69 | 4.4605e-06 | 0.11849 | 0.00068633 | 0.1275 | 6.6481 |  |  |  |  | 7.3103 | 5.9932 | 7.5881 | 0.043968 | 0.00075525 | 0.04518 | 0.0023621 | 0.0011099 | 5.3317e-07 | 0.026443 | 0.0064159 | 46.7071 | 0.00050593
70 | 4.3447e-06 | 0.12242 | 0.00072799 | 0.13175 | 6.648 |  |  |  |  | 7.3141 | 6.0127 | 7.597 | 0.045409 | 0.00079064 | 0.046608 | 0.0023959 | 0.0011468 | 5.4611e-07 | 0.027111 | 0.0067127 | 47.3739 | 0.00052552
71 | 7.2605e-06 | 0.12661 | 0.00047754 | 0.13591 | 7.148 |  |  |  |  | 7.3178 | 5.9686 | 7.6024 | 0.046947 | 0.0007109 | 0.048132 | 0.0023282 | 0.0011864 | 3.3693e-07 | 0.027814 | 0.0046851 | 47.6277 | 0.00054638
72 | 7.0609e-06 | 0.13112 | 0.00050856 | 0.14078 | 7.148 |  |  |  |  | 7.3216 | 5.94 | 7.5908 | 0.048599 | 0.00071895 | 0.049768 | 0.0024646 | 0.0012287 | 4.3929e-07 | 0.02864 | 0.0049155 | 47.9187 | 0.00056863
73 | 6.8475e-06 | 0.13595 | 0.00054374 | 0.14598 | 7.148 |  |  |  |  | 7.3258 | 5.9608 | 7.6001 | 0.050372 | 0.00075605 | 0.05152 | 0.002502 | 0.0012742 | 4.5434e-07 | 0.029519 | 0.0051949 | 48.2547 | 0.0005925
74 | 6.619e-06 | 0.14116 | 0.00058394 | 0.15156 | 7.148 |  |  |  |  | 7.33 | 5.983 | 7.6096 | 0.05228 | 0.00079706 | 0.053405 | 0.0025422 | 0.0013232 | 4.7075e-07 | 0.030455 | 0.005508 | 48.6403 | 0.00061811
75 | 6.372e-06 | 0.14679 | 0.00063047 | 0.15756 | 7.1469 |  |  |  |  | 7.3343 | 6.0061 | 7.6194 | 0.05434 | 0.00084231 | 0.05544 | 0.0025868 | 0.0013761 | 4.9011e-07 | 0.031452 | 0.0058623 | 49.0811 | 0.00064568
76 | 6.1084e-06 | 0.15288 | 0.00068452 | 0.16402 | 7.1469 |  |  |  |  | 7.3386 | 6.0303 | 7.6292 | 0.056569 | 0.00089246 | 0.057642 | 0.0026363 | 0.0014334 | 5.127e-07 | 0.032519 | 0.0062638 | 49.5834 | 0.00067545
77 | 5.8245e-06 | 0.15949 | 0.00074826 | 0.17099 | 7.1469 |  |  |  |  | 7.343 | 6.0554 | 7.6391 | 0.058989 | 0.00094832 | 0.060034 | 0.0026921 | 0.0014957 | 5.3983e-07 | 0.03366 | 0.0067243 | 50.1556 | 0.0007077
78 | 5.5179e-06 | 0.16671 | 0.00082448 | 0.17854 | 7.1469 |  |  |  |  | 7.3474 | 6.0816 | 7.6492 | 0.061628 | 0.0010109 | 0.06264 | 0.0027555 | 0.0015637 | 5.7287e-07 | 0.034884 | 0.0072581 | 50.808 | 0.00074278
79 | 5.1863e-06 | 0.17461 | 0.00091716 | 0.18672 | 7.1468 |  |  |  |  | 7.3517 | 6.1089 | 7.6592 | 0.064514 | 0.0010818 | 0.065492 | 0.0028284 | 0.0016381 | 6.139e-07 | 0.0362 | 0.0078843 | 51.5537 | 0.00078109
80 | 4.8266e-06 | 0.18329 | 0.0010321 | 0.19563 | 7.1468 |  |  |  |  | 7.3562 | 6.1375 | 7.6692 | 0.067686 | 0.0011628 | 0.068625 | 0.0029134 | 0.00172 | 6.6603e-07 | 0.037616 | 0.0086297 | 52.41 | 0.00082312
81 | 4.4359e-06 | 0.19288 | 0.0011782 | 0.20534 | 7.1468 |  |  |  |  | 7.3606 | 6.1674 | 7.6792 | 0.071187 | 0.0012568 | 0.072084 | 0.0030146 | 0.0018105 | 7.3415e-07 | 0.039141 | 0.0095325 | 53.3996 | 0.00086944
82 | 4.0106e-06 | 0.20353 | 0.0013698 | 0.21597 | 7.1467 |  |  |  |  | 7.3651 | 6.1991 | 7.6889 | 0.075072 | 0.0013685 | 0.075921 | 0.0031378 | 0.001911 | 8.2629e-07 | 0.040786 | 0.010649 | 54.5539 | 0.00092079
83 | 3.547e-06 | 0.21543 | 0.0016311 | 0.22763 | 7.1467 |  |  |  |  | 7.3696 | 6.2331 | 7.6982 | 0.079407 | 0.0015053 | 0.080202 | 0.0032931 | 0.0020234 | 9.5663e-07 | 0.042559 | 0.012068 | 55.9174 | 0.00097805
84 | 3.0416e-06 | 0.22879 | 0.002007 | 0.24046 | 7.1467 |  |  |  |  | 7.3742 | 6.2706 | 7.707 | 0.084276 | 0.0016813 | 0.085009 | 0.0034978 | 0.0021498 | 1.1521e-06 | 0.044465 | 0.01393 | 57.5557 | 0.0010423
85 | 2.4919e-06 | 0.24391 | 0.0025894 | 0.25464 | 7.1466 |  |  |  |  | 7.3788 | 6.3143 | 7.7147 | 0.089783 | 0.0019253 | 0.090443 | 0.0037863 | 0.002293 | 1.4702e-06 | 0.0465 | 0.016482 | 59.5717 | 0.001115
86 | 1.0901e-05 | 0.26114 | 0.000653 | 0.29249 | 11.9966 |  |  |  |  | 7.3837 | 6.6631 | 7.8496 | 0.096058 | 0.001836 | 0.096633 | 0.0026464 | 0.0024567 | 1.0438e-07 | 0.048645 | 0.0068013 | 59.9823 | 0.001198
87 | 9.9245e-06 | 0.28118 | 0.00076955 | 0.31391 | 11.9953 |  |  |  |  | 7.3835 | 6.3076 | 7.7661 | 0.10331 | 0.0016737 | 0.10386 | 0.0033803 | 0.0026457 | 3.7961e-07 | 0.051863 | 0.0074568 | 60.4879 | 0.0012931
88 | 8.8224e-06 | 0.30455 | 0.00093251 | 0.33824 | 11.9953 |  |  |  |  | 7.387 | 6.3414 | 7.7762 | 0.11178 | 0.001844 | 0.11224 | 0.0035714 | 0.0028661 | 4.4449e-07 | 0.055564 | 0.0086819 | 61.1751 | 0.0014043
89 | 7.5704e-06 | 0.33215 | 0.0011754 | 0.36602 | 11.9952 |  |  |  |  | 7.3903 | 6.3828 | 7.7878 | 0.12177 | 0.0020591 | 0.12211 | 0.0037968 | 0.0031267 | 5.342e-07 | 0.059826 | 0.0104 | 62.1143 | 0.0015354
90 | 6.1442e-06 | 0.36525 | 0.0015732 | 0.39788 | 11.9952 |  |  |  |  | 7.3934 | 6.4241 | 7.798 | 0.13374 | 0.0023355 | 0.13395 | 0.004106 | 0.0034393 | 6.8849e-07 | 0.064769 | 0.01298 | 63.4303 | 0.0016927
91 | 4.5208e-06 | 0.40566 | 0.0023321 | 0.43461 | 11.9951 |  |  |  |  | 7.3963 | 6.4661 | 7.8059 | 0.14834 | 0.0027358 | 0.14837 | 0.0045852 | 0.0038213 | 1.0028e-06 | 0.070523 | 0.017332 | 65.3803 | 0.0018846
92 | 2.6956e-06 | 0.45607 | 0.0042795 | 0.47725 | 11.9951 |  |  |  |  | 7.3991 | 6.5231 | 7.809 | 0.16654 | 0.0035236 | 0.16635 | 0.0055486 | 0.0042989 | 1.8811e-06 | 0.077172 | 0.026265 | 68.6343 | 0.0021243
93 | 8.6815e-07 | 0.52062 | 0.014458 | 0.52908 | 11.9928 |  |  |  |  | 7.4024 | 6.7212 | 7.8056 | 0.18983 | 0.0070813 | 0.18932 | 0.0094566 | 0.0049127 | 6.8979e-06 | 0.084444 | 0.050689 | 75.4595 | 0.0024322
94 | 1.8331e-07 | 0.60498 | 0.071293 | 0.60712 | 11.9926 |  |  |  |  | 7.4068 | 7.1701 | 7.8261 | 0.22029 | 0.026633 | 0.21929 | 0.029176 | 0.0057304 | 3.2951e-05 | 0.09007 | 0.078748 | 86.2792 | 0.0028422
95 | 8.1183e-08 | 0.71171 | 0.16469 | 0.71285 | 11.9924 |  |  |  |  | 0 | 0 | 0 | 0.25902 | 0 | 0.25732 | 0 | 0.0068699 | 0 | 0.092334 | 0 | 85.3805 | 0