## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | Ntp_Accum_mgl | SI_Armp_CaPhosphate
0 | 5.7012e-06 | 0.036947 | 0.00017411 | 0.039361 | 5.6 | 19.1342 | 19.1051 | 18.9961 | 18.616 | 7.1313 | 5.3035 | 7.2052 | 0.013859 | 0.00014816 | 0.015321 | 0.0018054 | 0.00034432 | 5.4092e-07 | 0.010467 | 0.0017192 | 24.087 | 27.8641 | 6.0632e-05
1 | 5.6898e-06 | 0.037318 | 0.00017628 | 0.039774 | 5.6 |  |  |  |  | 7.1333 | 5.3402 | 7.2273 | 0.013998 | 0.00015517 | 0.015458 | 0.0017424 | 0.00034779 | 3.6633e-07 | 0.010555 | 0.0017609 | 24.3797 | 28.1942 | 6.3089e-05
2 | 5.6778e-06 | 0.037697 | 0.00017853 | 0.040196 | 5.6 |  |  |  |  | 7.1352 | 5.3469 | 7.2315 | 0.014139 | 0.00015762 | 0.015598 | 0.0017435 | 0.00035134 | 3.6462e-07 | 0.010645 | 0.0017808 | 24.5702 | 28.4059 | 6.5557e-05
3 | 5.6655e-06 | 0.038084 | 0.00018083 | 0.040626 | 5.6 |  |  |  |  | 7.1371 | 5.3532 | 7.2354 | 0.014283 | 0.00016007 | 0.015741 | 0.0017456 | 0.00035495 | 3.6515e-07 | 0.010736 | 0.0018011 | 24.7366 | 28.5896 | 6.8067e-05
4 | 5.653e-06 | 0.038479 | 0.00018319 | 0.041065 | 5.5999 |  |  |  |  | 7.139 | 5.3596 | 7.2394 | 0.01443 | 0.00016258 | 0.015887 | 0.0017477 | 0.00035865 | 3.6567e-07 | 0.010829 | 0.0018219 | 24.8947 | 28.7635 | 7.062e-05
5 | 5.6402e-06 | 0.038882 | 0.00018561 | 0.041514 | 5.5999 |  |  |  |  | 7.1409 | 5.3661 | 7.2435 | 0.01458 | 0.00016517 | 0.016035 | 0.0017498 | 0.00036242 | 3.6619e-07 | 0.010924 | 0.0018433 | 25.0499 | 28.9338 | 7.3219e-05
6 | 5.6271e-06 | 0.039294 | 0.00018809 | 0.041973 | 5.5999 |  |  |  |  | 7.1429 | 5.3727 | 7.2475 | 0.014734 | 0.00016783 | 0.016187 | 0.001752 | 0.00036627 | 3.667e-07 | 0.011021 | 0.0018651 | 25.2044 | 29.1031 | 7.5863e-05
7 | 5.6137e-06 | 0.039714 | 0.00019064 | 0.042441 | 5.5999 |  |  |  |  | 7.1449 | 5.3794 | 7.2516 | 0.01489 | 0.00017055 | 0.016343 | 0.0017543 | 0.00037021 | 3.672e-07 | 0.011119 | 0.0018875 | 25.3595 | 29.2727 | 7.8554e-05
8 | 5.6001e-06 | 0.040144 | 0.00019326 | 0.042921 | 5.5999 |  |  |  |  | 7.1468 | 5.3861 | 7.2558 | 0.01505 | 0.00017336 | 0.016501 | 0.0017566 | 0.00037423 | 3.6769e-07 | 0.01122 | 0.0019104 | 25.5159 | 29.4436 | 8.1295e-05
9 | 5.5861e-06 | 0.040583 | 0.00019596 | 0.04341 | 5.5999 |  |  |  |  | 7.1488 | 5.393 | 7.26 | 0.015214 | 0.00017624 | 0.016663 | 0.0017589 | 0.00037833 | 3.6818e-07 | 0.011322 | 0.0019339 | 25.6739 | 29.6161 | 8.4085e-05
10 | 5.5718e-06 | 0.041032 | 0.00019872 | 0.043912 | 5.5998 |  |  |  |  | 7.1508 | 5.3999 | 7.2642 | 0.015381 | 0.0001792 | 0.016829 | 0.0017614 | 0.00038253 | 3.6865e-07 | 0.011426 | 0.0019581 | 25.834 | 29.7907 | 8.6927e-05
11 | 5.5572e-06 | 0.04149 | 0.00020157 | 0.044424 | 5.5998 |  |  |  |  | 7.1529 | 5.407 | 7.2685 | 0.015552 | 0.00018225 | 0.016998 | 0.0017638 | 0.00038683 | 3.6912e-07 | 0.011533 | 0.0019828 | 25.9962 | 29.9676 | 8.9822e-05
12 | 5.5423e-06 | 0.04196 | 0.0002045 | 0.044949 | 5.5998 |  |  |  |  | 7.1549 | 5.4141 | 7.2728 | 0.015726 | 0.00018539 | 0.017171 | 0.0017664 | 0.00039122 | 3.6958e-07 | 0.011641 | 0.0020083 | 26.161 | 30.1469 | 9.2773e-05
13 | 5.527e-06 | 0.042439 | 0.00020751 | 0.045485 | 5.5998 |  |  |  |  | 7.157 | 5.4213 | 7.2772 | 0.015905 | 0.00018862 | 0.017348 | 0.001769 | 0.00039571 | 3.7003e-07 | 0.011752 | 0.0020344 | 26.3283 | 30.329 | 9.5779e-05
14 | 5.5114e-06 | 0.042931 | 0.00021061 | 0.046035 | 5.5998 |  |  |  |  | 7.1591 | 5.4287 | 7.2816 | 0.016088 | 0.00019195 | 0.017529 | 0.0017717 | 0.00040031 | 3.7046e-07 | 0.011865 | 0.0020612 | 26.4984 | 30.5139 | 9.8845e-05
15 | 5.4954e-06 | 0.043433 | 0.0002138 | 0.046598 | 5.5998 |  |  |  |  | 7.1612 | 5.4361 | 7.286 | 0.016275 | 0.00019538 | 0.017715 | 0.0017744 | 0.00040501 | 3.7089e-07 | 0.01198 | 0.0020888 | 26.6713 | 30.7017 | 0.00010197
16 | 5.479e-06 | 0.043948 | 0.00021709 | 0.047174 | 5.5998 |  |  |  |  | 7.1633 | 5.4437 | 7.2905 | 0.016466 | 0.00019891 | 0.017905 | 0.0017772 | 0.00040983 | 3.7131e-07 | 0.012098 | 0.0021171 | 26.8473 | 30.8927 | 0.00010516
17 | 5.4622e-06 | 0.044475 | 0.00022048 | 0.047765 | 5.5997 |  |  |  |  | 7.1654 | 5.4513 | 7.2951 | 0.016662 | 0.00020255 | 0.018099 | 0.0017801 | 0.00041476 | 3.7172e-07 | 0.012218 | 0.0021462 | 27.0264 | 31.087 | 0.00010841
18 | 5.445e-06 | 0.045014 | 0.00022398 | 0.04837 | 5.5997 |  |  |  |  | 7.1676 | 5.4591 | 7.2997 | 0.016863 | 0.0002063 | 0.018298 | 0.0017831 | 0.00041982 | 3.7211e-07 | 0.012341 | 0.0021762 | 27.2087 | 31.2846 | 0.00011173
19 | 5.4273e-06 | 0.045567 | 0.00022759 | 0.048991 | 5.5997 |  |  |  |  | 7.1697 | 5.467 | 7.3043 | 0.017069 | 0.00021017 | 0.018502 | 0.0017862 | 0.000425 | 3.725e-07 | 0.012466 | 0.0022071 | 27.3945 | 31.4857 | 0.00011512
20 | 5.4093e-06 | 0.046134 | 0.00023131 | 0.049628 | 5.5997 |  |  |  |  | 7.1719 | 5.475 | 7.309 | 0.017279 | 0.00021417 | 0.018711 | 0.0017893 | 0.0004303 | 3.7287e-07 | 0.012595 | 0.0022389 | 27.5837 | 31.6904 | 0.00011858
21 | 5.3907e-06 | 0.046715 | 0.00023515 | 0.05028 | 5.5997 |  |  |  |  | 7.1741 | 5.4831 | 7.3137 | 0.017495 | 0.00021829 | 0.018925 | 0.0017925 | 0.00043575 | 3.7323e-07 | 0.012726 | 0.0022716 | 27.7766 | 31.8989 | 0.00012211
22 | 5.3717e-06 | 0.047311 | 0.00023913 | 0.05095 | 5.5997 |  |  |  |  | 7.1764 | 5.4913 | 7.3185 | 0.017717 | 0.00022255 | 0.019145 | 0.0017959 | 0.00044133 | 3.7358e-07 | 0.01286 | 0.0023054 | 27.9733 | 32.1113 | 0.00012572
23 | 5.3522e-06 | 0.047922 | 0.00024323 | 0.051638 | 5.5996 |  |  |  |  | 7.1786 | 5.4997 | 7.3234 | 0.017944 | 0.00022695 | 0.01937 | 0.0017993 | 0.00044705 | 3.7392e-07 | 0.012997 | 0.0023401 | 28.1739 | 32.3278 | 0.00012941
24 | 5.3322e-06 | 0.04855 | 0.00024748 | 0.052344 | 5.5996 |  |  |  |  | 7.1809 | 5.5082 | 7.3283 | 0.018177 | 0.0002315 | 0.019601 | 0.0018028 | 0.00045293 | 3.7424e-07 | 0.013137 | 0.002376 | 28.3786 | 32.5484 | 0.00013318
25 | 5.3116e-06 | 0.049194 | 0.00025188 | 0.053069 | 5.5996 |  |  |  |  | 7.1832 | 5.5168 | 7.3333 | 0.018417 | 0.0002362 | 0.019838 | 0.0018064 | 0.00045897 | 3.7455e-07 | 0.013281 | 0.0024131 | 28.5875 | 32.7734 | 0.00013703
26 | 5.2905e-06 | 0.049855 | 0.00025643 | 0.053815 | 5.5996 |  |  |  |  | 7.1855 | 5.5256 | 7.3383 | 0.018662 | 0.00024107 | 0.020082 | 0.0018102 | 0.00046516 | 3.7486e-07 | 0.013427 | 0.0024513 | 28.8007 | 33.0028 | 0.00014098
27 | 5.2688e-06 | 0.050534 | 0.00026114 | 0.054581 | 5.5996 |  |  |  |  | 7.1878 | 5.5345 | 7.3434 | 0.018915 | 0.0002461 | 0.020332 | 0.0018141 | 0.00047153 | 3.7515e-07 | 0.013578 | 0.0024909 | 29.0185 | 33.237 | 0.00014501
28 | 5.2465e-06 | 0.051233 | 0.00026603 | 0.055368 | 5.5996 |  |  |  |  | 7.1901 | 5.5435 | 7.3485 | 0.019174 | 0.00025132 | 0.020589 | 0.001818 | 0.00047807 | 3.7542e-07 | 0.013732 | 0.0025317 | 29.2411 | 33.4759 | 0.00014914
29 | 5.2236e-06 | 0.05195 | 0.0002711 | 0.056178 | 5.5995 |  |  |  |  | 7.1925 | 5.5527 | 7.3537 | 0.01944 | 0.00025672 | 0.020854 | 0.0018222 | 0.0004848 | 3.7568e-07 | 0.01389 | 0.002574 | 29.4685 | 33.7199 | 0.00015337
30 | 5.2e-06 | 0.052689 | 0.00027637 | 0.057012 | 5.5995 |  |  |  |  | 7.1949 | 5.562 | 7.359 | 0.019714 | 0.00026231 | 0.021126 | 0.0018264 | 0.00049172 | 3.7592e-07 | 0.014051 | 0.0026177 | 29.701 | 33.969 | 0.0001577
31 | 5.1757e-06 | 0.053448 | 0.00028184 | 0.05787 | 5.5995 |  |  |  |  | 7.1973 | 5.5715 | 7.3643 | 0.019996 | 0.00026812 | 0.021405 | 0.0018308 | 0.00049884 | 3.7616e-07 | 0.014217 | 0.002663 | 29.9388 | 34.2236 | 0.00016214
32 | 5.1507e-06 | 0.05423 | 0.00028752 | 0.058753 | 5.5995 |  |  |  |  | 7.1997 | 5.5812 | 7.3697 | 0.020286 | 0.00027414 | 0.021693 | 0.0018354 | 0.00050617 | 3.7638e-07 | 0.014387 | 0.0027099 | 30.1822 | 34.4838 | 0.00016669
33 | 5.125e-06 | 0.055035 | 0.00029343 | 0.059664 | 5.5995 |  |  |  |  | 7.2021 | 5.591 | 7.3751 | 0.020585 | 0.00028038 | 0.02199 | 0.0018401 | 0.00051372 | 3.7659e-07 | 0.014561 | 0.0027585 | 30.4312 | 34.7497 | 0.00017136
34 | 5.0985e-06 | 0.055865 | 0.00029959 | 0.060602 | 5.5994 |  |  |  |  | 7.2046 | 5.601 | 7.3806 | 0.020893 | 0.00028687 | 0.022295 | 0.001845 | 0.0005215 | 3.7678e-07 | 0.01474 | 0.002809 | 30.6862 | 35.0218 | 0.00017614
35 | 5.0712e-06 | 0.05672 | 0.000306 | 0.061569 | 5.5994 |  |  |  |  | 7.2071 | 5.6112 | 7.3862 | 0.02121 | 0.00029361 | 0.02261 | 0.00185 | 0.00052952 | 3.7696e-07 | 0.014923 | 0.0028614 | 30.9475 | 35.3001 | 0.00018106
36 | 5.043e-06 | 0.057601 | 0.00031269 | 0.062567 | 5.5994 |  |  |  |  | 7.2096 | 5.6215 | 7.3919 | 0.021537 | 0.00030062 | 0.022934 | 0.0018553 | 0.00053779 | 3.7713e-07 | 0.015112 | 0.0029159 | 31.2152 | 35.585 | 0.0001861
37 | 5.014e-06 | 0.05851 | 0.00031967 | 0.063597 | 5.5994 |  |  |  |  | 7.2121 | 5.632 | 7.3976 | 0.021874 | 0.00030792 | 0.023269 | 0.0018607 | 0.00054632 | 3.7729e-07 | 0.015305 | 0.0029725 | 31.4898 | 35.8767 | 0.00019128
38 | 4.984e-06 | 0.059449 | 0.00032696 | 0.06466 | 5.5994 |  |  |  |  | 7.2146 | 5.6428 | 7.4035 | 0.022221 | 0.00031551 | 0.023614 | 0.0018664 | 0.00055512 | 3.7744e-07 | 0.015504 | 0.0030313 | 31.7714 | 36.1756 | 0.00019661
39 | 4.953e-06 | 0.060418 | 0.00033458 | 0.065759 | 5.5994 |  |  |  |  | 7.2172 | 5.6537 | 7.4093 | 0.022581 | 0.00032341 | 0.02397 | 0.0018723 | 0.00056422 | 3.7758e-07 | 0.015709 | 0.0030927 | 32.0604 | 36.4818 | 0.00020209
40 | 4.9211e-06 | 0.06142 | 0.00034256 | 0.066894 | 5.5993 |  |  |  |  | 7.2198 | 5.6648 | 7.4153 | 0.022952 | 0.00033165 | 0.024339 | 0.0018784 | 0.00057361 | 3.7771e-07 | 0.015919 | 0.0031566 | 32.3571 | 36.7958 | 0.00020772
41 | 4.888e-06 | 0.062455 | 0.00035091 | 0.068068 | 5.5993 |  |  |  |  | 7.2224 | 5.6761 | 7.4214 | 0.023335 | 0.00034024 | 0.024719 | 0.0018848 | 0.00058333 | 3.7783e-07 | 0.016135 | 0.0032233 | 32.662 | 37.118 | 0.00021352
42 | 4.8539e-06 | 0.063525 | 0.00035967 | 0.069282 | 5.5993 |  |  |  |  | 7.225 | 5.6877 | 7.4275 | 0.023731 | 0.00034921 | 0.025113 | 0.0018914 | 0.00059338 | 3.7794e-07 | 0.016358 | 0.0032929 | 32.9753 | 37.4486 | 0.0002195
43 | 4.8185e-06 | 0.064634 | 0.00036887 | 0.070539 | 5.5993 |  |  |  |  | 7.2277 | 5.6994 | 7.4337 | 0.024142 | 0.00035858 | 0.02552 | 0.0018983 | 0.00060378 | 3.7805e-07 | 0.016587 | 0.0033656 | 33.2976 | 37.788 | 0.00022565
44 | 4.7819e-06 | 0.065781 | 0.00037854 | 0.071841 | 5.5993 |  |  |  |  | 7.2303 | 5.7114 | 7.44 | 0.024566 | 0.00036836 | 0.025942 | 0.0019056 | 0.00061456 | 3.7816e-07 | 0.016823 | 0.0034417 | 33.6292 | 38.1368 | 0.000232
45 | 4.744e-06 | 0.06697 | 0.00038871 | 0.07319 | 5.5992 |  |  |  |  | 7.233 | 5.7237 | 7.4464 | 0.025006 | 0.0003786 | 0.026379 | 0.0019131 | 0.00062573 | 3.7827e-07 | 0.017067 | 0.0035213 | 33.9707 | 38.4952 | 0.00023855
46 | 5.9768e-06 | 0.068203 | 0.00029148 | 0.072459 | 6.6492 |  |  |  |  | 7.2358 | 5.6477 | 7.4233 | 0.025462 | 0.00033428 | 0.026832 | 0.0019607 | 0.00063731 | 3.9592e-07 | 0.017318 | 0.0028173 | 34.0878 | 38.6342 | 0.00024532
47 | 5.9377e-06 | 0.069485 | 0.00029908 | 0.073864 | 6.6492 |  |  |  |  | 7.2387 | 5.6454 | 7.4219 | 0.025936 | 0.00033966 | 0.027302 | 0.0020003 | 0.00064932 | 4.4628e-07 | 0.017591 | 0.0028795 | 34.2181 | 38.7869 | 0.00025234
48 | 5.8972e-06 | 0.070815 | 0.00030708 | 0.075324 | 6.6492 |  |  |  |  | 7.2418 | 5.6574 | 7.4282 | 0.026429 | 0.00034942 | 0.027788 | 0.0020092 | 0.0006618 | 4.4903e-07 | 0.017874 | 0.0029481 | 34.3628 | 38.9544 | 0.00025961
49 | 5.8551e-06 | 0.072198 | 0.00031551 | 0.076841 | 6.6492 |  |  |  |  | 7.245 | 5.6698 | 7.4347 | 0.02694 | 0.00035966 | 0.028294 | 0.0020185 | 0.00067477 | 4.5167e-07 | 0.018167 | 0.0030201 | 34.5218 | 39.1367 | 0.00026714
50 | 5.8113e-06 | 0.073635 | 0.0003244 | 0.078419 | 6.6492 |  |  |  |  | 7.2481 | 5.6824 | 7.4412 | 0.027472 | 0.0003704 | 0.028819 | 0.0020281 | 0.00068826 | 4.5443e-07 | 0.01847 | 0.0030958 | 34.6954 | 39.334 | 0.00027493
51 | 5.7649e-06 | 0.075132 | 0.00033385 | 0.080061 | 6.6485 |  |  |  |  | 7.2513 | 5.6953 | 7.4479 | 0.028025 | 0.0003817 | 0.029366 | 0.0020382 | 0.00070229 | 4.5741e-07 | 0.018783 | 0.0031758 | 34.8839 | 39.5466 | 0.000283
52 | 5.7175e-06 | 0.07669 | 0.0003438 | 0.081773 | 6.6484 |  |  |  |  | 7.2545 | 5.7085 | 7.4546 | 0.028601 | 0.00039357 | 0.029935 | 0.0020488 | 0.00071691 | 4.604e-07 | 0.019109 | 0.0032598 | 35.0875 | 39.7746 | 0.00029136
53 | 5.668e-06 | 0.078314 | 0.00035436 | 0.083557 | 6.6484 |  |  |  |  | 7.2578 | 5.722 | 7.4615 | 0.029201 | 0.00040607 | 0.030529 | 0.0020599 | 0.00073216 | 4.6357e-07 | 0.019446 | 0.0033483 | 35.3065 | 40.0184 | 0.00030005
54 | 5.6165e-06 | 0.080009 | 0.00036556 | 0.085419 | 6.6484 |  |  |  |  | 7.2611 | 5.7358 | 7.4684 | 0.029827 | 0.00041923 | 0.031147 | 0.0020716 | 0.00074806 | 4.669e-07 | 0.019796 | 0.0034418 | 35.5413 | 40.2785 | 0.00030906
55 | 5.5627e-06 | 0.081779 | 0.00037748 | 0.087363 | 6.6484 |  |  |  |  | 7.2644 | 5.7498 | 7.4755 | 0.03048 | 0.00043311 | 0.031794 | 0.0020839 | 0.00076468 | 4.7042e-07 | 0.020159 | 0.0035408 | 35.7925 | 40.5552 | 0.00031844
56 | 5.5065e-06 | 0.083629 | 0.00039019 | 0.089396 | 6.6484 |  |  |  |  | 7.2678 | 5.7642 | 7.4827 | 0.031163 | 0.00044776 | 0.032469 | 0.0020968 | 0.00078205 | 4.7414e-07 | 0.020537 | 0.0036457 | 36.0607 | 40.8493 | 0.0003282
57 | 5.4478e-06 | 0.085565 | 0.00040376 | 0.091522 | 6.6483 |  |  |  |  | 7.2712 | 5.779 | 7.49 | 0.031877 | 0.00046326 | 0.033175 | 0.0021105 | 0.00080022 | 4.7808e-07 | 0.02093 | 0.0037571 | 36.3466 | 41.1613 | 0.00033837
58 | 5.3863e-06 | 0.087592 | 0.00041828 | 0.09375 | 6.6483 |  |  |  |  | 7.2746 | 5.7941 | 7.4974 | 0.032625 | 0.00047967 | 0.033915 | 0.0021249 | 0.00081926 | 4.8228e-07 | 0.021339 | 0.0038756 | 36.6509 | 41.4919 | 0.00034897
59 | 5.3219e-06 | 0.089718 | 0.00043386 | 0.096084 | 6.6483 |  |  |  |  | 7.278 | 5.8096 | 7.5049 | 0.033409 | 0.00049706 | 0.03469 | 0.0021402 | 0.00083923 | 4.8677e-07 | 0.021764 | 0.0040019 | 36.9746 | 41.8421 | 0.00036004
60 | 5.2544e-06 | 0.091951 | 0.00045062 | 0.098534 | 6.6483 |  |  |  |  | 7.2815 | 5.8255 | 7.5126 | 0.034232 | 0.00051551 | 0.035504 | 0.0021563 | 0.0008602 | 4.9158e-07 | 0.022208 | 0.0041368 | 37.3186 | 42.2128 | 0.00037161
61 | 5.1836e-06 | 0.094297 | 0.00046868 | 0.10111 | 6.6483 |  |  |  |  | 7.285 | 5.8418 | 7.5204 | 0.035097 | 0.00053513 | 0.036359 | 0.0021735 | 0.00088225 | 4.9676e-07 | 0.022672 | 0.0042813 | 37.6842 | 42.605 | 0.00038372
62 | 5.1091e-06 | 0.096766 | 0.00048821 | 0.10382 | 6.6482 |  |  |  |  | 7.2886 | 5.8585 | 7.5283 | 0.036006 | 0.00055602 | 0.037259 | 0.0021918 | 0.00090545 | 5.0236e-07 | 0.023156 | 0.0044362 | 38.0727 | 43.0201 | 0.00039641
63 | 5.0308e-06 | 0.099368 | 0.00050939 | 0.10667 | 6.6482 |  |  |  |  | 7.2922 | 5.8757 | 7.5363 | 0.036964 | 0.00057831 | 0.038206 | 0.0022113 | 0.00092991 | 5.0844e-07 | 0.023662 | 0.004603 | 38.4855 | 43.4593 | 0.00040973
64 | 4.9483e-06 | 0.10211 | 0.00053243 | 0.10967 | 6.6482 |  |  |  |  | 7.2958 | 5.8934 | 7.5445 | 0.037975 | 0.00060211 | 0.039206 | 0.0022322 | 0.00095572 | 5.1507e-07 | 0.024191 | 0.0047828 | 38.9243 | 43.9243 | 0.00042373
65 | 4.8613e-06 | 0.10502 | 0.00055759 | 0.11284 | 6.6482 |  |  |  |  | 7.2994 | 5.9115 | 7.5528 | 0.039043 | 0.00062759 | 0.040263 | 0.0022546 | 0.00098302 | 5.2233e-07 | 0.024746 | 0.0049775 | 39.3912 | 44.4168 | 0.00043847
66 | 4.7694e-06 | 0.10809 | 0.00058516 | 0.1162 | 6.6481 |  |  |  |  | 7.3031 | 5.9302 | 7.5613 | 0.040173 | 0.00065493 | 0.04138 | 0.0022786 | 0.0010119 | 5.3034e-07 | 0.025327 | 0.0051888 | 39.8884 | 44.9389 | 0.00045401
67 | 4.6723e-06 | 0.11135 | 0.0006155 | 0.11975 | 6.6481 |  |  |  |  | 7.3067 | 5.9495 | 7.5699 | 0.04137 | 0.00068433 | 0.042565 | 0.0023045 | 0.0010426 | 5.3921e-07 | 0.025937 | 0.0054191 | 40.4184 | 45.4929 | 0.00047043
68 | 4.5695e-06 | 0.11481 | 0.00064905 | 0.12351 | 6.6481 |  |  |  |  | 7.3105 | 5.9693 | 7.5786 | 0.042642 | 0.00071601 | 0.043824 | 0.0023326 | 0.0010751 | 5.491e-07 | 0.026579 | 0.0056709 | 40.9841 | 46.0812 | 0.0004878
69 | 4.4605e-06 | 0.11849 | 0.00068633 | 0.1275 | 6.6481 |  |  |  |  | 7.3142 | 5.9898 | 7.5875 | 0.043994 | 0.00075026 | 0.045162 | 0.002363 | 0.0011098 | 5.6021e-07 | 0.027253 | 0.0059475 | 41.5891 | 46.7071 | 0.00050622
70 | 4.3447e-06 | 0.12242 | 0.00072799 | 0.13175 | 6.648 |  |  |  |  | 7.3179 | 6.0109 | 7.5965 | 0.045436 | 0.00078739 | 0.046589 | 0.0023963 | 0.0011468 | 5.7277e-07 | 0.027963 | 0.0062528 | 42.2372 | 47.3739 | 0.0005258
71 | 7.2605e-06 | 0.12661 | 0.00047754 | 0.13591 | 7.148 |  |  |  |  | 7.3217 | 5.9654 | 7.6023 | 0.046975 | 0.00070522 | 0.048112 | 0.002327 | 0.0011863 | 3.515e-07 | 0.028712 | 0.0041131 | 42.451 | 47.6277 | 0.00054665
72 | 7.0609e-06 | 0.13112 | 0.00050856 | 0.14078 | 7.148 |  |  |  |  | 7.3255 | 5.9374 | 7.5899 | 0.048628 | 0.00071514 | 0.049748 | 0.0024673 | 0.0012286 | 4.5903e-07 | 0.02959 | 0.0043266 | 42.6999 | 47.9187 | 0.00056889
73 | 6.8475e-06 | 0.13595 | 0.00054374 | 0.14598 | 7.148 |  |  |  |  | 7.3298 | 5.9598 | 7.5991 | 0.050402 | 0.00075397 | 0.051499 | 0.0025051 | 0.0012741 | 4.7479e-07 | 0.030526 | 0.0045911 | 42.9921 | 48.2547 | 0.00059275
74 | 6.619e-06 | 0.14116 | 0.00058394 | 0.15156 | 7.148 |  |  |  |  | 7.3341 | 5.9833 | 7.6086 | 0.052312 | 0.00079672 | 0.053383 | 0.0025455 | 0.0013231 | 4.9182e-07 | 0.031524 | 0.0048898 | 43.3324 | 48.6403 | 0.00061836
75 | 6.372e-06 | 0.14679 | 0.00063047 | 0.15756 | 7.1469 |  |  |  |  | 7.3384 | 6.0077 | 7.6183 | 0.054373 | 0.00084374 | 0.055417 | 0.0025902 | 0.001376 | 5.1178e-07 | 0.032589 | 0.0052308 | 43.7266 | 49.0811 | 0.00064592
76 | 6.1084e-06 | 0.15288 | 0.00068452 | 0.16402 | 7.1469 |  |  |  |  | 7.3427 | 6.0331 | 7.6281 | 0.056603 | 0.00089569 | 0.057618 | 0.0026398 | 0.0014333 | 5.3495e-07 | 0.033729 | 0.0056211 | 44.1815 | 49.5834 | 0.00067567
77 | 5.8245e-06 | 0.15949 | 0.00074826 | 0.17099 | 7.1469 |  |  |  |  | 7.3471 | 6.0595 | 7.6381 | 0.059025 | 0.00095342 | 0.060008 | 0.0026955 | 0.0014956 | 5.6256e-07 | 0.034951 | 0.006074 | 44.7061 | 50.1556 | 0.00070792
78 | 5.5179e-06 | 0.16671 | 0.00082448 | 0.17854 | 7.1469 |  |  |  |  | 7.3515 | 6.0869 | 7.6482 | 0.061665 | 0.0010181 | 0.062613 | 0.0027585 | 0.0015636 | 5.9593e-07 | 0.036263 | 0.0066062 | 45.3119 | 50.808 | 0.00074298
79 | 5.1863e-06 | 0.17461 | 0.00091716 | 0.18672 | 7.1468 |  |  |  |  | 7.3559 | 6.1156 | 7.6583 | 0.064553 | 0.0010911 | 0.065463 | 0.0028306 | 0.001638 | 6.3703e-07 | 0.037676 | 0.0072406 | 46.0136 | 51.5537 | 0.00078128
80 | 4.8266e-06 | 0.18329 | 0.0010321 | 0.19563 | 7.1468 |  |  |  |  | 7.3603 | 6.1457 | 7.6686 | 0.067726 | 0.0011747 | 0.068595 | 0.0029145 | 0.0017199 | 6.8877e-07 | 0.039197 | 0.0080107 | 46.8312 | 52.41 | 0.00082329
81 | 4.4359e-06 | 0.19288 | 0.0011782 | 0.20534 | 7.1468 |  |  |  |  | 7.3647 | 6.1774 | 7.6788 | 0.071228 | 0.0012719 | 0.072052 | 0.0030138 | 0.0018104 | 7.5574e-07 | 0.040839 | 0.0089658 | 47.792 | 53.3996 | 0.0008696
82 | 4.0106e-06 | 0.20353 | 0.0013698 | 0.21597 | 7.1467 |  |  |  |  | 7.3691 | 6.2112 | 7.689 | 0.075115 | 0.0013872 | 0.075887 | 0.0031343 | 0.0019109 | 8.454e-07 | 0.04261 | 0.010183 | 48.9352 | 54.5539 | 0.00092093
83 | 3.547e-06 | 0.21543 | 0.0016311 | 0.22763 | 7.1467 |  |  |  |  | 7.3735 | 6.2476 | 7.699 | 0.079452 | 0.0015287 | 0.080167 | 0.0032855 | 0.0020233 | 9.7088e-07 | 0.044517 | 0.011789 | 50.319 | 55.9174 | 0.00097817
84 | 3.0416e-06 | 0.22879 | 0.002007 | 0.24046 | 7.1467 |  |  |  |  | 7.378 | 6.2879 | 7.7086 | 0.084322 | 0.0017103 | 0.084972 | 0.0034842 | 0.0021497 | 1.1571e-06 | 0.046563 | 0.014007 | 52.0359 | 57.5557 | 0.0010424
85 | 2.4919e-06 | 0.24391 | 0.0025894 | 0.25464 | 7.1466 |  |  |  |  | 7.3826 | 6.3346 | 7.7176 | 0.089829 | 0.0019613 | 0.090405 | 0.0037642 | 0.0022929 | 1.4569e-06 | 0.048733 | 0.017261 | 54.243 | 59.5717 | 0.0011151
86 | 1.0901e-05 | 0.26114 | 0.000653 | 0.29249 | 11.9966 |  |  |  |  | 7.3873 | 6.7271 | 7.8571 | 0.096106 | 0.0018853 | 0.096593 | 0.0026026 | 0.0024566 | 9.0051e-08 | 0.050981 | 0.0060391 | 54.5921 | 59.9823 | 0.001198
87 | 9.9245e-06 | 0.28118 | 0.00076955 | 0.31391 | 11.9953 |  |  |  |  | 7.3867 | 6.305 | 7.7612 | 0.10335 | 0.0016805 | 0.10382 | 0.0034114 | 0.0026455 | 3.9915e-07 | 0.054438 | 0.00656 | 55.0162 | 60.4879 | 0.0012931
88 | 8.8224e-06 | 0.30455 | 0.00093251 | 0.33824 | 11.9953 |  |  |  |  | 7.3903 | 6.3395 | 7.771 | 0.11183 | 0.0018541 | 0.11219 | 0.0036062 | 0.0028659 | 4.6815e-07 | 0.058428 | 0.0077001 | 55.6102 | 61.1751 | 0.0014043
89 | 7.5704e-06 | 0.33215 | 0.0011754 | 0.36602 | 11.9952 |  |  |  |  | 7.3937 | 6.3841 | 7.7829 | 0.12182 | 0.0020761 | 0.12206 | 0.0038305 | 0.0031264 | 5.6063e-07 | 0.063039 | 0.0093412 | 56.4466 | 62.1143 | 0.0015354
90 | 6.1442e-06 | 0.36525 | 0.0015732 | 0.39788 | 11.9952 |  |  |  |  | 7.3969 | 6.4301 | 7.7938 | 0.1338 | 0.0023628 | 0.13389 | 0.004136 | 0.003439 | 7.1767e-07 | 0.068409 | 0.011905 | 57.6593 | 63.4303 | 0.0016926
91 | 4.5208e-06 | 0.40566 | 0.0023321 | 0.43461 | 11.9951 |  |  |  |  | 7.3998 | 6.479 | 7.8028 | 0.1484 | 0.0027796 | 0.1483 | 0.0046066 | 0.0038211 | 1.0331e-06 | 0.074687 | 0.016531 | 59.55 | 65.3803 | 0.0018846
92 | 2.6956e-06 | 0.45607 | 0.0042795 | 0.47725 | 11.9951 |  |  |  |  | 7.4025 | 6.5437 | 7.8079 | 0.1666 | 0.0035938 | 0.16626 | 0.0055526 | 0.0042986 | 1.9024e-06 | 0.081957 | 0.027429 | 63.042 | 68.6343 | 0.0021242
93 | 8.6815e-07 | 0.52062 | 0.014458 | 0.52908 | 11.9928 |  |  |  |  | 7.4056 | 6.7323 | 7.807 | 0.18989 | 0.007186 | 0.18922 | 0.0094338 | 0.0049124 | 6.837e-06 | 0.089747 | 0.069599 | 72.7453 | 75.4595 | 0.0024321
94 | 1.8331e-07 | 0.60498 | 0.071293 | 0.60712 | 11.9926 |  |  |  |  | 7.4106 | 7.1484 | 7.8317 | 0.22034 | 0.026712 | 0.21919 | 0.029102 | 0.00573 | 3.2069e-05 | 0.093105 | 0.12552 | 90.4917 | 86.2792 | 0.0028421
95 | 8.1183e-08 | 0.71171 | 0.16469 | 0.71285 | 11.9924 |  |  |  |  | 0 | 0 | 0 | 0.25907 | 0 | 0.2572 | 0 | 0.0068695 | 0 | 0.086622 | 0 | 89.5491 | 85.3805 | 0