## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate
0 | 5.5307e-06 | 0.042777 | 0.00020737 | 0.045486 | 5.6 | 18.3225 | 17.6813 | 15.2818 | 13.2137 | 7.116 | 9.035 | 8.3128 | 0.0010984 | 0.0002062 | 2.5515e-07 | 5.093e-09 | 0.00087237 | 1.4517e-07 | 0.0021435 | 0.00051638 | 7.235 | 0.00020056
1 | 5.5172e-06 | 0.043207 | 0.00021005 | 0.045961 | 5.6 |  |  |  |  | 7.1094 | 9.0612 | 8.3414 | 0.0011074 | 0.0002203 | 2.5767e-07 | 5.0607e-09 | 0.00088118 | 1.3392e-07 | 0.0021599 | 0.00053187 | 7.3435 | 0.00020246
2 | 5.5035e-06 | 0.043645 | 0.00021279 | 0.046447 | 5.6 |  |  |  |  | 7.1026 | 9.0578 | 8.3387 | 0.0011164 | 0.00022071 | 2.6025e-07 | 5.1301e-09 | 0.00089017 | 1.3608e-07 | 0.0021765 | 0.00053571 | 7.3976 | 0.00020436
3 | 5.4894e-06 | 0.044093 | 0.00021561 | 0.046942 | 5.6 |  |  |  |  | 7.0957 | 9.0545 | 8.3361 | 0.0011257 | 0.00022117 | 2.6288e-07 | 5.2007e-09 | 0.00089935 | 1.3825e-07 | 0.0021934 | 0.00053968 | 7.4386 | 0.0002063
4 | 5.4751e-06 | 0.04455 | 0.0002185 | 0.047448 | 5.5999 |  |  |  |  | 7.0888 | 9.0511 | 8.3335 | 0.0011351 | 0.00022163 | 2.6557e-07 | 5.2732e-09 | 0.00090871 | 1.4047e-07 | 0.0022107 | 0.00054375 | 7.4746 | 0.00020829
5 | 5.4604e-06 | 0.045017 | 0.00022147 | 0.047964 | 5.5999 |  |  |  |  | 7.0819 | 9.0476 | 8.3309 | 0.0011447 | 0.00022211 | 2.6831e-07 | 5.3474e-09 | 0.00091828 | 1.4275e-07 | 0.0022282 | 0.00054792 | 7.5083 | 0.00021032
6 | 5.4455e-06 | 0.045493 | 0.00022452 | 0.048492 | 5.5999 |  |  |  |  | 7.0749 | 9.0441 | 8.3283 | 0.0011545 | 0.0002226 | 2.711e-07 | 5.4236e-09 | 0.00092804 | 1.4509e-07 | 0.0022461 | 0.00055218 | 7.5409 | 0.0002124
7 | 5.4302e-06 | 0.04598 | 0.00022765 | 0.049031 | 5.5999 |  |  |  |  | 7.0679 | 9.0406 | 8.3256 | 0.0011646 | 0.00022309 | 2.7396e-07 | 5.5017e-09 | 0.00093802 | 1.475e-07 | 0.0022643 | 0.00055655 | 7.573 | 0.00021452
8 | 5.4146e-06 | 0.046478 | 0.00023087 | 0.049583 | 5.5999 |  |  |  |  | 7.0608 | 9.037 | 8.323 | 0.0011748 | 0.0002236 | 2.7688e-07 | 5.5819e-09 | 0.00094822 | 1.4998e-07 | 0.0022829 | 0.00056103 | 7.605 | 0.00021669
9 | 5.3986e-06 | 0.046986 | 0.00023419 | 0.050146 | 5.5999 |  |  |  |  | 7.0537 | 9.0333 | 8.3203 | 0.0011852 | 0.00022411 | 2.7986e-07 | 5.6642e-09 | 0.00095863 | 1.5253e-07 | 0.0023018 | 0.00056563 | 7.637 | 0.0002189
10 | 5.3823e-06 | 0.047505 | 0.00023759 | 0.050723 | 5.5998 |  |  |  |  | 7.0466 | 9.0296 | 8.3176 | 0.0011959 | 0.00022464 | 2.8291e-07 | 5.7487e-09 | 0.00096928 | 1.5515e-07 | 0.0023211 | 0.00057034 | 7.6692 | 0.00022117
11 | 5.3656e-06 | 0.048036 | 0.0002411 | 0.051312 | 5.5998 |  |  |  |  | 7.0393 | 9.0259 | 8.3149 | 0.0012068 | 0.00022518 | 2.8602e-07 | 5.8354e-09 | 0.00098017 | 1.5784e-07 | 0.0023408 | 0.00057517 | 7.7016 | 0.00022349
12 | 5.3485e-06 | 0.048579 | 0.00024471 | 0.051915 | 5.5998 |  |  |  |  | 7.0321 | 9.0221 | 8.3121 | 0.001218 | 0.00022573 | 2.892e-07 | 5.9246e-09 | 0.00099131 | 1.6062e-07 | 0.0023608 | 0.00058014 | 7.7344 | 0.00022587
13 | 5.3311e-06 | 0.049135 | 0.00024842 | 0.052533 | 5.5998 |  |  |  |  | 7.0248 | 9.0182 | 8.3094 | 0.0012294 | 0.00022629 | 2.9246e-07 | 6.0162e-09 | 0.0010027 | 1.6347e-07 | 0.0023813 | 0.00058523 | 7.7677 | 0.0002283
14 | 5.3132e-06 | 0.049703 | 0.00025225 | 0.053164 | 5.5998 |  |  |  |  | 7.0174 | 9.0143 | 8.3066 | 0.0012411 | 0.00022686 | 2.9579e-07 | 6.1104e-09 | 0.0010144 | 1.6642e-07 | 0.0024022 | 0.00059046 | 7.8014 | 0.00023079
15 | 5.2949e-06 | 0.050285 | 0.0002562 | 0.053811 | 5.5998 |  |  |  |  | 7.01 | 9.0103 | 8.3038 | 0.001253 | 0.00022745 | 2.992e-07 | 6.2073e-09 | 0.0010263 | 1.6945e-07 | 0.0024235 | 0.00059584 | 7.8355 | 0.00023334
16 | 5.2762e-06 | 0.050881 | 0.00026027 | 0.054474 | 5.5998 |  |  |  |  | 7.0026 | 9.0062 | 8.301 | 0.0012652 | 0.00022805 | 3.0269e-07 | 6.307e-09 | 0.0010385 | 1.7257e-07 | 0.0024452 | 0.00060137 | 7.8703 | 0.00023595
17 | 5.257e-06 | 0.051491 | 0.00026447 | 0.055153 | 5.5997 |  |  |  |  | 6.995 | 9.0021 | 8.2982 | 0.0012777 | 0.00022866 | 3.0626e-07 | 6.4095e-09 | 0.001051 | 1.758e-07 | 0.0024675 | 0.00060705 | 7.9056 | 0.00023862
18 | 5.2373e-06 | 0.052115 | 0.0002688 | 0.055848 | 5.5997 |  |  |  |  | 6.9875 | 8.9979 | 8.2953 | 0.0012905 | 0.00022929 | 3.0992e-07 | 6.5151e-09 | 0.0010638 | 1.7912e-07 | 0.0024901 | 0.0006129 | 7.9414 | 0.00024137
19 | 5.2172e-06 | 0.052756 | 0.00027328 | 0.056561 | 5.5997 |  |  |  |  | 6.9798 | 8.9936 | 8.2924 | 0.0013036 | 0.00022993 | 3.1366e-07 | 6.6239e-09 | 0.001077 | 1.8256e-07 | 0.0025133 | 0.00061892 | 7.9779 | 0.00024418
20 | 5.1966e-06 | 0.053412 | 0.00027791 | 0.057292 | 5.5997 |  |  |  |  | 6.9721 | 8.9893 | 8.2895 | 0.001317 | 0.00023059 | 3.175e-07 | 6.7359e-09 | 0.0010904 | 1.861e-07 | 0.002537 | 0.00062511 | 8.0151 | 0.00024706
21 | 5.1754e-06 | 0.054084 | 0.00028269 | 0.058042 | 5.5997 |  |  |  |  | 6.9644 | 8.9849 | 8.2866 | 0.0013308 | 0.00023126 | 3.2143e-07 | 6.8514e-09 | 0.0011042 | 1.8976e-07 | 0.0025612 | 0.0006315 | 8.053 | 0.00025002
22 | 5.1537e-06 | 0.054774 | 0.00028763 | 0.058811 | 5.5997 |  |  |  |  | 6.9566 | 8.9804 | 8.2837 | 0.0013449 | 0.00023195 | 3.2547e-07 | 6.9705e-09 | 0.0011184 | 1.9355e-07 | 0.0025859 | 0.00063808 | 8.0915 | 0.00025306
23 | 5.1315e-06 | 0.055482 | 0.00029275 | 0.0596 | 5.5996 |  |  |  |  | 6.9487 | 8.9758 | 8.2807 | 0.0013593 | 0.00023265 | 3.296e-07 | 7.0933e-09 | 0.0011329 | 1.9746e-07 | 0.0026112 | 0.00064487 | 8.1309 | 0.00025618
24 | 5.1086e-06 | 0.056208 | 0.00029805 | 0.06041 | 5.5996 |  |  |  |  | 6.9407 | 8.9712 | 8.2777 | 0.0013741 | 0.00023337 | 3.3385e-07 | 7.2201e-09 | 0.0011478 | 2.0151e-07 | 0.0026371 | 0.00065187 | 8.171 | 0.00025938
25 | 5.0852e-06 | 0.056953 | 0.00030354 | 0.061242 | 5.5996 |  |  |  |  | 6.9327 | 8.9665 | 8.2747 | 0.0013893 | 0.00023411 | 3.382e-07 | 7.351e-09 | 0.0011631 | 2.0571e-07 | 0.0026636 | 0.00065909 | 8.2119 | 0.00026266
26 | 5.0611e-06 | 0.057719 | 0.00030924 | 0.062097 | 5.5996 |  |  |  |  | 6.9246 | 8.9617 | 8.2717 | 0.001405 | 0.00023487 | 3.4267e-07 | 7.4863e-09 | 0.0011788 | 2.1005e-07 | 0.0026907 | 0.00066655 | 8.2536 | 0.00026604
27 | 5.0364e-06 | 0.058505 | 0.00031514 | 0.062975 | 5.5996 |  |  |  |  | 6.9164 | 8.9567 | 8.2686 | 0.001421 | 0.00023565 | 3.4726e-07 | 7.626e-09 | 0.001195 | 2.1455e-07 | 0.0027184 | 0.00067427 | 8.2962 | 0.00026952
28 | 5.011e-06 | 0.059313 | 0.00032128 | 0.063878 | 5.5996 |  |  |  |  | 6.9082 | 8.9517 | 8.2656 | 0.0014374 | 0.00023644 | 3.5198e-07 | 7.7705e-09 | 0.0012116 | 2.1922e-07 | 0.0027468 | 0.00068224 | 8.3398 | 0.00027309
29 | 4.9848e-06 | 0.060144 | 0.00032765 | 0.064807 | 5.5995 |  |  |  |  | 6.8999 | 8.9466 | 8.2625 | 0.0014544 | 0.00023726 | 3.5683e-07 | 7.92e-09 | 0.0012286 | 2.2406e-07 | 0.0027759 | 0.00069049 | 8.3843 | 0.00027676
30 | 4.958e-06 | 0.060999 | 0.00033427 | 0.065762 | 5.5995 |  |  |  |  | 6.8915 | 8.9414 | 8.2594 | 0.0014717 | 0.0002381 | 3.6181e-07 | 8.0748e-09 | 0.0012462 | 2.2909e-07 | 0.0028057 | 0.00069903 | 8.4297 | 0.00028054
31 | 4.9303e-06 | 0.061878 | 0.00034116 | 0.066745 | 5.5995 |  |  |  |  | 6.883 | 8.9361 | 8.2562 | 0.0014896 | 0.00023896 | 3.6694e-07 | 8.2351e-09 | 0.0012642 | 2.3431e-07 | 0.0028362 | 0.00070788 | 8.4763 | 0.00028443
32 | 4.9019e-06 | 0.062783 | 0.00034833 | 0.067757 | 5.5995 |  |  |  |  | 6.8744 | 8.9307 | 8.2531 | 0.001508 | 0.00023984 | 3.7221e-07 | 8.4011e-09 | 0.0012828 | 2.3974e-07 | 0.0028675 | 0.00071705 | 8.5238 | 0.00028844
33 | 4.8726e-06 | 0.063715 | 0.0003558 | 0.068799 | 5.5995 |  |  |  |  | 6.8657 | 8.9252 | 8.2499 | 0.0015269 | 0.00024075 | 3.7764e-07 | 8.5733e-09 | 0.001302 | 2.4539e-07 | 0.0028996 | 0.00072656 | 8.5725 | 0.00029257
34 | 4.8425e-06 | 0.064675 | 0.00036359 | 0.069873 | 5.5994 |  |  |  |  | 6.857 | 8.9195 | 8.2467 | 0.0015464 | 0.00024168 | 3.8324e-07 | 8.752e-09 | 0.0013217 | 2.5127e-07 | 0.0029325 | 0.00073643 | 8.6224 | 0.00029683
35 | 4.8114e-06 | 0.065664 | 0.00037172 | 0.07098 | 5.5994 |  |  |  |  | 6.8482 | 8.9138 | 8.2434 | 0.0015665 | 0.00024264 | 3.89e-07 | 8.9375e-09 | 0.001342 | 2.574e-07 | 0.0029663 | 0.00074669 | 8.6735 | 0.00030122
36 | 4.7794e-06 | 0.066684 | 0.00038022 | 0.072121 | 5.5994 |  |  |  |  | 6.8392 | 8.9078 | 8.2402 | 0.0015872 | 0.00024363 | 3.9494e-07 | 9.1302e-09 | 0.001363 | 2.6379e-07 | 0.003001 | 0.00075736 | 8.7259 | 0.00030575
37 | 4.7464e-06 | 0.067737 | 0.0003891 | 0.073299 | 5.5994 |  |  |  |  | 6.8302 | 8.9018 | 8.2369 | 0.0016085 | 0.00024464 | 4.0106e-07 | 9.3305e-09 | 0.0013846 | 2.7046e-07 | 0.0030366 | 0.00076845 | 8.7796 | 0.00031042
38 | 4.7123e-06 | 0.068823 | 0.00039839 | 0.074514 | 5.5994 |  |  |  |  | 6.821 | 8.8956 | 8.2336 | 0.0016305 | 0.00024568 | 4.0738e-07 | 9.539e-09 | 0.0014069 | 2.7742e-07 | 0.0030732 | 0.00078001 | 8.8347 | 0.00031525
39 | 4.6772e-06 | 0.069945 | 0.00040813 | 0.075769 | 5.5993 |  |  |  |  | 6.8118 | 8.8893 | 8.2303 | 0.0016532 | 0.00024676 | 4.139e-07 | 9.7559e-09 | 0.00143 | 2.847e-07 | 0.0031108 | 0.00079205 | 8.8913 | 0.00032024
40 | 4.6409e-06 | 0.071104 | 0.00041834 | 0.077066 | 5.5993 |  |  |  |  | 6.8024 | 8.8828 | 8.2269 | 0.0016767 | 0.00024786 | 4.2064e-07 | 9.982e-09 | 0.0014538 | 2.9232e-07 | 0.0031494 | 0.00080461 | 8.9494 | 0.0003254
41 | 4.6034e-06 | 0.072302 | 0.00042907 | 0.078406 | 5.5993 |  |  |  |  | 6.7929 | 8.8761 | 8.2236 | 0.0017009 | 0.000249 | 4.276e-07 | 1.0218e-08 | 0.0014785 | 3.003e-07 | 0.0031891 | 0.00081773 | 9.0091 | 0.00033073
42 | 4.5646e-06 | 0.073541 | 0.00044034 | 0.079792 | 5.5993 |  |  |  |  | 6.7834 | 8.8693 | 8.2202 | 0.0017259 | 0.00025017 | 4.3479e-07 | 1.0464e-08 | 0.0015039 | 3.0867e-07 | 0.00323 | 0.00083145 | 9.0705 | 0.00033625
43 | 4.5245e-06 | 0.074823 | 0.0004522 | 0.081225 | 5.5993 |  |  |  |  | 6.7736 | 8.8623 | 8.2167 | 0.0017518 | 0.00025138 | 4.4224e-07 | 1.0721e-08 | 0.0015303 | 3.1746e-07 | 0.0032721 | 0.0008458 | 9.1337 | 0.00034196
44 | 4.4831e-06 | 0.076151 | 0.00046469 | 0.08271 | 5.5993 |  |  |  |  | 6.7638 | 8.8551 | 8.2133 | 0.0017786 | 0.00025262 | 4.4994e-07 | 1.099e-08 | 0.0015576 | 3.2669e-07 | 0.0033154 | 0.00086083 | 9.1987 | 0.00034789
45 | 4.4402e-06 | 0.077528 | 0.00047788 | 0.084247 | 5.5992 |  |  |  |  | 6.7538 | 8.8477 | 8.2098 | 0.0018063 | 0.00025391 | 4.5792e-07 | 1.1271e-08 | 0.001586 | 3.3641e-07 | 0.0033601 | 0.0008766 | 9.2657 | 0.00035402
46 | 5.6726e-06 | 0.078954 | 0.00035436 | 0.083623 | 6.6492 |  |  |  |  | 6.7437 | 8.9207 | 8.1872 | 0.0018351 | 0.00024156 | 4.6619e-07 | 1.015e-08 | 0.0016153 | 2.794e-07 | 0.0034061 | 0.00073447 | 9.2876 | 0.00036039
47 | 5.628e-06 | 0.080437 | 0.00036404 | 0.085236 | 6.6492 |  |  |  |  | 6.7336 | 8.9049 | 8.1741 | 0.0018652 | 0.00023824 | 4.748e-07 | 1.0496e-08 | 0.0016458 | 2.9536e-07 | 0.0034565 | 0.00074343 | 9.3111 | 0.00036706
48 | 5.5818e-06 | 0.081977 | 0.00037425 | 0.08691 | 6.6492 |  |  |  |  | 6.7233 | 8.8977 | 8.1703 | 0.0018964 | 0.00023962 | 4.8373e-07 | 1.0771e-08 | 0.0016774 | 3.0419e-07 | 0.0035086 | 0.00075705 | 9.3375 | 0.00037401
49 | 5.5337e-06 | 0.083577 | 0.00038504 | 0.088649 | 6.6492 |  |  |  |  | 6.7129 | 8.8903 | 8.1664 | 0.0019289 | 0.00024105 | 4.93e-07 | 1.106e-08 | 0.0017103 | 3.1351e-07 | 0.0035626 | 0.00077136 | 9.3669 | 0.00038124
50 | 5.4838e-06 | 0.085241 | 0.00039645 | 0.090458 | 6.6492 |  |  |  |  | 6.7024 | 8.8827 | 8.1625 | 0.0019627 | 0.00024252 | 5.0264e-07 | 1.1362e-08 | 0.0017445 | 3.2335e-07 | 0.0036184 | 0.00078641 | 9.3993 | 0.00038876
51 | 5.431e-06 | 0.086973 | 0.00040862 | 0.09234 | 6.6485 |  |  |  |  | 6.6917 | 8.8748 | 8.1586 | 0.0019978 | 0.00024405 | 5.1267e-07 | 1.168e-08 | 0.0017801 | 3.3381e-07 | 0.0036762 | 0.00080235 | 9.4347 | 0.00039658
52 | 5.377e-06 | 0.088776 | 0.00042147 | 0.0943 | 6.6484 |  |  |  |  | 6.6808 | 8.8668 | 8.1546 | 0.0020343 | 0.00024564 | 5.231e-07 | 1.2014e-08 | 0.0018172 | 3.4481e-07 | 0.0037361 | 0.00081909 | 9.4732 | 0.00040473
53 | 5.3207e-06 | 0.090656 | 0.00043513 | 0.096343 | 6.6484 |  |  |  |  | 6.6697 | 8.8584 | 8.1506 | 0.0020724 | 0.00024728 | 5.3398e-07 | 1.2365e-08 | 0.0018559 | 3.5648e-07 | 0.0037982 | 0.00083679 | 9.5149 | 0.00041324
54 | 5.262e-06 | 0.092617 | 0.00044969 | 0.098473 | 6.6484 |  |  |  |  | 6.6584 | 8.8498 | 8.1466 | 0.0021121 | 0.00024899 | 5.4532e-07 | 1.2736e-08 | 0.0018962 | 3.6887e-07 | 0.0038625 | 0.00085552 | 9.5599 | 0.00042211
55 | 5.2008e-06 | 0.094665 | 0.00046523 | 0.1007 | 6.6484 |  |  |  |  | 6.6469 | 8.8409 | 8.1425 | 0.0021535 | 0.00025077 | 5.5715e-07 | 1.3127e-08 | 0.0019383 | 3.8204e-07 | 0.0039294 | 0.00087538 | 9.6082 | 0.00043138
56 | 5.1369e-06 | 0.096806 | 0.00048186 | 0.10302 | 6.6484 |  |  |  |  | 6.6353 | 8.8317 | 8.1384 | 0.0021967 | 0.00025261 | 5.6952e-07 | 1.354e-08 | 0.0019824 | 3.9609e-07 | 0.0039988 | 0.00089649 | 9.66 | 0.00044108
57 | 5.0702e-06 | 0.099046 | 0.00049969 | 0.10545 | 6.6483 |  |  |  |  | 6.6234 | 8.8221 | 8.1342 | 0.0022419 | 0.00025453 | 5.8245e-07 | 1.3977e-08 | 0.0020285 | 4.1109e-07 | 0.0040709 | 0.00091897 | 9.7154 | 0.00045123
58 | 5.0003e-06 | 0.10139 | 0.00051886 | 0.10799 | 6.6483 |  |  |  |  | 6.6113 | 8.8121 | 8.1301 | 0.0022892 | 0.00025653 | 5.9598e-07 | 1.4441e-08 | 0.0020767 | 4.2714e-07 | 0.004146 | 0.00094295 | 9.7747 | 0.00046186
59 | 4.9272e-06 | 0.10385 | 0.00053951 | 0.11066 | 6.6483 |  |  |  |  | 6.5989 | 8.8018 | 8.1259 | 0.0023388 | 0.00025862 | 6.1017e-07 | 1.4934e-08 | 0.0021274 | 4.4436e-07 | 0.0042241 | 0.00096859 | 9.838 | 0.00047301
60 | 4.8506e-06 | 0.10644 | 0.00056183 | 0.11345 | 6.6483 |  |  |  |  | 6.5863 | 8.791 | 8.1216 | 0.0023908 | 0.00026079 | 6.2505e-07 | 1.5458e-08 | 0.0021806 | 4.6289e-07 | 0.0043055 | 0.00099608 | 9.9055 | 0.00048473
61 | 4.7702e-06 | 0.10915 | 0.00058602 | 0.11639 | 6.6483 |  |  |  |  | 6.5735 | 8.7797 | 8.1173 | 0.0024454 | 0.00026306 | 6.4068e-07 | 1.6018e-08 | 0.0022365 | 4.8287e-07 | 0.0043903 | 0.0010256 | 9.9775 | 0.00049705
62 | 4.6858e-06 | 0.11201 | 0.00061232 | 0.11947 | 6.6482 |  |  |  |  | 6.5603 | 8.768 | 8.113 | 0.0025029 | 0.00026542 | 6.5712e-07 | 1.6617e-08 | 0.0022953 | 5.0449e-07 | 0.0044789 | 0.0010575 | 10.0543 | 0.00051001
63 | 4.5971e-06 | 0.11502 | 0.00064102 | 0.12271 | 6.6482 |  |  |  |  | 6.5469 | 8.7556 | 8.1087 | 0.0025633 | 0.00026789 | 6.7443e-07 | 1.7259e-08 | 0.0023573 | 5.2796e-07 | 0.0045713 | 0.0010919 | 10.1362 | 0.00052368
64 | 4.5038e-06 | 0.1182 | 0.00067245 | 0.12613 | 6.6482 |  |  |  |  | 6.5332 | 8.7427 | 8.1043 | 0.0026271 | 0.00027048 | 6.9268e-07 | 1.7949e-08 | 0.0024228 | 5.5353e-07 | 0.004668 | 0.0011293 | 10.2237 | 0.00053812
65 | 4.4055e-06 | 0.12155 | 0.00070703 | 0.12974 | 6.6482 |  |  |  |  | 6.5191 | 8.7291 | 8.1 | 0.0026944 | 0.00027318 | 7.1196e-07 | 1.8693e-08 | 0.002492 | 5.8149e-07 | 0.0047691 | 0.00117 | 10.3172 | 0.00055337
66 | 4.3017e-06 | 0.12511 | 0.00074522 | 0.13354 | 6.6481 |  |  |  |  | 6.5047 | 8.7147 | 8.0956 | 0.0027656 | 0.000276 | 7.3235e-07 | 1.9499e-08 | 0.0025653 | 6.1221e-07 | 0.0048749 | 0.0012145 | 10.4172 | 0.00056953
67 | 4.1922e-06 | 0.12888 | 0.00078762 | 0.13757 | 6.6481 |  |  |  |  | 6.49 | 8.6995 | 8.0911 | 0.0028411 | 0.00027896 | 7.5395e-07 | 2.0374e-08 | 0.002643 | 6.4611e-07 | 0.0049859 | 0.0012633 | 10.5243 | 0.00058667
68 | 4.0763e-06 | 0.13288 | 0.00083496 | 0.14183 | 6.6481 |  |  |  |  | 6.4748 | 8.6833 | 8.0867 | 0.0029212 | 0.00028206 | 7.7687e-07 | 2.1329e-08 | 0.0027256 | 6.8372e-07 | 0.0051022 | 0.0013172 | 10.6392 | 0.00060489
69 | 3.9536e-06 | 0.13714 | 0.00088813 | 0.14635 | 6.6481 |  |  |  |  | 6.4593 | 8.6662 | 8.0822 | 0.0030063 | 0.00028531 | 8.0125e-07 | 2.2376e-08 | 0.0028135 | 7.2571e-07 | 0.0052243 | 0.0013769 | 10.7628 | 0.00062428
70 | 3.8236e-06 | 0.14168 | 0.00094826 | 0.15114 | 6.648 |  |  |  |  | 6.4433 | 8.6478 | 8.0777 | 0.003097 | 0.0002887 | 8.2721e-07 | 2.353e-08 | 0.0029072 | 7.7289e-07 | 0.0053525 | 0.0014436 | 10.8961 | 0.00064496
71 | 6.4428e-06 | 0.14653 | 0.0006176 | 0.15605 | 7.148 |  |  |  |  | 6.4268 | 8.8489 | 8.072 | 0.0031938 | 0.00029123 | 8.5492e-07 | 1.9653e-08 | 0.0030074 | 4.7522e-07 | 0.0054873 | 0.0010088 | 10.9411 | 0.00066708
72 | 6.2178e-06 | 0.15174 | 0.00066241 | 0.16155 | 7.148 |  |  |  |  | 6.4099 | 8.8067 | 8.0433 | 0.0032975 | 0.00028129 | 8.8475e-07 | 2.125e-08 | 0.0031148 | 5.4277e-07 | 0.0056473 | 0.0010478 | 10.9923 | 0.00069077
73 | 5.9778e-06 | 0.15734 | 0.00071395 | 0.16743 | 7.148 |  |  |  |  | 6.3926 | 8.7851 | 8.038 | 0.0034092 | 0.00028557 | 9.1674e-07 | 2.2406e-08 | 0.0032302 | 5.8364e-07 | 0.0058176 | 0.0011063 | 11.0532 | 0.00071634
74 | 5.7212e-06 | 0.16336 | 0.00077386 | 0.17372 | 7.148 |  |  |  |  | 6.3747 | 8.7615 | 8.0327 | 0.0035293 | 0.0002901 | 9.5113e-07 | 2.3696e-08 | 0.0033544 | 6.3092e-07 | 0.0059988 | 0.0011734 | 11.1251 | 0.00074388
75 | 5.4446e-06 | 0.16987 | 0.00084456 | 0.18047 | 7.1469 |  |  |  |  | 6.3561 | 8.7356 | 8.0273 | 0.0036589 | 0.0002949 | 9.8823e-07 | 2.5148e-08 | 0.0034885 | 6.8639e-07 | 0.0061918 | 0.0012515 | 11.2094 | 0.00077363
76 | 5.1499e-06 | 0.17691 | 0.00092854 | 0.18772 | 7.1469 |  |  |  |  | 6.3369 | 8.7071 | 8.022 | 0.0037991 | 0.0003 | 1.0284e-06 | 2.6794e-08 | 0.0036339 | 7.5177e-07 | 0.0063977 | 0.0013429 | 11.3082 | 0.00080585
77 | 4.8332e-06 | 0.18456 | 0.0010302 | 0.19554 | 7.1469 |  |  |  |  | 6.317 | 8.6755 | 8.0166 | 0.0039512 | 0.00030539 | 1.0719e-06 | 2.8688e-08 | 0.0037918 | 8.3044e-07 | 0.0066175 | 0.0014516 | 11.4239 | 0.00084088
78 | 4.4924e-06 | 0.1929 | 0.0011558 | 0.20397 | 7.1469 |  |  |  |  | 6.2962 | 8.64 | 8.0112 | 0.0041169 | 0.00031109 | 1.1193e-06 | 3.0901e-08 | 0.0039641 | 9.2691e-07 | 0.0068523 | 0.0015834 | 11.5602 | 0.00087909
79 | 4.1249e-06 | 0.20203 | 0.0013144 | 0.2131 | 7.1468 |  |  |  |  | 6.2746 | 8.5996 | 8.0058 | 0.0042982 | 0.0003171 | 1.1712e-06 | 3.354e-08 | 0.0041529 | 1.0481e-06 | 0.0071032 | 0.0017465 | 11.7215 | 0.00092094
80 | 3.7282e-06 | 0.21207 | 0.0015209 | 0.22301 | 7.1468 |  |  |  |  | 6.2521 | 8.5531 | 8.0004 | 0.0044972 | 0.00032338 | 1.228e-06 | 3.6774e-08 | 0.0043605 | 1.2048e-06 | 0.007371 | 0.0019535 | 11.9147 | 0.00096699
81 | 3.2997e-06 | 0.22315 | 0.0017997 | 0.23378 | 7.1468 |  |  |  |  | 6.2285 | 8.4986 | 7.995 | 0.0047169 | 0.00032986 | 1.2907e-06 | 4.0878e-08 | 0.0045899 | 1.4156e-06 | 0.0076561 | 0.002225 | 12.1496 | 0.0010179
82 | 2.8371e-06 | 0.23545 | 0.0021956 | 0.24552 | 7.1467 |  |  |  |  | 6.2037 | 8.4332 | 7.9895 | 0.0049606 | 0.00033639 | 1.3602e-06 | 4.6348e-08 | 0.0048448 | 1.7139e-06 | 0.0079579 | 0.0025962 | 12.4415 | 0.0010745
83 | 2.339e-06 | 0.24917 | 0.0027971 | 0.25837 | 7.1467 |  |  |  |  | 6.1777 | 8.3527 | 7.9838 | 0.0052326 | 0.00034266 | 1.4375e-06 | 5.4157e-08 | 0.0051297 | 2.1665e-06 | 0.0082733 | 0.0031323 | 12.8158 | 0.0011377
84 | 1.8079e-06 | 0.26457 | 0.0038043 | 0.27247 | 7.1467 |  |  |  |  | 6.1502 | 8.2506 | 7.9776 | 0.0055382 | 0.00034804 | 1.5239e-06 | 6.6481e-08 | 0.0054502 | 2.9255e-06 | 0.0085946 | 0.0039634 | 13.3184 | 0.001209
85 | 1.2574e-06 | 0.28195 | 0.0057484 | 0.28809 | 7.1466 |  |  |  |  | 6.121 | 8.1177 | 7.9705 | 0.0058843 | 0.00035138 | 1.6211e-06 | 8.9051e-08 | 0.0058133 | 4.3973e-06 | 0.0089033 | 0.0053641 | 14.0374 | 0.0012898
86 | 9.0981e-06 | 0.30168 | 0.00088648 | 0.33157 | 11.9966 |  |  |  |  | 6.0898 | 9.0269 | 8.1342 | 0.0062795 | 0.00052815 | 1.7305e-06 | 3.2055e-08 | 0.0062282 | 4.2515e-07 | 0.0091561 | 0.0013978 | 14.1012 | 0.0013824
87 | 8.0275e-06 | 0.32482 | 0.0010754 | 0.35501 | 11.9953 |  |  |  |  | 6.0555 | 8.8008 | 7.9474 | 0.0067219 | 0.0003779 | 1.8611e-06 | 4.4976e-08 | 0.0067073 | 8.3174e-07 | 0.0097529 | 0.0014376 | 14.1698 | 0.0014859
88 | 6.8264e-06 | 0.3518 | 0.0013581 | 0.38148 | 11.9953 |  |  |  |  | 6.0199 | 8.7282 | 7.9425 | 0.0072505 | 0.00039603 | 2.0125e-06 | 5.0613e-08 | 0.0072662 | 1.0276e-06 | 0.010446 | 0.0017208 | 14.2815 | 0.0016099
89 | 5.4741e-06 | 0.38366 | 0.0018252 | 0.41147 | 11.9952 |  |  |  |  | 5.9813 | 8.6324 | 7.9377 | 0.0078737 | 0.00041638 | 2.1909e-06 | 5.8701e-08 | 0.0079267 | 1.3484e-06 | 0.011239 | 0.0021718 | 14.4609 | 0.0017565
90 | 3.955e-06 | 0.42184 | 0.0027313 | 0.44563 | 11.9952 |  |  |  |  | 5.939 | 8.4956 | 7.9329 | 0.0086194 | 0.00043857 | 2.4041e-06 | 7.2182e-08 | 0.0087192 | 1.9664e-06 | 0.012146 | 0.0030057 | 14.7648 | 0.0019324
91 | 2.2797e-06 | 0.46841 | 0.0051323 | 0.48485 | 11.9951 |  |  |  |  | 5.8923 | 8.2756 | 7.9271 | 0.0095284 | 0.00046059 | 2.6632e-06 | 1.0313e-07 | 0.0096878 | 3.6053e-06 | 0.013161 | 0.0050269 | 15.3699 | 0.0021473
92 | 7.1594e-07 | 0.52632 | 0.017544 | 0.53253 | 11.9951 |  |  |  |  | 5.8399 | 7.8953 | 7.9185 | 0.010662 | 0.00047711 | 2.9832e-06 | 2.4712e-07 | 0.010898 | 1.2073e-05 | 0.014178 | 0.012287 | 17.0557 | 0.0024162
93 | 1.852e-07 | 0.599 | 0.069923 | 0.60087 | 11.9928 |  |  |  |  | 5.7801 | 7.7091 | 7.9297 | 0.012117 | 0.00048745 | 3.374e-06 | 8.5614e-07 | 0.012453 | 4.4389e-05 | 0.014448 | 0.019381 | 19.763 | 0.002763
94 | 8.8636e-08 | 0.68718 | 0.14851 | 0.68822 | 11.9926 |  |  |  |  | 5.7103 | 7.7078 | 7.9633 | 0.014055 | 0.00047173 | 3.7937e-06 | 1.8551e-06 | 0.014522 | 8.2692e-05 | 0.013626 | 0.018257 | 22.2476 | 0.0032284
95 | 5.4166e-08 | 0.79491 | 0.24704 | 0.79567 | 11.9924 |  |  |  |  | 0 | 0 | 0 | 0.016772 | 0 | 4.1814e-06 | 0 | 0.017409 | 0 | 0.0127 | 0 | 22.0159 | 0