## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate
0 | 5.7012e-06 | 0.036947 | 0.00017411 | 0.039361 | 5.6 | 19.1342 | 19.1051 | 18.9961 | 18.616 | 7.1313 | 5.3006 | 7.2055 | 0.013859 | 0.00014709 | 0.015321 | 0.0018044 | 0.00034432 | 5.4075e-07 | 0.010467 | 0.001696 | 23.7627 | 6.0632e-05
1 | 5.6898e-06 | 0.037318 | 0.00017628 | 0.039774 | 5.6 |  |  |  |  | 7.1333 | 5.3344 | 7.2278 | 0.013998 | 0.00015303 | 0.015458 | 0.0017413 | 0.00034779 | 3.6841e-07 | 0.010555 | 0.0017175 | 23.9135 | 6.3089e-05
2 | 5.6778e-06 | 0.037697 | 0.00017853 | 0.040196 | 5.6 |  |  |  |  | 7.1352 | 5.3407 | 7.2317 | 0.014139 | 0.00015538 | 0.015598 | 0.0017432 | 0.00035134 | 3.6874e-07 | 0.010646 | 0.0017367 | 24.0531 | 6.5557e-05
3 | 5.6655e-06 | 0.038084 | 0.00018083 | 0.040626 | 5.6 |  |  |  |  | 7.1371 | 5.347 | 7.2357 | 0.014283 | 0.00015778 | 0.015741 | 0.0017453 | 0.00035495 | 3.6934e-07 | 0.010737 | 0.0017563 | 24.1915 | 6.8067e-05
4 | 5.653e-06 | 0.038479 | 0.00018319 | 0.041065 | 5.5999 |  |  |  |  | 7.139 | 5.3533 | 7.2397 | 0.01443 | 0.00016025 | 0.015887 | 0.0017473 | 0.00035865 | 3.6994e-07 | 0.010831 | 0.0017763 | 24.3308 | 7.0621e-05
5 | 5.6402e-06 | 0.038882 | 0.00018561 | 0.041514 | 5.5999 |  |  |  |  | 7.1409 | 5.3598 | 7.2437 | 0.014581 | 0.00016278 | 0.016035 | 0.0017495 | 0.00036242 | 3.7053e-07 | 0.010926 | 0.0017968 | 24.4716 | 7.322e-05
6 | 5.6271e-06 | 0.039294 | 0.00018809 | 0.041973 | 5.5999 |  |  |  |  | 7.1429 | 5.3663 | 7.2478 | 0.014734 | 0.00016538 | 0.016187 | 0.0017517 | 0.00036627 | 3.7111e-07 | 0.011023 | 0.0018179 | 24.6143 | 7.5865e-05
7 | 5.6137e-06 | 0.039714 | 0.00019064 | 0.042441 | 5.5999 |  |  |  |  | 7.1449 | 5.3729 | 7.2519 | 0.014891 | 0.00016805 | 0.016343 | 0.0017539 | 0.00037021 | 3.7169e-07 | 0.011122 | 0.0018395 | 24.7591 | 7.8557e-05
8 | 5.6001e-06 | 0.040144 | 0.00019326 | 0.042921 | 5.5999 |  |  |  |  | 7.1469 | 5.3796 | 7.2561 | 0.015051 | 0.0001708 | 0.016501 | 0.0017562 | 0.00037423 | 3.7226e-07 | 0.011223 | 0.0018616 | 24.9061 | 8.1297e-05
9 | 5.5861e-06 | 0.040583 | 0.00019596 | 0.04341 | 5.5999 |  |  |  |  | 7.1489 | 5.3864 | 7.2603 | 0.015214 | 0.00017362 | 0.016663 | 0.0017585 | 0.00037833 | 3.7283e-07 | 0.011326 | 0.0018842 | 25.0555 | 8.4088e-05
10 | 5.5718e-06 | 0.041032 | 0.00019872 | 0.043912 | 5.5998 |  |  |  |  | 7.1509 | 5.3933 | 7.2645 | 0.015381 | 0.00017652 | 0.016829 | 0.0017609 | 0.00038253 | 3.7339e-07 | 0.011431 | 0.0019075 | 25.2073 | 8.6931e-05
11 | 5.5572e-06 | 0.04149 | 0.00020157 | 0.044424 | 5.5998 |  |  |  |  | 7.1529 | 5.4002 | 7.2688 | 0.015552 | 0.00017951 | 0.016998 | 0.0017634 | 0.00038683 | 3.7394e-07 | 0.011538 | 0.0019313 | 25.3617 | 8.9826e-05
12 | 5.5423e-06 | 0.04196 | 0.0002045 | 0.044949 | 5.5998 |  |  |  |  | 7.155 | 5.4073 | 7.2731 | 0.015727 | 0.00018258 | 0.017171 | 0.0017659 | 0.00039122 | 3.7449e-07 | 0.011647 | 0.0019558 | 25.5187 | 9.2777e-05
13 | 5.527e-06 | 0.042439 | 0.00020751 | 0.045485 | 5.5998 |  |  |  |  | 7.157 | 5.4145 | 7.2775 | 0.015905 | 0.00018574 | 0.017348 | 0.0017685 | 0.00039571 | 3.7503e-07 | 0.011759 | 0.001981 | 25.6785 | 9.5784e-05
14 | 5.5114e-06 | 0.042931 | 0.00021061 | 0.046035 | 5.5998 |  |  |  |  | 7.1591 | 5.4218 | 7.2819 | 0.016088 | 0.000189 | 0.017529 | 0.0017711 | 0.00040031 | 3.7556e-07 | 0.011872 | 0.0020068 | 25.8411 | 9.8851e-05
15 | 5.4954e-06 | 0.043433 | 0.0002138 | 0.046598 | 5.5998 |  |  |  |  | 7.1612 | 5.4291 | 7.2863 | 0.016275 | 0.00019235 | 0.017715 | 0.0017739 | 0.00040501 | 3.7608e-07 | 0.011988 | 0.0020333 | 26.0066 | 0.00010198
16 | 5.479e-06 | 0.043948 | 0.00021709 | 0.047174 | 5.5998 |  |  |  |  | 7.1633 | 5.4366 | 7.2908 | 0.016467 | 0.00019581 | 0.017905 | 0.0017767 | 0.00040983 | 3.766e-07 | 0.012107 | 0.0020606 | 26.1751 | 0.00010517
17 | 5.4622e-06 | 0.044475 | 0.00022048 | 0.047765 | 5.5997 |  |  |  |  | 7.1655 | 5.4442 | 7.2954 | 0.016663 | 0.00019937 | 0.018099 | 0.0017795 | 0.00041476 | 3.7711e-07 | 0.012228 | 0.0020887 | 26.3468 | 0.00010842
18 | 5.445e-06 | 0.045014 | 0.00022398 | 0.04837 | 5.5997 |  |  |  |  | 7.1676 | 5.4519 | 7.3 | 0.016864 | 0.00020304 | 0.018298 | 0.0017825 | 0.00041982 | 3.7762e-07 | 0.012352 | 0.0021176 | 26.5216 | 0.00011174
19 | 5.4273e-06 | 0.045567 | 0.00022759 | 0.048991 | 5.5997 |  |  |  |  | 7.1698 | 5.4597 | 7.3046 | 0.017069 | 0.00020683 | 0.018502 | 0.0017855 | 0.00042499 | 3.7811e-07 | 0.012478 | 0.0021473 | 26.6998 | 0.00011513
20 | 5.4093e-06 | 0.046134 | 0.00023131 | 0.049628 | 5.5997 |  |  |  |  | 7.172 | 5.4677 | 7.3094 | 0.01728 | 0.00021074 | 0.018711 | 0.0017886 | 0.0004303 | 3.7859e-07 | 0.012607 | 0.0021779 | 26.8814 | 0.00011859
21 | 5.3907e-06 | 0.046715 | 0.00023515 | 0.05028 | 5.5997 |  |  |  |  | 7.1742 | 5.4757 | 7.3141 | 0.017496 | 0.00021477 | 0.018925 | 0.0017919 | 0.00043574 | 3.7907e-07 | 0.012739 | 0.0022094 | 27.0666 | 0.00012212
22 | 5.3717e-06 | 0.047311 | 0.00023913 | 0.05095 | 5.5997 |  |  |  |  | 7.1765 | 5.4839 | 7.3189 | 0.017718 | 0.00021894 | 0.019145 | 0.0017952 | 0.00044133 | 3.7954e-07 | 0.012874 | 0.0022418 | 27.2555 | 0.00012573
23 | 5.3522e-06 | 0.047922 | 0.00024323 | 0.051638 | 5.5996 |  |  |  |  | 7.1787 | 5.4922 | 7.3238 | 0.017945 | 0.00022325 | 0.01937 | 0.0017986 | 0.00044705 | 3.8e-07 | 0.013012 | 0.0022753 | 27.4481 | 0.00012942
24 | 5.3322e-06 | 0.04855 | 0.00024748 | 0.052344 | 5.5996 |  |  |  |  | 7.181 | 5.5006 | 7.3287 | 0.018178 | 0.00022769 | 0.019601 | 0.0018021 | 0.00045293 | 3.8045e-07 | 0.013153 | 0.0023099 | 27.6447 | 0.00013319
25 | 5.3116e-06 | 0.049194 | 0.00025188 | 0.053069 | 5.5996 |  |  |  |  | 7.1833 | 5.5091 | 7.3336 | 0.018417 | 0.00023229 | 0.019838 | 0.0018057 | 0.00045896 | 3.809e-07 | 0.013298 | 0.0023455 | 27.8454 | 0.00013705
26 | 5.2905e-06 | 0.049855 | 0.00025643 | 0.053815 | 5.5996 |  |  |  |  | 7.1856 | 5.5178 | 7.3387 | 0.018663 | 0.00023705 | 0.020082 | 0.0018094 | 0.00046516 | 3.8133e-07 | 0.013446 | 0.0023823 | 28.0504 | 0.00014099
27 | 5.2688e-06 | 0.050534 | 0.00026114 | 0.054581 | 5.5996 |  |  |  |  | 7.1879 | 5.5267 | 7.3438 | 0.018916 | 0.00024198 | 0.020332 | 0.0018132 | 0.00047153 | 3.8176e-07 | 0.013598 | 0.0024203 | 28.2597 | 0.00014503
28 | 5.2465e-06 | 0.051233 | 0.00026603 | 0.055368 | 5.5996 |  |  |  |  | 7.1903 | 5.5356 | 7.3489 | 0.019175 | 0.00024707 | 0.02059 | 0.0018172 | 0.00047807 | 3.8218e-07 | 0.013753 | 0.0024596 | 28.4735 | 0.00014916
29 | 5.2236e-06 | 0.05195 | 0.0002711 | 0.056178 | 5.5995 |  |  |  |  | 7.1926 | 5.5447 | 7.3541 | 0.019442 | 0.00025235 | 0.020854 | 0.0018213 | 0.0004848 | 3.8259e-07 | 0.013912 | 0.0025003 | 28.6921 | 0.00015339
30 | 5.2e-06 | 0.052689 | 0.00027637 | 0.057012 | 5.5995 |  |  |  |  | 7.195 | 5.554 | 7.3594 | 0.019716 | 0.00025782 | 0.021126 | 0.0018255 | 0.00049172 | 3.8299e-07 | 0.014075 | 0.0025423 | 28.9156 | 0.00015772
31 | 5.1757e-06 | 0.053448 | 0.00028184 | 0.05787 | 5.5995 |  |  |  |  | 7.1974 | 5.5634 | 7.3647 | 0.019998 | 0.0002635 | 0.021406 | 0.0018299 | 0.00049884 | 3.8338e-07 | 0.014242 | 0.0025859 | 29.1442 | 0.00016216
32 | 5.1507e-06 | 0.05423 | 0.00028752 | 0.058753 | 5.5995 |  |  |  |  | 7.1999 | 5.573 | 7.3701 | 0.020288 | 0.00026938 | 0.021694 | 0.0018344 | 0.00050617 | 3.8377e-07 | 0.014413 | 0.002631 | 29.3781 | 0.00016671
33 | 5.125e-06 | 0.055035 | 0.00029343 | 0.059664 | 5.5995 |  |  |  |  | 7.2023 | 5.5827 | 7.3756 | 0.020587 | 0.00027549 | 0.02199 | 0.0018391 | 0.00051372 | 3.8415e-07 | 0.014589 | 0.0026778 | 29.6176 | 0.00017138
34 | 5.0985e-06 | 0.055865 | 0.00029959 | 0.060602 | 5.5994 |  |  |  |  | 7.2048 | 5.5926 | 7.3811 | 0.020894 | 0.00028184 | 0.022295 | 0.001844 | 0.0005215 | 3.8452e-07 | 0.01477 | 0.0027264 | 29.8628 | 0.00017616
35 | 5.0712e-06 | 0.05672 | 0.000306 | 0.061569 | 5.5994 |  |  |  |  | 7.2073 | 5.6027 | 7.3867 | 0.021212 | 0.00028843 | 0.02261 | 0.001849 | 0.00052952 | 3.8489e-07 | 0.014955 | 0.0027768 | 30.114 | 0.00018108
36 | 5.043e-06 | 0.057601 | 0.00031269 | 0.062567 | 5.5994 |  |  |  |  | 7.2098 | 5.613 | 7.3924 | 0.021538 | 0.00029528 | 0.022934 | 0.0018542 | 0.00053778 | 3.8525e-07 | 0.015145 | 0.0028291 | 30.3714 | 0.00018612
37 | 5.014e-06 | 0.05851 | 0.00031967 | 0.063597 | 5.5994 |  |  |  |  | 7.2123 | 5.6234 | 7.3982 | 0.021876 | 0.00030241 | 0.023269 | 0.0018596 | 0.00054631 | 3.8561e-07 | 0.015341 | 0.0028836 | 30.6354 | 0.00019131
38 | 4.984e-06 | 0.059449 | 0.00032696 | 0.06466 | 5.5994 |  |  |  |  | 7.2149 | 5.6341 | 7.404 | 0.022224 | 0.00030984 | 0.023614 | 0.0018652 | 0.00055512 | 3.8596e-07 | 0.015542 | 0.0029403 | 30.9061 | 0.00019663
39 | 4.953e-06 | 0.060418 | 0.00033458 | 0.065759 | 5.5994 |  |  |  |  | 7.2175 | 5.6449 | 7.4099 | 0.022583 | 0.00031757 | 0.023971 | 0.0018711 | 0.00056421 | 3.8631e-07 | 0.015748 | 0.0029993 | 31.184 | 0.00020211
40 | 4.9211e-06 | 0.06142 | 0.00034256 | 0.066894 | 5.5993 |  |  |  |  | 7.2201 | 5.6559 | 7.4159 | 0.022954 | 0.00032562 | 0.024339 | 0.0018772 | 0.00057361 | 3.8666e-07 | 0.015961 | 0.0030608 | 31.4694 | 0.00020775
41 | 4.888e-06 | 0.062455 | 0.00035091 | 0.068068 | 5.5993 |  |  |  |  | 7.2227 | 5.6672 | 7.4219 | 0.023337 | 0.00033403 | 0.02472 | 0.0018835 | 0.00058332 | 3.8701e-07 | 0.016179 | 0.0031249 | 31.7626 | 0.00021355
42 | 4.8539e-06 | 0.063525 | 0.00035967 | 0.069282 | 5.5993 |  |  |  |  | 7.2253 | 5.6786 | 7.428 | 0.023734 | 0.0003428 | 0.025114 | 0.0018901 | 0.00059338 | 3.8736e-07 | 0.016405 | 0.0031919 | 32.064 | 0.00021952
43 | 4.8185e-06 | 0.064634 | 0.00036887 | 0.070539 | 5.5993 |  |  |  |  | 7.228 | 5.6903 | 7.4343 | 0.024144 | 0.00035196 | 0.025521 | 0.001897 | 0.00060378 | 3.8772e-07 | 0.016636 | 0.0032619 | 32.3739 | 0.00022568
44 | 4.7819e-06 | 0.065781 | 0.00037854 | 0.071841 | 5.5993 |  |  |  |  | 7.2307 | 5.7022 | 7.4406 | 0.024569 | 0.00036153 | 0.025943 | 0.0019042 | 0.00061455 | 3.8809e-07 | 0.016875 | 0.0033351 | 32.6929 | 0.00023203
45 | 4.744e-06 | 0.06697 | 0.00038871 | 0.07319 | 5.5992 |  |  |  |  | 7.2334 | 5.7144 | 7.447 | 0.025009 | 0.00037154 | 0.02638 | 0.0019117 | 0.00062572 | 3.8846e-07 | 0.017121 | 0.0034118 | 33.0214 | 0.00023858
46 | 5.9768e-06 | 0.068203 | 0.00029148 | 0.072459 | 6.6492 |  |  |  |  | 7.2361 | 5.6417 | 7.4237 | 0.025466 | 0.00033005 | 0.026833 | 0.0019594 | 0.0006373 | 4.0168e-07 | 0.017375 | 0.0027607 | 33.1418 | 0.00024535
47 | 5.9377e-06 | 0.069485 | 0.00029908 | 0.073864 | 6.6492 |  |  |  |  | 7.2391 | 5.6403 | 7.4229 | 0.02594 | 0.00033563 | 0.027302 | 0.0019967 | 0.00064932 | 4.4874e-07 | 0.017651 | 0.0028214 | 33.2749 | 0.00025237
48 | 5.8972e-06 | 0.070815 | 0.00030708 | 0.075324 | 6.6492 |  |  |  |  | 7.2422 | 5.6523 | 7.4292 | 0.026432 | 0.00034523 | 0.027789 | 0.0020056 | 0.0006618 | 4.5156e-07 | 0.017936 | 0.0028881 | 33.4217 | 0.00025965
49 | 5.8551e-06 | 0.072198 | 0.00031551 | 0.076841 | 6.6492 |  |  |  |  | 7.2453 | 5.6646 | 7.4357 | 0.026944 | 0.00035532 | 0.028295 | 0.0020148 | 0.00067476 | 4.5429e-07 | 0.018231 | 0.0029582 | 33.5822 | 0.00026717
50 | 5.8113e-06 | 0.073635 | 0.0003244 | 0.078419 | 6.6492 |  |  |  |  | 7.2485 | 5.6772 | 7.4423 | 0.027476 | 0.0003659 | 0.02882 | 0.0020243 | 0.00068825 | 4.5714e-07 | 0.018537 | 0.0030319 | 33.7566 | 0.00027496
51 | 5.7649e-06 | 0.075132 | 0.00033385 | 0.080061 | 6.6485 |  |  |  |  | 7.2517 | 5.69 | 7.4489 | 0.028029 | 0.00037703 | 0.029367 | 0.0020344 | 0.00070229 | 4.6022e-07 | 0.018853 | 0.0031098 | 33.9454 | 0.00028303
52 | 5.7175e-06 | 0.07669 | 0.0003438 | 0.081773 | 6.6484 |  |  |  |  | 7.2549 | 5.7031 | 7.4557 | 0.028605 | 0.00038872 | 0.029936 | 0.0020449 | 0.00071691 | 4.6331e-07 | 0.019181 | 0.0031914 | 34.1486 | 0.00029139
53 | 5.668e-06 | 0.078314 | 0.00035436 | 0.083557 | 6.6484 |  |  |  |  | 7.2582 | 5.7165 | 7.4626 | 0.029205 | 0.00040102 | 0.03053 | 0.0020559 | 0.00073215 | 4.6658e-07 | 0.019521 | 0.0032776 | 34.3666 | 0.00030008
54 | 5.6165e-06 | 0.080009 | 0.00036556 | 0.085419 | 6.6484 |  |  |  |  | 7.2615 | 5.7302 | 7.4696 | 0.029832 | 0.00041399 | 0.031149 | 0.0020676 | 0.00074806 | 4.7003e-07 | 0.019874 | 0.0033687 | 34.5999 | 0.00030909
55 | 5.5627e-06 | 0.081779 | 0.00037748 | 0.087363 | 6.6484 |  |  |  |  | 7.2648 | 5.7443 | 7.4767 | 0.030485 | 0.00042766 | 0.031795 | 0.0020797 | 0.00076467 | 4.7366e-07 | 0.020241 | 0.003465 | 34.849 | 0.00031847
56 | 5.5065e-06 | 0.083629 | 0.00039019 | 0.089396 | 6.6484 |  |  |  |  | 7.2682 | 5.7586 | 7.4839 | 0.031168 | 0.0004421 | 0.03247 | 0.0020926 | 0.00078204 | 4.775e-07 | 0.020623 | 0.0035672 | 35.1145 | 0.00032823
57 | 5.4478e-06 | 0.085565 | 0.00040376 | 0.091522 | 6.6483 |  |  |  |  | 7.2716 | 5.7733 | 7.4912 | 0.031883 | 0.00045737 | 0.033177 | 0.0021062 | 0.00080021 | 4.8158e-07 | 0.021019 | 0.0036757 | 35.397 | 0.00033839
58 | 5.3863e-06 | 0.087592 | 0.00041828 | 0.09375 | 6.6483 |  |  |  |  | 7.275 | 5.7884 | 7.4986 | 0.032631 | 0.00047354 | 0.033917 | 0.0021205 | 0.00081926 | 4.8592e-07 | 0.021432 | 0.0037911 | 35.6973 | 0.00034899
59 | 5.3219e-06 | 0.089718 | 0.00043386 | 0.096084 | 6.6483 |  |  |  |  | 7.2785 | 5.8038 | 7.5062 | 0.033415 | 0.00049068 | 0.034692 | 0.0021357 | 0.00083923 | 4.9055e-07 | 0.021862 | 0.0039142 | 36.0164 | 0.00036006
60 | 5.2544e-06 | 0.091951 | 0.00045062 | 0.098534 | 6.6483 |  |  |  |  | 7.2819 | 5.8196 | 7.5138 | 0.034239 | 0.00050887 | 0.035506 | 0.0021518 | 0.00086019 | 4.9552e-07 | 0.022311 | 0.0040457 | 36.3552 | 0.00037163
61 | 5.1836e-06 | 0.094297 | 0.00046868 | 0.10111 | 6.6483 |  |  |  |  | 7.2855 | 5.8359 | 7.5216 | 0.035103 | 0.00052822 | 0.036361 | 0.0021688 | 0.00088224 | 5.0086e-07 | 0.022779 | 0.0041865 | 36.7149 | 0.00038374
62 | 5.1091e-06 | 0.096766 | 0.00048821 | 0.10382 | 6.6482 |  |  |  |  | 7.289 | 5.8526 | 7.5296 | 0.036013 | 0.00054883 | 0.037261 | 0.002187 | 0.00090544 | 5.0663e-07 | 0.023269 | 0.0043376 | 37.0968 | 0.00039644
63 | 5.0308e-06 | 0.099368 | 0.00050939 | 0.10667 | 6.6482 |  |  |  |  | 7.2926 | 5.8697 | 7.5376 | 0.036972 | 0.00057082 | 0.038209 | 0.0022064 | 0.0009299 | 5.1289e-07 | 0.02378 | 0.0045003 | 37.5024 | 0.00040976
64 | 4.9483e-06 | 0.10211 | 0.00053243 | 0.10967 | 6.6482 |  |  |  |  | 7.2962 | 5.8873 | 7.5458 | 0.037983 | 0.00059432 | 0.039209 | 0.0022272 | 0.00095571 | 5.1972e-07 | 0.024316 | 0.0046759 | 37.9333 | 0.00042376
65 | 4.8613e-06 | 0.10502 | 0.00055759 | 0.11284 | 6.6482 |  |  |  |  | 7.2999 | 5.9054 | 7.5542 | 0.039051 | 0.0006195 | 0.040266 | 0.0022495 | 0.00098301 | 5.2719e-07 | 0.024877 | 0.004866 | 38.3915 | 0.00043849
66 | 4.7694e-06 | 0.10809 | 0.00058516 | 0.1162 | 6.6481 |  |  |  |  | 7.3035 | 5.9241 | 7.5626 | 0.040182 | 0.00064651 | 0.041384 | 0.0022734 | 0.0010119 | 5.3542e-07 | 0.025466 | 0.0050725 | 38.8793 | 0.00045404
67 | 4.6723e-06 | 0.11135 | 0.0006155 | 0.11975 | 6.6481 |  |  |  |  | 7.3072 | 5.9433 | 7.5713 | 0.04138 | 0.00067558 | 0.042569 | 0.0022992 | 0.0010425 | 5.4452e-07 | 0.026084 | 0.0052976 | 39.3991 | 0.00047045
68 | 4.5695e-06 | 0.11481 | 0.00064905 | 0.12351 | 6.6481 |  |  |  |  | 7.311 | 5.9631 | 7.58 | 0.042652 | 0.00070694 | 0.043828 | 0.0023271 | 0.0010751 | 5.5466e-07 | 0.026733 | 0.0055441 | 39.9538 | 0.00048782
69 | 4.4605e-06 | 0.11849 | 0.00068633 | 0.1275 | 6.6481 |  |  |  |  | 7.3147 | 5.9836 | 7.5889 | 0.044005 | 0.00074085 | 0.045166 | 0.0023575 | 0.0011098 | 5.6603e-07 | 0.027417 | 0.005815 | 40.547 | 0.00050625
70 | 4.3447e-06 | 0.12242 | 0.00072799 | 0.13175 | 6.648 |  |  |  |  | 7.3185 | 6.0048 | 7.598 | 0.045447 | 0.00077764 | 0.046593 | 0.0023905 | 0.0011467 | 5.7886e-07 | 0.028137 | 0.0061143 | 41.1825 | 0.00052582
71 | 7.2605e-06 | 0.12661 | 0.00047754 | 0.13591 | 7.148 |  |  |  |  | 7.3223 | 5.9587 | 7.6037 | 0.046987 | 0.00069574 | 0.048118 | 0.0023213 | 0.0011863 | 3.5508e-07 | 0.028896 | 0.0040279 | 41.3943 | 0.00054667
72 | 7.0609e-06 | 0.13112 | 0.00050856 | 0.14078 | 7.148 |  |  |  |  | 7.3261 | 5.9321 | 7.5917 | 0.04864 | 0.00070625 | 0.049753 | 0.002459 | 0.0012286 | 4.6037e-07 | 0.029784 | 0.0042375 | 41.6406 | 0.00056892
73 | 6.8475e-06 | 0.13595 | 0.00054374 | 0.14598 | 7.148 |  |  |  |  | 7.3303 | 5.9545 | 7.6009 | 0.050416 | 0.00074472 | 0.051505 | 0.0024966 | 0.0012741 | 4.7619e-07 | 0.03073 | 0.0044971 | 41.9293 | 0.00059278
74 | 6.619e-06 | 0.14116 | 0.00058394 | 0.15156 | 7.148 |  |  |  |  | 7.3346 | 5.9781 | 7.6105 | 0.052326 | 0.00078712 | 0.05339 | 0.0025368 | 0.0013231 | 4.9332e-07 | 0.031739 | 0.0047905 | 42.2652 | 0.00061838
75 | 6.372e-06 | 0.14679 | 0.00063047 | 0.15756 | 7.1469 |  |  |  |  | 7.339 | 6.0026 | 7.6202 | 0.054388 | 0.00083381 | 0.055424 | 0.0025814 | 0.001376 | 5.1338e-07 | 0.032817 | 0.0051259 | 42.6541 | 0.00064594
76 | 6.1084e-06 | 0.15288 | 0.00068452 | 0.16402 | 7.1469 |  |  |  |  | 7.3433 | 6.0281 | 7.63 | 0.056619 | 0.00088546 | 0.057626 | 0.0026308 | 0.0014333 | 5.3665e-07 | 0.033971 | 0.0055102 | 43.1028 | 0.00067569
77 | 5.8245e-06 | 0.15949 | 0.00074826 | 0.17099 | 7.1469 |  |  |  |  | 7.3477 | 6.0546 | 7.64 | 0.059042 | 0.00094295 | 0.060017 | 0.0026864 | 0.0014956 | 5.6437e-07 | 0.035209 | 0.0059569 | 43.6202 | 0.00070793
78 | 5.5179e-06 | 0.16671 | 0.00082448 | 0.17854 | 7.1469 |  |  |  |  | 7.3521 | 6.0823 | 7.6501 | 0.061683 | 0.0010074 | 0.062623 | 0.0027493 | 0.0015636 | 5.9785e-07 | 0.036538 | 0.0064826 | 44.2178 | 0.000743
79 | 5.1863e-06 | 0.17461 | 0.00091716 | 0.18672 | 7.1468 |  |  |  |  | 7.3565 | 6.1113 | 7.6602 | 0.064573 | 0.0010805 | 0.065474 | 0.0028214 | 0.001638 | 6.3905e-07 | 0.037969 | 0.0071106 | 44.9104 | 0.00078129
80 | 4.8266e-06 | 0.18329 | 0.0010321 | 0.19563 | 7.1468 |  |  |  |  | 7.3609 | 6.1417 | 7.6704 | 0.067747 | 0.0011642 | 0.068606 | 0.0029052 | 0.0017199 | 6.9089e-07 | 0.039512 | 0.0078744 | 45.718 | 0.0008233
81 | 4.4359e-06 | 0.19288 | 0.0011782 | 0.20534 | 7.1468 |  |  |  |  | 7.3653 | 6.174 | 7.6806 | 0.071251 | 0.0012617 | 0.072064 | 0.0030046 | 0.0018103 | 7.5791e-07 | 0.041178 | 0.008824 | 46.6682 | 0.00086961
82 | 4.0106e-06 | 0.20353 | 0.0013698 | 0.21597 | 7.1467 |  |  |  |  | 7.3697 | 6.2083 | 7.6907 | 0.07514 | 0.0013777 | 0.075901 | 0.0031252 | 0.0019109 | 8.4757e-07 | 0.042975 | 0.010037 | 47.8003 | 0.00092094
83 | 3.547e-06 | 0.21543 | 0.0016311 | 0.22763 | 7.1467 |  |  |  |  | 7.3742 | 6.2456 | 7.7006 | 0.079479 | 0.0015203 | 0.080182 | 0.0032765 | 0.0020232 | 9.7294e-07 | 0.044913 | 0.011642 | 49.1731 | 0.00097818
84 | 3.0416e-06 | 0.22879 | 0.002007 | 0.24046 | 7.1467 |  |  |  |  | 7.3787 | 6.2869 | 7.7102 | 0.084351 | 0.0017036 | 0.084988 | 0.0034756 | 0.0021496 | 1.1588e-06 | 0.046992 | 0.013865 | 50.88 | 0.0010424
85 | 2.4919e-06 | 0.24391 | 0.0025894 | 0.25464 | 7.1466 |  |  |  |  | 7.3832 | 6.3347 | 7.719 | 0.089861 | 0.001957 | 0.090423 | 0.0037562 | 0.0022929 | 1.458e-06 | 0.0492 | 0.017136 | 53.0802 | 0.0011151
86 | 1.0901e-05 | 0.26114 | 0.000653 | 0.29249 | 11.9966 |  |  |  |  | 7.388 | 6.7089 | 7.8614 | 0.09614 | 0.0018461 | 0.096613 | 0.0025813 | 0.0024565 | 9.1248e-08 | 0.051491 | 0.0058504 | 53.4123 | 0.001198
87 | 9.9245e-06 | 0.28118 | 0.00076955 | 0.31391 | 11.9953 |  |  |  |  | 7.3874 | 6.2924 | 7.7642 | 0.10339 | 0.0016455 | 0.10385 | 0.0033926 | 0.0026455 | 4.0072e-07 | 0.055001 | 0.006358 | 53.8176 | 0.0012931
88 | 8.8224e-06 | 0.30455 | 0.00093251 | 0.33824 | 11.9953 |  |  |  |  | 7.3911 | 6.3282 | 7.774 | 0.11187 | 0.0018196 | 0.11222 | 0.0035867 | 0.0028659 | 4.697e-07 | 0.059055 | 0.0074797 | 54.3904 | 0.0014043
89 | 7.5704e-06 | 0.33215 | 0.0011754 | 0.36602 | 11.9952 |  |  |  |  | 7.3946 | 6.3745 | 7.7857 | 0.12188 | 0.0020434 | 0.12209 | 0.0038111 | 0.0031264 | 5.6226e-07 | 0.063744 | 0.0091034 | 55.2033 | 0.0015355
90 | 6.1442e-06 | 0.36525 | 0.0015732 | 0.39788 | 11.9952 |  |  |  |  | 7.3978 | 6.4233 | 7.7964 | 0.13386 | 0.002335 | 0.13392 | 0.0041173 | 0.003439 | 7.192e-07 | 0.069208 | 0.011657 | 56.3914 | 0.0016927
91 | 4.5208e-06 | 0.40566 | 0.0023321 | 0.43461 | 11.9951 |  |  |  |  | 7.4008 | 6.4762 | 7.805 | 0.14847 | 0.0027612 | 0.14834 | 0.0045897 | 0.003821 | 1.0341e-06 | 0.075602 | 0.016295 | 58.2601 | 0.0018846
92 | 2.6956e-06 | 0.45607 | 0.0042795 | 0.47725 | 11.9951 |  |  |  |  | 7.4035 | 6.5459 | 7.8095 | 0.16669 | 0.0035916 | 0.16631 | 0.0055395 | 0.0042985 | 1.9014e-06 | 0.083016 | 0.027296 | 61.746 | 0.0021242
93 | 8.6815e-07 | 0.52062 | 0.014458 | 0.52908 | 11.9928 |  |  |  |  | 7.4065 | 6.7376 | 7.8079 | 0.18999 | 0.0072075 | 0.18928 | 0.0094278 | 0.0049123 | 6.8265e-06 | 0.090976 | 0.070099 | 71.5376 | 0.0024321
94 | 1.8331e-07 | 0.60498 | 0.071293 | 0.60712 | 11.9926 |  |  |  |  | 7.4115 | 7.1515 | 7.8322 | 0.22045 | 0.026753 | 0.21926 | 0.029107 | 0.0057299 | 3.2019e-05 | 0.094455 | 0.12714 | 89.5358 | 0.0028421
95 | 8.1183e-08 | 0.71171 | 0.16469 | 0.71285 | 11.9924 |  |  |  |  | 0 | 0 | 0 | 0.25919 | 0 | 0.25729 | 0 | 0.0068695 | 0 | 0.087918 | 0 | 88.6031 | 0