## Sheet1
Recovery | Jw(m/s) | Flux | Cb(M) | Cp(M) | Rejection | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Mass transfer | Pressure drop Corr | Cross-flow Velocity | osmotic_pressure
0 | 5.3644e-06 | 19.3117 | 0.0148 | 0.0072272 | 51.1675 | 0.015267 | 2.8 | 19.0898 | 19.0146 | 18.8993 | 20.4133 | 25.602 | 0.14867 | 0.005556 | 0.010559 | 0.0019531 | 6.8033e-05 | 0.16681 | 0.99836 | 8.9639e-05 | 0.0013985 | 0.17 | 0.18324
1 | 5.3625e-06 | 19.3051 | 0.014876 | 0.0072677 | 51.1463 | 0.01535 | 2.8 | [12 empty] | 8.8854e-05 | 0.001402 | 0.1683 | 0.18412
2 | 5.3607e-06 | 19.2984 | 0.014954 | 0.0073089 | 51.1246 | 0.015434 | 2.8 | [12 empty] | 8.8068e-05 | 0.0014056 | 0.1666 | 0.18502
3 | 5.3588e-06 | 19.2916 | 0.015033 | 0.0073507 | 51.1026 | 0.015519 | 2.8 | [12 empty] | 8.7281e-05 | 0.0014092 | 0.1649 | 0.18592
4 | 5.3568e-06 | 19.2846 | 0.015113 | 0.0073932 | 51.0803 | 0.015606 | 2.7999 | [12 empty] | 8.6493e-05 | 0.0014128 | 0.1632 | 0.18685
5 | 5.3549e-06 | 19.2776 | 0.015194 | 0.0074364 | 51.0575 | 0.015694 | 2.7999 | [12 empty] | 8.5704e-05 | 0.0014166 | 0.1615 | 0.18778
6 | 5.3529e-06 | 19.2705 | 0.015277 | 0.0074804 | 51.0343 | 0.015784 | 2.7999 | [12 empty] | 8.4914e-05 | 0.0014203 | 0.1598 | 0.18873
7 | 5.3509e-06 | 19.2633 | 0.015361 | 0.007525 | 51.0107 | 0.015875 | 2.7999 | [12 empty] | 8.4123e-05 | 0.0014241 | 0.1581 | 0.1897
8 | 5.3489e-06 | 19.256 | 0.015446 | 0.0075705 | 50.9867 | 0.015968 | 2.7999 | [12 empty] | 8.333e-05 | 0.001428 | 0.1564 | 0.19067
9 | 5.3468e-06 | 19.2485 | 0.015532 | 0.0076167 | 50.9623 | 0.016062 | 2.7999 | [12 empty] | 8.2537e-05 | 0.0014319 | 0.1547 | 0.19167
10 | 5.3447e-06 | 19.241 | 0.01562 | 0.0076637 | 50.9373 | 0.016158 | 2.7999 | [12 empty] | 8.1743e-05 | 0.0014359 | 0.153 | 0.19268
11 | 5.3426e-06 | 19.2333 | 0.01571 | 0.0077116 | 50.912 | 0.016255 | 2.7998 | [12 empty] | 8.0947e-05 | 0.0014399 | 0.1513 | 0.1937
12 | 5.3404e-06 | 19.2255 | 0.015801 | 0.0077603 | 50.8861 | 0.016355 | 2.7998 | [12 empty] | 8.015e-05 | 0.001444 | 0.1496 | 0.19475
13 | 5.3382e-06 | 19.2175 | 0.015893 | 0.0078098 | 50.8597 | 0.016455 | 2.7998 | [12 empty] | 7.9353e-05 | 0.0014481 | 0.1479 | 0.19581
14 | 5.336e-06 | 19.2095 | 0.015987 | 0.0078603 | 50.8329 | 0.016558 | 2.7998 | [12 empty] | 7.8554e-05 | 0.0014523 | 0.1462 | 0.19688
15 | 5.3337e-06 | 19.2013 | 0.016083 | 0.0079117 | 50.8054 | 0.016663 | 2.7998 | [12 empty] | 7.7753e-05 | 0.0014566 | 0.1445 | 0.19798
16 | 5.3314e-06 | 19.1929 | 0.01618 | 0.0079641 | 50.7775 | 0.016769 | 2.7998 | [12 empty] | 7.6952e-05 | 0.0014609 | 0.1428 | 0.19909
17 | 5.329e-06 | 19.1845 | 0.016279 | 0.0080175 | 50.749 | 0.016878 | 2.7997 | [12 empty] | 7.615e-05 | 0.0014653 | 0.1411 | 0.20023
18 | 5.3266e-06 | 19.1758 | 0.01638 | 0.0080719 | 50.7199 | 0.016988 | 2.7997 | [12 empty] | 7.5346e-05 | 0.0014698 | 0.1394 | 0.20138
19 | 5.3242e-06 | 19.1671 | 0.016482 | 0.0081273 | 50.6902 | 0.017101 | 2.7997 | [12 empty] | 7.4541e-05 | 0.0014743 | 0.1377 | 0.20255
20 | 5.3217e-06 | 19.1581 | 0.016587 | 0.0081838 | 50.6599 | 0.017215 | 2.7997 | [12 empty] | 7.3735e-05 | 0.0014789 | 0.136 | 0.20375
21 | 5.3192e-06 | 19.149 | 0.016693 | 0.0082415 | 50.6289 | 0.017332 | 2.7997 | [12 empty] | 7.2928e-05 | 0.0014836 | 0.1343 | 0.20496
22 | 5.3166e-06 | 19.1398 | 0.016801 | 0.0083003 | 50.5973 | 0.017452 | 2.7997 | [12 empty] | 7.2119e-05 | 0.0014883 | 0.1326 | 0.2062
23 | 5.314e-06 | 19.1304 | 0.016912 | 0.0083603 | 50.5649 | 0.017573 | 2.7996 | [12 empty] | 7.1309e-05 | 0.0014931 | 0.1309 | 0.20746
24 | 5.3113e-06 | 19.1208 | 0.017024 | 0.0084215 | 50.5319 | 0.017697 | 2.7996 | [12 empty] | 7.0498e-05 | 0.001498 | 0.1292 | 0.20874
25 | 5.3086e-06 | 19.111 | 0.017139 | 0.0084841 | 50.4981 | 0.017824 | 2.7996 | [12 empty] | 6.9685e-05 | 0.001503 | 0.1275 | 0.21005
26 | 5.3058e-06 | 19.1011 | 0.017256 | 0.0085479 | 50.4636 | 0.017953 | 2.7996 | [12 empty] | 6.8871e-05 | 0.0015081 | 0.1258 | 0.21138
27 | 5.303e-06 | 19.0909 | 0.017375 | 0.0086132 | 50.4283 | 0.018085 | 2.7996 | [12 empty] | 6.8055e-05 | 0.0015132 | 0.1241 | 0.21274
28 | 5.3002e-06 | 19.0806 | 0.017497 | 0.0086798 | 50.3921 | 0.01822 | 2.7996 | [12 empty] | 6.7239e-05 | 0.0015185 | 0.1224 | 0.21412
29 | 5.2972e-06 | 19.07 | 0.017621 | 0.0087479 | 50.3551 | 0.018358 | 2.7995 | [12 empty] | 6.642e-05 | 0.0015238 | 0.1207 | 0.21554
30 | 5.2942e-06 | 19.0592 | 0.017748 | 0.0088176 | 50.3173 | 0.018498 | 2.7995 | [12 empty] | 6.5601e-05 | 0.0015292 | 0.119 | 0.21698
31 | 5.2912e-06 | 19.0483 | 0.017877 | 0.0088888 | 50.2785 | 0.018642 | 2.7995 | [12 empty] | 6.478e-05 | 0.0015348 | 0.1173 | 0.21845
32 | 5.2881e-06 | 19.0371 | 0.018009 | 0.0089617 | 50.2387 | 0.018789 | 2.7995 | [12 empty] | 6.3957e-05 | 0.0015404 | 0.1156 | 0.21995
33 | 5.2849e-06 | 19.0256 | 0.018144 | 0.0090363 | 50.1979 | 0.01894 | 2.7995 | [12 empty] | 6.3133e-05 | 0.0015461 | 0.1139 | 0.22148
34 | 5.2816e-06 | 19.0139 | 0.018282 | 0.0091127 | 50.1561 | 0.019094 | 2.7995 | [12 empty] | 6.2307e-05 | 0.001552 | 0.1122 | 0.22305
35 | 5.2783e-06 | 19.002 | 0.018424 | 0.0091909 | 50.1133 | 0.019251 | 2.7994 | [12 empty] | 6.148e-05 | 0.0015579 | 0.1105 | 0.22465
36 | 5.2749e-06 | 18.9898 | 0.018568 | 0.009271 | 50.0693 | 0.019413 | 2.7994 | [12 empty] | 6.0651e-05 | 0.001564 | 0.1088 | 0.22628
37 | 5.2715e-06 | 18.9773 | 0.018715 | 0.0093531 | 50.0241 | 0.019578 | 2.7994 | [12 empty] | 5.9821e-05 | 0.0015702 | 0.1071 | 0.22796
38 | 5.2679e-06 | 18.9646 | 0.018866 | 0.0094374 | 49.9777 | 0.019747 | 2.7994 | [12 empty] | 5.8989e-05 | 0.0015765 | 0.1054 | 0.22967
39 | 5.2643e-06 | 18.9515 | 0.019021 | 0.0095237 | 49.9301 | 0.019921 | 2.7994 | [12 empty] | 5.8155e-05 | 0.001583 | 0.1037 | 0.23141
40 | 5.2606e-06 | 18.9382 | 0.019179 | 0.0096124 | 49.8811 | 0.020099 | 2.7994 | [12 empty] | 5.732e-05 | 0.0015895 | 0.102 | 0.23321
41 | 5.2568e-06 | 18.9245 | 0.019341 | 0.0097034 | 49.8307 | 0.020281 | 2.7993 | [12 empty] | 5.6482e-05 | 0.0015962 | 0.1003 | 0.23504
42 | 5.2529e-06 | 18.9105 | 0.019508 | 0.0097969 | 49.7789 | 0.020469 | 2.7993 | [12 empty] | 5.5643e-05 | 0.0016031 | 0.0986 | 0.23692
43 | 5.2489e-06 | 18.8962 | 0.019678 | 0.0098929 | 49.7255 | 0.020661 | 2.7993 | [12 empty] | 5.4803e-05 | 0.0016101 | 0.0969 | 0.23884
44 | 5.2448e-06 | 18.8815 | 0.019853 | 0.0099917 | 49.6706 | 0.020859 | 2.7993 | [12 empty] | 5.396e-05 | 0.0016173 | 0.0952 | 0.24081
45 | 5.2407e-06 | 18.8664 | 0.020032 | 0.010093 | 49.614 | 0.021062 | 2.7993 | [12 empty] | 5.3115e-05 | 0.0016246 | 0.0935 | 0.24283
46 | 5.2364e-06 | 18.8509 | 0.020216 | 0.010198 | 49.5556 | 0.021272 | 2.7992 | [12 empty] | 5.2269e-05 | 0.0016321 | 0.0918 | 0.24491
47 | 5.232e-06 | 18.8351 | 0.020405 | 0.010305 | 49.4953 | 0.021487 | 2.7992 | [12 empty] | 5.142e-05 | 0.0016398 | 0.0901 | 0.24704
48 | 5.2274e-06 | 18.8188 | 0.020599 | 0.010416 | 49.4332 | 0.021708 | 2.7992 | [12 empty] | 5.057e-05 | 0.0016477 | 0.0884 | 0.24923
49 | 5.2228e-06 | 18.802 | 0.020799 | 0.010531 | 49.369 | 0.021936 | 2.7992 | [12 empty] | 4.9718e-05 | 0.0016557 | 0.0867 | 0.25147
50 | 5.216e-06 | 18.7774 | 0.021004 | 0.01065 | 49.2938 | 0.022171 | 2.7981 | [12 empty] | 4.8863e-05 | 0.0037439 | 0.085 | 0.25372
51 | 5.3491e-06 | 19.2567 | 0.021216 | 0.010372 | 51.1115 | 0.021877 | 3.1974 | [12 empty] | 9.0306e-05 | 0.0014209 | 0.1715 | 0.25344
52 | 5.3446e-06 | 19.2406 | 0.021441 | 0.010492 | 51.0649 | 0.022122 | 3.1973 | [12 empty] | 8.869e-05 | 0.0014283 | 0.168 | 0.25589
53 | 5.34e-06 | 19.224 | 0.021674 | 0.010617 | 51.0166 | 0.022374 | 3.1973 | [12 empty] | 8.707e-05 | 0.0014359 | 0.1645 | 0.25841
54 | 5.3352e-06 | 19.2069 | 0.021915 | 0.010746 | 50.9666 | 0.022634 | 3.1973 | [12 empty] | 8.5446e-05 | 0.0014437 | 0.161 | 0.261
55 | 5.3303e-06 | 19.1892 | 0.022163 | 0.010879 | 50.9148 | 0.022904 | 3.1973 | [12 empty] | 8.3817e-05 | 0.0014516 | 0.1575 | 0.26368
56 | 5.3253e-06 | 19.1711 | 0.022419 | 0.011017 | 50.8611 | 0.023183 | 3.1973 | [12 empty] | 8.2184e-05 | 0.0014599 | 0.154 | 0.26644
57 | 5.3201e-06 | 19.1523 | 0.022685 | 0.01116 | 50.8053 | 0.023472 | 3.1972 | [12 empty] | 8.0546e-05 | 0.0014683 | 0.1505 | 0.26929
58 | 5.3147e-06 | 19.1329 | 0.022959 | 0.011308 | 50.7473 | 0.023771 | 3.1972 | [12 empty] | 7.8903e-05 | 0.001477 | 0.147 | 0.27224
59 | 5.3091e-06 | 19.1128 | 0.023243 | 0.011462 | 50.6869 | 0.024081 | 3.1972 | [12 empty] | 7.7256e-05 | 0.001486 | 0.1435 | 0.27529
60 | 5.3033e-06 | 19.092 | 0.023538 | 0.011622 | 50.6241 | 0.024404 | 3.1972 | [12 empty] | 7.5603e-05 | 0.0014952 | 0.14 | 0.27844
61 | 5.2974e-06 | 19.0705 | 0.023843 | 0.011788 | 50.5586 | 0.024739 | 3.1972 | [12 empty] | 7.3946e-05 | 0.0015048 | 0.1365 | 0.28171
62 | 5.2912e-06 | 19.0482 | 0.02416 | 0.011962 | 50.4903 | 0.025087 | 3.1971 | [12 empty] | 7.2283e-05 | 0.0015147 | 0.133 | 0.2851
63 | 5.2847e-06 | 19.025 | 0.02449 | 0.012142 | 50.4189 | 0.02545 | 3.1971 | [12 empty] | 7.0614e-05 | 0.0015248 | 0.1295 | 0.28862
64 | 5.2781e-06 | 19.001 | 0.024833 | 0.012331 | 50.3443 | 0.025828 | 3.1971 | [12 empty] | 6.894e-05 | 0.0015354 | 0.126 | 0.29227
65 | 5.2711e-06 | 18.976 | 0.02519 | 0.012528 | 50.2662 | 0.026223 | 3.1971 | [12 empty] | 6.726e-05 | 0.0015463 | 0.1225 | 0.29607
66 | 5.2639e-06 | 18.95 | 0.025563 | 0.012734 | 50.1842 | 0.026635 | 3.197 | [12 empty] | 6.5574e-05 | 0.0015576 | 0.119 | 0.30003
67 | 5.2563e-06 | 18.9228 | 0.025952 | 0.01295 | 50.0982 | 0.027067 | 3.197 | [12 empty] | 6.3882e-05 | 0.0015694 | 0.1155 | 0.30415
68 | 5.2485e-06 | 18.8945 | 0.026358 | 0.013177 | 50.0078 | 0.027519 | 3.197 | [12 empty] | 6.2183e-05 | 0.0015816 | 0.112 | 0.30845
69 | 5.2403e-06 | 18.8649 | 0.026783 | 0.013415 | 49.9125 | 0.027993 | 3.197 | [12 empty] | 6.0478e-05 | 0.0015943 | 0.1085 | 0.31295
70 | 5.2317e-06 | 18.834 | 0.027229 | 0.013665 | 49.812 | 0.028491 | 3.1969 | [12 empty] | 5.8765e-05 | 0.0016075 | 0.105 | 0.31765
71 | 5.2227e-06 | 18.8016 | 0.027696 | 0.01393 | 49.7058 | 0.029016 | 3.1969 | [12 empty] | 5.7046e-05 | 0.0016213 | 0.1015 | 0.32258
72 | 5.2132e-06 | 18.7675 | 0.028188 | 0.014209 | 49.5933 | 0.029569 | 3.1969 | [12 empty] | 5.5319e-05 | 0.0016356 | 0.098 | 0.32776
73 | 5.2033e-06 | 18.7318 | 0.028706 | 0.014504 | 49.474 | 0.030154 | 3.1969 | [12 empty] | 5.3584e-05 | 0.0016507 | 0.0945 | 0.3332
74 | 5.1899e-06 | 18.6838 | 0.029252 | 0.014821 | 49.3347 | 0.030771 | 3.1951 | [12 empty] | 5.1842e-05 | 0.0039042 | 0.091 | 0.33882
75 | 5.306e-06 | 19.1016 | 0.029829 | 0.014643 | 50.9092 | 0.030756 | 4.6841 | [12 empty] | 8.9566e-05 | 0.0014007 | 0.17 | 0.34201
76 | 5.298e-06 | 19.0728 | 0.030462 | 0.014981 | 50.8199 | 0.031441 | 4.684 | [12 empty] | 8.6419e-05 | 0.0014152 | 0.1632 | 0.34853
77 | 5.2895e-06 | 19.0422 | 0.031135 | 0.015342 | 50.7242 | 0.032171 | 4.684 | [12 empty] | 8.3256e-05 | 0.0014305 | 0.1564 | 0.35545
78 | 5.2805e-06 | 19.0097 | 0.031853 | 0.015729 | 50.6212 | 0.032952 | 4.684 | [12 empty] | 8.0076e-05 | 0.0014466 | 0.1496 | 0.36282
79 | 5.2708e-06 | 18.975 | 0.032621 | 0.016144 | 50.51 | 0.03379 | 4.684 | [12 empty] | 7.6877e-05 | 0.0014637 | 0.1428 | 0.37068
80 | 5.2605e-06 | 18.9378 | 0.033445 | 0.016592 | 50.3896 | 0.034692 | 4.6839 | [12 empty] | 7.3659e-05 | 0.0014819 | 0.136 | 0.3791
81 | 5.2494e-06 | 18.8979 | 0.034332 | 0.017077 | 50.2587 | 0.035667 | 4.6839 | [12 empty] | 7.0421e-05 | 0.0015012 | 0.1292 | 0.38815
82 | 5.2374e-06 | 18.8548 | 0.03529 | 0.017604 | 50.1157 | 0.036724 | 4.6839 | [12 empty] | 6.7162e-05 | 0.0015219 | 0.1224 | 0.39791
83 | 5.2245e-06 | 18.8081 | 0.03633 | 0.01818 | 49.9586 | 0.037877 | 4.6838 | [12 empty] | 6.388e-05 | 0.0015441 | 0.1156 | 0.40848
84 | 5.2104e-06 | 18.7574 | 0.037465 | 0.018813 | 49.7852 | 0.03914 | 4.6838 | [12 empty] | 6.0573e-05 | 0.001568 | 0.1088 | 0.41999
85 | 5.1949e-06 | 18.7018 | 0.038708 | 0.019512 | 49.5926 | 0.040532 | 4.6838 | [12 empty] | 5.7241e-05 | 0.0015938 | 0.102 | 0.43258
86 | 5.1756e-06 | 18.6322 | 0.040079 | 0.020293 | 49.367 | 0.042074 | 4.6817 | [12 empty] | 5.388e-05 | 0.0039472 | 0.0952 | 0.44631
87 | 5.6842e-06 | 20.4631 | 0.041601 | 0.019748 | 52.5294 | 0.043027 | 5.2104 | [12 empty] | 8.9937e-05 | 0.0014056 | 0.1703 | 0.50498
88 | 5.6803e-06 | 20.449 | 0.041797 | 0.019895 | 52.3993 | 0.043331 | 5.2104 | [12 empty] | 8.3867e-05 | 0.0014343 | 0.1572 | 0.50818
89 | 5.6761e-06 | 20.434 | 0.041994 | 0.020053 | 52.249 | 0.043656 | 5.2103 | [12 empty] | 7.7733e-05 | 0.0014662 | 0.1441 | 0.51159
90 | 5.6716e-06 | 20.4178 | 0.042193 | 0.020222 | 52.0727 | 0.044006 | 5.2103 | [12 empty] | 7.1529e-05 | 0.001502 | 0.131 | 0.51526
91 | 5.6667e-06 | 20.4001 | 0.042395 | 0.020408 | 51.8624 | 0.04439 | 5.2102 | [12 empty] | 6.5248e-05 | 0.0015426 | 0.1179 | 0.51928
92 | 5.6612e-06 | 20.3804 | 0.042599 | 0.020615 | 51.606 | 0.044817 | 5.2102 | [12 empty] | 5.8879e-05 | 0.0015894 | 0.1048 | 0.52375
93 | 5.6526e-06 | 20.3492 | 0.042804 | 0.020856 | 51.2755 | 0.045304 | 5.208 | [12 empty] | 5.241e-05 | 0.0038916 | 0.0917 | 0.52871
94 | 5.707e-06 | 20.545 | 0.043011 | 0.020378 | 52.6222 | 0.044494 | 5.2466 | [12 empty] | 8.9907e-05 | 0.0014022 | 0.1698 | 0.52234
95 | 5.7008e-06 | 20.5229 | 0.043227 | 0.020608 | 52.3251 | 0.044971 | 5.2466 | [12 empty] | 7.6713e-05 | 0.0014691 | 0.1415 | 0.52735
96 | 5.6931e-06 | 20.4952 | 0.043444 | 0.020898 | 51.8974 | 0.04557 | 5.2465 | [12 empty] | 6.3186e-05 | 0.0015558 | 0.1132 | 0.53362
97 | 5.6825e-06 | 20.4569 | 0.043663 | 0.0213 | 51.218 | 0.046399 | 5.2463 | [12 empty] | 4.9227e-05 | 0.001676 | 0.0849 | 0.54229
98 | 5.6633e-06 | 20.388 | 0.043882 | 0.021969 | 49.9358 | 0.047771 | 5.2447 | [12 empty] | 3.4669e-05 | 0.0033139 | 0.0566 | 0.55648