## Sheet1
Recovery | Jw(m/s) | flux | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp
0 | 5.582e-06 | 20.0953 | 0.015068 | 6.9745e-05 | 0.016032 | 3.1 | 19.0027 | 18.8329 | 19.902 | 20.6265 | 19.9789 | 0.21472 | 0.011112 | 0.018426 | 0.0037957 | 0.00010205 | 0.24815 | 7.999 | 10.6074 | 9.528 | 0.0032422 | 0.00045279 | 0.0032815 | 1.7367e-05 | 7.005e-05 | 2.0661e-09 | 0.00029864 | 8.6933e-06
1 | 5.5781e-06 | 20.081 | 0.01522 | 7.0532e-05 | 0.016201 | 3.1 | [11 empty] | 7.9779 | 10.6114 | 9.5316 | 0.0032703 | 0.00045692 | 0.0033145 | 1.7541e-05 | 7.0757e-05 | 2.0975e-09 | 0.00030157 | 8.5762e-06
2 | 5.57e-06 | 20.0519 | 0.015374 | 7.1385e-05 | 0.016374 | 3.1 | [11 empty] | 7.9571 | 10.6153 | 9.5348 | 0.003299 | 0.00046101 | 0.0033481 | 1.773e-05 | 7.1479e-05 | 2.1326e-09 | 0.00030456 | 8.4648e-06
3 | 5.5617e-06 | 20.0221 | 0.015532 | 7.2258e-05 | 0.016549 | 3.1 | [11 empty] | 7.9366 | 10.619 | 9.5379 | 0.0033283 | 0.00046495 | 0.0033825 | 1.7924e-05 | 7.2216e-05 | 2.1694e-09 | 0.00030761 | 8.3581e-06
4 | 5.5532e-06 | 19.9917 | 0.015693 | 7.3153e-05 | 0.016729 | 3.0999 | [11 empty] | 7.9163 | 10.6226 | 9.5407 | 0.0033581 | 0.00046873 | 0.0034175 | 1.8125e-05 | 7.2968e-05 | 2.2079e-09 | 0.00031073 | 8.2561e-06
5 | 5.5446e-06 | 19.9606 | 0.015858 | 7.407e-05 | 0.016912 | 3.0999 | [11 empty] | 7.8965 | 10.6259 | 9.5433 | 0.0033885 | 0.00047234 | 0.0034533 | 1.833e-05 | 7.3736e-05 | 2.2483e-09 | 0.00031391 | 8.1587e-06
6 | 5.5358e-06 | 19.9289 | 0.016026 | 7.501e-05 | 0.0171 | 3.0999 | [11 empty] | 7.8769 | 10.629 | 9.5457 | 0.0034196 | 0.00047579 | 0.0034898 | 1.8542e-05 | 7.4521e-05 | 2.2906e-09 | 0.00031716 | 8.066e-06
7 | 5.5268e-06 | 19.8965 | 0.016197 | 7.5974e-05 | 0.017292 | 3.0999 | [11 empty] | 7.8577 | 10.6319 | 9.5478 | 0.0034512 | 0.00047906 | 0.0035272 | 1.876e-05 | 7.5322e-05 | 2.3347e-09 | 0.00032049 | 7.9778e-06
8 | 5.5176e-06 | 19.8633 | 0.016372 | 7.6963e-05 | 0.017488 | 3.0999 | [11 empty] | 7.8389 | 10.6346 | 9.5498 | 0.0034835 | 0.00048217 | 0.0035653 | 1.8985e-05 | 7.6141e-05 | 2.3809e-09 | 0.00032389 | 7.8942e-06
9 | 5.5082e-06 | 19.8294 | 0.016551 | 7.7977e-05 | 0.017688 | 3.0999 | [11 empty] | 7.8205 | 10.6371 | 9.5515 | 0.0035165 | 0.00048509 | 0.0036043 | 1.9216e-05 | 7.6977e-05 | 2.429e-09 | 0.00032736 | 7.815e-06
10 | 5.4986e-06 | 19.7948 | 0.016734 | 7.9019e-05 | 0.017893 | 3.0999 | [11 empty] | 7.8024 | 10.6394 | 9.5531 | 0.0035502 | 0.00048785 | 0.0036441 | 1.9454e-05 | 7.7833e-05 | 2.4792e-09 | 0.00033091 | 7.7403e-06
11 | 5.4887e-06 | 19.7594 | 0.016922 | 8.0088e-05 | 0.018103 | 3.0998 | [11 empty] | 7.7848 | 10.6415 | 9.5544 | 0.0035846 | 0.00049043 | 0.0036848 | 1.9699e-05 | 7.8707e-05 | 2.5315e-09 | 0.00033454 | 7.6699e-06
12 | 5.4786e-06 | 19.7231 | 0.017113 | 8.1186e-05 | 0.018318 | 3.0998 | [11 empty] | 7.7675 | 10.6434 | 9.5555 | 0.0036198 | 0.00049283 | 0.0037265 | 1.9951e-05 | 7.9602e-05 | 2.5859e-09 | 0.00033825 | 7.6038e-06
13 | 5.4683e-06 | 19.686 | 0.017309 | 8.2315e-05 | 0.018538 | 3.0998 | [11 empty] | 7.7506 | 10.6451 | 9.5564 | 0.0036557 | 0.00049505 | 0.0037691 | 2.0211e-05 | 8.0516e-05 | 2.6427e-09 | 0.00034205 | 7.5419e-06
14 | 5.4578e-06 | 19.6481 | 0.017509 | 8.3474e-05 | 0.018763 | 3.0998 | [11 empty] | 7.734 | 10.6466 | 9.5571 | 0.0036925 | 0.00049709 | 0.0038127 | 2.048e-05 | 8.1453e-05 | 2.7018e-09 | 0.00034594 | 7.4842e-06
15 | 5.447e-06 | 19.6092 | 0.017714 | 8.4667e-05 | 0.018993 | 3.0998 | [11 empty] | 7.7179 | 10.648 | 9.5576 | 0.00373 | 0.00049895 | 0.0038573 | 2.0757e-05 | 8.2411e-05 | 2.7634e-09 | 0.00034993 | 7.4307e-06
16 | 5.4359e-06 | 19.5694 | 0.017924 | 8.5894e-05 | 0.01923 | 3.0998 | [11 empty] | 7.7021 | 10.6491 | 9.5579 | 0.0037685 | 0.00050064 | 0.003903 | 2.1042e-05 | 8.3392e-05 | 2.8274e-09 | 0.000354 | 7.3812e-06
17 | 5.4246e-06 | 19.5286 | 0.018139 | 8.7156e-05 | 0.019472 | 3.0997 | [11 empty] | 7.6866 | 10.6501 | 9.558 | 0.0038079 | 0.00050214 | 0.0039497 | 2.1337e-05 | 8.4397e-05 | 2.8941e-09 | 0.00035818 | 7.3358e-06
18 | 5.413e-06 | 19.4868 | 0.018359 | 8.8455e-05 | 0.01972 | 3.0997 | [11 empty] | 7.6715 | 10.6509 | 9.5579 | 0.0038482 | 0.00050347 | 0.0039976 | 2.1642e-05 | 8.5426e-05 | 2.9636e-09 | 0.00036246 | 7.2943e-06
19 | 5.4011e-06 | 19.444 | 0.018584 | 8.9793e-05 | 0.019974 | 3.0997 | [11 empty] | 7.6568 | 10.6515 | 9.5576 | 0.0038895 | 0.00050462 | 0.0040467 | 2.1956e-05 | 8.648e-05 | 3.0359e-09 | 0.00036684 | 7.2568e-06
20 | 5.3889e-06 | 19.4 | 0.018816 | 9.1172e-05 | 0.020235 | 3.0997 | [11 empty] | 7.6423 | 10.6519 | 9.5571 | 0.0039318 | 0.00050559 | 0.004097 | 2.2281e-05 | 8.7561e-05 | 3.1112e-09 | 0.00037134 | 7.2232e-06
21 | 5.3764e-06 | 19.355 | 0.019053 | 9.2593e-05 | 0.020503 | 3.0997 | [11 empty] | 7.6283 | 10.6521 | 9.5563 | 0.0039752 | 0.00050638 | 0.0041486 | 2.2617e-05 | 8.867e-05 | 3.1896e-09 | 0.00037595 | 7.1935e-06
22 | 5.3635e-06 | 19.3088 | 0.019296 | 9.4058e-05 | 0.020778 | 3.0997 | [11 empty] | 7.6145 | 10.6521 | 9.5554 | 0.0040196 | 0.00050701 | 0.0042015 | 2.2964e-05 | 8.9806e-05 | 3.2712e-09 | 0.00038067 | 7.1677e-06
23 | 5.3504e-06 | 19.2613 | 0.019545 | 9.557e-05 | 0.021061 | 3.0996 | [11 empty] | 7.601 | 10.652 | 9.5543 | 0.0040653 | 0.00050746 | 0.0042558 | 2.3324e-05 | 9.0973e-05 | 3.3562e-09 | 0.00038553 | 7.1456e-06
24 | 5.3368e-06 | 19.2126 | 0.019801 | 9.7131e-05 | 0.021351 | 3.0996 | [11 empty] | 7.5879 | 10.6517 | 9.553 | 0.0041121 | 0.00050775 | 0.0043115 | 2.3696e-05 | 9.217e-05 | 3.4448e-09 | 0.0003905 | 7.1274e-06
25 | 5.3229e-06 | 19.1626 | 0.020064 | 9.8742e-05 | 0.021649 | 3.0996 | [11 empty] | 7.575 | 10.6512 | 9.5515 | 0.0041601 | 0.00050788 | 0.0043686 | 2.4081e-05 | 9.3399e-05 | 3.5371e-09 | 0.00039562 | 7.113e-06
26 | 5.3087e-06 | 19.1112 | 0.020334 | 0.00010041 | 0.021955 | 3.0996 | [11 empty] | 7.5624 | 10.6505 | 9.5498 | 0.0042095 | 0.00050785 | 0.0044273 | 2.4479e-05 | 9.4661e-05 | 3.6333e-09 | 0.00040087 | 7.1023e-06
27 | 5.294e-06 | 19.0584 | 0.020611 | 0.00010213 | 0.02227 | 3.0996 | [11 empty] | 7.5501 | 10.6497 | 9.5479 | 0.0042602 | 0.00050767 | 0.0044877 | 2.4893e-05 | 9.5957e-05 | 3.7335e-09 | 0.00040626 | 7.0955e-06
28 | 5.2789e-06 | 19.0041 | 0.020896 | 0.00010391 | 0.022594 | 3.0996 | [11 empty] | 7.5381 | 10.6487 | 9.5458 | 0.0043123 | 0.00050735 | 0.0045496 | 2.5321e-05 | 9.729e-05 | 3.838e-09 | 0.0004118 | 7.0924e-06
29 | 5.2634e-06 | 18.9482 | 0.021188 | 0.00010575 | 0.022927 | 3.0995 | [11 empty] | 7.5263 | 10.6475 | 9.5436 | 0.0043659 | 0.00050689 | 0.0046134 | 2.5766e-05 | 9.866e-05 | 3.9469e-09 | 0.0004175 | 7.0932e-06
30 | 5.2474e-06 | 18.8908 | 0.02149 | 0.00010766 | 0.02327 | 3.0995 | [11 empty] | 7.5148 | 10.6462 | 9.5412 | 0.004421 | 0.00050631 | 0.0046789 | 2.6227e-05 | 0.00010007 | 4.0605e-09 | 0.00042337 | 7.0978e-06
31 | 5.231e-06 | 18.8316 | 0.021799 | 0.00010964 | 0.023624 | 3.0995 | [11 empty] | 7.5036 | 10.6448 | 9.5386 | 0.0044778 | 0.00050561 | 0.0047463 | 2.6705e-05 | 0.00010152 | 4.179e-09 | 0.0004294 | 7.1063e-06
32 | 5.2141e-06 | 18.7707 | 0.022118 | 0.00011168 | 0.023988 | 3.0995 | [11 empty] | 7.4925 | 10.6432 | 9.5358 | 0.0045362 | 0.0005048 | 0.0048157 | 2.7202e-05 | 0.00010301 | 4.3024e-09 | 0.00043561 | 7.1186e-06
33 | 5.1967e-06 | 18.708 | 0.022447 | 0.00011381 | 0.024363 | 3.0995 | [11 empty] | 7.4817 | 10.6415 | 9.5329 | 0.0045964 | 0.0005039 | 0.0048872 | 2.7719e-05 | 0.00010455 | 4.4313e-09 | 0.000442 | 7.1349e-06
34 | 5.1787e-06 | 18.6433 | 0.022785 | 0.00011602 | 0.02475 | 3.0995 | [11 empty] | 7.4712 | 10.6397 | 9.5299 | 0.0046584 | 0.00050291 | 0.0049608 | 2.8256e-05 | 0.00010613 | 4.5657e-09 | 0.00044859 | 7.1553e-06
35 | 5.1602e-06 | 18.5766 | 0.023134 | 0.00011831 | 0.025149 | 3.0994 | [11 empty] | 7.4608 | 10.6377 | 9.5267 | 0.0047223 | 0.00050185 | 0.0050367 | 2.8815e-05 | 0.00010777 | 4.7058e-09 | 0.00045539 | 7.1797e-06
36 | 5.1411e-06 | 18.5078 | 0.023494 | 0.00012069 | 0.025561 | 3.0994 | [11 empty] | 7.4507 | 10.6357 | 9.5233 | 0.0047882 | 0.00050074 | 0.005115 | 2.9396e-05 | 0.00010945 | 4.852e-09 | 0.00046239 | 7.2082e-06
37 | 5.1213e-06 | 18.4368 | 0.023865 | 0.00012317 | 0.025987 | 3.0994 | [11 empty] | 7.4408 | 10.6335 | 9.5199 | 0.0048563 | 0.00049958 | 0.0051957 | 3.0002e-05 | 0.00011119 | 5.0046e-09 | 0.00046961 | 7.2409e-06
38 | 5.101e-06 | 18.3635 | 0.024248 | 0.00012575 | 0.026426 | 3.0994 | [11 empty] | 7.431 | 10.6313 | 9.5163 | 0.0049266 | 0.00049839 | 0.005279 | 3.0633e-05 | 0.00011298 | 5.1638e-09 | 0.00047707 | 7.278e-06
39 | 5.0799e-06 | 18.2878 | 0.024643 | 0.00012844 | 0.026881 | 3.0994 | [11 empty] | 7.4215 | 10.629 | 9.5126 | 0.0049992 | 0.0004972 | 0.0053651 | 3.1291e-05 | 0.00011483 | 5.3299e-09 | 0.00048477 | 7.3195e-06
40 | 5.0582e-06 | 18.2095 | 0.025052 | 0.00013125 | 0.027351 | 3.0994 | [11 empty] | 7.4121 | 10.6266 | 9.5088 | 0.0050742 | 0.00049601 | 0.0054539 | 3.1977e-05 | 0.00011675 | 5.5032e-09 | 0.00049273 | 7.3655e-06
41 | 5.0357e-06 | 18.1285 | 0.025474 | 0.00013418 | 0.027837 | 3.0993 | [11 empty] | 7.4029 | 10.6242 | 9.5049 | 0.0051518 | 0.00049483 | 0.0055458 | 3.2693e-05 | 0.00011873 | 5.6841e-09 | 0.00050096 | 7.4163e-06
42 | 5.0124e-06 | 18.0448 | 0.025911 | 0.00013723 | 0.02834 | 3.0993 | [11 empty] | 7.3939 | 10.6218 | 9.501 | 0.0052321 | 0.0004937 | 0.0056409 | 3.3442e-05 | 0.00012077 | 5.8729e-09 | 0.00050947 | 7.4719e-06
43 | 4.9884e-06 | 17.9581 | 0.026363 | 0.00014043 | 0.028862 | 3.0993 | [11 empty] | 7.3851 | 10.6193 | 9.497 | 0.0053152 | 0.00049262 | 0.0057393 | 3.4224e-05 | 0.00012289 | 6.07e-09 | 0.00051827 | 7.5325e-06
44 | 4.9634e-06 | 17.8682 | 0.026831 | 0.00014378 | 0.029402 | 3.0993 | [11 empty] | 7.3764 | 10.6169 | 9.4929 | 0.0054013 | 0.00049162 | 0.0058412 | 3.5043e-05 | 0.00012509 | 6.2758e-09 | 0.00052739 | 7.5983e-06
45 | 4.9375e-06 | 17.7751 | 0.027317 | 0.00014728 | 0.029963 | 3.0993 | [11 empty] | 7.3678 | 10.6144 | 9.4889 | 0.0054906 | 0.00049072 | 0.0059467 | 3.59e-05 | 0.00012736 | 6.4906e-09 | 0.00053684 | 7.6695e-06
46 | 4.9107e-06 | 17.6786 | 0.02782 | 0.00015096 | 0.030545 | 3.0992 | [11 empty] | 7.3594 | 10.612 | 9.4847 | 0.0055832 | 0.00048992 | 0.0060562 | 3.6798e-05 | 0.00012972 | 6.7151e-09 | 0.00054664 | 7.7464e-06
47 | 4.8829e-06 | 17.5784 | 0.028342 | 0.00015482 | 0.031149 | 3.0992 | [11 empty] | 7.3511 | 10.6097 | 9.4806 | 0.0056793 | 0.00048926 | 0.0061698 | 3.774e-05 | 0.00013217 | 6.9496e-09 | 0.00055681 | 7.8293e-06
48 | 4.854e-06 | 17.4743 | 0.028884 | 0.00015888 | 0.031778 | 3.0992 | [11 empty] | 7.343 | 10.6073 | 9.4765 | 0.0057791 | 0.00048875 | 0.0062877 | 3.8728e-05 | 0.00013471 | 7.1946e-09 | 0.00056737 | 7.9183e-06
49 | 4.8239e-06 | 17.3661 | 0.029447 | 0.00016315 | 0.032431 | 3.0992 | [11 empty] | 7.335 | 10.6051 | 9.4723 | 0.0058828 | 0.00048842 | 0.0064102 | 3.9768e-05 | 0.00013735 | 7.4508e-09 | 0.00057834 | 8.0139e-06
50 | 4.7906e-06 | 17.2461 | 0.030033 | 0.00016771 | 0.033109 | 3.0981 | [11 empty] | 7.3271 | 10.603 | 9.4682 | 0.0059907 | 0.0004884 | 0.0065376 | 4.0876e-05 | 0.0001401 | 7.723e-09 | 0.00058975 | 8.1178e-06
51 | 5.718e-06 | 20.5846 | 0.030642 | 0.00014546 | 0.032636 | 3.8974 | [11 empty] | 7.3189 | 10.4753 | 9.4104 | 0.006103 | 0.0003702 | 0.0066702 | 3.5325e-05 | 0.00014295 | 7.3392e-09 | 0.00060162 | 7.5433e-06
52 | 5.6893e-06 | 20.4814 | 0.031278 | 0.00014935 | 0.03334 | 3.8973 | [11 empty] | 7.313 | 10.4736 | 9.4073 | 0.0062224 | 0.0003706 | 0.0068084 | 3.6267e-05 | 0.00014593 | 7.5619e-09 | 0.00061399 | 7.6503e-06
53 | 5.6594e-06 | 20.3738 | 0.03194 | 0.00015344 | 0.034074 | 3.8973 | [11 empty] | 7.3072 | 10.4721 | 9.4043 | 0.0063469 | 0.00037124 | 0.0069525 | 3.7255e-05 | 0.00014904 | 7.7923e-09 | 0.00062689 | 7.7637e-06
54 | 5.6282e-06 | 20.2615 | 0.032631 | 0.00015776 | 0.034842 | 3.8973 | [11 empty] | 7.3013 | 10.4708 | 9.4014 | 0.0064768 | 0.00037212 | 0.0071028 | 3.8295e-05 | 0.00015228 | 8.0311e-09 | 0.00064035 | 7.8837e-06
55 | 5.5956e-06 | 20.1442 | 0.033352 | 0.00016233 | 0.035644 | 3.8973 | [11 empty] | 7.2956 | 10.4698 | 9.3987 | 0.0066125 | 0.00037326 | 0.0072598 | 3.939e-05 | 0.00015566 | 8.2786e-09 | 0.00065441 | 8.0109e-06
56 | 5.5615e-06 | 20.0215 | 0.034107 | 0.00016716 | 0.036483 | 3.8973 | [11 empty] | 7.2899 | 10.469 | 9.3962 | 0.0067543 | 0.00037469 | 0.0074239 | 4.0543e-05 | 0.0001592 | 8.5354e-09 | 0.0006691 | 8.1457e-06
57 | 5.5259e-06 | 19.8932 | 0.034896 | 0.00017229 | 0.037362 | 3.8972 | [11 empty] | 7.2842 | 10.4684 | 9.3938 | 0.0069027 | 0.00037641 | 0.0075956 | 4.1762e-05 | 0.0001629 | 8.8024e-09 | 0.00068447 | 8.2888e-06
58 | 5.4885e-06 | 19.7587 | 0.035723 | 0.00017773 | 0.038283 | 3.8972 | [11 empty] | 7.2785 | 10.4681 | 9.3917 | 0.0070581 | 0.00037845 | 0.0077755 | 4.3051e-05 | 0.00016678 | 9.0798e-09 | 0.00070057 | 8.4407e-06
59 | 5.4494e-06 | 19.6177 | 0.03659 | 0.00018353 | 0.03925 | 3.8972 | [11 empty] | 7.2728 | 10.4681 | 9.3897 | 0.007221 | 0.00038083 | 0.0079641 | 4.4416e-05 | 0.00017085 | 9.3688e-09 | 0.00071745 | 8.6021e-06
60 | 5.4083e-06 | 19.4697 | 0.0375 | 0.0001897 | 0.040267 | 3.8972 | [11 empty] | 7.2671 | 10.4684 | 9.3879 | 0.007392 | 0.00038356 | 0.0081621 | 4.5865e-05 | 0.00017512 | 9.6702e-09 | 0.00073517 | 8.7739e-06
61 | 5.365e-06 | 19.3141 | 0.038457 | 0.0001963 | 0.041336 | 3.8972 | [11 empty] | 7.2615 | 10.469 | 9.3863 | 0.0075717 | 0.00038669 | 0.0083702 | 4.7406e-05 | 0.00017961 | 9.985e-09 | 0.0007538 | 8.957e-06
62 | 5.3196e-06 | 19.1504 | 0.039464 | 0.00020336 | 0.042462 | 3.8971 | [11 empty] | 7.2558 | 10.4699 | 9.3849 | 0.0077608 | 0.00039022 | 0.0085892 | 4.9049e-05 | 0.00018433 | 1.0315e-08 | 0.0007734 | 9.1523e-06
63 | 5.2716e-06 | 18.9779 | 0.040525 | 0.00021094 | 0.043649 | 3.8971 | [11 empty] | 7.2502 | 10.4712 | 9.3837 | 0.00796 | 0.0003942 | 0.00882 | 5.0803e-05 | 0.00018931 | 1.0661e-08 | 0.00079405 | 9.3611e-06
64 | 5.2211e-06 | 18.7959 | 0.041644 | 0.0002191 | 0.044903 | 3.8971 | [11 empty] | 7.2445 | 10.4728 | 9.3827 | 0.0081701 | 0.00039866 | 0.0090636 | 5.2681e-05 | 0.00019457 | 1.1025e-08 | 0.00081585 | 9.5845e-06
65 | 5.1677e-06 | 18.6036 | 0.042828 | 0.00022789 | 0.04623 | 3.8971 | [11 empty] | 7.2388 | 10.4747 | 9.3819 | 0.0083922 | 0.00040364 | 0.0093211 | 5.4697e-05 | 0.00020013 | 1.1408e-08 | 0.00083889 | 9.8242e-06
66 | 5.1111e-06 | 18.4001 | 0.044081 | 0.0002374 | 0.047635 | 3.897 | [11 empty] | 7.233 | 10.4771 | 9.3813 | 0.0086271 | 0.00040918 | 0.0095936 | 5.6868e-05 | 0.00020602 | 1.1815e-08 | 0.00086327 | 1.0082e-05
67 | 5.0512e-06 | 18.1845 | 0.04541 | 0.00024771 | 0.049125 | 3.897 | [11 empty] | 7.2273 | 10.4798 | 9.3809 | 0.0088761 | 0.00041533 | 0.0098826 | 5.9212e-05 | 0.00021226 | 1.2246e-08 | 0.00088912 | 1.036e-05
68 | 4.9877e-06 | 17.9556 | 0.046821 | 0.00025894 | 0.050709 | 3.897 | [11 empty] | 7.2214 | 10.4829 | 9.3807 | 0.0091405 | 0.00042213 | 0.01019 | 6.1753e-05 | 0.00021889 | 1.2706e-08 | 0.00091658 | 1.0659e-05
69 | 4.9201e-06 | 17.7123 | 0.048323 | 0.00027121 | 0.052395 | 3.897 | [11 empty] | 7.2156 | 10.4864 | 9.3808 | 0.0094218 | 0.00042967 | 0.010516 | 6.4515e-05 | 0.00022595 | 1.3198e-08 | 0.00094581 | 1.0984e-05
70 | 4.8481e-06 | 17.4531 | 0.049925 | 0.00028466 | 0.054193 | 3.8969 | [11 empty] | 7.2096 | 10.4903 | 9.381 | 0.0097215 | 0.00043798 | 0.010865 | 6.7531e-05 | 0.00023349 | 1.3727e-08 | 0.00097697 | 1.1338e-05
71 | 4.7713e-06 | 17.1766 | 0.051636 | 0.00029947 | 0.056114 | 3.8969 | [11 empty] | 7.2036 | 10.4946 | 9.3814 | 0.010042 | 0.00044717 | 0.011237 | 7.0838e-05 | 0.00024154 | 1.43e-08 | 0.0010103 | 1.1723e-05
72 | 4.6891e-06 | 16.8808 | 0.05347 | 0.00031586 | 0.058171 | 3.8969 | [11 empty] | 7.1975 | 10.4994 | 9.3819 | 0.010384 | 0.00045732 | 0.011636 | 7.4481e-05 | 0.00025016 | 1.4922e-08 | 0.0010459 | 1.2145e-05
73 | 4.6011e-06 | 16.564 | 0.055438 | 0.00033408 | 0.060379 | 3.8969 | [11 empty] | 7.1912 | 10.5045 | 9.3827 | 0.010752 | 0.00046854 | 0.012064 | 7.8515e-05 | 0.00025943 | 1.5603e-08 | 0.0010842 | 1.261e-05
74 | 4.5037e-06 | 16.2133 | 0.057558 | 0.00035466 | 0.062749 | 3.8951 | [11 empty] | 7.1849 | 10.5101 | 9.3834 | 0.011147 | 0.00048109 | 0.012525 | 8.3053e-05 | 0.0002694 | 1.6368e-08 | 0.0011254 | 1.3127e-05
75 | 6.0971e-06 | 21.9495 | 0.059846 | 0.00025257 | 0.064044 | 6.4941 | [11 empty] | 7.1772 | 10.3594 | 9.3458 | 0.011574 | 0.00034799 | 0.013023 | 6.6505e-05 | 0.00028018 | 1.3355e-08 | 0.0011699 | 1.1586e-05
76 | 6.0238e-06 | 21.6856 | 0.062329 | 0.00026667 | 0.066809 | 6.494 | [11 empty] | 7.1722 | 10.3678 | 9.3517 | 0.012042 | 0.00035857 | 0.013562 | 6.9837e-05 | 0.00029185 | 1.3735e-08 | 0.0012182 | 1.2034e-05
77 | 5.9441e-06 | 21.3987 | 0.065027 | 0.0002824 | 0.069818 | 6.494 | [11 empty] | 7.1671 | 10.3764 | 9.3578 | 0.01255 | 0.00037007 | 0.014149 | 7.354e-05 | 0.00030454 | 1.4151e-08 | 0.0012706 | 1.2527e-05
78 | 5.8572e-06 | 21.0858 | 0.06797 | 0.00030006 | 0.073105 | 6.494 | [11 empty] | 7.1618 | 10.3853 | 9.3641 | 0.013103 | 0.00038257 | 0.014789 | 7.7683e-05 | 0.00031838 | 1.4612e-08 | 0.0013278 | 1.3072e-05
79 | 5.762e-06 | 20.7433 | 0.071193 | 0.00032003 | 0.076708 | 6.494 | [11 empty] | 7.1563 | 10.3941 | 9.3705 | 0.013709 | 0.00039615 | 0.015489 | 8.2348e-05 | 0.00033354 | 1.5127e-08 | 0.0013904 | 1.3678e-05
80 | 5.6575e-06 | 20.3669 | 0.074736 | 0.00034277 | 0.080675 | 6.4939 | [11 empty] | 7.1506 | 10.403 | 9.3771 | 0.014375 | 0.0004109 | 0.01626 | 8.7642e-05 | 0.00035022 | 1.5705e-08 | 0.0014593 | 1.4357e-05
81 | 5.542e-06 | 19.9513 | 0.078652 | 0.0003689 | 0.085061 | 6.4939 | [11 empty] | 7.1447 | 10.4114 | 9.3838 | 0.01511 | 0.00042688 | 0.017111 | 9.3703e-05 | 0.00036865 | 1.6364e-08 | 0.0015353 | 1.5124e-05
82 | 5.414e-06 | 19.4904 | 0.083001 | 0.00039922 | 0.089934 | 6.4939 | [11 empty] | 7.1385 | 10.419 | 9.3906 | 0.015926 | 0.00044408 | 0.018056 | 0.00010071 | 0.00038913 | 1.712e-08 | 0.0016198 | 1.5997e-05
83 | 5.2713e-06 | 18.9765 | 0.08786 | 0.0004348 | 0.095379 | 6.4938 | [11 empty] | 7.132 | 10.4251 | 9.3975 | 0.016836 | 0.00046241 | 0.019113 | 0.0001089 | 0.00041202 | 1.8001e-08 | 0.0017141 | 1.7001e-05
84 | 5.1112e-06 | 18.4003 | 0.093324 | 0.00047711 | 0.1015 | 6.4938 | [11 empty] | 7.1253 | 10.4287 | 9.4044 | 0.01786 | 0.00048161 | 0.0203 | 0.00011861 | 0.00043777 | 1.9038e-08 | 0.0018202 | 1.817e-05
85 | 4.9306e-06 | 17.75 | 0.099514 | 0.00052822 | 0.10842 | 6.4938 | [11 empty] | 7.1182 | 10.4279 | 9.4112 | 0.019018 | 0.00050118 | 0.021646 | 0.00013028 | 0.00046696 | 2.0282e-08 | 0.0019403 | 1.9552e-05
86 | 4.7293e-06 | 17.0254 | 0.10658 | 0.00059066 | 0.11631 | 6.4917 | [11 empty] | 7.1107 | 10.4206 | 9.4181 | 0.020341 | 0.00052029 | 0.023183 | 0.00014449 | 0.00050031 | 2.1777e-08 | 0.0020775 | 2.1205e-05
87 | 5.8767e-06 | 21.1561 | 0.11474 | 0.00052552 | 0.12245 | 7.5204 | [11 empty] | 7.1023 | 10.294 | 9.3893 | 0.021865 | 0.00041287 | 0.024955 | 0.00012749 | 0.00053879 | 1.9311e-08 | 0.0022357 | 1.981e-05
88 | 5.8344e-06 | 21.0039 | 0.11576 | 0.00053627 | 0.12406 | 7.5204 | [11 empty] | 7.0959 | 10.2587 | 9.3748 | 0.023653 | 0.00041459 | 0.027024 | 0.00014021 | 0.00058369 | 2.2212e-08 | 0.0024203 | 2.1379e-05
89 | 5.7891e-06 | 20.8408 | 0.1168 | 0.00054796 | 0.12578 | 7.5203 | [11 empty] | 7.0892 | 10.2165 | 9.3587 | 0.025766 | 0.00041776 | 0.029468 | 0.00015554 | 0.00063675 | 2.5856e-08 | 0.0026384 | 2.324e-05
90 | 5.74e-06 | 20.6641 | 0.11785 | 0.00056084 | 0.12765 | 7.5203 | [11 empty] | 7.0823 | 10.1653 | 9.3405 | 0.028301 | 0.000423 | 0.032399 | 0.00017437 | 0.00070042 | 3.0529e-08 | 0.0028999 | 2.5483e-05
91 | 5.6862e-06 | 20.4702 | 0.11893 | 0.00057523 | 0.1297 | 7.5202 | [11 empty] | 7.075 | 10.1017 | 9.3198 | 0.031398 | 0.0004312 | 0.035979 | 0.00019799 | 0.00077824 | 3.667e-08 | 0.0032193 | 2.824e-05
92 | 5.626e-06 | 20.2535 | 0.12002 | 0.00059164 | 0.132 | 7.5202 | [11 empty] | 7.0672 | 10.0206 | 9.2958 | 0.035269 | 0.00044383 | 0.040452 | 0.00022845 | 0.00087552 | 4.4985e-08 | 0.0036182 | 3.1709e-05
93 | 5.5548e-06 | 19.9972 | 0.12114 | 0.00061107 | 0.13462 | 7.518 | [11 empty] | 7.0587 | 9.9138 | 9.2677 | 0.040244 | 0.00046344 | 0.046198 | 0.00026919 | 0.0010006 | 5.6699e-08 | 0.0041306 | 3.6217e-05
94 | 5.7393e-06 | 20.6614 | 0.12228 | 0.00057254 | 0.1303 | 7.5766 | [11 empty] | 7.0493 | 9.4625 | 9.0966 | 0.046874 | 0.00041742 | 0.053853 | 0.00032156 | 0.0011673 | 8.8897e-08 | 0.004813 | 3.9868e-05
95 | 5.672e-06 | 20.4193 | 0.12344 | 0.0005907 | 0.13286 | 7.5766 | [11 empty] | 7.0394 | 8.9728 | 9.0226 | 0.056165 | 0.00045404 | 0.064559 | 0.00041009 | 0.0014008 | 1.2701e-07 | 0.0057676 | 4.7572e-05
96 | 5.5876e-06 | 20.1154 | 0.12462 | 0.00061411 | 0.13608 | 7.5765 | [11 empty] | 7.0277 | 7.4114 | 8.9188 | 0.070093 | 0.00051997 | 0.080597 | 0.00056199 | 0.001751 | 1.9951e-07 | 0.0071976 | 5.919e-05
97 | 5.471e-06 | 19.6956 | 0.12582 | 0.00064766 | 0.14053 | 7.5763 | [11 empty] | 7.013 | 6.7971 | 8.7615 | 0.093284 | 0.00065126 | 0.10728 | 0.00087737 | 0.0023345 | 3.6773e-07 | 0.009577 | 7.8815e-05