## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp
0 | 5.582e-06 | 0.015068 | 6.9745e-05 | 0.016032 | 3.1 | 19.0027 | 18.8329 | 19.902 | 20.6265 | 19.9789 | 0.21472 | 0.011112 | 0.018426 | 0.0037957 | 0.00010205 | 0.24815 | 7.999 | 11.5927 | 10.4952 | 0.0032422 | 0.0041963 | 0.0032815 | 1.3735e-05 | 7.0049e-05 | 1.8881e-10
1 | 5.5781e-06 | 0.01522 | 7.0532e-05 | 0.016201 | 3.1 | [11 empty] | 7.8176 | 4.4138 | 6.1734 | 0.0032325 | 1.501e-05 | 0.0033145 | 0.0045798 | 7.0757e-05 | 0
2 | 5.57e-06 | 0.015374 | 7.1385e-05 | 0.016374 | 3.1 | [11 empty] | 8.0144 | 11.5955 | 10.4967 | 0.0032654 | 0.0042241 | 0.0033016 | 1.386e-05 | 7.1479e-05 | 1.8775e-10
3 | 5.5617e-06 | 0.015532 | 7.2258e-05 | 0.016549 | 3.1 | [11 empty] | 7.8266 | 4.4065 | 6.1622 | 0.0032555 | 1.5128e-05 | 0.0033355 | 0.004724 | 7.2216e-05 | 0
4 | 5.5532e-06 | 0.015693 | 7.3153e-05 | 0.016729 | 3.0999 | [11 empty] | 8.0362 | 11.5966 | 10.4962 | 0.0032892 | 0.0042348 | 0.003321 | 1.4007e-05 | 7.2968e-05 | 1.8659e-10
5 | 5.5446e-06 | 0.015858 | 7.407e-05 | 0.016912 | 3.0999 | [11 empty] | 7.8413 | 4.4108 | 6.1784 | 0.0032793 | 1.5749e-05 | 0.0033559 | 0.0046963 | 7.3736e-05 | 6.2146e-08
6 | 5.5358e-06 | 0.016026 | 7.501e-05 | 0.0171 | 3.0999 | [11 empty] | 8.057 | 11.5982 | 10.4962 | 0.003314 | 0.0042516 | 0.0033416 | 1.4158e-05 | 7.452e-05 | 1.8549e-10
7 | 5.5268e-06 | 0.016197 | 7.5974e-05 | 0.017292 | 3.0999 | [11 empty] | 7.8548 | 4.4035 | 6.1678 | 0.0033039 | 1.5918e-05 | 0.0033774 | 0.0048484 | 7.5321e-05 | 6.2759e-08
8 | 5.5176e-06 | 0.016372 | 7.6963e-05 | 0.017488 | 3.0999 | [11 empty] | 8.086 | 11.5973 | 10.4936 | 0.0033396 | 0.0042431 | 0.0033614 | 1.4325e-05 | 7.6139e-05 | 1.841e-10
9 | 5.5082e-06 | 0.016551 | 7.7977e-05 | 0.017688 | 3.0999 | [11 empty] | 7.876 | 4.3984 | 6.1611 | 0.0033297 | 1.6096e-05 | 0.0033982 | 0.0049611 | 7.6976e-05 | 6.285e-08
10 | 5.4986e-06 | 0.016734 | 7.9019e-05 | 0.017893 | 3.0999 | [11 empty] | 8.1229 | 11.5939 | 10.4884 | 0.0033665 | 0.00421 | 0.0033808 | 1.4509e-05 | 7.783e-05 | 1.8243e-10
11 | 5.4887e-06 | 0.016922 | 8.0088e-05 | 0.018103 | 3.0998 | [11 empty] | 7.9051 | 4.3862 | 6.1364 | 0.0033571 | 1.5863e-05 | 0.0034186 | 0.005184 | 7.8705e-05 | 0
12 | 5.4786e-06 | 0.017113 | 8.1186e-05 | 0.018318 | 3.0998 | [11 empty] | 8.1761 | 11.5851 | 10.4779 | 0.003395 | 0.0041246 | 0.0033986 | 1.4721e-05 | 7.9599e-05 | 1.8015e-10
13 | 5.4683e-06 | 0.017309 | 8.2315e-05 | 0.018538 | 3.0998 | [11 empty] | 7.9515 | 4.3886 | 6.1417 | 0.0033866 | 1.6032e-05 | 0.0034375 | 0.0051512 | 8.0514e-05 | 0
14 | 5.4578e-06 | 0.017509 | 8.3474e-05 | 0.018763 | 3.0998 | [11 empty] | 8.2343 | 11.5745 | 10.4654 | 0.0034258 | 0.0040238 | 0.0034175 | 1.4949e-05 | 8.145e-05 | 1.7769e-10
15 | 5.447e-06 | 0.017714 | 8.4667e-05 | 0.018993 | 3.0998 | [11 empty] | 8.0056 | 4.4007 | 6.1704 | 0.0034188 | 1.6693e-05 | 0.0034576 | 0.0049703 | 8.2409e-05 | 5.8697e-08
16 | 5.4359e-06 | 0.017924 | 8.5894e-05 | 0.01923 | 3.0998 | [11 empty] | 8.2888 | 11.5648 | 10.4538 | 0.0034593 | 0.0039341 | 0.0034396 | 1.5184e-05 | 8.3389e-05 | 1.7539e-10
17 | 5.4246e-06 | 0.018139 | 8.7156e-05 | 0.019472 | 3.0997 | [11 empty] | 8.0591 | 4.4026 | 6.1757 | 0.0034536 | 1.6916e-05 | 0.0034808 | 0.0049512 | 8.4394e-05 | 5.6772e-08
18 | 5.413e-06 | 0.018359 | 8.8455e-05 | 0.01972 | 3.0997 | [11 empty] | 8.3474 | 11.553 | 10.44 | 0.0034955 | 0.0038281 | 0.0034629 | 1.5436e-05 | 8.5422e-05 | 1.7287e-10
19 | 5.4011e-06 | 0.018584 | 8.9793e-05 | 0.019974 | 3.0997 | [11 empty] | 8.1214 | 4.3984 | 6.1654 | 0.0034914 | 1.6759e-05 | 0.0035054 | 0.0050191 | 8.6477e-05 | 0
20 | 5.3889e-06 | 0.018816 | 9.1172e-05 | 0.020235 | 3.0997 | [11 empty] | 8.4147 | 11.5371 | 10.422 | 0.0035348 | 0.0036885 | 0.0034865 | 1.571e-05 | 8.7558e-05 | 1.6984e-10
21 | 5.3764e-06 | 0.019053 | 9.2593e-05 | 0.020503 | 3.0997 | [11 empty] | 8.1996 | 4.4123 | 6.1956 | 0.0035329 | 1.7382e-05 | 0.0035305 | 0.0048078 | 8.8666e-05 | 5.0829e-08
22 | 5.3635e-06 | 0.019296 | 9.4058e-05 | 0.020778 | 3.0997 | [11 empty] | 8.4756 | 11.5224 | 10.4051 | 0.0035779 | 0.0035652 | 0.0035141 | 1.5993e-05 | 8.9802e-05 | 1.6699e-10
23 | 5.3504e-06 | 0.019545 | 9.557e-05 | 0.021061 | 3.0996 | [11 empty] | 8.2745 | 4.4101 | 6.189 | 0.0035781 | 1.7277e-05 | 0.0035595 | 0.0048414 | 9.0969e-05 | 0
24 | 5.3368e-06 | 0.019801 | 9.7131e-05 | 0.021351 | 3.0996 | [11 empty] | 8.5413 | 11.5047 | 10.3851 | 0.003625 | 0.0034217 | 0.0035426 | 1.6293e-05 | 9.2165e-05 | 1.6369e-10
25 | 5.3229e-06 | 0.020064 | 9.8742e-05 | 0.021649 | 3.0996 | [11 empty] | 8.3595 | 4.4155 | 6.2003 | 0.0036277 | 1.7568e-05 | 0.0035897 | 0.0047655 | 9.3394e-05 | 0
26 | 5.3087e-06 | 0.020334 | 0.00010041 | 0.021955 | 3.0996 | [11 empty] | 8.6058 | 11.4868 | 10.3648 | 0.0036765 | 0.0032822 | 0.0035738 | 1.6604e-05 | 9.4656e-05 | 1.6022e-10
27 | 5.294e-06 | 0.020611 | 0.00010213 | 0.02227 | 3.0996 | [11 empty] | 8.4447 | 4.4186 | 6.207 | 0.0036819 | 1.7817e-05 | 0.0036225 | 0.0047283 | 9.5953e-05 | 0
28 | 5.2789e-06 | 0.020896 | 0.00010391 | 0.022594 | 3.0996 | [11 empty] | 8.6699 | 11.469 | 10.3445 | 0.0037327 | 0.0031503 | 0.0036071 | 1.692e-05 | 9.7286e-05 | 1.565e-10
29 | 5.2634e-06 | 0.021188 | 0.00010575 | 0.022927 | 3.0995 | [11 empty] | 8.5291 | 4.4174 | 6.207 | 0.003741 | 1.8116e-05 | 0.0036577 | 0.0047766 | 9.8656e-05 | 0
30 | 5.2474e-06 | 0.02149 | 0.00010766 | 0.02327 | 3.0995 | [11 empty] | 8.7358 | 11.4518 | 10.3245 | 0.0037941 | 0.003027 | 0.0036417 | 1.7233e-05 | 0.00010007 | 1.5238e-10
31 | 5.231e-06 | 0.021799 | 0.00010964 | 0.023624 | 3.0995 | [11 empty] | 8.6142 | 4.4097 | 6.1946 | 0.0038053 | 1.8316e-05 | 0.0036942 | 0.0049373 | 0.00010152 | 0
32 | 5.2141e-06 | 0.022118 | 0.00011168 | 0.023988 | 3.0995 | [11 empty] | 8.8059 | 11.4357 | 10.3055 | 0.0038609 | 0.002917 | 0.003676 | 1.7525e-05 | 0.00010301 | 1.4762e-10
33 | 5.1967e-06 | 0.022447 | 0.00011381 | 0.024363 | 3.0995 | [11 empty] | 8.702 | 4.3948 | 6.1674 | 0.003875 | 1.8329e-05 | 0.0037306 | 0.0052293 | 0.00010455 | 0
34 | 5.1787e-06 | 0.022785 | 0.00011602 | 0.02475 | 3.0995 | [11 empty] | 8.8819 | 11.4225 | 10.2892 | 0.0039335 | 0.0028291 | 0.0037079 | 1.7768e-05 | 0.00010613 | 1.4205e-10
35 | 5.1602e-06 | 0.023134 | 0.00011831 | 0.025149 | 3.0994 | [11 empty] | 8.7935 | 4.3779 | 6.1342 | 0.0039505 | 1.8195e-05 | 0.0037646 | 0.0055705 | 0.00010776 | 0
36 | 5.1411e-06 | 0.023494 | 0.00012069 | 0.025561 | 3.0994 | [11 empty] | 8.962 | 11.4145 | 10.2779 | 0.0040119 | 0.002778 | 0.0037364 | 1.7938e-05 | 0.00010945 | 1.3582e-10
37 | 5.1213e-06 | 0.023865 | 0.00012317 | 0.025987 | 3.0994 | [11 empty] | 8.8864 | 4.3591 | 6.0965 | 0.0040315 | 1.8005e-05 | 0.0037954 | 0.0059763 | 0.00011118 | 0
38 | 5.101e-06 | 0.024248 | 0.00012575 | 0.026426 | 3.0994 | [11 empty] | 9.0451 | 11.4133 | 10.2731 | 0.0040962 | 0.0027703 | 0.0037603 | 1.8016e-05 | 0.00011298 | 1.2906e-10
39 | 5.0799e-06 | 0.024643 | 0.00012844 | 0.026881 | 3.0994 | [11 empty] | 8.9793 | 4.3378 | 6.0529 | 0.004118 | 1.7741e-05 | 0.0038216 | 0.0064731 | 0.00011483 | 0
40 | 5.0582e-06 | 0.025052 | 0.00013125 | 0.027351 | 3.0994 | [11 empty] | 9.1308 | 11.4191 | 10.2751 | 0.0041863 | 0.0028077 | 0.0037774 | 1.7981e-05 | 0.00011674 | 1.2182e-10
41 | 5.0357e-06 | 0.025474 | 0.00013418 | 0.027837 | 3.0993 | [11 empty] | 9.0725 | 4.3129 | 6.0011 | 0.0042097 | 1.7364e-05 | 0.0038411 | 0.0071015 | 0.00011872 | 0
42 | 5.0124e-06 | 0.025911 | 0.00013723 | 0.02834 | 3.0993 | [11 empty] | 9.2199 | 11.4318 | 10.2836 | 0.0042819 | 0.0028912 | 0.0037849 | 1.7804e-05 | 0.00012077 | 1.1401e-10
43 | 4.9884e-06 | 0.026363 | 0.00014043 | 0.028862 | 3.0993 | [11 empty] | 9.1672 | 4.2839 | 5.9384 | 0.0043063 | 1.6812e-05 | 0.003851 | 0.0079129 | 0.00012289 | 0
44 | 4.9634e-06 | 0.026831 | 0.00014378 | 0.029402 | 3.0993 | [11 empty] | 9.3143 | 11.4514 | 10.2989 | 0.0043829 | 0.0030254 | 0.0037785 | 1.7442e-05 | 0.00012508 | 1.0548e-10
45 | 4.9375e-06 | 0.027317 | 0.00014728 | 0.029963 | 3.0993 | [11 empty] | 9.2656 | 4.25 | 5.8617 | 0.0044076 | 1.5995e-05 | 0.0038469 | 0.008976 | 0.00012736 | 0
46 | 4.9107e-06 | 0.02782 | 0.00015096 | 0.030545 | 3.0992 | [11 empty] | 9.4166 | 11.4785 | 10.3213 | 0.0044889 | 0.0032209 | 0.0037519 | 1.6831e-05 | 0.00012971 | 9.6003e-11
47 | 4.8829e-06 | 0.028342 | 0.00015482 | 0.031149 | 3.0992 | [11 empty] | 9.3705 | 4.2105 | 5.7663 | 0.0045129 | 1.4779e-05 | 0.0038224 | 0.010393 | 0.00013216 | 0
48 | 4.854e-06 | 0.028884 | 0.00015888 | 0.031778 | 3.0992 | [11 empty] | 9.5311 | 11.5142 | 10.3522 | 0.0045994 | 0.0034989 | 0.003696 | 1.5876e-05 | 0.0001347 | 8.5287e-11
49 | 4.8239e-06 | 0.029447 | 0.00016315 | 0.032431 | 3.0992 | [11 empty] | 9.4864 | 4.1641 | 5.6443 | 0.0046209 | 1.2932e-05 | 0.0037682 | 0.012331 | 0.00013734 | 0
50 | 4.7906e-06 | 0.030033 | 0.00016771 | 0.033109 | 3.0981 | [11 empty] | 9.6652 | 11.5612 | 10.3941 | 0.0047131 | 0.0039018 | 0.0035969 | 1.4437e-05 | 0.00014009 | 7.3033e-11
51 | 5.718e-06 | 0.030642 | 0.00014546 | 0.032636 | 3.8974 | [11 empty] | 9.6197 | 4.3893 | 6.0447 | 0.0047297 | 1.1179e-05 | 0.00367 | 0.0047013 | 0.00014295 | 0
52 | 5.6893e-06 | 0.031278 | 0.00014935 | 0.03334 | 3.8973 | [11 empty] | 9.6855 | 11.542 | 10.4401 | 0.004828 | 0.0037246 | 0.0036485 | 1.1656e-05 | 0.00014593 | 5.169e-11
53 | 5.6594e-06 | 0.03194 | 0.00015344 | 0.034074 | 3.8973 | [11 empty] | 9.6421 | 4.4452 | 6.1448 | 0.0048514 | 1.1564e-05 | 0.0037259 | 0.0037776 | 0.00014903 | 0
54 | 5.6282e-06 | 0.032631 | 0.00015776 | 0.034842 | 3.8973 | [11 empty] | 9.6951 | 11.5597 | 10.4525 | 0.0049567 | 0.0038824 | 0.0037248 | 1.189e-05 | 0.00015227 | 5.1268e-11
55 | 5.5956e-06 | 0.033352 | 0.00016233 | 0.035644 | 3.8973 | [11 empty] | 9.6494 | 4.406 | 6.0763 | 0.0049805 | 1.1672e-05 | 0.0038073 | 0.0044351 | 0.00015566 | 0
56 | 5.5615e-06 | 0.034107 | 0.00016716 | 0.036483 | 3.8973 | [11 empty] | 9.7129 | 11.5807 | 10.4678 | 0.0050935 | 0.0040785 | 0.003793 | 1.2034e-05 | 0.00015919 | 5.0295e-11
57 | 5.5259e-06 | 0.034896 | 0.00017229 | 0.037362 | 3.8972 | [11 empty] | 9.6645 | 4.3632 | 5.997 | 0.0051171 | 1.1626e-05 | 0.0038809 | 0.0052752 | 0.0001629 | 0
58 | 5.4885e-06 | 0.035723 | 0.00017773 | 0.038283 | 3.8972 | [11 empty] | 9.7416 | 11.6061 | 10.487 | 0.0052386 | 0.0043288 | 0.0038478 | 1.2037e-05 | 0.00016678 | 4.8588e-11
59 | 5.4494e-06 | 0.03659 | 0.00018353 | 0.03925 | 3.8972 | [11 empty] | 9.6901 | 4.3158 | 5.9025 | 0.0052608 | 1.1328e-05 | 0.0039413 | 0.0063823 | 0.00017084 | 0
60 | 5.4083e-06 | 0.0375 | 0.0001897 | 0.040267 | 3.8972 | [11 empty] | 9.7855 | 11.6376 | 10.512 | 0.005392 | 0.0046605 | 0.0038803 | 1.1819e-05 | 0.00017511 | 4.5894e-11
61 | 5.365e-06 | 0.038457 | 0.0001963 | 0.041336 | 3.8972 | [11 empty] | 9.7299 | 4.2622 | 5.7857 | 0.0054108 | 1.0611e-05 | 0.0039795 | 0.0078972 | 0.0001796 | 0
62 | 5.3196e-06 | 0.039464 | 0.00020336 | 0.042462 | 3.8971 | [11 empty] | 9.8517 | 11.6779 | 10.5454 | 0.0055529 | 0.0051226 | 0.0038764 | 1.125e-05 | 0.00018433 | 4.1875e-11
63 | 5.2716e-06 | 0.040525 | 0.00021094 | 0.043649 | 3.8971 | [11 empty] | 9.7906 | 4.2001 | 5.6333 | 0.0055645 | 9.15e-06 | 0.0039808 | 0.010076 | 0.00018931 | 0
64 | 5.2211e-06 | 0.041644 | 0.0002191 | 0.044903 | 3.8971 | [11 empty] | 9.9535 | 11.7318 | 10.5922 | 0.0057189 | 0.0058146 | 0.0038115 | 1.0116e-05 | 0.00019457 | 3.6076e-11
65 | 5.1677e-06 | 0.042828 | 0.00022789 | 0.04623 | 3.8971 | [11 empty] | 9.8835 | 4.1255 | 5.4161 | 0.0057161 | 6.1685e-06 | 0.0039201 | 0.01343 | 0.00020013 | 0
66 | 5.1111e-06 | 0.044081 | 0.0002374 | 0.047635 | 3.897 | [11 empty] | 10.1208 | 11.8096 | 10.6631 | 0.0058841 | 0.0069822 | 0.0036404 | 8.0513e-06 | 0.00020602 | 2.7863e-11
67 | 5.0512e-06 | 0.04541 | 0.00024771 | 0.049125 | 3.897 | [11 empty] | 10.0335 | 7 | 5.0391 | 0.0058508 | -1.508e-06 | 0.0037505 | 0.019163 | 0.00021226 | 0
68 | 4.9877e-06 | 0.046821 | 0.00025894 | 0.050709 | 3.897 | [11 empty] | 10.439 | 11.9398 | 10.7886 | 0.0060337 | 0.0095013 | 0.0032688 | 4.5324e-06 | 0.00021889 | 1.6186e-11
69 | 4.9201e-06 | 0.048323 | 0.00027121 | 0.052395 | 3.897 | [11 empty] | 10.3077 | 5.1545 | 6.9986 | 0.0059218 | 8.2375e-06 | 0.0033741 | 0.00024841 | 0.00022595 | 0
70 | 4.8481e-06 | 0.049925 | 0.00028466 | 0.054193 | 3.8969 | [11 empty] | 10.3135 | 11.9238 | 10.7586 | 0.0061189 | 0.0091497 | 0.0034783 | 6.0199e-06 | 0.00023349 | 2.0821e-11
71 | 4.7713e-06 | 0.051636 | 0.00029947 | 0.056114 | 3.8969 | [11 empty] | 10.1819 | 7 | 4.1047 | 0.0060144 | -6.6148e-05 | 0.0035981 | 0.030153 | 0.00024154 | 0
72 | 4.6891e-06 | 0.05347 | 0.00031586 | 0.058171 | 3.8969 | [11 empty] | 10.9503 | 12.1965 | 11.0323 | 0.0062316 | 0.017535 | 0.0026497 | 6.7716e-07 | 0.00025016 | 3.721e-12
73 | 4.6011e-06 | 0.055438 | 0.00033408 | 0.060379 | 3.8969 | [11 empty] | 10.7321 | 5.3112 | 6.9986 | 0.0058129 | 5.0215e-06 | 0.0027478 | 0.00011557 | 0.00025943 | 0
74 | 4.5037e-06 | 0.057558 | 0.00035466 | 0.062749 | 3.8951 | [11 empty] | 10.7433 | 12.137 | 10.9521 | 0.0060363 | 0.01521 | 0.002849 | 2.2241e-06 | 0.00026941 | 8.5623e-12
75 | 6.0971e-06 | 0.059846 | 0.00025257 | 0.064044 | 6.4941 | [11 empty] | 10.487 | 5.2416 | 6.9973 | 0.0056693 | 5.3403e-06 | 0.0029629 | 0.00014985 | 0.00028018 | 0
76 | 6.0238e-06 | 0.062329 | 0.00026667 | 0.066809 | 6.494 | [11 empty] | 10.4955 | 11.998 | 10.9121 | 0.0059053 | 0.010908 | 0.0030801 | 2.8694e-06 | 0.00029186 | 9.2662e-12
77 | 5.9441e-06 | 0.065027 | 0.0002824 | 0.069818 | 6.494 | [11 empty] | 10.2833 | 5.1727 | 6.9973 | 0.0056879 | 6.6772e-06 | 0.0032139 | 0.00021005 | 0.00030455 | 0
78 | 5.8572e-06 | 0.06797 | 0.00030006 | 0.073105 | 6.494 | [11 empty] | 10.29 | 11.9655 | 10.8647 | 0.0059461 | 0.010099 | 0.0033504 | 4.3835e-06 | 0.00031839 | 1.3792e-11
79 | 5.762e-06 | 0.071193 | 0.00032003 | 0.076708 | 6.494 | [11 empty] | 10.0816 | 7 | 4.5813 | 0.0057483 | -1.9517e-05 | 0.0035098 | 0.02399 | 0.00033355 | 0
80 | 5.6575e-06 | 0.074736 | 0.00034277 | 0.080675 | 6.4939 | [11 empty] | 10.9586 | 12.2316 | 11.1322 | 0.0060367 | 0.019081 | 0.0024858 | 4.6115e-07 | 0.00035023 | 2.3606e-12
81 | 5.542e-06 | 0.078652 | 0.0003689 | 0.085061 | 6.4939 | [11 empty] | 10.5983 | 5.3022 | 6.9974 | 0.0053501 | 4.6694e-06 | 0.0026166 | 0.00011484 | 0.00036866 | 0
82 | 5.414e-06 | 0.083001 | 0.00039922 | 0.089934 | 6.4939 | [11 empty] | 10.6122 | 12.1335 | 11.0139 | 0.0056471 | 0.015084 | 0.0027556 | 1.965e-06 | 0.00038914 | 7.9528e-12
83 | 5.2713e-06 | 0.08786 | 0.0004348 | 0.095379 | 6.4938 | [11 empty] | 10.1914 | 5.1823 | 6.9974 | 0.005092 | 6.9202e-06 | 0.0029176 | 0.00020704 | 0.00041203 | 0
84 | 5.1112e-06 | 0.093324 | 0.00047711 | 0.1015 | 6.4938 | [11 empty] | 10.1998 | 12.0716 | 10.9348 | 0.0054098 | 0.013015 | 0.003087 | 4.6695e-06 | 0.00043779 | 1.6117e-11
85 | 4.9306e-06 | 0.099514 | 0.00052822 | 0.10842 | 6.4938 | [11 empty] | 9.7932 | 7 | 3.9969 | 0.0049028 | -8.8841e-05 | 0.0032925 | 0.041026 | 0.00046697 | 0
86 | 4.7293e-06 | 0.10658 | 0.00059066 | 0.11631 | 6.4917 | [11 empty] | 11.4366 | 7 | 6.9989 | 0.0052593 | 1.8567e-06 | 0.00059722 | 0 | 0.00050033 | 4.2174e-07
87 | 5.8767e-06 | 0.11474 | 0.00052552 | 0.12245 | 7.5204 | [11 empty] | 11.4628 | 12.5775 | 11.5509 | 0.0056637 | 0.044115 | 0.00064316 | 5.6444e-08 | 0.00053878 | 2.0965e-13
88 | 5.8344e-06 | 0.11576 | 0.00053627 | 0.12406 | 7.5204 | [11 empty] | 10.8592 | 5.6936 | 6.9969 | 0.0024595 | 1.8787e-06 | 0.00069676 | 2.1169e-05 | 0.00058368 | 0
89 | 5.7891e-06 | 0.1168 | 0.00054796 | 0.12578 | 7.5203 | [11 empty] | 10.8897 | 12.3139 | 11.2742 | 0.0026829 | 0.023277 | 0.00075817 | 1.3742e-07 | 0.00063674 | 2.0997e-12
90 | 5.74e-06 | 0.11785 | 0.00056084 | 0.12765 | 7.5203 | [11 empty] | 6.7321 | 5.2548 | 6.9969 | 0.00062357 | 4.3451e-06 | 0.00083398 | 0.00013037 | 0.00070042 | 0
91 | 5.6862e-06 | 0.11893 | 0.00057523 | 0.1297 | 7.5202 | [11 empty] | 6.7549 | 13.3108 | 12.3291 | 0.00069237 | 0.26893 | 0.00091215 | 2.5833e-07 | 0.00077824 | 1.2716e-10
92 | 5.626e-06 | 0.12002 | 0.00059164 | 0.132 | 7.5202 | [11 empty] | 6.9969 | 5.1937 | 6.9969 | -0.032837 | 5.4639e-06 | 0.0010261 | 0.00017786 | 0.00087552 | 0
93 | 5.5548e-06 | 0.12114 | 0.00061107 | 0.13462 | 7.518 | [11 empty] | 6.9969 | 13.0527 | 12.0529 | -0.037529 | 0.142 | 0.0011473 | 6.7309e-07 | 0.0010006 | 5.5944e-11
94 | 5.7393e-06 | 0.12228 | 0.00057254 | 0.1303 | 7.5766 | [11 empty] | 6.9969 | 5.1475 | 6.9968 | -0.067451 | 6.5263e-06 | 0.0013384 | 0.00022589 | 0.0011674 | 0
95 | 5.672e-06 | 0.12344 | 0.0005907 | 0.13286 | 7.5766 | [11 empty] | 6.9969 | 13.159 | 12.1668 | -0.080942 | 0.18473 | 0.0015609 | 6.843e-07 | 0.0014008 | 6.1699e-11
96 | 5.5876e-06 | 0.12462 | 0.00061411 | 0.13608 | 7.5765 | [11 empty] | 6.9969 | 5.0803 | 6.9968 | -0.14736 | 9.2142e-06 | 0.001951 | 0.00033536 | 0.001751 | 0
97 | 5.471e-06 | 0.12582 | 0.00064766 | 0.14053 | 7.5763 | [11 empty] | 6.9969 | 13.2663 | 12.2782 | -0.19648 | 0.24094 | 0.0024896 | 8.8281e-07 | 0.0023347 | 2.0486e-10
98 | 5.2785e-06 | 0.12705 | 0.00070598 | 0.14783 | 7.5747 | [11 empty] | 0 | 0 | 0 | -0.4152 | 0 | 0.0037339 | 0 | 0.0035021 | 0