## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl
0 | 7.7929e-06 | 0.026955 | 9.1711e-05 | 0.029394 | 4.5 | 25.9502 | 24.7951 | 20.736 | 16.1881 | 2.7589 | 8.0656 | 6.3168 | 8.0468 | 0.015635 | 0.00016298 | 0.015334 | 0.00033816 | 0.0003446 | 2.747e-08 | 0.00045794 | 2.7772e-05 | 0.38911
1 | 7.7779e-06 | 0.027226 | 9.2868e-05 | 0.029708 | 4.5 | [5 empty] | 8.0664 | 6.3515 | 8.0659 | 0.015791 | 0.00016534 | 0.015485 | 0.00032931 | 0.00034808 | 6.8323e-08 | 0.00046228 | 2.9266e-05 | 0.39958
2 | 7.7625e-06 | 0.027503 | 9.4054e-05 | 0.030028 | 4.5 | [5 empty] | 8.0671 | 6.35 | 8.0666 | 0.01595 | 0.00016654 | 0.01564 | 0.00033226 | 0.00035163 | 6.8824e-08 | 0.0004667 | 2.9594e-05 | 0.4046
3 | 7.7468e-06 | 0.027785 | 9.5271e-05 | 0.030355 | 4.5 | [5 empty] | 8.0678 | 6.3485 | 8.0673 | 0.016113 | 0.00016777 | 0.015798 | 0.00033527 | 0.00035525 | 6.9352e-08 | 0.00047121 | 2.9929e-05 | 0.40828
4 | 7.7308e-06 | 0.028074 | 9.6518e-05 | 0.030689 | 4.4999 | [5 empty] | 8.0685 | 6.347 | 8.0681 | 0.016279 | 0.00016903 | 0.015959 | 0.00033834 | 0.00035895 | 6.9894e-08 | 0.0004758 | 3.027e-05 | 0.41145
5 | 7.7144e-06 | 0.028368 | 9.7799e-05 | 0.031031 | 4.4999 | [5 empty] | 8.0692 | 6.3456 | 8.0688 | 0.016449 | 0.00017032 | 0.016123 | 0.00034148 | 0.00036273 | 7.0446e-08 | 0.00048049 | 3.062e-05 | 0.41438
6 | 7.6976e-06 | 0.028669 | 9.9113e-05 | 0.03138 | 4.4999 | [5 empty] | 8.0699 | 6.3442 | 8.0696 | 0.016622 | 0.00017165 | 0.016291 | 0.00034468 | 0.00036659 | 7.101e-08 | 0.00048528 | 3.0977e-05 | 0.41718
7 | 7.6805e-06 | 0.028976 | 0.00010046 | 0.031737 | 4.4999 | [5 empty] | 8.0706 | 6.3427 | 8.0703 | 0.016799 | 0.000173 | 0.016463 | 0.00034796 | 0.00037053 | 7.1589e-08 | 0.00049016 | 3.1341e-05 | 0.41993
8 | 7.663e-06 | 0.02929 | 0.00010185 | 0.032101 | 4.4999 | [5 empty] | 8.0713 | 6.3059 | 8.0529 | 0.016979 | 0.0001731 | 0.016638 | 0.00036374 | 0.00037456 | 2.8052e-08 | 0.00049515 | 3.0443e-05 | 0.42066
9 | 7.6452e-06 | 0.029611 | 0.00010327 | 0.032474 | 4.4999 | [5 empty] | 8.0721 | 6.3047 | 8.0537 | 0.017164 | 0.00017451 | 0.016817 | 0.0003672 | 0.00037867 | 2.813e-08 | 0.00050026 | 3.0816e-05 | 0.42177
10 | 7.6269e-06 | 0.029939 | 0.00010474 | 0.032856 | 4.4999 | [5 empty] | 8.073 | 6.3036 | 8.0546 | 0.017353 | 0.00017596 | 0.016999 | 0.00037072 | 0.00038288 | 2.8208e-08 | 0.00050547 | 3.1199e-05 | 0.42317
11 | 7.6082e-06 | 0.030274 | 0.00010624 | 0.033247 | 4.4998 | [5 empty] | 8.0738 | 6.3025 | 8.0555 | 0.017546 | 0.00017745 | 0.017186 | 0.00037433 | 0.00038718 | 2.8288e-08 | 0.0005108 | 3.159e-05 | 0.42479
12 | 7.589e-06 | 0.030617 | 0.00010779 | 0.033646 | 4.4998 | [5 empty] | 8.0747 | 6.3015 | 8.0564 | 0.017743 | 0.00017898 | 0.017377 | 0.00037801 | 0.00039158 | 2.8369e-08 | 0.00051625 | 3.1992e-05 | 0.42659
13 | 7.5694e-06 | 0.030968 | 0.00010938 | 0.034056 | 4.4998 | [5 empty] | 8.0755 | 6.3004 | 8.0573 | 0.017945 | 0.00018055 | 0.017573 | 0.00038179 | 0.00039608 | 2.8454e-08 | 0.00052181 | 3.2401e-05 | 0.42855
14 | 7.5494e-06 | 0.031326 | 0.00011102 | 0.034475 | 4.4998 | [5 empty] | 8.0764 | 6.2994 | 8.0582 | 0.018152 | 0.00018216 | 0.017773 | 0.00038564 | 0.00040069 | 2.8539e-08 | 0.00052751 | 3.2822e-05 | 0.43063
15 | 7.5288e-06 | 0.031694 | 0.00011271 | 0.034904 | 4.4998 | [5 empty] | 8.0773 | 6.2985 | 8.0591 | 0.018363 | 0.00018381 | 0.017977 | 0.00038958 | 0.0004054 | 2.8627e-08 | 0.00053332 | 3.3253e-05 | 0.43284
16 | 7.5078e-06 | 0.03207 | 0.00011445 | 0.035344 | 4.4998 | [5 empty] | 8.0781 | 6.2975 | 8.0601 | 0.01858 | 0.00018551 | 0.018187 | 0.00039362 | 0.00041023 | 2.8718e-08 | 0.00053928 | 3.3694e-05 | 0.43515
17 | 7.4863e-06 | 0.032455 | 0.00011624 | 0.035795 | 4.4997 | [5 empty] | 8.079 | 6.2965 | 8.061 | 0.018801 | 0.00018726 | 0.018401 | 0.00039776 | 0.00041517 | 2.8811e-08 | 0.00054537 | 3.4146e-05 | 0.43755
18 | 7.4642e-06 | 0.032849 | 0.00011809 | 0.036257 | 4.4997 | [5 empty] | 8.0799 | 6.2956 | 8.0619 | 0.019028 | 0.00018906 | 0.01862 | 0.00040201 | 0.00042023 | 2.8907e-08 | 0.0005516 | 3.461e-05 | 0.44005
19 | 7.4415e-06 | 0.033253 | 0.00011999 | 0.036731 | 4.4997 | [5 empty] | 8.0808 | 6.2948 | 8.0629 | 0.019261 | 0.00019091 | 0.018845 | 0.00040634 | 0.00042542 | 2.9005e-08 | 0.00055799 | 3.5087e-05 | 0.44262
20 | 7.4183e-06 | 0.033667 | 0.00012196 | 0.037217 | 4.4997 | [5 empty] | 8.0817 | 6.2939 | 8.0639 | 0.019499 | 0.00019282 | 0.019076 | 0.00041079 | 0.00043074 | 2.9106e-08 | 0.00056452 | 3.5574e-05 | 0.44528
21 | 7.3945e-06 | 0.034092 | 0.00012399 | 0.037716 | 4.4997 | [5 empty] | 8.0826 | 6.2931 | 8.0648 | 0.019744 | 0.00019478 | 0.019312 | 0.00041537 | 0.00043619 | 2.9212e-08 | 0.00057122 | 3.6074e-05 | 0.44802
22 | 7.37e-06 | 0.034527 | 0.00012609 | 0.038228 | 4.4997 | [5 empty] | 8.0835 | 6.2923 | 8.0658 | 0.019994 | 0.0001968 | 0.019554 | 0.00042005 | 0.00044178 | 2.9319e-08 | 0.00057808 | 3.6589e-05 | 0.45083
23 | 7.3449e-06 | 0.034974 | 0.00012826 | 0.038754 | 4.4996 | [5 empty] | 8.0844 | 6.2916 | 8.0668 | 0.020251 | 0.00019888 | 0.019803 | 0.00042485 | 0.00044752 | 2.943e-08 | 0.00058511 | 3.7117e-05 | 0.45371
24 | 7.3192e-06 | 0.035433 | 0.00013051 | 0.039294 | 4.4996 | [5 empty] | 8.0853 | 6.2908 | 8.0678 | 0.020515 | 0.00020103 | 0.020058 | 0.00042979 | 0.00045341 | 2.9545e-08 | 0.00059232 | 3.7659e-05 | 0.45667
25 | 7.2927e-06 | 0.035903 | 0.00013283 | 0.039849 | 4.4996 | [5 empty] | 8.0862 | 6.2902 | 8.0688 | 0.020786 | 0.00020325 | 0.02032 | 0.00043485 | 0.00045945 | 2.9664e-08 | 0.00059972 | 3.8216e-05 | 0.4597
26 | 7.2655e-06 | 0.036387 | 0.00013523 | 0.040419 | 4.4996 | [5 empty] | 8.0871 | 6.2895 | 8.0698 | 0.021064 | 0.00020554 | 0.020588 | 0.00044004 | 0.00046566 | 2.9785e-08 | 0.00060731 | 3.879e-05 | 0.4628
27 | 7.2376e-06 | 0.036883 | 0.00013772 | 0.041006 | 4.4996 | [5 empty] | 8.088 | 6.2889 | 8.0708 | 0.02135 | 0.0002079 | 0.020864 | 0.0004454 | 0.00047204 | 2.9912e-08 | 0.00061509 | 3.9379e-05 | 0.46598
28 | 7.2089e-06 | 0.037394 | 0.0001403 | 0.041609 | 4.4996 | [5 empty] | 8.089 | 6.2884 | 8.0719 | 0.021643 | 0.00021034 | 0.021148 | 0.00045089 | 0.00047859 | 3.0043e-08 | 0.00062309 | 3.9985e-05 | 0.46923
29 | 7.1793e-06 | 0.037918 | 0.00014298 | 0.04223 | 4.4995 | [5 empty] | 8.0899 | 6.2879 | 8.0729 | 0.021945 | 0.00021287 | 0.021439 | 0.00045654 | 0.00048533 | 3.0179e-08 | 0.0006313 | 4.0608e-05 | 0.47255
30 | 7.1489e-06 | 0.038458 | 0.00014576 | 0.042868 | 4.4995 | [5 empty] | 8.0908 | 6.2875 | 8.074 | 0.022256 | 0.00021548 | 0.021739 | 0.00046235 | 0.00049227 | 3.0318e-08 | 0.00063974 | 4.1251e-05 | 0.47595
31 | 7.1176e-06 | 0.039013 | 0.00014864 | 0.043526 | 4.4995 | [5 empty] | 8.0918 | 6.287 | 8.0751 | 0.022575 | 0.00021818 | 0.022048 | 0.00046834 | 0.0004994 | 3.0465e-08 | 0.00064841 | 4.1912e-05 | 0.47943
32 | 7.0854e-06 | 0.039585 | 0.00015164 | 0.044204 | 4.4995 | [5 empty] | 8.0927 | 6.2867 | 8.0762 | 0.022904 | 0.00022098 | 0.022365 | 0.00047451 | 0.00050674 | 3.0616e-08 | 0.00065733 | 4.2593e-05 | 0.48298
33 | 7.0522e-06 | 0.040173 | 0.00015476 | 0.044902 | 4.4995 | [5 empty] | 8.0937 | 6.2864 | 8.0773 | 0.023243 | 0.00022388 | 0.022692 | 0.00048086 | 0.00051431 | 3.0773e-08 | 0.00066651 | 4.3296e-05 | 0.48662
34 | 7.018e-06 | 0.04078 | 0.000158 | 0.045622 | 4.4995 | [5 empty] | 8.0946 | 6.2862 | 8.0784 | 0.023591 | 0.00022689 | 0.023028 | 0.00048741 | 0.0005221 | 3.0937e-08 | 0.00067595 | 4.402e-05 | 0.49034
35 | 6.9827e-06 | 0.041405 | 0.00016138 | 0.046364 | 4.4994 | [5 empty] | 8.0956 | 6.286 | 8.0795 | 0.023951 | 0.00023001 | 0.023375 | 0.00049416 | 0.00053013 | 3.1106e-08 | 0.00068567 | 4.4767e-05 | 0.49414
36 | 6.9464e-06 | 0.042049 | 0.00016491 | 0.047131 | 4.4994 | [5 empty] | 8.0965 | 6.2859 | 8.0807 | 0.024321 | 0.00023324 | 0.023732 | 0.00050113 | 0.00053841 | 3.1283e-08 | 0.00069569 | 4.5538e-05 | 0.49803
37 | 6.9088e-06 | 0.042714 | 0.00016858 | 0.047922 | 4.4994 | [5 empty] | 8.0975 | 6.2858 | 8.0818 | 0.024704 | 0.00023661 | 0.024101 | 0.00050833 | 0.00054696 | 3.1468e-08 | 0.00070601 | 4.6334e-05 | 0.50201
38 | 6.8701e-06 | 0.0434 | 0.00017242 | 0.048739 | 4.4994 | [5 empty] | 8.0985 | 6.287 | 8.0836 | 0.025098 | 0.00024018 | 0.024482 | 0.0005152 | 0.00055578 | 3.3296e-08 | 0.00071665 | 4.7221e-05 | 0.5061
39 | 6.83e-06 | 0.044109 | 0.00017643 | 0.049583 | 4.4994 | [5 empty] | 8.0994 | 6.2871 | 8.0847 | 0.025506 | 0.00024382 | 0.024875 | 0.00052289 | 0.00056489 | 3.3516e-08 | 0.00072762 | 4.8071e-05 | 0.51029
40 | 6.7887e-06 | 0.044841 | 0.00018062 | 0.050455 | 4.4994 | [5 empty] | 8.1004 | 6.2873 | 8.0859 | 0.025927 | 0.00024761 | 0.02528 | 0.00053085 | 0.00057431 | 3.3746e-08 | 0.00073895 | 4.895e-05 | 0.51457
41 | 6.7459e-06 | 0.045598 | 0.00018502 | 0.051358 | 4.4993 | [5 empty] | 8.1014 | 6.2876 | 8.0871 | 0.026362 | 0.00025156 | 0.0257 | 0.00053906 | 0.00058404 | 3.3985e-08 | 0.00075064 | 4.9861e-05 | 0.51895
42 | 6.7017e-06 | 0.046381 | 0.00018962 | 0.052292 | 4.4993 | [5 empty] | 8.1024 | 6.2879 | 8.0884 | 0.026812 | 0.00025568 | 0.026134 | 0.00054759 | 0.00059411 | 3.4236e-08 | 0.00076272 | 5.0804e-05 | 0.52344
43 | 6.656e-06 | 0.047191 | 0.00019445 | 0.053259 | 4.4993 | [5 empty] | 8.1033 | 6.2883 | 8.0896 | 0.027278 | 0.00025998 | 0.026583 | 0.00055642 | 0.00060453 | 3.4499e-08 | 0.00077521 | 5.1779e-05 | 0.52803
44 | 6.6086e-06 | 0.04803 | 0.00019952 | 0.054261 | 4.4993 | [5 empty] | 8.1043 | 6.2889 | 8.0908 | 0.027761 | 0.00026447 | 0.027047 | 0.00056559 | 0.00061533 | 3.4775e-08 | 0.00078813 | 5.279e-05 | 0.53273
45 | 6.5595e-06 | 0.0489 | 0.00020486 | 0.0553 | 4.4993 | [5 empty] | 8.1053 | 6.2895 | 8.0921 | 0.028261 | 0.00026916 | 0.027529 | 0.00057509 | 0.00062651 | 3.5065e-08 | 0.0008015 | 5.3839e-05 | 0.53755
46 | 6.5086e-06 | 0.049802 | 0.00021047 | 0.056377 | 4.4992 | [5 empty] | 8.1063 | 6.2903 | 8.0934 | 0.028779 | 0.00027408 | 0.028028 | 0.00058497 | 0.00063811 | 3.5369e-08 | 0.00081535 | 5.4927e-05 | 0.54248
47 | 6.4558e-06 | 0.050738 | 0.0002164 | 0.057495 | 4.4992 | [5 empty] | 8.1073 | 6.2912 | 8.0947 | 0.029317 | 0.00027923 | 0.028546 | 0.00059523 | 0.00065015 | 3.569e-08 | 0.0008297 | 5.6057e-05 | 0.54755
48 | 6.4011e-06 | 0.051709 | 0.00022265 | 0.058655 | 4.4992 | [5 empty] | 8.1083 | 6.2922 | 8.096 | 0.029875 | 0.00028463 | 0.029083 | 0.00060592 | 0.00066266 | 3.6028e-08 | 0.00084457 | 5.7231e-05 | 0.55274
49 | 6.3442e-06 | 0.052719 | 0.00022925 | 0.059861 | 4.4992 | [5 empty] | 8.1093 | 6.2933 | 8.0974 | 0.030455 | 0.0002903 | 0.029642 | 0.00061704 | 0.00067565 | 3.6385e-08 | 0.00086001 | 5.8452e-05 | 0.55806
50 | 6.2831e-06 | 0.053768 | 0.00023631 | 0.061113 | 4.4981 | [5 empty] | 8.1102 | 6.2946 | 8.0987 | 0.031059 | 0.0002963 | 0.030222 | 0.00062868 | 0.00068916 | 3.6774e-08 | 0.00087604 | 5.9719e-05 | 0.56352
51 | 7.8036e-06 | 0.054861 | 0.00019551 | 0.059794 | 5.6974 | [5 empty] | 8.1112 | 6.2084 | 8.0902 | 0.031687 | 0.00025301 | 0.030826 | 0.00060008 | 0.00070322 | 2.9592e-08 | 0.0008927 | 5.6666e-05 | 0.56796
52 | 7.7494e-06 | 0.056 | 0.00020116 | 0.061094 | 5.6973 | [5 empty] | 8.1123 | 6.2089 | 8.0916 | 0.032341 | 0.00025791 | 0.031456 | 0.00061114 | 0.00071787 | 2.9827e-08 | 0.00091012 | 5.794e-05 | 0.57256
53 | 7.6928e-06 | 0.057187 | 0.00020713 | 0.062449 | 5.6973 | [5 empty] | 8.1133 | 6.2096 | 8.0931 | 0.033024 | 0.00026305 | 0.032112 | 0.00062267 | 0.00073315 | 3.0073e-08 | 0.00092825 | 5.9269e-05 | 0.57733
54 | 7.6337e-06 | 0.058426 | 0.00021346 | 0.063865 | 5.6973 | [5 empty] | 8.1144 | 6.2104 | 8.0947 | 0.033736 | 0.00026847 | 0.032797 | 0.00063471 | 0.00074908 | 3.0333e-08 | 0.00094714 | 6.0658e-05 | 0.58229
55 | 7.572e-06 | 0.059719 | 0.00022017 | 0.065343 | 5.6973 | [5 empty] | 8.1154 | 6.2113 | 8.0962 | 0.03448 | 0.00027417 | 0.033511 | 0.00064728 | 0.00076573 | 3.0609e-08 | 0.00096684 | 6.2111e-05 | 0.58743
56 | 7.5076e-06 | 0.061072 | 0.00022731 | 0.06689 | 5.6973 | [5 empty] | 8.1165 | 6.2124 | 8.0978 | 0.035257 | 0.00028019 | 0.034258 | 0.00066044 | 0.00078313 | 3.0902e-08 | 0.0009874 | 6.3631e-05 | 0.59276
57 | 7.4402e-06 | 0.062487 | 0.00023492 | 0.068509 | 5.6972 | [5 empty] | 8.1175 | 6.2135 | 8.0994 | 0.036071 | 0.00028655 | 0.03504 | 0.00067422 | 0.00080134 | 3.1213e-08 | 0.0010089 | 6.5223e-05 | 0.5983
58 | 7.3696e-06 | 0.063969 | 0.00024303 | 0.070206 | 5.6972 | [5 empty] | 8.1186 | 6.2149 | 8.1011 | 0.036923 | 0.00029327 | 0.035858 | 0.00068866 | 0.00082042 | 3.1545e-08 | 0.0010314 | 6.6894e-05 | 0.60405
59 | 7.2956e-06 | 0.065523 | 0.00025171 | 0.071986 | 5.6972 | [5 empty] | 8.1196 | 6.2164 | 8.1027 | 0.037816 | 0.00030039 | 0.036716 | 0.00070383 | 0.00084043 | 3.19e-08 | 0.0010549 | 6.8648e-05 | 0.61001
60 | 7.2179e-06 | 0.067155 | 0.00026101 | 0.073854 | 5.6972 | [5 empty] | 8.1207 | 6.2181 | 8.1045 | 0.038754 | 0.00030794 | 0.037616 | 0.00071978 | 0.00086144 | 3.228e-08 | 0.0010795 | 7.0492e-05 | 0.6162
61 | 7.1364e-06 | 0.06887 | 0.00027101 | 0.075819 | 5.6972 | [5 empty] | 8.1217 | 6.2199 | 8.1063 | 0.03974 | 0.00031596 | 0.038562 | 0.00073657 | 0.00088353 | 3.2687e-08 | 0.0011054 | 7.2433e-05 | 0.62263
62 | 7.0506e-06 | 0.070675 | 0.00028177 | 0.077886 | 5.6971 | [5 empty] | 8.1227 | 6.2219 | 8.1081 | 0.040777 | 0.00032449 | 0.039557 | 0.00075427 | 0.00090678 | 3.3125e-08 | 0.0011326 | 7.4479e-05 | 0.62931
63 | 6.9604e-06 | 0.072578 | 0.00029339 | 0.080064 | 5.6971 | [5 empty] | 8.1237 | 6.2241 | 8.1099 | 0.041871 | 0.00033357 | 0.040606 | 0.00077298 | 0.00093129 | 3.3597e-08 | 0.0011612 | 7.6637e-05 | 0.63625
64 | 6.8652e-06 | 0.074586 | 0.00030598 | 0.082361 | 5.6971 | [5 empty] | 8.1247 | 6.2265 | 8.1119 | 0.043025 | 0.00034327 | 0.041713 | 0.00079277 | 0.00095716 | 3.4108e-08 | 0.0011913 | 7.8918e-05 | 0.64348
65 | 6.7648e-06 | 0.076708 | 0.00031965 | 0.084788 | 5.6971 | [5 empty] | 8.1257 | 6.229 | 8.1138 | 0.044244 | 0.00035362 | 0.042882 | 0.00081376 | 0.0009845 | 3.4661e-08 | 0.0012231 | 8.1333e-05 | 0.65099
66 | 6.6587e-06 | 0.078955 | 0.00033456 | 0.087355 | 5.697 | [5 empty] | 8.1267 | 6.2317 | 8.1159 | 0.045535 | 0.00036471 | 0.044119 | 0.00083607 | 0.0010135 | 3.5264e-08 | 0.0012567 | 8.3892e-05 | 0.65882
67 | 6.5465e-06 | 0.081337 | 0.00035086 | 0.090074 | 5.697 | [5 empty] | 8.1276 | 6.2595 | 8.1312 | 0.046904 | 0.00037977 | 0.045431 | 0.00083987 | 0.0010442 | 1.0927e-07 | 0.0012922 | 8.9264e-05 | 0.66752
68 | 6.4275e-06 | 0.083868 | 0.00036877 | 0.092958 | 5.697 | [5 empty] | 8.1284 | 6.2621 | 8.133 | 0.048358 | 0.00039264 | 0.046824 | 0.00086519 | 0.0010768 | 1.127e-07 | 0.0013298 | 9.2181e-05 | 0.67657
69 | 6.3013e-06 | 0.086561 | 0.00038852 | 0.096021 | 5.697 | [5 empty] | 8.1291 | 6.2649 | 8.135 | 0.049905 | 0.00040649 | 0.048307 | 0.00089232 | 0.0011115 | 1.1647e-07 | 0.0013697 | 9.5287e-05 | 0.68597
70 | 6.1672e-06 | 0.089434 | 0.00041041 | 0.099281 | 5.6969 | [5 empty] | 8.1298 | 6.2677 | 8.137 | 0.051555 | 0.00042143 | 0.049887 | 0.00092148 | 0.0011486 | 1.2061e-07 | 0.0014122 | 9.86e-05 | 0.69577
71 | 6.0244e-06 | 0.092504 | 0.0004348 | 0.10275 | 5.6969 | [5 empty] | 8.1305 | 6.2543 | 8.1303 | 0.053318 | 0.00043465 | 0.051576 | 0.00096629 | 0.0011882 | 2.2929e-07 | 0.0014575 | 0.00010005 | 0.70558
72 | 5.8722e-06 | 0.095792 | 0.00046212 | 0.10646 | 5.6969 | [5 empty] | 8.1313 | 6.256 | 8.1318 | 0.055207 | 0.0004518 | 0.053383 | 0.0010019 | 0.0012306 | 2.4043e-07 | 0.001506 | 0.00010362 | 0.7158
73 | 5.7097e-06 | 0.099323 | 0.00049292 | 0.11043 | 5.6969 | [5 empty] | 8.1321 | 6.2775 | 8.1436 | 0.057235 | 0.00047439 | 0.055323 | 0.0010237 | 0.0012762 | 1.3591e-07 | 0.0015579 | 0.00011006 | 0.72697
74 | 5.533e-06 | 0.10312 | 0.00052813 | 0.11467 | 5.6951 | [5 empty] | 8.1328 | 6.2812 | 8.1459 | 0.059418 | 0.00049567 | 0.057412 | 0.0010642 | 0.0013252 | 1.4233e-07 | 0.0016136 | 0.00011446 | 0.73866
75 | 6.7904e-06 | 0.10723 | 0.00040964 | 0.11564 | 8.2941 | [5 empty] | 8.1333 | 6.2119 | 8.1419 | 0.061775 | 0.0004372 | 0.059665 | 0.001027 | 0.0013783 | 1.1767e-07 | 0.0016736 | 0.0001127 | 0.74971
76 | 6.6557e-06 | 0.11168 | 0.00043576 | 0.12058 | 8.294 | [5 empty] | 8.1339 | 6.2126 | 8.1447 | 0.06433 | 0.0004547 | 0.062109 | 0.0010667 | 0.0014357 | 1.2204e-07 | 0.0017386 | 0.00011764 | 0.76138
77 | 6.5097e-06 | 0.11651 | 0.00046533 | 0.12595 | 8.294 | [5 empty] | 8.1344 | 6.2139 | 8.1477 | 0.067108 | 0.00047414 | 0.064763 | 0.00111 | 0.0014981 | 1.2686e-07 | 0.0018091 | 0.00012302 | 0.77372
78 | 6.3508e-06 | 0.12179 | 0.00049907 | 0.1318 | 8.294 | [5 empty] | 8.1349 | 6.2161 | 8.1508 | 0.070136 | 0.00049611 | 0.067656 | 0.0011575 | 0.0015662 | 1.3228e-07 | 0.0018857 | 0.00012892 | 0.78679
79 | 6.1774e-06 | 0.12757 | 0.00053791 | 0.13819 | 8.294 | [5 empty] | 8.1353 | 6.1985 | 8.1428 | 0.073453 | 0.00051678 | 0.070823 | 0.0012336 | 0.0016408 | 3.9071e-08 | 0.0019694 | 0.00013197 | 0.80007
80 | 5.9875e-06 | 0.13392 | 0.00058306 | 0.1452 | 8.2939 | [5 empty] | 8.1359 | 6.2054 | 8.1468 | 0.077099 | 0.00054644 | 0.074302 | 0.0012917 | 0.0017228 | 4.0383e-08 | 0.0020613 | 0.00013912 | 0.81425
81 | 5.7787e-06 | 0.14093 | 0.00063618 | 0.15293 | 8.2939 | [5 empty] | 8.1364 | 6.2152 | 8.1511 | 0.081128 | 0.00058186 | 0.078145 | 0.0013569 | 0.0018135 | 4.1916e-08 | 0.0021624 | 0.00014707 | 0.82945
82 | 5.5483e-06 | 0.14873 | 0.00069949 | 0.16147 | 8.2939 | [5 empty] | 8.1368 | 6.2284 | 8.1556 | 0.085603 | 0.00062465 | 0.082411 | 0.0014306 | 0.0019142 | 4.3733e-08 | 0.0022744 | 0.00015594 | 0.84578
83 | 5.2928e-06 | 0.15744 | 0.00077619 | 0.17096 | 8.2938 | [5 empty] | 8.137 | 6.2466 | 8.1609 | 0.090602 | 0.00067716 | 0.087174 | 0.0015138 | 0.0020268 | 5.0094e-08 | 0.002399 | 0.00016612 | 0.86342
84 | 5.0084e-06 | 0.16723 | 0.00087089 | 0.18156 | 8.2938 | [5 empty] | 8.1371 | 6.2681 | 8.166 | 0.096222 | 0.00074158 | 0.092528 | 0.0016121 | 0.0021535 | 5.3064e-08 | 0.0025386 | 0.0001774 | 0.8825
85 | 4.6902e-06 | 0.17832 | 0.00099057 | 0.19345 | 8.2938 | [5 empty] | 8.1369 | 6.3077 | 8.1783 | 0.10259 | 0.0008265 | 0.098589 | 0.0017101 | 0.002297 | 1.5112e-07 | 0.002696 | 0.00019326 | 0.90373
86 | 4.3301e-06 | 0.19098 | 0.0011468 | 0.20686 | 8.2917 | [5 empty] | 8.1363 | 6.3392 | 8.1836 | 0.10986 | 0.00092991 | 0.10551 | 0.0018521 | 0.0024611 | 1.6657e-07 | 0.0028748 | 0.00020809 | 0.92685
87 | 6.47e-06 | 0.20559 | 0.0008613 | 0.22086 | 10.3204 | [5 empty] | 8.1354 | 6.2263 | 8.1878 | 0.11824 | 0.00075486 | 0.11348 | 0.0017301 | 0.0026504 | 1.1384e-07 | 0.0030799 | 0.00021584 | 0.95068
88 | 5.9795e-06 | 0.22265 | 0.0010083 | 0.23903 | 10.3204 | [5 empty] | 8.1342 | 6.2603 | 8.1946 | 0.12803 | 0.00085691 | 0.1228 | 0.0018779 | 0.0028713 | 1.2556e-07 | 0.0033186 | 0.00023516 | 0.97702
89 | 5.4099e-06 | 0.2428 | 0.0012127 | 0.26022 | 10.3204 | [5 empty] | 8.1325 | 6.3025 | 8.202 | 0.13959 | 0.00099382 | 0.13379 | 0.0020649 | 0.0031323 | 1.4155e-07 | 0.0035989 | 0.00025818 | 1.0064
90 | 4.7425e-06 | 0.26696 | 0.001515 | 0.28516 | 10.3203 | [5 empty] | 8.1302 | 6.3471 | 8.2052 | 0.15345 | 0.0011837 | 0.14696 | 0.0023304 | 0.0034455 | 5.688e-08 | 0.0039329 | 0.0002832 | 1.0389
91 | 3.9539e-06 | 0.29645 | 0.0020042 | 0.31485 | 10.3203 | [5 empty] | 8.1273 | 6.4274 | 8.2181 | 0.17036 | 0.0014861 | 0.16303 | 0.0026758 | 0.0038283 | 1.4835e-07 | 0.0043385 | 0.000321 | 1.0765
92 | 3.0162e-06 | 0.33325 | 0.0029201 | 0.35063 | 10.3202 | [5 empty] | 8.1234 | 6.5309 | 8.2277 | 0.19147 | 0.002014 | 0.18307 | 0.0032736 | 0.0043068 | 1.9708e-07 | 0.0048406 | 0.00036791 | 1.1204
93 | 1.9048e-06 | 0.38045 | 0.0051751 | 0.39434 | 10.318 | [5 empty] | 8.1183 | 6.6997 | 8.2379 | 0.21854 | 0.0032374 | 0.20876 | 0.0045882 | 0.0049221 | 3.155e-07 | 0.0054796 | 0.00044048 | 1.1741
94 | 2.7212e-06 | 0.44299 | 0.00421 | 0.45648 | 12.3767 | [5 empty] | 8.1118 | 6.6177 | 8.2532 | 0.25442 | 0.0028269 | 0.24279 | 0.0042594 | 0.0057423 | 2.2455e-07 | 0.0063194 | 0.00048966 | 1.2339
95 | 8.8717e-07 | 0.53075 | 0.0149 | 0.53675 | 12.3766 | [5 empty] | 8.1029 | 7.0205 | 8.269 | 0.30474 | 0.0084047 | 0.29049 | 0.010005 | 0.0068908 | 6.8426e-07 | 0.0074854 | 0.00071314 | 1.3252
96 | 1.3912e-07 | 0.65971 | 0.1018 | 0.66094 | 12.3765 | [5 empty] | 8.0917 | 7.6296 | 8.2923 | 0.37883 | 0.053084 | 0.36062 | 0.054947 | 0.0086133 | 3.8214e-06 | 0.0091785 | 0.0019939 | 1.5995
97 | 5.521e-08 | 0.84568 | 0.26617 | 0.84633 | 12.3763 | [5 empty] | 8.0828 | 7.7722 | 8.3233 | 0.48741 | 0.13697 | 0.46251 | 0.13902 | 0.011483 | 7.966e-06 | 0.011573 | 0.0043242 | 2.2014
98 | 2.9216e-08 | 1.1354 | 0.52751 | 1.1359 | 12.3747 | [5 empty] | 0 | 0 | 0 | 0.66262 | 0 | 0.62425 | 0 | 0.017221 | 0 | 0.015198 | 0 | 2.1792