## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl
0 | 7.7794e-06 | 0.026955 | 9.1855e-05 | 0.02939 | 4.5 | 25.9743 | 24.8619 | 20.8568 | 16.5035 | 3.0114 | 8.0656 | 6.3173 | 8.0468 | 0.015635 | 0.00016312 | 0.015334 | 0.00033824 | 0.0003446 | 2.7517e-08 | 0.00045794 | 2.7768e-05 | 0.38905
1 | 7.7819e-06 | 0.027226 | 9.2824e-05 | 0.029709 | 4.5 | [5 empty] | 8.0664 | 6.3513 | 8.0659 | 0.015791 | 0.0001653 | 0.015485 | 0.0003293 | 0.00034808 | 6.8289e-08 | 0.00046228 | 2.9266e-05 | 0.39955
2 | 7.7666e-06 | 0.027503 | 9.4009e-05 | 0.03003 | 4.5 | [5 empty] | 8.0671 | 6.3498 | 8.0666 | 0.01595 | 0.0001665 | 0.01564 | 0.00033223 | 0.00035163 | 6.8787e-08 | 0.0004667 | 2.9596e-05 | 0.40459
3 | 7.751e-06 | 0.027785 | 9.5224e-05 | 0.030357 | 4.5 | [5 empty] | 8.0678 | 6.3484 | 8.0674 | 0.016113 | 0.00016773 | 0.015798 | 0.00033524 | 0.00035525 | 6.9315e-08 | 0.00047121 | 2.9931e-05 | 0.40828
4 | 7.735e-06 | 0.028074 | 9.647e-05 | 0.030691 | 4.4999 | [5 empty] | 8.0685 | 6.3469 | 8.0681 | 0.016279 | 0.00016899 | 0.015959 | 0.00033832 | 0.00035895 | 6.9855e-08 | 0.0004758 | 3.0272e-05 | 0.41145
5 | 7.7187e-06 | 0.028368 | 9.7749e-05 | 0.031033 | 4.4999 | [5 empty] | 8.0692 | 6.3454 | 8.0688 | 0.016449 | 0.00017027 | 0.016123 | 0.00034146 | 0.00036273 | 7.0407e-08 | 0.00048049 | 3.0621e-05 | 0.41438
6 | 7.7021e-06 | 0.028669 | 9.9062e-05 | 0.031382 | 4.4999 | [5 empty] | 8.0699 | 6.3439 | 8.0696 | 0.016622 | 0.00017159 | 0.016291 | 0.00034467 | 0.00036659 | 7.0972e-08 | 0.00048528 | 3.0978e-05 | 0.41719
7 | 7.685e-06 | 0.028976 | 0.00010041 | 0.031738 | 4.4999 | [5 empty] | 8.0706 | 6.3425 | 8.0703 | 0.016799 | 0.00017295 | 0.016463 | 0.00034793 | 0.00037053 | 7.1546e-08 | 0.00049016 | 3.1343e-05 | 0.41994
8 | 7.6676e-06 | 0.02929 | 0.00010179 | 0.032103 | 4.4999 | [5 empty] | 8.0713 | 6.3057 | 8.0529 | 0.016979 | 0.00017305 | 0.016638 | 0.00036371 | 0.00037456 | 2.8036e-08 | 0.00049515 | 3.0444e-05 | 0.42067
9 | 7.6498e-06 | 0.029611 | 0.00010322 | 0.032476 | 4.4999 | [5 empty] | 8.0721 | 6.3046 | 8.0538 | 0.017164 | 0.00017446 | 0.016817 | 0.00036717 | 0.00037867 | 2.8113e-08 | 0.00050026 | 3.0818e-05 | 0.42178
10 | 7.6316e-06 | 0.029939 | 0.00010468 | 0.032858 | 4.4999 | [5 empty] | 8.073 | 6.3034 | 8.0546 | 0.017353 | 0.00017591 | 0.016999 | 0.00037069 | 0.00038288 | 2.8191e-08 | 0.00050547 | 3.1201e-05 | 0.42318
11 | 7.613e-06 | 0.030274 | 0.00010618 | 0.033249 | 4.4998 | [5 empty] | 8.0738 | 6.3024 | 8.0555 | 0.017546 | 0.00017739 | 0.017186 | 0.00037429 | 0.00038718 | 2.827e-08 | 0.0005108 | 3.1593e-05 | 0.4248
12 | 7.594e-06 | 0.030617 | 0.00010773 | 0.033649 | 4.4998 | [5 empty] | 8.0747 | 6.3013 | 8.0564 | 0.017743 | 0.00017892 | 0.017377 | 0.00037798 | 0.00039158 | 2.8351e-08 | 0.00051625 | 3.1993e-05 | 0.42661
13 | 7.5745e-06 | 0.030968 | 0.00010932 | 0.034058 | 4.4998 | [5 empty] | 8.0755 | 6.3002 | 8.0573 | 0.017945 | 0.00018049 | 0.017573 | 0.00038175 | 0.00039608 | 2.8434e-08 | 0.00052181 | 3.2404e-05 | 0.42856
14 | 7.5545e-06 | 0.031326 | 0.00011095 | 0.034477 | 4.4998 | [5 empty] | 8.0764 | 6.2992 | 8.0582 | 0.018152 | 0.00018209 | 0.017773 | 0.0003856 | 0.00040069 | 2.8519e-08 | 0.0005275 | 3.2824e-05 | 0.43065
15 | 7.5341e-06 | 0.031694 | 0.00011264 | 0.034907 | 4.4998 | [5 empty] | 8.0773 | 6.2982 | 8.0592 | 0.018363 | 0.00018375 | 0.017977 | 0.00038955 | 0.0004054 | 2.8608e-08 | 0.00053332 | 3.3255e-05 | 0.43286
16 | 7.5132e-06 | 0.03207 | 0.00011437 | 0.035347 | 4.4998 | [5 empty] | 8.0781 | 6.2973 | 8.0601 | 0.01858 | 0.00018545 | 0.018187 | 0.00039359 | 0.00041023 | 2.8698e-08 | 0.00053928 | 3.3696e-05 | 0.43517
17 | 7.4917e-06 | 0.032455 | 0.00011616 | 0.035798 | 4.4997 | [5 empty] | 8.079 | 6.2963 | 8.061 | 0.018801 | 0.00018719 | 0.018401 | 0.00039773 | 0.00041517 | 2.8791e-08 | 0.00054537 | 3.4149e-05 | 0.43757
18 | 7.4697e-06 | 0.032849 | 0.00011801 | 0.03626 | 4.4997 | [5 empty] | 8.0799 | 6.2954 | 8.062 | 0.019028 | 0.00018899 | 0.01862 | 0.00040197 | 0.00042023 | 2.8886e-08 | 0.0005516 | 3.4612e-05 | 0.44007
19 | 7.4472e-06 | 0.033253 | 0.00011991 | 0.036734 | 4.4997 | [5 empty] | 8.0808 | 6.2945 | 8.0629 | 0.019261 | 0.00019084 | 0.018845 | 0.00040631 | 0.00042542 | 2.8983e-08 | 0.00055799 | 3.5089e-05 | 0.44264
20 | 7.4241e-06 | 0.033667 | 0.00012188 | 0.03722 | 4.4997 | [5 empty] | 8.0817 | 6.2937 | 8.0639 | 0.019499 | 0.00019274 | 0.019076 | 0.00041076 | 0.00043074 | 2.9084e-08 | 0.00056452 | 3.5576e-05 | 0.4453
21 | 7.4004e-06 | 0.034092 | 0.00012391 | 0.037719 | 4.4997 | [5 empty] | 8.0826 | 6.2928 | 8.0648 | 0.019744 | 0.0001947 | 0.019312 | 0.00041532 | 0.00043619 | 2.9188e-08 | 0.00057122 | 3.6078e-05 | 0.44804
22 | 7.3761e-06 | 0.034527 | 0.000126 | 0.038232 | 4.4997 | [5 empty] | 8.0835 | 6.2921 | 8.0658 | 0.019994 | 0.00019672 | 0.019554 | 0.00042 | 0.00044178 | 2.9294e-08 | 0.00057808 | 3.6593e-05 | 0.45085
23 | 7.3511e-06 | 0.034974 | 0.00012817 | 0.038758 | 4.4996 | [5 empty] | 8.0844 | 6.2913 | 8.0668 | 0.020251 | 0.0001988 | 0.019803 | 0.00042481 | 0.00044752 | 2.9405e-08 | 0.00058511 | 3.712e-05 | 0.45373
24 | 7.3255e-06 | 0.035433 | 0.00013041 | 0.039298 | 4.4996 | [5 empty] | 8.0853 | 6.2906 | 8.0678 | 0.020515 | 0.00020094 | 0.020058 | 0.00042973 | 0.00045341 | 2.9519e-08 | 0.00059232 | 3.7663e-05 | 0.45669
25 | 7.2992e-06 | 0.035903 | 0.00013272 | 0.039853 | 4.4996 | [5 empty] | 8.0862 | 6.2899 | 8.0688 | 0.020786 | 0.00020316 | 0.02032 | 0.0004348 | 0.00045945 | 2.9637e-08 | 0.00059972 | 3.822e-05 | 0.45972
26 | 7.2721e-06 | 0.036387 | 0.00013512 | 0.040423 | 4.4996 | [5 empty] | 8.0871 | 6.2893 | 8.0698 | 0.021064 | 0.00020544 | 0.020588 | 0.00044 | 0.00046566 | 2.9758e-08 | 0.0006073 | 3.8793e-05 | 0.46283
27 | 7.2444e-06 | 0.036883 | 0.00013761 | 0.04101 | 4.4996 | [5 empty] | 8.088 | 6.2887 | 8.0709 | 0.02135 | 0.0002078 | 0.020864 | 0.00044533 | 0.00047204 | 2.9884e-08 | 0.00061509 | 3.9383e-05 | 0.46601
28 | 7.2158e-06 | 0.037394 | 0.00014018 | 0.041613 | 4.4996 | [5 empty] | 8.089 | 6.2881 | 8.0719 | 0.021643 | 0.00021024 | 0.021148 | 0.00045083 | 0.00047859 | 3.0014e-08 | 0.00062309 | 3.9989e-05 | 0.46926
29 | 7.1864e-06 | 0.037918 | 0.00014285 | 0.042234 | 4.4995 | [5 empty] | 8.0899 | 6.2876 | 8.073 | 0.021945 | 0.00021276 | 0.021439 | 0.00045648 | 0.00048533 | 3.0149e-08 | 0.0006313 | 4.0613e-05 | 0.47258
30 | 7.1562e-06 | 0.038458 | 0.00014563 | 0.042873 | 4.4995 | [5 empty] | 8.0908 | 6.2871 | 8.074 | 0.022256 | 0.00021537 | 0.021739 | 0.0004623 | 0.00049227 | 3.0288e-08 | 0.00063974 | 4.1255e-05 | 0.47598
31 | 7.125e-06 | 0.039013 | 0.00014851 | 0.043531 | 4.4995 | [5 empty] | 8.0918 | 6.2867 | 8.0751 | 0.022575 | 0.00021806 | 0.022048 | 0.00046828 | 0.0004994 | 3.0433e-08 | 0.00064841 | 4.1917e-05 | 0.47946
32 | 7.093e-06 | 0.039585 | 0.0001515 | 0.044209 | 4.4995 | [5 empty] | 8.0927 | 6.2864 | 8.0762 | 0.022904 | 0.00022086 | 0.022365 | 0.00047444 | 0.00050674 | 3.0583e-08 | 0.00065733 | 4.2599e-05 | 0.48302
33 | 7.06e-06 | 0.040173 | 0.00015461 | 0.044908 | 4.4995 | [5 empty] | 8.0937 | 6.2861 | 8.0773 | 0.023243 | 0.00022375 | 0.022692 | 0.00048079 | 0.00051431 | 3.0739e-08 | 0.00066651 | 4.3301e-05 | 0.48666
34 | 7.026e-06 | 0.04078 | 0.00015784 | 0.045628 | 4.4995 | [5 empty] | 8.0946 | 6.2858 | 8.0784 | 0.023591 | 0.00022675 | 0.023028 | 0.00048733 | 0.0005221 | 3.0901e-08 | 0.00067595 | 4.4026e-05 | 0.49038
35 | 6.9909e-06 | 0.041405 | 0.00016122 | 0.046371 | 4.4994 | [5 empty] | 8.0956 | 6.2856 | 8.0795 | 0.023951 | 0.00022987 | 0.023375 | 0.00049409 | 0.00053013 | 3.107e-08 | 0.00068567 | 4.4773e-05 | 0.49418
36 | 6.9548e-06 | 0.042049 | 0.00016473 | 0.047137 | 4.4994 | [5 empty] | 8.0966 | 6.2855 | 8.0807 | 0.024321 | 0.0002331 | 0.023732 | 0.00050105 | 0.00053841 | 3.1245e-08 | 0.00069569 | 4.5544e-05 | 0.49807
37 | 6.9175e-06 | 0.042714 | 0.0001684 | 0.047929 | 4.4994 | [5 empty] | 8.0975 | 6.2855 | 8.0819 | 0.024704 | 0.00023646 | 0.024101 | 0.00050824 | 0.00054696 | 3.1428e-08 | 0.00070601 | 4.6341e-05 | 0.50205
38 | 6.8789e-06 | 0.0434 | 0.00017222 | 0.048746 | 4.4994 | [5 empty] | 8.0985 | 6.2855 | 8.083 | 0.025098 | 0.00023995 | 0.024482 | 0.00051567 | 0.00055578 | 3.1619e-08 | 0.00071665 | 4.7164e-05 | 0.50612
39 | 6.8392e-06 | 0.044109 | 0.00017622 | 0.049591 | 4.4994 | [5 empty] | 8.0995 | 6.2867 | 8.0848 | 0.025506 | 0.00024366 | 0.024875 | 0.00052278 | 0.00056489 | 3.3469e-08 | 0.00072762 | 4.8081e-05 | 0.51031
40 | 6.798e-06 | 0.044841 | 0.00018041 | 0.050464 | 4.4994 | [5 empty] | 8.1004 | 6.2869 | 8.086 | 0.025927 | 0.00024744 | 0.02528 | 0.00053073 | 0.00057431 | 3.3698e-08 | 0.00073895 | 4.896e-05 | 0.51459
41 | 6.7556e-06 | 0.045598 | 0.00018479 | 0.051367 | 4.4993 | [5 empty] | 8.1014 | 6.2871 | 8.0872 | 0.026362 | 0.00025138 | 0.0257 | 0.00053896 | 0.00058404 | 3.3936e-08 | 0.00075064 | 4.9871e-05 | 0.51898
42 | 6.7116e-06 | 0.046381 | 0.00018938 | 0.052302 | 4.4993 | [5 empty] | 8.1024 | 6.2875 | 8.0884 | 0.026812 | 0.00025549 | 0.026134 | 0.00054747 | 0.00059411 | 3.4185e-08 | 0.00076272 | 5.0813e-05 | 0.52347
43 | 6.6661e-06 | 0.047191 | 0.00019419 | 0.053269 | 4.4993 | [5 empty] | 8.1034 | 6.2879 | 8.0896 | 0.027278 | 0.00025978 | 0.026583 | 0.0005563 | 0.00060453 | 3.4446e-08 | 0.00077521 | 5.1789e-05 | 0.52806
44 | 6.619e-06 | 0.048031 | 0.00019925 | 0.054272 | 4.4993 | [5 empty] | 8.1043 | 6.2884 | 8.0909 | 0.027761 | 0.00026426 | 0.027047 | 0.00056545 | 0.00061533 | 3.4719e-08 | 0.00078813 | 5.2801e-05 | 0.53277
45 | 6.5703e-06 | 0.0489 | 0.00020457 | 0.055311 | 4.4993 | [5 empty] | 8.1053 | 6.2891 | 8.0922 | 0.028261 | 0.00026894 | 0.027529 | 0.00057495 | 0.00062651 | 3.5006e-08 | 0.0008015 | 5.3851e-05 | 0.53759
46 | 6.5197e-06 | 0.049802 | 0.00021016 | 0.056389 | 4.4992 | [5 empty] | 8.1063 | 6.2898 | 8.0935 | 0.028779 | 0.00027384 | 0.028028 | 0.00058481 | 0.00063811 | 3.5307e-08 | 0.00081535 | 5.494e-05 | 0.54253
47 | 6.4673e-06 | 0.050738 | 0.00021606 | 0.057508 | 4.4992 | [5 empty] | 8.1073 | 6.2907 | 8.0948 | 0.029317 | 0.00027898 | 0.028546 | 0.00059507 | 0.00065015 | 3.5625e-08 | 0.00082969 | 5.6071e-05 | 0.54759
48 | 6.4128e-06 | 0.051709 | 0.00022229 | 0.058669 | 4.4992 | [5 empty] | 8.1083 | 6.2916 | 8.0961 | 0.029875 | 0.00028436 | 0.029083 | 0.00060574 | 0.00066266 | 3.596e-08 | 0.00084457 | 5.7246e-05 | 0.55278
49 | 6.3563e-06 | 0.052719 | 0.00022887 | 0.059876 | 4.4992 | [5 empty] | 8.1093 | 6.2927 | 8.0975 | 0.030456 | 0.00029002 | 0.029642 | 0.00061686 | 0.00067565 | 3.6313e-08 | 0.00086001 | 5.8468e-05 | 0.55811
50 | 6.2956e-06 | 0.053769 | 0.00023591 | 0.061129 | 4.4981 | [5 empty] | 8.1103 | 6.2941 | 8.0988 | 0.031059 | 0.00029601 | 0.030222 | 0.00062848 | 0.00068916 | 3.6699e-08 | 0.00087604 | 5.9736e-05 | 0.56358
51 | 7.815e-06 | 0.054861 | 0.00019526 | 0.059802 | 5.6974 | [5 empty] | 8.1113 | 6.2079 | 8.0902 | 0.031687 | 0.00025281 | 0.030826 | 0.00059995 | 0.00070322 | 2.9547e-08 | 0.0008927 | 5.6674e-05 | 0.56801
52 | 7.7611e-06 | 0.056 | 0.00020088 | 0.061102 | 5.6973 | [5 empty] | 8.1123 | 6.2085 | 8.0917 | 0.032342 | 0.00025769 | 0.031456 | 0.00061101 | 0.00071787 | 2.9781e-08 | 0.00091012 | 5.7948e-05 | 0.57261
53 | 7.7049e-06 | 0.057187 | 0.00020683 | 0.062458 | 5.6973 | [5 empty] | 8.1134 | 6.2091 | 8.0932 | 0.033024 | 0.00026282 | 0.032112 | 0.00062252 | 0.00073315 | 3.0024e-08 | 0.00092825 | 5.9279e-05 | 0.57739
54 | 7.6463e-06 | 0.058426 | 0.00021314 | 0.063874 | 5.6973 | [5 empty] | 8.1144 | 6.2099 | 8.0947 | 0.033736 | 0.00026822 | 0.032797 | 0.00063455 | 0.00074909 | 3.0281e-08 | 0.00094714 | 6.0668e-05 | 0.58235
55 | 7.5851e-06 | 0.059719 | 0.00021983 | 0.065354 | 5.6973 | [5 empty] | 8.1155 | 6.2108 | 8.0963 | 0.03448 | 0.00027391 | 0.033511 | 0.00064711 | 0.00076573 | 3.0554e-08 | 0.00096684 | 6.2121e-05 | 0.58749
56 | 7.5211e-06 | 0.061072 | 0.00022694 | 0.066902 | 5.6973 | [5 empty] | 8.1165 | 6.2118 | 8.0978 | 0.035258 | 0.00027991 | 0.034258 | 0.00066025 | 0.00078313 | 3.0844e-08 | 0.0009874 | 6.3642e-05 | 0.59283
57 | 7.4542e-06 | 0.062487 | 0.00023452 | 0.068522 | 5.6972 | [5 empty] | 8.1176 | 6.213 | 8.0995 | 0.036071 | 0.00028625 | 0.03504 | 0.00067402 | 0.00080134 | 3.1152e-08 | 0.0010089 | 6.5236e-05 | 0.59837
58 | 7.3841e-06 | 0.063969 | 0.0002426 | 0.070219 | 5.6972 | [5 empty] | 8.1186 | 6.2143 | 8.1011 | 0.036923 | 0.00029295 | 0.035858 | 0.00068845 | 0.00082042 | 3.1481e-08 | 0.0010313 | 6.6907e-05 | 0.60411
59 | 7.3107e-06 | 0.065523 | 0.00025125 | 0.072 | 5.6972 | [5 empty] | 8.1197 | 6.2158 | 8.1028 | 0.037816 | 0.00030005 | 0.036716 | 0.0007036 | 0.00084043 | 3.1832e-08 | 0.0010549 | 6.8662e-05 | 0.61008
60 | 7.2337e-06 | 0.067155 | 0.00026051 | 0.07387 | 5.6972 | [5 empty] | 8.1207 | 6.2174 | 8.1045 | 0.038754 | 0.00030757 | 0.037616 | 0.00071953 | 0.00086144 | 3.2207e-08 | 0.0010795 | 7.0507e-05 | 0.61627
61 | 7.1527e-06 | 0.06887 | 0.00027045 | 0.075836 | 5.6972 | [5 empty] | 8.1217 | 6.2192 | 8.1063 | 0.03974 | 0.00031556 | 0.038562 | 0.0007363 | 0.00088353 | 3.261e-08 | 0.0011054 | 7.2449e-05 | 0.6227
62 | 7.0677e-06 | 0.070676 | 0.00028116 | 0.077905 | 5.6971 | [5 empty] | 8.1227 | 6.2212 | 8.1081 | 0.040778 | 0.00032406 | 0.039558 | 0.00075398 | 0.00090678 | 3.3043e-08 | 0.0011326 | 7.4496e-05 | 0.62939
63 | 6.9781e-06 | 0.072578 | 0.00029272 | 0.080085 | 5.6971 | [5 empty] | 8.1237 | 6.2234 | 8.11 | 0.041871 | 0.0003331 | 0.040606 | 0.00077265 | 0.00093129 | 3.3509e-08 | 0.0011612 | 7.6656e-05 | 0.63633
64 | 6.8838e-06 | 0.074586 | 0.00030524 | 0.082384 | 5.6971 | [5 empty] | 8.1247 | 6.2257 | 8.1119 | 0.043025 | 0.00034276 | 0.041713 | 0.00079241 | 0.00095716 | 3.4013e-08 | 0.0011913 | 7.8939e-05 | 0.64356
65 | 6.7842e-06 | 0.076708 | 0.00031884 | 0.084814 | 5.6971 | [5 empty] | 8.1257 | 6.2282 | 8.1139 | 0.044244 | 0.00035307 | 0.042882 | 0.00081337 | 0.0009845 | 3.456e-08 | 0.0012231 | 8.1356e-05 | 0.65108
66 | 6.679e-06 | 0.078955 | 0.00033365 | 0.087383 | 5.697 | [5 empty] | 8.1267 | 6.2309 | 8.1159 | 0.045535 | 0.0003641 | 0.044119 | 0.00083563 | 0.0010135 | 3.5154e-08 | 0.0012567 | 8.3918e-05 | 0.65891
67 | 6.5677e-06 | 0.081338 | 0.00034985 | 0.090105 | 5.697 | [5 empty] | 8.1277 | 6.2585 | 8.1313 | 0.046904 | 0.00037909 | 0.045431 | 0.00083939 | 0.0010442 | 1.0891e-07 | 0.0012922 | 8.9291e-05 | 0.66762
68 | 6.4497e-06 | 0.083868 | 0.00036764 | 0.092992 | 5.697 | [5 empty] | 8.1284 | 6.2611 | 8.1331 | 0.048358 | 0.0003919 | 0.046824 | 0.00086466 | 0.0010768 | 1.1231e-07 | 0.0013298 | 9.2211e-05 | 0.67667
69 | 6.3246e-06 | 0.086562 | 0.00038725 | 0.09606 | 5.697 | [5 empty] | 8.1292 | 6.2638 | 8.1351 | 0.049905 | 0.00040566 | 0.048307 | 0.00089173 | 0.0011115 | 1.1604e-07 | 0.0013697 | 9.5319e-05 | 0.68608
70 | 6.1917e-06 | 0.089434 | 0.00040897 | 0.099324 | 5.6969 | [5 empty] | 8.1299 | 6.2666 | 8.1371 | 0.051555 | 0.00042051 | 0.049887 | 0.00092081 | 0.0011486 | 1.2013e-07 | 0.0014122 | 9.8636e-05 | 0.69588
71 | 6.0502e-06 | 0.092504 | 0.00043316 | 0.1028 | 5.6969 | [5 empty] | 8.1306 | 6.253 | 8.1304 | 0.053319 | 0.0004336 | 0.051576 | 0.00096563 | 0.0011882 | 2.2836e-07 | 0.0014575 | 0.00010007 | 0.70569
72 | 5.8993e-06 | 0.095793 | 0.00046024 | 0.10652 | 5.6969 | [5 empty] | 8.1314 | 6.2546 | 8.1318 | 0.055207 | 0.00045062 | 0.053383 | 0.0010011 | 0.0012306 | 2.3938e-07 | 0.001506 | 0.00010364 | 0.71592
73 | 5.7382e-06 | 0.099323 | 0.00049075 | 0.11049 | 5.6969 | [5 empty] | 8.1322 | 6.2761 | 8.1437 | 0.057235 | 0.00047309 | 0.055324 | 0.0010227 | 0.0012762 | 1.3523e-07 | 0.0015579 | 0.00011011 | 0.72709
74 | 5.5631e-06 | 0.10312 | 0.0005256 | 0.11474 | 5.6951 | [5 empty] | 8.1328 | 6.2797 | 8.146 | 0.059418 | 0.00049418 | 0.057412 | 0.001063 | 0.0013252 | 1.4156e-07 | 0.0016136 | 0.00011451 | 0.73879
75 | 6.8123e-06 | 0.10723 | 0.00040843 | 0.11567 | 8.2941 | [5 empty] | 8.1334 | 6.211 | 8.142 | 0.061775 | 0.00043639 | 0.059666 | 0.0010264 | 0.0013783 | 1.1729e-07 | 0.0016736 | 0.00011272 | 0.74985
76 | 6.679e-06 | 0.11168 | 0.00043437 | 0.12062 | 8.294 | [5 empty] | 8.134 | 6.2117 | 8.1448 | 0.064331 | 0.0004538 | 0.062109 | 0.0010659 | 0.0014357 | 1.216e-07 | 0.0017386 | 0.00011766 | 0.76152
77 | 6.5345e-06 | 0.11652 | 0.00046372 | 0.12599 | 8.294 | [5 empty] | 8.1345 | 6.2128 | 8.1478 | 0.067109 | 0.00047312 | 0.064763 | 0.0011091 | 0.0014981 | 1.2637e-07 | 0.0018091 | 0.00012305 | 0.77386
78 | 6.3774e-06 | 0.12179 | 0.00049718 | 0.13184 | 8.294 | [5 empty] | 8.135 | 6.215 | 8.1509 | 0.070137 | 0.00049494 | 0.067657 | 0.0011565 | 0.0015662 | 1.3172e-07 | 0.0018857 | 0.00012895 | 0.78693
79 | 6.2059e-06 | 0.12757 | 0.00053566 | 0.13824 | 8.294 | [5 empty] | 8.1354 | 6.1974 | 8.1429 | 0.073454 | 0.00051544 | 0.070823 | 0.0012324 | 0.0016408 | 3.8886e-08 | 0.0019694 | 0.00013201 | 0.80022
80 | 6.0181e-06 | 0.13392 | 0.00058036 | 0.14527 | 8.2939 | [5 empty] | 8.136 | 6.2041 | 8.1469 | 0.077101 | 0.00054488 | 0.074303 | 0.0012903 | 0.0017228 | 4.0172e-08 | 0.0020612 | 0.00013917 | 0.81441
81 | 5.8118e-06 | 0.14094 | 0.00063288 | 0.153 | 8.2939 | [5 empty] | 8.1365 | 6.2138 | 8.1512 | 0.08113 | 0.00058 | 0.078146 | 0.0013551 | 0.0018135 | 4.1671e-08 | 0.0021624 | 0.00014712 | 0.82962
82 | 5.584e-06 | 0.14873 | 0.00069542 | 0.16156 | 8.2939 | [5 empty] | 8.1368 | 6.2268 | 8.1557 | 0.085605 | 0.00062238 | 0.082412 | 0.0014285 | 0.0019142 | 4.3446e-08 | 0.0022743 | 0.000156 | 0.84595
83 | 5.3317e-06 | 0.15744 | 0.00077106 | 0.17107 | 8.2938 | [5 empty] | 8.1371 | 6.2448 | 8.1611 | 0.090604 | 0.00067435 | 0.087176 | 0.001511 | 0.0020268 | 4.9722e-08 | 0.002399 | 0.00016619 | 0.8636
84 | 5.0507e-06 | 0.16723 | 0.00086427 | 0.18169 | 8.2938 | [5 empty] | 8.1371 | 6.266 | 8.1662 | 0.096224 | 0.000738 | 0.09253 | 0.0016085 | 0.0021535 | 5.2611e-08 | 0.0025385 | 0.00017748 | 0.8827
85 | 4.7364e-06 | 0.17832 | 0.00098178 | 0.19361 | 8.2938 | [5 empty] | 8.137 | 6.3052 | 8.1785 | 0.10259 | 0.00082176 | 0.098591 | 0.0017054 | 0.002297 | 1.4963e-07 | 0.0026959 | 0.00019334 | 0.90393
86 | 4.3808e-06 | 0.19099 | 0.0011347 | 0.20706 | 8.2917 | [5 empty] | 8.1364 | 6.3362 | 8.1838 | 0.10986 | 0.00092342 | 0.10551 | 0.0018458 | 0.0024611 | 1.6463e-07 | 0.0028747 | 0.00020817 | 0.92707
87 | 6.5292e-06 | 0.20559 | 0.00085412 | 0.22102 | 10.3204 | [5 empty] | 8.1355 | 6.224 | 8.188 | 0.11824 | 0.00075102 | 0.11349 | 0.0017265 | 0.0026504 | 1.1279e-07 | 0.0030798 | 0.00021594 | 0.95091
88 | 6.0457e-06 | 0.22266 | 0.00099814 | 0.23923 | 10.3204 | [5 empty] | 8.1342 | 6.2575 | 8.1948 | 0.12803 | 0.00085152 | 0.1228 | 0.0018729 | 0.0028713 | 1.2417e-07 | 0.0033184 | 0.00023528 | 0.97727
89 | 5.4844e-06 | 0.24281 | 0.0011975 | 0.26048 | 10.3204 | [5 empty] | 8.1325 | 6.299 | 8.2022 | 0.13959 | 0.00098584 | 0.13379 | 0.0020573 | 0.0031323 | 1.3961e-07 | 0.0035987 | 0.00025831 | 1.0066
90 | 4.8269e-06 | 0.26697 | 0.0014904 | 0.28551 | 10.3203 | [5 empty] | 8.1303 | 6.3424 | 8.2055 | 0.15345 | 0.001171 | 0.14697 | 0.002318 | 0.0034455 | 5.5876e-08 | 0.0039328 | 0.00028333 | 1.0392
91 | 4.0501e-06 | 0.29646 | 0.0019599 | 0.31534 | 10.3203 | [5 empty] | 8.1274 | 6.4208 | 8.2185 | 0.17037 | 0.0014633 | 0.16304 | 0.0026533 | 0.0038283 | 1.448e-07 | 0.0043382 | 0.00032103 | 1.0768
92 | 3.126e-06 | 0.33328 | 0.0028238 | 0.35131 | 10.3202 | [5 empty] | 8.1235 | 6.5207 | 8.2282 | 0.19149 | 0.001965 | 0.18309 | 0.0032242 | 0.0043068 | 1.9012e-07 | 0.0048404 | 0.00036749 | 1.1206
93 | 2.028e-06 | 0.38048 | 0.0048767 | 0.39532 | 10.318 | [5 empty] | 8.1184 | 6.6805 | 8.2386 | 0.21856 | 0.0030859 | 0.20878 | 0.0044339 | 0.0049221 | 2.964e-07 | 0.0054794 | 0.00043768 | 1.1739
94 | 2.8874e-06 | 0.44309 | 0.003978 | 0.45743 | 12.3767 | [5 empty] | 8.1118 | 6.5999 | 8.2537 | 0.25447 | 0.0027082 | 0.24284 | 0.0041402 | 0.0057424 | 2.1161e-07 | 0.0063197 | 0.00048773 | 1.2335
95 | 1.0453e-06 | 0.53091 | 0.012729 | 0.53803 | 12.3766 | [5 empty] | 8.1029 | 6.9664 | 8.2696 | 0.30483 | 0.0072971 | 0.29058 | 0.0088839 | 0.0068908 | 5.8274e-07 | 0.0074861 | 0.00068562 | 1.3207
96 | 1.5819e-07 | 0.66045 | 0.091354 | 0.66188 | 12.3765 | [5 empty] | 8.0914 | 7.6006 | 8.2924 | 0.37921 | 0.047714 | 0.361 | 0.049573 | 0.0086133 | 3.4208e-06 | 0.0091862 | 0.001856 | 1.5752
97 | 5.9952e-08 | 0.85015 | 0.25272 | 0.85088 | 12.3763 | [5 empty] | 8.0816 | 7.7674 | 8.3236 | 0.4897 | 0.13005 | 0.46481 | 0.13211 | 0.011483 | 7.4871e-06 | 0.01163 | 0.0041526 | 2.1528
98 | 3.1688e-08 | 1.1489 | 0.51064 | 1.1495 | 12.3747 | [5 empty] | 0 | 0 | 0 | 0.66953 | 0 | 0.63116 | 0 | 0.017221 | 0 | 0.015368 | 0 | 2.131