## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl
0 | 7.7794e-06 | 0.026955 | 9.1855e-05 | 0.02939 | 4.5 | 25.9743 | 24.8619 | 20.8568 | 16.5035 | 3.0114 | 7.17 | 4.9536 | 7.2087 | 0.01376 | 6.0104e-05 | 0.015319 | 0.0018375 | 0.00034427 | 3.3571e-07 | 0.0004575 | 6.2844e-06 | 0.088051
1 | 7.7819e-06 | 0.027226 | 9.2824e-05 | 0.029709 | 4.5 | [5 empty] | 7.1737 | 4.9572 | 7.2128 | 0.013898 | 6.084e-05 | 0.015455 | 0.0018392 | 0.00034774 | 3.3551e-07 | 0.00046206 | 6.3845e-06 | 0.088752
2 | 7.7666e-06 | 0.027503 | 9.4009e-05 | 0.03003 | 4.5 | [5 empty] | 7.1775 | 4.9613 | 7.2168 | 0.01404 | 6.1682e-05 | 0.015594 | 0.001841 | 0.00035129 | 3.3605e-07 | 0.00046671 | 6.4891e-06 | 0.089474
3 | 7.751e-06 | 0.027785 | 9.5224e-05 | 0.030357 | 4.5 | [5 empty] | 7.1812 | 4.9656 | 7.2209 | 0.014184 | 6.2545e-05 | 0.015736 | 0.0018428 | 0.00035491 | 3.3659e-07 | 0.00047145 | 6.5966e-06 | 0.090212
4 | 7.735e-06 | 0.028074 | 9.647e-05 | 0.030691 | 4.4999 | [5 empty] | 7.185 | 4.9699 | 7.2251 | 0.014331 | 6.3432e-05 | 0.015881 | 0.0018447 | 0.0003586 | 3.3712e-07 | 0.00047629 | 6.7071e-06 | 0.090964
5 | 7.7187e-06 | 0.028368 | 9.7749e-05 | 0.031033 | 4.4999 | [5 empty] | 7.1889 | 4.9742 | 7.2292 | 0.014481 | 6.4342e-05 | 0.016029 | 0.0018466 | 0.00036237 | 3.3764e-07 | 0.00048124 | 6.8208e-06 | 0.091731
6 | 7.7021e-06 | 0.028669 | 9.9062e-05 | 0.031382 | 4.4999 | [5 empty] | 7.1927 | 4.9787 | 7.2335 | 0.014634 | 6.5277e-05 | 0.01618 | 0.0018485 | 0.00036622 | 3.3816e-07 | 0.00048628 | 6.9377e-06 | 0.092513
7 | 7.685e-06 | 0.028976 | 0.00010041 | 0.031738 | 4.4999 | [5 empty] | 7.1966 | 4.9832 | 7.2377 | 0.014791 | 6.6238e-05 | 0.016334 | 0.0018505 | 0.00037016 | 3.3868e-07 | 0.00049144 | 7.058e-06 | 0.09331
8 | 7.6676e-06 | 0.02929 | 0.00010179 | 0.032103 | 4.4999 | [5 empty] | 7.2006 | 4.9878 | 7.242 | 0.014951 | 6.7225e-05 | 0.016491 | 0.0018526 | 0.00037418 | 3.3919e-07 | 0.0004967 | 7.1817e-06 | 0.094123
9 | 7.6498e-06 | 0.029611 | 0.00010322 | 0.032476 | 4.4999 | [5 empty] | 7.2045 | 4.9925 | 7.2464 | 0.015115 | 6.824e-05 | 0.016652 | 0.0018546 | 0.00037829 | 3.3969e-07 | 0.00050208 | 7.3093e-06 | 0.094951
10 | 7.6316e-06 | 0.029939 | 0.00010468 | 0.032858 | 4.4999 | [5 empty] | 7.2085 | 4.9973 | 7.2507 | 0.015282 | 6.9284e-05 | 0.016816 | 0.0018567 | 0.00038248 | 3.4018e-07 | 0.00050758 | 7.4406e-06 | 0.095797
11 | 7.613e-06 | 0.030274 | 0.00010618 | 0.033249 | 4.4998 | [5 empty] | 7.2126 | 5.0022 | 7.2552 | 0.015453 | 7.0358e-05 | 0.016984 | 0.0018589 | 0.00038678 | 3.4067e-07 | 0.0005132 | 7.5758e-06 | 0.096659
12 | 7.594e-06 | 0.030617 | 0.00010773 | 0.033649 | 4.4998 | [5 empty] | 7.2167 | 5.0072 | 7.2597 | 0.015628 | 7.1464e-05 | 0.017156 | 0.0018611 | 0.00039117 | 3.4115e-07 | 0.00051895 | 7.7153e-06 | 0.097539
13 | 7.5745e-06 | 0.030968 | 0.00010932 | 0.034058 | 4.4998 | [5 empty] | 7.2208 | 5.0123 | 7.2642 | 0.015806 | 7.2602e-05 | 0.017332 | 0.0018634 | 0.00039566 | 3.4163e-07 | 0.00052482 | 7.8591e-06 | 0.098437
14 | 7.5545e-06 | 0.031326 | 0.00011095 | 0.034477 | 4.4998 | [5 empty] | 7.225 | 5.0175 | 7.2688 | 0.015989 | 7.3774e-05 | 0.017512 | 0.0018657 | 0.00040026 | 3.421e-07 | 0.00053083 | 8.0073e-06 | 0.099354
15 | 7.5341e-06 | 0.031694 | 0.00011264 | 0.034907 | 4.4998 | [5 empty] | 7.2292 | 5.0222 | 7.273 | 0.016177 | 7.4937e-05 | 0.017696 | 0.0018696 | 0.00040496 | 3.3747e-07 | 0.00053698 | 8.1444e-06 | 0.10028
16 | 7.5132e-06 | 0.03207 | 0.00011437 | 0.035347 | 4.4998 | [5 empty] | 7.2334 | 5.0276 | 7.2777 | 0.016368 | 7.6181e-05 | 0.017884 | 0.0018721 | 0.00040978 | 3.3779e-07 | 0.00054328 | 8.3019e-06 | 0.10122
17 | 7.4917e-06 | 0.032455 | 0.00011616 | 0.035798 | 4.4997 | [5 empty] | 7.2377 | 5.0331 | 7.2824 | 0.016565 | 7.7462e-05 | 0.018077 | 0.0018746 | 0.00041471 | 3.3809e-07 | 0.00054973 | 8.4644e-06 | 0.10219
18 | 7.4697e-06 | 0.032849 | 0.00011801 | 0.03626 | 4.4997 | [5 empty] | 7.2421 | 5.0387 | 7.2872 | 0.016766 | 7.8785e-05 | 0.018275 | 0.0018771 | 0.00041977 | 3.3839e-07 | 0.00055633 | 8.6323e-06 | 0.10317
19 | 7.4472e-06 | 0.033253 | 0.00011991 | 0.036734 | 4.4997 | [5 empty] | 7.2465 | 5.0445 | 7.292 | 0.016972 | 8.0149e-05 | 0.018477 | 0.0018798 | 0.00042495 | 3.3867e-07 | 0.00056309 | 8.8058e-06 | 0.10418
20 | 7.4241e-06 | 0.033667 | 0.00012188 | 0.03722 | 4.4997 | [5 empty] | 7.2509 | 5.0503 | 7.2969 | 0.017183 | 8.1559e-05 | 0.018685 | 0.0018824 | 0.00043025 | 3.3894e-07 | 0.00057002 | 8.9853e-06 | 0.10522
21 | 7.4004e-06 | 0.034092 | 0.00012391 | 0.037719 | 4.4997 | [5 empty] | 7.2554 | 5.0563 | 7.3019 | 0.017399 | 8.3014e-05 | 0.018898 | 0.0018852 | 0.00043569 | 3.3921e-07 | 0.00057712 | 9.1709e-06 | 0.10627
22 | 7.3761e-06 | 0.034527 | 0.000126 | 0.038232 | 4.4997 | [5 empty] | 7.2599 | 5.0623 | 7.3069 | 0.017621 | 8.4517e-05 | 0.019116 | 0.0018881 | 0.00044128 | 3.3946e-07 | 0.0005844 | 9.3629e-06 | 0.10736
23 | 7.3511e-06 | 0.034974 | 0.00012817 | 0.038758 | 4.4996 | [5 empty] | 7.2645 | 5.0685 | 7.3119 | 0.017849 | 8.6072e-05 | 0.019339 | 0.0018909 | 0.000447 | 3.397e-07 | 0.00059187 | 9.5617e-06 | 0.10847
24 | 7.3255e-06 | 0.035433 | 0.00013041 | 0.039298 | 4.4996 | [5 empty] | 7.2691 | 5.0749 | 7.3171 | 0.018083 | 8.7679e-05 | 0.019569 | 0.0018939 | 0.00045288 | 3.3993e-07 | 0.00059953 | 9.7676e-06 | 0.1096
25 | 7.2992e-06 | 0.035903 | 0.00013272 | 0.039853 | 4.4996 | [5 empty] | 7.2737 | 5.0814 | 7.3223 | 0.018323 | 8.9343e-05 | 0.019805 | 0.001897 | 0.00045891 | 3.4015e-07 | 0.00060739 | 9.981e-06 | 0.11077
26 | 7.2721e-06 | 0.036387 | 0.00013512 | 0.040423 | 4.4996 | [5 empty] | 7.2785 | 5.088 | 7.3275 | 0.018569 | 9.1065e-05 | 0.020047 | 0.0019001 | 0.00046511 | 3.4035e-07 | 0.00061547 | 1.0202e-05 | 0.11196
27 | 7.2444e-06 | 0.036883 | 0.00013761 | 0.04101 | 4.4996 | [5 empty] | 7.2832 | 5.0947 | 7.3328 | 0.018822 | 9.2849e-05 | 0.020295 | 0.0019033 | 0.00047148 | 3.4055e-07 | 0.00062376 | 1.0432e-05 | 0.11318
28 | 7.2158e-06 | 0.037394 | 0.00014018 | 0.041613 | 4.4996 | [5 empty] | 7.288 | 5.1017 | 7.3382 | 0.019082 | 9.4698e-05 | 0.020551 | 0.0019067 | 0.00047802 | 3.4074e-07 | 0.00063228 | 1.067e-05 | 0.11443
29 | 7.1864e-06 | 0.037918 | 0.00014285 | 0.042234 | 4.4995 | [5 empty] | 7.2929 | 5.1087 | 7.3437 | 0.01935 | 9.6615e-05 | 0.020813 | 0.0019101 | 0.00048475 | 3.4092e-07 | 0.00064103 | 1.0917e-05 | 0.11572
30 | 7.1562e-06 | 0.038458 | 0.00014563 | 0.042873 | 4.4995 | [5 empty] | 7.2979 | 5.1159 | 7.3492 | 0.019625 | 9.8604e-05 | 0.021083 | 0.0019136 | 0.00049167 | 3.4109e-07 | 0.00065003 | 1.1174e-05 | 0.11703
31 | 7.125e-06 | 0.039013 | 0.00014851 | 0.043531 | 4.4995 | [5 empty] | 7.3028 | 5.1233 | 7.3548 | 0.019908 | 0.00010067 | 0.021361 | 0.0019172 | 0.00049879 | 3.4125e-07 | 0.00065929 | 1.1441e-05 | 0.11838
32 | 7.093e-06 | 0.039585 | 0.0001515 | 0.044209 | 4.4995 | [5 empty] | 7.3079 | 5.1308 | 7.3605 | 0.020199 | 0.00010281 | 0.021647 | 0.0019209 | 0.00050612 | 3.414e-07 | 0.00066882 | 1.1719e-05 | 0.11977
33 | 7.06e-06 | 0.040173 | 0.00015461 | 0.044908 | 4.4995 | [5 empty] | 7.313 | 5.1476 | 7.3726 | 0.020499 | 0.00010597 | 0.021942 | 0.0019 | 0.00051367 | 4.3044e-07 | 0.00067863 | 1.2336e-05 | 0.12133
34 | 7.026e-06 | 0.04078 | 0.00015784 | 0.045628 | 4.4995 | [5 empty] | 7.3181 | 5.1556 | 7.3784 | 0.020808 | 0.00010831 | 0.022245 | 0.001904 | 0.00052145 | 4.3268e-07 | 0.00068872 | 1.2647e-05 | 0.12293
35 | 6.9909e-06 | 0.041405 | 0.00016122 | 0.046371 | 4.4994 | [5 empty] | 7.3232 | 5.1637 | 7.3843 | 0.021126 | 0.00011074 | 0.022558 | 0.001908 | 0.00052946 | 4.3499e-07 | 0.00069912 | 1.297e-05 | 0.12456
36 | 6.9548e-06 | 0.042049 | 0.00016473 | 0.047137 | 4.4994 | [5 empty] | 7.3284 | 5.172 | 7.3903 | 0.021455 | 0.00011328 | 0.022881 | 0.0019121 | 0.00053773 | 4.3737e-07 | 0.00070984 | 1.3307e-05 | 0.12624
37 | 6.9175e-06 | 0.042714 | 0.0001684 | 0.047929 | 4.4994 | [5 empty] | 7.3337 | 5.1805 | 7.3964 | 0.021794 | 0.00011592 | 0.023214 | 0.0019164 | 0.00054626 | 4.3982e-07 | 0.0007209 | 1.3659e-05 | 0.12795
38 | 6.8789e-06 | 0.0434 | 0.00017222 | 0.048746 | 4.4994 | [5 empty] | 7.339 | 5.1892 | 7.4026 | 0.022143 | 0.00011868 | 0.023557 | 0.0019209 | 0.00055506 | 4.4235e-07 | 0.00073231 | 1.4025e-05 | 0.12971
39 | 6.8392e-06 | 0.044109 | 0.00017622 | 0.049591 | 4.4994 | [5 empty] | 7.3444 | 5.1981 | 7.4088 | 0.022504 | 0.00012155 | 0.023912 | 0.0019255 | 0.00056415 | 4.4496e-07 | 0.00074408 | 1.4409e-05 | 0.13151
40 | 6.798e-06 | 0.044841 | 0.00018041 | 0.050464 | 4.4994 | [5 empty] | 7.3498 | 5.2071 | 7.4152 | 0.022877 | 0.00012455 | 0.024278 | 0.0019303 | 0.00057355 | 4.4766e-07 | 0.00075624 | 1.4809e-05 | 0.13336
41 | 6.7556e-06 | 0.045598 | 0.00018479 | 0.051367 | 4.4993 | [5 empty] | 7.3553 | 5.2164 | 7.4216 | 0.023263 | 0.00012769 | 0.024657 | 0.0019353 | 0.00058326 | 4.5045e-07 | 0.00076881 | 1.5228e-05 | 0.13527
42 | 6.7116e-06 | 0.046381 | 0.00018938 | 0.052302 | 4.4993 | [5 empty] | 7.3609 | 5.226 | 7.4282 | 0.023662 | 0.00013096 | 0.025049 | 0.0019405 | 0.00059331 | 4.5335e-07 | 0.0007818 | 1.5666e-05 | 0.13723
43 | 6.6661e-06 | 0.047191 | 0.00019419 | 0.053269 | 4.4993 | [5 empty] | 7.3666 | 5.2357 | 7.4348 | 0.024075 | 0.00013439 | 0.025454 | 0.0019459 | 0.00060371 | 4.5635e-07 | 0.00079524 | 1.6124e-05 | 0.13924
44 | 6.619e-06 | 0.048031 | 0.00019925 | 0.054272 | 4.4993 | [5 empty] | 7.3723 | 5.2341 | 7.4338 | 0.024502 | 0.00013656 | 0.025874 | 0.0019829 | 0.00061448 | 3.3711e-07 | 0.00080916 | 1.6097e-05 | 0.14116
45 | 6.5703e-06 | 0.0489 | 0.00020457 | 0.055311 | 4.4993 | [5 empty] | 7.3782 | 5.2443 | 7.4406 | 0.024945 | 0.00014029 | 0.026308 | 0.0019887 | 0.00062565 | 3.3705e-07 | 0.00082357 | 1.6586e-05 | 0.14314
46 | 6.5197e-06 | 0.049802 | 0.00021016 | 0.056389 | 4.4992 | [5 empty] | 7.3842 | 5.2547 | 7.4476 | 0.025405 | 0.0001442 | 0.026759 | 0.0019948 | 0.00063723 | 3.3701e-07 | 0.00083852 | 1.7099e-05 | 0.1452
47 | 6.4673e-06 | 0.050738 | 0.00021606 | 0.057508 | 4.4992 | [5 empty] | 7.3903 | 5.2655 | 7.4546 | 0.025881 | 0.00014831 | 0.027226 | 0.0020011 | 0.00064924 | 3.3697e-07 | 0.00085402 | 1.7639e-05 | 0.14732
48 | 6.4128e-06 | 0.051709 | 0.00022229 | 0.058669 | 4.4992 | [5 empty] | 7.3965 | 5.2765 | 7.4618 | 0.026376 | 0.00015263 | 0.027711 | 0.0020077 | 0.00066172 | 3.3696e-07 | 0.0008701 | 1.8207e-05 | 0.14952
49 | 6.3563e-06 | 0.052719 | 0.00022887 | 0.059876 | 4.4992 | [5 empty] | 7.4027 | 5.2877 | 7.4691 | 0.02689 | 0.00015718 | 0.028215 | 0.0020146 | 0.00067469 | 3.3697e-07 | 0.00088681 | 1.8805e-05 | 0.1518
50 | 6.2956e-06 | 0.053769 | 0.00023591 | 0.061129 | 4.4981 | [5 empty] | 7.409 | 5.2994 | 7.4765 | 0.027425 | 0.000162 | 0.028739 | 0.0020218 | 0.00068818 | 3.3711e-07 | 0.00090417 | 1.9435e-05 | 0.15416
51 | 7.815e-06 | 0.054861 | 0.00019526 | 0.059802 | 5.6974 | [5 empty] | 7.4154 | 5.2445 | 7.4748 | 0.027981 | 0.00013871 | 0.029284 | 0.0019666 | 0.00070222 | 3.8643e-07 | 0.00092222 | 1.8559e-05 | 0.1562
52 | 7.7611e-06 | 0.056 | 0.00020088 | 0.061102 | 5.6973 | [5 empty] | 7.4218 | 5.2556 | 7.4824 | 0.028561 | 0.00014286 | 0.029853 | 0.0019735 | 0.00071684 | 3.8895e-07 | 0.00094105 | 1.9196e-05 | 0.15832
53 | 7.7049e-06 | 0.057187 | 0.00020683 | 0.062458 | 5.6973 | [5 empty] | 7.4283 | 5.2669 | 7.4901 | 0.029166 | 0.00014722 | 0.030447 | 0.0019807 | 0.00073208 | 3.9154e-07 | 0.00096066 | 1.9868e-05 | 0.16055
54 | 7.6463e-06 | 0.058426 | 0.00021314 | 0.063874 | 5.6973 | [5 empty] | 7.4348 | 5.2785 | 7.498 | 0.029797 | 0.00015181 | 0.031065 | 0.0019883 | 0.00074799 | 3.9427e-07 | 0.00098111 | 2.0579e-05 | 0.16287
55 | 7.5851e-06 | 0.059719 | 0.00021983 | 0.065354 | 5.6973 | [5 empty] | 7.4414 | 5.2759 | 7.4968 | 0.030456 | 0.00015457 | 0.031712 | 0.0020348 | 0.0007646 | 2.6481e-07 | 0.0010025 | 2.0578e-05 | 0.16511
56 | 7.5211e-06 | 0.061072 | 0.00022694 | 0.066902 | 5.6973 | [5 empty] | 7.4483 | 5.2882 | 7.505 | 0.031144 | 0.00015963 | 0.032386 | 0.0020429 | 0.00078197 | 2.6415e-07 | 0.0010248 | 2.1352e-05 | 0.16746
57 | 7.4542e-06 | 0.062487 | 0.00023452 | 0.068522 | 5.6972 | [5 empty] | 7.4553 | 5.3008 | 7.5134 | 0.031865 | 0.00016499 | 0.033092 | 0.0020515 | 0.00080015 | 2.6349e-07 | 0.0010481 | 2.2174e-05 | 0.16993
58 | 7.3841e-06 | 0.063969 | 0.0002426 | 0.070219 | 5.6972 | [5 empty] | 7.4624 | 5.3137 | 7.522 | 0.03262 | 0.00017065 | 0.033831 | 0.0020605 | 0.0008192 | 2.6286e-07 | 0.0010725 | 2.305e-05 | 0.17253
59 | 7.3107e-06 | 0.065523 | 0.00025125 | 0.072 | 5.6972 | [5 empty] | 7.4697 | 5.327 | 7.5307 | 0.033411 | 0.00017665 | 0.034606 | 0.00207 | 0.00083917 | 2.6225e-07 | 0.0010981 | 2.3982e-05 | 0.17525
60 | 7.2337e-06 | 0.067155 | 0.00026051 | 0.07387 | 5.6972 | [5 empty] | 7.477 | 5.3406 | 7.5396 | 0.034242 | 0.00018301 | 0.035419 | 0.00208 | 0.00086014 | 2.6168e-07 | 0.001125 | 2.4977e-05 | 0.17811
61 | 7.1527e-06 | 0.06887 | 0.00027045 | 0.075836 | 5.6972 | [5 empty] | 7.4844 | 5.3546 | 7.5487 | 0.035115 | 0.00018977 | 0.036274 | 0.0020906 | 0.00088219 | 2.6115e-07 | 0.0011532 | 2.604e-05 | 0.18113
62 | 7.0677e-06 | 0.070676 | 0.00028116 | 0.077905 | 5.6971 | [5 empty] | 7.4919 | 5.3689 | 7.558 | 0.036034 | 0.00019695 | 0.037173 | 0.0021019 | 0.0009054 | 2.6068e-07 | 0.0011829 | 2.7177e-05 | 0.1843
63 | 6.9781e-06 | 0.072578 | 0.00029272 | 0.080085 | 5.6971 | [5 empty] | 7.4995 | 5.3836 | 7.5675 | 0.037003 | 0.00020458 | 0.038121 | 0.0021139 | 0.00092986 | 2.6028e-07 | 0.0012141 | 2.8396e-05 | 0.18763
64 | 6.8838e-06 | 0.074586 | 0.00030524 | 0.082384 | 5.6971 | [5 empty] | 7.5073 | 5.3987 | 7.5772 | 0.038025 | 0.00021272 | 0.039122 | 0.0021267 | 0.00095569 | 2.5997e-07 | 0.001247 | 2.9706e-05 | 0.19115
65 | 6.7842e-06 | 0.076708 | 0.00031884 | 0.084814 | 5.6971 | [5 empty] | 7.5152 | 5.4142 | 7.5871 | 0.039105 | 0.0002214 | 0.040179 | 0.0021403 | 0.00098298 | 2.5976e-07 | 0.0012818 | 3.1114e-05 | 0.19486
66 | 6.679e-06 | 0.078955 | 0.00033365 | 0.087383 | 5.697 | [5 empty] | 7.5232 | 5.43 | 7.5973 | 0.040249 | 0.00023068 | 0.041297 | 0.0021549 | 0.0010119 | 2.5967e-07 | 0.0013186 | 3.2631e-05 | 0.19877
67 | 6.5677e-06 | 0.081338 | 0.00034985 | 0.090105 | 5.697 | [5 empty] | 7.5313 | 5.4463 | 7.6076 | 0.041462 | 0.00024062 | 0.042483 | 0.0021706 | 0.0010425 | 2.5973e-07 | 0.0013576 | 3.427e-05 | 0.20291
68 | 6.4497e-06 | 0.083868 | 0.00036764 | 0.092992 | 5.697 | [5 empty] | 7.5395 | 5.463 | 7.6182 | 0.04275 | 0.00025129 | 0.043743 | 0.0021875 | 0.0010751 | 2.5997e-07 | 0.0013989 | 3.6044e-05 | 0.20729
69 | 6.3246e-06 | 0.086562 | 0.00038725 | 0.09606 | 5.697 | [5 empty] | 7.5479 | 5.4801 | 7.6291 | 0.044121 | 0.00026278 | 0.045084 | 0.0022058 | 0.0011098 | 2.6043e-07 | 0.0014429 | 3.7967e-05 | 0.21193
70 | 6.1917e-06 | 0.089434 | 0.00040897 | 0.099324 | 5.6969 | [5 empty] | 7.5563 | 5.4978 | 7.6402 | 0.045583 | 0.0002752 | 0.046513 | 0.0022256 | 0.0011468 | 2.6114e-07 | 0.0014897 | 4.0058e-05 | 0.21685
71 | 6.0502e-06 | 0.092504 | 0.00043316 | 0.1028 | 5.6969 | [5 empty] | 7.5649 | 5.5161 | 7.6516 | 0.047145 | 0.00028869 | 0.04804 | 0.0022473 | 0.0011863 | 2.6216e-07 | 0.0015397 | 4.2337e-05 | 0.22207
72 | 5.8993e-06 | 0.095793 | 0.00046024 | 0.10652 | 5.6969 | [5 empty] | 7.5737 | 5.535 | 7.6632 | 0.048818 | 0.00030345 | 0.049676 | 0.0022709 | 0.0012287 | 2.6356e-07 | 0.0015932 | 4.4827e-05 | 0.22764
73 | 5.7382e-06 | 0.099323 | 0.00049075 | 0.11049 | 5.6969 | [5 empty] | 7.5826 | 5.5541 | 7.6747 | 0.050615 | 0.00031957 | 0.051431 | 0.0022992 | 0.0012742 | 2.5613e-07 | 0.0016505 | 4.7483e-05 | 0.23355
74 | 5.5631e-06 | 0.10312 | 0.0005256 | 0.11474 | 5.6951 | [5 empty] | 7.5916 | 5.5752 | 7.6869 | 0.05255 | 0.00033782 | 0.053321 | 0.0023282 | 0.0013232 | 2.582e-07 | 0.0017122 | 5.0478e-05 | 0.23987
75 | 6.8123e-06 | 0.10723 | 0.00040843 | 0.11567 | 8.2941 | [5 empty] | 7.6007 | 5.5178 | 7.6851 | 0.054638 | 0.00029727 | 0.055361 | 0.0023057 | 0.0013761 | 2.0696e-07 | 0.0017786 | 4.905e-05 | 0.24575
76 | 6.679e-06 | 0.11168 | 0.00043437 | 0.12062 | 8.294 | [5 empty] | 7.6101 | 5.5355 | 7.6985 | 0.056902 | 0.00031207 | 0.057571 | 0.0023331 | 0.0014334 | 2.06e-07 | 0.0018507 | 5.2369e-05 | 0.25209
77 | 6.5345e-06 | 0.11652 | 0.00046372 | 0.12599 | 8.294 | [5 empty] | 7.6195 | 5.5544 | 7.7124 | 0.059363 | 0.0003287 | 0.059973 | 0.0023634 | 0.0014957 | 2.0526e-07 | 0.0019289 | 5.6063e-05 | 0.25893
78 | 6.3774e-06 | 0.12179 | 0.00049718 | 0.13184 | 8.294 | [5 empty] | 7.6291 | 5.575 | 7.7267 | 0.062046 | 0.00034774 | 0.062592 | 0.0023969 | 0.0015637 | 2.0482e-07 | 0.002014 | 6.0189e-05 | 0.26633
79 | 6.2059e-06 | 0.12757 | 0.00053566 | 0.13824 | 8.294 | [5 empty] | 7.6388 | 5.5978 | 7.7415 | 0.064984 | 0.00036988 | 0.065458 | 0.0024345 | 0.0016381 | 2.0476e-07 | 0.0021071 | 6.4819e-05 | 0.27435
80 | 6.0181e-06 | 0.13392 | 0.00058036 | 0.14527 | 8.2939 | [5 empty] | 7.6487 | 5.6233 | 7.7568 | 0.068215 | 0.00039598 | 0.068609 | 0.0024768 | 0.00172 | 2.0518e-07 | 0.0022092 | 7.004e-05 | 0.28308
81 | 5.8118e-06 | 0.14094 | 0.00063288 | 0.153 | 8.2939 | [5 empty] | 7.6586 | 5.6624 | 7.7798 | 0.071784 | 0.00042993 | 0.07209 | 0.00249 | 0.0018106 | 3.7675e-07 | 0.0023218 | 7.766e-05 | 0.2929
82 | 5.584e-06 | 0.14873 | 0.00069542 | 0.16156 | 8.2939 | [5 empty] | 7.6683 | 5.6936 | 7.7958 | 0.075749 | 0.00046739 | 0.075957 | 0.0025474 | 0.0019111 | 3.8867e-07 | 0.0024464 | 8.4449e-05 | 0.30362
83 | 5.3317e-06 | 0.15744 | 0.00077106 | 0.17107 | 8.2938 | [5 empty] | 7.6782 | 5.7186 | 7.8055 | 0.080177 | 0.00050997 | 0.080275 | 0.0026482 | 0.0020235 | 2.1142e-07 | 0.0025854 | 9.036e-05 | 0.31508
84 | 5.0507e-06 | 0.16723 | 0.00086427 | 0.18169 | 8.2938 | [5 empty] | 7.6883 | 5.7586 | 7.823 | 0.085156 | 0.00056595 | 0.085126 | 0.0027252 | 0.00215 | 2.1586e-07 | 0.0027413 | 9.931e-05 | 0.32774
85 | 4.7364e-06 | 0.17832 | 0.00098178 | 0.19361 | 8.2938 | [5 empty] | 7.6984 | 5.8034 | 7.8411 | 0.090795 | 0.00063587 | 0.09062 | 0.0028184 | 0.0022933 | 2.2238e-07 | 0.0029174 | 0.00010975 | 0.34181
86 | 4.3808e-06 | 0.19099 | 0.0011347 | 0.20706 | 8.2917 | [5 empty] | 7.7085 | 5.8542 | 7.8598 | 0.097235 | 0.00072542 | 0.096891 | 0.002934 | 0.0024571 | 2.3198e-07 | 0.003118 | 0.00012207 | 0.35754
87 | 6.5292e-06 | 0.20559 | 0.00085412 | 0.22102 | 10.3204 | [5 empty] | 7.7185 | 5.7528 | 7.876 | 0.10466 | 0.00057945 | 0.10412 | 0.0028189 | 0.0026461 | 1.5071e-07 | 0.0033485 | 0.00012666 | 0.37364
88 | 6.0457e-06 | 0.22266 | 0.00099814 | 0.23923 | 10.3204 | [5 empty] | 7.7283 | 5.8128 | 7.9014 | 0.11333 | 0.00066944 | 0.11256 | 0.0029159 | 0.0028666 | 2.6267e-07 | 0.0036169 | 0.00014453 | 0.3922
89 | 5.4844e-06 | 0.24281 | 0.0011975 | 0.26048 | 10.3204 | [5 empty] | 7.7378 | 5.8743 | 7.9234 | 0.12357 | 0.00078708 | 0.12253 | 0.0030711 | 0.0031271 | 2.843e-07 | 0.0039326 | 0.00016437 | 0.41343
90 | 4.8269e-06 | 0.26697 | 0.0014904 | 0.28551 | 10.3203 | [5 empty] | 7.7469 | 5.9474 | 7.9463 | 0.13585 | 0.00095356 | 0.13447 | 0.0032816 | 0.0034398 | 3.1711e-07 | 0.0043094 | 0.0001891 | 0.438
91 | 4.0501e-06 | 0.29646 | 0.0019599 | 0.31534 | 10.3203 | [5 empty] | 7.7556 | 6.0371 | 7.9692 | 0.15084 | 0.0012084 | 0.14905 | 0.0035945 | 0.003822 | 2.9542e-07 | 0.0047672 | 0.00022037 | 0.4668
92 | 3.126e-06 | 0.33328 | 0.0028238 | 0.35131 | 10.3202 | [5 empty] | 7.7636 | 6.1591 | 7.9939 | 0.16955 | 0.0016567 | 0.16723 | 0.0041065 | 0.0042997 | 3.7175e-07 | 0.0053356 | 0.00026392 | 0.50154
93 | 2.028e-06 | 0.38048 | 0.0048767 | 0.39532 | 10.318 | [5 empty] | 7.7707 | 6.3453 | 8.0191 | 0.19353 | 0.0026717 | 0.19054 | 0.0052069 | 0.0049139 | 5.5528e-07 | 0.0060601 | 0.00033299 | 0.54584
94 | 2.8874e-06 | 0.44309 | 0.003978 | 0.45743 | 12.3767 | [5 empty] | 7.7766 | 6.2771 | 8.0525 | 0.22534 | 0.0023249 | 0.22142 | 0.004919 | 0.0057328 | 3.7766e-07 | 0.0070147 | 0.00037575 | 0.59551
95 | 1.0453e-06 | 0.53091 | 0.012729 | 0.53803 | 12.3766 | [5 empty] | 7.7804 | 6.6842 | 8.0855 | 0.26994 | 0.0065129 | 0.26473 | 0.0092433 | 0.0068793 | 9.918e-07 | 0.0083424 | 0.00058407 | 0.67455
96 | 1.5819e-07 | 0.66045 | 0.091354 | 0.66188 | 12.3765 | [5 empty] | 7.7812 | 7.4026 | 8.1296 | 0.3358 | 0.043447 | 0.3286 | 0.046356 | 0.0085988 | 4.4447e-06 | 0.010282 | 0.0018997 | 0.942
97 | 5.9952e-08 | 0.85015 | 0.25272 | 0.85088 | 12.3763 | [5 empty] | 7.7768 | 7.6638 | 8.1833 | 0.43325 | 0.11853 | 0.42268 | 0.12156 | 0.011464 | 9.1251e-06 | 0.013076 | 0.0045076 | 1.5768
98 | 3.1688e-08 | 1.1489 | 0.51064 | 1.1495 | 12.3747 | [5 empty] | 0 | 0 | 0 | 0.59062 | 0 | 0.57324 | 0 | 0.017191 | 0 | 0.01736 | 0 | 1.5609