## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl
0 | 6.7711e-06 | 0.026955 | 0.00010431 | 0.029061 | 4 | 22.3989 | 21.7619 | 18.8277 | 15.7582 | 4.6759 | 7.17 | 4.9822 | 7.2041 | 0.01376 | 6.5771e-05 | 0.015319 | 0.0018439 | 0.00034427 | 3.8303e-07 | 0.0004575 | 6.4086e-06 | 0.089791
1 | 6.7739e-06 | 0.027226 | 0.00010539 | 0.029374 | 4 | [5 empty] | 7.1737 | 4.9858 | 7.2082 | 0.013898 | 6.6544e-05 | 0.015455 | 0.0018456 | 0.00034774 | 3.8277e-07 | 0.00046206 | 6.5081e-06 | 0.090488
2 | 6.7589e-06 | 0.027503 | 0.00010675 | 0.029688 | 4 | [5 empty] | 7.1775 | 4.99 | 7.2122 | 0.01404 | 6.7455e-05 | 0.015594 | 0.0018475 | 0.00035129 | 3.8348e-07 | 0.0004667 | 6.6132e-06 | 0.091211
3 | 6.7436e-06 | 0.027785 | 0.00010814 | 0.030008 | 4 | [5 empty] | 7.1812 | 4.9944 | 7.2162 | 0.014184 | 6.839e-05 | 0.015736 | 0.0018494 | 0.00035491 | 3.8419e-07 | 0.00047145 | 6.7212e-06 | 0.091951
4 | 6.728e-06 | 0.028073 | 0.00010957 | 0.030335 | 3.9999 | [5 empty] | 7.185 | 4.9988 | 7.2203 | 0.014331 | 6.9349e-05 | 0.015881 | 0.0018514 | 0.0003586 | 3.849e-07 | 0.00047629 | 6.8322e-06 | 0.092706
5 | 6.7121e-06 | 0.028368 | 0.00011104 | 0.03067 | 3.9999 | [5 empty] | 7.1889 | 5.0033 | 7.2245 | 0.014481 | 7.0335e-05 | 0.016028 | 0.0018534 | 0.00036237 | 3.856e-07 | 0.00048123 | 6.9463e-06 | 0.093476
6 | 6.6958e-06 | 0.028668 | 0.00011255 | 0.031011 | 3.9999 | [5 empty] | 7.1927 | 5.0078 | 7.2286 | 0.014634 | 7.1347e-05 | 0.016179 | 0.0018554 | 0.00036622 | 3.863e-07 | 0.00048628 | 7.0637e-06 | 0.094261
7 | 6.6791e-06 | 0.028975 | 0.0001141 | 0.03136 | 3.9999 | [5 empty] | 7.1966 | 5.0125 | 7.2328 | 0.014791 | 7.2386e-05 | 0.016333 | 0.0018575 | 0.00037015 | 3.87e-07 | 0.00049143 | 7.1845e-06 | 0.095061
8 | 6.6621e-06 | 0.029289 | 0.00011569 | 0.031717 | 3.9999 | [5 empty] | 7.2006 | 5.0172 | 7.2371 | 0.014951 | 7.3455e-05 | 0.01649 | 0.0018596 | 0.00037417 | 3.8769e-07 | 0.00049669 | 7.3087e-06 | 0.095877
9 | 6.6447e-06 | 0.02961 | 0.00011733 | 0.032082 | 3.9999 | [5 empty] | 7.2045 | 5.0221 | 7.2414 | 0.015114 | 7.4554e-05 | 0.016651 | 0.0018618 | 0.00037828 | 3.8838e-07 | 0.00050207 | 7.4366e-06 | 0.096708
10 | 6.6269e-06 | 0.029937 | 0.00011901 | 0.032455 | 3.9999 | [5 empty] | 7.2086 | 5.027 | 7.2457 | 0.015281 | 7.5684e-05 | 0.016816 | 0.001864 | 0.00038248 | 3.8906e-07 | 0.00050757 | 7.5683e-06 | 0.097557
11 | 6.6088e-06 | 0.030272 | 0.00012074 | 0.032837 | 3.9998 | [5 empty] | 7.2126 | 5.032 | 7.2501 | 0.015452 | 7.6847e-05 | 0.016984 | 0.0018663 | 0.00038677 | 3.8975e-07 | 0.00051318 | 7.704e-06 | 0.098422
12 | 6.5902e-06 | 0.030615 | 0.00012252 | 0.033228 | 3.9998 | [5 empty] | 7.2167 | 5.0371 | 7.2546 | 0.015627 | 7.8043e-05 | 0.017155 | 0.0018686 | 0.00039116 | 3.9043e-07 | 0.00051893 | 7.8438e-06 | 0.099305
13 | 6.5711e-06 | 0.030966 | 0.00012436 | 0.033628 | 3.9998 | [5 empty] | 7.2208 | 5.0423 | 7.2591 | 0.015805 | 7.9275e-05 | 0.017331 | 0.001871 | 0.00039566 | 3.911e-07 | 0.0005248 | 7.988e-06 | 0.10021
14 | 6.5517e-06 | 0.031324 | 0.00012624 | 0.034038 | 3.9998 | [5 empty] | 7.225 | 5.0476 | 7.2636 | 0.015988 | 8.0544e-05 | 0.017511 | 0.0018734 | 0.00040025 | 3.9177e-07 | 0.00053081 | 8.1366e-06 | 0.10113
15 | 6.5317e-06 | 0.031691 | 0.00012819 | 0.034457 | 3.9998 | [5 empty] | 7.2292 | 5.0525 | 7.2678 | 0.016176 | 8.1808e-05 | 0.017695 | 0.0018775 | 0.00040496 | 3.8657e-07 | 0.00053696 | 8.2741e-06 | 0.10205
16 | 6.5113e-06 | 0.032067 | 0.00013019 | 0.034887 | 3.9998 | [5 empty] | 7.2334 | 5.058 | 7.2724 | 0.016367 | 8.3155e-05 | 0.017883 | 0.0018801 | 0.00040977 | 3.8708e-07 | 0.00054326 | 8.4318e-06 | 0.103
17 | 6.4904e-06 | 0.032452 | 0.00013226 | 0.035327 | 3.9997 | [5 empty] | 7.2377 | 5.0636 | 7.2771 | 0.016563 | 8.4543e-05 | 0.018076 | 0.0018827 | 0.0004147 | 3.8757e-07 | 0.0005497 | 8.5946e-06 | 0.10397
18 | 6.4689e-06 | 0.032846 | 0.00013439 | 0.035778 | 3.9997 | [5 empty] | 7.2421 | 5.0693 | 7.2818 | 0.016764 | 8.5976e-05 | 0.018273 | 0.0018854 | 0.00041976 | 3.8806e-07 | 0.0005563 | 8.7628e-06 | 0.10496
19 | 6.447e-06 | 0.03325 | 0.00013659 | 0.036241 | 3.9997 | [5 empty] | 7.2465 | 5.0751 | 7.2866 | 0.01697 | 8.7455e-05 | 0.018476 | 0.0018882 | 0.00042493 | 3.8854e-07 | 0.00056306 | 8.9365e-06 | 0.10597
20 | 6.4245e-06 | 0.033664 | 0.00013886 | 0.036715 | 3.9997 | [5 empty] | 7.2509 | 5.0811 | 7.2914 | 0.017181 | 8.8981e-05 | 0.018683 | 0.001891 | 0.00043024 | 3.8901e-07 | 0.00056998 | 9.1161e-06 | 0.107
21 | 6.4014e-06 | 0.034088 | 0.00014121 | 0.037202 | 3.9997 | [5 empty] | 7.2554 | 5.0872 | 7.2963 | 0.017398 | 9.0558e-05 | 0.018896 | 0.0018939 | 0.00043568 | 3.8948e-07 | 0.00057708 | 9.3017e-06 | 0.10806
22 | 6.3777e-06 | 0.034523 | 0.00014363 | 0.037702 | 3.9997 | [5 empty] | 7.2599 | 5.0934 | 7.3012 | 0.017619 | 9.2188e-05 | 0.019114 | 0.0018969 | 0.00044126 | 3.8994e-07 | 0.00058436 | 9.4938e-06 | 0.10915
23 | 6.3534e-06 | 0.03497 | 0.00014614 | 0.038214 | 3.9996 | [5 empty] | 7.2645 | 5.0997 | 7.3063 | 0.017847 | 9.3874e-05 | 0.019337 | 0.0019 | 0.00044699 | 3.9039e-07 | 0.00059183 | 9.6927e-06 | 0.11026
24 | 6.3284e-06 | 0.035428 | 0.00014874 | 0.038741 | 3.9996 | [5 empty] | 7.2691 | 5.1061 | 7.3113 | 0.018081 | 9.5617e-05 | 0.019567 | 0.0019032 | 0.00045286 | 3.9084e-07 | 0.00059949 | 9.8986e-06 | 0.1114
25 | 6.3028e-06 | 0.035898 | 0.00015142 | 0.039282 | 3.9996 | [5 empty] | 7.2738 | 5.1127 | 7.3165 | 0.01832 | 9.7422e-05 | 0.019802 | 0.0019064 | 0.0004589 | 3.9128e-07 | 0.00060735 | 1.0112e-05 | 0.11256
26 | 6.2765e-06 | 0.036381 | 0.00015421 | 0.039838 | 3.9996 | [5 empty] | 7.2785 | 5.1195 | 7.3217 | 0.018567 | 9.9291e-05 | 0.020044 | 0.0019097 | 0.00046509 | 3.9171e-07 | 0.00061542 | 1.0333e-05 | 0.11375
27 | 6.2494e-06 | 0.036878 | 0.00015709 | 0.040409 | 3.9996 | [5 empty] | 7.2833 | 5.1263 | 7.3269 | 0.01882 | 0.00010123 | 0.020292 | 0.0019132 | 0.00047146 | 3.9215e-07 | 0.00062371 | 1.0562e-05 | 0.11498
28 | 6.2217e-06 | 0.037388 | 0.00016009 | 0.040996 | 3.9996 | [5 empty] | 7.2881 | 5.1333 | 7.3322 | 0.01908 | 0.00010323 | 0.020548 | 0.0019167 | 0.000478 | 3.9258e-07 | 0.00063223 | 1.08e-05 | 0.11623
29 | 6.1931e-06 | 0.037912 | 0.00016319 | 0.041601 | 3.9995 | [5 empty] | 7.293 | 5.1405 | 7.3376 | 0.019347 | 0.00010532 | 0.02081 | 0.0019203 | 0.00048473 | 3.93e-07 | 0.00064098 | 1.1047e-05 | 0.11752
30 | 6.1637e-06 | 0.038451 | 0.00016642 | 0.042222 | 3.9995 | [5 empty] | 7.2979 | 5.1479 | 7.3431 | 0.019622 | 0.00010748 | 0.02108 | 0.0019241 | 0.00049165 | 3.9342e-07 | 0.00064998 | 1.1303e-05 | 0.11883
31 | 6.1335e-06 | 0.039006 | 0.00016977 | 0.042862 | 3.9995 | [5 empty] | 7.3029 | 5.1553 | 7.3486 | 0.019905 | 0.00010972 | 0.021358 | 0.0019279 | 0.00049877 | 3.9384e-07 | 0.00065923 | 1.157e-05 | 0.12019
32 | 6.1024e-06 | 0.039577 | 0.00017326 | 0.043522 | 3.9995 | [5 empty] | 7.3079 | 5.163 | 7.3542 | 0.020196 | 0.00011206 | 0.021643 | 0.0019319 | 0.0005061 | 3.9426e-07 | 0.00066876 | 1.1847e-05 | 0.12157
33 | 6.0703e-06 | 0.040165 | 0.00017688 | 0.044201 | 3.9995 | [5 empty] | 7.313 | 5.1708 | 7.3599 | 0.020496 | 0.00011448 | 0.021937 | 0.001936 | 0.00051364 | 3.9469e-07 | 0.00067856 | 1.2135e-05 | 0.123
34 | 6.0373e-06 | 0.040771 | 0.00018066 | 0.044901 | 3.9995 | [5 empty] | 7.3182 | 5.1788 | 7.3657 | 0.020804 | 0.00011701 | 0.022241 | 0.0019402 | 0.00052142 | 3.9511e-07 | 0.00068866 | 1.2435e-05 | 0.12446
35 | 6.0033e-06 | 0.041396 | 0.0001846 | 0.045622 | 3.9994 | [5 empty] | 7.3234 | 5.187 | 7.3715 | 0.021123 | 0.00011963 | 0.022553 | 0.0019446 | 0.00052944 | 3.9554e-07 | 0.00069906 | 1.2748e-05 | 0.12597
36 | 5.9682e-06 | 0.04204 | 0.00018871 | 0.046367 | 3.9994 | [5 empty] | 7.3287 | 5.1954 | 7.3774 | 0.021451 | 0.00012237 | 0.022875 | 0.0019491 | 0.0005377 | 3.9597e-07 | 0.00070979 | 1.3074e-05 | 0.12751
37 | 5.932e-06 | 0.042704 | 0.00019301 | 0.047135 | 3.9994 | [5 empty] | 7.3341 | 5.204 | 7.3834 | 0.021789 | 0.00012523 | 0.023207 | 0.0019538 | 0.00054623 | 3.9642e-07 | 0.00072085 | 1.3414e-05 | 0.1291
38 | 5.8947e-06 | 0.04339 | 0.00019749 | 0.047928 | 3.9994 | [5 empty] | 7.3395 | 5.2128 | 7.3895 | 0.022139 | 0.00012821 | 0.02355 | 0.0019586 | 0.00055504 | 3.9687e-07 | 0.00073226 | 1.3769e-05 | 0.13074
39 | 5.8561e-06 | 0.044098 | 0.00020218 | 0.048747 | 3.9994 | [5 empty] | 7.345 | 5.2218 | 7.3957 | 0.0225 | 0.00013132 | 0.023904 | 0.0019636 | 0.00056413 | 3.9734e-07 | 0.00074403 | 1.4139e-05 | 0.13242
40 | 5.8163e-06 | 0.044829 | 0.0002071 | 0.049594 | 3.9994 | [5 empty] | 7.3505 | 5.241 | 7.409 | 0.022872 | 0.00013572 | 0.024269 | 0.0019407 | 0.00057352 | 5.2087e-07 | 0.0007562 | 1.494e-05 | 0.1343
41 | 5.7752e-06 | 0.045586 | 0.00021225 | 0.05047 | 3.9993 | [5 empty] | 7.3561 | 5.2505 | 7.4153 | 0.023258 | 0.00013916 | 0.024648 | 0.0019461 | 0.00058324 | 5.2457e-07 | 0.00076876 | 1.5357e-05 | 0.13622
42 | 5.7327e-06 | 0.046368 | 0.00021765 | 0.051375 | 3.9993 | [5 empty] | 7.3617 | 5.2602 | 7.4218 | 0.023656 | 0.00014275 | 0.025039 | 0.0019517 | 0.00059328 | 5.2845e-07 | 0.00078175 | 1.5794e-05 | 0.1382
43 | 5.6887e-06 | 0.047178 | 0.00022333 | 0.052313 | 3.9993 | [5 empty] | 7.3673 | 5.2701 | 7.4283 | 0.024069 | 0.00014652 | 0.025444 | 0.0019575 | 0.00060368 | 5.3248e-07 | 0.00079519 | 1.6251e-05 | 0.14024
44 | 5.6432e-06 | 0.048016 | 0.0002293 | 0.053283 | 3.9993 | [5 empty] | 7.3731 | 5.2803 | 7.4349 | 0.024496 | 0.00015047 | 0.025864 | 0.0019636 | 0.00061445 | 5.3668e-07 | 0.0008091 | 1.673e-05 | 0.14233
45 | 5.596e-06 | 0.048885 | 0.00023559 | 0.054289 | 3.9993 | [5 empty] | 7.3789 | 5.2907 | 7.4416 | 0.024939 | 0.00015462 | 0.026298 | 0.0019699 | 0.00062561 | 5.4107e-07 | 0.00082351 | 1.7232e-05 | 0.14448
46 | 5.5472e-06 | 0.049786 | 0.00024222 | 0.055332 | 3.9992 | [5 empty] | 7.3847 | 5.3014 | 7.4485 | 0.025398 | 0.00015897 | 0.026749 | 0.0019766 | 0.00063719 | 5.4567e-07 | 0.00083844 | 1.776e-05 | 0.1467
47 | 5.4966e-06 | 0.050721 | 0.00024922 | 0.056414 | 3.9992 | [5 empty] | 7.3907 | 5.3123 | 7.4554 | 0.025874 | 0.00016356 | 0.027216 | 0.0019835 | 0.0006492 | 5.5048e-07 | 0.00085392 | 1.8314e-05 | 0.14899
48 | 5.444e-06 | 0.051691 | 0.00025662 | 0.057536 | 3.9992 | [5 empty] | 7.3967 | 5.3236 | 7.4624 | 0.026368 | 0.00016839 | 0.027701 | 0.0019907 | 0.00066168 | 5.5553e-07 | 0.00086999 | 1.8897e-05 | 0.15136
49 | 5.3896e-06 | 0.0527 | 0.00026446 | 0.058702 | 3.9992 | [5 empty] | 7.4029 | 5.3229 | 7.4612 | 0.026882 | 0.00017182 | 0.028206 | 0.0020328 | 0.00067464 | 3.9534e-07 | 0.00088668 | 1.8904e-05 | 0.15363
50 | 5.3309e-06 | 0.053748 | 0.00027286 | 0.059912 | 3.9981 | [5 empty] | 7.4092 | 5.3348 | 7.4684 | 0.027416 | 0.00017719 | 0.028729 | 0.0020407 | 0.00068812 | 3.9608e-07 | 0.00090404 | 1.9532e-05 | 0.15598
51 | 6.9332e-06 | 0.05484 | 0.00021778 | 0.059198 | 5.1974 | [5 empty] | 7.4156 | 5.2678 | 7.471 | 0.027972 | 0.00014723 | 0.029274 | 0.0019766 | 0.00070216 | 4.3494e-07 | 0.00092209 | 1.867e-05 | 0.15801
52 | 6.8803e-06 | 0.055978 | 0.00022418 | 0.060474 | 5.1973 | [5 empty] | 7.422 | 5.279 | 7.4785 | 0.028552 | 0.00015166 | 0.029842 | 0.0019839 | 0.00071678 | 4.3812e-07 | 0.00094091 | 1.9305e-05 | 0.16013
53 | 6.8252e-06 | 0.057164 | 0.00023095 | 0.061806 | 5.1973 | [5 empty] | 7.4285 | 5.2906 | 7.4862 | 0.029156 | 0.00015632 | 0.030435 | 0.0019915 | 0.00073202 | 4.4142e-07 | 0.00096052 | 1.9976e-05 | 0.16235
54 | 6.7678e-06 | 0.058402 | 0.00023814 | 0.063195 | 5.1973 | [5 empty] | 7.435 | 5.3024 | 7.494 | 0.029786 | 0.00016124 | 0.031053 | 0.0019995 | 0.00074792 | 4.4488e-07 | 0.00098096 | 2.0685e-05 | 0.16467
55 | 6.7078e-06 | 0.059694 | 0.00024578 | 0.064646 | 5.1973 | [5 empty] | 7.4417 | 5.3145 | 7.5019 | 0.030445 | 0.00016644 | 0.031699 | 0.0020079 | 0.00076453 | 4.4854e-07 | 0.0010023 | 2.1436e-05 | 0.16709
56 | 6.6451e-06 | 0.061045 | 0.00025391 | 0.066164 | 5.1973 | [5 empty] | 7.4484 | 5.3269 | 7.51 | 0.031133 | 0.00017194 | 0.032374 | 0.0020168 | 0.0007819 | 4.5241e-07 | 0.0010246 | 2.2232e-05 | 0.16962
57 | 6.5796e-06 | 0.062459 | 0.00026259 | 0.067752 | 5.1972 | [5 empty] | 7.4552 | 5.3397 | 7.5182 | 0.031853 | 0.00017776 | 0.03308 | 0.0020262 | 0.00080007 | 4.5652e-07 | 0.0010479 | 2.3077e-05 | 0.17227
58 | 6.511e-06 | 0.06394 | 0.00027186 | 0.069415 | 5.1972 | [5 empty] | 7.4622 | 5.338 | 7.517 | 0.032607 | 0.00018166 | 0.033819 | 0.0020765 | 0.00081911 | 2.9781e-07 | 0.0010723 | 2.3129e-05 | 0.17485
59 | 6.4392e-06 | 0.065493 | 0.00028179 | 0.07116 | 5.1972 | [5 empty] | 7.4694 | 5.3516 | 7.5256 | 0.033398 | 0.00018817 | 0.034593 | 0.0020866 | 0.00083908 | 2.9747e-07 | 0.0010979 | 2.4058e-05 | 0.17755
60 | 6.3638e-06 | 0.067123 | 0.00029245 | 0.072991 | 5.1972 | [5 empty] | 7.4767 | 5.3655 | 7.5345 | 0.034228 | 0.00019509 | 0.035406 | 0.0020974 | 0.00086005 | 2.972e-07 | 0.0011247 | 2.5048e-05 | 0.18039
61 | 6.2847e-06 | 0.068837 | 0.00030392 | 0.074915 | 5.1972 | [5 empty] | 7.4842 | 5.3799 | 7.5435 | 0.035101 | 0.00020246 | 0.03626 | 0.0021087 | 0.0008821 | 2.9699e-07 | 0.0011529 | 2.6107e-05 | 0.18338
62 | 6.2016e-06 | 0.07064 | 0.00031629 | 0.076939 | 5.1971 | [5 empty] | 7.4917 | 5.3947 | 7.5527 | 0.036019 | 0.00021033 | 0.037159 | 0.0021208 | 0.0009053 | 2.9689e-07 | 0.0011826 | 2.724e-05 | 0.18653
63 | 6.1142e-06 | 0.072541 | 0.00032969 | 0.07907 | 5.1971 | [5 empty] | 7.4994 | 5.4099 | 7.562 | 0.036987 | 0.00021874 | 0.038106 | 0.0021337 | 0.00092976 | 2.9689e-07 | 0.0012138 | 2.8454e-05 | 0.18984
64 | 6.022e-06 | 0.074547 | 0.00034422 | 0.081318 | 5.1971 | [5 empty] | 7.5072 | 5.4256 | 7.5716 | 0.038008 | 0.00022774 | 0.039105 | 0.0021475 | 0.00095558 | 2.9702e-07 | 0.0012467 | 2.9758e-05 | 0.19334
65 | 5.9249e-06 | 0.076667 | 0.00036006 | 0.083692 | 5.1971 | [5 empty] | 7.515 | 5.4417 | 7.5814 | 0.039088 | 0.0002374 | 0.040161 | 0.0021622 | 0.00098287 | 2.9731e-07 | 0.0012815 | 3.1161e-05 | 0.19702
66 | 5.8223e-06 | 0.078911 | 0.00037736 | 0.086201 | 5.197 | [5 empty] | 7.5231 | 5.4584 | 7.5914 | 0.040231 | 0.00024779 | 0.041279 | 0.0021781 | 0.0010118 | 2.9779e-07 | 0.0013183 | 3.2673e-05 | 0.20092
67 | 5.7138e-06 | 0.081291 | 0.00039634 | 0.088858 | 5.197 | [5 empty] | 7.5312 | 5.4755 | 7.6017 | 0.041442 | 0.00025899 | 0.042464 | 0.0021951 | 0.0010424 | 2.9849e-07 | 0.0013572 | 3.4307e-05 | 0.20503
68 | 5.5989e-06 | 0.083819 | 0.00041725 | 0.091675 | 5.197 | [5 empty] | 7.5395 | 5.4932 | 7.6121 | 0.042729 | 0.0002711 | 0.043722 | 0.0022136 | 0.001075 | 2.9946e-07 | 0.0013986 | 3.6076e-05 | 0.20938
69 | 5.4772e-06 | 0.086509 | 0.0004404 | 0.094666 | 5.197 | [5 empty] | 7.5478 | 5.5115 | 7.6229 | 0.044099 | 0.00028425 | 0.045061 | 0.0022337 | 0.0011097 | 3.0074e-07 | 0.0014425 | 3.7995e-05 | 0.214
70 | 5.3478e-06 | 0.089378 | 0.00046616 | 0.097847 | 5.1969 | [5 empty] | 7.5564 | 5.5305 | 7.6338 | 0.045559 | 0.00029858 | 0.046488 | 0.0022555 | 0.0011466 | 3.0241e-07 | 0.0014894 | 4.0082e-05 | 0.21889
71 | 5.2103e-06 | 0.092444 | 0.00049497 | 0.10124 | 5.1969 | [5 empty] | 7.565 | 5.5503 | 7.645 | 0.04712 | 0.0003143 | 0.048014 | 0.0022795 | 0.0011862 | 3.0453e-07 | 0.0015393 | 4.236e-05 | 0.2241
72 | 5.0638e-06 | 0.095728 | 0.00052741 | 0.10485 | 5.1969 | [5 empty] | 7.5738 | 5.5702 | 7.656 | 0.048792 | 0.00033149 | 0.049647 | 0.002308 | 0.0012285 | 2.9687e-07 | 0.0015928 | 4.4784e-05 | 0.22962
73 | 4.9074e-06 | 0.099254 | 0.00056418 | 0.10872 | 5.1969 | [5 empty] | 7.5827 | 5.5919 | 7.6678 | 0.050586 | 0.00035081 | 0.0514 | 0.0023372 | 0.001274 | 2.9967e-07 | 0.0016501 | 4.7516e-05 | 0.23552
74 | 4.7376e-06 | 0.10305 | 0.00060652 | 0.11285 | 5.1951 | [5 empty] | 7.5918 | 5.615 | 7.6798 | 0.052518 | 0.00037267 | 0.053287 | 0.00237 | 0.001323 | 3.0343e-07 | 0.0017118 | 5.0525e-05 | 0.24181
75 | 6.2325e-06 | 0.10715 | 0.00044307 | 0.11483 | 7.7941 | [5 empty] | 7.601 | 5.539 | 7.6823 | 0.054604 | 0.00031302 | 0.055324 | 0.0023233 | 0.0013759 | 2.2622e-07 | 0.0017782 | 4.9131e-05 | 0.24769
76 | 6.101e-06 | 0.11159 | 0.00047183 | 0.11972 | 7.794 | [5 empty] | 7.6103 | 5.5576 | 7.6956 | 0.056866 | 0.00032929 | 0.057533 | 0.0023522 | 0.0014332 | 2.2554e-07 | 0.0018503 | 5.2445e-05 | 0.25402
77 | 5.9585e-06 | 0.11642 | 0.00050446 | 0.12502 | 7.794 | [5 empty] | 7.6198 | 5.5775 | 7.7094 | 0.059325 | 0.0003476 | 0.059932 | 0.0023842 | 0.0014955 | 2.2515e-07 | 0.0019284 | 5.6131e-05 | 0.26084
78 | 5.8037e-06 | 0.12169 | 0.00054179 | 0.1308 | 7.794 | [5 empty] | 7.6294 | 5.5991 | 7.7236 | 0.062005 | 0.00036857 | 0.062547 | 0.0024198 | 0.0015635 | 2.2514e-07 | 0.0020135 | 6.025e-05 | 0.26823
79 | 5.6348e-06 | 0.12746 | 0.00058488 | 0.13711 | 7.794 | [5 empty] | 7.6391 | 5.6229 | 7.7382 | 0.06494 | 0.00039296 | 0.065411 | 0.0024598 | 0.0016379 | 2.2561e-07 | 0.0021066 | 6.4873e-05 | 0.27623
80 | 5.45e-06 | 0.13381 | 0.00063515 | 0.14403 | 7.7939 | [5 empty] | 7.649 | 5.6493 | 7.7534 | 0.068168 | 0.00042174 | 0.068558 | 0.0025052 | 0.0017198 | 2.2671e-07 | 0.0022086 | 7.0089e-05 | 0.28495
81 | 5.2469e-06 | 0.14082 | 0.00069451 | 0.15165 | 7.7939 | [5 empty] | 7.6589 | 5.6895 | 7.7764 | 0.071733 | 0.00045898 | 0.072035 | 0.0025215 | 0.0018103 | 4.1795e-07 | 0.0023212 | 7.7709e-05 | 0.29475
82 | 5.023e-06 | 0.1486 | 0.00076562 | 0.16008 | 7.7939 | [5 empty] | 7.6687 | 5.722 | 7.7922 | 0.075693 | 0.00050051 | 0.075897 | 0.0025834 | 0.0019109 | 4.3284e-07 | 0.0024458 | 8.451e-05 | 0.30547
83 | 4.7751e-06 | 0.1573 | 0.00085224 | 0.16943 | 7.7938 | [5 empty] | 7.6786 | 5.7584 | 7.8084 | 0.080116 | 0.00055124 | 0.080209 | 0.002656 | 0.0020233 | 4.514e-07 | 0.0025847 | 9.2315e-05 | 0.31723
84 | 4.4993e-06 | 0.16707 | 0.00095993 | 0.17988 | 7.7938 | [5 empty] | 7.6885 | 5.7898 | 7.8186 | 0.085089 | 0.00061102 | 0.085056 | 0.0027765 | 0.0021497 | 2.4284e-07 | 0.0027405 | 9.9389e-05 | 0.32988
85 | 4.1912e-06 | 0.17815 | 0.0010972 | 0.19159 | 7.7938 | [5 empty] | 7.6986 | 5.8369 | 7.8365 | 0.090721 | 0.00069038 | 0.090541 | 0.0028798 | 0.002293 | 2.5189e-07 | 0.0029166 | 0.00010993 | 0.34395
86 | 3.843e-06 | 0.19079 | 0.0012784 | 0.2048 | 7.7917 | [5 empty] | 7.7088 | 5.8907 | 7.855 | 0.097152 | 0.00079355 | 0.096803 | 0.00301 | 0.0024567 | 2.6511e-07 | 0.0031171 | 0.00012244 | 0.35972
87 | 6.3072e-06 | 0.20537 | 0.00088094 | 0.22024 | 10.1204 | [5 empty] | 7.7188 | 5.7616 | 7.875 | 0.10456 | 0.00059142 | 0.10402 | 0.0028302 | 0.0026457 | 1.5607e-07 | 0.0033474 | 0.00012655 | 0.37578
88 | 5.8266e-06 | 0.22241 | 0.0010317 | 0.23835 | 10.1204 | [5 empty] | 7.7287 | 5.8223 | 7.9004 | 0.11323 | 0.00068449 | 0.11245 | 0.0029304 | 0.0028662 | 2.7278e-07 | 0.0036158 | 0.00014443 | 0.39429
89 | 5.2689e-06 | 0.24254 | 0.0012414 | 0.25947 | 10.1204 | [5 empty] | 7.7382 | 5.8848 | 7.9222 | 0.12346 | 0.00080686 | 0.12241 | 0.0030907 | 0.0031267 | 2.9623e-07 | 0.0039314 | 0.0001643 | 0.41549
90 | 4.6161e-06 | 0.26667 | 0.0015518 | 0.28435 | 10.1203 | [5 empty] | 7.7473 | 5.9595 | 7.945 | 0.13572 | 0.00098135 | 0.13434 | 0.0033097 | 0.0034393 | 3.3198e-07 | 0.0043081 | 0.00018913 | 0.44004
91 | 3.8453e-06 | 0.29613 | 0.0020548 | 0.31399 | 10.1203 | [5 empty] | 7.756 | 6.0517 | 7.9678 | 0.1507 | 0.0012516 | 0.1489 | 0.0036388 | 0.0038215 | 3.1151e-07 | 0.0047658 | 0.00022071 | 0.46887
92 | 2.9298e-06 | 0.33289 | 0.0029978 | 0.34973 | 10.1202 | [5 empty] | 7.7641 | 6.1785 | 7.9924 | 0.16938 | 0.0017366 | 0.16705 | 0.0041887 | 0.0042991 | 3.9709e-07 | 0.0053339 | 0.00026522 | 0.50379
93 | 1.847e-06 | 0.38001 | 0.0053229 | 0.39347 | 10.118 | [5 empty] | 7.7712 | 6.3759 | 8.0174 | 0.19333 | 0.0028792 | 0.19032 | 0.0054188 | 0.0049132 | 6.1013e-07 | 0.006058 | 0.0003382 | 0.54884
94 | 4.0548e-06 | 0.44246 | 0.0028729 | 0.46276 | 13.4767 | [5 empty] | 7.7771 | 6.1782 | 8.0591 | 0.22507 | 0.0018153 | 0.22114 | 0.0043794 | 0.005732 | 2.6756e-07 | 0.0070113 | 0.00036715 | 0.59721
95 | 2.0366e-06 | 0.53038 | 0.006689 | 0.54449 | 13.4766 | [5 empty] | 7.7807 | 6.4595 | 8.0919 | 0.26972 | 0.0037047 | 0.26449 | 0.006377 | 0.0068783 | 5.1107e-07 | 0.0083401 | 0.00050196 | 0.66425
96 | 2.9397e-07 | 0.6613 | 0.052686 | 0.66414 | 13.4765 | [5 empty] | 7.7813 | 7.2068 | 8.1309 | 0.33622 | 0.025326 | 0.32902 | 0.02821 | 0.0085978 | 2.5469e-06 | 0.0103 | 0.001317 | 0.84764
97 | 7.3981e-08 | 0.86417 | 0.22066 | 0.86514 | 13.4763 | [5 empty] | 7.7769 | 7.6379 | 8.1869 | 0.43985 | 0.10349 | 0.42929 | 0.10651 | 0.011463 | 7.6667e-06 | 0.013294 | 0.0040458 | 1.4174
98 | 3.4975e-08 | 1.1859 | 0.49842 | 1.1866 | 13.4747 | [5 empty] | 0 | 0 | 0 | 0.60803 | 0 | 0.59067 | 0 | 0.01719 | 0 | 0.017918 | 0 | 1.4031