## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl
0 | 5.4513e-06 | 0.036947 | 0.00017484 | 0.039252 | 3.6 | 17.0525 | 13.925 | 11.4227 | 6.7914 | 2.2236 | 7.17 | 5.3405 | 7.2016 | 0.013859 | 0.0001596 | 0.015321 | 0.0018207 | 0.00034432 | 5.2874e-07 | 0.010467 | 0.00013795 | 1.9328
1 | 5.4557e-06 | 0.037318 | 0.00017656 | 0.03967 | 3.6 | [5 empty] | 7.1733 | 5.3404 | 7.2018 | 0.013998 | 0.00016098 | 0.015458 | 0.0018363 | 0.00034779 | 4.7045e-07 | 0.010571 | 0.00013928 | 1.9421
2 | 5.4359e-06 | 0.037697 | 0.00017905 | 0.040086 | 3.6 | [5 empty] | 7.1767 | 5.3467 | 7.2053 | 0.014139 | 0.00016357 | 0.015597 | 0.0018396 | 0.00035134 | 4.7238e-07 | 0.010678 | 0.00014157 | 1.956
3 | 5.4157e-06 | 0.038084 | 0.00018162 | 0.04051 | 3.6 | [5 empty] | 7.1801 | 5.3531 | 7.2089 | 0.014283 | 0.00016624 | 0.015739 | 0.0018431 | 0.00035495 | 4.7433e-07 | 0.010786 | 0.00014393 | 1.9711
4 | 5.3951e-06 | 0.038479 | 0.00018426 | 0.040943 | 3.5999 | [5 empty] | 7.1835 | 5.3596 | 7.2126 | 0.01443 | 0.00016898 | 0.015883 | 0.0018466 | 0.00035864 | 4.7632e-07 | 0.010897 | 0.00014635 | 1.987
5 | 5.3741e-06 | 0.038882 | 0.00018698 | 0.041386 | 3.5999 | [5 empty] | 7.1869 | 5.3661 | 7.2162 | 0.01458 | 0.0001718 | 0.016031 | 0.0018502 | 0.00036241 | 4.7834e-07 | 0.01101 | 0.00014884 | 2.0034
6 | 5.3526e-06 | 0.039294 | 0.00018978 | 0.041838 | 3.5999 | [5 empty] | 7.1904 | 5.3727 | 7.2199 | 0.014733 | 0.00017469 | 0.016182 | 0.0018539 | 0.00036627 | 4.804e-07 | 0.011126 | 0.0001514 | 2.0202
7 | 5.3306e-06 | 0.039714 | 0.00019266 | 0.042299 | 3.5999 | [5 empty] | 7.1939 | 5.3795 | 7.2236 | 0.01489 | 0.00017767 | 0.016336 | 0.0018577 | 0.0003702 | 4.825e-07 | 0.011244 | 0.00015403 | 2.0375
8 | 5.3082e-06 | 0.040144 | 0.00019562 | 0.042771 | 3.5999 | [5 empty] | 7.1974 | 5.3863 | 7.2273 | 0.01505 | 0.00018073 | 0.016493 | 0.0018616 | 0.00037422 | 4.8463e-07 | 0.011364 | 0.00015674 | 2.0551
9 | 5.2853e-06 | 0.040583 | 0.00019868 | 0.043253 | 3.5999 | [5 empty] | 7.2009 | 5.3932 | 7.2311 | 0.015213 | 0.00018388 | 0.016654 | 0.0018656 | 0.00037832 | 4.8681e-07 | 0.011487 | 0.00015953 | 2.0731
10 | 5.2619e-06 | 0.041031 | 0.00020184 | 0.043746 | 3.5999 | [5 empty] | 7.2045 | 5.4001 | 7.2349 | 0.01538 | 0.00018713 | 0.016819 | 0.0018696 | 0.00038252 | 4.8903e-07 | 0.011613 | 0.0001624 | 2.0915
11 | 5.238e-06 | 0.04149 | 0.00020509 | 0.04425 | 3.5998 | [5 empty] | 7.2081 | 5.4072 | 7.2388 | 0.015551 | 0.00019047 | 0.016986 | 0.0018738 | 0.00038681 | 4.9129e-07 | 0.011742 | 0.00016535 | 2.1102
12 | 5.2135e-06 | 0.041959 | 0.00020845 | 0.044765 | 3.5998 | [5 empty] | 7.2117 | 5.4144 | 7.2426 | 0.015725 | 0.00019391 | 0.017158 | 0.0018781 | 0.0003912 | 4.9361e-07 | 0.011874 | 0.00016839 | 2.1294
13 | 5.1885e-06 | 0.042439 | 0.00021191 | 0.045292 | 3.5998 | [5 empty] | 7.2154 | 5.4216 | 7.2465 | 0.015904 | 0.00019745 | 0.017334 | 0.0018826 | 0.0003957 | 4.9597e-07 | 0.012008 | 0.00017153 | 2.149
14 | 5.1629e-06 | 0.04293 | 0.00021549 | 0.045832 | 3.5998 | [5 empty] | 7.2191 | 5.429 | 7.2505 | 0.016087 | 0.00020111 | 0.017514 | 0.0018871 | 0.00040029 | 4.9839e-07 | 0.012146 | 0.00017477 | 2.169
15 | 5.1367e-06 | 0.043433 | 0.0002192 | 0.046384 | 3.5998 | [5 empty] | 7.2228 | 5.4364 | 7.2544 | 0.016274 | 0.00020487 | 0.017697 | 0.0018918 | 0.00040499 | 5.0086e-07 | 0.012287 | 0.0001781 | 2.1894
16 | 5.11e-06 | 0.043947 | 0.00022302 | 0.046949 | 3.5998 | [5 empty] | 7.2265 | 5.444 | 7.2584 | 0.016465 | 0.00020876 | 0.017886 | 0.0018966 | 0.00040981 | 5.034e-07 | 0.012431 | 0.00018154 | 2.2102
17 | 5.0825e-06 | 0.044474 | 0.00022699 | 0.047528 | 3.5997 | [5 empty] | 7.2303 | 5.4517 | 7.2625 | 0.016661 | 0.00021277 | 0.018078 | 0.0019015 | 0.00041474 | 5.0599e-07 | 0.012578 | 0.0001851 | 2.2315
18 | 5.0545e-06 | 0.045014 | 0.00023109 | 0.048121 | 3.5997 | [5 empty] | 7.2341 | 5.4594 | 7.2666 | 0.016861 | 0.00021691 | 0.018275 | 0.0019066 | 0.00041979 | 5.0865e-07 | 0.012729 | 0.00018876 | 2.2532
19 | 5.0257e-06 | 0.045566 | 0.00023534 | 0.048728 | 3.5997 | [5 empty] | 7.2379 | 5.4666 | 7.2703 | 0.017067 | 0.00022103 | 0.018478 | 0.0019134 | 0.00042497 | 5.0392e-07 | 0.012884 | 0.00019242 | 2.2754
20 | 4.9963e-06 | 0.046133 | 0.00023974 | 0.04935 | 3.5997 | [5 empty] | 7.2418 | 5.4745 | 7.2744 | 0.017277 | 0.00022544 | 0.018685 | 0.0019188 | 0.00043028 | 5.0651e-07 | 0.013043 | 0.00019633 | 2.298
21 | 4.9661e-06 | 0.046714 | 0.00024431 | 0.049988 | 3.5997 | [5 empty] | 7.2457 | 5.4826 | 7.2786 | 0.017493 | 0.00023 | 0.018897 | 0.0019243 | 0.00043572 | 5.0916e-07 | 0.013205 | 0.00020037 | 2.3212
22 | 4.9352e-06 | 0.04731 | 0.00024905 | 0.050643 | 3.5997 | [5 empty] | 7.2496 | 5.4908 | 7.2828 | 0.017715 | 0.00023472 | 0.019114 | 0.0019301 | 0.00044129 | 5.1189e-07 | 0.013372 | 0.00020455 | 2.3449
23 | 4.9035e-06 | 0.047921 | 0.00025397 | 0.051314 | 3.5996 | [5 empty] | 7.2536 | 5.5075 | 7.2917 | 0.017942 | 0.00024148 | 0.019338 | 0.0019181 | 0.00044702 | 6.0693e-07 | 0.013543 | 0.00021041 | 2.37
24 | 4.871e-06 | 0.048548 | 0.00025909 | 0.052002 | 3.5996 | [5 empty] | 7.2575 | 5.516 | 7.296 | 0.018174 | 0.00024657 | 0.019567 | 0.0019241 | 0.00045289 | 6.1208e-07 | 0.013719 | 0.00021492 | 2.3956
25 | 4.8376e-06 | 0.049192 | 0.00026441 | 0.052709 | 3.5996 | [5 empty] | 7.2615 | 5.5246 | 7.3003 | 0.018413 | 0.00025184 | 0.019802 | 0.0019303 | 0.00045892 | 6.1749e-07 | 0.013899 | 0.00021959 | 2.4218
26 | 4.8034e-06 | 0.049853 | 0.00026995 | 0.053434 | 3.5996 | [5 empty] | 7.2655 | 5.5333 | 7.3047 | 0.018659 | 0.0002573 | 0.020044 | 0.0019367 | 0.00046512 | 6.2309e-07 | 0.014084 | 0.00022444 | 2.4486
27 | 4.7683e-06 | 0.050532 | 0.00027572 | 0.05418 | 3.5996 | [5 empty] | 7.2696 | 5.5422 | 7.3091 | 0.018911 | 0.00026296 | 0.020292 | 0.0019433 | 0.00047148 | 6.2888e-07 | 0.014273 | 0.00022945 | 2.476
28 | 4.7322e-06 | 0.05123 | 0.00028174 | 0.054945 | 3.5996 | [5 empty] | 7.2737 | 5.5512 | 7.3136 | 0.01917 | 0.00026883 | 0.020546 | 0.0019502 | 0.00047802 | 6.349e-07 | 0.014468 | 0.00023465 | 2.504
29 | 4.6952e-06 | 0.051948 | 0.00028801 | 0.055732 | 3.5995 | [5 empty] | 7.2778 | 5.5604 | 7.3181 | 0.019436 | 0.00027492 | 0.020808 | 0.0019573 | 0.00048474 | 6.4114e-07 | 0.014669 | 0.00024005 | 2.5326
30 | 4.6571e-06 | 0.052686 | 0.00029457 | 0.05654 | 3.5995 | [5 empty] | 7.2819 | 5.5696 | 7.3226 | 0.01971 | 0.00028123 | 0.021078 | 0.0019646 | 0.00049166 | 6.4762e-07 | 0.014875 | 0.00024566 | 2.5619
31 | 4.618e-06 | 0.053445 | 0.00030142 | 0.057372 | 3.5995 | [5 empty] | 7.2861 | 5.5791 | 7.3272 | 0.019991 | 0.0002878 | 0.021355 | 0.0019722 | 0.00049877 | 6.5436e-07 | 0.015087 | 0.00025148 | 2.592
32 | 4.5778e-06 | 0.054227 | 0.00030859 | 0.058227 | 3.5995 | [5 empty] | 7.2903 | 5.5887 | 7.3319 | 0.020281 | 0.00029462 | 0.02164 | 0.0019801 | 0.0005061 | 6.6137e-07 | 0.015305 | 0.00025753 | 2.6228
33 | 4.5364e-06 | 0.055032 | 0.00031609 | 0.059107 | 3.5995 | [5 empty] | 7.2946 | 5.5984 | 7.3365 | 0.02058 | 0.00030171 | 0.021933 | 0.0019882 | 0.00051364 | 6.6869e-07 | 0.01553 | 0.00026383 | 2.6544
34 | 4.4938e-06 | 0.055861 | 0.00032396 | 0.060014 | 3.5995 | [5 empty] | 7.2988 | 5.6083 | 7.3413 | 0.020887 | 0.0003091 | 0.022235 | 0.0019967 | 0.00052142 | 6.7632e-07 | 0.015761 | 0.00027038 | 2.6868
35 | 4.45e-06 | 0.056715 | 0.00033222 | 0.060947 | 3.5994 | [5 empty] | 7.3032 | 5.6184 | 7.346 | 0.021203 | 0.00031678 | 0.022547 | 0.0020055 | 0.00052943 | 6.843e-07 | 0.015999 | 0.00027719 | 2.72
36 | 4.4049e-06 | 0.057596 | 0.0003409 | 0.061908 | 3.5994 | [5 empty] | 7.3075 | 5.6287 | 7.3508 | 0.02153 | 0.00032479 | 0.022868 | 0.0020146 | 0.00053769 | 6.9263e-07 | 0.016245 | 0.0002843 | 2.7542
37 | 4.3585e-06 | 0.058505 | 0.00035003 | 0.0629 | 3.5994 | [5 empty] | 7.3119 | 5.6391 | 7.3557 | 0.021866 | 0.00033314 | 0.023199 | 0.0020241 | 0.00054621 | 7.0137e-07 | 0.016498 | 0.00029171 | 2.7892
38 | 4.3106e-06 | 0.059443 | 0.00035964 | 0.063921 | 3.5994 | [5 empty] | 7.3164 | 5.6497 | 7.3606 | 0.022214 | 0.00034186 | 0.02354 | 0.002034 | 0.00055501 | 7.1054e-07 | 0.01676 | 0.00029945 | 2.8253
39 | 4.2613e-06 | 0.060411 | 0.00036978 | 0.064976 | 3.5994 | [5 empty] | 7.3208 | 5.6605 | 7.3655 | 0.022572 | 0.00035096 | 0.023893 | 0.0020443 | 0.0005641 | 7.2018e-07 | 0.01703 | 0.00030752 | 2.8624
40 | 4.2104e-06 | 0.061412 | 0.00038049 | 0.066063 | 3.5994 | [5 empty] | 7.3254 | 5.6715 | 7.3705 | 0.022943 | 0.00036048 | 0.024257 | 0.0020551 | 0.00057349 | 7.3031e-07 | 0.017308 | 0.00031597 | 2.9005
41 | 4.1579e-06 | 0.062447 | 0.00039181 | 0.067186 | 3.5993 | [5 empty] | 7.3299 | 5.6827 | 7.3756 | 0.023325 | 0.00037043 | 0.024633 | 0.0020663 | 0.0005832 | 7.4099e-07 | 0.017596 | 0.0003248 | 2.9398
42 | 4.1038e-06 | 0.063516 | 0.0004038 | 0.068346 | 3.5993 | [5 empty] | 7.3345 | 5.6941 | 7.3807 | 0.023721 | 0.00038085 | 0.025022 | 0.002078 | 0.00059324 | 7.5227e-07 | 0.017894 | 0.00033405 | 2.9803
43 | 4.0479e-06 | 0.064624 | 0.00041653 | 0.069545 | 3.5993 | [5 empty] | 7.3391 | 5.7057 | 7.3858 | 0.024131 | 0.00039178 | 0.025425 | 0.0020903 | 0.00060363 | 7.6421e-07 | 0.018202 | 0.00034374 | 3.022
44 | 3.9901e-06 | 0.06577 | 0.00043005 | 0.070784 | 3.5993 | [5 empty] | 7.3438 | 5.7063 | 7.385 | 0.024554 | 0.0003994 | 0.025841 | 0.002128 | 0.0006144 | 6.0951e-07 | 0.018521 | 0.00035068 | 3.0641
45 | 3.9304e-06 | 0.066958 | 0.00044444 | 0.072066 | 3.5993 | [5 empty] | 7.3486 | 5.7184 | 7.3903 | 0.024994 | 0.00041136 | 0.026273 | 0.0021414 | 0.00062556 | 6.169e-07 | 0.018852 | 0.00036129 | 3.1075
46 | 3.8687e-06 | 0.06819 | 0.0004598 | 0.073392 | 3.5992 | [5 empty] | 7.3535 | 5.7308 | 7.3956 | 0.025449 | 0.00042394 | 0.026719 | 0.0021554 | 0.00063713 | 6.2474e-07 | 0.019194 | 0.00037245 | 3.1524
47 | 3.8049e-06 | 0.069468 | 0.00047621 | 0.074766 | 3.5992 | [5 empty] | 7.3584 | 5.7426 | 7.4006 | 0.025921 | 0.00043688 | 0.027183 | 0.0021721 | 0.00064914 | 6.2165e-07 | 0.019549 | 0.00038393 | 3.1988
48 | 3.7388e-06 | 0.070795 | 0.00049379 | 0.076188 | 3.5992 | [5 empty] | 7.3633 | 5.7556 | 7.406 | 0.026411 | 0.00045085 | 0.027664 | 0.0021876 | 0.00066161 | 6.3011e-07 | 0.019918 | 0.00039631 | 3.2468
49 | 3.6705e-06 | 0.072173 | 0.00051266 | 0.077663 | 3.5992 | [5 empty] | 7.3683 | 5.7688 | 7.4115 | 0.02692 | 0.00046561 | 0.028163 | 0.002204 | 0.00067457 | 6.3917e-07 | 0.0203 | 0.00040938 | 3.2966
50 | 3.5976e-06 | 0.073606 | 0.00053324 | 0.079189 | 3.5981 | [5 empty] | 7.3734 | 5.7824 | 7.417 | 0.027449 | 0.0004813 | 0.028683 | 0.0022214 | 0.00068805 | 6.493e-07 | 0.020698 | 0.00042326 | 3.3483
51 | 4.9937e-06 | 0.075098 | 0.00040468 | 0.079344 | 4.5974 | [5 empty] | 7.3785 | 5.7447 | 7.4224 | 0.028 | 0.00043302 | 0.029223 | 0.0021459 | 0.00070208 | 6.3409e-07 | 0.021112 | 0.00038456 | 3.3875
52 | 4.9251e-06 | 0.076654 | 0.00041888 | 0.081006 | 4.5973 | [5 empty] | 7.3835 | 5.743 | 7.4209 | 0.028574 | 0.00044141 | 0.029787 | 0.0021937 | 0.00071669 | 4.6958e-07 | 0.021544 | 0.00039242 | 3.4273
53 | 4.8538e-06 | 0.078276 | 0.00043409 | 0.082738 | 4.5973 | [5 empty] | 7.3887 | 5.7565 | 7.4268 | 0.029172 | 0.00045611 | 0.030374 | 0.00221 | 0.00073193 | 4.7435e-07 | 0.021994 | 0.00040576 | 3.4691
54 | 4.7795e-06 | 0.079968 | 0.00045041 | 0.084542 | 4.5973 | [5 empty] | 7.394 | 5.7703 | 7.4329 | 0.029797 | 0.00047166 | 0.030986 | 0.0022272 | 0.00074783 | 4.7948e-07 | 0.022463 | 0.00041987 | 3.513
55 | 4.7022e-06 | 0.081735 | 0.00046797 | 0.086424 | 4.5973 | [5 empty] | 7.3993 | 5.7845 | 7.439 | 0.030448 | 0.0004881 | 0.031625 | 0.0022453 | 0.00076444 | 4.8502e-07 | 0.022953 | 0.00043481 | 3.5591
56 | 4.6215e-06 | 0.083582 | 0.00048691 | 0.088388 | 4.5973 | [5 empty] | 7.4047 | 5.799 | 7.4452 | 0.031129 | 0.00050553 | 0.032293 | 0.0022644 | 0.0007818 | 4.9102e-07 | 0.023465 | 0.00045066 | 3.6074
57 | 4.5373e-06 | 0.085514 | 0.0005074 | 0.09044 | 4.5972 | [5 empty] | 7.4101 | 5.8138 | 7.4514 | 0.031841 | 0.00052404 | 0.032991 | 0.0022846 | 0.00079997 | 4.9755e-07 | 0.024 | 0.0004675 | 3.6581
58 | 4.4494e-06 | 0.087538 | 0.00052964 | 0.092585 | 4.5972 | [5 empty] | 7.4155 | 5.829 | 7.4578 | 0.032587 | 0.00054373 | 0.033722 | 0.002306 | 0.00081901 | 5.0468e-07 | 0.02456 | 0.00048541 | 3.7114
59 | 4.3576e-06 | 0.089661 | 0.00055386 | 0.09483 | 4.5972 | [5 empty] | 7.4211 | 5.8446 | 7.4642 | 0.033369 | 0.00056471 | 0.034489 | 0.0023288 | 0.00083897 | 5.1248e-07 | 0.025148 | 0.00050451 | 3.7674
60 | 4.2615e-06 | 0.091888 | 0.00058032 | 0.097182 | 4.5972 | [5 empty] | 7.4266 | 5.8607 | 7.4707 | 0.034189 | 0.00058712 | 0.035293 | 0.002353 | 0.00085993 | 5.2106e-07 | 0.025764 | 0.00052492 | 3.8262
61 | 4.1608e-06 | 0.094229 | 0.00060934 | 0.099647 | 4.5972 | [5 empty] | 7.4322 | 5.8772 | 7.4773 | 0.03505 | 0.00061112 | 0.036137 | 0.0023789 | 0.00088197 | 5.3053e-07 | 0.026411 | 0.00054677 | 3.888
62 | 4.0554e-06 | 0.096693 | 0.00064132 | 0.10223 | 4.5971 | [5 empty] | 7.4379 | 5.8943 | 7.484 | 0.035957 | 0.00063689 | 0.037026 | 0.0024066 | 0.00090517 | 5.4102e-07 | 0.027091 | 0.00057023 | 3.9531
63 | 3.9448e-06 | 0.099289 | 0.00067671 | 0.10495 | 4.5971 | [5 empty] | 7.4436 | 5.9119 | 7.4907 | 0.036911 | 0.00066466 | 0.037961 | 0.0024364 | 0.00092962 | 5.5271e-07 | 0.027808 | 0.00059548 | 4.0217
64 | 3.8287e-06 | 0.10203 | 0.00071609 | 0.10781 | 4.5971 | [5 empty] | 7.4493 | 5.9301 | 7.4976 | 0.037918 | 0.00069469 | 0.038948 | 0.0024684 | 0.00095542 | 5.6581e-07 | 0.028564 | 0.00062275 | 4.0941
65 | 3.7067e-06 | 0.10492 | 0.00076015 | 0.11082 | 4.5971 | [5 empty] | 7.4551 | 5.9491 | 7.5045 | 0.038982 | 0.00072728 | 0.03999 | 0.0025031 | 0.0009827 | 5.8054e-07 | 0.029362 | 0.00065229 | 4.1705
66 | 3.5783e-06 | 0.10799 | 0.00080976 | 0.114 | 4.597 | [5 empty] | 7.4609 | 5.9688 | 7.5115 | 0.040107 | 0.00076283 | 0.041093 | 0.0025408 | 0.0010116 | 5.9725e-07 | 0.030207 | 0.00068442 | 4.2514
67 | 3.4432e-06 | 0.11123 | 0.00086602 | 0.11734 | 4.597 | [5 empty] | 7.4668 | 5.9894 | 7.5186 | 0.041299 | 0.00080182 | 0.042261 | 0.0025819 | 0.0010422 | 6.1631e-07 | 0.031101 | 0.00071952 | 4.3371
68 | 3.3008e-06 | 0.11468 | 0.00093032 | 0.12088 | 4.597 | [5 empty] | 7.4727 | 6.0109 | 7.5258 | 0.042564 | 0.00084482 | 0.043501 | 0.0026272 | 0.0010748 | 6.3822e-07 | 0.032051 | 0.00075807 | 4.4282
69 | 3.1506e-06 | 0.11835 | 0.0010045 | 0.12463 | 4.597 | [5 empty] | 7.4787 | 6.0337 | 7.533 | 0.04391 | 0.00089259 | 0.04482 | 0.0026772 | 0.0011094 | 6.6364e-07 | 0.03306 | 0.00080066 | 4.5252
70 | 2.992e-06 | 0.12226 | 0.0010909 | 0.12859 | 4.5969 | [5 empty] | 7.4847 | 6.0577 | 7.5404 | 0.045344 | 0.00094608 | 0.046224 | 0.002733 | 0.0011464 | 6.9343e-07 | 0.034136 | 0.00084805 | 4.6288
71 | 2.8244e-06 | 0.12644 | 0.0011928 | 0.1328 | 4.5969 | [5 empty] | 7.4907 | 6.0823 | 7.5473 | 0.046875 | 0.0010059 | 0.047724 | 0.0027983 | 0.0011859 | 7.1014e-07 | 0.035284 | 0.00090058 | 4.7398
72 | 2.6473e-06 | 0.13092 | 0.0013147 | 0.13727 | 4.5969 | [5 empty] | 7.4968 | 6.1097 | 7.5548 | 0.048513 | 0.001075 | 0.049329 | 0.0028698 | 0.0012282 | 7.5072e-07 | 0.036511 | 0.00096088 | 4.8593
73 | 2.4599e-06 | 0.13572 | 0.0014628 | 0.14202 | 4.5969 | [5 empty] | 7.5029 | 6.1395 | 7.5623 | 0.05027 | 0.0011551 | 0.051049 | 0.0029524 | 0.0012737 | 8.0027e-07 | 0.037828 | 0.0010302 | 4.9887
74 | 2.259e-06 | 0.14088 | 0.0016481 | 0.14708 | 4.5951 | [5 empty] | 7.509 | 6.1721 | 7.5699 | 0.052159 | 0.0012502 | 0.052899 | 0.0030502 | 0.0013226 | 8.6291e-07 | 0.039243 | 0.0011115 | 5.1298
75 | 4.4337e-06 | 0.14645 | 0.00083305 | 0.15384 | 7.1941 | [5 empty] | 7.5152 | 6.1121 | 7.5877 | 0.054196 | 0.0010432 | 0.054893 | 0.0027816 | 0.0013755 | 6.4459e-07 | 0.040769 | 0.00095935 | 5.2391
76 | 4.264e-06 | 0.15252 | 0.00090174 | 0.16018 | 7.194 | [5 empty] | 7.5211 | 6.1385 | 7.5965 | 0.05641 | 0.0011093 | 0.057064 | 0.0028459 | 0.0014328 | 6.7481e-07 | 0.042427 | 0.0010201 | 5.3567
77 | 4.0808e-06 | 0.15911 | 0.00098237 | 0.16705 | 7.194 | [5 empty] | 7.527 | 6.1665 | 7.6054 | 0.058815 | 0.0011835 | 0.059422 | 0.0029178 | 0.0014951 | 7.07e-07 | 0.044228 | 0.0010878 | 5.4834
78 | 3.8826e-06 | 0.1663 | 0.0010783 | 0.1745 | 7.194 | [5 empty] | 7.5329 | 6.1808 | 7.6086 | 0.061434 | 0.0012553 | 0.06199 | 0.0030324 | 0.001563 | 4.8612e-07 | 0.046189 | 0.0011526 | 5.6185
79 | 3.6675e-06 | 0.17416 | 0.0011941 | 0.18261 | 7.194 | [5 empty] | 7.539 | 6.2134 | 7.6182 | 0.0643 | 0.0013515 | 0.064798 | 0.0031227 | 0.0016374 | 5.0915e-07 | 0.048333 | 0.0012394 | 5.7653
80 | 3.4336e-06 | 0.18281 | 0.0013367 | 0.19147 | 7.1939 | [5 empty] | 7.545 | 6.2485 | 7.628 | 0.067448 | 0.0014629 | 0.067881 | 0.003227 | 0.0017192 | 5.379e-07 | 0.050688 | 0.0013391 | 5.9258
81 | 3.1785e-06 | 0.19236 | 0.0015163 | 0.20117 | 7.1939 | [5 empty] | 7.5509 | 6.2867 | 7.6379 | 0.07092 | 0.0015938 | 0.071284 | 0.0033496 | 0.0018097 | 5.7457e-07 | 0.053285 | 0.0014555 | 6.1022
82 | 2.8996e-06 | 0.20297 | 0.0017491 | 0.21184 | 7.1939 | [5 empty] | 7.5568 | 6.3286 | 7.648 | 0.074772 | 0.001751 | 0.075058 | 0.0034969 | 0.0019102 | 6.2261e-07 | 0.056165 | 0.0015938 | 6.2977
83 | 2.5941e-06 | 0.2148 | 0.0020617 | 0.22361 | 7.1938 | [5 empty] | 7.5625 | 6.3868 | 7.6622 | 0.079067 | 0.0019562 | 0.079268 | 0.0036551 | 0.0020225 | 9.4971e-07 | 0.059375 | 0.0017732 | 6.5185
84 | 2.259e-06 | 0.2281 | 0.0025023 | 0.23667 | 7.1938 | [5 empty] | 7.5679 | 6.4396 | 7.6723 | 0.083887 | 0.0022054 | 0.083994 | 0.0038932 | 0.0021489 | 1.091e-06 | 0.062975 | 0.0019872 | 6.7694
85 | 1.8919e-06 | 0.24314 | 0.0031648 | 0.2512 | 7.1938 | [5 empty] | 7.5731 | 6.5023 | 7.6824 | 0.089332 | 0.0025449 | 0.089334 | 0.0042206 | 0.0022921 | 1.3036e-06 | 0.067041 | 0.0022742 | 7.0612
86 | 1.4904e-06 | 0.26028 | 0.004263 | 0.26746 | 7.1917 | [5 empty] | 7.5781 | 6.5809 | 7.6926 | 0.095531 | 0.0030535 | 0.095413 | 0.0047161 | 0.0024557 | 1.6559e-06 | 0.071667 | 0.0026961 | 7.4142
87 | 3.894e-06 | 0.27997 | 0.001889 | 0.29228 | 9.7504 | [5 empty] | 7.5828 | 6.5077 | 7.7138 | 0.10264 | 0.0023657 | 0.10239 | 0.0039139 | 0.0026445 | 5.441e-07 | 0.076972 | 0.0021957 | 7.6795
88 | 3.2963e-06 | 0.30315 | 0.0024037 | 0.31521 | 9.7504 | [5 empty] | 7.5868 | 6.5769 | 7.7264 | 0.111 | 0.0027104 | 0.1106 | 0.0042133 | 0.0028648 | 6.4322e-07 | 0.083204 | 0.0025012 | 7.987
89 | 2.6163e-06 | 0.33049 | 0.0032764 | 0.34169 | 9.7504 | [5 empty] | 7.5902 | 6.661 | 7.7393 | 0.12085 | 0.0032035 | 0.12027 | 0.0046539 | 0.0031252 | 8.077e-07 | 0.09054 | 0.0029291 | 8.3543
90 | 1.848e-06 | 0.36321 | 0.0050378 | 0.37259 | 9.7503 | [5 empty] | 7.5929 | 6.7729 | 7.7522 | 0.13261 | 0.0040319 | 0.13183 | 0.0054216 | 0.0034376 | 1.139e-06 | 0.099301 | 0.0036277 | 8.821
91 | 1.0228e-06 | 0.403 | 0.0098897 | 0.40922 | 9.7503 | [5 empty] | 7.5948 | 6.9508 | 7.7655 | 0.1469 | 0.0059574 | 0.14587 | 0.0072744 | 0.0038194 | 2.04e-06 | 0.10993 | 0.0051963 | 9.5165
92 | 3.7642e-07 | 0.45214 | 0.028678 | 0.45486 | 9.7502 | [5 empty] | 7.5955 | 7.2672 | 7.7812 | 0.16451 | 0.012715 | 0.1632 | 0.013911 | 0.0042966 | 4.6739e-06 | 0.12302 | 0.010569 | 11.0065
93 | 1.5172e-07 | 0.51264 | 0.073522 | 0.51391 | 9.748 | [5 empty] | 7.5941 | 7.5471 | 7.8022 | 0.1862 | 0.028447 | 0.18453 | 0.029401 | 0.0049097 | 1.0547e-05 | 0.13909 | 0.023008 | 14.3188
94 | 2.4001e-06 | 0.58582 | 0.006282 | 0.60152 | 15.1067 | [5 empty] | 7.589 | 7.5209 | 7.8408 | 0.21249 | 0.006428 | 0.21038 | 0.0067016 | 0.0057263 | 6.8025e-07 | 0.15844 | 0.0059091 | 15.0396
95 | 4.9935e-07 | 0.70173 | 0.034088 | 0.7061 | 15.1066 | [5 empty] | 7.58 | 7.8567 | 7.8612 | 0.2537 | 0.016667 | 0.25112 | 0.016516 | 0.0068714 | 3.1702e-06 | 0.18894 | 0.014156 | 16.949
96 | 1.0868e-07 | 0.86864 | 0.16442 | 0.86986 | 15.1065 | [5 empty] | 7.5648 | 7.9259 | 7.8984 | 0.31296 | 0.061922 | 0.30977 | 0.060646 | 0.0085884 | 1.1436e-05 | 0.23264 | 0.050101 | 24.0111
97 | 5.1021e-08 | 1.1034 | 0.36631 | 1.1041 | 15.1063 | [5 empty] | 7.5332 | 7.9143 | 7.9339 | 0.39665 | 0.13118 | 0.3928 | 0.12819 | 0.011447 | 2.0863e-05 | 0.29348 | 0.10509 | 38.7902
98 | 2.9153e-08 | 1.4719 | 0.68462 | 1.4726 | 15.1047 | [5 empty] | 0 | 0 | 0 | 0.52938 | 0 | 0.52511 | 0 | 0.017161 | 0 | 0.38768 | 0 | 38.3984