## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate
0 | 6.3588e-06 | 0.015068 | 7.564e-05 | 0.019796 | 3.1 | 22.8968 | 25.5428 | 28.3031 | 33.1773 | 33.444 | 0.21515 | 0.011112 | 0.018426 | 0.0037957 | 0.00010205 | 0.24859 | 8.0001 | 10.4597 | 9.4302 | 0.0032423 | 0.0003257 | 0.003268 | 1.9277e-05
1 | 6.3588e-06 | 0.01522 | 7.64e-05 | 0.019995 | 3.1 | [11 empty] | 7.9861 | 10.4643 | 9.4347 | 0.0032717 | 0.00032916 | 0.0033008 | 1.9428e-05
2 | 6.3588e-06 | 0.015374 | 7.7175e-05 | 0.020198 | 3.1 | [11 empty] | 7.9721 | 10.4689 | 9.4392 | 0.0033018 | 0.00033268 | 0.0033343 | 1.9582e-05
3 | 6.3589e-06 | 0.015532 | 7.7967e-05 | 0.020405 | 3.1 |  | PHI Outputs as Zero | [9 empty] | 7.9581 | 10.4736 | 9.4437 | 0.0033324 | 0.00033627 | 0.0033685 | 1.9739e-05
4 | 6.3589e-06 | 0.015693 | 7.8774e-05 | 0.020617 | 3.1 | [11 empty] | 7.9442 | 10.4783 | 9.4483 | 0.0033636 | 0.00033991 | 0.0034034 | 1.9899e-05
5 | 6.359e-06 | 0.015857 | 7.9599e-05 | 0.020833 | 3.1 | [11 empty] | 7.9302 | 10.483 | 9.4529 | 0.0033954 | 0.00034363 | 0.003439 | 2.0061e-05
6 | 6.359e-06 | 0.016025 | 8.0441e-05 | 0.021053 | 3.1 | [11 empty] | 7.9163 | 10.4877 | 9.4575 | 0.0034279 | 0.0003474 | 0.0034754 | 2.0227e-05
7 | 6.359e-06 | 0.016197 | 8.1301e-05 | 0.021278 | 3.1 | [11 empty] | 7.9023 | 10.4925 | 9.4621 | 0.003461 | 0.00035125 | 0.0035125 | 2.0395e-05
8 | 6.3591e-06 | 0.016372 | 8.218e-05 | 0.021509 | 3.1 | [11 empty] | 7.8885 | 10.4974 | 9.4668 | 0.0034948 | 0.00035517 | 0.0035505 | 2.0567e-05
9 | 6.3591e-06 | 0.016551 | 8.3078e-05 | 0.021744 | 3.1 | [11 empty] | 7.8746 | 10.5022 | 9.4715 | 0.0035293 | 0.00035916 | 0.0035893 | 2.0743e-05
10 | 6.3592e-06 | 0.016734 | 8.3996e-05 | 0.021984 | 3.1 | [11 empty] | 7.8608 | 10.5071 | 9.4762 | 0.0035645 | 0.00036321 | 0.0036289 | 2.0921e-05
11 | 6.3592e-06 | 0.016921 | 8.4935e-05 | 0.02223 | 3.1 | [11 empty] | 7.8471 | 10.512 | 9.481 | 0.0036005 | 0.00036735 | 0.0036695 | 2.1103e-05
12 | 6.3593e-06 | 0.017112 | 8.5895e-05 | 0.022482 | 3.1 | [11 empty] | 7.8334 | 10.5169 | 9.4857 | 0.0036372 | 0.00037156 | 0.0037109 | 2.1289e-05
13 | 6.3593e-06 | 0.017308 | 8.6877e-05 | 0.022739 | 3.1 | [11 empty] | 7.8198 | 10.5219 | 9.4906 | 0.0036748 | 0.00037585 | 0.0037533 | 2.1479e-05
14 | 6.3594e-06 | 0.017508 | 8.7881e-05 | 0.023002 | 3.1 | [11 empty] | 7.8063 | 10.5269 | 9.4954 | 0.0037131 | 0.00038021 | 0.0037967 | 2.1673e-05
15 | 6.3594e-06 | 0.017713 | 8.891e-05 | 0.023271 | 3.1 | [11 empty] | 7.7928 | 10.532 | 9.5002 | 0.0037523 | 0.00038466 | 0.0038411 | 2.1871e-05
16 | 6.3595e-06 | 0.017923 | 8.9962e-05 | 0.023547 | 3.1 | [11 empty] | 7.7794 | 10.537 | 9.5051 | 0.0037924 | 0.00038919 | 0.0038866 | 2.2073e-05
17 | 6.3595e-06 | 0.018138 | 9.104e-05 | 0.023829 | 3.1 | [11 empty] | 7.7661 | 10.5422 | 9.51 | 0.0038334 | 0.00039381 | 0.0039332 | 2.2279e-05
18 | 6.3596e-06 | 0.018358 | 9.2144e-05 | 0.024118 | 3.1 | [11 empty] | 7.7528 | 10.5473 | 9.515 | 0.0038754 | 0.00039851 | 0.0039809 | 2.249e-05
19 | 6.3596e-06 | 0.018583 | 9.3275e-05 | 0.024415 | 3.1 | [11 empty] | 7.7397 | 10.5525 | 9.52 | 0.0039183 | 0.0004033 | 0.0040297 | 2.2706e-05
20 | 6.3597e-06 | 0.018814 | 9.4435e-05 | 0.024718 | 3.1 | [11 empty] | 7.7266 | 10.5577 | 9.525 | 0.0039622 | 0.00040819 | 0.0040798 | 2.2927e-05
21 | 6.3598e-06 | 0.019051 | 9.5624e-05 | 0.02503 | 3.1 | [11 empty] | 7.7136 | 10.5629 | 9.53 | 0.0040072 | 0.00041316 | 0.0041312 | 2.3153e-05
22 | 6.3598e-06 | 0.019294 | 9.6843e-05 | 0.025349 | 3.1 | [11 empty] | 7.7006 | 10.5682 | 9.535 | 0.0040533 | 0.00041824 | 0.0041838 | 2.3384e-05
23 | 6.3599e-06 | 0.019544 | 9.8093e-05 | 0.025677 | 3.1 | [11 empty] | 7.6878 | 10.5735 | 9.5401 | 0.0041005 | 0.00042341 | 0.0042379 | 2.3621e-05
24 | 6.3599e-06 | 0.0198 | 9.9377e-05 | 0.026013 | 3.1 | [11 empty] | 7.675 | 10.5788 | 9.5452 | 0.0041489 | 0.00042869 | 0.0042933 | 2.3863e-05
25 | 6.36e-06 | 0.020062 | 0.00010069 | 0.026358 | 3.1 | [11 empty] | 7.6623 | 10.5842 | 9.5504 | 0.0041985 | 0.00043407 | 0.0043502 | 2.4112e-05
26 | 6.3601e-06 | 0.020332 | 0.00010205 | 0.026713 | 3.1 | [11 empty] | 7.6497 | 10.5896 | 9.5556 | 0.0042494 | 0.00043956 | 0.0044087 | 2.4367e-05
27 | 6.3602e-06 | 0.020609 | 0.00010344 | 0.027077 | 3.1 | [11 empty] | 7.6372 | 10.5951 | 9.5608 | 0.0043016 | 0.00044516 | 0.0044688 | 2.4628e-05
28 | 6.3602e-06 | 0.020894 | 0.00010487 | 0.027451 | 3.1 | [11 empty] | 7.6248 | 10.6006 | 9.566 | 0.0043551 | 0.00045087 | 0.0045305 | 2.4896e-05
29 | 6.3603e-06 | 0.021187 | 0.00010633 | 0.027836 | 3.1 | [11 empty] | 7.6124 | 10.6061 | 9.5713 | 0.0044101 | 0.0004567 | 0.0045939 | 2.5171e-05
30 | 6.3604e-06 | 0.021488 | 0.00010785 | 0.028232 | 3.1 | [11 empty] | 7.6001 | 10.6117 | 9.5766 | 0.0044666 | 0.00046265 | 0.0046592 | 2.5453e-05
31 | 6.3604e-06 | 0.021798 | 0.0001094 | 0.028639 | 3.1 | [11 empty] | 7.5879 | 10.6173 | 9.5819 | 0.0045246 | 0.00046872 | 0.0047264 | 2.5743e-05
32 | 6.3605e-06 | 0.022117 | 0.000111 | 0.029058 | 3.1 | [11 empty] | 7.5758 | 10.6229 | 9.5873 | 0.0045843 | 0.00047493 | 0.0047955 | 2.6041e-05
33 | 6.3606e-06 | 0.022445 | 0.00011265 | 0.02949 | 3.1 | [11 empty] | 7.5637 | 10.6286 | 9.5927 | 0.0046456 | 0.00048126 | 0.0048667 | 2.6348e-05
34 | 6.3607e-06 | 0.022784 | 0.00011434 | 0.029934 | 3.1 | [11 empty] | 7.5517 | 10.6344 | 9.5981 | 0.0047087 | 0.00048773 | 0.00494 | 2.6663e-05
35 | 6.3608e-06 | 0.023132 | 0.00011609 | 0.030393 | 3.1 | [11 empty] | 7.5397 | 10.6401 | 9.6036 | 0.0047736 | 0.00049435 | 0.0050156 | 2.6987e-05
36 | 6.3609e-06 | 0.023492 | 0.0001179 | 0.030865 | 3.1 | [11 empty] | 7.5279 | 10.6459 | 9.6091 | 0.0048405 | 0.0005011 | 0.0050936 | 2.732e-05
37 | 6.361e-06 | 0.023863 | 0.00011976 | 0.031353 | 3.1 | [11 empty] | 7.516 | 10.6518 | 9.6146 | 0.0049094 | 0.00050801 | 0.005174 | 2.7664e-05
38 | 6.3611e-06 | 0.024246 | 0.00012168 | 0.031856 | 3.1 | [11 empty] | 7.5043 | 10.6577 | 9.6202 | 0.0049804 | 0.00051507 | 0.005257 | 2.8018e-05
39 | 6.3612e-06 | 0.024641 | 0.00012366 | 0.032376 | 3.1 | [11 empty] | 7.4926 | 10.6636 | 9.6258 | 0.0050536 | 0.00052229 | 0.0053427 | 2.8383e-05
40 | 6.3613e-06 | 0.02505 | 0.00012571 | 0.032913 | 3.1 | [11 empty] | 7.4809 | 10.6696 | 9.6315 | 0.0051291 | 0.00052968 | 0.0054313 | 2.8759e-05
41 | 6.3614e-06 | 0.025472 | 0.00012783 | 0.033468 | 3.1 | [11 empty] | 7.4693 | 10.6757 | 9.6372 | 0.005207 | 0.00053724 | 0.0055228 | 2.9148e-05
42 | 6.3615e-06 | 0.025909 | 0.00013002 | 0.034042 | 3.1 | [11 empty] | 7.4578 | 10.6818 | 9.6429 | 0.0052876 | 0.00054497 | 0.0056176 | 2.9549e-05
43 | 6.3616e-06 | 0.026362 | 0.00013229 | 0.034637 | 3.1 | [11 empty] | 7.4463 | 10.6879 | 9.6487 | 0.0053708 | 0.00055289 | 0.0057156 | 2.9963e-05
44 | 6.3617e-06 | 0.02683 | 0.00013464 | 0.035252 | 3.1 | [11 empty] | 7.4348 | 10.6941 | 9.6545 | 0.0054568 | 0.000561 | 0.0058171 | 3.0391e-05
45 | 6.3618e-06 | 0.027315 | 0.00013707 | 0.03589 | 3.1 | [11 empty] | 7.4234 | 10.7003 | 9.6604 | 0.0055458 | 0.0005693 | 0.0059223 | 3.0833e-05
46 | 6.362e-06 | 0.027819 | 0.00013959 | 0.036552 | 3.1 | [11 empty] | 7.412 | 10.7066 | 9.6663 | 0.005638 | 0.00057781 | 0.0060314 | 3.1292e-05
47 | 6.3621e-06 | 0.028341 | 0.00014221 | 0.037238 | 3.1 | [11 empty] | 7.4007 | 10.713 | 9.6723 | 0.0057334 | 0.00058654 | 0.0061446 | 3.1766e-05
48 | 6.3622e-06 | 0.028883 | 0.00014493 | 0.037951 | 3.1 | [11 empty] | 7.3893 | 10.7194 | 9.6783 | 0.0058324 | 0.00059549 | 0.0062622 | 3.2258e-05
49 | 6.3624e-06 | 0.029447 | 0.00014776 | 0.038692 | 3.1 | [11 empty] | 7.378 | 10.7258 | 9.6844 | 0.0059351 | 0.00060466 | 0.0063844 | 3.2767e-05
50 | 6.3625e-06 | 0.030033 | 0.00015069 | 0.039462 | 3.1 | [11 empty] | 7.3667 | 10.7324 | 9.6905 | 0.0060417 | 0.00061407 | 0.0065114 | 3.3296e-05
51 | 7.0929e-06 | 0.030643 | 0.00014942 | 0.041547 | 3.9 | [11 empty] | 7.3555 | 10.7054 | 9.7058 | 0.0061525 | 0.00057688 | 0.0066436 | 3.1583e-05
52 | 7.093e-06 | 0.031278 | 0.00015251 | 0.042409 | 3.9 | [11 empty] | 7.345 | 10.712 | 9.712 | 0.0062686 | 0.00058598 | 0.0067813 | 3.2117e-05
53 | 7.0932e-06 | 0.03194 | 0.00015574 | 0.043307 | 3.9 | [11 empty] | 7.3346 | 10.7186 | 9.7182 | 0.0063896 | 0.00059532 | 0.0069249 | 3.2673e-05
54 | 7.0933e-06 | 0.032631 | 0.0001591 | 0.044244 | 3.9 | [11 empty] | 7.3241 | 10.7253 | 9.7244 | 0.0065155 | 0.00060491 | 0.0070748 | 3.3252e-05
55 | 7.0935e-06 | 0.033353 | 0.00016262 | 0.045223 | 3.9 | [11 empty] | 7.3136 | 10.7321 | 9.7307 | 0.0066469 | 0.00061477 | 0.0072313 | 3.3855e-05
56 | 7.0936e-06 | 0.034107 | 0.0001663 | 0.046246 | 3.9 | [11 empty] | 7.3032 | 10.7389 | 9.7371 | 0.006784 | 0.0006249 | 0.0073948 | 3.4483e-05
57 | 7.0938e-06 | 0.034896 | 0.00017014 | 0.047317 | 3.9 | [11 empty] | 7.2927 | 10.7458 | 9.7435 | 0.0069272 | 0.00063532 | 0.007566 | 3.514e-05
58 | 7.094e-06 | 0.035723 | 0.00017417 | 0.048438 | 3.9 | [11 empty] | 7.2822 | 10.7528 | 9.75 | 0.007077 | 0.00064605 | 0.0077453 | 3.5826e-05
59 | 7.0942e-06 | 0.03659 | 0.00017839 | 0.049614 | 3.9 | [11 empty] | 7.2716 | 10.7598 | 9.7566 | 0.0072338 | 0.00065708 | 0.0079333 | 3.6544e-05
60 | 7.0944e-06 | 0.0375 | 0.00018283 | 0.050849 | 3.9 | [11 empty] | 7.2611 | 10.7669 | 9.7632 | 0.0073983 | 0.00066845 | 0.0081308 | 3.7296e-05
61 | 7.0946e-06 | 0.038457 | 0.00018749 | 0.052147 | 3.9 | [11 empty] | 7.2505 | 10.7741 | 9.7699 | 0.0075708 | 0.00068014 | 0.0083383 | 3.8084e-05
62 | 7.0948e-06 | 0.039464 | 0.0001924 | 0.053513 | 3.9 | [11 empty] | 7.2399 | 10.7814 | 9.7767 | 0.0077522 | 0.00069221 | 0.0085567 | 3.8911e-05
63 | 7.095e-06 | 0.040526 | 0.00019757 | 0.054953 | 3.9 | [11 empty] | 7.2292 | 10.7887 | 9.7835 | 0.007943 | 0.00070464 | 0.0087869 | 3.9781e-05
64 | 7.0953e-06 | 0.041646 | 0.00020302 | 0.056472 | 3.9 | [11 empty] | 7.2185 | 10.7961 | 9.7904 | 0.008144 | 0.00071745 | 0.0090299 | 4.0696e-05
65 | 7.0955e-06 | 0.04283 | 0.00020879 | 0.058079 | 3.9 | [11 empty] | 7.2078 | 10.8036 | 9.7974 | 0.0083562 | 0.00073066 | 0.0092867 | 4.166e-05
66 | 7.0958e-06 | 0.044084 | 0.00021489 | 0.059779 | 3.9 | [11 empty] | 7.197 | 10.8111 | 9.8045 | 0.0085805 | 0.00074429 | 0.0095587 | 4.2679e-05
67 | 7.0961e-06 | 0.045413 | 0.00022137 | 0.061583 | 3.9 | [11 empty] | 7.1861 | 10.8187 | 9.8117 | 0.008818 | 0.00075834 | 0.009847 | 4.3755e-05
68 | 7.0964e-06 | 0.046825 | 0.00022825 | 0.063499 | 3.9 | [11 empty] | 7.1752 | 10.8264 | 9.819 | 0.0090698 | 0.00077284 | 0.010153 | 4.4895e-05
69 | 7.0967e-06 | 0.048328 | 0.00023557 | 0.065538 | 3.9 | [11 empty] | 7.1642 | 10.8341 | 9.8264 | 0.0093375 | 0.00078777 | 0.010479 | 4.6104e-05
70 | 7.097e-06 | 0.049932 | 0.00024337 | 0.067713 | 3.9 | [11 empty] | 7.1532 | 10.8419 | 9.8339 | 0.0096225 | 0.00080316 | 0.010827 | 4.7389e-05
71 | 7.0974e-06 | 0.051645 | 0.00025171 | 0.070037 | 3.9 | [11 empty] | 7.142 | 10.8497 | 9.8416 | 0.0099266 | 0.00081899 | 0.011199 | 4.8758e-05
72 | 7.0978e-06 | 0.05348 | 0.00026065 | 0.072528 | 3.9 | [11 empty] | 7.1308 | 10.8575 | 9.8493 | 0.010252 | 0.00083526 | 0.011597 | 5.0219e-05
73 | 7.0982e-06 | 0.055452 | 0.00027024 | 0.075202 | 3.9 | [11 empty] | 7.1195 | 10.8652 | 9.8572 | 0.010601 | 0.00085193 | 0.012025 | 5.1782e-05
74 | 7.0987e-06 | 0.057574 | 0.00028058 | 0.078082 | 3.9 | [11 empty] | 7.1081 | 10.8729 | 9.8652 | 0.010976 | 0.00086894 | 0.012485 | 5.3459e-05
75 | 7.8595e-06 | 0.059866 | 0.00025691 | 0.083901 | 6.5 | [11 empty] | 7.0966 | 10.848 | 9.8798 | 0.01138 | 0.00082189 | 0.012983 | 5.1867e-05
76 | 7.8599e-06 | 0.062349 | 0.00026756 | 0.087383 | 6.5 | [11 empty] | 7.0857 | 10.8551 | 9.8881 | 0.01182 | 0.00083755 | 0.013521 | 5.3699e-05
77 | 7.8602e-06 | 0.065049 | 0.00027913 | 0.091168 | 6.5 | [11 empty] | 7.0746 | 10.8618 | 9.8966 | 0.012297 | 0.00085305 | 0.014107 | 5.5681e-05
78 | 7.8606e-06 | 0.067993 | 0.00029176 | 0.095295 | 6.5 | [11 empty] | 7.0635 | 10.868 | 9.9053 | 0.012817 | 0.00086806 | 0.014746 | 5.7834e-05
79 | 7.861e-06 | 0.071216 | 0.00030558 | 0.099816 | 6.5 | [11 empty] | 7.0522 | 10.8734 | 9.9143 | 0.013386 | 0.00088221 | 0.015445 | 6.0181e-05
80 | 7.8614e-06 | 0.074762 | 0.00032078 | 0.10479 | 6.5 | [11 empty] | 7.0408 | 10.8777 | 9.9235 | 0.014012 | 0.00089496 | 0.016214 | 6.275e-05
81 | 7.8619e-06 | 0.07868 | 0.00033758 | 0.11028 | 6.5 | [11 empty] | 7.0292 | 10.8806 | 9.933 | 0.014702 | 0.0009057 | 0.017064 | 6.5574e-05
82 | 7.8625e-06 | 0.083032 | 0.00035624 | 0.11638 | 6.5 | [11 empty] | 7.0176 | 10.8819 | 9.943 | 0.015468 | 0.00091383 | 0.018009 | 6.8696e-05
83 | 7.8631e-06 | 0.087896 | 0.00037708 | 0.1232 | 6.5 | [11 empty] | 7.0058 | 10.8812 | 9.9532 | 0.016325 | 0.00091904 | 0.019064 | 7.2167e-05
84 | 7.8638e-06 | 0.093365 | 0.00040053 | 0.13087 | 6.5 | [11 empty] | 6.9939 | 10.8787 | 9.9639 | 0.017287 | 0.00092178 | 0.020251 | 7.605e-05
85 | 7.8645e-06 | 0.099563 | 0.00042709 | 0.13957 | 6.5 | [11 empty] | 6.9819 | 10.8753 | 9.9749 | 0.018378 | 0.00092374 | 0.021596 | 8.0429e-05
86 | 7.8654e-06 | 0.10664 | 0.00045743 | 0.1495 | 6.5 | [11 empty] | 6.9698 | 10.8726 | 9.9862 | 0.019625 | 0.00092802 | 0.023133 | 8.5406e-05
87 | 9.2155e-06 | 0.11481 | 0.00046757 | 0.17058 | 7.53 | [11 empty] | 6.9574 | 10.8203 | 10.0064 | 0.021064 | 0.00083352 | 0.024906 | 8.2997e-05
88 | 9.2157e-06 | 0.11583 | 0.00047172 | 0.17209 | 7.53 | [11 empty] | 6.9473 | 10.8157 | 10.0042 | 0.022749 | 0.0008375 | 0.026974 | 8.9406e-05
89 | 9.2158e-06 | 0.11687 | 0.00047595 | 0.17364 | 7.53 | [11 empty] | 6.9369 | 10.8098 | 10.0013 | 0.024741 | 0.00084172 | 0.029418 | 9.6957e-05
90 | 9.2159e-06 | 0.11793 | 0.00048025 | 0.17521 | 7.53 | [11 empty] | 6.9263 | 10.8025 | 9.9976 | 0.027131 | 0.00084631 | 0.032351 | 0.00010599
91 | 9.216e-06 | 0.11901 | 0.00048464 | 0.17681 | 7.53 | [11 empty] | 6.9154 | 10.7932 | 9.9928 | 0.030052 | 0.00085151 | 0.035933 | 0.00011698
92 | 9.2162e-06 | 0.12011 | 0.0004891 | 0.17845 | 7.53 | [11 empty] | 6.9039 | 10.7813 | 9.9866 | 0.033702 | 0.0008577 | 0.04041 | 0.00013066
93 | 9.2163e-06 | 0.12122 | 0.00049365 | 0.18011 | 7.53 | [11 empty] | 6.8918 | 10.7657 | 9.9788 | 0.038394 | 0.00086558 | 0.046165 | 0.00014814
94 | 9.2897e-06 | 0.12236 | 0.00049593 | 0.18238 | 7.59 | [11 empty] | 6.8788 | 10.7425 | 9.9694 | 0.044649 | 0.0008718 | 0.053834 | 0.00017056
95 | 9.2898e-06 | 0.12352 | 0.00050063 | 0.18411 | 7.59 | [11 empty] | 6.8644 | 10.7134 | 9.9566 | 0.053404 | 0.00088807 | 0.064567 | 0.00020257
96 | 9.29e-06 | 0.12471 | 0.00050542 | 0.18587 | 7.59 | [11 empty] | 6.848 | 10.6704 | 9.9401 | 0.066533 | 0.00091505 | 0.080658 | 0.00025007
97 | 9.2901e-06 | 0.12591 | 0.0005103 | 0.18767 | 7.59 | [11 empty] | 6.8279 | 10.601 | 9.9185 | 0.088406 | 0.00096583 | 0.10746 | 0.00032801
98 | 9.2903e-06 | 0.12714 | 0.00051528 | 0.1895 | 7.59 | [11 empty] | 0 | 0 | 0 | 0.13213 | 0 | 0.16103 | 0