## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Salinity | Mass transfer | Pressure drop Corr | CP modulus Corr | CP Factor | Reynolds number | Cross-flow Velocity
0 | 5.4601e-06 | 0.015283 | 7.1475e-05 | 0.016238 | 4.9 | 13.5433 | 12.0343 | 13.0666 | 12.8168 | 9.1293 | 0.38536 | 0.009723 | 0.012756 | 0.016399 | 0.014797 | 0.43903 | 1.0107 | 0.45415 | 8.9641e-05 | 0.0013985 | 1.0554 | 1.0625 | 270.7054 | 0.17
1 | 4.4628e-06 | 0.015436 | 0.00027749 | 0.051578 | 4.8999 | [12 empty] | 0.45873 | 3.6607e-06 | 0.005021 | 15.7879 | 3.3749 | 1.6291 | 0.1683
2 | 4.4414e-06 | 0.015591 | 0.00028298 | 0.052347 | 4.8999 | [12 empty] | 0.46342 | 3.6283e-06 | 0.0050338 | 15.8515 | 3.4252 | 1.6126 | 0.1666
3 | 4.4196e-06 | 0.015749 | 0.00028863 | 0.053132 | 4.8998 | [12 empty] | 0.46819 | 3.5959e-06 | 0.0050467 | 15.916 | 3.4766 | 1.5961 | 0.1649
4 | 4.3973e-06 | 0.01591 | 0.00029446 | 0.053933 | 4.8998 | [12 empty] | 0.47307 | 3.5635e-06 | 0.0050599 | 15.9814 | 3.529 | 1.5797 | 0.1632
5 | 4.3746e-06 | 0.016074 | 0.00030047 | 0.05475 | 4.8997 | [12 empty] | 0.47805 | 3.5309e-06 | 0.0050731 | 16.0479 | 3.5825 | 1.5632 | 0.1615
6 | 4.3514e-06 | 0.016242 | 0.00030666 | 0.055585 | 4.8997 | [12 empty] | 0.48314 | 3.4984e-06 | 0.0050866 | 16.1153 | 3.6371 | 1.5468 | 0.1598
7 | 4.3277e-06 | 0.016414 | 0.00031305 | 0.056436 | 4.8996 | [12 empty] | 0.48833 | 3.4658e-06 | 0.0051003 | 16.1837 | 3.6928 | 1.5303 | 0.1581
8 | 4.3036e-06 | 0.016589 | 0.00031965 | 0.057305 | 4.8996 | [12 empty] | 0.49364 | 3.4332e-06 | 0.0051141 | 16.2533 | 3.7497 | 1.5138 | 0.1564
9 | 4.279e-06 | 0.016767 | 0.00032645 | 0.058192 | 4.8995 | [12 empty] | 0.49906 | 3.4005e-06 | 0.0051281 | 16.3239 | 3.8077 | 1.4974 | 0.1547
10 | 4.2539e-06 | 0.01695 | 0.00033347 | 0.059098 | 4.8995 | [12 empty] | 0.50461 | 3.3677e-06 | 0.0051423 | 16.3956 | 3.8669 | 1.4809 | 0.153
11 | 4.2283e-06 | 0.017137 | 0.00034073 | 0.060022 | 4.8994 | [12 empty] | 0.51028 | 3.335e-06 | 0.0051568 | 16.4684 | 3.9274 | 1.4644 | 0.1513
12 | 4.2022e-06 | 0.017328 | 0.00034822 | 0.060964 | 4.8994 | [12 empty] | 0.51608 | 3.3021e-06 | 0.0051714 | 16.5425 | 3.9891 | 1.448 | 0.1496
13 | 4.1756e-06 | 0.017523 | 0.00035596 | 0.061927 | 4.8993 | [12 empty] | 0.52201 | 3.2693e-06 | 0.0051862 | 16.6177 | 4.0521 | 1.4315 | 0.1479
14 | 4.1484e-06 | 0.017722 | 0.00036396 | 0.062909 | 4.8993 | [12 empty] | 0.52808 | 3.2364e-06 | 0.0052013 | 16.6942 | 4.1163 | 1.415 | 0.1462
15 | 4.1207e-06 | 0.017927 | 0.00037223 | 0.063911 | 4.8992 | [12 empty] | 0.53429 | 3.2034e-06 | 0.0052165 | 16.7719 | 4.1819 | 1.3986 | 0.1445
16 | 4.0924e-06 | 0.018136 | 0.00038078 | 0.064934 | 4.8991 | [12 empty] | 0.54065 | 3.1704e-06 | 0.005232 | 16.851 | 4.2488 | 1.3821 | 0.1428
17 | 4.0636e-06 | 0.018349 | 0.00038962 | 0.065977 | 4.8991 | [12 empty] | 0.54717 | 3.1373e-06 | 0.0052478 | 16.9314 | 4.3171 | 1.3657 | 0.1411
18 | 4.0342e-06 | 0.018568 | 0.00039878 | 0.067042 | 4.899 | [12 empty] | 0.55384 | 3.1042e-06 | 0.0052637 | 17.0133 | 4.3868 | 1.3492 | 0.1394
19 | 4.0043e-06 | 0.018793 | 0.00040826 | 0.068129 | 4.899 | [12 empty] | 0.56068 | 3.0711e-06 | 0.0052799 | 17.0965 | 4.4579 | 1.3327 | 0.1377
20 | 3.9737e-06 | 0.019023 | 0.00041807 | 0.069237 | 4.8989 | [12 empty] | 0.56768 | 3.0378e-06 | 0.0052964 | 17.1812 | 4.5304 | 1.3163 | 0.136
21 | 3.9426e-06 | 0.019258 | 0.00042823 | 0.070368 | 4.8989 | [12 empty] | 0.57487 | 3.0046e-06 | 0.0053131 | 17.2675 | 4.6044 | 1.2998 | 0.1343
22 | 3.9108e-06 | 0.019499 | 0.00043877 | 0.071522 | 4.8988 | [12 empty] | 0.58224 | 2.9713e-06 | 0.0053301 | 17.3553 | 4.6799 | 1.2833 | 0.1326
23 | 3.8785e-06 | 0.019747 | 0.00044969 | 0.072699 | 4.8987 | [12 empty] | 0.5898 | 2.9379e-06 | 0.0053474 | 17.4447 | 4.7569 | 1.2669 | 0.1309
24 | 3.8455e-06 | 0.020001 | 0.00046101 | 0.073899 | 4.8987 | [12 empty] | 0.59756 | 2.9045e-06 | 0.005365 | 17.5358 | 4.8355 | 1.2504 | 0.1292
25 | 3.8118e-06 | 0.020261 | 0.00047276 | 0.075124 | 4.8986 | [12 empty] | 0.60553 | 2.871e-06 | 0.0053828 | 17.6287 | 4.9156 | 1.234 | 0.1275
26 | 3.7776e-06 | 0.020529 | 0.00048495 | 0.076373 | 4.8986 | [12 empty] | 0.61371 | 2.8374e-06 | 0.0054009 | 17.7233 | 4.9973 | 1.2175 | 0.1258
27 | 3.7427e-06 | 0.020803 | 0.00049761 | 0.077646 | 4.8985 | [12 empty] | 0.62212 | 2.8039e-06 | 0.0054194 | 17.8197 | 5.0806 | 1.201 | 0.1241
28 | 3.7071e-06 | 0.021085 | 0.00051075 | 0.078945 | 4.8984 | [12 empty] | 0.63076 | 2.7702e-06 | 0.0054382 | 17.9181 | 5.1656 | 1.1846 | 0.1224
29 | 3.6708e-06 | 0.021375 | 0.00052442 | 0.080269 | 4.8984 | [12 empty] | 0.63964 | 2.7365e-06 | 0.0054573 | 18.0184 | 5.2523 | 1.1681 | 0.1207
30 | 3.6339e-06 | 0.021673 | 0.00053862 | 0.08162 | 4.8983 | [12 empty] | 0.64878 | 2.7027e-06 | 0.0054767 | 18.1207 | 5.3406 | 1.1516 | 0.119
31 | 3.5963e-06 | 0.021979 | 0.00055339 | 0.082996 | 4.8983 | [12 empty] | 0.65818 | 2.6689e-06 | 0.0054965 | 18.2252 | 5.4307 | 1.1352 | 0.1173
32 | 3.558e-06 | 0.022295 | 0.00056876 | 0.084399 | 4.8982 | [12 empty] | 0.66786 | 2.635e-06 | 0.0055167 | 18.3318 | 5.5225 | 1.1187 | 0.1156
33 | 3.519e-06 | 0.022619 | 0.00058476 | 0.085829 | 4.8981 | [12 empty] | 0.67783 | 2.6011e-06 | 0.0055372 | 18.4407 | 5.616 | 1.1022 | 0.1139
34 | 3.4793e-06 | 0.022953 | 0.00060142 | 0.087286 | 4.8981 | [12 empty] | 0.6881 | 2.567e-06 | 0.0055581 | 18.5519 | 5.7114 | 1.0858 | 0.1122
35 | 3.4389e-06 | 0.023297 | 0.00061879 | 0.088771 | 4.898 | [12 empty] | 0.69869 | 2.533e-06 | 0.0055795 | 18.6656 | 5.8085 | 1.0693 | 0.1105
36 | 3.3978e-06 | 0.023651 | 0.0006369 | 0.090283 | 4.8979 | [12 empty] | 0.7096 | 2.4988e-06 | 0.0056012 | 18.7817 | 5.9075 | 1.0529 | 0.1088
37 | 3.356e-06 | 0.024016 | 0.00065579 | 0.091825 | 4.8979 | [12 empty] | 0.72087 | 2.4646e-06 | 0.0056234 | 18.9005 | 6.0084 | 1.0364 | 0.1071
38 | 3.3134e-06 | 0.024393 | 0.00067551 | 0.093394 | 4.8978 | [12 empty] | 0.7325 | 2.4303e-06 | 0.005646 | 19.022 | 6.1111 | 1.0199 | 0.1054
39 | 3.2701e-06 | 0.024782 | 0.0006961 | 0.094993 | 4.8977 | [12 empty] | 0.7445 | 2.396e-06 | 0.0056691 | 19.1463 | 6.2157 | 1.0035 | 0.1037
40 | 3.2261e-06 | 0.025183 | 0.00071763 | 0.096621 | 4.8977 | [12 empty] | 0.75691 | 2.3616e-06 | 0.0056926 | 19.2736 | 6.3222 | 0.987 | 0.102
41 | 3.1813e-06 | 0.025598 | 0.00074014 | 0.098279 | 4.8976 | [12 empty] | 0.76974 | 2.3271e-06 | 0.0057167 | 19.4039 | 6.4307 | 0.97054 | 0.1003
42 | 3.1357e-06 | 0.026026 | 0.00076369 | 0.099966 | 4.8975 | [12 empty] | 0.78301 | 2.2925e-06 | 0.0057413 | 19.5374 | 6.5411 | 0.95407 | 0.0986
43 | 3.0895e-06 | 0.02647 | 0.00078836 | 0.10168 | 4.8975 | [12 empty] | 0.79675 | 2.2579e-06 | 0.0057664 | 19.6743 | 6.6535 | 0.93761 | 0.0969
44 | 3.0424e-06 | 0.026928 | 0.00081421 | 0.10343 | 4.8974 | [12 empty] | 0.81098 | 2.2231e-06 | 0.005792 | 19.8145 | 6.7678 | 0.92115 | 0.0952
45 | 2.9947e-06 | 0.027403 | 0.00084132 | 0.10521 | 4.8973 | [12 empty] | 0.82572 | 2.1883e-06 | 0.0058183 | 19.9585 | 6.8842 | 0.90468 | 0.0935
46 | 2.9461e-06 | 0.027895 | 0.00086977 | 0.10702 | 4.8973 | [12 empty] | 0.84101 | 2.1535e-06 | 0.0058452 | 20.1061 | 7.0026 | 0.88822 | 0.0918
47 | 2.8969e-06 | 0.028405 | 0.00089966 | 0.10886 | 4.8972 | [12 empty] | 0.85688 | 2.1185e-06 | 0.0058726 | 20.2578 | 7.1231 | 0.87176 | 0.0901
48 | 2.8468e-06 | 0.028934 | 0.00093108 | 0.11073 | 4.8971 | [12 empty] | 0.87336 | 2.0835e-06 | 0.0059008 | 20.4135 | 7.2456 | 0.85529 | 0.0884
49 | 2.796e-06 | 0.029483 | 0.00096414 | 0.11264 | 4.897 | [12 empty] | 0.89048 | 2.0484e-06 | 0.0059296 | 20.5736 | 7.3701 | 0.83883 | 0.0867
50 | 2.7427e-06 | 0.030053 | 0.00099873 | 0.11447 | 4.8932 | [12 empty] | 0.90829 | 2.0132e-06 | 0.013408 | 20.7383 | 7.4902 | 0.82237 | 0.085
51 | 4.2079e-06 | 0.030646 | 0.00056117 | 0.093785 | 5.5974 | [12 empty] | 0.92683 | 3.7206e-06 | 0.0050888 | 15.6782 | 6.1367 | 1.6592 | 0.1715
52 | 4.1463e-06 | 0.031273 | 0.00058314 | 0.096038 | 5.5973 | [12 empty] | 0.94614 | 3.654e-06 | 0.0051152 | 15.8068 | 6.2841 | 1.6253 | 0.168
53 | 4.083e-06 | 0.031926 | 0.00060643 | 0.098357 | 5.5972 | [12 empty] | 0.96627 | 3.5873e-06 | 0.0051423 | 15.9393 | 6.4358 | 1.5914 | 0.1645
54 | 4.0179e-06 | 0.032607 | 0.00063114 | 0.10074 | 5.5972 | [12 empty] | 0.98728 | 3.5204e-06 | 0.0051702 | 16.0758 | 6.592 | 1.5575 | 0.161
55 | 3.951e-06 | 0.033317 | 0.0006574 | 0.1032 | 5.5971 | [12 empty] | 1.0092 | 3.4533e-06 | 0.0051988 | 16.2166 | 6.7527 | 1.5236 | 0.1575
56 | 3.8823e-06 | 0.03406 | 0.00068534 | 0.10573 | 5.597 | [12 empty] | 1.0322 | 3.386e-06 | 0.0052282 | 16.362 | 6.918 | 1.4897 | 0.154
57 | 3.8117e-06 | 0.034836 | 0.00071511 | 0.10833 | 5.5969 | [12 empty] | 1.0562 | 3.3185e-06 | 0.0052585 | 16.5122 | 7.0881 | 1.4558 | 0.1505
58 | 3.7393e-06 | 0.035648 | 0.00074685 | 0.111 | 5.5969 | [12 empty] | 1.0813 | 3.2508e-06 | 0.0052897 | 16.6674 | 7.263 | 1.4219 | 0.147
59 | 3.6649e-06 | 0.036499 | 0.00078076 | 0.11375 | 5.5968 | [12 empty] | 1.1077 | 3.183e-06 | 0.0053218 | 16.828 | 7.4428 | 1.388 | 0.1435
60 | 3.5887e-06 | 0.037392 | 0.00081704 | 0.11657 | 5.5967 | [12 empty] | 1.1354 | 3.1149e-06 | 0.005355 | 16.9943 | 7.6276 | 1.3542 | 0.14
61 | 3.5105e-06 | 0.03833 | 0.0008559 | 0.11947 | 5.5966 | [12 empty] | 1.1645 | 3.0466e-06 | 0.0053891 | 17.1666 | 7.8175 | 1.3203 | 0.1365
62 | 3.4303e-06 | 0.039316 | 0.00089761 | 0.12246 | 5.5966 | [12 empty] | 1.1951 | 2.9781e-06 | 0.0054244 | 17.3453 | 8.0126 | 1.2864 | 0.133
63 | 3.3481e-06 | 0.040355 | 0.00094245 | 0.12552 | 5.5965 | [12 empty] | 1.2274 | 2.9093e-06 | 0.0054609 | 17.5309 | 8.2129 | 1.2525 | 0.1295
64 | 3.264e-06 | 0.041449 | 0.00099076 | 0.12866 | 5.5964 | [12 empty] | 1.2615 | 2.8404e-06 | 0.0054987 | 17.7237 | 8.4186 | 1.2186 | 0.126
65 | 3.1779e-06 | 0.042605 | 0.0010429 | 0.13188 | 5.5963 | [12 empty] | 1.2976 | 2.7711e-06 | 0.0055378 | 17.9244 | 8.6296 | 1.1847 | 0.1225
66 | 3.0899e-06 | 0.043828 | 0.0010993 | 0.13519 | 5.5962 | [12 empty] | 1.3357 | 2.7017e-06 | 0.0055783 | 18.1334 | 8.8461 | 1.1508 | 0.119
67 | 2.9998e-06 | 0.045123 | 0.0011604 | 0.13859 | 5.5962 | [12 empty] | 1.3762 | 2.632e-06 | 0.0056204 | 18.3514 | 9.0681 | 1.1169 | 0.1155
68 | 2.9078e-06 | 0.046496 | 0.0012269 | 0.14206 | 5.5961 | [12 empty] | 1.4192 | 2.562e-06 | 0.0056641 | 18.579 | 9.2957 | 1.083 | 0.112
69 | 2.8138e-06 | 0.047957 | 0.0012993 | 0.14563 | 5.596 | [12 empty] | 1.465 | 2.4917e-06 | 0.0057095 | 18.817 | 9.5289 | 1.0491 | 0.1085
70 | 2.7179e-06 | 0.049512 | 0.0013784 | 0.14928 | 5.5959 | [12 empty] | 1.5138 | 2.4212e-06 | 0.0057568 | 19.0662 | 9.7678 | 1.0152 | 0.105
71 | 2.6202e-06 | 0.051172 | 0.0014651 | 0.15302 | 5.5958 | [12 empty] | 1.566 | 2.3504e-06 | 0.0058062 | 19.3275 | 10.0124 | 0.9813 | 0.1015
72 | 2.5205e-06 | 0.052947 | 0.0015605 | 0.15684 | 5.5957 | [12 empty] | 1.622 | 2.2792e-06 | 0.0058577 | 19.6021 | 10.2628 | 0.94741 | 0.098
73 | 2.4191e-06 | 0.05485 | 0.0016658 | 0.16076 | 5.5956 | [12 empty] | 1.682 | 2.2077e-06 | 0.0059117 | 19.891 | 10.5189 | 0.91351 | 0.0945
74 | 2.3159e-06 | 0.056896 | 0.0017826 | 0.16476 | 5.5955 | [12 empty] | 1.7467 | 2.136e-06 | 0.0059682 | 20.1957 | 10.781 | 0.87961 | 0.091
75 | 4.8843e-06 | 0.0591 | 0.00092679 | 0.17775 | 6.7 | [12 empty] | 1.8166 | 4.3934e-06 | 0 | 14.5572 | 11.6309 | 2.0056 | 0.2075
76 | 4.6716e-06 | 0.061524 | 0.00099843 | 0.1832 | 6.7 | [12 empty] | 1.8923 | 4.2391e-06 | 0 | 14.7939 | 11.987 | 1.9252 | 0.1992
77 | 4.4538e-06 | 0.064156 | 0.001079 | 0.18879 | 6.7 | [12 empty] | 1.9746 | 4.0839e-06 | 0 | 15.0451 | 12.3532 | 1.8448 | 0.1909
78 | 4.2311e-06 | 0.067023 | 0.00117 | 0.19454 | 6.7 | [12 empty] | 2.0643 | 3.928e-06 | 0 | 15.3125 | 12.7294 | 1.7644 | 0.1826
79 | 4.0014e-06 | 0.070159 | 0.0012734 | 0.20031 | 6.6958 | [12 empty] | 2.1626 | 3.7711e-06 | 0.0052427 | 15.5978 | 13.1072 | 1.684 | 0.1743
80 | 3.7696e-06 | 0.073603 | 0.001392 | 0.20636 | 6.6957 | [12 empty] | 2.2707 | 3.6132e-06 | 0.0053077 | 15.9033 | 13.503 | 1.6037 | 0.166
81 | 3.5337e-06 | 0.077404 | 0.0015289 | 0.21257 | 6.6956 | [12 empty] | 2.3902 | 3.4544e-06 | 0.005377 | 16.2314 | 13.9088 | 1.5233 | 0.1577
82 | 3.2939e-06 | 0.081619 | 0.0016883 | 0.21892 | 6.6954 | [12 empty] | 2.523 | 3.2946e-06 | 0.005451 | 16.5852 | 14.3246 | 1.4429 | 0.1494
83 | 3.0507e-06 | 0.086321 | 0.001876 | 0.22543 | 6.6953 | [12 empty] | 2.6715 | 3.1336e-06 | 0.0055304 | 16.9683 | 14.7504 | 1.3625 | 0.1411
84 | 2.8044e-06 | 0.091599 | 0.0020995 | 0.23209 | 6.6952 | [12 empty] | 2.8384 | 2.9714e-06 | 0.005616 | 17.3851 | 15.1862 | 1.2821 | 0.1328
85 | 2.5557e-06 | 0.097565 | 0.0023694 | 0.2389 | 6.695 | [12 empty] | 3.0276 | 2.8079e-06 | 0.0057086 | 17.841 | 15.6323 | 1.2017 | 0.1245
86 | 2.3052e-06 | 0.10436 | 0.0027007 | 0.24588 | 6.6949 | [12 empty] | 3.2439 | 2.6431e-06 | 0.0058094 | 18.3426 | 16.089 | 1.1214 | 0.1162
87 | 5.1944e-06 | 0.11219 | 0.0014365 | 0.30736 | 9.35 | [12 empty] | 3.4934 | 5.1122e-06 | 0 | 13.6193 | 20.1115 | 2.3829 | 0.247
88 | 4.6595e-06 | 0.12141 | 0.0016663 | 0.32001 | 9.35 | [12 empty] | 3.7846 | 4.7656e-06 | 0 | 14.057 | 20.9391 | 2.1989 | 0.228
89 | 4.1159e-06 | 0.1323 | 0.0019618 | 0.33303 | 9.35 | [12 empty] | 4.1286 | 4.4154e-06 | 0 | 14.5506 | 21.791 | 2.0149 | 0.209
90 | 3.5661e-06 | 0.14533 | 0.0023532 | 0.34641 | 9.35 | [12 empty] | 4.5415 | 4.0611e-06 | 0 | 15.1132 | 22.6669 | 1.8309 | 0.19
91 | 3.0113e-06 | 0.16122 | 0.0028923 | 0.36 | 9.3453 | [12 empty] | 5.0461 | 3.7023e-06 | 0.0050875 | 15.7633 | 23.5558 | 1.6469 | 0.171
92 | 2.4596e-06 | 0.18101 | 0.0036737 | 0.37415 | 9.3451 | [12 empty] | 5.6768 | 3.3385e-06 | 0.0052435 | 16.5267 | 24.482 | 1.4628 | 0.152
93 | 1.9147e-06 | 0.20635 | 0.0048907 | 0.38883 | 9.3449 | [12 empty] | 6.4878 | 2.969e-06 | 0.0054267 | 17.4419 | 25.4423 | 1.2788 | 0.133
94 | 4.286e-06 | 0.23992 | 0.0029982 | 0.52988 | 13.6 | [12 empty] | 7.5691 | 5.3627e-06 | 0 | 13.3741 | 34.6714 | 2.5122 | 0.2616
95 | 3.0863e-06 | 0.28731 | 0.0043941 | 0.56041 | 13.6 | [12 empty] | 9.0829 | 4.5678e-06 | 0 | 14.3872 | 36.6694 | 2.0898 | 0.218
96 | 1.9197e-06 | 0.35804 | 0.0074298 | 0.59224 | 13.5948 | [12 empty] | 11.3537 | 3.7523e-06 | 0.0053054 | 15.7486 | 38.7518 | 1.6674 | 0.1744
97 | 8.5163e-07 | 0.4749 | 0.017551 | 0.63038 | 13.5943 | [12 empty] | 15.1382 | 2.9103e-06 | 0.0057268 | 17.7287 | 41.2475 | 1.2449 | 0.1308
98 | 0 | 0.70358 | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0