## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Mass transfer | Pressure drop Corr | CP modulus Corr | Cross-flow Velocity | Momentary Permeate HQ | Hq_b | Accumulated HQ, Mg/l | Bq_p | Bq_b | Bq_Accum_Mgl
0 | 5.4717e-06 | 0.0149 | 6.9547e-05 | 0.015833 | 4.9 | 19.0492 | 19.4394 | 20.3487 | 18.9462 | 18.629 | 0.29386 | 0.0073617 | 0.00077954 | 0.0047538 | 0.0093035 | 0.31606 | 1.0173 | 8.9639e-05 | 0.0013985 | 1.0554 | 0.17 | 9.3901e-06 | 0.0001 | 1.034 | 3.4563e-06 | 0.0001 | 0.3736
1 | 5.4671e-06 | 0.01505 | 7.034e-05 | 0.016 | 4.9 | [12 empty] | 8.8854e-05 | 0.001402 | 1.0556 | 0.1683 | 9.4847e-06 | 0.00010101 | 1.0392 | 3.4911e-06 | 0.00010101 | 0.37549
2 | 5.4623e-06 | 0.015203 | 7.115e-05 | 0.016171 | 4.9 | [12 empty] | 8.8068e-05 | 0.0014056 | 1.0559 | 0.1666 | 9.5813e-06 | 0.00010204 | 1.0445 | 3.5266e-06 | 0.00010204 | 0.37739
3 | 5.4575e-06 | 0.015359 | 7.198e-05 | 0.016345 | 4.9 | [12 empty] | 8.7281e-05 | 0.0014092 | 1.0561 | 0.1649 | 9.6798e-06 | 0.00010309 | 1.0499 | 3.5629e-06 | 0.00010309 | 0.37933
4 | 5.4526e-06 | 0.015518 | 7.2829e-05 | 0.016523 | 4.8999 | [12 empty] | 8.6493e-05 | 0.0014128 | 1.0564 | 0.1632 | 9.7804e-06 | 0.00010417 | 1.0553 | 3.5999e-06 | 0.00010417 | 0.38129
5 | 5.4475e-06 | 0.01568 | 7.3698e-05 | 0.016705 | 4.8999 | [12 empty] | 8.5704e-05 | 0.0014166 | 1.0566 | 0.1615 | 9.8831e-06 | 0.00010526 | 1.0608 | 3.6377e-06 | 0.00010526 | 0.38328
6 | 5.4424e-06 | 0.015846 | 7.4588e-05 | 0.01689 | 4.8999 | [12 empty] | 8.4914e-05 | 0.0014203 | 1.0569 | 0.1598 | 9.988e-06 | 0.00010638 | 1.0664 | 3.6763e-06 | 0.00010638 | 0.38529
7 | 5.4371e-06 | 0.016016 | 7.5499e-05 | 0.01708 | 4.8999 | [12 empty] | 8.4123e-05 | 0.0014241 | 1.0571 | 0.1581 | 1.0095e-05 | 0.00010753 | 1.0721 | 3.7157e-06 | 0.00010753 | 0.38734
8 | 5.4318e-06 | 0.016189 | 7.6433e-05 | 0.017275 | 4.8999 | [12 empty] | 8.333e-05 | 0.001428 | 1.0574 | 0.1564 | 1.0205e-05 | 0.0001087 | 1.0778 | 3.756e-06 | 0.0001087 | 0.38941
9 | 5.4263e-06 | 0.016366 | 7.739e-05 | 0.017473 | 4.8999 | [12 empty] | 8.2537e-05 | 0.0014319 | 1.0577 | 0.1547 | 1.0316e-05 | 0.00010989 | 1.0836 | 3.7972e-06 | 0.00010989 | 0.39152
10 | 5.4206e-06 | 0.016547 | 7.8371e-05 | 0.017677 | 4.8999 | [12 empty] | 8.1742e-05 | 0.0014359 | 1.0579 | 0.153 | 1.0431e-05 | 0.00011111 | 1.0895 | 3.8393e-06 | 0.00011111 | 0.39365
11 | 5.4149e-06 | 0.016732 | 7.9377e-05 | 0.017885 | 4.8998 | [12 empty] | 8.0947e-05 | 0.0014399 | 1.0582 | 0.1513 | 1.0548e-05 | 0.00011236 | 1.0955 | 3.8823e-06 | 0.00011236 | 0.39582
12 | 5.409e-06 | 0.016922 | 8.0409e-05 | 0.018097 | 4.8998 | [12 empty] | 8.015e-05 | 0.001444 | 1.0585 | 0.1496 | 1.0667e-05 | 0.00011364 | 1.1016 | 3.9263e-06 | 0.00011364 | 0.39802
13 | 5.403e-06 | 0.017115 | 8.1468e-05 | 0.018315 | 4.8998 | [12 empty] | 7.9352e-05 | 0.0014481 | 1.0588 | 0.1479 | 1.0789e-05 | 0.00011494 | 1.1078 | 3.9713e-06 | 0.00011494 | 0.40025
14 | 5.3968e-06 | 0.017313 | 8.2555e-05 | 0.018539 | 4.8998 | [12 empty] | 7.8554e-05 | 0.0014523 | 1.0591 | 0.1462 | 1.0915e-05 | 0.00011628 | 1.1141 | 4.0173e-06 | 0.00011628 | 0.40252
15 | 5.3905e-06 | 0.017516 | 8.3671e-05 | 0.018767 | 4.8998 | [12 empty] | 7.7753e-05 | 0.0014566 | 1.0593 | 0.1445 | 1.1043e-05 | 0.00011765 | 1.1204 | 4.0644e-06 | 0.00011765 | 0.40482
16 | 5.384e-06 | 0.017724 | 8.4817e-05 | 0.019002 | 4.8998 | [12 empty] | 7.6952e-05 | 0.0014609 | 1.0596 | 0.1428 | 1.1174e-05 | 0.00011905 | 1.1269 | 4.1127e-06 | 0.00011905 | 0.40715
17 | 5.3774e-06 | 0.017936 | 8.5995e-05 | 0.019242 | 4.8997 | [12 empty] | 7.615e-05 | 0.0014653 | 1.0599 | 0.1411 | 1.1308e-05 | 0.00012048 | 1.1335 | 4.1621e-06 | 0.00012048 | 0.40953
18 | 5.3706e-06 | 0.018154 | 8.7206e-05 | 0.019489 | 4.8997 | [12 empty] | 7.5346e-05 | 0.0014698 | 1.0603 | 0.1394 | 1.1445e-05 | 0.00012195 | 1.1402 | 4.2127e-06 | 0.00012195 | 0.41194
19 | 5.3636e-06 | 0.018377 | 8.8451e-05 | 0.019741 | 4.8997 | [12 empty] | 7.4541e-05 | 0.0014743 | 1.0606 | 0.1377 | 1.1586e-05 | 0.00012346 | 1.147 | 4.2645e-06 | 0.00012346 | 0.41439
20 | 5.3565e-06 | 0.018605 | 8.9732e-05 | 0.020001 | 4.8997 | [12 empty] | 7.3735e-05 | 0.0014789 | 1.0609 | 0.136 | 1.1731e-05 | 0.000125 | 1.1538 | 4.3177e-06 | 0.000125 | 0.41688
21 | 5.3492e-06 | 0.01884 | 9.105e-05 | 0.020267 | 4.8997 | [12 empty] | 7.2927e-05 | 0.0014836 | 1.0612 | 0.1343 | 1.1879e-05 | 0.00012658 | 1.1609 | 4.3722e-06 | 0.00012658 | 0.41942
22 | 5.3416e-06 | 0.01908 | 9.2407e-05 | 0.02054 | 4.8997 | [12 empty] | 7.2119e-05 | 0.0014883 | 1.0615 | 0.1326 | 1.2031e-05 | 0.00012821 | 1.168 | 4.428e-06 | 0.00012821 | 0.42199
23 | 5.3339e-06 | 0.019327 | 9.3804e-05 | 0.020821 | 4.8996 | [12 empty] | 7.1309e-05 | 0.0014931 | 1.0619 | 0.1309 | 1.2186e-05 | 0.00012987 | 1.1752 | 4.4854e-06 | 0.00012987 | 0.42461
24 | 5.326e-06 | 0.01958 | 9.5244e-05 | 0.021109 | 4.8996 | [12 empty] | 7.0497e-05 | 0.001498 | 1.0622 | 0.1292 | 1.2346e-05 | 0.00013158 | 1.1826 | 4.5442e-06 | 0.00013158 | 0.42727
25 | 5.3178e-06 | 0.01984 | 9.6729e-05 | 0.021405 | 4.8996 | [12 empty] | 6.9685e-05 | 0.001503 | 1.0626 | 0.1275 | 1.251e-05 | 0.00013333 | 1.1901 | 4.6046e-06 | 0.00013333 | 0.42998
26 | 5.3095e-06 | 0.020106 | 9.8259e-05 | 0.02171 | 4.8996 | [12 empty] | 6.8871e-05 | 0.0015081 | 1.0629 | 0.1258 | 1.2679e-05 | 0.00013514 | 1.1977 | 4.6666e-06 | 0.00013514 | 0.43274
27 | 5.3009e-06 | 0.020381 | 9.9839e-05 | 0.022023 | 4.8996 | [12 empty] | 6.8055e-05 | 0.0015132 | 1.0633 | 0.1241 | 1.2852e-05 | 0.00013699 | 1.2055 | 4.7303e-06 | 0.00013699 | 0.43555
28 | 5.292e-06 | 0.020662 | 0.00010147 | 0.022346 | 4.8996 | [12 empty] | 6.7239e-05 | 0.0015185 | 1.0637 | 0.1224 | 1.303e-05 | 0.00013889 | 1.2134 | 4.7958e-06 | 0.00013889 | 0.4384
29 | 5.2829e-06 | 0.020952 | 0.00010315 | 0.022678 | 4.8995 | [12 empty] | 6.642e-05 | 0.0015238 | 1.064 | 0.1207 | 1.3213e-05 | 0.00014085 | 1.2215 | 4.8631e-06 | 0.00014085 | 0.44131
30 | 5.2735e-06 | 0.02125 | 0.00010489 | 0.02302 | 4.8995 | [12 empty] | 6.5601e-05 | 0.0015292 | 1.0644 | 0.119 | 1.3401e-05 | 0.00014286 | 1.2297 | 4.9323e-06 | 0.00014286 | 0.44428
31 | 5.2639e-06 | 0.021556 | 0.00010669 | 0.023372 | 4.8995 | [12 empty] | 6.478e-05 | 0.0015348 | 1.0648 | 0.1173 | 1.3595e-05 | 0.00014493 | 1.238 | 5.0035e-06 | 0.00014493 | 0.44729
32 | 5.2539e-06 | 0.021871 | 0.00010855 | 0.023735 | 4.8995 | [12 empty] | 6.3957e-05 | 0.0015404 | 1.0652 | 0.1156 | 1.3794e-05 | 0.00014706 | 1.2465 | 5.0768e-06 | 0.00014706 | 0.45037
33 | 5.2437e-06 | 0.022196 | 0.00011048 | 0.024109 | 4.8995 | [12 empty] | 6.3133e-05 | 0.0015461 | 1.0656 | 0.1139 | 1.3999e-05 | 0.00014925 | 1.2552 | 5.1523e-06 | 0.00014925 | 0.4535
34 | 5.2331e-06 | 0.022531 | 0.00011248 | 0.024495 | 4.8995 | [12 empty] | 6.2307e-05 | 0.001552 | 1.066 | 0.1122 | 1.421e-05 | 0.00015152 | 1.2641 | 5.2301e-06 | 0.00015152 | 0.4567
35 | 5.2222e-06 | 0.022876 | 0.00011454 | 0.024894 | 4.8994 | [12 empty] | 6.148e-05 | 0.0015579 | 1.0665 | 0.1105 | 1.4428e-05 | 0.00015385 | 1.2731 | 5.3102e-06 | 0.00015385 | 0.45996
36 | 5.2109e-06 | 0.023231 | 0.00011669 | 0.025305 | 4.8994 | [12 empty] | 6.0651e-05 | 0.001564 | 1.0669 | 0.1088 | 1.4653e-05 | 0.00015625 | 1.2823 | 5.3929e-06 | 0.00015625 | 0.46328
37 | 5.1993e-06 | 0.023598 | 0.00011891 | 0.02573 | 4.8994 | [12 empty] | 5.9821e-05 | 0.0015702 | 1.0674 | 0.1071 | 1.4884e-05 | 0.00015873 | 1.2917 | 5.4781e-06 | 0.00015873 | 0.46667
38 | 5.1873e-06 | 0.023977 | 0.00012122 | 0.02617 | 4.8994 | [12 empty] | 5.8989e-05 | 0.0015765 | 1.0678 | 0.1054 | 1.5124e-05 | 0.00016129 | 1.3013 | 5.5661e-06 | 0.00016129 | 0.47013
39 | 5.1749e-06 | 0.024368 | 0.00012362 | 0.026624 | 4.8994 | [12 empty] | 5.8155e-05 | 0.001583 | 1.0683 | 0.1037 | 1.5371e-05 | 0.00016393 | 1.311 | 5.657e-06 | 0.00016393 | 0.47367
40 | 5.1621e-06 | 0.024772 | 0.00012612 | 0.027095 | 4.8994 | [12 empty] | 5.732e-05 | 0.0015895 | 1.0688 | 0.102 | 1.5626e-05 | 0.00016667 | 1.321 | 5.7509e-06 | 0.00016667 | 0.47728
41 | 5.1488e-06 | 0.02519 | 0.00012871 | 0.027582 | 4.8993 | [12 empty] | 5.6482e-05 | 0.0015963 | 1.0693 | 0.1003 | 1.5889e-05 | 0.00016949 | 1.3312 | 5.8479e-06 | 0.00016949 | 0.48096
42 | 5.135e-06 | 0.025622 | 0.00013142 | 0.028086 | 4.8993 | [12 empty] | 5.5643e-05 | 0.0016031 | 1.0698 | 0.0986 | 1.6162e-05 | 0.00017241 | 1.3417 | 5.9483e-06 | 0.00017241 | 0.48473
43 | 5.1208e-06 | 0.026069 | 0.00013424 | 0.028609 | 4.8993 | [12 empty] | 5.4802e-05 | 0.0016101 | 1.0703 | 0.0969 | 1.6445e-05 | 0.00017544 | 1.3523 | 6.0522e-06 | 0.00017544 | 0.48858
44 | 5.106e-06 | 0.026532 | 0.00013718 | 0.029152 | 4.8993 | [12 empty] | 5.396e-05 | 0.0016173 | 1.0708 | 0.0952 | 1.6737e-05 | 0.00017857 | 1.3632 | 6.1598e-06 | 0.00017857 | 0.49252
45 | 5.0907e-06 | 0.027012 | 0.00014024 | 0.029715 | 4.8993 | [12 empty] | 5.3115e-05 | 0.0016246 | 1.0713 | 0.0935 | 1.704e-05 | 0.00018182 | 1.3744 | 6.2713e-06 | 0.00018182 | 0.49655
46 | 5.0748e-06 | 0.02751 | 0.00014345 | 0.0303 | 4.8992 | [12 empty] | 5.2269e-05 | 0.0016321 | 1.0719 | 0.0918 | 1.7354e-05 | 0.00018519 | 1.3858 | 6.3869e-06 | 0.00018519 | 0.50068
47 | 5.0582e-06 | 0.028026 | 0.00014681 | 0.030908 | 4.8992 | [12 empty] | 5.142e-05 | 0.0016398 | 1.0725 | 0.0901 | 1.768e-05 | 0.00018868 | 1.3975 | 6.5068e-06 | 0.00018868 | 0.5049
48 | 5.0411e-06 | 0.028562 | 0.00015032 | 0.031541 | 4.8992 | [12 empty] | 5.057e-05 | 0.0016477 | 1.0731 | 0.0884 | 1.8019e-05 | 0.00019231 | 1.4095 | 6.6313e-06 | 0.00019231 | 0.50922
49 | 5.0232e-06 | 0.02912 | 0.000154 | 0.032199 | 4.8992 | [12 empty] | 4.9718e-05 | 0.0016557 | 1.0737 | 0.0867 | 1.837e-05 | 0.00019608 | 1.4218 | 6.7607e-06 | 0.00019608 | 0.51365
50 | 5.0033e-06 | 0.029699 | 0.0001579 | 0.032884 | 4.8981 | [12 empty] | 4.8863e-05 | 0.0037439 | 1.0743 | 0.085 | 1.8736e-05 | 0.0002 | 1.4343 | 6.8952e-06 | 0.0002 | 0.5182
51 | 5.7276e-06 | 0.030302 | 0.00014211 | 0.032277 | 5.4293 | [12 empty] | 9.0306e-05 | 0.0014209 | 1.0552 | 0.1715 | 1.9188e-05 | 0.00020408 | 1.4474 | 7.0634e-06 | 0.00020408 | 0.52291
52 | 5.7084e-06 | 0.03093 | 0.00014568 | 0.032977 | 5.4292 | [12 empty] | 8.869e-05 | 0.0014283 | 1.0557 | 0.168 | 1.9586e-05 | 0.00020833 | 1.4608 | 7.2098e-06 | 0.00020833 | 0.52775
53 | 5.6884e-06 | 0.031585 | 0.00014943 | 0.033707 | 5.4292 | [12 empty] | 8.707e-05 | 0.0014359 | 1.0562 | 0.1645 | 2.0001e-05 | 0.00021277 | 1.4745 | 7.3624e-06 | 0.00021277 | 0.53272
54 | 5.6675e-06 | 0.032268 | 0.00015338 | 0.034471 | 5.4292 | [12 empty] | 8.5446e-05 | 0.0014437 | 1.0567 | 0.161 | 2.0433e-05 | 0.00021739 | 1.4886 | 7.5216e-06 | 0.00021739 | 0.53781
55 | 5.6457e-06 | 0.032982 | 0.00015753 | 0.035269 | 5.4292 | [12 empty] | 8.3817e-05 | 0.0014516 | 1.0573 | 0.1575 | 2.0885e-05 | 0.00022222 | 1.5031 | 7.6878e-06 | 0.00022222 | 0.54305
56 | 5.6228e-06 | 0.033728 | 0.00016192 | 0.036105 | 5.4292 | [12 empty] | 8.2184e-05 | 0.0014599 | 1.0578 | 0.154 | 2.1357e-05 | 0.00022727 | 1.518 | 7.8616e-06 | 0.00022727 | 0.54843
57 | 5.5989e-06 | 0.034509 | 0.00016655 | 0.036981 | 5.4291 | [12 empty] | 8.0546e-05 | 0.0014683 | 1.0584 | 0.1505 | 2.1851e-05 | 0.00023256 | 1.5333 | 8.0434e-06 | 0.00023256 | 0.55396
58 | 5.5738e-06 | 0.035326 | 0.00017145 | 0.0379 | 5.4291 | [12 empty] | 7.8903e-05 | 0.001477 | 1.059 | 0.147 | 2.2369e-05 | 0.0002381 | 1.5491 | 8.2338e-06 | 0.0002381 | 0.55966
59 | 5.5475e-06 | 0.036184 | 0.00017665 | 0.038864 | 5.4291 | [12 empty] | 7.7256e-05 | 0.001486 | 1.0596 | 0.1435 | 2.2911e-05 | 0.0002439 | 1.5653 | 8.4334e-06 | 0.0002439 | 0.56553
60 | 5.5199e-06 | 0.037084 | 0.00018216 | 0.039879 | 5.4291 | [12 empty] | 7.5603e-05 | 0.0014952 | 1.0602 | 0.14 | 2.3481e-05 | 0.00025 | 1.582 | 8.643e-06 | 0.00025 | 0.57157
61 | 5.4908e-06 | 0.03803 | 0.00018803 | 0.040947 | 5.4291 | [12 empty] | 7.3946e-05 | 0.0015048 | 1.0608 | 0.1365 | 2.408e-05 | 0.00025641 | 1.5993 | 8.8632e-06 | 0.00025641 | 0.5778
62 | 5.4602e-06 | 0.039026 | 0.00019428 | 0.042073 | 5.429 | [12 empty] | 7.2283e-05 | 0.0015147 | 1.0615 | 0.133 | 2.4709e-05 | 0.00026316 | 1.6171 | 9.0949e-06 | 0.00026316 | 0.58424
63 | 5.4279e-06 | 0.040076 | 0.00020095 | 0.043261 | 5.429 | [12 empty] | 7.0614e-05 | 0.0015248 | 1.0622 | 0.1295 | 2.5373e-05 | 0.00027027 | 1.6355 | 9.3391e-06 | 0.00027027 | 0.59088
64 | 5.3938e-06 | 0.041183 | 0.00020808 | 0.044518 | 5.429 | [12 empty] | 6.894e-05 | 0.0015354 | 1.0629 | 0.126 | 2.6073e-05 | 0.00027778 | 1.6545 | 9.5968e-06 | 0.00027778 | 0.59775
65 | 5.3578e-06 | 0.042354 | 0.00021574 | 0.045848 | 5.429 | [12 empty] | 6.726e-05 | 0.0015463 | 1.0637 | 0.1225 | 2.6813e-05 | 0.00028571 | 1.6742 | 9.869e-06 | 0.00028571 | 0.60486
66 | 5.3196e-06 | 0.043593 | 0.00022396 | 0.047258 | 5.429 | [12 empty] | 6.5574e-05 | 0.0015576 | 1.0645 | 0.119 | 2.7597e-05 | 0.00029412 | 1.6945 | 1.0157e-05 | 0.00029412 | 0.61222
67 | 5.279e-06 | 0.044907 | 0.00023283 | 0.048756 | 5.4289 | [12 empty] | 6.3881e-05 | 0.0015694 | 1.0653 | 0.1155 | 2.8427e-05 | 0.00030303 | 1.7156 | 1.0463e-05 | 0.00030303 | 0.61985
68 | 5.2359e-06 | 0.046304 | 0.00024241 | 0.05035 | 5.4289 | [12 empty] | 6.2183e-05 | 0.0015816 | 1.0661 | 0.112 | 2.9309e-05 | 0.0003125 | 1.7375 | 1.0787e-05 | 0.0003125 | 0.62776
69 | 5.19e-06 | 0.047789 | 0.00025279 | 0.052049 | 5.4289 | [12 empty] | 6.0477e-05 | 0.0015943 | 1.067 | 0.1085 | 3.0248e-05 | 0.00032258 | 1.7603 | 1.1132e-05 | 0.00032258 | 0.63598
70 | 5.1411e-06 | 0.049374 | 0.00026408 | 0.053864 | 5.4289 | [12 empty] | 5.8765e-05 | 0.0016075 | 1.068 | 0.105 | 3.1248e-05 | 0.00033333 | 1.784 | 1.15e-05 | 0.00033333 | 0.64454
71 | 5.0887e-06 | 0.051067 | 0.00027641 | 0.055806 | 5.4288 | [12 empty] | 5.7046e-05 | 0.0016213 | 1.069 | 0.1015 | 3.2317e-05 | 0.00034483 | 1.8086 | 1.1894e-05 | 0.00034483 | 0.65344
72 | 5.0327e-06 | 0.052881 | 0.00028991 | 0.05789 | 5.4288 | [12 empty] | 5.5319e-05 | 0.0016357 | 1.07 | 0.098 | 3.3462e-05 | 0.00035714 | 1.8343 | 1.2315e-05 | 0.00035714 | 0.66272
73 | 4.9724e-06 | 0.054829 | 0.00030476 | 0.060131 | 5.4288 | [12 empty] | 5.3584e-05 | 0.0016507 | 1.0711 | 0.0945 | 3.469e-05 | 0.00037037 | 1.8612 | 1.2767e-05 | 0.00037037 | 0.67242
74 | 4.9056e-06 | 0.056926 | 0.00032129 | 0.062544 | 5.4271 | [12 empty] | 5.1842e-05 | 0.0039042 | 1.0722 | 0.091 | 3.6013e-05 | 0.00038462 | 1.8892 | 1.3253e-05 | 0.00038462 | 0.68255
75 | 6.4897e-06 | 0.05919 | 0.00024997 | 0.06362 | 5.0089 | [12 empty] | 8.9566e-05 | 0.0014007 | 1.0555 | 0.17 | 3.7754e-05 | 0.0004 | 1.9191 | 1.3901e-05 | 0.0004 | 0.69334
76 | 6.3809e-06 | 0.061646 | 0.00026513 | 0.06635 | 5.0089 | [12 empty] | 8.6419e-05 | 0.0014152 | 1.0565 | 0.1632 | 3.9306e-05 | 0.00041667 | 1.9504 | 1.4472e-05 | 0.00041667 | 0.70465
77 | 6.2628e-06 | 0.064315 | 0.00028219 | 0.069318 | 5.0089 | [12 empty] | 8.3256e-05 | 0.0014305 | 1.0575 | 0.1564 | 4.099e-05 | 0.00043478 | 1.9832 | 1.5091e-05 | 0.00043478 | 0.71653
78 | 6.1342e-06 | 0.067226 | 0.00030153 | 0.072554 | 5.0088 | [12 empty] | 8.0075e-05 | 0.0014466 | 1.0586 | 0.1496 | 4.2825e-05 | 0.00045455 | 2.0178 | 1.5767e-05 | 0.00045455 | 0.72904
79 | 5.9937e-06 | 0.070413 | 0.00032364 | 0.076096 | 5.0088 | [12 empty] | 7.6877e-05 | 0.0014637 | 1.0598 | 0.1428 | 4.4833e-05 | 0.00047619 | 2.0543 | 1.6505e-05 | 0.00047619 | 0.74222
80 | 5.8396e-06 | 0.073917 | 0.00034912 | 0.079987 | 5.0088 | [12 empty] | 7.3659e-05 | 0.0014819 | 1.061 | 0.136 | 4.7038e-05 | 0.0005 | 2.0929 | 1.7316e-05 | 0.0005 | 0.75617
81 | 5.6699e-06 | 0.077789 | 0.00037882 | 0.084279 | 5.0088 | [12 empty] | 7.0421e-05 | 0.0015012 | 1.0624 | 0.1292 | 4.9471e-05 | 0.00052632 | 2.1338 | 1.821e-05 | 0.00052632 | 0.77095
82 | 5.4823e-06 | 0.08209 | 0.00041383 | 0.089036 | 5.0087 | [12 empty] | 6.7162e-05 | 0.0015219 | 1.0638 | 0.1224 | 5.217e-05 | 0.00055556 | 2.1773 | 1.9203e-05 | 0.00055556 | 0.78667
83 | 5.2738e-06 | 0.086894 | 0.0004557 | 0.094333 | 5.0087 | [12 empty] | 6.3879e-05 | 0.0015441 | 1.0654 | 0.1156 | 5.5181e-05 | 0.00058824 | 2.2237 | 2.0309e-05 | 0.00058824 | 0.80344
84 | 5.041e-06 | 0.092296 | 0.00050659 | 0.10026 | 5.0087 | [12 empty] | 6.0573e-05 | 0.001568 | 1.0671 | 0.1088 | 5.8561e-05 | 0.000625 | 2.2734 | 2.1552e-05 | 0.000625 | 0.8214
85 | 4.7797e-06 | 0.098416 | 0.0005697 | 0.10694 | 5.0086 | [12 empty] | 5.724e-05 | 0.0015938 | 1.0689 | 0.102 | 6.2382e-05 | 0.00066667 | 2.3269 | 2.2956e-05 | 0.00066667 | 0.8407
86 | 4.4813e-06 | 0.1054 | 0.00065032 | 0.11449 | 5.0065 | [12 empty] | 5.388e-05 | 0.0039473 | 1.071 | 0.0952 | 6.6737e-05 | 0.00071429 | 2.3846 | 2.4556e-05 | 0.00071429 | 0.86155
87 | 7.0999e-06 | 0.11346 | 0.00042035 | 0.12278 | 6.1888 | [12 empty] | 8.9612e-05 | 0.0014079 | 1.0556 | 0.1703 | 7.2828e-05 | 0.00076923 | 2.4486 | 2.6821e-05 | 0.00076923 | 0.8847
88 | 6.6485e-06 | 0.12288 | 0.00048621 | 0.13302 | 6.1887 | [12 empty] | 8.3535e-05 | 0.0014368 | 1.0575 | 0.1572 | 7.8718e-05 | 0.00083333 | 2.5185 | 2.8985e-05 | 0.00083333 | 0.90997
89 | 6.1226e-06 | 0.13401 | 0.00057531 | 0.14499 | 6.1887 | [12 empty] | 7.7395e-05 | 0.001469 | 1.0597 | 0.1441 | 8.5646e-05 | 0.00090909 | 2.5953 | 3.1531e-05 | 0.00090909 | 0.93772
90 | 5.5037e-06 | 0.14735 | 0.00070213 | 0.15914 | 6.1886 | [12 empty] | 7.1184e-05 | 0.0015052 | 1.0621 | 0.131 | 9.3916e-05 | 0.001 | 2.6805 | 3.4569e-05 | 0.001 | 0.96848
91 | 4.7679e-06 | 0.16365 | 0.00089603 | 0.17606 | 6.1886 | [12 empty] | 6.4894e-05 | 0.0015463 | 1.065 | 0.1179 | 0.00010396 | 0.0011111 | 2.7758 | 3.8258e-05 | 0.0011111 | 1.0029
92 | 3.8843e-06 | 0.18399 | 0.0012264 | 0.19654 | 6.1885 | [12 empty] | 5.8516e-05 | 0.0015937 | 1.0684 | 0.1048 | 0.00011644 | 0.00125 | 2.8838 | 4.2836e-05 | 0.00125 | 1.0419
93 | 2.8129e-06 | 0.2101 | 0.0019055 | 0.22167 | 6.1863 | [12 empty] | 5.2036e-05 | 0.0039039 | 1.0724 | 0.0917 | 0.00013235 | 0.0014286 | 3.0082 | 4.8673e-05 | 0.0014286 | 1.0868
94 | 9.1461e-06 | 0.2448 | 0.00072121 | 0.27117 | 10.3686 | [12 empty] | 8.9151e-05 | 0.0014075 | 1.0559 | 0.1698 | 0.00015943 | 0.0016667 | 3.1613 | 5.8756e-05 | 0.0016667 | 1.1422
95 | 6.9599e-06 | 0.29362 | 0.0011234 | 0.32169 | 10.3686 | [12 empty] | 7.593e-05 | 0.0014758 | 1.0605 | 0.1415 | 0.00018922 | 0.002 | 3.3454 | 6.9682e-05 | 0.002 | 1.2088
96 | 4.008e-06 | 0.36674 | 0.0023645 | 0.39092 | 10.3685 | [12 empty] | 6.2369e-05 | 0.0015647 | 1.0667 | 0.1132 | 0.00023302 | 0.0025 | 3.5755 | 8.5729e-05 | 0.0025 | 1.2918
97 | 5.2676e-07 | 0.4882 | 0.02183 | 0.49331 | 10.3683 | [12 empty] | 4.8364e-05 | 0.0016891 | 1.0756 | 0.0849 | 0.00030527 | 0.0033333 | 3.882 | 0.00011218 | 0.0033333 | 1.4024
98 | 5.807e-08 | 0.72138 | 0.21363 | 0.72226 | 10.3666 | [12 empty] | 3.3737e-05 | 0.0033538 | 1.0907 | 0.0566 | 0.00045682 | 0.005 | 4.3509 | 0.00016785 | 0.005 | 1.5715