## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Mass transfer | Pressure drop Corr | CP modulus Corr | Cross-flow Velocity | Momentary Permeate HQ | Hq_b | Accumulated HQ, Mg/l | Bq_p | Bq_b | Bq_Accum_Mgl
0 | 5.4732e-06 | 0.01485 | 6.9296e-05 | 0.015781 | 4.9 | 19.0567 | 19.454 | 20.388 | 19.0253 | 18.7553 | 0.29386 | 0.0073617 | 0.00077954 | 0.0047538 | 0.0093035 | 0.31606 | 1.0173 | 8.964e-05 | 0.0013985 | 1.0554 | 0.17 | 9.3879e-06 | 0.0001 | 1.0338 | 1.7277e-06 | 5e-05 | 0.18675
1 | 5.4686e-06 | 0.014999 | 7.0085e-05 | 0.015947 | 4.9 | [12 empty] | 8.8855e-05 | 0.001402 | 1.0556 | 0.1683 | 9.4825e-06 | 0.00010101 | 1.039 | 1.7451e-06 | 5.0505e-05 | 0.18769
2 | 5.4639e-06 | 0.015152 | 7.0893e-05 | 0.016117 | 4.9 | [12 empty] | 8.8069e-05 | 0.0014056 | 1.0559 | 0.1666 | 9.579e-06 | 0.00010204 | 1.0443 | 1.7629e-06 | 5.102e-05 | 0.18865
3 | 5.4591e-06 | 0.015307 | 7.1719e-05 | 0.01629 | 4.9 | [12 empty] | 8.7282e-05 | 0.0014092 | 1.0561 | 0.1649 | 9.6775e-06 | 0.00010309 | 1.0496 | 1.781e-06 | 5.1546e-05 | 0.18962
4 | 5.4541e-06 | 0.015466 | 7.2565e-05 | 0.016468 | 4.8999 | [12 empty] | 8.6494e-05 | 0.0014128 | 1.0564 | 0.1632 | 9.7781e-06 | 0.00010417 | 1.0551 | 1.7995e-06 | 5.2083e-05 | 0.1906
5 | 5.4491e-06 | 0.015628 | 7.3431e-05 | 0.016649 | 4.8999 | [12 empty] | 8.5704e-05 | 0.0014165 | 1.0566 | 0.1615 | 9.8807e-06 | 0.00010526 | 1.0606 | 1.8184e-06 | 5.2632e-05 | 0.19159
6 | 5.444e-06 | 0.015793 | 7.4317e-05 | 0.016834 | 4.8999 | [12 empty] | 8.4914e-05 | 0.0014203 | 1.0569 | 0.1598 | 9.9856e-06 | 0.00010638 | 1.0661 | 1.8377e-06 | 5.3191e-05 | 0.1926
7 | 5.4387e-06 | 0.015962 | 7.5225e-05 | 0.017023 | 4.8999 | [12 empty] | 8.4123e-05 | 0.0014241 | 1.0571 | 0.1581 | 1.0093e-05 | 0.00010753 | 1.0718 | 1.8574e-06 | 5.3763e-05 | 0.19362
8 | 5.4334e-06 | 0.016135 | 7.6155e-05 | 0.017217 | 4.8999 | [12 empty] | 8.3331e-05 | 0.001428 | 1.0574 | 0.1564 | 1.0202e-05 | 0.0001087 | 1.0775 | 1.8775e-06 | 5.4348e-05 | 0.19466
9 | 5.4279e-06 | 0.016311 | 7.7108e-05 | 0.017415 | 4.8999 | [12 empty] | 8.2537e-05 | 0.0014319 | 1.0577 | 0.1547 | 1.0314e-05 | 0.00010989 | 1.0834 | 1.8981e-06 | 5.4945e-05 | 0.19571
10 | 5.4223e-06 | 0.016492 | 7.8086e-05 | 0.017618 | 4.8999 | [12 empty] | 8.1743e-05 | 0.0014359 | 1.0579 | 0.153 | 1.0428e-05 | 0.00011111 | 1.0893 | 1.9191e-06 | 5.5556e-05 | 0.19677
11 | 5.4166e-06 | 0.016676 | 7.9088e-05 | 0.017825 | 4.8998 | [12 empty] | 8.0947e-05 | 0.0014399 | 1.0582 | 0.1513 | 1.0545e-05 | 0.00011236 | 1.0953 | 1.9406e-06 | 5.618e-05 | 0.19786
12 | 5.4107e-06 | 0.016865 | 8.0116e-05 | 0.018037 | 4.8998 | [12 empty] | 8.0151e-05 | 0.001444 | 1.0585 | 0.1496 | 1.0665e-05 | 0.00011364 | 1.1014 | 1.9626e-06 | 5.6818e-05 | 0.19896
13 | 5.4047e-06 | 0.017058 | 8.117e-05 | 0.018254 | 4.8998 | [12 empty] | 7.9353e-05 | 0.0014481 | 1.0588 | 0.1479 | 1.0787e-05 | 0.00011494 | 1.1075 | 1.9851e-06 | 5.7471e-05 | 0.20007
14 | 5.3986e-06 | 0.017255 | 8.2253e-05 | 0.018477 | 4.8998 | [12 empty] | 7.8554e-05 | 0.0014523 | 1.0591 | 0.1462 | 1.0912e-05 | 0.00011628 | 1.1138 | 2.0081e-06 | 5.814e-05 | 0.20121
15 | 5.3923e-06 | 0.017457 | 8.3365e-05 | 0.018705 | 4.8998 | [12 empty] | 7.7754e-05 | 0.0014566 | 1.0593 | 0.1445 | 1.104e-05 | 0.00011765 | 1.1202 | 2.0317e-06 | 5.8824e-05 | 0.20236
16 | 5.3858e-06 | 0.017664 | 8.4507e-05 | 0.018939 | 4.8998 | [12 empty] | 7.6953e-05 | 0.0014609 | 1.0596 | 0.1428 | 1.1171e-05 | 0.00011905 | 1.1266 | 2.0558e-06 | 5.9524e-05 | 0.20353
17 | 5.3792e-06 | 0.017876 | 8.568e-05 | 0.019178 | 4.8997 | [12 empty] | 7.615e-05 | 0.0014653 | 1.0599 | 0.1411 | 1.1305e-05 | 0.00012048 | 1.1332 | 2.0805e-06 | 6.0241e-05 | 0.20471
18 | 5.3724e-06 | 0.018093 | 8.6886e-05 | 0.019424 | 4.8997 | [12 empty] | 7.5347e-05 | 0.0014698 | 1.0603 | 0.1394 | 1.1443e-05 | 0.00012195 | 1.1399 | 2.1058e-06 | 6.0976e-05 | 0.20592
19 | 5.3655e-06 | 0.018315 | 8.8126e-05 | 0.019676 | 4.8997 | [12 empty] | 7.4542e-05 | 0.0014743 | 1.0606 | 0.1377 | 1.1584e-05 | 0.00012346 | 1.1467 | 2.1317e-06 | 6.1728e-05 | 0.20714
20 | 5.3584e-06 | 0.018543 | 8.9402e-05 | 0.019934 | 4.8997 | [12 empty] | 7.3735e-05 | 0.0014789 | 1.0609 | 0.136 | 1.1728e-05 | 0.000125 | 1.1536 | 2.1583e-06 | 6.25e-05 | 0.20839
21 | 5.3511e-06 | 0.018777 | 9.0714e-05 | 0.020199 | 4.8997 | [12 empty] | 7.2928e-05 | 0.0014836 | 1.0612 | 0.1343 | 1.1876e-05 | 0.00012658 | 1.1606 | 2.1855e-06 | 6.3291e-05 | 0.20966
22 | 5.3436e-06 | 0.019016 | 9.2066e-05 | 0.020472 | 4.8997 | [12 empty] | 7.2119e-05 | 0.0014883 | 1.0615 | 0.1326 | 1.2028e-05 | 0.00012821 | 1.1677 | 2.2135e-06 | 6.4103e-05 | 0.21094
23 | 5.3359e-06 | 0.019262 | 9.3458e-05 | 0.020751 | 4.8996 | [12 empty] | 7.1309e-05 | 0.0014931 | 1.0619 | 0.1309 | 1.2184e-05 | 0.00012987 | 1.175 | 2.2421e-06 | 6.4935e-05 | 0.21225
24 | 5.328e-06 | 0.019514 | 9.4892e-05 | 0.021039 | 4.8996 | [12 empty] | 7.0498e-05 | 0.001498 | 1.0622 | 0.1292 | 1.2343e-05 | 0.00013158 | 1.1823 | 2.2715e-06 | 6.5789e-05 | 0.21358
25 | 5.3198e-06 | 0.019773 | 9.6371e-05 | 0.021334 | 4.8996 | [12 empty] | 6.9685e-05 | 0.001503 | 1.0626 | 0.1275 | 1.2507e-05 | 0.00013333 | 1.1898 | 2.3017e-06 | 6.6667e-05 | 0.21494
26 | 5.3115e-06 | 0.020039 | 9.7895e-05 | 0.021638 | 4.8996 | [12 empty] | 6.8871e-05 | 0.0015081 | 1.0629 | 0.1258 | 1.2676e-05 | 0.00013514 | 1.1975 | 2.3327e-06 | 6.7568e-05 | 0.21632
27 | 5.3029e-06 | 0.020312 | 9.9469e-05 | 0.02195 | 4.8996 | [12 empty] | 6.8056e-05 | 0.0015132 | 1.0633 | 0.1241 | 1.2849e-05 | 0.00013699 | 1.2052 | 2.3645e-06 | 6.8493e-05 | 0.21772
28 | 5.2941e-06 | 0.020593 | 0.00010109 | 0.022271 | 4.8996 | [12 empty] | 6.7239e-05 | 0.0015185 | 1.0637 | 0.1224 | 1.3027e-05 | 0.00013889 | 1.2131 | 2.3973e-06 | 6.9444e-05 | 0.21915
29 | 5.285e-06 | 0.020881 | 0.00010277 | 0.022602 | 4.8995 | [12 empty] | 6.6421e-05 | 0.0015238 | 1.064 | 0.1207 | 1.321e-05 | 0.00014085 | 1.2212 | 2.4309e-06 | 7.0423e-05 | 0.2206
30 | 5.2757e-06 | 0.021178 | 0.0001045 | 0.022943 | 4.8995 | [12 empty] | 6.5601e-05 | 0.0015292 | 1.0644 | 0.119 | 1.3398e-05 | 0.00014286 | 1.2294 | 2.4655e-06 | 7.1429e-05 | 0.22208
31 | 5.266e-06 | 0.021484 | 0.00010629 | 0.023294 | 4.8995 | [12 empty] | 6.478e-05 | 0.0015348 | 1.0648 | 0.1173 | 1.3591e-05 | 0.00014493 | 1.2377 | 2.5011e-06 | 7.2464e-05 | 0.22359
32 | 5.2561e-06 | 0.021798 | 0.00010815 | 0.023656 | 4.8995 | [12 empty] | 6.3958e-05 | 0.0015404 | 1.0652 | 0.1156 | 1.3791e-05 | 0.00014706 | 1.2462 | 2.5378e-06 | 7.3529e-05 | 0.22513
33 | 5.2459e-06 | 0.022122 | 0.00011007 | 0.024029 | 4.8995 | [12 empty] | 6.3134e-05 | 0.0015461 | 1.0656 | 0.1139 | 1.3996e-05 | 0.00014925 | 1.2549 | 2.5755e-06 | 7.4627e-05 | 0.22669
34 | 5.2354e-06 | 0.022455 | 0.00011205 | 0.024414 | 4.8995 | [12 empty] | 6.2308e-05 | 0.001552 | 1.066 | 0.1122 | 1.4207e-05 | 0.00015152 | 1.2638 | 2.6144e-06 | 7.5758e-05 | 0.22829
35 | 5.2245e-06 | 0.022799 | 0.00011411 | 0.024811 | 4.8994 | [12 empty] | 6.1481e-05 | 0.0015579 | 1.0665 | 0.1105 | 1.4425e-05 | 0.00015385 | 1.2728 | 2.6544e-06 | 7.6923e-05 | 0.22992
36 | 5.2133e-06 | 0.023154 | 0.00011625 | 0.025221 | 4.8994 | [12 empty] | 6.0652e-05 | 0.001564 | 1.0669 | 0.1088 | 1.4649e-05 | 0.00015625 | 1.282 | 2.6958e-06 | 7.8125e-05 | 0.23158
37 | 5.2017e-06 | 0.023519 | 0.00011846 | 0.025645 | 4.8994 | [12 empty] | 5.9821e-05 | 0.0015702 | 1.0674 | 0.1071 | 1.4881e-05 | 0.00015873 | 1.2914 | 2.7384e-06 | 7.9365e-05 | 0.23328
38 | 5.1897e-06 | 0.023897 | 0.00012076 | 0.026083 | 4.8994 | [12 empty] | 5.8989e-05 | 0.0015765 | 1.0678 | 0.1054 | 1.512e-05 | 0.00016129 | 1.301 | 2.7824e-06 | 8.0645e-05 | 0.23501
39 | 5.1774e-06 | 0.024286 | 0.00012315 | 0.026536 | 4.8994 | [12 empty] | 5.8156e-05 | 0.0015829 | 1.0683 | 0.1037 | 1.5367e-05 | 0.00016393 | 1.3107 | 2.8278e-06 | 8.1967e-05 | 0.23677
40 | 5.1646e-06 | 0.024689 | 0.00012564 | 0.027005 | 4.8994 | [12 empty] | 5.732e-05 | 0.0015895 | 1.0688 | 0.102 | 1.5622e-05 | 0.00016667 | 1.3207 | 2.8747e-06 | 8.3333e-05 | 0.23858
41 | 5.1513e-06 | 0.025105 | 0.00012822 | 0.027491 | 4.8993 | [12 empty] | 5.6483e-05 | 0.0015962 | 1.0692 | 0.1003 | 1.5886e-05 | 0.00016949 | 1.3309 | 2.9232e-06 | 8.4746e-05 | 0.24042
42 | 5.1376e-06 | 0.025536 | 0.00013092 | 0.027993 | 4.8993 | [12 empty] | 5.5644e-05 | 0.0016031 | 1.0698 | 0.0986 | 1.6159e-05 | 0.00017241 | 1.3414 | 2.9734e-06 | 8.6207e-05 | 0.2423
43 | 5.1234e-06 | 0.025982 | 0.00013372 | 0.028515 | 4.8993 | [12 empty] | 5.4803e-05 | 0.0016101 | 1.0703 | 0.0969 | 1.6441e-05 | 0.00017544 | 1.352 | 3.0254e-06 | 8.7719e-05 | 0.24423
44 | 5.1087e-06 | 0.026443 | 0.00013665 | 0.029056 | 4.8993 | [12 empty] | 5.396e-05 | 0.0016173 | 1.0708 | 0.0952 | 1.6733e-05 | 0.00017857 | 1.3629 | 3.0791e-06 | 8.9286e-05 | 0.2462
45 | 5.0934e-06 | 0.026922 | 0.00013971 | 0.029617 | 4.8993 | [12 empty] | 5.3116e-05 | 0.0016246 | 1.0713 | 0.0935 | 1.7036e-05 | 0.00018182 | 1.3741 | 3.1349e-06 | 9.0909e-05 | 0.24821
46 | 5.0775e-06 | 0.027418 | 0.0001429 | 0.0302 | 4.8992 | [12 empty] | 5.2269e-05 | 0.0016321 | 1.0719 | 0.0918 | 1.735e-05 | 0.00018519 | 1.3855 | 3.1926e-06 | 9.2593e-05 | 0.25027
47 | 5.0611e-06 | 0.027932 | 0.00014624 | 0.030806 | 4.8992 | [12 empty] | 5.1421e-05 | 0.0016398 | 1.0725 | 0.0901 | 1.7676e-05 | 0.00018868 | 1.3972 | 3.2526e-06 | 9.434e-05 | 0.25239
48 | 5.0439e-06 | 0.028467 | 0.00014974 | 0.031437 | 4.8992 | [12 empty] | 5.0571e-05 | 0.0016476 | 1.073 | 0.0884 | 1.8014e-05 | 0.00019231 | 1.4092 | 3.3148e-06 | 9.6154e-05 | 0.25455
49 | 5.0261e-06 | 0.029022 | 0.0001534 | 0.032093 | 4.8992 | [12 empty] | 4.9718e-05 | 0.0016557 | 1.0737 | 0.0867 | 1.8366e-05 | 0.00019608 | 1.4214 | 3.3795e-06 | 9.8039e-05 | 0.25676
50 | 5.0063e-06 | 0.029599 | 0.00015728 | 0.032776 | 4.8981 | [12 empty] | 4.8864e-05 | 0.0037439 | 1.0743 | 0.085 | 1.8731e-05 | 0.0002 | 1.434 | 3.4467e-06 | 0.0001 | 0.25903
51 | 5.7306e-06 | 0.0302 | 0.00014157 | 0.032169 | 5.4293 | [12 empty] | 9.0307e-05 | 0.0014209 | 1.0552 | 0.1715 | 1.9184e-05 | 0.00020408 | 1.447 | 3.5308e-06 | 0.00010204 | 0.26139
52 | 5.7115e-06 | 0.030826 | 0.00014512 | 0.032867 | 5.4292 | [12 empty] | 8.8691e-05 | 0.0014283 | 1.0557 | 0.168 | 1.9582e-05 | 0.00020833 | 1.4604 | 3.604e-06 | 0.00010417 | 0.26381
53 | 5.6915e-06 | 0.031479 | 0.00014885 | 0.033595 | 5.4292 | [12 empty] | 8.7071e-05 | 0.0014359 | 1.0562 | 0.1645 | 1.9996e-05 | 0.00021277 | 1.4742 | 3.6803e-06 | 0.00010638 | 0.26629
54 | 5.6707e-06 | 0.03216 | 0.00015278 | 0.034356 | 5.4292 | [12 empty] | 8.5447e-05 | 0.0014436 | 1.0567 | 0.161 | 2.0429e-05 | 0.00021739 | 1.4883 | 3.7599e-06 | 0.0001087 | 0.26884
55 | 5.6489e-06 | 0.032871 | 0.00015692 | 0.035152 | 5.4292 | [12 empty] | 8.3818e-05 | 0.0014516 | 1.0573 | 0.1575 | 2.088e-05 | 0.00022222 | 1.5027 | 3.843e-06 | 0.00011111 | 0.27146
56 | 5.6262e-06 | 0.033615 | 0.00016129 | 0.035985 | 5.4292 | [12 empty] | 8.2185e-05 | 0.0014599 | 1.0578 | 0.154 | 2.1353e-05 | 0.00022727 | 1.5176 | 3.9298e-06 | 0.00011364 | 0.27415
57 | 5.6023e-06 | 0.034393 | 0.0001659 | 0.036858 | 5.4291 | [12 empty] | 8.0547e-05 | 0.0014683 | 1.0584 | 0.1505 | 2.1846e-05 | 0.00023256 | 1.5329 | 4.0207e-06 | 0.00011628 | 0.27691
58 | 5.5773e-06 | 0.035208 | 0.00017078 | 0.037774 | 5.4291 | [12 empty] | 7.8904e-05 | 0.001477 | 1.059 | 0.147 | 2.2364e-05 | 0.0002381 | 1.5487 | 4.1159e-06 | 0.00011905 | 0.27976
59 | 5.5511e-06 | 0.036062 | 0.00017595 | 0.038736 | 5.4291 | [12 empty] | 7.7257e-05 | 0.001486 | 1.0596 | 0.1435 | 2.2906e-05 | 0.0002439 | 1.5649 | 4.2157e-06 | 0.00012195 | 0.28269
60 | 5.5236e-06 | 0.03696 | 0.00018144 | 0.039747 | 5.4291 | [12 empty] | 7.5604e-05 | 0.0014952 | 1.0602 | 0.14 | 2.3476e-05 | 0.00025 | 1.5817 | 4.3204e-06 | 0.000125 | 0.28571
61 | 5.4946e-06 | 0.037903 | 0.00018728 | 0.040812 | 5.4291 | [12 empty] | 7.3947e-05 | 0.0015048 | 1.0608 | 0.1365 | 2.4074e-05 | 0.00025641 | 1.5989 | 4.4305e-06 | 0.00012821 | 0.28883
62 | 5.4641e-06 | 0.038895 | 0.0001935 | 0.041934 | 5.429 | [12 empty] | 7.2284e-05 | 0.0015146 | 1.0615 | 0.133 | 2.4704e-05 | 0.00026316 | 1.6167 | 4.5464e-06 | 0.00013158 | 0.29205
63 | 5.4319e-06 | 0.039941 | 0.00020014 | 0.043119 | 5.429 | [12 empty] | 7.0615e-05 | 0.0015248 | 1.0622 | 0.1295 | 2.5367e-05 | 0.00027027 | 1.6351 | 4.6684e-06 | 0.00013514 | 0.29537
64 | 5.3979e-06 | 0.041045 | 0.00020724 | 0.044371 | 5.429 | [12 empty] | 6.8941e-05 | 0.0015354 | 1.0629 | 0.126 | 2.6067e-05 | 0.00027778 | 1.6541 | 4.7972e-06 | 0.00013889 | 0.2988
65 | 5.362e-06 | 0.042212 | 0.00021486 | 0.045697 | 5.429 | [12 empty] | 6.7261e-05 | 0.0015463 | 1.0637 | 0.1225 | 2.6807e-05 | 0.00028571 | 1.6738 | 4.9333e-06 | 0.00014286 | 0.30235
66 | 5.3239e-06 | 0.043447 | 0.00022304 | 0.047103 | 5.429 | [12 empty] | 6.5575e-05 | 0.0015576 | 1.0645 | 0.119 | 2.759e-05 | 0.00029412 | 1.6941 | 5.0774e-06 | 0.00014706 | 0.30603
67 | 5.2835e-06 | 0.044757 | 0.00023187 | 0.048596 | 5.4289 | [12 empty] | 6.3883e-05 | 0.0015694 | 1.0653 | 0.1155 | 2.8421e-05 | 0.00030303 | 1.7152 | 5.2301e-06 | 0.00015152 | 0.30985
68 | 5.2405e-06 | 0.046148 | 0.0002414 | 0.050185 | 5.4289 | [12 empty] | 6.2184e-05 | 0.0015816 | 1.0661 | 0.112 | 2.9303e-05 | 0.0003125 | 1.7371 | 5.3923e-06 | 0.00015625 | 0.3138
69 | 5.1948e-06 | 0.047629 | 0.00025174 | 0.051878 | 5.4289 | [12 empty] | 6.0479e-05 | 0.0015942 | 1.067 | 0.1085 | 3.0241e-05 | 0.00032258 | 1.7599 | 5.5649e-06 | 0.00016129 | 0.31791
70 | 5.146e-06 | 0.049208 | 0.00026297 | 0.053688 | 5.4289 | [12 empty] | 5.8766e-05 | 0.0016075 | 1.068 | 0.105 | 3.1241e-05 | 0.00033333 | 1.7836 | 5.7489e-06 | 0.00016667 | 0.32219
71 | 5.0938e-06 | 0.050896 | 0.00027524 | 0.055624 | 5.4288 | [12 empty] | 5.7047e-05 | 0.0016212 | 1.069 | 0.1015 | 3.231e-05 | 0.00034483 | 1.8082 | 5.9454e-06 | 0.00017241 | 0.32664
72 | 5.0379e-06 | 0.052704 | 0.00028867 | 0.057701 | 5.4288 | [12 empty] | 5.532e-05 | 0.0016356 | 1.07 | 0.098 | 3.3454e-05 | 0.00035714 | 1.8339 | 6.1559e-06 | 0.00017857 | 0.33128
73 | 4.9778e-06 | 0.054645 | 0.00030344 | 0.059935 | 5.4288 | [12 empty] | 5.3586e-05 | 0.0016507 | 1.0711 | 0.0945 | 3.4683e-05 | 0.00037037 | 1.8607 | 6.3818e-06 | 0.00018519 | 0.33613
74 | 4.9112e-06 | 0.056735 | 0.00031988 | 0.062341 | 5.4271 | [12 empty] | 5.1843e-05 | 0.0039042 | 1.0722 | 0.091 | 3.6005e-05 | 0.00038462 | 1.8888 | 6.6249e-06 | 0.00019231 | 0.34119
75 | 6.4982e-06 | 0.058992 | 0.00024883 | 0.063412 | 5.0089 | [12 empty] | 8.9568e-05 | 0.0014007 | 1.0555 | 0.17 | 3.7746e-05 | 0.0004 | 1.9186 | 6.9491e-06 | 0.0002 | 0.34659
76 | 6.3897e-06 | 0.06144 | 0.0002639 | 0.066134 | 5.0089 | [12 empty] | 8.6421e-05 | 0.0014152 | 1.0565 | 0.1632 | 3.9298e-05 | 0.00041667 | 1.9499 | 7.2344e-06 | 0.00020833 | 0.35224
77 | 6.272e-06 | 0.0641 | 0.00028087 | 0.069093 | 5.0089 | [12 empty] | 8.3258e-05 | 0.0014305 | 1.0575 | 0.1564 | 4.0982e-05 | 0.00043478 | 1.9828 | 7.5441e-06 | 0.00021739 | 0.35818
78 | 6.1438e-06 | 0.067 | 0.00030009 | 0.072319 | 5.0088 | [12 empty] | 8.0078e-05 | 0.0014466 | 1.0586 | 0.1496 | 4.2817e-05 | 0.00045455 | 2.0174 | 7.8816e-06 | 0.00022727 | 0.36443
79 | 6.0037e-06 | 0.070177 | 0.00032206 | 0.07585 | 5.0088 | [12 empty] | 7.6879e-05 | 0.0014637 | 1.0598 | 0.1428 | 4.4824e-05 | 0.00047619 | 2.0538 | 8.2507e-06 | 0.0002381 | 0.37102
80 | 5.85e-06 | 0.073669 | 0.00034738 | 0.07973 | 5.0088 | [12 empty] | 7.3661e-05 | 0.0014819 | 1.061 | 0.136 | 4.7029e-05 | 0.0005 | 2.0924 | 8.6561e-06 | 0.00025 | 0.37799
81 | 5.6808e-06 | 0.077528 | 0.00037688 | 0.08401 | 5.0088 | [12 empty] | 7.0423e-05 | 0.0015012 | 1.0623 | 0.1292 | 4.9462e-05 | 0.00052632 | 2.1333 | 9.1033e-06 | 0.00026316 | 0.38538
82 | 5.4937e-06 | 0.081815 | 0.00041166 | 0.088753 | 5.0087 | [12 empty] | 6.7164e-05 | 0.0015219 | 1.0638 | 0.1224 | 5.216e-05 | 0.00055556 | 2.1768 | 9.5994e-06 | 0.00027778 | 0.39324
83 | 5.2858e-06 | 0.086603 | 0.00045323 | 0.094035 | 5.0087 | [12 empty] | 6.3882e-05 | 0.0015441 | 1.0654 | 0.1156 | 5.517e-05 | 0.00058824 | 2.2232 | 1.0153e-05 | 0.00029412 | 0.40163
84 | 5.0537e-06 | 0.091987 | 0.00050374 | 0.099947 | 5.0087 | [12 empty] | 6.0575e-05 | 0.0015679 | 1.0671 | 0.1088 | 5.855e-05 | 0.000625 | 2.2729 | 1.0774e-05 | 0.0003125 | 0.4106
85 | 4.7931e-06 | 0.098086 | 0.00056634 | 0.1066 | 5.0086 | [12 empty] | 5.7243e-05 | 0.0015938 | 1.0689 | 0.102 | 6.2371e-05 | 0.00066667 | 2.3264 | 1.1476e-05 | 0.00033333 | 0.42025
86 | 4.4955e-06 | 0.10505 | 0.00064628 | 0.11414 | 5.0065 | [12 empty] | 5.3882e-05 | 0.0039472 | 1.071 | 0.0952 | 6.6725e-05 | 0.00071429 | 2.3841 | 1.2276e-05 | 0.00035714 | 0.43067
87 | 7.1174e-06 | 0.11308 | 0.00041799 | 0.1224 | 6.1888 | [12 empty] | 8.9616e-05 | 0.0014078 | 1.0556 | 0.1703 | 7.2817e-05 | 0.00076923 | 2.4481 | 1.3408e-05 | 0.00038462 | 0.44225
88 | 6.6673e-06 | 0.12247 | 0.00048333 | 0.13261 | 6.1887 | [12 empty] | 8.354e-05 | 0.0014368 | 1.0575 | 0.1572 | 7.8706e-05 | 0.00083333 | 2.518 | 1.449e-05 | 0.00041667 | 0.45488
89 | 6.1428e-06 | 0.13356 | 0.00057165 | 0.14455 | 6.1887 | [12 empty] | 7.7399e-05 | 0.001469 | 1.0597 | 0.1441 | 8.5633e-05 | 0.00090909 | 2.5948 | 1.5763e-05 | 0.00045455 | 0.46876
90 | 5.5254e-06 | 0.14686 | 0.00069726 | 0.15866 | 6.1886 | [12 empty] | 7.1188e-05 | 0.0015051 | 1.0621 | 0.131 | 9.3903e-05 | 0.001 | 2.6799 | 1.7282e-05 | 0.0005 | 0.48413
91 | 4.7913e-06 | 0.1631 | 0.000889 | 0.17553 | 6.1886 | [12 empty] | 6.4899e-05 | 0.0015462 | 1.065 | 0.1179 | 0.00010395 | 0.0011111 | 2.7752 | 1.9126e-05 | 0.00055556 | 0.50134
92 | 3.9095e-06 | 0.18338 | 0.001215 | 0.19596 | 6.1885 | [12 empty] | 5.852e-05 | 0.0015936 | 1.0684 | 0.1048 | 0.00011642 | 0.00125 | 2.8832 | 2.1415e-05 | 0.000625 | 0.52084
93 | 2.8398e-06 | 0.2094 | 0.0018822 | 0.22104 | 6.1863 | [12 empty] | 5.2041e-05 | 0.0039037 | 1.0724 | 0.0917 | 0.00013234 | 0.0014286 | 3.0076 | 2.4334e-05 | 0.00071429 | 0.54329
94 | 9.1815e-06 | 0.24399 | 0.00071632 | 0.27037 | 10.3687 | [12 empty] | 8.916e-05 | 0.0014074 | 1.0559 | 0.1698 | 0.00015942 | 0.0016667 | 3.1607 | 2.9376e-05 | 0.00083333 | 0.57099
95 | 6.9998e-06 | 0.29264 | 0.0011139 | 0.32079 | 10.3686 | [12 empty] | 7.594e-05 | 0.0014757 | 1.0605 | 0.1415 | 0.00018921 | 0.002 | 3.3448 | 3.4839e-05 | 0.001 | 0.60427
96 | 4.052e-06 | 0.36552 | 0.0023329 | 0.3899 | 10.3685 | [12 empty] | 6.2378e-05 | 0.0015646 | 1.0666 | 0.1132 | 0.00023302 | 0.0025 | 3.5749 | 4.2863e-05 | 0.00125 | 0.64581
97 | 5.4737e-07 | 0.48659 | 0.020983 | 0.49189 | 10.3683 | [12 empty] | 4.8375e-05 | 0.0016889 | 1.0756 | 0.0849 | 0.00030522 | 0.0033333 | 3.8814 | 5.6082e-05 | 0.0016667 | 0.70108
98 | 5.8522e-08 | 0.71939 | 0.21188 | 0.72027 | 10.3666 | [12 empty] | 3.3748e-05 | 0.0033533 | 1.0906 | 0.0566 | 0.0004567 | 0.005 | 4.3502 | 8.3901e-05 | 0.0025 | 0.7856