## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Rejection | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Mass transfer | Pressure drop Corr | CP modulus Corr | Cross-flow Velocity | Bulk pH | Permeate pH | Film layer pH | Bulk Alkalinity | Film layer Alkalinity | Permeate Alkalinity | Trace Conc. in Bulk | Trace Conc. in Permeate
0 | 5.4601e-06 | 0.015283 | 7.1475e-05 | 99.5323 | 0.016238 | 4.9 | 13.5433 | 12.0339 | 13.0588 | 12.8028 | 9.1201 | 0.38516 | 0.009723 | 0.012756 | 0.016399 | 0.014797 | 0.43883 | 1.0107 | 8.9641e-05 | 0.0013985 | 1.0554 | 0.17 | 11.2913 | 12.2863 | 11.2192 | 0.0025256 | 0.054832 | 0.021752 | 0.00011479 | 3.8531e-08
1 | 4.4628e-06 | 0.015436 | 0.00027749 | 98.2024 | 0.051578 | 4.8999 | [12 empty] | 3.6607e-06 | 0.005021 | 15.7879 | 0.1683 | 11.2524 | 5.9787 | 6.9981 | 0.0023314 |  | 2.1818e-06 | 0.00011595 | 1.061e-05
2 | 4.4414e-06 | 0.015591 | 0.00028298 | 98.185 | 0.052347 | 4.8999 | [12 empty] | 3.6283e-06 | 0.0050338 | 15.8515 | 0.1666 | 11.2565 | 5.9772 | 6.9981 | 0.0023552 |  | 2.1801e-06 | 0.00011703 | 1.0642e-05
3 | 4.4196e-06 | 0.015749 | 0.00028863 | 98.1673 | 0.053132 | 4.8998 | [12 empty] | 3.5959e-06 | 0.0050467 | 15.916 | 0.1649 | 11.2606 | 5.9758 | 6.9981 | 0.0023794 |  | 2.1782e-06 | 0.00011812 | 1.0673e-05
4 | 4.3973e-06 | 0.01591 | 0.00029446 | 98.1492 | 0.053933 | 4.8998 | [12 empty] | 3.5635e-06 | 0.0050599 | 15.9814 | 0.1632 | 11.2648 | 5.9743 | 6.9981 | 0.0024042 |  | 2.1761e-06 | 0.00011924 | 1.0704e-05
5 | 4.3746e-06 | 0.016074 | 0.00030047 | 98.1308 | 0.05475 | 4.8997 | [12 empty] | 3.5309e-06 | 0.0050731 | 16.0479 | 0.1615 | 11.2691 | 5.9728 | 6.9981 | 0.0024295 |  | 2.1739e-06 | 0.00012038 | 1.0734e-05
6 | 4.3514e-06 | 0.016242 | 0.00030666 | 98.1119 | 0.055585 | 4.8997 | [12 empty] | 3.4984e-06 | 0.0050866 | 16.1153 | 0.1598 | 11.2733 | 5.9713 | 6.9981 | 0.0024553 |  | 2.1715e-06 | 0.00012155 | 1.0763e-05
7 | 4.3277e-06 | 0.016414 | 0.00031305 | 98.0927 | 0.056436 | 4.8996 | [12 empty] | 3.4658e-06 | 0.0051003 | 16.1837 | 0.1581 | 11.2776 | 5.9698 | 6.9981 | 0.0024817 |  | 2.1689e-06 | 0.00012274 | 1.0792e-05
8 | 4.3036e-06 | 0.016589 | 0.00031965 | 98.0731 | 0.057305 | 4.8996 | [12 empty] | 3.4332e-06 | 0.0051141 | 16.2533 | 0.1564 | 11.282 | 5.9684 | 6.9981 | 0.0025086 |  | 2.1661e-06 | 0.00012396 | 1.082e-05
9 | 4.279e-06 | 0.016767 | 0.00032645 | 98.0531 | 0.058192 | 4.8995 | [12 empty] | 3.4005e-06 | 0.0051281 | 16.3239 | 0.1547 | 11.2864 | 5.9669 | 6.9981 | 0.0025362 |  | 2.1631e-06 | 0.0001252 | 1.0848e-05
10 | 4.2539e-06 | 0.01695 | 0.00033347 | 98.0326 | 0.059098 | 4.8995 | [12 empty] | 3.3677e-06 | 0.0051423 | 16.3956 | 0.153 | 11.2909 | 5.9655 | 6.9981 | 0.0025643 |  | 2.1598e-06 | 0.00012647 | 1.0875e-05
11 | 4.2283e-06 | 0.017137 | 0.00034073 | 98.0117 | 0.060022 | 4.8994 | [12 empty] | 3.335e-06 | 0.0051568 | 16.4684 | 0.1513 | 11.2954 | 5.964 | 6.9981 | 0.0025931 |  | 2.1564e-06 | 0.00012777 | 1.0901e-05
12 | 4.2022e-06 | 0.017328 | 0.00034822 | 97.9904 | 0.060964 | 4.8994 | [12 empty] | 3.3021e-06 | 0.0051714 | 16.5425 | 0.1496 | 11.2999 | 5.9626 | 6.9981 | 0.0026226 |  | 2.1526e-06 | 0.0001291 | 1.0926e-05
13 | 4.1756e-06 | 0.017523 | 0.00035596 | 97.9686 | 0.061927 | 4.8993 | [12 empty] | 3.2693e-06 | 0.0051862 | 16.6177 | 0.1479 | 11.3045 | 5.9611 | 6.9981 | 0.0026527 |  | 2.1486e-06 | 0.00013046 | 1.095e-05
14 | 4.1484e-06 | 0.017722 | 0.00036396 | 97.9463 | 0.062909 | 4.8993 | [12 empty] | 3.2364e-06 | 0.0052013 | 16.6942 | 0.1462 | 11.3092 | 5.9597 | 6.9981 | 0.0026835 |  | 2.1442e-06 | 0.00013185 | 1.0973e-05
15 | 4.1207e-06 | 0.017927 | 0.00037223 | 97.9236 | 0.063911 | 4.8992 | [12 empty] | 3.2034e-06 | 0.0052165 | 16.7719 | 0.1445 | 11.3139 | 5.9583 | 6.9981 | 0.002715 |  | 2.1396e-06 | 0.00013327 | 1.0995e-05
16 | 4.0924e-06 | 0.018136 | 0.00038078 | 97.9004 | 0.064934 | 4.8991 | [12 empty] | 3.1704e-06 | 0.005232 | 16.851 | 0.1428 | 11.3187 | 5.9568 | 6.9981 | 0.0027473 |  | 2.1346e-06 | 0.00013472 | 1.1016e-05
17 | 4.0636e-06 | 0.018349 | 0.00038962 | 97.8766 | 0.065977 | 4.8991 | [12 empty] | 3.1373e-06 | 0.0052478 | 16.9314 | 0.1411 | 11.3235 | 5.9554 | 6.9981 | 0.0027804 |  | 2.1293e-06 | 0.00013622 | 1.1036e-05
18 | 4.0342e-06 | 0.018568 | 0.00039878 | 97.8524 | 0.067042 | 4.899 | [12 empty] | 3.1042e-06 | 0.0052637 | 17.0133 | 0.1394 | 11.3283 | 5.954 | 6.9981 | 0.0028143 |  | 2.1236e-06 | 0.00013774 | 1.1055e-05
19 | 4.0043e-06 | 0.018793 | 0.00040826 | 97.8276 | 0.068129 | 4.899 | [12 empty] | 3.0711e-06 | 0.0052799 | 17.0965 | 0.1377 | 11.3333 | 5.9525 | 6.9981 | 0.002849 |  | 2.1175e-06 | 0.00013931 | 1.1072e-05
20 | 3.9737e-06 | 0.019023 | 0.00041807 | 97.8022 | 0.069237 | 4.8989 | [12 empty] | 3.0378e-06 | 0.0052964 | 17.1812 | 0.136 | 11.3383 | 5.9511 | 6.9981 | 0.0028846 |  | 2.111e-06 | 0.00014091 | 1.1088e-05
21 | 3.9426e-06 | 0.019258 | 0.00042823 | 97.7763 | 0.070368 | 4.8989 | [12 empty] | 3.0046e-06 | 0.0053131 | 17.2675 | 0.1343 | 11.3433 | 5.9497 | 6.9981 | 0.0029211 |  | 2.104e-06 | 0.00014255 | 1.1103e-05
22 | 3.9108e-06 | 0.019499 | 0.00043877 | 97.7498 | 0.071522 | 4.8988 | [12 empty] | 2.9713e-06 | 0.0053301 | 17.3553 | 0.1326 | 11.3484 | 5.9483 | 6.9981 | 0.0029585 |  | 2.0966e-06 | 0.00014424 | 1.1116e-05
23 | 3.8785e-06 | 0.019747 | 0.00044969 | 97.7228 | 0.072699 | 4.8987 | [12 empty] | 2.9379e-06 | 0.0053474 | 17.4447 | 0.1309 | 11.3536 | 5.9468 | 6.9981 | 0.0029969 |  | 2.0887e-06 | 0.00014597 | 1.1127e-05
24 | 3.8455e-06 | 0.020001 | 0.00046101 | 97.6951 | 0.073899 | 4.8987 | [12 empty] | 2.9045e-06 | 0.005365 | 17.5358 | 0.1292 | 11.3588 | 5.9454 | 6.9981 | 0.0030363 |  | 2.0802e-06 | 0.00014774 | 1.1137e-05
25 | 3.8118e-06 | 0.020261 | 0.00047276 | 97.6667 | 0.075124 | 4.8986 | [12 empty] | 2.871e-06 | 0.0053828 | 17.6287 | 0.1275 | 11.3642 | 5.944 | 6.9981 | 0.0030768 |  | 2.0712e-06 | 0.00014956 | 1.1145e-05
26 | 3.7776e-06 | 0.020529 | 0.00048495 | 97.6377 | 0.076373 | 4.8986 | [12 empty] | 2.8374e-06 | 0.0054009 | 17.7233 | 0.1258 | 11.3695 | 5.9425 | 6.9981 | 0.0031183 |  | 2.0616e-06 | 0.00015143 | 1.1151e-05
27 | 3.7427e-06 | 0.020803 | 0.00049761 | 97.6081 | 0.077646 | 4.8985 | [12 empty] | 2.8039e-06 | 0.0054194 | 17.8197 | 0.1241 | 11.375 | 5.9411 | 6.9981 | 0.003161 |  | 2.0513e-06 | 0.00015335 | 1.1156e-05
28 | 3.7071e-06 | 0.021085 | 0.00051075 | 97.5777 | 0.078945 | 4.8984 | [12 empty] | 2.7702e-06 | 0.0054382 | 17.9181 | 0.1224 | 11.3805 | 5.9396 | 6.9981 | 0.0032049 |  | 2.0404e-06 | 0.00015533 | 1.1158e-05
29 | 3.6708e-06 | 0.021375 | 0.00052442 | 97.5466 | 0.080269 | 4.8984 | [12 empty] | 2.7365e-06 | 0.0054573 | 18.0184 | 0.1207 | 11.3861 | 5.9381 | 6.9981 | 0.00325 |  | 2.0288e-06 | 0.00015736 | 1.1159e-05
30 | 3.6339e-06 | 0.021673 | 0.00053862 | 97.5148 | 0.08162 | 4.8983 | [12 empty] | 2.7027e-06 | 0.0054767 | 18.1207 | 0.119 | 11.3918 | 5.9366 | 6.9981 | 0.0032964 |  | 2.0165e-06 | 0.00015945 | 1.1157e-05
31 | 3.5963e-06 | 0.021979 | 0.00055339 | 97.4822 | 0.082996 | 4.8983 | [12 empty] | 2.6689e-06 | 0.0054965 | 18.2252 | 0.1173 | 11.3975 | 5.9351 | 6.9981 | 0.0033441 |  | 2.0034e-06 | 0.0001616 | 1.1153e-05
32 | 3.558e-06 | 0.022295 | 0.00056876 | 97.4489 | 0.084399 | 4.8982 | [12 empty] | 2.635e-06 | 0.0055167 | 18.3318 | 0.1156 | 11.4033 | 5.9336 | 6.9981 | 0.0033933 |  | 1.9896e-06 | 0.00016381 | 1.1147e-05
33 | 3.519e-06 | 0.022619 | 0.00058476 | 97.4147 | 0.085829 | 4.8981 | [12 empty] | 2.6011e-06 | 0.0055372 | 18.4407 | 0.1139 | 11.4092 | 5.9321 | 6.9982 | 0.0034439 |  | 1.9749e-06 | 0.00016609 | 1.1138e-05
34 | 3.4793e-06 | 0.022953 | 0.00060142 | 97.3797 | 0.087286 | 4.8981 | [12 empty] | 2.567e-06 | 0.0055581 | 18.5519 | 0.1122 | 11.4152 | 5.9305 | 6.9982 | 0.0034961 |  | 1.9594e-06 | 0.00016844 | 1.1127e-05
35 | 3.4389e-06 | 0.023297 | 0.00061879 | 97.3438 | 0.088771 | 4.898 | [12 empty] | 2.533e-06 | 0.0055795 | 18.6656 | 0.1105 | 11.4213 | 5.9289 | 6.9982 | 0.0035498 |  | 1.943e-06 | 0.00017086 | 1.1113e-05
36 | 3.3978e-06 | 0.023651 | 0.0006369 | 97.3071 | 0.090283 | 4.8979 | [12 empty] | 2.4988e-06 | 0.0056012 | 18.7817 | 0.1088 | 11.4275 | 5.9273 | 6.9982 | 0.0036052 |  | 1.9257e-06 | 0.00017335 | 1.1097e-05
37 | 3.356e-06 | 0.024016 | 0.00065579 | 97.2694 | 0.091825 | 4.8979 | [12 empty] | 2.4646e-06 | 0.0056234 | 18.9005 | 0.1071 | 11.4338 | 5.9257 | 6.9982 | 0.0036624 |  | 1.9076e-06 | 0.00017593 | 1.1077e-05
38 | 3.3134e-06 | 0.024393 | 0.00067551 | 97.2307 | 0.093394 | 4.8978 | [12 empty] | 2.4303e-06 | 0.005646 | 19.022 | 0.1054 | 11.4401 | 5.9241 | 6.9982 | 0.0037215 |  | 1.8885e-06 | 0.00017859 | 1.1055e-05
39 | 3.2701e-06 | 0.024782 | 0.0006961 | 97.1911 | 0.094993 | 4.8977 | [12 empty] | 2.396e-06 | 0.0056691 | 19.1463 | 0.1037 | 11.4466 | 5.9225 | 6.9982 | 0.0037825 |  | 1.8686e-06 | 0.00018133 | 1.103e-05
40 | 3.2261e-06 | 0.025183 | 0.00071763 | 97.1504 | 0.096621 | 4.8977 | [12 empty] | 2.3616e-06 | 0.0056926 | 19.2736 | 0.102 | 11.4532 | 5.9208 | 6.9982 | 0.0038455 |  | 1.8477e-06 | 0.00018417 | 1.1002e-05
41 | 3.1813e-06 | 0.025598 | 0.00074014 | 97.1086 | 0.098279 | 4.8976 | [12 empty] | 2.3271e-06 | 0.0057167 | 19.4039 | 0.1003 | 11.4598 | 5.9192 | 6.9982 | 0.0039106 |  | 1.826e-06 | 0.00018711 | 1.0971e-05
42 | 3.1357e-06 | 0.026026 | 0.00076369 | 97.0657 | 0.099966 | 4.8975 | [12 empty] | 2.2925e-06 | 0.0057413 | 19.5374 | 0.0986 | 11.4666 | 5.9176 | 6.9982 | 0.003978 |  | 1.8035e-06 | 0.00019014 | 1.0936e-05
43 | 3.0895e-06 | 0.02647 | 0.00078836 | 97.0216 | 0.10168 | 4.8975 | [12 empty] | 2.2579e-06 | 0.0057664 | 19.6743 | 0.0969 | 11.4735 | 5.916 | 6.9982 | 0.0040478 |  | 1.7802e-06 | 0.00019329 | 1.0898e-05
44 | 3.0424e-06 | 0.026928 | 0.00081421 | 96.9764 | 0.10343 | 4.8974 | [12 empty] | 2.2231e-06 | 0.005792 | 19.8145 | 0.0952 | 11.4805 | 5.9144 | 6.9982 | 0.00412 |  | 1.7561e-06 | 0.00019654 | 1.0856e-05
45 | 2.9947e-06 | 0.027403 | 0.00084132 | 96.9298 | 0.10521 | 4.8973 | [12 empty] | 2.1883e-06 | 0.0058183 | 19.9585 | 0.0935 | 11.4877 | 5.9128 | 6.9982 | 0.0041949 |  | 1.7314e-06 | 0.00019992 | 1.0811e-05
46 | 2.9461e-06 | 0.027895 | 0.00086977 | 96.882 | 0.10702 | 4.8973 | [12 empty] | 2.1535e-06 | 0.0058452 | 20.1061 | 0.0918 | 11.4949 | 5.9113 | 6.9982 | 0.0042725 |  | 1.7062e-06 | 0.00020342 | 1.0762e-05
47 | 2.8969e-06 | 0.028405 | 0.00089966 | 96.8327 | 0.10886 | 4.8972 | [12 empty] | 2.1185e-06 | 0.0058726 | 20.2578 | 0.0901 | 11.5023 | 5.9099 | 6.9982 | 0.0043531 |  | 1.6806e-06 | 0.00020706 | 1.0709e-05
48 | 2.8468e-06 | 0.028934 | 0.00093108 | 96.782 | 0.11073 | 4.8971 | [12 empty] | 2.0835e-06 | 0.0059008 | 20.4135 | 0.0884 | 11.5099 | 5.9085 | 6.9982 | 0.0044368 |  | 1.6546e-06 | 0.00021083 | 1.0653e-05
49 | 2.796e-06 | 0.029483 | 0.00096414 | 96.7298 | 0.11264 | 4.897 | [12 empty] | 2.0484e-06 | 0.0059296 | 20.5736 | 0.0867 | 11.5175 | 5.9073 | 6.9982 | 0.0045238 |  | 1.6284e-06 | 0.00021476 | 1.0592e-05
50 | 2.7427e-06 | 0.030053 | 0.00099873 | 96.6768 | 0.11447 | 4.8932 | [12 empty] | 2.0132e-06 | 0.013408 | 20.7383 | 0.085 | 11.5253 | 5.9066 | 6.9982 | 0.0046142 |  | 1.603e-06 | 0.00021884 | 1.0519e-05
51 | 4.2079e-06 | 0.030646 | 0.00056117 | 98.1689 | 0.093785 | 5.5974 | [12 empty] | 3.7206e-06 | 0.0050888 | 15.6782 | 0.1715 | 11.533 | 6.035 | 6.9978 | 0.0047084 |  | 1.8824e-06 | 0.00022309 | 8.4166e-06
52 | 4.1463e-06 | 0.031273 | 0.00058314 | 98.1353 | 0.096038 | 5.5973 | [12 empty] | 3.654e-06 | 0.0051152 | 15.8068 | 0.168 | 11.5411 | 6.0305 | 6.9978 | 0.0048064 |  | 1.8498e-06 | 0.00022757 | 8.4072e-06
53 | 4.083e-06 | 0.031926 | 0.00060643 | 98.1005 | 0.098357 | 5.5972 | [12 empty] | 3.5873e-06 | 0.0051423 | 15.9393 | 0.1645 | 11.5494 | 6.0258 | 6.9978 | 0.0049086 |  | 1.8149e-06 | 0.00023223 | 8.3944e-06
54 | 4.0179e-06 | 0.032607 | 0.00063114 | 98.0644 | 0.10074 | 5.5972 | [12 empty] | 3.5204e-06 | 0.0051702 | 16.0758 | 0.161 | 11.5579 | 6.0209 | 6.9978 | 0.0050153 |  | 1.778e-06 | 0.00023709 | 8.378e-06
55 | 3.951e-06 | 0.033317 | 0.0006574 | 98.0268 | 0.1032 | 5.5971 | [12 empty] | 3.4533e-06 | 0.0051988 | 16.2166 | 0.1575 | 11.5665 | 6.0159 | 6.9978 | 0.0051267 |  | 1.739e-06 | 0.00024218 | 8.3579e-06
56 | 3.8823e-06 | 0.03406 | 0.00068534 | 97.9878 | 0.10573 | 5.597 | [12 empty] | 3.386e-06 | 0.0052282 | 16.362 | 0.154 | 11.5753 | 6.0108 | 6.9978 | 0.0052432 |  | 1.6982e-06 | 0.00024749 | 8.3337e-06
57 | 3.8117e-06 | 0.034836 | 0.00071511 | 97.9472 | 0.10833 | 5.5969 | [12 empty] | 3.3185e-06 | 0.0052585 | 16.5122 | 0.1505 | 11.5843 | 6.0057 | 6.9978 | 0.0053651 |  | 1.6558e-06 | 0.00025305 | 8.3054e-06
58 | 3.7393e-06 | 0.035648 | 0.00074685 | 97.9049 | 0.111 | 5.5969 | [12 empty] | 3.2508e-06 | 0.0052897 | 16.6674 | 0.147 | 11.5935 | 6.0006 | 6.9978 | 0.0054928 |  | 1.6123e-06 | 0.00025888 | 8.2726e-06
59 | 3.6649e-06 | 0.036499 | 0.00078076 | 97.8609 | 0.11375 | 5.5968 | [12 empty] | 3.183e-06 | 0.0053218 | 16.828 | 0.1435 | 11.6029 | 5.9956 | 6.9978 | 0.0056267 |  | 1.568e-06 | 0.00026499 | 8.2352e-06
60 | 3.5887e-06 | 0.037392 | 0.00081704 | 97.815 | 0.11657 | 5.5967 | [12 empty] | 3.1149e-06 | 0.005355 | 16.9943 | 0.14 | 11.6126 | 5.9908 | 6.9978 | 0.0057673 |  | 1.5234e-06 | 0.00027141 | 8.1929e-06
61 | 3.5105e-06 | 0.03833 | 0.0008559 | 97.767 | 0.11947 | 5.5966 | [12 empty] | 3.0466e-06 | 0.0053891 | 17.1666 | 0.1365 | 11.6224 | 5.9862 | 6.9978 | 0.0059152 |  | 1.479e-06 | 0.00027816 | 8.1455e-06
62 | 3.4303e-06 | 0.039316 | 0.00089761 | 97.717 | 0.12246 | 5.5966 | [12 empty] | 2.9781e-06 | 0.0054244 | 17.3453 | 0.133 | 11.6326 | 5.982 | 6.9978 | 0.0060708 |  | 1.4355e-06 | 0.00028527 | 8.0927e-06
63 | 3.3481e-06 | 0.040355 | 0.00094245 | 97.6646 | 0.12552 | 5.5965 | [12 empty] | 2.9093e-06 | 0.0054609 | 17.5309 | 0.1295 | 11.6429 | 5.9783 | 6.9978 | 0.0062348 |  | 1.3933e-06 | 0.00029276 | 8.0343e-06
64 | 3.264e-06 | 0.041449 | 0.00099076 | 97.6097 | 0.12866 | 5.5964 | [12 empty] | 2.8404e-06 | 0.0054987 | 17.7237 | 0.126 | 11.6536 | 5.9751 | 6.9978 | 0.006408 |  | 1.353e-06 | 0.00030067 | 7.9701e-06
65 | 3.1779e-06 | 0.042605 | 0.0010429 | 97.5522 | 0.13188 | 5.5963 | [12 empty] | 2.7711e-06 | 0.0055378 | 17.9244 | 0.1225 | 11.6646 | 5.9725 | 6.9978 | 0.006591 |  | 1.315e-06 | 0.00030903 | 7.8998e-06
66 | 3.0899e-06 | 0.043828 | 0.0010993 | 97.4918 | 0.13519 | 5.5962 | [12 empty] | 2.7017e-06 | 0.0055783 | 18.1334 | 0.119 | 11.6758 | 5.9706 | 6.9979 | 0.0067849 |  | 1.2798e-06 | 0.00031789 | 7.8232e-06
67 | 2.9998e-06 | 0.045123 | 0.0011604 | 97.4283 | 0.13859 | 5.5962 | [12 empty] | 2.632e-06 | 0.0056204 | 18.3514 | 0.1155 | 11.6874 | 5.9695 | 6.9979 | 0.0069904 |  | 1.2475e-06 | 0.00032728 | 7.7401e-06
68 | 2.9078e-06 | 0.046496 | 0.0012269 | 97.3614 | 0.14206 | 5.5961 | [12 empty] | 2.562e-06 | 0.0056641 | 18.579 | 0.112 | 11.6993 | 5.9692 | 6.9979 | 0.0072088 |  | 1.2184e-06 | 0.00033727 | 7.6502e-06
69 | 2.8138e-06 | 0.047957 | 0.0012993 | 97.2908 | 0.14563 | 5.596 | [12 empty] | 2.4917e-06 | 0.0057095 | 18.817 | 0.1085 | 11.7116 | 5.9698 | 6.9979 | 0.0074413 |  | 1.1925e-06 | 0.0003479 | 7.5534e-06
70 | 2.7179e-06 | 0.049512 | 0.0013784 | 97.2161 | 0.14928 | 5.5959 | [12 empty] | 2.4212e-06 | 0.0057568 | 19.0662 | 0.105 | 11.7242 | 5.9713 | 6.9979 | 0.0076893 |  | 1.1698e-06 | 0.00035925 | 7.4494e-06
71 | 2.6202e-06 | 0.051172 | 0.0014651 | 97.1369 | 0.15302 | 5.5958 | [12 empty] | 2.3504e-06 | 0.0058062 | 19.3275 | 0.1015 | 11.7373 | 5.9736 | 6.9979 | 0.0079545 |  | 1.1501e-06 | 0.00037138 | 7.3381e-06
72 | 2.5205e-06 | 0.052947 | 0.0015605 | 97.0527 | 0.15684 | 5.5957 | [12 empty] | 2.2792e-06 | 0.0058577 | 19.6021 | 0.098 | 11.7508 | 5.9769 | 6.9979 | 0.0082385 |  | 1.1333e-06 | 0.00038438 | 7.2192e-06
73 | 2.4191e-06 | 0.05485 | 0.0016658 | 96.9629 | 0.16076 | 5.5956 | [12 empty] | 2.2077e-06 | 0.0059117 | 19.891 | 0.0945 | 11.7648 | 5.9811 | 6.9979 | 0.0085436 |  | 1.1191e-06 | 0.00039835 | 7.0927e-06
74 | 2.3135e-06 | 0.056896 | 0.0017824 | 96.8672 | 0.16458 | 5.5894 | [12 empty] | 2.136e-06 | 0.013982 | 20.1957 | 0.091 | 11.7793 | 5.9865 | 6.9979 | 0.0088721 |  | 1.1074e-06 | 0.00041339 | 6.9518e-06
75 | 4.8806e-06 | 0.0591 | 0.00092671 | 98.432 | 0.1776 | 6.6946 | [12 empty] | 4.3934e-06 | 0.0071103 | 14.5572 | 0.2075 | 11.7939 | 5.9897 | 6.9974 | 0.009227 |  | 1.1135e-06 | 0.00042965 | 6.9011e-06
76 | 4.6679e-06 | 0.061524 | 0.00099836 | 98.3773 | 0.18304 | 6.6944 | [12 empty] | 4.2391e-06 | 0.0071839 | 14.7939 | 0.1992 | 11.8095 | 5.9944 | 6.9974 | 0.0096114 |  | 1.0981e-06 | 0.00044727 | 6.7657e-06
77 | 4.4502e-06 | 0.064156 | 0.0010789 | 98.3183 | 0.18863 | 6.6943 | [12 empty] | 4.0839e-06 | 0.0072615 | 15.0451 | 0.1909 | 11.8258 | 6.0001 | 6.9974 | 0.010029 |  | 1.0846e-06 | 0.00046642 | 6.6194e-06
78 | 4.2276e-06 | 0.067023 | 0.0011699 | 98.2545 | 0.19437 | 6.6942 | [12 empty] | 3.928e-06 | 0.0073434 | 15.3125 | 0.1826 | 11.8427 | 6.0069 | 6.9974 | 0.010485 |  | 1.0724e-06 | 0.00048732 | 6.462e-06
79 | 4.0003e-06 | 0.070159 | 0.0012734 | 98.185 | 0.20026 | 6.694 | [12 empty] | 3.7711e-06 | 0.0074301 | 15.5978 | 0.1743 | 11.8604 | 6.0148 | 6.9974 | 0.010984 |  | 1.0613e-06 | 0.00051022 | 6.2933e-06
80 | 3.7686e-06 | 0.073603 | 0.001392 | 98.1088 | 0.20631 | 6.6939 | [12 empty] | 3.6132e-06 | 0.0075223 | 15.9033 | 0.166 | 11.8789 | 6.0238 | 6.9974 | 0.011533 |  | 1.0507e-06 | 0.00053541 | 6.1131e-06
81 | 3.5327e-06 | 0.077404 | 0.0015289 | 98.0248 | 0.21251 | 6.6937 | [12 empty] | 3.4544e-06 | 0.0076204 | 16.2314 | 0.1577 | 11.8983 | 6.0339 | 6.9974 | 0.01214 |  | 1.0405e-06 | 0.00056327 | 5.9212e-06
82 | 3.293e-06 | 0.081619 | 0.0016883 | 97.9315 | 0.21886 | 6.6935 | [12 empty] | 3.2946e-06 | 0.0077254 | 16.5852 | 0.1494 | 11.9188 | 6.0453 | 6.9974 | 0.012815 |  | 1.0304e-06 | 0.00059424 | 5.7176e-06
83 | 3.0497e-06 | 0.086321 | 0.001876 | 97.8267 | 0.22536 | 6.6934 | [12 empty] | 3.1336e-06 | 0.0078379 | 16.9683 | 0.1411 | 11.9403 | 6.0581 | 6.9974 | 0.013569 |  | 1.0202e-06 | 0.00062885 | 5.5023e-06
84 | 2.8035e-06 | 0.091599 | 0.0020995 | 97.7079 | 0.23202 | 6.6932 | [12 empty] | 2.9714e-06 | 0.0079592 | 17.3851 | 0.1328 | 11.9631 | 6.0724 | 6.9974 | 0.014417 |  | 1.0098e-06 | 0.00066781 | 5.2755e-06
85 | 2.5548e-06 | 0.097565 | 0.0023694 | 97.5714 | 0.23883 | 6.693 | [12 empty] | 2.8079e-06 | 0.0080904 | 17.841 | 0.1245 | 11.9873 | 6.0883 | 6.9974 | 0.015378 |  | 9.9928e-07 | 0.00071198 | 5.0376e-06
86 | 2.3004e-06 | 0.10436 | 0.0027014 | 97.4116 | 0.24544 | 6.6824 | [12 empty] | 2.6431e-06 | 0.020037 | 18.3426 | 0.1162 | 12.0131 | 6.1066 | 6.9974 | 0.016476 |  | 9.8816e-07 | 0.00076248 | 4.7834e-06
87 | 5.1897e-06 | 0.11219 | 0.0014364 | 98.7196 | 0.30708 | 9.3414 | [12 empty] | 5.1122e-06 | 0.0096647 | 13.6193 | 0.247 | 12.0397 | 6.1099 | 6.9962 | 0.017743 |  | 1.136e-06 | 0.00082076 | 5.1293e-06
88 | 4.655e-06 | 0.12141 | 0.0016664 | 98.6275 | 0.31971 | 9.3411 | [12 empty] | 4.7656e-06 | 0.0098634 | 14.057 | 0.228 | 12.0694 | 6.1292 | 6.9962 | 0.019222 |  | 1.112e-06 | 0.00088873 | 4.8371e-06
89 | 4.1117e-06 | 0.1323 | 0.001962 | 98.517 | 0.33271 | 9.3408 | [12 empty] | 4.4154e-06 | 0.010084 | 14.5506 | 0.209 | 12.1016 | 6.1515 | 6.9963 | 0.020969 |  | 1.0852e-06 | 0.00096909 | 4.5245e-06
90 | 3.5621e-06 | 0.14533 | 0.0023535 | 98.3806 | 0.34607 | 9.3405 | [12 empty] | 4.0611e-06 | 0.010333 | 15.1132 | 0.19 | 12.1367 | 6.1773 | 6.9963 | 0.023066 |  | 1.0552e-06 | 0.0010655 | 4.1922e-06
91 | 3.0094e-06 | 0.16122 | 0.0028927 | 98.2058 | 0.35981 | 9.3401 | [12 empty] | 3.7023e-06 | 0.010615 | 15.7633 | 0.171 | 12.1753 | 6.2074 | 6.9963 | 0.025629 |  | 1.0219e-06 | 0.0011835 | 3.8418e-06
92 | 2.4578e-06 | 0.18101 | 0.0036744 | 97.9701 | 0.37395 | 9.3397 | [12 empty] | 3.3385e-06 | 0.01094 | 16.5267 | 0.152 | 12.2182 | 6.2429 | 6.9963 | 0.028832 |  | 9.8557e-07 | 0.0013309 | 3.4764e-06
93 | 1.9087e-06 | 0.20635 | 0.004896 | 97.6273 | 0.38805 | 9.3246 | [12 empty] | 2.969e-06 | 0.026798 | 17.4419 | 0.133 | 12.2665 | 6.2856 | 6.9964 | 0.032951 |  | 9.4669e-07 | 0.0015206 | 3.0979e-06
94 | 4.2822e-06 | 0.23992 | 0.0029988 | 98.7501 | 0.52949 | 13.5897 | [12 empty] | 5.3627e-06 | 0.010738 | 13.3741 | 0.2616 | 12.3203 | 6.3367 | 6.9946 | 0.038442 |  | 1.1452e-06 | 0.0017735 | 3.1807e-06
95 | 3.0828e-06 | 0.28731 | 0.0043956 | 98.4701 | 0.55999 | 13.5891 | [12 empty] | 4.5678e-06 | 0.011259 | 14.3872 | 0.218 | 12.3852 | 6.3992 | 6.9947 | 0.046131 |  | 1.06e-06 | 0.0021275 | 2.6883e-06
96 | 1.9181e-06 | 0.35803 | 0.0074328 | 97.924 | 0.59198 | 13.5883 | [12 empty] | 3.7523e-06 | 0.011937 | 15.7486 | 0.1744 | 12.4636 | 6.4783 | 6.9948 | 0.057663 |  | 9.5859e-07 | 0.0026587 | 2.1856e-06
97 | 8.5035e-07 | 0.4749 | 0.017569 | 96.3005 | 0.6301 | 13.5872 | [12 empty] | 2.9103e-06 | 0.012885 | 17.7287 | 0.1308 | 12.5631 | 13.3981 | 12.3341 | 0.076884 |  | 0.33547 | 0.0035443 | 1.9904e-07
98 | 0 | 0.70356 | 0 | 100 | 0 | 0 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.052407 |  | 0 | 0.0053163 | 0