## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Rejection (%) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Mass transfer | Pressure drop Corr | CP modulus Corr | Cross-flow Velocity | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. in Brine | Trace Conc. in Permeate
0 | 8.4878e-06 | 0.015283 | 4.7634e-05 | 0.99688 | 0.016796 | 7.42 | 19.1587 | 18.9458 | 18.0933 | 16.483 | 14.7174 | 0.8338 | 0.031947 | 0.030473 | 0.035008 | 0.037418 | 0.96864 | 1.0107 | 8.9641e-05 | 0.0013985 | 1.0554 | 0.17 | 11.2904 | 12.1176 | 11.2191 | 0.0025256 | 0.014499 | 0.00011479 | 2.5524e-08
1 | 6.4592e-06 | 0.015437 | 0.00032963 | 0.97865 | 0.088531 | 7.4199 | [12 empty] | 3.6607e-06 | 0.005021 | 15.7879 | 0.1683 | 11.2662 | 5.8189 | 6.9969 | 0.0024047 | 2.4495e-06 | 0.00011595 | 1.7084e-05
2 | 6.4217e-06 | 0.015591 | 0.0003366 | 0.97841 | 0.089879 | 7.4199 | [12 empty] | 3.6283e-06 | 0.0050338 | 15.8515 | 0.1666 | 11.2704 | 5.8161 | 6.9969 | 0.0024292 | 2.4293e-06 | 0.00011696 | 1.7122e-05
3 | 6.3835e-06 | 0.015748 | 0.00034378 | 0.97817 | 0.091251 | 7.4198 | [12 empty] | 3.5959e-06 | 0.0050467 | 15.916 | 0.1649 | 11.2745 | 5.8133 | 6.9969 | 0.0024542 | 2.4079e-06 | 0.00011799 | 1.7158e-05
4 | 6.3446e-06 | 0.015909 | 0.00035117 | 0.97793 | 0.092647 | 7.4198 | [12 empty] | 3.5635e-06 | 0.0050599 | 15.9814 | 0.1632 | 11.2787 | 5.8104 | 6.9969 | 0.0024797 | 2.3853e-06 | 0.00011904 | 1.7192e-05
5 | 6.3051e-06 | 0.016072 | 0.00035878 | 0.97768 | 0.094067 | 7.4197 | [12 empty] | 3.5309e-06 | 0.0050731 | 16.0479 | 0.1615 | 11.283 | 5.8075 | 6.9969 | 0.0025058 | 2.3616e-06 | 0.00012011 | 1.7224e-05
6 | 6.2649e-06 | 0.016239 | 0.00036662 | 0.97742 | 0.095512 | 7.4197 | [12 empty] | 3.4984e-06 | 0.0050866 | 16.1153 | 0.1598 | 11.2873 | 5.8045 | 6.9969 | 0.0025324 | 2.3366e-06 | 0.00012121 | 1.7255e-05
7 | 6.224e-06 | 0.01641 | 0.00037469 | 0.97717 | 0.096982 | 7.4196 | [12 empty] | 3.4658e-06 | 0.0051003 | 16.1837 | 0.1581 | 11.2916 | 5.8014 | 6.9969 | 0.0025596 | 2.3105e-06 | 0.00012232 | 1.7283e-05
8 | 6.1825e-06 | 0.016584 | 0.00038301 | 0.97691 | 0.098477 | 7.4196 | [12 empty] | 3.4332e-06 | 0.0051141 | 16.2533 | 0.1564 | 11.296 | 5.7983 | 6.9969 | 0.0025874 | 2.2832e-06 | 0.00012347 | 1.731e-05
9 | 6.1403e-06 | 0.016763 | 0.00039159 | 0.97664 | 0.099998 | 7.4195 | [12 empty] | 3.4005e-06 | 0.0051281 | 16.3239 | 0.1547 | 11.3005 | 5.7951 | 6.9969 | 0.0026159 | 2.2548e-06 | 0.00012463 | 1.7334e-05
10 | 6.0974e-06 | 0.016944 | 0.00040044 | 0.97637 | 0.10154 | 7.4195 | [12 empty] | 3.3677e-06 | 0.0051423 | 16.3956 | 0.153 | 11.305 | 5.7919 | 6.9969 | 0.0026449 | 2.2253e-06 | 0.00012582 | 1.7356e-05
11 | 6.0537e-06 | 0.01713 | 0.00040956 | 0.97609 | 0.10312 | 7.4194 | [12 empty] | 3.335e-06 | 0.0051568 | 16.4684 | 0.1513 | 11.3095 | 5.7886 | 6.9969 | 0.0026746 | 2.1947e-06 | 0.00012704 | 1.7375e-05
12 | 6.0094e-06 | 0.01732 | 0.00041897 | 0.97581 | 0.10472 | 7.4194 | [12 empty] | 3.3021e-06 | 0.0051714 | 16.5425 | 0.1496 | 11.3141 | 5.7853 | 6.9969 | 0.002705 | 2.1631e-06 | 0.00012829 | 1.7393e-05
13 | 5.9644e-06 | 0.017515 | 0.00042867 | 0.97552 | 0.10634 | 7.4193 | [12 empty] | 3.2693e-06 | 0.0051862 | 16.6177 | 0.1479 | 11.3187 | 5.782 | 6.9969 | 0.002736 | 2.1306e-06 | 0.00012956 | 1.7407e-05
14 | 5.9186e-06 | 0.017713 | 0.00043869 | 0.97523 | 0.108 | 7.4193 | [12 empty] | 3.2364e-06 | 0.0052013 | 16.6942 | 0.1462 | 11.3234 | 5.7786 | 6.9969 | 0.0027678 | 2.0973e-06 | 0.00013087 | 1.7419e-05
15 | 5.8721e-06 | 0.017916 | 0.00044903 | 0.97494 | 0.10968 | 7.4192 | [12 empty] | 3.2034e-06 | 0.0052165 | 16.7719 | 0.1445 | 11.3281 | 5.7753 | 6.9969 | 0.0028003 | 2.0633e-06 | 0.0001322 | 1.7429e-05
16 | 5.8249e-06 | 0.018124 | 0.0004597 | 0.97464 | 0.11138 | 7.4191 | [12 empty] | 3.1704e-06 | 0.005232 | 16.851 | 0.1428 | 11.3329 | 5.7719 | 6.9969 | 0.0028337 | 2.0288e-06 | 0.00013357 | 1.7435e-05
17 | 5.7769e-06 | 0.018337 | 0.00047073 | 0.97433 | 0.11312 | 7.4191 | [12 empty] | 3.1373e-06 | 0.0052478 | 16.9314 | 0.1411 | 11.3377 | 5.7686 | 6.9969 | 0.0028678 | 1.9939e-06 | 0.00013497 | 1.7439e-05
18 | 5.7282e-06 | 0.018555 | 0.00048212 | 0.97402 | 0.11488 | 7.419 | [12 empty] | 3.1042e-06 | 0.0052637 | 17.0133 | 0.1394 | 11.3426 | 5.7653 | 6.9969 | 0.0029027 | 1.9588e-06 | 0.0001364 | 1.7439e-05
19 | 5.6787e-06 | 0.018778 | 0.00049389 | 0.9737 | 0.11668 | 7.419 | [12 empty] | 3.0711e-06 | 0.0052799 | 17.0965 | 0.1377 | 11.3476 | 5.7621 | 6.9969 | 0.0029385 | 1.9236e-06 | 0.00013787 | 1.7437e-05
20 | 5.6285e-06 | 0.019007 | 0.00050605 | 0.97338 | 0.1185 | 7.4189 | [12 empty] | 3.0378e-06 | 0.0052964 | 17.1812 | 0.136 | 11.3526 | 5.7589 | 6.9969 | 0.0029752 | 1.8885e-06 | 0.00013938 | 1.7431e-05
21 | 5.5775e-06 | 0.019241 | 0.00051863 | 0.97305 | 0.12035 | 7.4189 | [12 empty] | 3.0046e-06 | 0.0053131 | 17.2675 | 0.1343 | 11.3577 | 5.7559 | 6.9969 | 0.0030129 | 1.8537e-06 | 0.00014092 | 1.7423e-05
22 | 5.5258e-06 | 0.019481 | 0.00053164 | 0.97271 | 0.12223 | 7.4188 | [12 empty] | 2.9713e-06 | 0.0053301 | 17.3553 | 0.1326 | 11.3628 | 5.7529 | 6.997 | 0.0030515 | 1.8194e-06 | 0.0001425 | 1.741e-05
23 | 5.4733e-06 | 0.019727 | 0.0005451 | 0.97237 | 0.12414 | 7.4187 | [12 empty] | 2.9379e-06 | 0.0053474 | 17.4447 | 0.1309 | 11.368 | 5.7501 | 6.997 | 0.0030911 | 1.7858e-06 | 0.00014413 | 1.7395e-05
24 | 5.42e-06 | 0.01998 | 0.00055903 | 0.97202 | 0.12607 | 7.4187 | [12 empty] | 2.9045e-06 | 0.005365 | 17.5358 | 0.1292 | 11.3733 | 5.7474 | 6.997 | 0.0031317 | 1.7531e-06 | 0.00014579 | 1.7376e-05
25 | 5.3659e-06 | 0.020238 | 0.00057345 | 0.97167 | 0.12804 | 7.4186 | [12 empty] | 2.871e-06 | 0.0053828 | 17.6287 | 0.1275 | 11.3786 | 5.7449 | 6.997 | 0.0031735 | 1.7213e-06 | 0.00014751 | 1.7353e-05
26 | 5.3111e-06 | 0.020504 | 0.00058838 | 0.9713 | 0.13004 | 7.4186 | [12 empty] | 2.8374e-06 | 0.0054009 | 17.7233 | 0.1258 | 11.384 | 5.7426 | 6.997 | 0.0032163 | 1.6908e-06 | 0.00014927 | 1.7326e-05
27 | 5.2555e-06 | 0.020777 | 0.00060385 | 0.97094 | 0.13207 | 7.4185 | [12 empty] | 2.8039e-06 | 0.0054194 | 17.8197 | 0.1241 | 11.3895 | 5.7404 | 6.997 | 0.0032604 | 1.6615e-06 | 0.00015107 | 1.7296e-05
28 | 5.1991e-06 | 0.021057 | 0.00061989 | 0.97056 | 0.13413 | 7.4184 | [12 empty] | 2.7702e-06 | 0.0054382 | 17.9181 | 0.1224 | 11.3951 | 5.7385 | 6.997 | 0.0033056 | 1.6336e-06 | 0.00015293 | 1.7262e-05
29 | 5.1419e-06 | 0.021345 | 0.00063651 | 0.97018 | 0.13622 | 7.4184 | [12 empty] | 2.7365e-06 | 0.0054573 | 18.0184 | 0.1207 | 11.4007 | 5.7367 | 6.997 | 0.0033522 | 1.6072e-06 | 0.00015484 | 1.7223e-05
30 | 5.0839e-06 | 0.021641 | 0.00065375 | 0.96979 | 0.13834 | 7.4183 | [12 empty] | 2.7027e-06 | 0.0054767 | 18.1207 | 0.119 | 11.4064 | 5.7352 | 6.997 | 0.0034 | 1.5824e-06 | 0.00015681 | 1.7181e-05
31 | 5.0252e-06 | 0.021945 | 0.00067164 | 0.96939 | 0.14049 | 7.4183 | [12 empty] | 2.6689e-06 | 0.0054965 | 18.2252 | 0.1173 | 11.4121 | 5.7339 | 6.997 | 0.0034493 | 1.5591e-06 | 0.00015883 | 1.7134e-05
32 | 4.9656e-06 | 0.022258 | 0.00069022 | 0.96899 | 0.14267 | 7.4182 | [12 empty] | 2.635e-06 | 0.0055167 | 18.3318 | 0.1156 | 11.418 | 5.7328 | 6.997 | 0.0035 | 1.5375e-06 | 0.00016091 | 1.7084e-05
33 | 4.9053e-06 | 0.02258 | 0.0007095 | 0.96858 | 0.14488 | 7.4181 | [12 empty] | 2.6011e-06 | 0.0055372 | 18.4407 | 0.1139 | 11.4239 | 5.732 | 6.997 | 0.0035522 | 1.5176e-06 | 0.00016306 | 1.7028e-05
34 | 4.8441e-06 | 0.022911 | 0.00072954 | 0.96816 | 0.14713 | 7.4181 | [12 empty] | 2.567e-06 | 0.0055581 | 18.5519 | 0.1122 | 11.43 | 5.7314 | 6.997 | 0.003606 | 1.4992e-06 | 0.00016527 | 1.6969e-05
35 | 4.7822e-06 | 0.023252 | 0.00075037 | 0.96773 | 0.1494 | 7.418 | [12 empty] | 2.533e-06 | 0.0055795 | 18.6656 | 0.1105 | 11.4361 | 5.7311 | 6.997 | 0.0036615 | 1.4824e-06 | 0.00016756 | 1.6904e-05
36 | 4.7195e-06 | 0.023604 | 0.00077203 | 0.96729 | 0.15171 | 7.4179 | [12 empty] | 2.4988e-06 | 0.0056012 | 18.7817 | 0.1088 | 11.4423 | 5.7309 | 6.997 | 0.0037186 | 1.4672e-06 | 0.00016991 | 1.6835e-05
37 | 4.656e-06 | 0.023966 | 0.00079457 | 0.96685 | 0.15405 | 7.4179 | [12 empty] | 2.4646e-06 | 0.0056234 | 18.9005 | 0.1071 | 11.4486 | 5.731 | 6.997 | 0.0037776 | 1.4534e-06 | 0.00017234 | 1.6762e-05
38 | 4.5917e-06 | 0.02434 | 0.00081804 | 0.96639 | 0.15642 | 7.4178 | [12 empty] | 2.4303e-06 | 0.005646 | 19.022 | 0.1054 | 11.455 | 5.7314 | 6.997 | 0.0038385 | 1.4411e-06 | 0.00017485 | 1.6683e-05
39 | 4.5267e-06 | 0.024726 | 0.00084248 | 0.96593 | 0.15882 | 7.4177 | [12 empty] | 2.396e-06 | 0.0056691 | 19.1463 | 0.1037 | 11.4615 | 5.7319 | 6.997 | 0.0039015 | 1.43e-06 | 0.00017744 | 1.66e-05
40 | 4.4608e-06 | 0.025124 | 0.00086795 | 0.96545 | 0.16126 | 7.4177 | [12 empty] | 2.3616e-06 | 0.0056926 | 19.2736 | 0.102 | 11.4681 | 5.7327 | 6.997 | 0.0039665 | 1.4202e-06 | 0.00018012 | 1.6511e-05
41 | 4.3942e-06 | 0.025535 | 0.00089452 | 0.96497 | 0.16372 | 7.4176 | [12 empty] | 2.3271e-06 | 0.0057167 | 19.4039 | 0.1003 | 11.4748 | 5.7337 | 6.997 | 0.0040337 | 1.4116e-06 | 0.0001829 | 1.6418e-05
42 | 4.3268e-06 | 0.02596 | 0.00092224 | 0.96447 | 0.16622 | 7.4175 | [12 empty] | 2.2925e-06 | 0.0057413 | 19.5374 | 0.0986 | 11.4816 | 5.7348 | 6.997 | 0.0041032 | 1.4041e-06 | 0.00018577 | 1.6319e-05
43 | 4.2587e-06 | 0.026399 | 0.00095118 | 0.96397 | 0.16876 | 7.4175 | [12 empty] | 2.2579e-06 | 0.0057664 | 19.6743 | 0.0969 | 11.4885 | 5.7362 | 6.997 | 0.0041751 | 1.3975e-06 | 0.00018874 | 1.6215e-05
44 | 4.1898e-06 | 0.026853 | 0.00098143 | 0.96345 | 0.17132 | 7.4174 | [12 empty] | 2.2231e-06 | 0.005792 | 19.8146 | 0.0952 | 11.4955 | 5.7378 | 6.997 | 0.0042497 | 1.3918e-06 | 0.00019182 | 1.6106e-05
45 | 4.1201e-06 | 0.027324 | 0.001013 | 0.96292 | 0.17392 | 7.4173 | [12 empty] | 2.1883e-06 | 0.0058183 | 19.9585 | 0.0935 | 11.5027 | 5.7397 | 6.997 | 0.0043269 | 1.387e-06 | 0.00019501 | 1.5992e-05
46 | 4.0497e-06 | 0.027811 | 0.0010461 | 0.96238 | 0.17654 | 7.4173 | [12 empty] | 2.1535e-06 | 0.0058452 | 20.1061 | 0.0918 | 11.51 | 5.7417 | 6.997 | 0.004407 | 1.3829e-06 | 0.00019833 | 1.5872e-05
47 | 3.9785e-06 | 0.028316 | 0.0010808 | 0.96183 | 0.17921 | 7.4172 | [12 empty] | 2.1185e-06 | 0.0058726 | 20.2578 | 0.0901 | 11.5174 | 5.7438 | 6.997 | 0.0044901 | 1.3794e-06 | 0.00020177 | 1.5746e-05
48 | 3.9066e-06 | 0.02884 | 0.0011171 | 0.96127 | 0.1819 | 7.4171 | [12 empty] | 2.0835e-06 | 0.0059008 | 20.4136 | 0.0884 | 11.5249 | 5.7462 | 6.997 | 0.0045765 | 1.3766e-06 | 0.00020535 | 1.5615e-05
49 | 3.834e-06 | 0.029383 | 0.0011552 | 0.96069 | 0.18462 | 7.417 | [12 empty] | 2.0484e-06 | 0.0059296 | 20.5736 | 0.0867 | 11.5326 | 5.7488 | 6.997 | 0.0046662 | 1.3743e-06 | 0.00020907 | 1.5478e-05
50 | 3.7593e-06 | 0.029948 | 0.0011948 | 0.9601 | 0.18727 | 7.4132 | [12 empty] | 2.0132e-06 | 0.013408 | 20.7383 | 0.085 | 11.5405 | 5.7518 | 6.997 | 0.0047595 | 1.3723e-06 | 0.00021294 | 1.5328e-05
51 | 6.7302e-06 | 0.030535 | 0.0006857 | 0.97754 | 0.18288 | 9.7174 | [12 empty] | 3.7206e-06 | 0.0050888 | 15.6782 | 0.1715 | 11.5476 | 5.7657 | 6.9959 | 0.0048566 | 1.3242e-06 | 0.00021697 | 1.4434e-05
52 | 6.6183e-06 | 0.031157 | 0.00071284 | 0.97712 | 0.18697 | 9.7173 | [12 empty] | 3.654e-06 | 0.0051152 | 15.8068 | 0.168 | 11.5557 | 5.7665 | 6.9959 | 0.0049577 | 1.3187e-06 | 0.00022119 | 1.4372e-05
53 | 6.5041e-06 | 0.031804 | 0.0007415 | 0.97669 | 0.19114 | 9.7172 | [12 empty] | 3.5873e-06 | 0.0051423 | 15.9393 | 0.1645 | 11.564 | 5.7676 | 6.9959 | 0.0050632 | 1.3143e-06 | 0.00022559 | 1.4303e-05
54 | 6.3878e-06 | 0.03248 | 0.00077177 | 0.97624 | 0.1954 | 9.7172 | [12 empty] | 3.5204e-06 | 0.0051702 | 16.0758 | 0.161 | 11.5725 | 5.769 | 6.9959 | 0.0051732 | 1.3109e-06 | 0.00023019 | 1.4226e-05
55 | 6.2693e-06 | 0.033184 | 0.0008038 | 0.97578 | 0.19975 | 9.7171 | [12 empty] | 3.4533e-06 | 0.0051988 | 16.2166 | 0.1575 | 11.5812 | 5.7707 | 6.9959 | 0.0052881 | 1.3082e-06 | 0.00023499 | 1.4141e-05
56 | 6.1486e-06 | 0.03392 | 0.00083771 | 0.9753 | 0.20418 | 9.717 | [12 empty] | 3.386e-06 | 0.0052282 | 16.362 | 0.154 | 11.59 | 5.7726 | 6.9959 | 0.0054083 | 1.3062e-06 | 0.00024001 | 1.4048e-05
57 | 6.0258e-06 | 0.03469 | 0.00087365 | 0.97482 | 0.20871 | 9.7169 | [12 empty] | 3.3185e-06 | 0.0052585 | 16.5122 | 0.1505 | 11.599 | 5.7748 | 6.9959 | 0.005534 | 1.3047e-06 | 0.00024526 | 1.3946e-05
58 | 5.9008e-06 | 0.035495 | 0.00091179 | 0.97431 | 0.21332 | 9.7169 | [12 empty] | 3.2508e-06 | 0.0052897 | 16.6674 | 0.147 | 11.6083 | 5.7772 | 6.9959 | 0.0056658 | 1.3035e-06 | 0.00025077 | 1.3836e-05
59 | 5.7736e-06 | 0.036338 | 0.00095232 | 0.97379 | 0.21802 | 9.7168 | [12 empty] | 3.183e-06 | 0.0053218 | 16.828 | 0.1435 | 11.6177 | 5.7799 | 6.9959 | 0.0058039 | 1.3026e-06 | 0.00025655 | 1.3717e-05
60 | 5.6442e-06 | 0.037223 | 0.00099544 | 0.97326 | 0.22281 | 9.7167 | [12 empty] | 3.1149e-06 | 0.005355 | 16.9943 | 0.14 | 11.6274 | 5.7829 | 6.9959 | 0.005949 | 1.3019e-06 | 0.00026262 | 1.3588e-05
61 | 5.5128e-06 | 0.038152 | 0.0010414 | 0.9727 | 0.22769 | 9.7166 | [12 empty] | 3.0466e-06 | 0.0053891 | 17.1666 | 0.1365 | 11.6373 | 5.7861 | 6.9959 | 0.0061015 | 1.3013e-06 | 0.000269 | 1.3451e-05
62 | 5.3792e-06 | 0.039128 | 0.0010904 | 0.97213 | 0.23265 | 9.7166 | [12 empty] | 2.9781e-06 | 0.0054244 | 17.3453 | 0.133 | 11.6475 | 5.7896 | 6.9959 | 0.006262 | 1.3008e-06 | 0.00027573 | 1.3304e-05
63 | 5.2436e-06 | 0.040156 | 0.0011428 | 0.97154 | 0.23771 | 9.7165 | [12 empty] | 2.9093e-06 | 0.0054609 | 17.5309 | 0.1295 | 11.6579 | 5.7934 | 6.9959 | 0.0064312 | 1.3002e-06 | 0.00028282 | 1.3148e-05
64 | 5.1059e-06 | 0.04124 | 0.0011989 | 0.97093 | 0.24286 | 9.7164 | [12 empty] | 2.8404e-06 | 0.0054987 | 17.7237 | 0.126 | 11.6686 | 5.7975 | 6.9959 | 0.0066099 | 1.2996e-06 | 0.00029031 | 1.2982e-05
65 | 4.9662e-06 | 0.042384 | 0.001259 | 0.9703 | 0.24809 | 9.7163 | [12 empty] | 2.7711e-06 | 0.0055378 | 17.9244 | 0.1225 | 11.6795 | 5.8019 | 6.9959 | 0.0067987 | 1.2989e-06 | 0.00029824 | 1.2806e-05
66 | 4.8245e-06 | 0.043594 | 0.0013236 | 0.96964 | 0.25342 | 9.7162 | [12 empty] | 2.7017e-06 | 0.0055783 | 18.1334 | 0.119 | 11.6908 | 5.8067 | 6.9959 | 0.0069986 | 1.2981e-06 | 0.00030663 | 1.2619e-05
67 | 4.6808e-06 | 0.044875 | 0.0013931 | 0.96896 | 0.25883 | 9.7162 | [12 empty] | 2.632e-06 | 0.0056204 | 18.3514 | 0.1155 | 11.7024 | 5.8118 | 6.9959 | 0.0072106 | 1.2971e-06 | 0.00031554 | 1.2423e-05
68 | 4.5353e-06 | 0.046233 | 0.0014682 | 0.96824 | 0.26434 | 9.7161 | [12 empty] | 2.562e-06 | 0.0056641 | 18.579 | 0.112 | 11.7143 | 5.8172 | 6.9959 | 0.0074359 | 1.296e-06 | 0.00032501 | 1.2216e-05
69 | 4.3879e-06 | 0.047677 | 0.0015493 | 0.9675 | 0.26993 | 9.716 | [12 empty] | 2.4917e-06 | 0.0057095 | 18.817 | 0.1085 | 11.7266 | 5.823 | 6.9959 | 0.0076758 | 1.2947e-06 | 0.0003351 | 1.1999e-05
70 | 4.2387e-06 | 0.049215 | 0.0016373 | 0.96673 | 0.27562 | 9.7159 | [12 empty] | 2.4212e-06 | 0.0057568 | 19.0662 | 0.105 | 11.7393 | 5.8292 | 6.996 | 0.0079316 | 1.2932e-06 | 0.00034587 | 1.1772e-05
71 | 4.0878e-06 | 0.050856 | 0.0017329 | 0.96593 | 0.28139 | 9.7158 | [12 empty] | 2.3504e-06 | 0.0058062 | 19.3276 | 0.1015 | 11.7524 | 5.8359 | 6.996 | 0.008205 | 1.2914e-06 | 0.00035739 | 1.1533e-05
72 | 3.9352e-06 | 0.05261 | 0.0018371 | 0.96508 | 0.28725 | 9.7157 | [12 empty] | 2.2792e-06 | 0.0058577 | 19.6021 | 0.098 | 11.766 | 5.843 | 6.996 | 0.008498 | 1.2894e-06 | 0.00036975 | 1.1284e-05
73 | 3.7811e-06 | 0.054491 | 0.0019512 | 0.96419 | 0.29321 | 9.7156 | [12 empty] | 2.2077e-06 | 0.0059117 | 19.891 | 0.0945 | 11.78 | 5.8507 | 6.996 | 0.0088127 | 1.2872e-06 | 0.00038302 | 1.1025e-05
74 | 3.6238e-06 | 0.056511 | 0.0020757 | 0.96327 | 0.29904 | 9.7094 | [12 empty] | 2.136e-06 | 0.013982 | 20.1957 | 0.091 | 11.7945 | 5.859 | 6.996 | 0.0091516 | 1.2844e-06 | 0.00039733 | 1.0748e-05
75 | 6.7125e-06 | 0.058689 | 0.0013483 | 0.97703 | 0.35489 | 11.7162 | [12 empty] | 3.6903e-06 | 0.0050164 | 15.747 | 0.17 | 11.8088 | 5.8407 | 6.9951 | 0.0095176 | 1.3645e-06 | 0.00041279 | 1.1659e-05
76 | 6.4133e-06 | 0.061078 | 0.0014418 | 0.97639 | 0.36265 | 11.7161 | [12 empty] | 3.5606e-06 | 0.0050683 | 16.0044 | 0.1632 | 11.8245 | 5.8496 | 6.9951 | 0.0099141 | 1.356e-06 | 0.00042951 | 1.1326e-05
77 | 6.1114e-06 | 0.063671 | 0.0015456 | 0.97572 | 0.37052 | 11.716 | [12 empty] | 3.4303e-06 | 0.005123 | 16.2777 | 0.1564 | 11.8408 | 5.8592 | 6.9951 | 0.010345 | 1.347e-06 | 0.00044769 | 1.098e-05
78 | 5.8068e-06 | 0.066495 | 0.0016614 | 0.97501 | 0.37851 | 11.7159 | [12 empty] | 3.2993e-06 | 0.0051808 | 16.5685 | 0.1496 | 11.8577 | 5.8695 | 6.9951 | 0.010815 | 1.3372e-06 | 0.00046754 | 1.062e-05
79 | 5.4999e-06 | 0.069582 | 0.0017912 | 0.97426 | 0.38662 | 11.7158 | [12 empty] | 3.1675e-06 | 0.005242 | 16.8789 | 0.1428 | 11.8755 | 5.8806 | 6.9951 | 0.01133 | 1.3267e-06 | 0.0004893 | 1.0248e-05
80 | 5.1909e-06 | 0.072971 | 0.0019376 | 0.97345 | 0.39483 | 11.7157 | [12 empty] | 3.0349e-06 | 0.0053071 | 17.2112 | 0.136 | 11.894 | 5.8926 | 6.9951 | 0.011897 | 1.3155e-06 | 0.00051325 | 9.8624e-06
81 | 4.8801e-06 | 0.07671 | 0.0021039 | 0.97257 | 0.40317 | 11.7156 | [12 empty] | 2.9015e-06 | 0.0053763 | 17.568 | 0.1292 | 11.9135 | 5.9055 | 6.9951 | 0.012523 | 1.3034e-06 | 0.00053974 | 9.4643e-06
82 | 4.5677e-06 | 0.080855 | 0.0022941 | 0.97163 | 0.41162 | 11.7154 | [12 empty] | 2.7672e-06 | 0.0054503 | 17.9529 | 0.1224 | 11.9339 | 5.9196 | 6.9951 | 0.013218 | 1.2906e-06 | 0.0005692 | 9.0538e-06
83 | 4.2542e-06 | 0.085476 | 0.0025134 | 0.9706 | 0.42019 | 11.7153 | [12 empty] | 2.632e-06 | 0.0055297 | 18.3696 | 0.1156 | 11.9555 | 5.9349 | 6.9951 | 0.013996 | 1.2769e-06 | 0.00060215 | 8.6313e-06
84 | 3.9398e-06 | 0.090661 | 0.0027688 | 0.96946 | 0.42888 | 11.7152 | [12 empty] | 2.4958e-06 | 0.0056153 | 18.823 | 0.1088 | 11.9784 | 5.9516 | 6.9951 | 0.014871 | 1.2622e-06 | 0.00063925 | 8.1971e-06
85 | 3.6252e-06 | 0.096521 | 0.0030693 | 0.9682 | 0.4377 | 11.715 | [12 empty] | 2.3585e-06 | 0.0057079 | 19.3189 | 0.102 | 12.0026 | 5.9699 | 6.9951 | 0.015862 | 1.2467e-06 | 0.00068132 | 7.7519e-06
86 | 3.3092e-06 | 0.1032 | 0.0034266 | 0.96679 | 0.44637 | 11.7076 | [12 empty] | 2.2201e-06 | 0.014136 | 19.8646 | 0.0952 | 12.0284 | 5.9902 | 6.9952 | 0.016995 | 1.2298e-06 | 0.00072943 | 7.2923e-06
87 | 6.4259e-06 | 0.11087 | 0.0023475 | 0.97883 | 0.62083 | 16.9155 | [12 empty] | 3.6924e-06 | 0.0050419 | 15.7632 | 0.1703 | 12.0542 | 5.9641 | 6.9929 | 0.018302 | 1.4434e-06 | 0.00078498 | 8.5203e-06
88 | 5.8062e-06 | 0.11991 | 0.0026609 | 0.97781 | 0.6361 | 16.9154 | [12 empty] | 3.4421e-06 | 0.0051456 | 16.2753 | 0.1572 | 12.084 | 5.9878 | 6.9929 | 0.019827 | 1.4126e-06 | 0.00084968 | 7.9134e-06
89 | 5.1869e-06 | 0.13057 | 0.0030497 | 0.97664 | 0.65162 | 16.9152 | [12 empty] | 3.1891e-06 | 0.0052608 | 16.8527 | 0.1441 | 12.1162 | 6.0146 | 6.9929 | 0.021629 | 1.3789e-06 | 0.00092621 | 7.2909e-06
90 | 4.5699e-06 | 0.14333 | 0.0035431 | 0.97528 | 0.66739 | 16.915 | [12 empty] | 2.9332e-06 | 0.0053903 | 17.511 | 0.131 | 12.1513 | 6.0449 | 6.993 | 0.023792 | 1.3421e-06 | 0.0010181 | 6.6542e-06
91 | 3.9569e-06 | 0.15886 | 0.0041869 | 0.97364 | 0.68346 | 16.9149 | [12 empty] | 2.6741e-06 | 0.0055375 | 18.2714 | 0.1179 | 12.19 | 6.0797 | 6.993 | 0.026435 | 1.3017e-06 | 0.0011305 | 6.0053e-06
92 | 3.3508e-06 | 0.17819 | 0.0050575 | 0.97162 | 0.69988 | 16.9146 | [12 empty] | 2.4113e-06 | 0.0057072 | 19.1646 | 0.1048 | 12.233 | 6.1201 | 6.9931 | 0.02974 | 1.2574e-06 | 0.001271 | 5.3466e-06
93 | 2.7537e-06 | 0.20292 | 0.00629 | 0.969 | 0.71645 | 16.9067 | [12 empty] | 2.1444e-06 | 0.01398 | 20.2353 | 0.0917 | 12.2814 | 6.168 | 6.9931 | 0.033988 | 1.2086e-06 | 0.0014519 | 4.6801e-06
94 | 6.0879e-06 | 0.2357 | 0.0048494 | 0.97943 | 1.2153 | 29.4152 | [12 empty] | 3.6741e-06 | 0.0050402 | 15.8499 | 0.1698 | 12.3323 | 6.1697 | 6.988 | 0.039653 | 1.5911e-06 | 0.0016931 | 5.5884e-06
95 | 4.7234e-06 | 0.28187 | 0.0064339 | 0.97717 | 1.2524 | 29.4149 | [12 empty] | 3.1294e-06 | 0.0052847 | 17.0658 | 0.1415 | 12.3973 | 6.2445 | 6.9882 | 0.047583 | 1.4908e-06 | 0.0020305 | 4.5943e-06
96 | 3.3994e-06 | 0.35072 | 0.0091944 | 0.97378 | 1.2907 | 29.4145 | [12 empty] | 2.5707e-06 | 0.005603 | 18.6996 | 0.1132 | 12.4759 | 6.3434 | 6.9884 | 0.059478 | 1.3716e-06 | 0.002537 | 3.6018e-06
97 | 2.142e-06 | 0.46457 | 0.014989 | 0.96774 | 1.3313 | 29.414 | [12 empty] | 1.9939e-06 | 0.006048 | 21.0759 | 0.0849 | 12.5757 | 6.4839 | 6.9888 | 0.079304 | 1.2274e-06 | 0.0033815 | 2.6315e-06
98 | 0 | 0.68936 | 0 | 1 | 0 | 0 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11895 | 0 | 0.005071 | 0