## Sheet1
Recovery | Jw(m/s) | Rejection(%) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Mass transfer | Pressure drop Corr | CP modulus Corr | Cross-flow Velocity | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Film layer Alkalinity | Permeate Alkalinity | Trace Conc. in Brine | Trace Conc. in Permeate
0 | 8.4878e-06 | 99.6883 | 0.015283 | 4.7634e-05 | 0.016796 | 7.42 | 29.8354 | 37.8176 | 61.5063 | 88.0517 | 133.5561 | 0.83387 | 0.031947 | 0.030473 | 0.035008 | 0.037418 | 0.96872 | 1.0173 | 8.9641e-05 | 0.0013985 | 1.0554 | 0.17 | 11.2904 | 12.1176 | 11.2191 | 0.0025256 | 0.010531 | 0.014499 | 0.00011479 | 2.5787e-08
1 | 8.4828e-06 | 99.6879 | 0.015437 | 4.8179e-05 | 0.016978 | 7.42 | [12 empty] | 8.8856e-05 | 0.001402 | 1.0556 | 0.1683 | 11.2662 | 12.0945 | 11.1947 | 0.0024047 |  | 0.013719 | 0.00011595 | 2.7381e-08
2 | 8.4777e-06 | 99.6875 | 0.015594 | 4.8737e-05 | 0.017164 | 7.42 | [12 empty] | 8.807e-05 | 0.0014055 | 1.0559 | 0.1666 | 11.2419 | 12.0711 | 11.17 | 0.0022892 |  | 0.012974 | 0.00011713 | 2.9083e-08
3 | 8.4724e-06 | 99.687 | 0.015754 | 4.9308e-05 | 0.017355 | 7.42 | [12 empty] | 8.7283e-05 | 0.0014092 | 1.0561 | 0.1649 | 11.2172 | 12.0476 | 11.1451 | 0.0021791 |  | 0.012265 | 0.00011834 | 3.0901e-08
4 | 8.467e-06 | 99.6866 | 0.015918 | 4.9893e-05 | 0.017549 | 7.4199 | [12 empty] | 8.6495e-05 | 0.0014128 | 1.0564 | 0.1632 | 11.1924 | 12.0239 | 11.12 | 0.002074 |  | 0.011588 | 0.00011957 | 3.2842e-08
5 | 8.4614e-06 | 99.6861 | 0.016085 | 5.0491e-05 | 0.017748 | 7.4199 | [12 empty] | 8.5705e-05 | 0.0014165 | 1.0566 | 0.1615 | 11.1673 | 11.9999 | 11.0947 | 0.0019738 |  | 0.010943 | 0.00012083 | 3.4915e-08
6 | 8.4558e-06 | 99.6856 | 0.016255 | 5.1104e-05 | 0.017952 | 7.4199 | [12 empty] | 8.4915e-05 | 0.0014203 | 1.0569 | 0.1598 | 11.1419 | 11.9757 | 11.0691 | 0.0018784 |  | 0.010329 | 0.00012212 | 3.7131e-08
7 | 8.45e-06 | 99.6851 | 0.016429 | 5.1732e-05 | 0.01816 | 7.4199 | [12 empty] | 8.4124e-05 | 0.0014241 | 1.0571 | 0.1581 | 11.1163 | 11.9512 | 11.0433 | 0.0017876 |  | 0.0097449 | 0.00012343 | 3.9499e-08
8 | 8.4441e-06 | 99.6846 | 0.016607 | 5.2375e-05 | 0.018373 | 7.4199 | [12 empty] | 8.3332e-05 | 0.001428 | 1.0574 | 0.1564 | 11.0904 | 11.9265 | 11.0173 | 0.0017011 |  | 0.0091889 | 0.00012477 | 4.2031e-08
9 | 8.4381e-06 | 99.6841 | 0.016789 | 5.3034e-05 | 0.018591 | 7.4199 | [12 empty] | 8.2538e-05 | 0.0014319 | 1.0577 | 0.1547 | 11.0643 | 11.9016 | 10.991 | 0.0016188 |  | 0.0086601 | 0.00012614 | 4.4738e-08
10 | 8.4319e-06 | 99.6836 | 0.016975 | 5.371e-05 | 0.018814 | 7.4199 | [12 empty] | 8.1744e-05 | 0.0014359 | 1.0579 | 0.153 | 11.0378 | 11.8765 | 10.9645 | 0.0015405 |  | 0.0081574 | 0.00012754 | 4.7633e-08
11 | 8.4255e-06 | 99.6831 | 0.017165 | 5.4403e-05 | 0.019042 | 7.4198 | [12 empty] | 8.0948e-05 | 0.0014399 | 1.0582 | 0.1513 | 11.0111 | 11.8511 | 10.9377 | 0.0014662 |  | 0.0076799 | 0.00012897 | 5.0729e-08
12 | 8.419e-06 | 99.6825 | 0.01736 | 5.5113e-05 | 0.019276 | 7.4198 | [12 empty] | 8.0152e-05 | 0.001444 | 1.0585 | 0.1496 | 10.9841 | 11.8254 | 10.9107 | 0.0013956 |  | 0.0072265 | 0.00013044 | 5.4043e-08
13 | 8.4124e-06 | 99.682 | 0.017559 | 5.5843e-05 | 0.019516 | 7.4198 | [12 empty] | 7.9354e-05 | 0.0014481 | 1.0588 | 0.1479 | 10.9568 | 11.7996 | 10.8835 | 0.0013286 |  | 0.0067962 | 0.00013194 | 5.7589e-08
14 | 8.4056e-06 | 99.6814 | 0.017762 | 5.6592e-05 | 0.019762 | 7.4198 | [12 empty] | 7.8555e-05 | 0.0014523 | 1.0591 | 0.1462 | 10.9292 | 11.7734 | 10.856 | 0.001265 |  | 0.0063881 | 0.00013347 | 6.1384e-08
15 | 8.3986e-06 | 99.6808 | 0.017971 | 5.7361e-05 | 0.020014 | 7.4198 | [12 empty] | 7.7755e-05 | 0.0014566 | 1.0593 | 0.1445 | 10.9012 | 11.747 | 10.8282 | 0.0012047 |  | 0.0060011 | 0.00013504 | 6.5447e-08
16 | 8.3915e-06 | 99.6802 | 0.018184 | 5.815e-05 | 0.020272 | 7.4198 | [12 empty] | 7.6954e-05 | 0.0014609 | 1.0596 | 0.1428 | 10.873 | 11.7204 | 10.8002 | 0.0011476 |  | 0.0056346 | 0.00013665 | 6.9797e-08
17 | 8.3842e-06 | 99.6796 | 0.018402 | 5.8962e-05 | 0.020537 | 7.4197 | [12 empty] | 7.6151e-05 | 0.0014653 | 1.0599 | 0.1411 | 10.8444 | 11.6935 | 10.7719 | 0.0010936 |  | 0.0052875 | 0.00013829 | 7.4456e-08
18 | 8.3766e-06 | 99.679 | 0.018626 | 5.9796e-05 | 0.020809 | 7.4197 | [12 empty] | 7.5348e-05 | 0.0014698 | 1.0603 | 0.1394 | 10.8155 | 11.6664 | 10.7434 | 0.0010424 |  | 0.0049591 | 0.00013998 | 7.9446e-08
19 | 8.3689e-06 | 99.6783 | 0.018855 | 6.0654e-05 | 0.021088 | 7.4197 | [12 empty] | 7.4543e-05 | 0.0014743 | 1.0606 | 0.1377 | 10.7863 | 11.639 | 10.7146 | 0.00099406 |  | 0.0046485 | 0.00014171 | 8.4791e-08
20 | 8.361e-06 | 99.6777 | 0.01909 | 6.1536e-05 | 0.021375 | 7.4197 | [12 empty] | 7.3736e-05 | 0.0014789 | 1.0609 | 0.136 | 10.7567 | 11.6113 | 10.6856 | 0.00094838 |  | 0.004355 | 0.00014348 | 9.0517e-08
21 | 8.3529e-06 | 99.677 | 0.019331 | 6.2444e-05 | 0.021669 | 7.4197 | [12 empty] | 7.2929e-05 | 0.0014836 | 1.0612 | 0.1343 | 10.7268 | 11.5834 | 10.6563 | 0.00090526 |  | 0.0040778 | 0.00014529 | 9.6652e-08
22 | 8.3445e-06 | 99.6763 | 0.019578 | 6.3379e-05 | 0.021972 | 7.4197 | [12 empty] | 7.212e-05 | 0.0014883 | 1.0615 | 0.1326 | 10.6966 | 11.5553 | 10.6267 | 0.00086458 |  | 0.0038162 | 0.00014715 | 1.0322e-07
23 | 8.336e-06 | 99.6756 | 0.019831 | 6.4342e-05 | 0.022283 | 7.4196 | [12 empty] | 7.131e-05 | 0.0014931 | 1.0619 | 0.1309 | 10.6659 | 11.5269 | 10.5969 | 0.00082625 |  | 0.0035696 | 0.00014906 | 1.1027e-07
24 | 8.3271e-06 | 99.6748 | 0.020092 | 6.5334e-05 | 0.022602 | 7.4196 | [12 empty] | 7.0499e-05 | 0.001498 | 1.0622 | 0.1292 | 10.635 | 11.4983 | 10.5669 | 0.00079015 |  | 0.0033372 | 0.00015102 | 1.1781e-07
25 | 8.3181e-06 | 99.6741 | 0.020359 | 6.6356e-05 | 0.022931 | 7.4196 | [12 empty] | 6.9686e-05 | 0.001503 | 1.0626 | 0.1275 | 10.6037 | 11.4694 | 10.5366 | 0.00075619 |  | 0.0031184 | 0.00015304 | 1.2589e-07
26 | 8.3088e-06 | 99.6733 | 0.020633 | 6.7411e-05 | 0.02327 | 7.4196 | [12 empty] | 6.8872e-05 | 0.0015081 | 1.0629 | 0.1258 | 10.572 | 11.4403 | 10.5061 | 0.00072427 |  | 0.0029125 | 0.0001551 | 1.3454e-07
27 | 8.2992e-06 | 99.6725 | 0.020914 | 6.8499e-05 | 0.023618 | 7.4196 | [12 empty] | 6.8057e-05 | 0.0015132 | 1.0633 | 0.1241 | 10.54 | 11.4111 | 10.4754 | 0.0006943 |  | 0.002719 | 0.00015722 | 1.4381e-07
28 | 8.2893e-06 | 99.6717 | 0.021204 | 6.9622e-05 | 0.023977 | 7.4196 | [12 empty] | 6.724e-05 | 0.0015185 | 1.0637 | 0.1224 | 10.5076 | 11.3816 | 10.4445 | 0.00066618 |  | 0.0025373 | 0.00015941 | 1.5372e-07
29 | 8.2791e-06 | 99.6708 | 0.021502 | 7.0783e-05 | 0.024347 | 7.4195 | [12 empty] | 6.6422e-05 | 0.0015238 | 1.064 | 0.1207 | 10.4749 | 11.3519 | 10.4134 | 0.00063982 |  | 0.0023667 | 0.00016165 | 1.6432e-07
30 | 8.2686e-06 | 99.6699 | 0.021808 | 7.1981e-05 | 0.024728 | 7.4195 | [12 empty] | 6.5602e-05 | 0.0015292 | 1.0644 | 0.119 | 10.4418 | 11.3221 | 10.3821 | 0.00061515 |  | 0.0022069 | 0.00016396 | 1.7565e-07
31 | 8.2578e-06 | 99.669 | 0.022123 | 7.3221e-05 | 0.025121 | 7.4195 | [12 empty] | 6.4781e-05 | 0.0015348 | 1.0648 | 0.1173 | 10.4084 | 11.2921 | 10.3506 | 0.00059208 |  | 0.0020571 | 0.00016633 | 1.8775e-07
32 | 8.2467e-06 | 99.6681 | 0.022447 | 7.4503e-05 | 0.025526 | 7.4195 | [12 empty] | 6.3959e-05 | 0.0015404 | 1.0652 | 0.1156 | 10.3747 | 11.2619 | 10.319 | 0.00057054 |  | 0.001917 | 0.00016877 | 2.0067e-07
33 | 8.2352e-06 | 99.6671 | 0.022781 | 7.5829e-05 | 0.025944 | 7.4195 | [12 empty] | 6.3135e-05 | 0.0015461 | 1.0656 | 0.1139 | 10.3407 | 11.2316 | 10.2872 | 0.00055044 |  | 0.001786 | 0.00017129 | 2.1443e-07
34 | 8.2233e-06 | 99.6661 | 0.023125 | 7.7203e-05 | 0.026377 | 7.4195 | [12 empty] | 6.2309e-05 | 0.001552 | 1.066 | 0.1122 | 10.3064 | 11.2013 | 10.2553 | 0.00053172 |  | 0.0016636 | 0.00017388 | 2.2909e-07
35 | 8.2111e-06 | 99.6651 | 0.02348 | 7.8627e-05 | 0.026823 | 7.4194 | [12 empty] | 6.1482e-05 | 0.0015579 | 1.0665 | 0.1105 | 10.2718 | 11.1708 | 10.2234 | 0.00051431 |  | 0.0015494 | 0.00017655 | 2.4467e-07
36 | 8.1984e-06 | 99.6641 | 0.023845 | 8.0104e-05 | 0.027285 | 7.4194 | [12 empty] | 6.0653e-05 | 0.001564 | 1.0669 | 0.1088 | 10.237 | 11.1403 | 10.1913 | 0.00049813 |  | 0.0014429 | 0.00017931 | 2.6123e-07
37 | 8.1853e-06 | 99.663 | 0.024222 | 8.1635e-05 | 0.027762 | 7.4194 | [12 empty] | 5.9822e-05 | 0.0015702 | 1.0674 | 0.1071 | 10.2019 | 11.1097 | 10.1592 | 0.00048314 |  | 0.0013436 | 0.00018215 | 2.788e-07
38 | 8.1718e-06 | 99.6618 | 0.024612 | 8.3225e-05 | 0.028256 | 7.4194 | [12 empty] | 5.899e-05 | 0.0015765 | 1.0678 | 0.1054 | 10.1666 | 11.0792 | 10.1271 | 0.00046926 |  | 0.0012512 | 0.00018508 | 2.9741e-07
39 | 8.1578e-06 | 99.6607 | 0.025014 | 8.4877e-05 | 0.028768 | 7.4194 | [12 empty] | 5.8157e-05 | 0.0015829 | 1.0683 | 0.1037 | 10.131 | 11.0486 | 10.0949 | 0.00045644 |  | 0.0011651 | 0.00018811 | 3.1711e-07
40 | 8.1433e-06 | 99.6595 | 0.025429 | 8.6595e-05 | 0.029298 | 7.4194 | [12 empty] | 5.7321e-05 | 0.0015895 | 1.0688 | 0.102 | 10.0953 | 11.018 | 10.0627 | 0.00044463 |  | 0.0010851 | 0.00019124 | 3.3794e-07
41 | 8.1282e-06 | 99.6582 | 0.025859 | 8.8382e-05 | 0.029848 | 7.4193 | [12 empty] | 5.6484e-05 | 0.0015962 | 1.0692 | 0.1003 | 10.0593 | 10.9875 | 10.0305 | 0.00043377 |  | 0.0010107 | 0.00019448 | 3.5993e-07
42 | 8.1126e-06 | 99.6569 | 0.026303 | 9.0242e-05 | 0.030418 | 7.4193 | [12 empty] | 5.5645e-05 | 0.0016031 | 1.0697 | 0.0986 | 10.0232 | 10.957 | 9.9983 | 0.00042383 |  | 0.00094148 | 0.00019782 | 3.8312e-07
43 | 8.0965e-06 | 99.6556 | 0.026763 | 9.2181e-05 | 0.031009 | 7.4193 | [12 empty] | 5.4804e-05 | 0.0016101 | 1.0703 | 0.0969 | 9.9869 | 10.9258 | 9.9653 | 0.00041475 |  | 0.00087552 | 0.00020129 | 4.0666e-07
44 | 8.0797e-06 | 99.6542 | 0.027239 | 9.4203e-05 | 0.031624 | 7.4193 | [12 empty] | 5.3961e-05 | 0.0016173 | 1.0708 | 0.0952 | 9.9506 | 10.8955 | 9.9333 | 0.00040652 |  | 0.00081603 | 0.00020488 | 4.3245e-07
45 | 8.0622e-06 | 99.6527 | 0.027733 | 9.6313e-05 | 0.032263 | 7.4193 | [12 empty] | 5.3117e-05 | 0.0016246 | 1.0713 | 0.0935 | 9.914 | 10.8653 | 9.9012 | 0.00039907 |  | 0.00076073 | 0.00020859 | 4.5961e-07
46 | 8.0441e-06 | 99.6512 | 0.028245 | 9.8518e-05 | 0.032927 | 7.4192 | [12 empty] | 5.227e-05 | 0.0016321 | 1.0719 | 0.0918 | 9.8774 | 10.8351 | 9.8692 | 0.00039238 |  | 0.00070933 | 0.00021245 | 4.882e-07
47 | 8.0252e-06 | 99.6496 | 0.028776 | 0.00010082 | 0.033619 | 7.4192 | [12 empty] | 5.1422e-05 | 0.0016398 | 1.0725 | 0.0901 | 9.8405 | 10.805 | 9.8372 | 0.00038639 |  | 0.00066153 | 0.00021645 | 5.1832e-07
48 | 8.0056e-06 | 99.648 | 0.029327 | 0.00010324 | 0.03434 | 7.4192 | [12 empty] | 5.0572e-05 | 0.0016476 | 1.073 | 0.0884 | 9.8035 | 10.775 | 9.8052 | 0.0003811 |  | 0.00061707 | 0.0002206 | 5.5005e-07
49 | 7.9851e-06 | 99.6463 | 0.0299 | 0.00010576 | 0.035091 | 7.4192 | [12 empty] | 4.9719e-05 | 0.0016557 | 1.0736 | 0.0867 | 9.7663 | 10.745 | 9.7732 | 0.00037648 |  | 0.0005757 | 0.00022491 | 5.8349e-07
50 | 7.9625e-06 | 99.6444 | 0.030496 | 0.00010843 | 0.035874 | 7.4181 | [12 empty] | 4.8865e-05 | 0.0037439 | 1.0743 | 0.085 | 9.7289 | 10.7151 | 9.7412 | 0.00037249 |  | 0.00053727 | 0.0002294 | 6.1884e-07
51 | 1.0889e-05 | 99.7382 | 0.031116 | 8.1447e-05 | 0.035093 | 9.7193 | [12 empty] | 9.0309e-05 | 0.0014209 | 1.0552 | 0.1715 | 9.6903 | 10.6056 | 9.7611 | 0.00036913 |  | 0.0004164 | 0.00023407 | 4.6795e-07
52 | 1.0867e-05 | 99.7372 | 0.031763 | 8.3469e-05 | 0.035892 | 9.7192 | [12 empty] | 8.8693e-05 | 0.0014283 | 1.0557 | 0.168 | 9.6596 | 10.5822 | 9.7359 | 0.00036815 |  | 0.00039454 | 0.00023894 | 4.9268e-07
53 | 1.0844e-05 | 99.7361 | 0.032437 | 8.5592e-05 | 0.036727 | 9.7192 | [12 empty] | 8.7073e-05 | 0.0014359 | 1.0562 | 0.1645 | 9.6285 | 10.5588 | 9.7106 | 0.00036758 |  | 0.00037379 | 0.00024401 | 5.1888e-07
54 | 1.082e-05 | 99.735 | 0.03314 | 8.7824e-05 | 0.037602 | 9.7192 | [12 empty] | 8.5449e-05 | 0.0014436 | 1.0567 | 0.161 | 9.5971 | 10.536 | 9.6859 | 0.00036745 |  | 0.00035462 | 0.0002493 | 5.4684e-07
55 | 1.0795e-05 | 99.7338 | 0.033875 | 9.0174e-05 | 0.038518 | 9.7192 | [12 empty] | 8.382e-05 | 0.0014516 | 1.0573 | 0.1575 | 9.5653 | 10.5125 | 9.6603 | 0.00036773 |  | 0.00033592 | 0.00025483 | 5.7636e-07
56 | 1.0768e-05 | 99.7326 | 0.034643 | 9.2649e-05 | 0.039479 | 9.7192 | [12 empty] | 8.2187e-05 | 0.0014598 | 1.0578 | 0.154 | 9.5331 | 10.4889 | 9.6346 | 0.00036846 |  | 0.00031816 | 0.00026061 | 6.0776e-07
57 | 1.074e-05 | 99.7312 | 0.035446 | 9.5262e-05 | 0.040488 | 9.7191 | [12 empty] | 8.0549e-05 | 0.0014683 | 1.0584 | 0.1505 | 9.5005 | 10.4402 | 9.5833 | 0.00036963 |  | 0.00028436 | 0.00026665 | 6.3826e-07
58 | 1.0711e-05 | 99.7299 | 0.036288 | 9.8023e-05 | 0.041549 | 9.7191 | [12 empty] | 7.8906e-05 | 0.001477 | 1.059 | 0.147 | 9.4694 | 10.444 | 9.5853 | 0.00037166 |  | 0.00028696 | 0.00027299 | 6.7581e-07
59 | 1.0681e-05 | 99.7284 | 0.03717 | 0.00010095 | 0.042666 | 9.7191 | [12 empty] | 7.7259e-05 | 0.001486 | 1.0596 | 0.1435 | 9.4358 | 10.4201 | 9.5589 | 0.00037372 |  | 0.00027164 | 0.00027963 | 7.1404e-07
60 | 1.0649e-05 | 99.7269 | 0.038097 | 0.00010404 | 0.043843 | 9.7191 | [12 empty] | 7.5606e-05 | 0.0014952 | 1.0602 | 0.14 | 9.4016 | 10.3968 | 9.533 | 0.00037627 |  | 0.00025746 | 0.0002866 | 7.5506e-07
61 | 1.0615e-05 | 99.7253 | 0.039071 | 0.00010733 | 0.045086 | 9.7191 | [12 empty] | 7.3949e-05 | 0.0015048 | 1.0608 | 0.1365 | 9.3667 | 10.3726 | 9.5061 | 0.00037932 |  | 0.00024361 | 0.00029393 | 7.9915e-07
62 | 1.0579e-05 | 99.7236 | 0.040097 | 0.00011083 | 0.046398 | 9.719 | [12 empty] | 7.2286e-05 | 0.0015146 | 1.0615 | 0.133 | 9.3313 | 10.3483 | 9.4789 | 0.00038289 |  | 0.00023042 | 0.00030165 | 8.4669e-07
63 | 1.0541e-05 | 99.7218 | 0.041177 | 0.00011456 | 0.047788 | 9.719 | [12 empty] | 7.0617e-05 | 0.0015248 | 1.0622 | 0.1295 | 9.2952 | 10.3245 | 9.4521 | 0.00038701 |  | 0.00021822 | 0.00030978 | 8.9799e-07
64 | 1.0501e-05 | 99.7199 | 0.042318 | 0.00011854 | 0.049261 | 9.719 | [12 empty] | 6.8943e-05 | 0.0015354 | 1.0629 | 0.126 | 9.2583 | 10.2998 | 9.4241 | 0.0003917 |  | 0.00020626 | 0.00031836 | 9.5372e-07
65 | 1.0458e-05 | 99.7179 | 0.043524 | 0.0001228 | 0.050825 | 9.719 | [12 empty] | 6.7263e-05 | 0.0015463 | 1.0637 | 0.1225 | 9.2206 | 10.2755 | 9.3964 | 0.000397 |  | 0.00019517 | 0.00032742 | 1.0142e-06
66 | 1.0413e-05 | 99.7157 | 0.0448 | 0.00012737 | 0.052488 | 9.719 | [12 empty] | 6.5577e-05 | 0.0015576 | 1.0645 | 0.119 | 9.182 | 10.2503 | 9.3675 | 0.00040294 |  | 0.00018432 | 0.00033703 | 1.0803e-06
67 | 1.0365e-05 | 99.7134 | 0.046154 | 0.00013228 | 0.05426 | 9.7189 | [12 empty] | 6.3885e-05 | 0.0015693 | 1.0653 | 0.1155 | 9.1425 | 10.2255 | 9.3387 | 0.00040956 |  | 0.00017425 | 0.00034721 | 1.1525e-06
68 | 1.0313e-05 | 99.7109 | 0.047592 | 0.00013758 | 0.056152 | 9.7189 | [12 empty] | 6.2186e-05 | 0.0015815 | 1.0661 | 0.112 | 9.1019 | 10.1998 | 9.3087 | 0.00041691 |  | 0.00016439 | 0.00035802 | 1.2322e-06
69 | 1.0258e-05 | 99.7083 | 0.049123 | 0.0001433 | 0.058177 | 9.7189 | [12 empty] | 6.0481e-05 | 0.0015942 | 1.067 | 0.1085 | 9.0602 | 10.1743 | 9.2786 | 0.00042506 |  | 0.00015523 | 0.00036953 | 1.3199e-06
70 | 1.0199e-05 | 99.7055 | 0.050756 | 0.0001495 | 0.060347 | 9.7189 | [12 empty] | 5.8768e-05 | 0.0016074 | 1.068 | 0.105 | 9.0172 | 10.1479 | 9.2471 | 0.00043406 |  | 0.00014628 | 0.0003818 | 1.4175e-06
71 | 1.0136e-05 | 99.7024 | 0.052501 | 0.00015624 | 0.062678 | 9.7188 | [12 empty] | 5.7049e-05 | 0.0016212 | 1.069 | 0.1015 | 8.973 | 10.1217 | 9.2154 | 0.00044398 |  | 0.00013796 | 0.00039492 | 1.5258e-06
72 | 1.0068e-05 | 99.6991 | 0.05437 | 0.00016359 | 0.06519 | 9.7188 | [12 empty] | 5.5322e-05 | 0.0016356 | 1.07 | 0.098 | 8.9273 | 10.0944 | 9.182 | 0.00045491 |  | 0.00012983 | 0.00040897 | 1.6479e-06
73 | 9.9949e-06 | 99.6955 | 0.056378 | 0.00017165 | 0.067902 | 9.7188 | [12 empty] | 5.3588e-05 | 0.0016507 | 1.0711 | 0.0945 | 8.8801 | 10.0674 | 9.1483 | 0.00046695 |  | 0.0001223 | 0.00042405 | 1.7845e-06
74 | 9.9136e-06 | 99.6916 | 0.058539 | 0.00018053 | 0.070837 | 9.7171 | [12 empty] | 5.1845e-05 | 0.0039041 | 1.0722 | 0.091 | 8.8312 | 10.0399 | 9.1133 | 0.0004802 |  | 0.00011513 | 0.0004403 | 1.9396e-06
75 | 1.8223e-05 | 99.8281 | 0.060874 | 0.00010463 | 0.074585 | 11.7189 | [12 empty] | 8.9572e-05 | 0.0014007 | 1.0555 | 0.17 | 8.7795 | 9.8059 | 9.1374 | 0.00049481 |  | 6.7196e-05 | 0.00045783 | 1.4258e-06
76 | 1.8081e-05 | 99.8258 | 0.063406 | 0.00011047 | 0.078135 | 11.7189 | [12 empty] | 8.6425e-05 | 0.0014152 | 1.0565 | 0.1632 | 8.7468 | 9.7954 | 9.1218 | 0.00051262 |  | 6.5768e-05 | 0.00047685 | 1.5305e-06
77 | 1.7925e-05 | 99.8232 | 0.066158 | 0.00011697 | 0.082022 | 11.7189 | [12 empty] | 8.3262e-05 | 0.0014305 | 1.0575 | 0.1564 | 8.7126 | 9.7846 | 9.1057 | 0.00053205 |  | 6.4345e-05 | 0.00049751 | 1.6477e-06
78 | 1.7754e-05 | 99.8203 | 0.06916 | 0.00012425 | 0.086294 | 11.7188 | [12 empty] | 8.0082e-05 | 0.0014466 | 1.0586 | 0.1496 | 8.6768 | 9.7734 | 9.0891 | 0.00055331 |  | 6.292e-05 | 0.00052005 | 1.7795e-06
79 | 1.7566e-05 | 99.8172 | 0.072447 | 0.00013244 | 0.091009 | 11.7188 | [12 empty] | 7.6883e-05 | 0.0014637 | 1.0597 | 0.1428 | 8.6392 | 9.7624 | 9.0727 | 0.00057666 |  | 6.1578e-05 | 0.00054473 | 1.9267e-06
80 | 1.7357e-05 | 99.8137 | 0.076063 | 0.00014173 | 0.096234 | 11.7188 | [12 empty] | 7.3665e-05 | 0.0014818 | 1.061 | 0.136 | 8.5999 | 9.75 | 9.0551 | 0.00060242 |  | 6.012e-05 | 0.00057187 | 2.0956e-06
81 | 1.7125e-05 | 99.8097 | 0.080059 | 0.00015233 | 0.10205 | 11.7188 | [12 empty] | 7.0427e-05 | 0.0015012 | 1.0623 | 0.1292 | 8.5586 | 9.7368 | 9.0372 | 0.00063096 |  | 5.863e-05 | 0.00060186 | 2.2878e-06
82 | 1.6865e-05 | 99.8053 | 0.084498 | 0.00016455 | 0.10857 | 11.7187 | [12 empty] | 6.7168e-05 | 0.0015218 | 1.0638 | 0.1224 | 8.5155 | 9.7233 | 9.0199 | 0.00066276 |  | 5.7191e-05 | 0.00063517 | 2.5048e-06
83 | 1.6574e-05 | 99.8002 | 0.089459 | 0.00017875 | 0.1159 | 11.7187 | [12 empty] | 6.3886e-05 | 0.001544 | 1.0654 | 0.1156 | 8.4704 | 9.7088 | 9.0027 | 0.00069838 |  | 5.5709e-05 | 0.00067239 | 2.7534e-06
84 | 1.6244e-05 | 99.7944 | 0.095039 | 0.00019543 | 0.12421 | 11.7187 | [12 empty] | 6.0579e-05 | 0.0015679 | 1.0671 | 0.1088 | 8.4234 | 9.6934 | 8.9858 | 0.00073854 |  | 5.4227e-05 | 0.00071424 | 3.0391e-06
85 | 1.587e-05 | 99.7876 | 0.10136 | 0.00021529 | 0.13367 | 11.7186 | [12 empty] | 5.7247e-05 | 0.0015938 | 1.0689 | 0.102 | 8.3746 | 9.6786 | 8.9702 | 0.00078416 |  | 5.2926e-05 | 0.00076165 | 3.3658e-06
86 | 1.5437e-05 | 99.7796 | 0.10859 | 0.00023928 | 0.14453 | 11.7165 | [12 empty] | 5.3886e-05 | 0.003947 | 1.071 | 0.0952 | 8.324 | 9.6652 | 8.9549 | 0.0008364 |  | 5.1909e-05 | 0.00081581 | 3.7472e-06
87 | 2.744e-05 | 99.8794 | 0.11692 | 0.00014098 | 0.15875 | 16.9188 | [12 empty] | 8.9623e-05 | 0.0014078 | 1.0555 | 0.1703 | 8.2692 | 9.4454 | 8.9937 | 0.00089674 |  | 3.199e-05 | 0.00087828 | 3.0988e-06
88 | 2.6744e-05 | 99.8746 | 0.12665 | 0.00015888 | 0.17438 | 16.9187 | [12 empty] | 8.3547e-05 | 0.0014367 | 1.0575 | 0.1572 | 8.2328 | 9.4582 | 9.0004 | 0.0009688 |  | 3.3185e-05 | 0.00095121 | 3.3766e-06
89 | 2.5916e-05 | 99.8686 | 0.13815 | 0.00018148 | 0.19302 | 16.9187 | [12 empty] | 7.7407e-05 | 0.0014689 | 1.0596 | 0.1441 | 8.1939 | 9.4735 | 9.0033 | 0.0010539 |  | 3.4676e-05 | 0.0010374 | 3.734e-06
90 | 2.4918e-05 | 99.8613 | 0.15195 | 0.00021076 | 0.21554 | 16.9186 | [12 empty] | 7.1196e-05 | 0.0015051 | 1.0621 | 0.131 | 8.1519 | 9.4934 | 9.0046 | 0.0011558 |  | 3.6654e-05 | 0.0011407 | 4.1841e-06
91 | 2.37e-05 | 99.852 | 0.16881 | 0.00024992 | 0.24309 | 16.9186 | [12 empty] | 6.4906e-05 | 0.0015462 | 1.065 | 0.1179 | 8.1066 | 9.5172 | 9.0036 | 0.0012801 |  | 3.918e-05 | 0.001267 | 4.767e-06
92 | 2.2193e-05 | 99.8397 | 0.18988 | 0.0003044 | 0.27729 | 16.9185 | [12 empty] | 5.8528e-05 | 0.0015935 | 1.0683 | 0.1048 | 8.0571 | 9.5452 | 8.9991 | 0.0014352 |  | 4.2413e-05 | 0.0014248 | 5.548e-06
93 | 2.0301e-05 | 99.8229 | 0.21696 | 0.00038432 | 0.32027 | 16.9163 | [12 empty] | 5.2049e-05 | 0.0039035 | 1.0724 | 0.0917 | 8.003 | 9.5791 | 8.9897 | 0.0016342 |  | 4.672e-05 | 0.0016276 | 6.639e-06
94 | 4.2144e-05 | 99.9073 | 0.25306 | 0.00023471 | 0.4058 | 29.4187 | [12 empty] | 8.9177e-05 | 0.0014073 | 1.0559 | 0.1698 | 7.9372 | 9.2685 | 9.0119 | 0.0018988 |  | 2.5611e-05 | 0.0018977 | 6.092e-06
95 | 3.7996e-05 | 99.8943 | 0.30362 | 0.00032107 | 0.50049 | 29.4186 | [12 empty] | 7.5957e-05 | 0.0014755 | 1.0605 | 0.1415 | 7.8943 | 9.3193 | 9.0094 | 0.0022734 |  | 2.9677e-05 | 0.002276 | 7.5556e-06
96 | 3.2136e-05 | 99.8731 | 0.37945 | 0.00048139 | 0.63475 | 29.4185 | [12 empty] | 6.2396e-05 | 0.0015644 | 1.0666 | 0.1132 | 7.8425 | 9.3863 | 8.9935 | 0.0028344 |  | 3.6166e-05 | 0.0028432 | 1.002e-05
97 | 2.3799e-05 | 99.8327 | 0.50577 | 0.00084617 | 0.82651 | 29.4183 | [12 empty] | 4.8393e-05 | 0.0016886 | 1.0755 | 0.0849 | 7.7761 | 9.4987 | 8.9614 | 0.0037671 |  | 4.9378e-05 | 0.0037875 | 1.4702e-05
98 | 1.2321e-05 | 99.7157 | 0.75823 | 0.0021557 | 1.0911 | 29.4166 | [12 empty] | 3.3768e-05 | 0.0033525 | 1.0905 | 0.0566 | 0 | 0 | 0 | 0.005626 |  | 0 | 0.005674 | 0