## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Mass transfer | Pressure drop Corr | Cross-flow Velocity | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. in Brine | Trace Conc. in Permeate
0 | 5.5752e-06 | 0.015283 | 7.0819e-05 | 0.016259 | 3.1 | 18.9489 | 18.7411 | 19.788 | 20.4587 | 24.7524 | 0.21472 | 0.011112 | 0.018426 | 0.0037957 | 0.00010205 | 0.24815 | 1.001 | 8.9641e-05 | 0.0013985 | 0.17 | 7.999 | 9.7332 | 8.4527 | 0.0025256 | 9.2568e-05 | 0.0025562 | 3.0918e-05
1 | 5.5671e-06 | 0.015436 | 7.1667e-05 | 0.01643 | 3.1 | [12 empty] | 8.8856e-05 | 0.001402 | 0.1683 | 7.9949 | 9.7317 | 8.4515 | 0.0025502 | 9.2828e-05 | 0.0025817 | 3.1298e-05
2 | 5.5589e-06 | 0.015593 | 7.2535e-05 | 0.016604 | 3.1 | [12 empty] | 8.807e-05 | 0.0014055 | 0.1666 | 7.9908 | 9.7303 | 8.4506 | 0.0025752 | 9.3094e-05 | 0.0026077 | 3.168e-05
3 | 5.5505e-06 | 0.015753 | 7.3424e-05 | 0.016783 | 3.1 | [12 empty] | 8.7283e-05 | 0.0014092 | 0.1649 | 7.9867 | 9.7289 | 8.4496 | 0.0026008 | 9.3366e-05 | 0.0026343 | 3.2068e-05
4 | 5.5419e-06 | 0.015917 | 7.4335e-05 | 0.016965 | 3.0999 | [12 empty] | 8.6495e-05 | 0.0014128 | 0.1632 | 7.9826 | 9.7275 | 8.4487 | 0.002627 | 9.3645e-05 | 0.0026614 | 3.2463e-05
5 | 5.5332e-06 | 0.016083 | 7.5268e-05 | 0.017151 | 3.0999 | [12 empty] | 8.5705e-05 | 0.0014165 | 0.1615 | 7.9786 | 9.726 | 8.448 | 0.0026536 | 9.3931e-05 | 0.0026891 | 3.2863e-05
6 | 5.5243e-06 | 0.016254 | 7.6225e-05 | 0.017341 | 3.0999 | [12 empty] | 8.4915e-05 | 0.0014203 | 0.1598 | 7.9745 | 9.7246 | 8.4472 | 0.0026808 | 9.4224e-05 | 0.0027173 | 3.3269e-05
7 | 5.5151e-06 | 0.016428 | 7.7207e-05 | 0.017535 | 3.0999 | [12 empty] | 8.4124e-05 | 0.0014241 | 0.1581 | 7.9705 | 9.7232 | 8.4465 | 0.0027087 | 9.4524e-05 | 0.0027462 | 3.3681e-05
8 | 5.5058e-06 | 0.016605 | 7.8214e-05 | 0.017734 | 3.0999 | [12 empty] | 8.3332e-05 | 0.001428 | 0.1564 | 7.9665 | 9.7217 | 8.446 | 0.0027371 | 9.4832e-05 | 0.0027757 | 3.4099e-05
9 | 5.4963e-06 | 0.016787 | 7.9247e-05 | 0.017937 | 3.0999 | [12 empty] | 8.2538e-05 | 0.0014319 | 0.1547 | 7.9626 | 9.7203 | 8.4455 | 0.0027661 | 9.5147e-05 | 0.0028058 | 3.4523e-05
10 | 5.4865e-06 | 0.016973 | 8.0307e-05 | 0.018145 | 3.0999 | [12 empty] | 8.1744e-05 | 0.0014359 | 0.153 | 7.9586 | 9.7189 | 8.445 | 0.0027958 | 9.5471e-05 | 0.0028366 | 3.4952e-05
11 | 5.4765e-06 | 0.017162 | 8.1396e-05 | 0.018358 | 3.0998 | [12 empty] | 8.0948e-05 | 0.0014399 | 0.1513 | 7.9547 | 9.7174 | 8.4447 | 0.0028261 | 9.5803e-05 | 0.0028681 | 3.5389e-05
12 | 5.4663e-06 | 0.017356 | 8.2514e-05 | 0.018576 | 3.0998 | [12 empty] | 8.0152e-05 | 0.001444 | 0.1496 | 7.9507 | 9.716 | 8.4444 | 0.0028572 | 9.6144e-05 | 0.0029002 | 3.5832e-05
13 | 5.4559e-06 | 0.017555 | 8.3663e-05 | 0.018798 | 3.0998 | [12 empty] | 7.9354e-05 | 0.0014481 | 0.1479 | 7.9468 | 9.7146 | 8.4442 | 0.0028889 | 9.6494e-05 | 0.0029332 | 3.6283e-05
14 | 5.4452e-06 | 0.017758 | 8.4844e-05 | 0.019027 | 3.0998 | [12 empty] | 7.8555e-05 | 0.0014523 | 0.1462 | 7.9429 | 9.7132 | 8.4441 | 0.0029214 | 9.6853e-05 | 0.0029668 | 3.6741e-05
15 | 5.4342e-06 | 0.017966 | 8.6058e-05 | 0.01926 | 3.0998 | [12 empty] | 7.7755e-05 | 0.0014566 | 0.1445 | 7.9391 | 9.7118 | 8.4441 | 0.0029546 | 9.7223e-05 | 0.0030013 | 3.7202e-05
16 | 5.423e-06 | 0.018179 | 8.7308e-05 | 0.0195 | 3.0998 | [12 empty] | 7.6954e-05 | 0.0014609 | 0.1428 | 7.9352 | 9.7104 | 8.4441 | 0.0029886 | 9.7602e-05 | 0.0030366 | 3.7676e-05
17 | 5.4116e-06 | 0.018397 | 8.8593e-05 | 0.019745 | 3.0997 | [12 empty] | 7.6151e-05 | 0.0014653 | 0.1411 | 7.9313 | 9.709 | 8.4443 | 0.0030234 | 9.7992e-05 | 0.0030727 | 3.8155e-05
18 | 5.3998e-06 | 0.01862 | 8.9917e-05 | 0.019997 | 3.0997 | [12 empty] | 7.5348e-05 | 0.0014698 | 0.1394 | 7.9275 | 9.7076 | 8.4446 | 0.0030591 | 9.8394e-05 | 0.0031097 | 3.8641e-05
19 | 5.3877e-06 | 0.018849 | 9.128e-05 | 0.020255 | 3.0997 | [12 empty] | 7.4543e-05 | 0.0014743 | 0.1377 | 7.9237 | 9.7063 | 8.4449 | 0.0030957 | 9.8808e-05 | 0.0031477 | 3.9135e-05
20 | 5.3754e-06 | 0.019083 | 9.2684e-05 | 0.02052 | 3.0997 | [12 empty] | 7.3736e-05 | 0.0014789 | 0.136 | 7.9199 | 9.7049 | 8.4453 | 0.0031331 | 9.9233e-05 | 0.0031865 | 3.9639e-05
21 | 5.3627e-06 | 0.019324 | 9.4132e-05 | 0.020791 | 3.0997 | [12 empty] | 7.2929e-05 | 0.0014836 | 0.1343 | 7.9161 | 9.7036 | 8.4458 | 0.0031715 | 9.9672e-05 | 0.0032264 | 4.0152e-05
22 | 5.3497e-06 | 0.01957 | 9.5625e-05 | 0.02107 | 3.0997 | [12 empty] | 7.212e-05 | 0.0014883 | 0.1326 | 7.9123 | 9.7023 | 8.4465 | 0.0032109 | 0.00010012 | 0.0032672 | 4.0671e-05
23 | 5.3363e-06 | 0.019823 | 9.7166e-05 | 0.021356 | 3.0996 | [12 empty] | 7.131e-05 | 0.0014931 | 0.1309 | 7.9086 | 9.701 | 8.4472 | 0.0032513 | 0.00010059 | 0.0033091 | 4.1202e-05
24 | 5.3226e-06 | 0.020083 | 9.8756e-05 | 0.02165 | 3.0996 | [12 empty] | 7.0499e-05 | 0.001498 | 0.1292 | 7.9048 | 9.6998 | 8.448 | 0.0032928 | 0.00010107 | 0.0033521 | 4.1742e-05
25 | 5.3085e-06 | 0.020349 | 0.0001004 | 0.021952 | 3.0996 | [12 empty] | 6.9686e-05 | 0.001503 | 0.1275 | 7.9011 | 9.6985 | 8.4489 | 0.0033353 | 0.00010157 | 0.0033962 | 4.2294e-05
26 | 5.294e-06 | 0.020623 | 0.00010209 | 0.022263 | 3.0996 | [12 empty] | 6.8872e-05 | 0.0015081 | 0.1258 | 7.8973 | 9.6974 | 8.45 | 0.003379 | 0.00010208 | 0.0034416 | 4.2853e-05
27 | 5.2792e-06 | 0.020904 | 0.00010385 | 0.022582 | 3.0996 | [12 empty] | 6.8057e-05 | 0.0015132 | 0.1241 | 7.8936 | 9.6962 | 8.4511 | 0.0034239 | 0.00010261 | 0.0034881 | 4.3426e-05
28 | 5.2639e-06 | 0.021193 | 0.00010566 | 0.02291 | 3.0996 | [12 empty] | 6.724e-05 | 0.0015185 | 0.1224 | 7.8899 | 9.6951 | 8.4523 | 0.00347 | 0.00010316 | 0.003536 | 4.4009e-05
29 | 5.2482e-06 | 0.02149 | 0.00010754 | 0.023248 | 3.0995 | [12 empty] | 6.6422e-05 | 0.0015238 | 0.1207 | 7.8862 | 9.694 | 8.4537 | 0.0035175 | 0.00010373 | 0.0035851 | 4.4604e-05
30 | 5.232e-06 | 0.021795 | 0.00010949 | 0.023596 | 3.0995 | [12 empty] | 6.5602e-05 | 0.0015292 | 0.119 | 7.8825 | 9.6929 | 8.4551 | 0.0035662 | 0.00010432 | 0.0036357 | 4.5212e-05
31 | 5.2153e-06 | 0.02211 | 0.0001115 | 0.023954 | 3.0995 | [12 empty] | 6.4781e-05 | 0.0015348 | 0.1173 | 7.8788 | 9.6919 | 8.4566 | 0.0036164 | 0.00010493 | 0.0036878 | 4.5835e-05
32 | 5.1982e-06 | 0.022433 | 0.00011359 | 0.024323 | 3.0995 | [12 empty] | 6.3959e-05 | 0.0015404 | 0.1156 | 7.8752 | 9.6909 | 8.4583 | 0.003668 | 0.00010557 | 0.0037413 | 4.6469e-05
33 | 5.1805e-06 | 0.022766 | 0.00011576 | 0.024703 | 3.0995 | [12 empty] | 6.3135e-05 | 0.0015461 | 0.1139 | 7.8715 | 9.69 | 8.4601 | 0.0037212 | 0.00010622 | 0.0037965 | 4.712e-05
34 | 5.1623e-06 | 0.023109 | 0.00011801 | 0.025095 | 3.0995 | [12 empty] | 6.2309e-05 | 0.001552 | 0.1122 | 7.8678 | 9.6892 | 8.462 | 0.003776 | 0.00010691 | 0.0038533 | 4.7786e-05
35 | 5.1435e-06 | 0.023463 | 0.00012035 | 0.0255 | 3.0994 | [12 empty] | 6.1482e-05 | 0.0015579 | 0.1105 | 7.8641 | 9.6883 | 8.4639 | 0.0038324 | 0.00010762 | 0.0039118 | 4.847e-05
36 | 5.1242e-06 | 0.023828 | 0.00012278 | 0.025918 | 3.0994 | [12 empty] | 6.0653e-05 | 0.001564 | 0.1088 | 7.8605 | 9.6876 | 8.4661 | 0.0038906 | 0.00010836 | 0.0039722 | 4.9169e-05
37 | 5.1042e-06 | 0.024204 | 0.00012531 | 0.026349 | 3.0994 | [12 empty] | 5.9822e-05 | 0.0015702 | 0.1071 | 7.8568 | 9.6869 | 8.4683 | 0.0039507 | 0.00010913 | 0.0040345 | 4.9887e-05
38 | 5.0835e-06 | 0.024593 | 0.00012794 | 0.026794 | 3.0994 | [12 empty] | 5.899e-05 | 0.0015765 | 0.1054 | 7.8532 | 9.6863 | 8.4706 | 0.0040126 | 0.00010993 | 0.0040987 | 5.0625e-05
39 | 5.0622e-06 | 0.024994 | 0.00013069 | 0.027255 | 3.0994 | [12 empty] | 5.8157e-05 | 0.0015829 | 0.1037 | 7.8495 | 9.6858 | 8.4731 | 0.0040766 | 0.00011077 | 0.0041651 | 5.1384e-05
40 | 5.0402e-06 | 0.025408 | 0.00013355 | 0.027731 | 3.0994 | [12 empty] | 5.7321e-05 | 0.0015895 | 0.102 | 7.8459 | 9.6853 | 8.4757 | 0.0041427 | 0.00011164 | 0.0042336 | 5.2165e-05
41 | 5.0174e-06 | 0.025836 | 0.00013653 | 0.028224 | 3.0993 | [12 empty] | 5.6484e-05 | 0.0015962 | 0.1003 | 7.8422 | 9.6849 | 8.4784 | 0.004211 | 0.00011256 | 0.0043045 | 5.297e-05
42 | 4.9938e-06 | 0.02628 | 0.00013965 | 0.028734 | 3.0993 | [12 empty] | 5.5645e-05 | 0.0016031 | 0.0986 | 7.8386 | 9.6847 | 8.4812 | 0.0042817 | 0.00011351 | 0.0043778 | 5.38e-05
43 | 4.9694e-06 | 0.026738 | 0.00014292 | 0.029262 | 3.0993 | [12 empty] | 5.4804e-05 | 0.0016101 | 0.0969 | 7.8349 | 9.6845 | 8.4841 | 0.0043548 | 0.00011451 | 0.0044537 | 5.4658e-05
44 | 4.9442e-06 | 0.027213 | 0.00014633 | 0.02981 | 3.0993 | [12 empty] | 5.3961e-05 | 0.0016173 | 0.0952 | 7.8312 | 9.6844 | 8.4872 | 0.0044305 | 0.00011556 | 0.0045322 | 5.5544e-05
45 | 4.918e-06 | 0.027705 | 0.00014991 | 0.030378 | 3.0993 | [12 empty] | 5.3117e-05 | 0.0016246 | 0.0935 | 7.8275 | 9.6844 | 8.4904 | 0.004509 | 0.00011666 | 0.0046136 | 5.6461e-05
46 | 4.8908e-06 | 0.028215 | 0.00015367 | 0.030968 | 3.0992 | [12 empty] | 5.227e-05 | 0.0016321 | 0.0918 | 7.8238 | 9.6845 | 8.4937 | 0.0045903 | 0.00011782 | 0.004698 | 5.7412e-05
47 | 4.8626e-06 | 0.028745 | 0.00015761 | 0.03158 | 3.0992 | [12 empty] | 5.1422e-05 | 0.0016398 | 0.0901 | 7.8201 | 9.6847 | 8.4971 | 0.0046747 | 0.00011903 | 0.0047856 | 5.8399e-05
48 | 4.8333e-06 | 0.029295 | 0.00016176 | 0.032216 | 3.0992 | [12 empty] | 5.0572e-05 | 0.0016476 | 0.0884 | 7.8164 | 9.6851 | 8.5006 | 0.0047623 | 0.0001203 | 0.0048765 | 5.9425e-05
49 | 4.8029e-06 | 0.029866 | 0.00016612 | 0.032878 | 3.0992 | [12 empty] | 4.9719e-05 | 0.0016557 | 0.0867 | 7.8127 | 9.6856 | 8.5043 | 0.0048534 | 0.00012165 | 0.0049709 | 6.049e-05
50 | 4.7691e-06 | 0.03046 | 0.00017078 | 0.033565 | 3.0981 | [12 empty] | 4.8865e-05 | 0.0037439 | 0.085 | 7.809 | 9.6864 | 8.5081 | 0.004948 | 0.00012311 | 0.0050692 | 6.161e-05
51 | 5.6989e-06 | 0.031078 | 0.00014799 | 0.033093 | 3.8974 | [12 empty] | 9.0309e-05 | 0.0014209 | 0.1715 | 7.8048 | 9.6647 | 8.5721 | 0.0050465 | 0.00010841 | 0.0051713 | 5.1673e-05
52 | 5.6698e-06 | 0.031722 | 0.00015195 | 0.033806 | 3.8973 | [12 empty] | 8.8693e-05 | 0.0014283 | 0.168 | 7.8013 | 9.6654 | 8.5756 | 0.0051493 | 0.00010963 | 0.005278 | 5.2631e-05
53 | 5.6395e-06 | 0.032394 | 0.00015613 | 0.034551 | 3.8973 | [12 empty] | 8.7073e-05 | 0.0014359 | 0.1645 | 7.7977 | 9.6661 | 8.5793 | 0.0052566 | 0.00011092 | 0.0053892 | 5.3633e-05
54 | 5.6079e-06 | 0.033095 | 0.00016054 | 0.035329 | 3.8973 | [12 empty] | 8.5449e-05 | 0.0014436 | 0.161 | 7.7942 | 9.667 | 8.5831 | 0.0053684 | 0.00011228 | 0.0055052 | 5.468e-05
55 | 5.5749e-06 | 0.033827 | 0.00016521 | 0.036142 | 3.8973 | [12 empty] | 8.382e-05 | 0.0014516 | 0.1575 | 7.7906 | 9.668 | 8.5869 | 0.0054852 | 0.00011372 | 0.0056263 | 5.5778e-05
56 | 5.5403e-06 | 0.034592 | 0.00017014 | 0.036992 | 3.8973 | [12 empty] | 8.2187e-05 | 0.0014598 | 0.154 | 7.787 | 9.6692 | 8.5909 | 0.0056073 | 0.00011524 | 0.0057529 | 5.6932e-05
57 | 5.5042e-06 | 0.035392 | 0.00017538 | 0.037883 | 3.8972 | [12 empty] | 8.0549e-05 | 0.0014683 | 0.1505 | 7.7833 | 9.6704 | 8.595 | 0.005735 | 0.00011686 | 0.0058854 | 5.8144e-05
58 | 5.4664e-06 | 0.036231 | 0.00018094 | 0.038817 | 3.8972 | [12 empty] | 7.8906e-05 | 0.001477 | 0.147 | 7.7796 | 9.6718 | 8.5991 | 0.0058688 | 0.00011857 | 0.0060241 | 5.9423e-05
59 | 5.4267e-06 | 0.03711 | 0.00018686 | 0.039797 | 3.8972 | [12 empty] | 7.7259e-05 | 0.001486 | 0.1435 | 7.7759 | 9.6734 | 8.6033 | 0.006009 | 0.00012038 | 0.0061696 | 6.0772e-05
60 | 5.385e-06 | 0.038033 | 0.00019317 | 0.040827 | 3.8972 | [12 empty] | 7.5606e-05 | 0.0014952 | 0.14 | 7.7722 | 9.6751 | 8.6077 | 0.0061563 | 0.00012231 | 0.0063223 | 6.2199e-05
61 | 5.3412e-06 | 0.039003 | 0.00019991 | 0.04191 | 3.8972 | [12 empty] | 7.3949e-05 | 0.0015048 | 0.1365 | 7.7684 | 9.6769 | 8.6121 | 0.006311 | 0.00012437 | 0.0064828 | 6.3711e-05
62 | 5.2952e-06 | 0.040025 | 0.00020713 | 0.043051 | 3.8971 | [12 empty] | 7.2286e-05 | 0.0015146 | 0.133 | 7.7645 | 9.6789 | 8.6166 | 0.0064738 | 0.00012657 | 0.0066517 | 6.5318e-05
63 | 5.2466e-06 | 0.041101 | 0.00021488 | 0.044254 | 3.8971 | [12 empty] | 7.0617e-05 | 0.0015248 | 0.1295 | 7.7606 | 9.6811 | 8.6212 | 0.0066453 | 0.00012891 | 0.0068298 | 6.7028e-05
64 | 5.1954e-06 | 0.042236 | 0.00022322 | 0.045525 | 3.8971 | [12 empty] | 6.8943e-05 | 0.0015354 | 0.126 | 7.7567 | 9.6835 | 8.6259 | 0.0068263 | 0.00013143 | 0.0070176 | 6.8853e-05
65 | 5.1413e-06 | 0.043437 | 0.00023222 | 0.046869 | 3.8971 | [12 empty] | 6.7263e-05 | 0.0015463 | 0.1225 | 7.7527 | 9.6861 | 8.6307 | 0.0070176 | 0.00013413 | 0.0072161 | 7.0806e-05
66 | 5.084e-06 | 0.044708 | 0.00024195 | 0.048292 | 3.897 | [12 empty] | 6.5577e-05 | 0.0015576 | 0.119 | 7.7486 | 9.6888 | 8.6356 | 0.0072201 | 0.00013703 | 0.0074263 | 7.2902e-05
67 | 5.0234e-06 | 0.046055 | 0.00025251 | 0.049802 | 3.897 | [12 empty] | 6.3885e-05 | 0.0015693 | 0.1155 | 7.7445 | 9.6918 | 8.6405 | 0.0074347 | 0.00014016 | 0.0076491 | 7.5156e-05
68 | 4.959e-06 | 0.047486 | 0.00026401 | 0.051406 | 3.897 | [12 empty] | 6.2186e-05 | 0.0015815 | 0.112 | 7.7402 | 9.6949 | 8.6456 | 0.0076627 | 0.00014355 | 0.0078858 | 7.7589e-05
69 | 4.8905e-06 | 0.04901 | 0.00027658 | 0.053114 | 3.897 | [12 empty] | 6.0481e-05 | 0.0015942 | 0.1085 | 7.7359 | 9.6982 | 8.6507 | 0.0079052 | 0.00014721 | 0.0081377 | 8.0225e-05
70 | 4.8176e-06 | 0.050634 | 0.00029037 | 0.054935 | 3.8969 | [12 empty] | 5.8768e-05 | 0.0016074 | 0.105 | 7.7315 | 9.7018 | 8.6559 | 0.0081638 | 0.0001512 | 0.0084063 | 8.309e-05
71 | 4.7398e-06 | 0.05237 | 0.00030556 | 0.056881 | 3.8969 | [12 empty] | 5.7049e-05 | 0.0016212 | 0.1015 | 7.7271 | 9.7055 | 8.6612 | 0.0084401 | 0.00015554 | 0.0086933 | 8.6217e-05
72 | 4.6567e-06 | 0.05423 | 0.00032238 | 0.058963 | 3.8969 | [12 empty] | 5.5322e-05 | 0.0016356 | 0.098 | 7.7225 | 9.7094 | 8.6666 | 0.008736 | 0.00016028 | 0.0090007 | 8.9646e-05
73 | 4.5676e-06 | 0.056226 | 0.00034109 | 0.061198 | 3.8969 | [12 empty] | 5.3588e-05 | 0.0016507 | 0.0945 | 7.7177 | 9.7134 | 8.6721 | 0.0090536 | 0.00016549 | 0.0093307 | 9.3424e-05
74 | 4.469e-06 | 0.058375 | 0.00036224 | 0.063598 | 3.8951 | [12 empty] | 5.1845e-05 | 0.0039041 | 0.091 | 7.7129 | 9.718 | 8.6776 | 0.0093955 | 0.00017132 | 0.009686 | 9.7632e-05
75 | 6.0728e-06 | 0.060696 | 0.00025711 | 0.064936 | 6.4941 | [12 empty] | 8.9572e-05 | 0.0014007 | 0.17 | 7.7067 | 9.5931 | 8.6984 | 0.0097644 | 0.00013559 | 0.01007 | 8.2227e-05
76 | 5.9985e-06 | 0.063214 | 0.00027151 | 0.067738 | 6.494 | [12 empty] | 8.6425e-05 | 0.0014152 | 0.1632 | 7.7024 | 9.5944 | 8.7048 | 0.010166 | 0.00013966 | 0.010486 | 8.5572e-05
77 | 5.9177e-06 | 0.065951 | 0.00028759 | 0.070788 | 6.494 | [12 empty] | 8.3262e-05 | 0.0014305 | 0.1564 | 7.6981 | 9.5957 | 8.7113 | 0.010602 | 0.00014413 | 0.010938 | 8.9267e-05
78 | 5.8297e-06 | 0.068936 | 0.00030565 | 0.074118 | 6.494 | [12 empty] | 8.0082e-05 | 0.0014466 | 0.1496 | 7.6936 | 9.5965 | 8.7179 | 0.011077 | 0.00014903 | 0.011431 | 9.3381e-05
79 | 5.7333e-06 | 0.072204 | 0.00032607 | 0.077769 | 6.494 | [12 empty] | 7.6883e-05 | 0.0014637 | 0.1428 | 7.6889 | 9.5967 | 8.7246 | 0.011597 | 0.00015444 | 0.011971 | 9.7983e-05
80 | 5.6274e-06 | 0.075798 | 0.00034935 | 0.081787 | 6.4939 | [12 empty] | 7.3665e-05 | 0.0014818 | 0.136 | 7.6841 | 9.5957 | 8.7313 | 0.012169 | 0.00016039 | 0.012565 | 0.00010318
81 | 5.5104e-06 | 0.079769 | 0.00037611 | 0.08623 | 6.4939 | [12 empty] | 7.0427e-05 | 0.0015012 | 0.1292 | 7.679 | 9.5933 | 8.7382 | 0.012801 | 0.00016698 | 0.01322 | 0.00010907
82 | 5.3808e-06 | 0.084179 | 0.00040718 | 0.091166 | 6.4939 | [12 empty] | 6.7168e-05 | 0.0015218 | 0.1224 | 7.6737 | 9.5884 | 8.7452 | 0.013503 | 0.00017424 | 0.013949 | 0.00011582
83 | 5.2362e-06 | 0.089107 | 0.00044367 | 0.09668 | 6.4938 | [12 empty] | 6.3886e-05 | 0.001544 | 0.1156 | 7.6682 | 9.5797 | 8.7523 | 0.014287 | 0.00018223 | 0.014762 | 0.00012363
84 | 5.0742e-06 | 0.094649 | 0.0004871 | 0.10288 | 6.4938 | [12 empty] | 6.0579e-05 | 0.0015679 | 0.1088 | 7.6624 | 9.5649 | 8.7597 | 0.015169 | 0.00019099 | 0.015677 | 0.00013278
85 | 4.8913e-06 | 0.10093 | 0.00053962 | 0.10988 | 6.4938 | [12 empty] | 5.7247e-05 | 0.0015938 | 0.102 | 7.6562 | 9.5409 | 8.7673 | 0.016168 | 0.00020053 | 0.016714 | 0.00014363
86 | 4.6876e-06 | 0.1081 | 0.00060387 | 0.11787 | 6.4917 | [12 empty] | 5.3886e-05 | 0.003947 | 0.0952 | 7.6498 | 9.5025 | 8.7751 | 0.017308 | 0.00021085 | 0.017897 | 0.00015668
87 | 5.8314e-06 | 0.11637 | 0.00053682 | 0.12412 | 7.5204 | [12 empty] | 8.9938e-05 | 0.0014056 | 0.1703 | 7.6426 | 9.3363 | 8.7876 | 0.018623 | 0.00017831 | 0.019262 | 0.00014228
88 | 5.7887e-06 | 0.1174 | 0.00054785 | 0.12575 | 7.5204 | [12 empty] | 8.3868e-05 | 0.0014343 | 0.1572 | 7.6371 | 9.353 | 8.8136 | 0.02016 | 0.00018979 | 0.020855 | 0.00015146
89 | 5.743e-06 | 0.11845 | 0.00055985 | 0.12749 | 7.5203 | [12 empty] | 7.7734e-05 | 0.0014662 | 0.1441 | 7.6311 | 9.3702 | 8.8412 | 0.021976 | 0.00020345 | 0.022737 | 0.00016246
90 | 5.6934e-06 | 0.11952 | 0.00057305 | 0.12938 | 7.5203 | [12 empty] | 7.153e-05 | 0.001502 | 0.131 | 7.6243 | 9.3875 | 8.8706 | 0.024153 | 0.00021992 | 0.024995 | 0.00017586
91 | 5.6391e-06 | 0.12061 | 0.00058781 | 0.13145 | 7.5202 | [12 empty] | 6.5249e-05 | 0.0015426 | 0.1179 | 7.6167 | 9.4041 | 8.9019 | 0.026812 | 0.00024013 | 0.027753 | 0.00019252
92 | 5.5784e-06 | 0.12173 | 0.00060463 | 0.13376 | 7.5202 | [12 empty] | 5.888e-05 | 0.0015893 | 0.1048 | 7.608 | 9.4192 | 8.9357 | 0.030134 | 0.00026548 | 0.031198 | 0.00021378
93 | 5.5067e-06 | 0.12286 | 0.00062455 | 0.1364 | 7.518 | [12 empty] | 5.241e-05 | 0.0038916 | 0.0917 | 7.5979 | 9.4313 | 8.9722 | 0.034401 | 0.00029831 | 0.035624 | 0.00024185
94 | 5.6913e-06 | 0.12401 | 0.00058522 | 0.13208 | 7.5766 | [12 empty] | 8.9908e-05 | 0.0014022 | 0.1698 | 7.5859 | 9.5074 | 9.0184 | 0.040084 | 0.00032418 | 0.041521 | 0.00025569
95 | 5.6235e-06 | 0.12519 | 0.00060384 | 0.13466 | 7.5766 | [12 empty] | 7.6715e-05 | 0.0014691 | 0.1415 | 7.571 | 9.5122 | 9.0623 | 0.048036 | 0.00037855 | 0.049774 | 0.00030268
96 | 5.5385e-06 | 0.12638 | 0.00062783 | 0.13791 | 7.5765 | [12 empty] | 6.3187e-05 | 0.0015557 | 0.1132 | 7.5521 | 9.499 | 9.1104 | 0.059951 | 0.00045918 | 0.062142 | 0.00037534
97 | 5.4212e-06 | 0.12761 | 0.00066218 | 0.14238 | 7.5763 | [12 empty] | 4.9228e-05 | 0.001676 | 0.0849 | 7.5265 | 9.4433 | 9.162 | 0.079781 | 0.0005926 | 0.08273 | 0.00050232
98 | 5.228e-06 | 0.12885 | 0.00072183 | 0.1497 | 7.5747 | [12 empty] | 3.4669e-05 | 0.0033139 | 0.0566 | 0 | 0 | 0 | 0.11938 | 0 | 0.12384 | 0