## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Mass transfer | Pressure drop Corr | Cross-flow Velocity | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. in Brine | Trace Conc. in Permeate
0 | 6.3581e-06 | 0.015033 | 6.1652e-05 | 0.016133 | 3.1 | 22.8907 | 25.5176 | 28.2687 | 33.1214 | 33.3718 | 0.21472 | 0.011112 | 0.018426 | 0.0037957 | 0.00010205 | 0.24815 | 0.99754 | 8.9646e-05 | 0.0013985 | 0.17 | 8 | 11.0102 | 9.9774 | 0.00022412 | 0.0010603 | 0.00012816 | 5.1884e-07
1 | 6.3581e-06 | 0.015184 | 6.2311e-05 | 0.016306 | 3.1 | [12 empty] | 8.8861e-05 | 0.0014021 | 0.1683 | 7.7426 | 10.9882 | 9.9549 | 0.00021567 | 0.0010073 | 0.00012945 | 5.1891e-07
2 | 6.3581e-06 | 0.015339 | 6.2985e-05 | 0.016482 | 3.1 | [12 empty] | 8.8075e-05 | 0.0014056 | 0.1666 | 7.5466 | 10.9625 | 9.9287 | 0.00020759 | 0.00094883 | 0.00013077 | 5.156e-07
3 | 6.3581e-06 | 0.015496 | 6.3673e-05 | 0.016662 | 3.1 | [12 empty] | 8.7288e-05 | 0.0014093 | 0.1649 | 7.3959 | 10.9359 | 9.9015 | 0.00019995 | 0.00089177 | 0.00013211 | 5.1061e-07
4 | 6.3581e-06 | 0.015657 | 6.4376e-05 | 0.016846 | 3.0999 | [12 empty] | 8.65e-05 | 0.0014129 | 0.1632 | 7.2745 | 10.9094 | 9.8745 | 0.00019274 | 0.00083849 | 0.00013348 | 5.0466e-07
5 | 6.3581e-06 | 0.015821 | 6.5094e-05 | 0.017034 | 3.0999 | [12 empty] | 8.5711e-05 | 0.0014166 | 0.1615 | 7.1727 | 10.8835 | 9.8481 | 0.00018595 | 0.00078956 | 0.00013488 | 4.9803e-07
6 | 6.3581e-06 | 0.015989 | 6.5829e-05 | 0.017226 | 3.0999 | [12 empty] | 8.4921e-05 | 0.0014204 | 0.1598 | 7.0848 | 10.8578 | 9.8219 | 0.00017953 | 0.00074382 | 0.00013631 | 4.9056e-07
7 | 6.3581e-06 | 0.01616 | 6.6581e-05 | 0.017423 | 3.0999 | [12 empty] | 8.413e-05 | 0.0014242 | 0.1581 | 7.0072 | 10.8339 | 9.7974 | 0.00017346 | 0.00070353 | 0.00013777 | 4.831e-07
8 | 6.3581e-06 | 0.016335 | 6.7349e-05 | 0.017624 | 3.0999 | [12 empty] | 8.3337e-05 | 0.0014281 | 0.1564 | 6.9373 | 10.8109 | 9.7739 | 0.0001677 | 0.00066693 | 0.00013926 | 4.753e-07
9 | 6.3581e-06 | 0.016513 | 6.8136e-05 | 0.01783 | 3.0999 | [12 empty] | 8.2544e-05 | 0.001432 | 0.1547 | 6.8736 | 10.7888 | 9.7513 | 0.00016221 | 0.00063369 | 0.00014079 | 4.6722e-07
10 | 6.3581e-06 | 0.016696 | 6.8941e-05 | 0.018041 | 3.0999 | [12 empty] | 8.175e-05 | 0.001436 | 0.153 | 6.8148 | 10.7672 | 9.7291 | 0.00015697 | 0.0006026 | 0.00014235 | 4.5863e-07
11 | 6.3581e-06 | 0.016883 | 6.9766e-05 | 0.018257 | 3.0998 | [12 empty] | 8.0954e-05 | 0.00144 | 0.1513 | 6.76 | 10.7472 | 9.7086 | 0.00015196 | 0.00057528 | 0.00014394 | 4.5018e-07
12 | 6.3582e-06 | 0.017074 | 7.061e-05 | 0.018478 | 3.0998 | [12 empty] | 8.0157e-05 | 0.0014441 | 0.1496 | 6.7086 | 10.7281 | 9.689 | 0.00014715 | 0.00055036 | 0.00014557 | 4.4155e-07
13 | 6.3582e-06 | 0.017269 | 7.1475e-05 | 0.018704 | 3.0998 | [12 empty] | 7.936e-05 | 0.0014482 | 0.1479 | 6.66 | 10.7092 | 9.6696 | 0.00014252 | 0.00052682 | 0.00014724 | 4.3253e-07
14 | 6.3582e-06 | 0.017469 | 7.2361e-05 | 0.018936 | 3.0998 | [12 empty] | 7.8561e-05 | 0.0014524 | 0.1462 | 6.6139 | 10.692 | 9.6518 | 0.00013805 | 0.00050613 | 0.00014895 | 4.2368e-07
15 | 6.3582e-06 | 0.017674 | 7.3269e-05 | 0.019174 | 3.0998 | [12 empty] | 7.7761e-05 | 0.0014567 | 0.1445 | 6.5697 | 10.6755 | 9.6347 | 0.00013372 | 0.00048712 | 0.00015069 | 4.147e-07
16 | 6.3582e-06 | 0.017884 | 7.4201e-05 | 0.019418 | 3.0998 | [12 empty] | 7.6959e-05 | 0.001461 | 0.1428 | 6.5271 | 10.6591 | 9.6178 | 0.00012951 | 0.00046902 | 0.00015248 | 4.0542e-07
17 | 6.3582e-06 | 0.018098 | 7.5156e-05 | 0.019668 | 3.0997 | [12 empty] | 7.6157e-05 | 0.0014654 | 0.1411 | 6.4861 | 10.6442 | 9.6024 | 0.00012542 | 0.00045305 | 0.00015432 | 3.9629e-07
18 | 6.3582e-06 | 0.018318 | 7.6136e-05 | 0.019924 | 3.0997 | [12 empty] | 7.5353e-05 | 0.0014699 | 0.1394 | 6.4463 | 10.5999 | 9.557 | 0.00012143 | 0.00040893 | 0.00015619 | 3.7839e-07
19 | 6.3583e-06 | 0.018543 | 7.7142e-05 | 0.020187 | 3.0997 | [12 empty] | 7.4548e-05 | 0.0014744 | 0.1377 | 6.4101 | 10.6165 | 9.5736 | 0.00011788 | 0.00042495 | 0.00015812 | 3.7841e-07
20 | 6.3583e-06 | 0.018774 | 7.8174e-05 | 0.020458 | 3.0997 | [12 empty] | 7.3742e-05 | 0.001479 | 0.136 | 6.3721 | 10.6033 | 9.5598 | 0.00011404 | 0.00041214 | 0.00016009 | 3.6901e-07
21 | 6.3583e-06 | 0.019011 | 7.9235e-05 | 0.020735 | 3.0997 | [12 empty] | 7.2935e-05 | 0.0014837 | 0.1343 | 6.3349 | 10.5906 | 9.5466 | 0.00011027 | 0.00040022 | 0.00016211 | 3.5965e-07
22 | 6.3583e-06 | 0.019253 | 8.0324e-05 | 0.02102 | 3.0997 | [12 empty] | 7.2126e-05 | 0.0014884 | 0.1326 | 6.2983 | 10.5806 | 9.536 | 0.00010655 | 0.000391 | 0.00016418 | 3.5054e-07
23 | 6.3583e-06 | 0.019502 | 8.1444e-05 | 0.021313 | 3.0996 | [12 empty] | 7.1316e-05 | 0.0014932 | 0.1309 | 6.262 | 10.5683 | 9.5231 | 0.00010285 | 0.00038 | 0.00016631 | 3.4063e-07
24 | 6.3584e-06 | 0.019758 | 8.2595e-05 | 0.021615 | 3.0996 | [12 empty] | 7.0505e-05 | 0.0014982 | 0.1292 | 6.226 | 10.5565 | 9.5108 | 9.9208e-05 | 0.00036985 | 0.0001685 | 3.3071e-07
25 | 6.3584e-06 | 0.02002 | 8.3779e-05 | 0.021925 | 3.0996 | [12 empty] | 6.9692e-05 | 0.0015031 | 0.1275 | 6.1903 | 10.5457 | 9.4993 | 9.5599e-05 | 0.00036067 | 0.00017074 | 3.2082e-07
26 | 6.3584e-06 | 0.02029 | 8.4998e-05 | 0.022244 | 3.0996 | [12 empty] | 6.8878e-05 | 0.0015082 | 0.1258 | 6.1547 | 10.5345 | 9.4875 | 9.2017e-05 | 0.00035144 | 0.00017304 | 3.1065e-07
27 | 6.3584e-06 | 0.020567 | 8.6252e-05 | 0.022572 | 3.0996 | [12 empty] | 6.8063e-05 | 0.0015134 | 0.1241 | 6.1192 | 10.5242 | 9.4766 | 8.8463e-05 | 0.00034318 | 0.00017541 | 3.0055e-07
28 | 6.3585e-06 | 0.020851 | 8.7543e-05 | 0.02291 | 3.0996 | [12 empty] | 6.7246e-05 | 0.0015186 | 0.1224 | 6.0836 | 10.5137 | 9.4654 | 8.4926e-05 | 0.00033491 | 0.00017784 | 2.902e-07
29 | 6.3585e-06 | 0.021143 | 8.8874e-05 | 0.023258 | 3.0995 | [12 empty] | 6.6428e-05 | 0.0015239 | 0.1207 | 6.0478 | 10.5039 | 9.455 | 8.1405e-05 | 0.00032744 | 0.00018034 | 2.799e-07
30 | 6.3585e-06 | 0.021444 | 9.0245e-05 | 0.023617 | 3.0995 | [12 empty] | 6.5608e-05 | 0.0015294 | 0.119 | 6.0118 | 10.4944 | 9.4449 | 7.789e-05 | 0.00032033 | 0.00018291 | 2.6949e-07
31 | 6.3586e-06 | 0.021754 | 9.1659e-05 | 0.023988 | 3.0995 | [12 empty] | 6.4787e-05 | 0.0015349 | 0.1173 | 5.9754 | 10.4852 | 9.435 | 7.4376e-05 | 0.00031355 | 0.00018556 | 2.5898e-07
32 | 6.3586e-06 | 0.022072 | 9.3118e-05 | 0.024369 | 3.0995 | [12 empty] | 6.3964e-05 | 0.0015405 | 0.1156 | 5.9384 | 10.4761 | 9.4252 | 7.0859e-05 | 0.00030705 | 0.00018828 | 2.4836e-07
33 | 6.3586e-06 | 0.0224 | 9.4623e-05 | 0.024764 | 3.0995 | [12 empty] | 6.314e-05 | 0.0015463 | 0.1139 | 5.9008 | 10.4673 | 9.4157 | 6.7334e-05 | 0.00030082 | 0.00019109 | 2.3762e-07
34 | 6.3587e-06 | 0.022738 | 9.6178e-05 | 0.025171 | 3.0995 | [12 empty] | 6.2315e-05 | 0.0015521 | 0.1122 | 5.8625 | 10.4586 | 9.4062 | 6.3796e-05 | 0.00029482 | 0.00019398 | 2.2677e-07
35 | 6.3587e-06 | 0.023087 | 9.7784e-05 | 0.025591 | 3.0994 | [12 empty] | 6.1487e-05 | 0.0015581 | 0.1105 | 5.8232 | 10.45 | 9.3969 | 6.0242e-05 | 0.00028902 | 0.00019696 | 2.1582e-07
36 | 6.3588e-06 | 0.023446 | 9.9445e-05 | 0.026026 | 3.0994 | [12 empty] | 6.0659e-05 | 0.0015642 | 0.1088 | 5.7829 | 10.4415 | 9.3877 | 5.6668e-05 | 0.0002834 | 0.00020004 | 2.0475e-07
37 | 6.3588e-06 | 0.023816 | 0.00010116 | 0.026476 | 3.0994 | [12 empty] | 5.9828e-05 | 0.0015703 | 0.1071 | 5.7413 | 10.433 | 9.3785 | 5.3069e-05 | 0.00027793 | 0.00020321 | 1.9358e-07
38 | 6.3589e-06 | 0.024199 | 0.00010294 | 0.026941 | 3.0994 | [12 empty] | 5.8996e-05 | 0.0015767 | 0.1054 | 5.6983 | 10.4247 | 9.3693 | 4.9442e-05 | 0.00027259 | 0.00020648 | 1.8232e-07
39 | 6.3589e-06 | 0.024594 | 0.00010478 | 0.027423 | 3.0994 | [12 empty] | 5.8162e-05 | 0.0015831 | 0.1037 | 5.6537 | 10.4163 | 9.3601 | 4.5784e-05 | 0.00026735 | 0.00020987 | 1.7098e-07
40 | 6.359e-06 | 0.025002 | 0.00010669 | 0.027923 | 3.0994 | [12 empty] | 5.7327e-05 | 0.0015897 | 0.102 | 5.6072 | 10.4078 | 9.3508 | 4.2091e-05 | 0.00026218 | 0.00021336 | 1.5958e-07
41 | 6.359e-06 | 0.025424 | 0.00010867 | 0.02844 | 3.0993 | [12 empty] | 5.649e-05 | 0.0015964 | 0.1003 | 5.5586 | 10.3992 | 9.3413 | 3.8361e-05 | 0.00025703 | 0.00021697 | 1.4814e-07
42 | 6.3591e-06 | 0.02586 | 0.00011072 | 0.028978 | 3.0993 | [12 empty] | 5.5651e-05 | 0.0016033 | 0.0986 | 5.5077 | 10.3905 | 9.3317 | 3.459e-05 | 0.00025189 | 0.00022071 | 1.3672e-07
43 | 6.3592e-06 | 0.026312 | 0.00011285 | 0.029535 | 3.0993 | [12 empty] | 5.481e-05 | 0.0016103 | 0.0969 | 5.4542 | 10.3814 | 9.3217 | 3.0778e-05 | 0.0002467 | 0.00022458 | 1.2535e-07
44 | 6.3592e-06 | 0.02678 | 0.00011506 | 0.030115 | 3.0993 | [12 empty] | 5.3967e-05 | 0.0016175 | 0.0952 | 5.3978 | 10.3721 | 9.3113 | 2.6922e-05 | 0.00024141 | 0.00022859 | 1.1412e-07
45 | 6.3593e-06 | 0.027265 | 0.00011736 | 0.030717 | 3.0993 | [12 empty] | 5.3123e-05 | 0.0016248 | 0.0935 | 5.3384 | 10.3622 | 9.3003 | 2.3023e-05 | 0.00023597 | 0.00023274 | 1.0312e-07
46 | 6.3594e-06 | 0.027768 | 0.00011975 | 0.031344 | 3.0992 | [12 empty] | 5.2276e-05 | 0.0016323 | 0.0918 | 5.2759 | 10.3517 | 9.2886 | 1.9079e-05 | 0.00023031 | 0.00023705 | 9.2455e-08
47 | 6.3595e-06 | 0.028289 | 0.00012225 | 0.031997 | 3.0992 | [12 empty] | 5.1428e-05 | 0.00164 | 0.0901 | 5.2105 | 10.3403 | 9.276 | 1.5094e-05 | 0.00022437 | 0.00024152 | 8.2281e-08
48 | 6.3596e-06 | 0.028831 | 0.00012484 | 0.032677 | 3.0992 | [12 empty] | 5.0578e-05 | 0.0016479 | 0.0884 | 5.1426 | 10.328 | 9.2623 | 1.1069e-05 | 0.00021808 | 0.00024617 | 7.2752e-08
49 | 6.3597e-06 | 0.029394 | 0.00012755 | 0.033387 | 3.0992 | [12 empty] | 4.9725e-05 | 0.0016559 | 0.0867 | 5.073 | 10.3145 | 9.2472 | 7.0103e-06 | 0.00021142 | 0.00025099 | 6.4026e-08
50 | 6.3576e-06 | 0.029979 | 0.00013042 | 0.034126 | 3.0981 | [12 empty] | 4.8871e-05 | 0.0037444 | 0.085 | 5.0029 | 10.3 | 9.2308 | 2.9222e-06 | 0.00020447 | 0.00025601 | 5.625e-08
51 | 7.0867e-06 | 0.030588 | 0.00011905 | 0.033075 | 3.8974 | [12 empty] | 9.032e-05 | 0.0014211 | 0.1715 | 7 | 11.309 | 10.3084 | -1.191e-06 | 0.0021319 | 0.00026123 | 8.1363e-07
52 | 7.0868e-06 | 0.031223 | 0.00012169 | 0.03381 | 3.8973 | [12 empty] | 8.8704e-05 | 0.0014285 | 0.168 | 7 | 11.3294 | 10.3287 | -4.5631e-05 | 0.0022367 | 0.00026666 | 8.309e-07
53 | 7.0869e-06 | 0.031885 | 0.00012445 | 0.034577 | 3.8973 | [12 empty] | 8.7084e-05 | 0.0014361 | 0.1645 | 7 | 11.3517 | 10.3508 | -9.4191e-05 | 0.0023564 | 0.00027231 | 8.495e-07
54 | 7.087e-06 | 0.032575 | 0.00012734 | 0.035381 | 3.8973 | [12 empty] | 8.546e-05 | 0.0014438 | 0.161 | 7 | 11.3738 | 10.3727 | -0.00014746 | 0.0024821 | 0.00027822 | 8.6817e-07
55 | 7.0871e-06 | 0.033296 | 0.00013037 | 0.036222 | 3.8973 | [12 empty] | 8.3832e-05 | 0.0014518 | 0.1575 | 7 | 11.3978 | 10.3966 | -0.0002059 | 0.0026259 | 0.00028438 | 8.883e-07
56 | 7.0872e-06 | 0.03405 | 0.00013354 | 0.037104 | 3.8973 | [12 empty] | 8.2198e-05 | 0.0014601 | 0.154 | 7 | 11.4228 | 10.4214 | -0.00027026 | 0.0027843 | 0.00029082 | 9.0925e-07
57 | 7.0873e-06 | 0.034839 | 0.00013687 | 0.03803 | 3.8972 | [12 empty] | 8.0561e-05 | 0.0014685 | 0.1505 | 7 | 11.4487 | 10.4471 | -0.00034129 | 0.002959 | 0.00029756 | 9.3111e-07
58 | 7.0874e-06 | 0.035665 | 0.00014037 | 0.039003 | 3.8972 | [12 empty] | 7.8918e-05 | 0.0014772 | 0.147 | 7 | 11.4756 | 10.4739 | -0.00041987 | 0.0031521 | 0.00030463 | 9.5392e-07
59 | 7.0876e-06 | 0.036531 | 0.00014406 | 0.040027 | 3.8972 | [12 empty] | 7.7271e-05 | 0.0014862 | 0.1435 | 7 | 11.5025 | 10.5007 | -0.00050699 | 0.0033581 | 0.00031203 | 9.7696e-07
60 | 7.0877e-06 | 0.037441 | 0.00014794 | 0.041106 | 3.8972 | [12 empty] | 7.5618e-05 | 0.0014955 | 0.14 | 7 | 11.5292 | 10.5273 | -0.00060362 | 0.0035759 | 0.00031981 | 1.0001e-06
61 | 7.0878e-06 | 0.038397 | 0.00015203 | 0.042244 | 3.8972 | [12 empty] | 7.396e-05 | 0.001505 | 0.1365 | 7 | 11.5565 | 10.5545 | -0.00071078 | 0.0038139 | 0.00032799 | 1.024e-06
62 | 7.088e-06 | 0.039404 | 0.00015635 | 0.043447 | 3.8971 | [12 empty] | 7.2297e-05 | 0.0015149 | 0.133 | 7 | 11.5845 | 10.5824 | -0.00082985 | 0.0040738 | 0.00033659 | 1.0487e-06
63 | 7.0882e-06 | 0.040465 | 0.00016093 | 0.044719 | 3.8971 | [12 empty] | 7.0629e-05 | 0.0015251 | 0.1295 | 7 | 11.6131 | 10.6108 | -0.00096239 | 0.0043574 | 0.00034566 | 1.0743e-06
64 | 7.0883e-06 | 0.041584 | 0.00016578 | 0.046068 | 3.8971 | [12 empty] | 6.8955e-05 | 0.0015357 | 0.126 | 7 | 11.6421 | 10.6398 | -0.0011102 | 0.0046665 | 0.00035523 | 1.1007e-06
65 | 7.0885e-06 | 0.042768 | 0.00017093 | 0.047501 | 3.8971 | [12 empty] | 6.7275e-05 | 0.0015466 | 0.1225 | 7 | 11.6716 | 10.6692 | -0.0012752 | 0.005003 | 0.00036535 | 1.1281e-06
66 | 7.0887e-06 | 0.04402 | 0.00017641 | 0.049024 | 3.897 | [12 empty] | 6.5589e-05 | 0.0015579 | 0.119 | 7 | 11.7014 | 10.699 | -0.0014599 | 0.0053689 | 0.00037606 | 1.1565e-06
67 | 7.0889e-06 | 0.045349 | 0.00018225 | 0.050648 | 3.897 | [12 empty] | 6.3897e-05 | 0.0015697 | 0.1155 | 7 | 11.7316 | 10.7291 | -0.0016668 | 0.0057662 | 0.00038742 | 1.186e-06
68 | 7.0892e-06 | 0.04676 | 0.00018848 | 0.052383 | 3.897 | [12 empty] | 6.2198e-05 | 0.0015819 | 0.112 | 7 | 11.762 | 10.7594 | -0.0018991 | 0.0061969 | 0.00039949 | 1.2165e-06
69 | 7.0894e-06 | 0.048263 | 0.00019515 | 0.054239 | 3.897 | [12 empty] | 6.0493e-05 | 0.0015946 | 0.1085 | 7 | 11.7926 | 10.79 | -0.0021602 | 0.0066634 | 0.00041234 | 1.2483e-06
70 | 7.0897e-06 | 0.049865 | 0.00020231 | 0.056231 | 3.8969 | [12 empty] | 5.8781e-05 | 0.0016078 | 0.105 | 7 | 11.8233 | 10.8208 | -0.0024544 | 0.0071679 | 0.00042604 | 1.2815e-06
71 | 7.09e-06 | 0.051578 | 0.00021001 | 0.058373 | 3.8969 | [12 empty] | 5.7061e-05 | 0.0016216 | 0.1015 | 7 | 11.8542 | 10.8517 | -0.0027862 | 0.0077129 | 0.00044069 | 1.316e-06
72 | 7.0903e-06 | 0.053412 | 0.00021832 | 0.060684 | 3.8969 | [12 empty] | 5.5335e-05 | 0.001636 | 0.098 | 7 | 11.8851 | 10.8827 | -0.0031611 | 0.0083009 | 0.00045638 | 1.3521e-06
73 | 7.0906e-06 | 0.055382 | 0.0002273 | 0.063183 | 3.8969 | [12 empty] | 5.36e-05 | 0.0016511 | 0.0945 | 7 | 11.916 | 10.9137 | -0.0035856 | 0.0089347 | 0.00047323 | 1.3898e-06
74 | 7.0879e-06 | 0.057504 | 0.00023713 | 0.065891 | 3.8951 | [12 empty] | 5.1858e-05 | 0.0039051 | 0.091 | 7 | 11.947 | 10.9448 | -0.0040672 | 0.0096201 | 0.00049138 | 1.4299e-06
75 | 7.8507e-06 | 0.059794 | 0.00020003 | 0.065252 | 6.4941 | [12 empty] | 8.9594e-05 | 0.0014011 | 0.17 | 7 | 11.9846 | 11.0229 | -0.0046147 | 0.01052 | 0.00051098 | 1.2426e-06
76 | 7.8509e-06 | 0.062277 | 0.00020899 | 0.068178 | 6.494 | [12 empty] | 8.6448e-05 | 0.0014156 | 0.1632 | 7 | 12.015 | 11.0536 | -0.0052453 | 0.011313 | 0.00053222 | 1.2759e-06
77 | 7.8512e-06 | 0.064976 | 0.00021879 | 0.071378 | 6.494 | [12 empty] | 8.3285e-05 | 0.0014309 | 0.1564 | 7 | 12.0453 | 11.0843 | -0.0059653 | 0.012166 | 0.0005553 | 1.3104e-06
78 | 7.8515e-06 | 0.067919 | 0.00022955 | 0.07489 | 6.494 | [12 empty] | 8.0104e-05 | 0.0014471 | 0.1496 | 7 | 12.0756 | 11.1152 | -0.0067894 | 0.013082 | 0.00058048 | 1.3465e-06
79 | 7.8518e-06 | 0.071143 | 0.00024141 | 0.078764 | 6.494 | [12 empty] | 7.6906e-05 | 0.0014642 | 0.1428 | 7 | 12.1058 | 11.1463 | -0.0077357 | 0.014065 | 0.00060806 | 1.384e-06
80 | 7.8521e-06 | 0.074688 | 0.00025456 | 0.083057 | 6.4939 | [12 empty] | 7.3688e-05 | 0.0014824 | 0.136 | 7 | 12.1359 | 11.1777 | -0.0088257 | 0.015116 | 0.0006384 | 1.423e-06
81 | 7.8525e-06 | 0.078605 | 0.00026921 | 0.087842 | 6.4939 | [12 empty] | 7.0451e-05 | 0.0015017 | 0.1292 | 7 | 12.1656 | 11.2096 | -0.010086 | 0.016238 | 0.00067192 | 1.4635e-06
82 | 7.853e-06 | 0.082957 | 0.00028564 | 0.093207 | 6.4939 | [12 empty] | 6.7191e-05 | 0.0015224 | 0.1224 | 7 | 12.1949 | 11.242 | -0.011548 | 0.017426 | 0.00070917 | 1.5053e-06
83 | 7.8535e-06 | 0.08782 | 0.00030418 | 0.099263 | 6.4938 | [12 empty] | 6.3909e-05 | 0.0015446 | 0.1156 | 7 | 12.2236 | 11.2753 | -0.013253 | 0.018671 | 0.0007508 | 1.5482e-06
84 | 7.8541e-06 | 0.09329 | 0.00032527 | 0.10615 | 6.4938 | [12 empty] | 6.0603e-05 | 0.0015686 | 0.1088 | 7 | 12.2511 | 11.3098 | -0.015248 | 0.019956 | 0.00079762 | 1.5919e-06
85 | 7.8547e-06 | 0.099488 | 0.00034947 | 0.11406 | 6.4938 | [12 empty] | 5.7271e-05 | 0.0015945 | 0.102 | 7 | 12.2772 | 11.3458 | -0.017595 | 0.021254 | 0.00085069 | 1.6356e-06
86 | 7.853e-06 | 0.10657 | 0.00037762 | 0.12322 | 6.4917 | [12 empty] | 5.3911e-05 | 0.003949 | 0.0952 | 7 | 12.3016 | 11.3837 | -0.02037 | 0.022546 | 0.00091134 | 1.6792e-06
87 | 9.2003e-06 | 0.11474 | 0.00034884 | 0.12705 | 7.5204 | [12 empty] | 8.998e-05 | 0.0014064 | 0.1703 | 7 | 12.2995 | 11.4477 | -0.023671 | 0.022433 | 0.00098131 | 1.3727e-06
88 | 9.2004e-06 | 0.11576 | 0.00035454 | 0.12913 | 7.5204 | [12 empty] | 8.391e-05 | 0.0014352 | 0.1572 | 7 | 12.3174 | 11.4681 | -0.027513 | 0.023425 | 0.001063 | 1.4732e-06
89 | 9.2006e-06 | 0.1168 | 0.00036082 | 0.13142 | 7.5203 | [12 empty] | 7.7777e-05 | 0.0014672 | 0.1441 | 7 | 12.3351 | 11.4883 | -0.032144 | 0.024454 | 0.0011595 | 1.5932e-06
90 | 9.2007e-06 | 0.11786 | 0.00036782 | 0.13397 | 7.5203 | [12 empty] | 7.1574e-05 | 0.0015031 | 0.131 | 7 | 12.3527 | 11.5084 | -0.037803 | 0.025517 | 0.0012753 | 1.7387e-06
91 | 9.2009e-06 | 0.11894 | 0.00037579 | 0.13688 | 7.5202 | [12 empty] | 6.5294e-05 | 0.0015438 | 0.1179 | 7 | 12.37 | 11.5282 | -0.044839 | 0.026614 | 0.0014168 | 1.9189e-06
92 | 9.2011e-06 | 0.12003 | 0.00038505 | 0.14025 | 7.5202 | [12 empty] | 5.8925e-05 | 0.0015908 | 0.1048 | 7 | 12.3871 | 11.5477 | -0.053771 | 0.027743 | 0.0015936 | 2.1479e-06
93 | 9.1987e-06 | 0.12115 | 0.00039625 | 0.1443 | 7.518 | [12 empty] | 5.2457e-05 | 0.0038957 | 0.0917 | 7 | 12.404 | 11.5667 | -0.065415 | 0.028908 | 0.001821 | 2.4495e-06
94 | 9.2696e-06 | 0.12229 | 0.0003693 | 0.13552 | 7.5766 | [12 empty] | 9.0002e-05 | 0.001404 | 0.1698 | 7 | 12.4518 | 11.6049 | -0.081136 | 0.032483 | 0.0021241 | 2.5562e-06
95 | 9.2698e-06 | 0.12345 | 0.00037943 | 0.13924 | 7.5766 | [12 empty] | 7.6811e-05 | 0.0014713 | 0.1415 | 7 | 12.471 | 11.6243 | -0.10386 | 0.034042 | 0.0025484 | 3.0394e-06
96 | 9.2701e-06 | 0.12463 | 0.00039304 | 0.14423 | 7.5765 | [12 empty] | 6.3288e-05 | 0.0015587 | 0.1132 | 7 | 12.4905 | 11.6431 | -0.13834 | 0.035698 | 0.0031847 | 3.7851e-06
97 | 9.2705e-06 | 0.12584 | 0.00041355 | 0.15177 | 7.5763 | [12 empty] | 4.9335e-05 | 0.0016803 | 0.0849 | 7 | 12.5108 | 11.6613 | -0.19635 | 0.037519 | 0.004245 | 5.1014e-06
98 | 9.2696e-06 | 0.12707 | 0.00045165 | 0.16574 | 7.5747 | [12 empty] | 3.4786e-05 | 0.0033273 | 0.0566 | 0 | 0 | 0 | -0.31328 | 0 | 0.0063649 | 0