## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Mass transfer | Pressure drop Corr | Cross-flow Velocity | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. in Brine | Trace Conc. in Permeate
0 | 6.3581e-06 | 0.015033 | 6.1652e-05 | 0.016133 | 3.1 | 22.8907 | 25.5176 | 28.2687 | 33.1214 | 33.3718 | 0.21472 | 0.011112 | 0.018426 | 0.0037957 | 0.00010205 | 0.24815 | 0.99754 | 8.9646e-05 | 0.0013985 | 0.17 | 8 | 11.3077 | 10.278 | 0.00052428 | 0.0021264 | 0.00043085 | 1.7419e-06
1 | 6.3581e-06 | 0.015184 | 6.2311e-05 | 0.016306 | 3.1 | [12 empty] | 8.8861e-05 | 0.0014021 | 0.1683 | 7.6836 | 11.2847 | 10.2545 | 0.0005081 | 0.0020149 | 0.00043518 | 1.7351e-06
2 | 6.3581e-06 | 0.015339 | 6.2985e-05 | 0.016482 | 3.1 | [12 empty] | 8.8075e-05 | 0.0014056 | 0.1666 | 7.4658 | 11.2555 | 10.2248 | 0.00049272 | 0.001882 | 0.0004396 | 1.7136e-06
3 | 6.3581e-06 | 0.015496 | 6.3673e-05 | 0.016662 | 3.1 | [12 empty] | 8.7288e-05 | 0.0014093 | 0.1649 | 7.3093 | 11.2258 | 10.1945 | 0.0004784 | 0.0017558 | 0.00044412 | 1.6876e-06
4 | 6.3581e-06 | 0.015657 | 6.4376e-05 | 0.016846 | 3.0999 | [12 empty] | 8.65e-05 | 0.0014129 | 0.1632 | 7.1884 | 11.1969 | 10.1651 | 0.0004651 | 0.0016414 | 0.00044873 | 1.6602e-06
5 | 6.3581e-06 | 0.015821 | 6.5094e-05 | 0.017034 | 3.0999 | [12 empty] | 8.5711e-05 | 0.0014166 | 0.1615 | 7.0902 | 11.1685 | 10.1361 | 0.00045271 | 0.0015358 | 0.00045343 | 1.6318e-06
6 | 6.3581e-06 | 0.015989 | 6.5829e-05 | 0.017226 | 3.0999 | [12 empty] | 8.4921e-05 | 0.0014204 | 0.1598 | 7.0076 | 11.1424 | 10.1095 | 0.00044119 | 0.0014451 | 0.00045824 | 1.6043e-06
7 | 6.3581e-06 | 0.01616 | 6.6581e-05 | 0.017423 | 3.0999 | [12 empty] | 8.413e-05 | 0.0014242 | 0.1581 | 6.9361 | 11.1168 | 10.0834 | 0.0004304 | 0.0013614 | 0.00046315 | 1.5767e-06
8 | 6.3581e-06 | 0.016335 | 6.7349e-05 | 0.017624 | 3.0999 | [12 empty] | 8.3337e-05 | 0.0014281 | 0.1564 | 6.873 | 11.0926 | 10.0588 | 0.00042028 | 0.0012869 | 0.00046817 | 1.5498e-06
9 | 6.3581e-06 | 0.016513 | 6.8136e-05 | 0.01783 | 3.0999 | [12 empty] | 8.2544e-05 | 0.001432 | 0.1547 | 6.8166 | 11.0708 | 10.0365 | 0.00041075 | 0.0012229 | 0.00047329 | 1.5241e-06
10 | 6.3581e-06 | 0.016696 | 6.8941e-05 | 0.018041 | 3.0999 | [12 empty] | 8.175e-05 | 0.001436 | 0.153 | 6.7652 | 11.0492 | 10.0144 | 0.00040173 | 0.001163 | 0.00047854 | 1.4985e-06
11 | 6.3581e-06 | 0.016883 | 6.9766e-05 | 0.018257 | 3.0998 | [12 empty] | 8.0954e-05 | 0.00144 | 0.1513 | 6.7182 | 11.0288 | 9.9936 | 0.00039318 | 0.0011091 | 0.00048389 | 1.4737e-06
12 | 6.3582e-06 | 0.017074 | 7.061e-05 | 0.018478 | 3.0998 | [12 empty] | 8.0157e-05 | 0.0014441 | 0.1496 | 6.6746 | 11.0096 | 9.9739 | 0.00038504 | 0.0010605 | 0.00048938 | 1.4497e-06
13 | 6.3582e-06 | 0.017269 | 7.1475e-05 | 0.018704 | 3.0998 | [12 empty] | 7.936e-05 | 0.0014482 | 0.1479 | 6.6339 | 10.9922 | 9.9562 | 0.00037728 | 0.0010186 | 0.00049499 | 1.4266e-06
14 | 6.3582e-06 | 0.017469 | 7.2361e-05 | 0.018936 | 3.0998 | [12 empty] | 7.8561e-05 | 0.0014524 | 0.1462 | 6.5956 | 10.975 | 9.9384 | 0.00036982 | 0.00097848 | 0.00050072 | 1.4038e-06
15 | 6.3582e-06 | 0.017674 | 7.3269e-05 | 0.019174 | 3.0998 | [12 empty] | 7.7761e-05 | 0.0014567 | 0.1445 | 6.5595 | 10.9586 | 9.9216 | 0.00036266 | 0.00094188 | 0.0005066 | 1.3815e-06
16 | 6.3582e-06 | 0.017884 | 7.4201e-05 | 0.019418 | 3.0998 | [12 empty] | 7.6959e-05 | 0.001461 | 0.1428 | 6.5251 | 10.943 | 9.9056 | 0.00035576 | 0.00090844 | 0.00051261 | 1.3598e-06
17 | 6.3582e-06 | 0.018098 | 7.5156e-05 | 0.019668 | 3.0997 | [12 empty] | 7.6157e-05 | 0.0014654 | 0.1411 | 6.4923 | 10.9274 | 9.8896 | 0.0003491 | 0.00087602 | 0.00051877 | 1.3383e-06
18 | 6.3582e-06 | 0.018318 | 7.6136e-05 | 0.019924 | 3.0997 | [12 empty] | 7.5353e-05 | 0.0014699 | 0.1394 | 6.4609 | 10.9134 | 9.8752 | 0.00034268 | 0.00084808 | 0.00052508 | 1.3176e-06
19 | 6.3583e-06 | 0.018543 | 7.7142e-05 | 0.020187 | 3.0997 | [12 empty] | 7.4548e-05 | 0.0014744 | 0.1377 | 6.4307 | 10.9002 | 9.8615 | 0.00033644 | 0.00082238 | 0.00053155 | 1.2974e-06
20 | 6.3583e-06 | 0.018774 | 7.8174e-05 | 0.020458 | 3.0997 | [12 empty] | 7.3742e-05 | 0.001479 | 0.136 | 6.4014 | 10.8868 | 9.8477 | 0.00033036 | 0.00079712 | 0.00053818 | 1.2773e-06
21 | 6.3583e-06 | 0.019011 | 7.9235e-05 | 0.020735 | 3.0997 | [12 empty] | 7.2935e-05 | 0.0014837 | 0.1343 | 6.3731 | 10.875 | 9.8355 | 0.00032446 | 0.00077558 | 0.00054497 | 1.258e-06
22 | 6.3583e-06 | 0.019253 | 8.0324e-05 | 0.02102 | 3.0997 | [12 empty] | 7.2126e-05 | 0.0014884 | 0.1326 | 6.3456 | 10.8631 | 9.8231 | 0.00031867 | 0.00075444 | 0.00055194 | 1.2387e-06
23 | 6.3583e-06 | 0.019502 | 8.1444e-05 | 0.021313 | 3.0996 | [12 empty] | 7.1316e-05 | 0.0014932 | 0.1309 | 6.3187 | 10.8513 | 9.8109 | 0.00031301 | 0.00073407 | 0.0005591 | 1.2196e-06
24 | 6.3584e-06 | 0.019758 | 8.2595e-05 | 0.021615 | 3.0996 | [12 empty] | 7.0505e-05 | 0.0014982 | 0.1292 | 6.2925 | 10.8402 | 9.7994 | 0.00030747 | 0.00071537 | 0.00056644 | 1.2008e-06
25 | 6.3584e-06 | 0.02002 | 8.3779e-05 | 0.021925 | 3.0996 | [12 empty] | 6.9692e-05 | 0.0015031 | 0.1275 | 6.2669 | 10.8279 | 9.7867 | 0.00030203 | 0.00069538 | 0.00057397 | 1.1818e-06
26 | 6.3584e-06 | 0.02029 | 8.4998e-05 | 0.022244 | 3.0996 | [12 empty] | 6.8878e-05 | 0.0015082 | 0.1258 | 6.2417 | 10.8352 | 9.7938 | 0.00029672 | 0.00070723 | 0.00058171 | 1.169e-06
27 | 6.3584e-06 | 0.020567 | 8.6252e-05 | 0.022572 | 3.0996 | [12 empty] | 6.8063e-05 | 0.0015134 | 0.1241 | 6.216 | 10.8205 | 9.7785 | 0.00029109 | 0.00068338 | 0.00058967 | 1.1486e-06
28 | 6.3585e-06 | 0.020851 | 8.7543e-05 | 0.02291 | 3.0996 | [12 empty] | 6.7246e-05 | 0.0015186 | 0.1224 | 6.1909 | 10.8105 | 9.7681 | 0.00028565 | 0.00066778 | 0.00059784 | 1.1297e-06
29 | 6.3585e-06 | 0.021143 | 8.8874e-05 | 0.023258 | 3.0995 | [12 empty] | 6.6428e-05 | 0.0015239 | 0.1207 | 6.1661 | 10.7997 | 9.7568 | 0.00028026 | 0.00065122 | 0.00060624 | 1.1107e-06
30 | 6.3585e-06 | 0.021444 | 9.0245e-05 | 0.023617 | 3.0995 | [12 empty] | 6.5608e-05 | 0.0015294 | 0.119 | 6.1417 | 10.7895 | 9.7461 | 0.00027496 | 0.00063596 | 0.00061489 | 1.0919e-06
31 | 6.3586e-06 | 0.021754 | 9.1659e-05 | 0.023988 | 3.0995 | [12 empty] | 6.4787e-05 | 0.0015349 | 0.1173 | 6.1175 | 10.78 | 9.7362 | 0.00026973 | 0.00062217 | 0.00062379 | 1.0735e-06
32 | 6.3586e-06 | 0.022072 | 9.3118e-05 | 0.024369 | 3.0995 | [12 empty] | 6.3964e-05 | 0.0015405 | 0.1156 | 6.0935 | 10.7706 | 9.7263 | 0.00026455 | 0.0006087 | 0.00063294 | 1.0551e-06
33 | 6.3586e-06 | 0.0224 | 9.4623e-05 | 0.024764 | 3.0995 | [12 empty] | 6.314e-05 | 0.0015463 | 0.1139 | 6.0697 | 10.7612 | 9.7164 | 0.00025941 | 0.00059562 | 0.00064237 | 1.0367e-06
34 | 6.3587e-06 | 0.022738 | 9.6178e-05 | 0.025171 | 3.0995 | [12 empty] | 6.2315e-05 | 0.0015521 | 0.1122 | 6.046 | 10.7528 | 9.7075 | 0.00025432 | 0.00058406 | 0.00065209 | 1.0187e-06
35 | 6.3587e-06 | 0.023087 | 9.7784e-05 | 0.025591 | 3.0994 | [12 empty] | 6.1487e-05 | 0.0015581 | 0.1105 | 6.0224 | 10.7435 | 9.6978 | 0.00024925 | 0.00057172 | 0.00066211 | 1.0003e-06
36 | 6.3588e-06 | 0.023446 | 9.9445e-05 | 0.026026 | 3.0994 | [12 empty] | 6.0659e-05 | 0.0015642 | 0.1088 | 5.9989 | 10.7353 | 9.689 | 0.00024421 | 0.00056086 | 0.00067244 | 9.8233e-07
37 | 6.3588e-06 | 0.023816 | 0.00010116 | 0.026476 | 3.0994 | [12 empty] | 5.9828e-05 | 0.0015703 | 0.1071 | 5.9753 | 10.7263 | 9.6795 | 0.00023918 | 0.00054927 | 0.0006831 | 9.6405e-07
38 | 6.3589e-06 | 0.024199 | 0.00010294 | 0.026941 | 3.0994 | [12 empty] | 5.8996e-05 | 0.0015767 | 0.1054 | 5.9518 | 10.7182 | 9.6709 | 0.00023418 | 0.00053905 | 0.0006941 | 9.4604e-07
39 | 6.3589e-06 | 0.024594 | 0.00010478 | 0.027423 | 3.0994 | [12 empty] | 5.8162e-05 | 0.0015831 | 0.1037 | 5.9282 | 10.7101 | 9.6623 | 0.00022918 | 0.00052912 | 0.00070546 | 9.2799e-07
40 | 6.359e-06 | 0.025002 | 0.00010669 | 0.027923 | 3.0994 | [12 empty] | 5.7327e-05 | 0.0015897 | 0.102 | 5.9045 | 10.7022 | 9.6538 | 0.00022418 | 0.00051944 | 0.0007172 | 9.0988e-07
41 | 6.359e-06 | 0.025424 | 0.00010867 | 0.02844 | 3.0993 | [12 empty] | 5.649e-05 | 0.0015964 | 0.1003 | 5.8806 | 10.6935 | 9.6445 | 0.00021918 | 0.00050908 | 0.00072934 | 8.9146e-07
42 | 6.3591e-06 | 0.02586 | 0.00011072 | 0.028978 | 3.0993 | [12 empty] | 5.5651e-05 | 0.0016033 | 0.0986 | 5.8567 | 10.6856 | 9.6361 | 0.00021418 | 0.00049991 | 0.0007419 | 8.7326e-07
43 | 6.3592e-06 | 0.026312 | 0.00011285 | 0.029535 | 3.0993 | [12 empty] | 5.481e-05 | 0.0016103 | 0.0969 | 5.8325 | 10.6778 | 9.6277 | 0.00020917 | 0.00049095 | 0.0007549 | 8.5496e-07
44 | 6.3592e-06 | 0.02678 | 0.00011506 | 0.030115 | 3.0993 | [12 empty] | 5.3967e-05 | 0.0016175 | 0.0952 | 5.8082 | 10.67 | 9.6193 | 0.00020414 | 0.00048217 | 0.00076837 | 8.3656e-07
45 | 6.3593e-06 | 0.027265 | 0.00011736 | 0.030717 | 3.0993 | [12 empty] | 5.3123e-05 | 0.0016248 | 0.0935 | 5.7835 | 10.6623 | 9.611 | 0.00019908 | 0.00047357 | 0.00078232 | 8.1804e-07
46 | 6.3594e-06 | 0.027768 | 0.00011975 | 0.031344 | 3.0992 | [12 empty] | 5.2276e-05 | 0.0016323 | 0.0918 | 5.7586 | 10.6545 | 9.6026 | 0.000194 | 0.00046514 | 0.0007968 | 7.9938e-07
47 | 6.3595e-06 | 0.028289 | 0.00012225 | 0.031997 | 3.0992 | [12 empty] | 5.1428e-05 | 0.00164 | 0.0901 | 5.7334 | 10.6467 | 9.5941 | 0.00018888 | 0.00045684 | 0.00081181 | 7.8057e-07
48 | 6.3596e-06 | 0.028831 | 0.00012484 | 0.032677 | 3.0992 | [12 empty] | 5.0578e-05 | 0.0016479 | 0.0884 | 5.7077 | 10.6397 | 9.5865 | 0.00018373 | 0.00044946 | 0.00082741 | 7.6184e-07
49 | 6.3597e-06 | 0.029394 | 0.00012755 | 0.033387 | 3.0992 | [12 empty] | 4.9725e-05 | 0.0016559 | 0.0867 | 5.6817 | 10.6318 | 9.5779 | 0.00017852 | 0.00044134 | 0.00084362 | 7.4263e-07
50 | 6.3576e-06 | 0.029979 | 0.00013042 | 0.034126 | 3.0981 | [12 empty] | 4.8871e-05 | 0.0037444 | 0.085 | 5.6551 | 10.6241 | 9.5694 | 0.00017326 | 0.00043351 | 0.00086048 | 7.2344e-07
51 | 7.0867e-06 | 0.030588 | 0.00011905 | 0.033075 | 3.8974 | [12 empty] | 9.032e-05 | 0.0014211 | 0.1715 | 5.6281 | 10.6928 | 9.6844 | 0.00016795 | 0.0005079 | 0.00087802 | 5.989e-07
52 | 7.0868e-06 | 0.031223 | 0.00012169 | 0.03381 | 3.8973 | [12 empty] | 8.8704e-05 | 0.0014285 | 0.168 | 5.5952 | 10.6829 | 9.6738 | 0.00016087 | 0.0004963 | 0.0008963 | 5.7561e-07
53 | 7.0869e-06 | 0.031885 | 0.00012445 | 0.034577 | 3.8973 | [12 empty] | 8.7084e-05 | 0.0014361 | 0.1645 | 5.5614 | 10.6737 | 9.664 | 0.00015373 | 0.00048588 | 0.00091536 | 5.5238e-07
54 | 7.087e-06 | 0.032575 | 0.00012734 | 0.035381 | 3.8973 | [12 empty] | 8.546e-05 | 0.0014438 | 0.161 | 5.5267 | 10.6638 | 9.6533 | 0.00014651 | 0.00047481 | 0.00093525 | 5.2868e-07
55 | 7.0871e-06 | 0.033296 | 0.00013037 | 0.036222 | 3.8973 | [12 empty] | 8.3832e-05 | 0.0014518 | 0.1575 | 5.4908 | 10.6538 | 9.6426 | 0.00013922 | 0.00046401 | 0.00095602 | 5.048e-07
56 | 7.0872e-06 | 0.03405 | 0.00013354 | 0.037104 | 3.8973 | [12 empty] | 8.2198e-05 | 0.0014601 | 0.154 | 5.4537 | 10.6446 | 9.6327 | 0.00013183 | 0.00045421 | 0.00097774 | 4.8092e-07
57 | 7.0873e-06 | 0.034839 | 0.00013687 | 0.03803 | 3.8972 | [12 empty] | 8.0561e-05 | 0.0014685 | 0.1505 | 5.4152 | 10.6346 | 9.6218 | 0.00012434 | 0.00044373 | 0.0010005 | 4.5655e-07
58 | 7.0874e-06 | 0.035665 | 0.00014037 | 0.039003 | 3.8972 | [12 empty] | 7.8918e-05 | 0.0014772 | 0.147 | 5.3752 | 10.6244 | 9.6109 | 0.00011673 | 0.00043343 | 0.0010243 | 4.3196e-07
59 | 7.0876e-06 | 0.036531 | 0.00014406 | 0.040027 | 3.8972 | [12 empty] | 7.7271e-05 | 0.0014862 | 0.1435 | 5.3333 | 10.6148 | 9.6005 | 0.00010901 | 0.00042392 | 0.0010492 | 4.0736e-07
60 | 7.0877e-06 | 0.037441 | 0.00014794 | 0.041106 | 3.8972 | [12 empty] | 7.5618e-05 | 0.0014955 | 0.14 | 5.2895 | 10.6043 | 9.5891 | 0.00010113 | 0.00041373 | 0.0010755 | 3.823e-07
61 | 7.0878e-06 | 0.038397 | 0.00015203 | 0.042244 | 3.8972 | [12 empty] | 7.396e-05 | 0.001505 | 0.1365 | 5.2434 | 10.5943 | 9.5782 | 9.312e-05 | 0.0004042 | 0.001103 | 3.5727e-07
62 | 7.088e-06 | 0.039404 | 0.00015635 | 0.043447 | 3.8971 | [12 empty] | 7.2297e-05 | 0.0015149 | 0.133 | 5.1948 | 10.5831 | 9.5661 | 8.4933e-05 | 0.00039394 | 0.0011321 | 3.3187e-07
63 | 7.0882e-06 | 0.040465 | 0.00016093 | 0.044719 | 3.8971 | [12 empty] | 7.0629e-05 | 0.0015251 | 0.1295 | 5.1433 | 10.5723 | 9.5544 | 7.6582e-05 | 0.00038419 | 0.0011626 | 3.0663e-07
64 | 7.0883e-06 | 0.041584 | 0.00016578 | 0.046068 | 3.8971 | [12 empty] | 6.8955e-05 | 0.0015357 | 0.126 | 5.0888 | 10.5602 | 9.5413 | 6.8037e-05 | 0.0003736 | 0.0011949 | 2.8123e-07
65 | 7.0885e-06 | 0.042768 | 0.00017093 | 0.047501 | 3.8971 | [12 empty] | 6.7275e-05 | 0.0015466 | 0.1225 | 5.0309 | 10.5476 | 9.5276 | 5.9307e-05 | 0.00036282 | 0.0012291 | 2.561e-07
66 | 7.0887e-06 | 0.04402 | 0.00017641 | 0.049024 | 3.897 | [12 empty] | 6.5589e-05 | 0.0015579 | 0.119 | 4.9696 | 10.5347 | 9.5136 | 5.038e-05 | 0.00035215 | 0.0012652 | 2.3161e-07
67 | 7.0889e-06 | 0.045349 | 0.00018225 | 0.050648 | 3.897 | [12 empty] | 6.3897e-05 | 0.0015697 | 0.1155 | 4.9046 | 10.5201 | 9.498 | 4.1235e-05 | 0.00034053 | 0.0013035 | 2.0771e-07
68 | 7.0892e-06 | 0.04676 | 0.00018848 | 0.052383 | 3.897 | [12 empty] | 6.2198e-05 | 0.0015819 | 0.112 | 4.8364 | 10.505 | 9.4816 | 3.1882e-05 | 0.00032883 | 0.0013443 | 1.8511e-07
69 | 7.0894e-06 | 0.048263 | 0.00019515 | 0.054239 | 3.897 | [12 empty] | 6.0493e-05 | 0.0015946 | 0.1085 | 4.7653 | 10.4878 | 9.4632 | 2.2303e-05 | 0.00031604 | 0.0013876 | 1.6388e-07
70 | 7.0897e-06 | 0.049865 | 0.00020231 | 0.056231 | 3.8969 | [12 empty] | 5.8781e-05 | 0.0016078 | 0.105 | 4.6925 | 10.4691 | 9.4431 | 1.2512e-05 | 0.00030271 | 0.0014339 | 1.4461e-07
71 | 7.09e-06 | 0.051578 | 0.00021001 | 0.058373 | 3.8969 | [12 empty] | 5.7061e-05 | 0.0016216 | 0.1015 | 4.6194 | 10.4489 | 9.4214 | 2.5053e-06 | 0.00028893 | 0.0014833 | 1.2761e-07
72 | 7.0903e-06 | 0.053412 | 0.00021832 | 0.060684 | 3.8969 | [12 empty] | 5.5335e-05 | 0.001636 | 0.098 | 7 | 12.1911 | 11.1827 | -7.7241e-06 | 0.017267 | 0.0015363 | 4.1912e-06
73 | 7.0906e-06 | 0.055382 | 0.0002273 | 0.063183 | 3.8969 | [12 empty] | 5.36e-05 | 0.0016511 | 0.0945 | 7 | 12.2077 | 11.1985 | -0.00064753 | 0.017973 | 0.001593 | 4.311e-06
74 | 7.0879e-06 | 0.057504 | 0.00023713 | 0.065891 | 3.8951 | [12 empty] | 5.1858e-05 | 0.0039051 | 0.091 | 7 | 12.2246 | 11.2145 | -0.0013637 | 0.018722 | 0.0016541 | 4.4391e-06
75 | 7.8507e-06 | 0.059794 | 0.00020003 | 0.065252 | 6.4941 | [12 empty] | 8.9594e-05 | 0.0014011 | 0.17 | 7 | 12.2339 | 11.2623 | -0.0021671 | 0.019141 | 0.0017201 | 3.8442e-06
76 | 7.8509e-06 | 0.062277 | 0.00020899 | 0.068178 | 6.494 | [12 empty] | 8.6448e-05 | 0.0014156 | 0.1632 | 7 | 12.2516 | 11.2792 | -0.003055 | 0.01998 | 0.0017916 | 3.9516e-06
77 | 7.8512e-06 | 0.064976 | 0.00021879 | 0.071378 | 6.494 | [12 empty] | 8.3285e-05 | 0.0014309 | 0.1564 | 7 | 12.2696 | 11.2966 | -0.0040565 | 0.020868 | 0.0018693 | 4.0647e-06
78 | 7.8515e-06 | 0.067919 | 0.00022955 | 0.07489 | 6.494 | [12 empty] | 8.0104e-05 | 0.0014471 | 0.1496 | 7 | 12.2879 | 11.3143 | -0.0051894 | 0.021811 | 0.0019541 | 4.184e-06
79 | 7.8518e-06 | 0.071143 | 0.00024141 | 0.078764 | 6.494 | [12 empty] | 7.6906e-05 | 0.0014642 | 0.1428 | 7 | 12.3064 | 11.3326 | -0.0064751 | 0.022809 | 0.002047 | 4.31e-06
80 | 7.8521e-06 | 0.074688 | 0.00025456 | 0.083057 | 6.4939 | [12 empty] | 7.3688e-05 | 0.0014824 | 0.136 | 7 | 12.325 | 11.3515 | -0.0079394 | 0.023865 | 0.0021491 | 4.4434e-06
81 | 7.8525e-06 | 0.078605 | 0.00026921 | 0.087842 | 6.4939 | [12 empty] | 7.0451e-05 | 0.0015017 | 0.1292 | 7 | 12.3438 | 11.3711 | -0.0096133 | 0.024976 | 0.002262 | 4.5847e-06
82 | 7.853e-06 | 0.082957 | 0.00028564 | 0.093207 | 6.4939 | [12 empty] | 6.7191e-05 | 0.0015224 | 0.1224 | 7 | 12.3625 | 11.3917 | -0.011535 | 0.026135 | 0.0023874 | 4.7344e-06
83 | 7.8535e-06 | 0.08782 | 0.00030418 | 0.099263 | 6.4938 | [12 empty] | 6.3909e-05 | 0.0015446 | 0.1156 | 7 | 12.3808 | 11.4135 | -0.013751 | 0.027327 | 0.0025276 | 4.8931e-06
84 | 7.8541e-06 | 0.09329 | 0.00032527 | 0.10615 | 6.4938 | [12 empty] | 6.0603e-05 | 0.0015686 | 0.1088 | 7 | 12.3985 | 11.4367 | -0.016318 | 0.028525 | 0.0026852 | 5.061e-06
85 | 7.8547e-06 | 0.099488 | 0.00034947 | 0.11406 | 6.4938 | [12 empty] | 5.7271e-05 | 0.0015945 | 0.102 | 7 | 12.415 | 11.4618 | -0.019308 | 0.029696 | 0.0028639 | 5.238e-06
86 | 7.853e-06 | 0.10657 | 0.00037762 | 0.12322 | 6.4917 | [12 empty] | 5.3911e-05 | 0.003949 | 0.0952 | 7 | 12.4302 | 11.4892 | -0.022808 | 0.030822 | 0.0030681 | 5.4261e-06
87 | 9.2003e-06 | 0.11474 | 0.00034884 | 0.12705 | 7.5204 | [12 empty] | 8.998e-05 | 0.0014064 | 0.1703 | 7 | 12.417 | 11.5404 | -0.026933 | 0.029844 | 0.0033037 | 4.4606e-06
88 | 9.2004e-06 | 0.11576 | 0.00035454 | 0.12913 | 7.5204 | [12 empty] | 8.391e-05 | 0.0014352 | 0.1572 | 7 | 12.4204 | 11.544 | -0.031665 | 0.030088 | 0.0035786 | 4.8437e-06
89 | 9.2006e-06 | 0.1168 | 0.00036082 | 0.13142 | 7.5203 | [12 empty] | 7.7777e-05 | 0.0014672 | 0.1441 | 7 | 12.4231 | 11.547 | -0.037279 | 0.030294 | 0.0039035 | 5.3073e-06
90 | 9.2007e-06 | 0.11786 | 0.00036782 | 0.13397 | 7.5203 | [12 empty] | 7.1574e-05 | 0.0015031 | 0.131 | 7 | 12.4253 | 11.5493 | -0.044036 | 0.030453 | 0.0042933 | 5.8795e-06
91 | 9.2009e-06 | 0.11894 | 0.00037579 | 0.13688 | 7.5202 | [12 empty] | 6.5294e-05 | 0.0015438 | 0.1179 | 7 | 12.4266 | 11.5506 | -0.052313 | 0.030556 | 0.0047697 | 6.603e-06
92 | 9.2011e-06 | 0.12003 | 0.00038505 | 0.14025 | 7.5202 | [12 empty] | 5.8925e-05 | 0.0015908 | 0.1048 | 7 | 12.4271 | 11.5509 | -0.062671 | 0.030591 | 0.0053651 | 7.5466e-06
93 | 9.1987e-06 | 0.12115 | 0.00039625 | 0.1443 | 7.518 | [12 empty] | 5.2457e-05 | 0.0038957 | 0.0917 | 7 | 12.4265 | 11.5498 | -0.075994 | 0.030555 | 0.0061305 | 8.8275e-06
94 | 9.2696e-06 | 0.12229 | 0.0003693 | 0.13552 | 7.5766 | [12 empty] | 9.0002e-05 | 0.001404 | 0.1698 | 7 | 12.4531 | 11.5639 | -0.093753 | 0.032598 | 0.0071508 | 9.3951e-06
95 | 9.2698e-06 | 0.12345 | 0.00037943 | 0.13924 | 7.5766 | [12 empty] | 7.6811e-05 | 0.0014713 | 0.1415 | 7 | 12.4518 | 11.5603 | -0.11902 | 0.0325 | 0.008579 | 1.1604e-05
96 | 9.2701e-06 | 0.12463 | 0.00039304 | 0.14423 | 7.5765 | [12 empty] | 6.3288e-05 | 0.0015587 | 0.1132 | 7 | 12.4492 | 11.5549 | -0.1569 | 0.032302 | 0.010721 | 1.5181e-05
97 | 9.2705e-06 | 0.12584 | 0.00041355 | 0.15177 | 7.5763 | [12 empty] | 4.9335e-05 | 0.0016803 | 0.0849 | 7 | 12.4468 | 11.5496 | -0.21997 | 0.032132 | 0.014289 | 2.1808e-05
98 | 9.2696e-06 | 0.12707 | 0.00045165 | 0.16574 | 7.5747 | [12 empty] | 3.4786e-05 | 0.0033273 | 0.0566 | 0 | 0 | 0 | -0.34602 | 0 | 0.021423 | 0