## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Mass transfer | Pressure drop Corr | Cross-flow Velocity | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. in Brine | Trace Conc. in Permeate
0 | 6.358e-06 | 0.014855 | 6.0921e-05 | 0.015942 | 3.1 | 22.8905 | 25.5173 | 28.2684 | 33.121 | 33.3713 | 0.21472 | 0.011112 | 0.018426 | 0.0037957 | 0.00010205 | 0.24815 | 0.99754 | 8.9646e-05 | 0.0013985 | 0.17 | 8 | 10.8987 | 9.8645 | 0.00022412 | 0.00081804 | 0.00015271 | 6.1925e-07
1 | 6.358e-06 | 0.015004 | 6.1572e-05 | 0.016112 | 3.1 | [12 empty] | 8.8861e-05 | 0.0014021 | 0.1683 | 7.8745 | 10.8924 | 9.8579 | 0.00021812 | 0.00080619 | 0.00015425 | 6.2345e-07
2 | 6.358e-06 | 0.015157 | 6.2237e-05 | 0.016286 | 3.1 | [12 empty] | 8.8075e-05 | 0.0014056 | 0.1666 | 7.661 | 10.871 | 9.8361 | 0.00021212 | 0.00076704 | 0.00015582 | 6.2204e-07
3 | 6.358e-06 | 0.015312 | 6.2917e-05 | 0.016464 | 3.1 | [12 empty] | 8.7288e-05 | 0.0014093 | 0.1649 | 7.4971 | 10.8473 | 9.8118 | 0.0002064 | 0.00072591 | 0.00015742 | 6.1773e-07
4 | 6.358e-06 | 0.015471 | 6.3612e-05 | 0.016646 | 3.0999 | [12 empty] | 8.65e-05 | 0.0014129 | 0.1632 | 7.3679 | 10.8243 | 9.7884 | 0.00020098 | 0.00068825 | 0.00015905 | 6.1254e-07
5 | 6.3581e-06 | 0.015633 | 6.4322e-05 | 0.016832 | 3.0999 | [12 empty] | 8.5711e-05 | 0.0014166 | 0.1615 | 7.2618 | 10.802 | 9.7655 | 0.00019586 | 0.00065343 | 0.00016072 | 6.0659e-07
6 | 6.3581e-06 | 0.015799 | 6.5048e-05 | 0.017022 | 3.0999 | [12 empty] | 8.4921e-05 | 0.0014204 | 0.1598 | 7.1717 | 10.7804 | 9.7435 | 0.00019099 | 0.00062159 | 0.00016242 | 6.0015e-07
7 | 6.3581e-06 | 0.015968 | 6.5791e-05 | 0.017216 | 3.0999 | [12 empty] | 8.413e-05 | 0.0014242 | 0.1581 | 7.0933 | 10.7598 | 9.7224 | 0.00018636 | 0.00059258 | 0.00016416 | 5.9336e-07
8 | 6.3581e-06 | 0.016141 | 6.655e-05 | 0.017415 | 3.0999 | [12 empty] | 8.3337e-05 | 0.0014281 | 0.1564 | 7.0237 | 10.7395 | 9.7016 | 0.00018194 | 0.00056531 | 0.00016594 | 5.8604e-07
9 | 6.3581e-06 | 0.016317 | 6.7328e-05 | 0.017619 | 3.0999 | [12 empty] | 8.2544e-05 | 0.001432 | 0.1547 | 6.9611 | 10.7209 | 9.6825 | 0.00017773 | 0.00054145 | 0.00016776 | 5.7883e-07
10 | 6.3581e-06 | 0.016498 | 6.8123e-05 | 0.017827 | 3.0999 | [12 empty] | 8.175e-05 | 0.001436 | 0.153 | 6.9038 | 10.7033 | 9.6643 | 0.00017369 | 0.00051971 | 0.00016961 | 5.7146e-07
11 | 6.3581e-06 | 0.016683 | 6.8938e-05 | 0.01804 | 3.0998 | [12 empty] | 8.0954e-05 | 0.00144 | 0.1513 | 6.851 | 10.6864 | 9.647 | 0.0001698 | 0.00049985 | 0.00017151 | 5.6395e-07
12 | 6.3581e-06 | 0.016871 | 6.9772e-05 | 0.018258 | 3.0998 | [12 empty] | 8.0157e-05 | 0.0014441 | 0.1496 | 6.8019 | 10.6699 | 9.6299 | 0.00016605 | 0.00048099 | 0.00017345 | 5.5612e-07
13 | 6.3581e-06 | 0.017065 | 7.0627e-05 | 0.018482 | 3.0998 | [12 empty] | 7.936e-05 | 0.0014482 | 0.1479 | 6.7558 | 10.6548 | 9.6143 | 0.00016243 | 0.00046447 | 0.00017544 | 5.4845e-07
14 | 6.3581e-06 | 0.017262 | 7.1503e-05 | 0.018711 | 3.0998 | [12 empty] | 7.8561e-05 | 0.0014524 | 0.1462 | 6.7124 | 10.6398 | 9.5987 | 0.00015892 | 0.00044859 | 0.00017748 | 5.4049e-07
15 | 6.3581e-06 | 0.017464 | 7.24e-05 | 0.018946 | 3.0998 | [12 empty] | 7.7761e-05 | 0.0014567 | 0.1445 | 6.6711 | 10.6262 | 9.5847 | 0.00015551 | 0.00043473 | 0.00017956 | 5.3272e-07
16 | 6.3582e-06 | 0.017671 | 7.3321e-05 | 0.019187 | 3.0998 | [12 empty] | 7.6959e-05 | 0.001461 | 0.1428 | 6.6318 | 10.6126 | 9.5706 | 0.00015219 | 0.00042129 | 0.00018169 | 5.2468e-07
17 | 6.3582e-06 | 0.017883 | 7.4265e-05 | 0.019434 | 3.0997 | [12 empty] | 7.6157e-05 | 0.0014654 | 0.1411 | 6.5941 | 10.5539 | 9.5102 | 0.00014894 | 0.0003677 | 0.00018387 | 5.0676e-07
18 | 6.3582e-06 | 0.018101 | 7.5233e-05 | 0.019688 | 3.0997 | [12 empty] | 7.5353e-05 | 0.0014699 | 0.1394 | 6.5614 | 10.5901 | 9.547 | 0.00014628 | 0.00039988 | 0.00018611 | 5.1022e-07
19 | 6.3582e-06 | 0.018323 | 7.6227e-05 | 0.019948 | 3.0997 | [12 empty] | 7.4548e-05 | 0.0014744 | 0.1377 | 6.5262 | 10.5786 | 9.5349 | 0.00014314 | 0.00038933 | 0.0001884 | 5.0212e-07
20 | 6.3582e-06 | 0.018551 | 7.7247e-05 | 0.020215 | 3.0997 | [12 empty] | 7.3742e-05 | 0.001479 | 0.136 | 6.492 | 10.5679 | 9.5237 | 0.00014007 | 0.00037984 | 0.00019075 | 4.9407e-07
21 | 6.3582e-06 | 0.018785 | 7.8295e-05 | 0.020489 | 3.0997 | [12 empty] | 7.2935e-05 | 0.0014837 | 0.1343 | 6.4588 | 10.5578 | 9.5132 | 0.00013703 | 0.0003711 | 0.00019316 | 4.86e-07
22 | 6.3583e-06 | 0.019025 | 7.9372e-05 | 0.020771 | 3.0997 | [12 empty] | 7.2126e-05 | 0.0014884 | 0.1326 | 6.4263 | 10.55 | 9.5048 | 0.00013403 | 0.00036443 | 0.00019563 | 4.7831e-07
23 | 6.3583e-06 | 0.019271 | 8.0478e-05 | 0.021061 | 3.0996 | [12 empty] | 7.1316e-05 | 0.0014932 | 0.1309 | 6.3944 | 10.5401 | 9.4944 | 0.00013104 | 0.0003562 | 0.00019816 | 4.6985e-07
24 | 6.3583e-06 | 0.019523 | 8.1616e-05 | 0.021358 | 3.0996 | [12 empty] | 7.0505e-05 | 0.0014982 | 0.1292 | 6.3631 | 10.5307 | 9.4843 | 0.00012808 | 0.00034848 | 0.00020076 | 4.6134e-07
25 | 6.3583e-06 | 0.019783 | 8.2786e-05 | 0.021665 | 3.0996 | [12 empty] | 6.9692e-05 | 0.0015031 | 0.1275 | 6.3323 | 10.5213 | 9.4744 | 0.00012514 | 0.00034104 | 0.00020343 | 4.527e-07
26 | 6.3584e-06 | 0.020049 | 8.399e-05 | 0.02198 | 3.0996 | [12 empty] | 6.8878e-05 | 0.0015082 | 0.1258 | 6.302 | 10.5128 | 9.4654 | 0.00012222 | 0.0003344 | 0.00020617 | 4.4413e-07
27 | 6.3584e-06 | 0.020322 | 8.5229e-05 | 0.022304 | 3.0996 | [12 empty] | 6.8063e-05 | 0.0015134 | 0.1241 | 6.272 | 10.5039 | 9.4559 | 0.00011931 | 0.00032758 | 0.00020899 | 4.3529e-07
28 | 6.3584e-06 | 0.020603 | 8.6505e-05 | 0.022638 | 3.0996 | [12 empty] | 6.7246e-05 | 0.0015186 | 0.1224 | 6.2423 | 10.4959 | 9.4472 | 0.00011642 | 0.00032155 | 0.00021189 | 4.2652e-07
29 | 6.3584e-06 | 0.020892 | 8.782e-05 | 0.022982 | 3.0995 | [12 empty] | 6.6428e-05 | 0.0015239 | 0.1207 | 6.2128 | 10.4881 | 9.4389 | 0.00011353 | 0.0003158 | 0.00021487 | 4.1765e-07
30 | 6.3585e-06 | 0.02119 | 8.9175e-05 | 0.023337 | 3.0995 | [12 empty] | 6.5608e-05 | 0.0015294 | 0.119 | 6.1835 | 10.4799 | 9.43 | 0.00011064 | 0.00030985 | 0.00021793 | 4.0853e-07
31 | 6.3585e-06 | 0.021495 | 9.0572e-05 | 0.023703 | 3.0995 | [12 empty] | 6.4787e-05 | 0.0015349 | 0.1173 | 6.1543 | 10.4725 | 9.422 | 0.00010775 | 0.00030458 | 0.00022108 | 3.9945e-07
32 | 6.3586e-06 | 0.02181 | 9.2013e-05 | 0.02408 | 3.0995 | [12 empty] | 6.3964e-05 | 0.0015405 | 0.1156 | 6.125 | 10.4652 | 9.4141 | 0.00010486 | 0.00029954 | 0.00022433 | 3.9027e-07
33 | 6.3586e-06 | 0.022134 | 9.3501e-05 | 0.02447 | 3.0995 | [12 empty] | 6.314e-05 | 0.0015463 | 0.1139 | 6.0958 | 10.4582 | 9.4064 | 0.00010195 | 0.00029469 | 0.00022767 | 3.8096e-07
34 | 6.3586e-06 | 0.022468 | 9.5037e-05 | 0.024872 | 3.0995 | [12 empty] | 6.2315e-05 | 0.0015521 | 0.1122 | 6.0664 | 10.4513 | 9.3989 | 9.9034e-05 | 0.00029003 | 0.00023112 | 3.7153e-07
35 | 6.3587e-06 | 0.022813 | 9.6625e-05 | 0.025287 | 3.0994 | [12 empty] | 6.1488e-05 | 0.0015581 | 0.1105 | 6.0369 | 10.4439 | 9.3909 | 9.6096e-05 | 0.00028516 | 0.00023467 | 3.6183e-07
36 | 6.3587e-06 | 0.023168 | 9.8266e-05 | 0.025717 | 3.0994 | [12 empty] | 6.0659e-05 | 0.0015642 | 0.1088 | 6.0072 | 10.4373 | 9.3836 | 9.3142e-05 | 0.00028081 | 0.00023833 | 3.5214e-07
37 | 6.3588e-06 | 0.023534 | 9.9963e-05 | 0.026161 | 3.0994 | [12 empty] | 5.9828e-05 | 0.0015703 | 0.1071 | 5.9772 | 10.4308 | 9.3763 | 9.0163e-05 | 0.0002766 | 0.0002421 | 3.4231e-07
38 | 6.3588e-06 | 0.023912 | 0.00010172 | 0.026621 | 3.0994 | [12 empty] | 5.8996e-05 | 0.0015767 | 0.1054 | 5.9468 | 10.4243 | 9.3692 | 8.7156e-05 | 0.00027251 | 0.000246 | 3.3232e-07
39 | 6.3589e-06 | 0.024302 | 0.00010354 | 0.027098 | 3.0994 | [12 empty] | 5.8163e-05 | 0.0015831 | 0.1037 | 5.916 | 10.418 | 9.3621 | 8.4117e-05 | 0.00026853 | 0.00025003 | 3.2217e-07
40 | 6.3589e-06 | 0.024705 | 0.00010542 | 0.027591 | 3.0994 | [12 empty] | 5.7327e-05 | 0.0015897 | 0.102 | 5.8847 | 10.4116 | 9.3551 | 8.1043e-05 | 0.00026464 | 0.00025419 | 3.1186e-07
41 | 6.359e-06 | 0.025122 | 0.00010738 | 0.028103 | 3.0993 | [12 empty] | 5.649e-05 | 0.0015964 | 0.1003 | 5.8528 | 10.4054 | 9.3481 | 7.7931e-05 | 0.00026084 | 0.0002585 | 3.0138e-07
42 | 6.359e-06 | 0.025554 | 0.0001094 | 0.028634 | 3.0993 | [12 empty] | 5.5651e-05 | 0.0016033 | 0.0986 | 5.8203 | 10.3991 | 9.341 | 7.4778e-05 | 0.00025709 | 0.00026295 | 2.9072e-07
43 | 6.3591e-06 | 0.026 | 0.00011151 | 0.029185 | 3.0993 | [12 empty] | 5.481e-05 | 0.0016103 | 0.0969 | 5.787 | 10.3929 | 9.334 | 7.1579e-05 | 0.00025341 | 0.00026756 | 2.7989e-07
44 | 6.3592e-06 | 0.026462 | 0.0001137 | 0.029757 | 3.0993 | [12 empty] | 5.3967e-05 | 0.0016175 | 0.0952 | 5.7529 | 10.3866 | 9.3269 | 6.8332e-05 | 0.00024976 | 0.00027233 | 2.6887e-07
45 | 6.3592e-06 | 0.026941 | 0.00011597 | 0.030353 | 3.0993 | [12 empty] | 5.3123e-05 | 0.0016248 | 0.0935 | 5.7178 | 10.3803 | 9.3198 | 6.5034e-05 | 0.00024615 | 0.00027727 | 2.5766e-07
46 | 6.3593e-06 | 0.027438 | 0.00011833 | 0.030972 | 3.0992 | [12 empty] | 5.2276e-05 | 0.0016323 | 0.0918 | 5.6816 | 10.3739 | 9.3125 | 6.168e-05 | 0.00024255 | 0.0002824 | 2.4627e-07
47 | 6.3594e-06 | 0.027953 | 0.0001208 | 0.031617 | 3.0992 | [12 empty] | 5.1428e-05 | 0.00164 | 0.0901 | 5.6442 | 10.3674 | 9.3051 | 5.8267e-05 | 0.00023895 | 0.00028773 | 2.347e-07
48 | 6.3595e-06 | 0.028489 | 0.00012336 | 0.032289 | 3.0992 | [12 empty] | 5.0578e-05 | 0.0016478 | 0.0884 | 5.6055 | 10.3608 | 9.2976 | 5.4792e-05 | 0.00023533 | 0.00029326 | 2.2295e-07
49 | 6.3596e-06 | 0.029045 | 0.00012604 | 0.03299 | 3.0992 | [12 empty] | 4.9725e-05 | 0.0016559 | 0.0867 | 5.5652 | 10.354 | 9.2899 | 5.1252e-05 | 0.00023168 | 0.000299 | 2.1103e-07
50 | 6.3575e-06 | 0.029623 | 0.00012887 | 0.033721 | 3.0981 | [12 empty] | 4.8871e-05 | 0.0037444 | 0.085 | 5.5233 | 10.3472 | 9.2819 | 4.7644e-05 | 0.00022807 | 0.00030498 | 1.9903e-07
51 | 7.0867e-06 | 0.030225 | 0.00011764 | 0.032683 | 3.8974 | [12 empty] | 9.032e-05 | 0.0014211 | 0.1715 | 5.4795 | 10.3979 | 9.382 | 4.3961e-05 | 0.00025621 | 0.0003112 | 1.5899e-07
52 | 7.0868e-06 | 0.030852 | 0.00012025 | 0.033408 | 3.8973 | [12 empty] | 8.8704e-05 | 0.0014285 | 0.168 | 5.4271 | 10.3904 | 9.3736 | 3.9539e-05 | 0.00025179 | 0.00031768 | 1.4644e-07
53 | 7.0868e-06 | 0.031506 | 0.00012298 | 0.034167 | 3.8973 | [12 empty] | 8.7085e-05 | 0.0014361 | 0.1645 | 5.3716 | 10.3824 | 9.3646 | 3.5023e-05 | 0.00024717 | 0.00032443 | 1.339e-07
54 | 7.0869e-06 | 0.032189 | 0.00012583 | 0.034961 | 3.8973 | [12 empty] | 8.546e-05 | 0.0014438 | 0.161 | 5.3127 | 10.3737 | 9.355 | 3.0412e-05 | 0.00024227 | 0.00033148 | 1.2146e-07
55 | 7.087e-06 | 0.032901 | 0.00012882 | 0.035792 | 3.8973 | [12 empty] | 8.3832e-05 | 0.0014518 | 0.1575 | 5.2503 | 10.3642 | 9.3444 | 2.5704e-05 | 0.00023702 | 0.00033885 | 1.0925e-07
56 | 7.0871e-06 | 0.033646 | 0.00013196 | 0.036664 | 3.8973 | [12 empty] | 8.2199e-05 | 0.0014601 | 0.154 | 5.1844 | 10.3537 | 9.3327 | 2.0901e-05 | 0.00023133 | 0.00034655 | 9.7416e-08
57 | 7.0872e-06 | 0.034425 | 0.00013525 | 0.037579 | 3.8972 | [12 empty] | 8.0561e-05 | 0.0014685 | 0.1505 | 5.1151 | 10.3419 | 9.3196 | 1.6007e-05 | 0.0002251 | 0.0003546 | 8.6165e-08
58 | 7.0874e-06 | 0.035242 | 0.00013871 | 0.03854 | 3.8972 | [12 empty] | 7.8918e-05 | 0.0014772 | 0.147 | 5.0431 | 10.3289 | 9.3053 | 1.1029e-05 | 0.00021847 | 0.00036304 | 7.5754e-08
59 | 7.0875e-06 | 0.036098 | 0.00014235 | 0.039552 | 3.8972 | [12 empty] | 7.7271e-05 | 0.0014862 | 0.1435 | 4.9695 | 10.3137 | 9.2885 | 5.9692e-06 | 0.00021097 | 0.0003719 | 6.6273e-08
60 | 7.0876e-06 | 0.036997 | 0.00014618 | 0.040618 | 3.8972 | [12 empty] | 7.5618e-05 | 0.0014955 | 0.14 | 4.8958 | 10.2968 | 9.2697 | 8.4421e-07 | 0.00020287 | 0.00038119 | 5.7942e-08
61 | 7.0878e-06 | 0.037942 | 0.00015023 | 0.041743 | 3.8972 | [12 empty] | 7.3961e-05 | 0.001505 | 0.1365 | 7 | 11.57 | 10.568 | -4.3361e-06 | 0.0039372 | 0.00039097 | 1.2056e-06
62 | 7.0879e-06 | 0.038936 | 0.0001545 | 0.042931 | 3.8971 | [12 empty] | 7.2298e-05 | 0.0015149 | 0.133 | 7 | 11.6011 | 10.599 | -0.00010806 | 0.0042369 | 0.00040122 | 1.2332e-06
63 | 7.0881e-06 | 0.039984 | 0.00015902 | 0.044188 | 3.8971 | [12 empty] | 7.0629e-05 | 0.0015251 | 0.1295 | 7 | 11.6325 | 10.6303 | -0.00022549 | 0.0045623 | 0.00041203 | 1.2617e-06
64 | 7.0882e-06 | 0.041091 | 0.00016381 | 0.045522 | 3.8971 | [12 empty] | 6.8955e-05 | 0.0015356 | 0.126 | 7 | 11.664 | 10.6618 | -0.00035849 | 0.004915 | 0.00042344 | 1.2912e-06
65 | 7.0884e-06 | 0.04226 | 0.0001689 | 0.046937 | 3.8971 | [12 empty] | 6.7275e-05 | 0.0015466 | 0.1225 | 7 | 11.6957 | 10.6934 | -0.00050916 | 0.0052965 | 0.00043551 | 1.3218e-06
66 | 7.0886e-06 | 0.043498 | 0.00017432 | 0.048443 | 3.897 | [12 empty] | 6.5589e-05 | 0.0015579 | 0.119 | 7 | 11.7273 | 10.725 | -0.00067991 | 0.0057086 | 0.00044828 | 1.3537e-06
67 | 7.0888e-06 | 0.044811 | 0.00018009 | 0.050047 | 3.897 | [12 empty] | 6.3897e-05 | 0.0015697 | 0.1155 | 7 | 11.759 | 10.7566 | -0.0008735 | 0.0061528 | 0.00046182 | 1.3868e-06
68 | 7.0891e-06 | 0.046205 | 0.00018625 | 0.051761 | 3.897 | [12 empty] | 6.2198e-05 | 0.0015819 | 0.112 | 7 | 11.7905 | 10.7882 | -0.0010931 | 0.006631 | 0.00047621 | 1.4214e-06
69 | 7.0893e-06 | 0.04769 | 0.00019284 | 0.053596 | 3.897 | [12 empty] | 6.0493e-05 | 0.0015946 | 0.1085 | 7 | 11.822 | 10.8196 | -0.0013422 | 0.0071449 | 0.00049152 | 1.4575e-06
70 | 7.0896e-06 | 0.049273 | 0.00019992 | 0.055564 | 3.8969 | [12 empty] | 5.8781e-05 | 0.0016078 | 0.105 | 7 | 11.8533 | 10.8509 | -0.0016251 | 0.0076965 | 0.00050786 | 1.4952e-06
71 | 7.0899e-06 | 0.050965 | 0.00020752 | 0.057681 | 3.8969 | [12 empty] | 5.7061e-05 | 0.0016216 | 0.1015 | 7 | 11.8844 | 10.882 | -0.0019466 | 0.0082879 | 0.00052532 | 1.5348e-06
72 | 7.0902e-06 | 0.052778 | 0.00021573 | 0.059964 | 3.8969 | [12 empty] | 5.5335e-05 | 0.001636 | 0.098 | 7 | 11.9154 | 10.913 | -0.0023121 | 0.0089213 | 0.00054403 | 1.5763e-06
73 | 7.0905e-06 | 0.054725 | 0.0002246 | 0.062433 | 3.8969 | [12 empty] | 5.36e-05 | 0.0016511 | 0.0945 | 7 | 11.9461 | 10.9438 | -0.0027281 | 0.0095993 | 0.00056412 | 1.6199e-06
74 | 7.0878e-06 | 0.056821 | 0.00023432 | 0.065109 | 3.8951 | [12 empty] | 5.1858e-05 | 0.0039051 | 0.091 | 7 | 11.9767 | 10.9744 | -0.0032023 | 0.010328 | 0.00058575 | 1.6664e-06
75 | 7.8506e-06 | 0.059085 | 0.00019765 | 0.064477 | 6.4941 | [12 empty] | 8.9595e-05 | 0.0014011 | 0.17 | 7 | 12.0094 | 11.0474 | -0.0037435 | 0.011163 | 0.00060911 | 1.4486e-06
76 | 7.8509e-06 | 0.061538 | 0.00020651 | 0.067369 | 6.494 | [12 empty] | 8.6448e-05 | 0.0014156 | 0.1632 | 7 | 12.0392 | 11.0774 | -0.0043646 | 0.011989 | 0.00063443 | 1.4875e-06
77 | 7.8511e-06 | 0.064205 | 0.0002162 | 0.07053 | 6.494 | [12 empty] | 8.3285e-05 | 0.0014309 | 0.1564 | 7 | 12.0689 | 11.1073 | -0.0050756 | 0.012873 | 0.00066195 | 1.5281e-06
78 | 7.8514e-06 | 0.067113 | 0.00022683 | 0.074001 | 6.494 | [12 empty] | 8.0105e-05 | 0.0014471 | 0.1496 | 7 | 12.0985 | 11.1373 | -0.0058915 | 0.013819 | 0.00069197 | 1.5706e-06
79 | 7.8517e-06 | 0.070298 | 0.00023855 | 0.077829 | 6.494 | [12 empty] | 7.6906e-05 | 0.0014642 | 0.1428 | 7 | 12.1279 | 11.1674 | -0.00683 | 0.01483 | 0.00072485 | 1.615e-06
80 | 7.8521e-06 | 0.073801 | 0.00025154 | 0.082071 | 6.4939 | [12 empty] | 7.3689e-05 | 0.0014824 | 0.136 | 7 | 12.1571 | 11.1978 | -0.007913 | 0.015909 | 0.00076101 | 1.6613e-06
81 | 7.8524e-06 | 0.077672 | 0.00026602 | 0.086799 | 6.4939 | [12 empty] | 7.0451e-05 | 0.0015017 | 0.1292 | 7 | 12.1861 | 11.2286 | -0.0091668 | 0.017057 | 0.00080098 | 1.7095e-06
82 | 7.8529e-06 | 0.081973 | 0.00028225 | 0.0921 | 6.4939 | [12 empty] | 6.7192e-05 | 0.0015224 | 0.1224 | 7 | 12.2146 | 11.2599 | -0.010624 | 0.018271 | 0.00084538 | 1.7596e-06
83 | 7.8534e-06 | 0.086778 | 0.00030057 | 0.098085 | 6.4938 | [12 empty] | 6.391e-05 | 0.0015446 | 0.1156 | 7 | 12.2425 | 11.292 | -0.012323 | 0.019543 | 0.000895 | 1.8112e-06
84 | 7.8539e-06 | 0.092183 | 0.00032141 | 0.10489 | 6.4938 | [12 empty] | 6.0604e-05 | 0.0015686 | 0.1088 | 7 | 12.2693 | 11.3252 | -0.014315 | 0.020854 | 0.00095083 | 1.864e-06
85 | 7.8546e-06 | 0.098307 | 0.00034533 | 0.11271 | 6.4938 | [12 empty] | 5.7271e-05 | 0.0015945 | 0.102 | 7 | 12.2948 | 11.36 | -0.01666 | 0.022178 | 0.0010141 | 1.9173e-06
86 | 7.8529e-06 | 0.1053 | 0.00037314 | 0.12176 | 6.4917 | [12 empty] | 5.3911e-05 | 0.003949 | 0.0952 | 7 | 12.3185 | 11.3966 | -0.019434 | 0.023493 | 0.0010864 | 1.9709e-06
87 | 9.2002e-06 | 0.11338 | 0.0003447 | 0.12554 | 7.5204 | [12 empty] | 8.998e-05 | 0.0014064 | 0.1703 | 7 | 12.3141 | 11.4581 | -0.022736 | 0.02324 | 0.0011698 | 1.6135e-06
88 | 9.2003e-06 | 0.11439 | 0.00035034 | 0.1276 | 7.5204 | [12 empty] | 8.391e-05 | 0.0014352 | 0.1572 | 7 | 12.3294 | 11.4755 | -0.026567 | 0.024118 | 0.0012672 | 1.7361e-06
89 | 9.2004e-06 | 0.11541 | 0.00035654 | 0.12986 | 7.5203 | [12 empty] | 7.7777e-05 | 0.0014672 | 0.1441 | 7 | 12.3444 | 11.4926 | -0.031175 | 0.02501 | 0.0013822 | 1.8827e-06
90 | 9.2006e-06 | 0.11646 | 0.00036346 | 0.13238 | 7.5203 | [12 empty] | 7.1574e-05 | 0.0015031 | 0.131 | 7 | 12.359 | 11.5094 | -0.036793 | 0.025912 | 0.0015202 | 2.0611e-06
91 | 9.2008e-06 | 0.11752 | 0.00037133 | 0.13525 | 7.5202 | [12 empty] | 6.5294e-05 | 0.0015438 | 0.1179 | 7 | 12.3731 | 11.5256 | -0.04376 | 0.026818 | 0.0016889 | 2.2826e-06
92 | 9.201e-06 | 0.11861 | 0.00038048 | 0.13859 | 7.5202 | [12 empty] | 5.8925e-05 | 0.0015908 | 0.1048 | 7 | 12.3867 | 11.5413 | -0.052583 | 0.02772 | 0.0018997 | 2.5654e-06
93 | 9.1986e-06 | 0.11971 | 0.00039155 | 0.14258 | 7.518 | [12 empty] | 5.2457e-05 | 0.0038957 | 0.0917 | 7 | 12.3997 | 11.556 | -0.064055 | 0.028614 | 0.0021708 | 2.9396e-06
94 | 9.2695e-06 | 0.12084 | 0.00036492 | 0.13391 | 7.5766 | [12 empty] | 9.0002e-05 | 0.001404 | 0.1698 | 7 | 12.4411 | 11.5869 | -0.079499 | 0.031646 | 0.0025321 | 3.0907e-06
95 | 9.2697e-06 | 0.12199 | 0.00037493 | 0.13758 | 7.5766 | [12 empty] | 7.6811e-05 | 0.0014713 | 0.1415 | 7 | 12.4548 | 11.6002 | -0.10173 | 0.032723 | 0.0030379 | 3.7049e-06
96 | 9.27e-06 | 0.12316 | 0.00038838 | 0.14252 | 7.5765 | [12 empty] | 6.3288e-05 | 0.0015587 | 0.1132 | 7 | 12.4675 | 11.6117 | -0.13534 | 0.033751 | 0.0037964 | 4.6649e-06
97 | 9.2704e-06 | 0.12435 | 0.00040865 | 0.14997 | 7.5763 | [12 empty] | 4.9335e-05 | 0.0016803 | 0.0849 | 7 | 12.479 | 11.6207 | -0.19171 | 0.034717 | 0.0050603 | 6.3856e-06
98 | 9.2695e-06 | 0.12556 | 0.0004463 | 0.16377 | 7.5747 | [12 empty] | 3.4786e-05 | 0.0033273 | 0.0566 | 0 | 0 | 0 | -0.30492 | 0 | 0.0075873 | 0