## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Mass transfer | Pressure drop Corr | Cross-flow Velocity | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. in Brine | Trace Conc. in Permeate
0 | 5.5878e-06 | 0.015033 | 6.9515e-05 | 0.015995 | 3.1 | 19.0119 | 18.848 | 19.9207 | 20.6542 | 20.0081 | 0.21472 | 0.011112 | 0.018426 | 0.0037957 | 0.00010205 | 0.24815 | 1.001 | 8.9641e-05 | 0.0013985 | 0.17 | 6.999 | 11.1352 | 5.7933 | 0.0015249 | 0.0021155 | 0.0015431 | 0.00035942
1 | 5.5799e-06 | 0.015184 | 7.0345e-05 | 0.016164 | 3.1 | [12 empty] | 8.8856e-05 | 0.001402 | 0.1683 | 6.999 | 10.9484 | 6.2775 | 0.0015189 | 0.0023055 | 0.001555 | 0.0007474
2 | 5.5718e-06 | 0.015338 | 7.1196e-05 | 0.016335 | 3.1 | [12 empty] | 8.807e-05 | 0.0014055 | 0.1666 | 6.999 | 5.3573 | 9.678 | 0.0015109 | 0.0001037 | 0.0015633 | 0.0011399
3 | 5.5635e-06 | 0.015496 | 7.2066e-05 | 0.016511 | 3.1 | [12 empty] | 8.7283e-05 | 0.0014092 | 0.1649 | 6.999 | 5.3826 | 9.6518 | 0.0015254 | 0.00011192 | 0.0015676 | 0.001161
4 | 5.5551e-06 | 0.015656 | 7.2959e-05 | 0.01669 | 3.0999 | [12 empty] | 8.6495e-05 | 0.0014128 | 0.1632 | 6.999 | 5.9098 | 9.178 | 0.0015401 | 0.00038161 | 0.0015719 | 0.0014
5 | 5.5465e-06 | 0.01582 | 7.3873e-05 | 0.016873 | 3.0999 | [12 empty] | 8.5706e-05 | 0.0014165 | 0.1615 | 6.999 | 5.0193 | 10.0756 | 0.0015523 | 2.7413e-05 | 0.0015737 | 0.00080871
6 | 5.5377e-06 | 0.015988 | 7.481e-05 | 0.01706 | 3.0999 | [12 empty] | 8.4916e-05 | 0.0014203 | 0.1598 | 6.999 | 6.0626 | 9.0589 | 0.0015685 | 0.00050444 | 0.0015818 | 0.0014475
7 | 5.5287e-06 | 0.016159 | 7.5772e-05 | 0.017252 | 3.0999 | [12 empty] | 8.4124e-05 | 0.0014241 | 0.1581 | 6.999 | 10.8423 | 6.5477 | 0.00158 | 0.002494 | 0.0015832 | 0.00098126
8 | 5.5195e-06 | 0.016334 | 7.6757e-05 | 0.017447 | 3.0999 | [12 empty] | 8.3332e-05 | 0.001428 | 0.1564 | 6.999 | 5.7465 | 9.3106 | 0.00157 | 0.00027646 | 0.0015898 | 0.0013572
9 | 5.5101e-06 | 0.016513 | 7.7769e-05 | 0.017647 | 3.0999 | [12 empty] | 8.2539e-05 | 0.0014319 | 0.1547 | 6.999 | 10.942 | 6.9214 | 0.0015843 | 0.0032456 | 0.0015923 | 0.0012638
10 | 5.5005e-06 | 0.016695 | 7.8807e-05 | 0.017852 | 3.0999 | [12 empty] | 8.1744e-05 | 0.0014359 | 0.153 | 6.999 | 11.1426 | 7.4544 | 0.0015658 | 0.0042768 | 0.001596 | 0.0014737
11 | 5.4907e-06 | 0.016882 | 7.9873e-05 | 0.018061 | 3.0998 | [12 empty] | 8.0949e-05 | 0.0014399 | 0.1513 | 6.999 | 5.9422 | 9.1456 | 0.0015353 | 0.00041136 | 0.0015974 | 0.0014289
12 | 5.4807e-06 | 0.017073 | 8.0968e-05 | 0.018275 | 3.0998 | [12 empty] | 8.0152e-05 | 0.001444 | 0.1496 | 6.999 | 11.1067 | 5.9208 | 0.0015481 | 0.0022051 | 0.0015993 | 0.00045618
13 | 5.4704e-06 | 0.017268 | 8.2093e-05 | 0.018495 | 3.0998 | [12 empty] | 7.9354e-05 | 0.0014481 | 0.1479 | 6.999 | 5.5099 | 9.5192 | 0.0015406 | 0.00016267 | 0.0016124 | 0.0012768
14 | 5.4599e-06 | 0.017468 | 8.325e-05 | 0.018719 | 3.0998 | [12 empty] | 7.8555e-05 | 0.0014523 | 0.1462 | 6.999 | 11.144 | 7.455 | 0.0015566 | 0.0043289 | 0.0016163 | 0.001498
15 | 5.4491e-06 | 0.017673 | 8.4438e-05 | 0.018949 | 3.0998 | [12 empty] | 7.7755e-05 | 0.0014566 | 0.1445 | 6.999 | 5.427 | 9.5964 | 0.001524 | 0.00013056 | 0.0016177 | 0.0012249
16 | 5.4381e-06 | 0.017882 | 8.5661e-05 | 0.019185 | 3.0998 | [12 empty] | 7.6954e-05 | 0.0014609 | 0.1428 | 6.999 | 5.7495 | 9.2996 | 0.0015406 | 0.00028554 | 0.0016224 | 0.0013933
17 | 5.4268e-06 | 0.018096 | 8.692e-05 | 0.019427 | 3.0997 | [12 empty] | 7.6152e-05 | 0.0014653 | 0.1411 | 6.999 | 11.0222 | 7.0451 | 0.0015557 | 0.0036477 | 0.0016251 | 0.0013585
18 | 5.4152e-06 | 0.018316 | 8.8215e-05 | 0.019674 | 3.0997 | [12 empty] | 7.5348e-05 | 0.0014698 | 0.1394 | 6.999 | 11.0129 | 6.1818 | 0.0015302 | 0.0023708 | 0.0016284 | 0.00069259
19 | 5.4033e-06 | 0.018541 | 8.9549e-05 | 0.019928 | 3.0997 | [12 empty] | 7.4543e-05 | 0.0014743 | 0.1377 | 6.999 | 4.9212 | 10.2406 | 0.0015198 | 1.3231e-05 | 0.00164 | 0.0006863
20 | 5.3911e-06 | 0.018772 | 9.0924e-05 | 0.020189 | 3.0997 | [12 empty] | 7.3737e-05 | 0.0014789 | 0.136 | 6.999 | 10.87 | 6.5465 | 0.0015386 | 0.0026809 | 0.0016519 | 0.001051
21 | 5.3786e-06 | 0.019008 | 9.234e-05 | 0.020456 | 3.0997 | [12 empty] | 7.2929e-05 | 0.0014835 | 0.1343 | 6.999 | 11.0114 | 6.202 | 0.0015242 | 0.0024291 | 0.0016595 | 0.00072593
22 | 5.3658e-06 | 0.019251 | 9.3801e-05 | 0.02073 | 3.0997 | [12 empty] | 7.2121e-05 | 0.0014883 | 0.1326 | 6.999 | 5.1014 | 9.9351 | 0.0015126 | 4.6096e-05 | 0.0016715 | 0.00098546
23 | 5.3527e-06 | 0.019499 | 9.5308e-05 | 0.021012 | 3.0996 | [12 empty] | 7.1311e-05 | 0.0014931 | 0.1309 | 6.999 | 5.7679 | 9.2748 | 0.0015316 | 0.00030959 | 0.0016804 | 0.0014593
24 | 5.3392e-06 | 0.019755 | 9.6864e-05 | 0.021301 | 3.0996 | [12 empty] | 7.0499e-05 | 0.001498 | 0.1292 | 6.999 | 5.1532 | 9.8705 | 0.0015477 | 5.6676e-05 | 0.0016833 | 0.0010381
25 | 5.3253e-06 | 0.020017 | 9.8471e-05 | 0.021599 | 3.0996 | [12 empty] | 6.9687e-05 | 0.001503 | 0.1275 | 6.999 | 10.8761 | 6.6812 | 0.0015676 | 0.0029521 | 0.0016919 | 0.0011921
26 | 5.3111e-06 | 0.020286 | 0.00010013 | 0.021904 | 3.0996 | [12 empty] | 6.8873e-05 | 0.0015081 | 0.1258 | 6.999 | 5.1121 | 9.9155 | 0.0015489 | 4.8832e-05 | 0.0016986 | 0.0010076
27 | 5.2964e-06 | 0.020562 | 0.00010185 | 0.022218 | 3.0996 | [12 empty] | 6.8057e-05 | 0.0015132 | 0.1241 | 6.999 | 4.9022 | 10.2626 | 0.0015694 | 1.159e-05 | 0.0017081 | 0.00068481
28 | 5.2814e-06 | 0.020847 | 0.00010362 | 0.022542 | 3.0996 | [12 empty] | 6.7241e-05 | 0.0015185 | 0.1224 | 6.999 | 5.7917 | 9.2469 | 0.001591 | 0.0003338 | 0.0017223 | 0.0015055
29 | 5.2659e-06 | 0.021139 | 0.00010546 | 0.022874 | 3.0995 | [12 empty] | 6.6422e-05 | 0.0015238 | 0.1207 | 6.999 | 5.6671 | 9.354 | 0.0016087 | 0.00025117 | 0.0017254 | 0.0014328
30 | 5.25e-06 | 0.021439 | 0.00010736 | 0.023217 | 3.0995 | [12 empty] | 6.5603e-05 | 0.0015292 | 0.119 | 6.999 | 5.0325 | 10.012 | 0.0016281 | 3.4236e-05 | 0.0017295 | 0.00092356
31 | 5.2336e-06 | 0.021748 | 0.00010933 | 0.023569 | 3.0995 | [12 empty] | 6.4782e-05 | 0.0015348 | 0.1173 | 6.999 | 10.9362 | 6.8351 | 0.0016512 | 0.0033826 | 0.0017412 | 0.0013459
32 | 5.2167e-06 | 0.022067 | 0.00011137 | 0.023932 | 3.0995 | [12 empty] | 6.3959e-05 | 0.0015404 | 0.1156 | 6.999 | 11.0772 | 7.6361 | 0.0016258 | 0.0043826 | 0.001747 | 0.0016536
33 | 5.1993e-06 | 0.022394 | 0.00011349 | 0.024307 | 3.0995 | [12 empty] | 6.3135e-05 | 0.0015461 | 0.1139 | 6.999 | 5.8704 | 9.1725 | 0.0015846 | 0.00039391 | 0.0017484 | 0.0015441
34 | 5.1814e-06 | 0.022732 | 0.00011569 | 0.024693 | 3.0995 | [12 empty] | 6.2309e-05 | 0.001552 | 0.1122 | 6.999 | 10.9205 | 6.4404 | 0.0016027 | 0.0027004 | 0.0017515 | 0.00099767
35 | 5.1629e-06 | 0.02308 | 0.00011798 | 0.025091 | 3.0994 | [12 empty] | 6.1482e-05 | 0.0015579 | 0.1105 | 6.999 | 6.0317 | 9.0416 | 0.0015858 | 0.00053436 | 0.0017631 | 0.0016059
36 | 5.1438e-06 | 0.023439 | 0.00012035 | 0.025502 | 3.0994 | [12 empty] | 6.0653e-05 | 0.001564 | 0.1088 | 6.999 | 11.1286 | 5.9767 | 0.0016022 | 0.0024635 | 0.0017656 | 0.00055269
37 | 5.1242e-06 | 0.023809 | 0.00012282 | 0.025927 | 3.0994 | [12 empty] | 5.9823e-05 | 0.0015702 | 0.1071 | 6.999 | 11.0288 | 6.2368 | 0.0015885 | 0.0026685 | 0.0017848 | 0.00082709
38 | 5.1038e-06 | 0.024191 | 0.0001254 | 0.026366 | 3.0994 | [12 empty] | 5.8991e-05 | 0.0015765 | 0.1054 | 6.999 | 10.907 | 6.7061 | 0.0015711 | 0.0032148 | 0.0018003 | 0.001295
39 | 5.0829e-06 | 0.024585 | 0.00012808 | 0.026819 | 3.0994 | [12 empty] | 5.8157e-05 | 0.0015829 | 0.1037 | 6.999 | 10.9265 | 6.7766 | 0.0015442 | 0.0033716 | 0.0018086 | 0.0013533
40 | 5.0612e-06 | 0.024993 | 0.00013087 | 0.027288 | 3.0994 | [12 empty] | 5.7321e-05 | 0.0015895 | 0.102 | 6.999 | 11.2212 | 5.7345 | 0.0015137 | 0.0024944 | 0.0018161 | 0.00038573
41 | 5.0387e-06 | 0.025414 | 0.00013379 | 0.027773 | 3.0993 | [12 empty] | 5.6484e-05 | 0.0015962 | 0.1003 | 6.999 | 10.9144 | 6.6791 | 0.0014971 | 0.0032679 | 0.0018404 | 0.0013138
42 | 5.0155e-06 | 0.02585 | 0.00013684 | 0.028276 | 3.0993 | [12 empty] | 5.5645e-05 | 0.0016031 | 0.0986 | 6.999 | 5.1698 | 9.8121 | 0.0014666 | 6.8529e-05 | 0.0018495 | 0.0011823
43 | 4.9915e-06 | 0.026301 | 0.00014002 | 0.028796 | 3.0993 | [12 empty] | 5.4804e-05 | 0.0016101 | 0.0969 | 6.999 | 11.1821 | 5.9276 | 0.0014911 | 0.0026715 | 0.0018612 | 0.00055869
44 | 4.9666e-06 | 0.026768 | 0.00014336 | 0.029335 | 3.0993 | [12 empty] | 5.3962e-05 | 0.0016173 | 0.0952 | 6.999 | 5.5904 | 9.3902 | 0.00147 | 0.00023673 | 0.0018844 | 0.0015683
45 | 4.9408e-06 | 0.027253 | 0.00014685 | 0.029895 | 3.0993 | [12 empty] | 5.3117e-05 | 0.0016246 | 0.0935 | 6.999 | 5.7568 | 9.2394 | 0.0014924 | 0.00034213 | 0.0018902 | 0.0016432
46 | 4.914e-06 | 0.027755 | 0.00015051 | 0.030476 | 3.0992 | [12 empty] | 5.2271e-05 | 0.0016321 | 0.0918 | 6.999 | 11.0006 | 6.3412 | 0.0015137 | 0.0028951 | 0.0018948 | 0.00099053
47 | 4.8862e-06 | 0.028275 | 0.00015436 | 0.031079 | 3.0992 | [12 empty] | 5.1422e-05 | 0.0016398 | 0.0901 | 6.999 | 10.9786 | 6.4074 | 0.0014877 | 0.0030116 | 0.0019118 | 0.0010852
48 | 4.8574e-06 | 0.028816 | 0.0001584 | 0.031705 | 3.0992 | [12 empty] | 5.0572e-05 | 0.0016476 | 0.0884 | 6.999 | 11.2083 | 5.8943 | 0.0014584 | 0.0027583 | 0.0019277 | 0.00054927
49 | 4.8274e-06 | 0.029378 | 0.00016266 | 0.032357 | 3.0992 | [12 empty] | 4.9719e-05 | 0.0016557 | 0.0867 | 6.999 | 5.4308 | 9.5238 | 0.0014329 | 0.00016532 | 0.0019547 | 0.0015268
50 | 4.7941e-06 | 0.029962 | 0.00016721 | 0.033034 | 3.0981 | [12 empty] | 4.8865e-05 | 0.0037438 | 0.085 | 6.999 | 5.2351 | 9.7148 | 0.0014582 | 9.3001e-05 | 0.0019633 | 0.0013469
51 | 5.7211e-06 | 0.03057 | 0.00014505 | 0.03256 | 3.8974 | [12 empty] | 9.0309e-05 | 0.0014209 | 0.1715 | 6.9986 | 10.9727 | 6.8348 | 0.0014861 | 0.0038558 | 0.0019759 | 0.001547
52 | 5.6925e-06 | 0.031204 | 0.00014892 | 0.033263 | 3.8973 | [12 empty] | 8.8694e-05 | 0.0014283 | 0.168 | 6.9986 | 11.1201 | 6.0886 | 0.0014367 | 0.0028324 | 0.0019848 | 0.00076094
53 | 5.6627e-06 | 0.031865 | 0.000153 | 0.033996 | 3.8973 | [12 empty] | 8.7074e-05 | 0.0014358 | 0.1645 | 6.9986 | 5.327 | 9.6727 | 0.001407 | 0.00012161 | 0.0020109 | 0.0014166
54 | 5.6315e-06 | 0.032554 | 0.00015731 | 0.034762 | 3.8973 | [12 empty] | 8.5449e-05 | 0.0014436 | 0.161 | 6.9986 | 6.7764 | 8.6453 | 0.001435 | 0.0014476 | 0.0020238 | 0.0019623
55 | 5.599e-06 | 0.033274 | 0.00016186 | 0.035562 | 3.8973 | [12 empty] | 8.3821e-05 | 0.0014516 | 0.1575 | 6.9986 | 6.1055 | 8.9922 | 0.0014347 | 0.00066682 | 0.0020251 | 0.0017917
56 | 5.565e-06 | 0.034027 | 0.00016667 | 0.036399 | 3.8973 | [12 empty] | 8.2188e-05 | 0.0014598 | 0.154 | 6.9986 | 11.1734 | 7.5289 | 0.0014522 | 0.0052292 | 0.0020304 | 0.001905
57 | 5.5294e-06 | 0.034814 | 0.00017178 | 0.037276 | 3.8972 | [12 empty] | 8.055e-05 | 0.0014683 | 0.1505 | 6.9986 | 11.0343 | 6.9277 | 0.0013643 | 0.0042747 | 0.0020334 | 0.0016714
58 | 5.4922e-06 | 0.035639 | 0.00017721 | 0.038195 | 3.8972 | [12 empty] | 7.8907e-05 | 0.001477 | 0.147 | 6.9986 | 5.0486 | 9.9577 | 0.001295 | 4.5155e-05 | 0.002042 | 0.0011061
59 | 5.4531e-06 | 0.036504 | 0.00018298 | 0.03916 | 3.8972 | [12 empty] | 7.726e-05 | 0.001486 | 0.1435 | 6.9986 | 5.1658 | 9.8163 | 0.0013255 | 7.4535e-05 | 0.0020648 | 0.0012874
60 | 5.4121e-06 | 0.037412 | 0.00018914 | 0.040174 | 3.8972 | [12 empty] | 7.5607e-05 | 0.0014952 | 0.14 | 6.9986 | 10.9341 | 6.629 | 0.0013568 | 0.0035756 | 0.0020842 | 0.0014528
61 | 5.369e-06 | 0.038367 | 0.00019571 | 0.041241 | 3.8972 | [12 empty] | 7.3949e-05 | 0.0015048 | 0.1365 | 6.9986 | 11.0875 | 6.2089 | 0.0012999 | 0.0031034 | 0.0021004 | 0.00096094
62 | 5.3236e-06 | 0.039371 | 0.00020275 | 0.042365 | 3.8971 | [12 empty] | 7.2286e-05 | 0.0015146 | 0.133 | 6.9986 | 5.0747 | 9.9027 | 0.0012524 | 5.4506e-05 | 0.0021304 | 0.0012141
63 | 5.2758e-06 | 0.04043 | 0.0002103 | 0.04355 | 3.8971 | [12 empty] | 7.0618e-05 | 0.0015248 | 0.1295 | 6.9986 | 10.9491 | 6.5869 | 0.0012848 | 0.0036392 | 0.0021552 | 0.0014654
64 | 5.2253e-06 | 0.041547 | 0.00021842 | 0.044801 | 3.8971 | [12 empty] | 6.8944e-05 | 0.0015354 | 0.126 | 6.9986 | 5.0732 | 9.8916 | 0.0012194 | 5.5672e-05 | 0.0021743 | 0.0012411
65 | 5.172e-06 | 0.042728 | 0.00022718 | 0.046125 | 3.8971 | [12 empty] | 6.7264e-05 | 0.0015463 | 0.1225 | 6.9986 | 6.41 | 8.7476 | 0.0012526 | 0.0011678 | 0.002201 | 0.0021373
66 | 5.1156e-06 | 0.043978 | 0.00023665 | 0.047527 | 3.897 | [12 empty] | 6.5578e-05 | 0.0015576 | 0.119 | 6.9986 | 4.9562 | 10.0327 | 0.0012551 | 3.0034e-05 | 0.0022029 | 0.0010306
67 | 5.0558e-06 | 0.045303 | 0.00024693 | 0.049014 | 3.897 | [12 empty] | 6.3885e-05 | 0.0015693 | 0.1155 | 6.9986 | 4.8138 | 10.3115 | 0.0012923 | 5.9689e-06 | 0.0022384 | 0.00073853
68 | 4.9924e-06 | 0.046711 | 0.00025811 | 0.050594 | 3.897 | [12 empty] | 6.2187e-05 | 0.0015815 | 0.112 | 6.9986 | 5.126 | 9.7997 | 0.0013325 | 7.447e-05 | 0.0022853 | 0.0014119
69 | 4.925e-06 | 0.04821 | 0.00027033 | 0.052277 | 3.897 | [12 empty] | 6.0481e-05 | 0.0015942 | 0.1085 | 6.9986 | 11.0473 | 6.9167 | 0.001373 | 0.0047985 | 0.0023134 | 0.001926
70 | 4.8531e-06 | 0.049808 | 0.00028373 | 0.054071 | 3.8969 | [12 empty] | 5.8769e-05 | 0.0016074 | 0.105 | 6.9986 | 10.9863 | 6.5146 | 0.0012589 | 0.0038023 | 0.0023264 | 0.0014968
71 | 4.7764e-06 | 0.051515 | 0.00029848 | 0.055988 | 3.8969 | [12 empty] | 5.705e-05 | 0.0016212 | 0.1015 | 6.9986 | 11.1838 | 6.1221 | 0.0011712 | 0.003498 | 0.002355 | 0.000983
72 | 4.6945e-06 | 0.053345 | 0.00031479 | 0.058041 | 3.8969 | [12 empty] | 5.5323e-05 | 0.0016356 | 0.098 | 6.9986 | 11.341 | 5.7483 | 0.0010881 | 0.0034158 | 0.002404 | 0.00055865
73 | 4.6066e-06 | 0.055309 | 0.00033294 | 0.060244 | 3.8969 | [12 empty] | 5.3588e-05 | 0.0016507 | 0.0945 | 6.9986 | 11.0264 | 6.4664 | 0.0010018 | 0.0040413 | 0.0024723 | 0.0015599
74 | 4.5094e-06 | 0.057423 | 0.00035343 | 0.062609 | 3.8951 | [12 empty] | 5.1846e-05 | 0.0039041 | 0.091 | 6.9986 | 5.5111 | 9.3474 | 0.00088495 | 0.00027016 | 0.0025074 | 0.0020895
75 | 6.1011e-06 | 0.059706 | 0.00025182 | 0.063897 | 6.4941 | [12 empty] | 8.9573e-05 | 0.0014007 | 0.17 | 6.9973 | 11.1014 | 6.8651 | 0.00090954 | 0.0052604 | 0.0025241 | 0.0020692
76 | 6.0279e-06 | 0.062183 | 0.00026587 | 0.066656 | 6.494 | [12 empty] | 8.6426e-05 | 0.0014152 | 0.1632 | 6.9973 | 11.0114 | 6.691 | 0.00072825 | 0.0046406 | 0.0025431 | 0.0019041
77 | 5.9484e-06 | 0.064875 | 0.00028155 | 0.069659 | 6.494 | [12 empty] | 8.3263e-05 | 0.0014305 | 0.1564 | 6.9973 | 4.8221 | 10.3159 | 0.00055815 | 8.0016e-06 | 0.0025708 | 0.00078363
78 | 5.8617e-06 | 0.067811 | 0.00029915 | 0.072938 | 6.494 | [12 empty] | 8.0083e-05 | 0.0014466 | 0.1496 | 6.9973 | 5.9242 | 9.0979 | 0.00058315 | 0.00068115 | 0.0026521 | 0.0024246
79 | 5.7668e-06 | 0.071026 | 0.00031904 | 0.076534 | 6.494 | [12 empty] | 7.6884e-05 | 0.0014637 | 0.1428 | 6.9973 | 10.9944 | 6.6591 | 0.00057849 | 0.0046751 | 0.0026629 | 0.0019504
80 | 5.6624e-06 | 0.074562 | 0.00034169 | 0.080492 | 6.4939 | [12 empty] | 7.3666e-05 | 0.0014818 | 0.136 | 6.9974 | 4.7586 | 10.3985 | 0.00037366 | 2.3142e-07 | 0.0026985 | 0.00069532
81 | 5.5472e-06 | 0.078468 | 0.00036772 | 0.084868 | 6.4939 | [12 empty] | 7.0429e-05 | 0.0015012 | 0.1292 | 6.9974 | 11.0367 | 6.4228 | 0.00039331 | 0.0044207 | 0.002804 | 0.0017439
82 | 5.4195e-06 | 0.082807 | 0.00039792 | 0.089731 | 6.4939 | [12 empty] | 6.7169e-05 | 0.0015218 | 0.1224 | 6.9974 | 4.8434 | 10.0442 | 0.00016957 | 2.4497e-05 | 0.0028629 | 0.0012517
83 | 5.277e-06 | 0.087654 | 0.00043335 | 0.095165 | 6.4938 | [12 empty] | 6.3887e-05 | 0.001544 | 0.1156 | 6.9974 | 7 | 10.3356 | 0.0001781 | -3.3432e-06 | 0.0029576 | 0.00082361
84 | 5.1173e-06 | 0.093106 | 0.00047548 | 0.10127 | 6.4938 | [12 empty] | 6.0581e-05 | 0.0015679 | 0.1088 | 6.9974 | 10.8864 | 6.6428 | 0.00018944 | 0.0050128 | 0.003091 | 0.0023007
85 | 4.937e-06 | 0.099281 | 0.00052636 | 0.10818 | 6.4938 | [12 empty] | 5.7248e-05 | 0.0015937 | 0.102 | 6.9989 | 7 | 10.3833 | -0.00013211 | -1.4278e-05 | 0.0031437 | 0.00077412
86 | 4.7361e-06 | 0.10633 | 0.0005885 | 0.11605 | 6.4917 | [12 empty] | 5.3888e-05 | 0.003947 | 0.0952 | 6.9989 | 4.8514 | 9.6751 | -0.00014053 | 5.2421e-05 | 0.003313 | 0.0020966
87 | 5.8841e-06 | 0.11447 | 0.00052368 | 0.12217 | 7.5204 | [12 empty] | 8.9938e-05 | 0.0014056 | 0.1703 | 6.9987 | 4.7717 | 9.7519 | -0.00015537 | 3.5083e-05 | 0.0034065 | 0.0019647
88 | 5.8419e-06 | 0.11549 | 0.00053438 | 0.12378 | 7.5204 | [12 empty] | 8.3868e-05 | 0.0014343 | 0.1572 | 6.9987 | 4.5945 | 9.9579 | -0.00017125 | 2.6727e-06 | 0.0035267 | 0.0016011
89 | 5.7967e-06 | 0.11652 | 0.00054602 | 0.1255 | 7.5203 | [12 empty] | 7.7734e-05 | 0.0014662 | 0.1441 | 6.9987 | 11.4865 | 5.6459 | -0.00018706 | 0.0048035 | 0.0037017 | 0.00077023
90 | 5.7477e-06 | 0.11758 | 0.00055884 | 0.12737 | 7.5203 | [12 empty] | 7.1531e-05 | 0.001502 | 0.131 | 6.9987 | 11.4515 | 5.8 | -0.00068611 | 0.005203 | 0.0039949 | 0.0011026
91 | 5.6939e-06 | 0.11865 | 0.00057318 | 0.12942 | 7.5202 | [12 empty] | 6.5249e-05 | 0.0015426 | 0.1179 | 6.9987 | 10.8789 | 6.369 | -0.0013405 | 0.0056022 | 0.0043162 | 0.0026325
92 | 5.6338e-06 | 0.11974 | 0.00058952 | 0.13171 | 7.5202 | [12 empty] | 5.888e-05 | 0.0015893 | 0.1048 | 6.9987 | 10.9915 | 6.2946 | -0.0022083 | 0.0057964 | 0.0045267 | 0.0025526
93 | 5.5627e-06 | 0.12086 | 0.00060887 | 0.13432 | 7.518 | [12 empty] | 5.2411e-05 | 0.0038916 | 0.0917 | 6.9987 | 7 | 10.3156 | -0.0033518 | -4.9514e-05 | 0.0048087 | 0.0012838
94 | 5.7472e-06 | 0.12199 | 0.00057047 | 0.13001 | 7.5766 | [12 empty] | 8.9908e-05 | 0.0014022 | 0.1698 | 6.9986 | 11.6759 | 5.4963 | -0.0039022 | 0.0067795 | 0.0053962 | 0.00082687
95 | 5.68e-06 | 0.12315 | 0.00058856 | 0.13257 | 7.5766 | [12 empty] | 7.6715e-05 | 0.0014691 | 0.1415 | 6.9986 | 10.369 | 6.7865 | -0.0060385 | 0.0085418 | 0.0063101 | 0.0052234
96 | 5.5957e-06 | 0.12433 | 0.00061187 | 0.13578 | 7.5765 | [12 empty] | 6.3187e-05 | 0.0015557 | 0.1132 | 6.9986 | 4.6261 | 9.6391 | -0.0096836 | 5.5911e-05 | 0.0065818 | 0.0041669
97 | 5.4792e-06 | 0.12553 | 0.00064529 | 0.14023 | 7.5763 | [12 empty] | 4.9228e-05 | 0.001676 | 0.0849 | 6.9987 | 4.7286 | 9.494 | -0.01293 | 0.00011462 | 0.0073867 | 0.0055179
98 | 5.2869e-06 | 0.12675 | 0.0007034 | 0.14752 | 7.5747 | [12 empty] | 3.4669e-05 | 0.0033139 | 0.0566 | 0 | 0 | 0 | -0.019452 | 0 | 0.0083212 | 0