## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Mass transfer | Pressure drop Corr | Cross-flow Velocity | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. in Brine | Trace Conc. in Permeate
0 | 5.5878e-06 | 0.015033 | 6.9515e-05 | 0.015995 | 3.1 | 19.0119 | 18.848 | 19.9207 | 20.6542 | 20.0081 | 0.21472 | 0.011112 | 0.018426 | 0.0037957 | 0.00010205 | 0.24815 | 1.001 | 8.9641e-05 | 0.0013985 | 0.17 | 7.999 | 5.0523 | 10.03 | 0.0015249 | 3.3025e-05 | 0.0015431 | 0.00085181
1 | 5.5799e-06 | 0.015184 | 7.0345e-05 | 0.016164 | 3.1 | [12 empty] | 8.8856e-05 | 0.001402 | 0.1683 | 8.0833 | 5.3367 | 9.6995 | 0.00154 | 9.71e-05 | 0.00155 | 0.0011199
2 | 5.5718e-06 | 0.015338 | 7.1196e-05 | 0.016335 | 3.1 | [12 empty] | 8.807e-05 | 0.0014055 | 0.1666 | 8.195 | 6.4698 | 8.8098 | 0.0015547 | 0.0008524 | 0.0015544 | 0.0014719
3 | 5.5635e-06 | 0.015496 | 7.2066e-05 | 0.016511 | 3.1 | [12 empty] | 8.7283e-05 | 0.0014092 | 0.1649 | 8.2638 | 5.3996 | 9.6357 | 0.0015619 | 0.00011262 | 0.0015553 | 0.001126
4 | 5.5551e-06 | 0.015656 | 7.2959e-05 | 0.01669 | 3.0999 | [12 empty] | 8.6495e-05 | 0.0014128 | 0.1632 | 8.3736 | 10.9592 | 6.2559 | 0.001577 | 0.0022974 | 0.0015597 | 0.00072867
5 | 5.5465e-06 | 0.01582 | 7.3873e-05 | 0.016873 | 3.0999 | [12 empty] | 8.5706e-05 | 0.0014165 | 0.1615 | 8.2008 | 11.1009 | 5.9282 | 0.0015694 | 0.0021894 | 0.0015685 | 0.00045802
6 | 5.5377e-06 | 0.015988 | 7.481e-05 | 0.01706 | 3.0999 | [12 empty] | 8.4916e-05 | 0.0014203 | 0.1598 | 8.0082 | 11.0086 | 7.0318 | 0.0015628 | 0.003547 | 0.0015803 | 0.0013266
7 | 5.5287e-06 | 0.016159 | 7.5772e-05 | 0.017252 | 3.0999 | [12 empty] | 8.4124e-05 | 0.0014241 | 0.1581 | 7.797 | 10.8429 | 6.5746 | 0.0015415 | 0.0025639 | 0.001583 | 0.0010192
8 | 5.5195e-06 | 0.016334 | 7.6757e-05 | 0.017447 | 3.0999 | [12 empty] | 8.3332e-05 | 0.001428 | 0.1564 | 7.6784 | 5.1963 | 9.8421 | 0.0015304 | 6.2627e-05 | 0.0015892 | 0.0010244
9 | 5.5101e-06 | 0.016513 | 7.7769e-05 | 0.017647 | 3.0999 | [12 empty] | 8.2539e-05 | 0.0014319 | 0.1547 | 7.7455 | 10.8885 | 6.43 | 0.0015465 | 0.0024596 | 0.0015954 | 0.0009072
10 | 5.5005e-06 | 0.016695 | 7.8807e-05 | 0.017852 | 3.0999 | [12 empty] | 8.1744e-05 | 0.0014359 | 0.153 | 7.6338 | 4.9123 | 10.288 | 0.0015364 | 1.0672e-05 | 0.001603 | 0.0006363
11 | 5.4907e-06 | 0.016882 | 7.9873e-05 | 0.018061 | 3.0998 | [12 empty] | 8.0949e-05 | 0.0014399 | 0.1513 | 7.6737 | 10.9644 | 6.2775 | 0.0015535 | 0.0024035 | 0.0016139 | 0.00077879
12 | 5.4807e-06 | 0.017073 | 8.0968e-05 | 0.018275 | 3.0998 | [12 empty] | 8.0152e-05 | 0.001444 | 0.1496 | 7.5687 | 11.0653 | 6.0629 | 0.0015439 | 0.0023215 | 0.0016234 | 0.00058604
13 | 5.4704e-06 | 0.017268 | 8.2093e-05 | 0.018495 | 3.0998 | [12 empty] | 7.9354e-05 | 0.0014481 | 0.1479 | 7.4747 | 11.1215 | 7.588 | 0.0015349 | 0.0043449 | 0.0016353 | 0.0015508
14 | 5.4599e-06 | 0.017468 | 8.325e-05 | 0.018719 | 3.0998 | [12 empty] | 7.8555e-05 | 0.0014523 | 0.1462 | 7.3477 | 5.1711 | 9.8631 | 0.0015022 | 5.9252e-05 | 0.0016363 | 0.0010348
15 | 5.4491e-06 | 0.017673 | 8.4438e-05 | 0.018949 | 3.0998 | [12 empty] | 7.7755e-05 | 0.0014566 | 0.1445 | 7.3839 | 11.0164 | 6.1869 | 0.0015192 | 0.0024108 | 0.0016434 | 0.00070881
16 | 5.4381e-06 | 0.017882 | 8.5661e-05 | 0.019185 | 3.0998 | [12 empty] | 7.6954e-05 | 0.0014609 | 0.1428 | 7.314 | 5.0094 | 10.0701 | 0.0015086 | 2.8591e-05 | 0.0016545 | 0.00085758
17 | 5.4268e-06 | 0.018096 | 8.692e-05 | 0.019427 | 3.0997 | [12 empty] | 7.6152e-05 | 0.0014653 | 0.1411 | 7.3429 | 11.1426 | 7.5262 | 0.0015264 | 0.0044657 | 0.0016641 | 0.0015724
18 | 5.4152e-06 | 0.018316 | 8.8215e-05 | 0.019674 | 3.0997 | [12 empty] | 7.5348e-05 | 0.0014698 | 0.1394 | 7.2332 | 10.8743 | 6.5278 | 0.0014906 | 0.0026676 | 0.0016652 | 0.0010384
19 | 5.4033e-06 | 0.018541 | 8.9549e-05 | 0.019928 | 3.0997 | [12 empty] | 7.4543e-05 | 0.0014743 | 0.1377 | 7.1781 | 11.0092 | 6.2145 | 0.0014761 | 0.0024607 | 0.0016729 | 0.000746
20 | 5.3911e-06 | 0.018772 | 9.0924e-05 | 0.020189 | 3.0997 | [12 empty] | 7.3737e-05 | 0.0014789 | 0.136 | 7.1256 | 10.9296 | 6.3892 | 0.0014638 | 0.0025881 | 0.0016845 | 0.00092493
21 | 5.3786e-06 | 0.019008 | 9.234e-05 | 0.020456 | 3.0997 | [12 empty] | 7.2929e-05 | 0.0014835 | 0.1343 | 7.0775 | 11.0526 | 7.0663 | 0.0014495 | 0.0039089 | 0.0016941 | 0.0014468
22 | 5.3658e-06 | 0.019251 | 9.3801e-05 | 0.02073 | 3.0997 | [12 empty] | 7.2121e-05 | 0.0014883 | 0.1326 | 7.0111 | 11.1611 | 5.852 | 0.001418 | 0.0023653 | 0.0016973 | 0.00044128
23 | 5.3527e-06 | 0.019499 | 9.5308e-05 | 0.021012 | 3.0996 | [12 empty] | 7.1311e-05 | 0.0014931 | 0.1309 | 6.9653 | 10.9346 | 6.8407 | 0.0014057 | 0.0033684 | 0.0017136 | 0.0013405
24 | 5.3392e-06 | 0.019755 | 9.6864e-05 | 0.021301 | 3.0996 | [12 empty] | 7.0499e-05 | 0.001498 | 0.1292 | 6.9162 | 11.0889 | 7.1297 | 0.0013799 | 0.0041305 | 0.0017185 | 0.0014995
25 | 5.3253e-06 | 0.020017 | 9.8471e-05 | 0.021599 | 3.0996 | [12 empty] | 6.9687e-05 | 0.001503 | 0.1275 | 6.8568 | 10.9913 | 6.2816 | 0.0013432 | 0.002592 | 0.0017215 | 0.00084215
26 | 5.3111e-06 | 0.020286 | 0.00010013 | 0.021904 | 3.0996 | [12 empty] | 6.8873e-05 | 0.0015081 | 0.1258 | 6.8196 | 11.1562 | 5.9089 | 0.0013263 | 0.0024617 | 0.0017333 | 0.00050073
27 | 5.2964e-06 | 0.020562 | 0.00010185 | 0.022218 | 3.0996 | [12 empty] | 6.8057e-05 | 0.0015132 | 0.1241 | 6.7812 | 5.0857 | 9.9426 | 0.0013108 | 4.6517e-05 | 0.0017502 | 0.001033
28 | 5.2814e-06 | 0.020847 | 0.00010362 | 0.022542 | 3.0996 | [12 empty] | 6.7241e-05 | 0.0015185 | 0.1224 | 6.7943 | 5.3897 | 9.6139 | 0.0013283 | 0.00013128 | 0.0017602 | 0.0013327
29 | 5.2659e-06 | 0.021139 | 0.00010546 | 0.022874 | 3.0995 | [12 empty] | 6.6422e-05 | 0.0015238 | 0.1207 | 6.8106 | 5.5701 | 9.4412 | 0.0013452 | 0.00020993 | 0.0017662 | 0.0014514
30 | 5.25e-06 | 0.021439 | 0.00010736 | 0.023217 | 3.0995 | [12 empty] | 6.5603e-05 | 0.0015292 | 0.119 | 6.8278 | 10.9839 | 7.7727 | 0.0013614 | 0.0042103 | 0.0017707 | 0.0017198
31 | 5.2336e-06 | 0.021748 | 0.00010933 | 0.023569 | 3.0995 | [12 empty] | 6.4782e-05 | 0.0015348 | 0.1173 | 6.7721 | 10.2141 | 8.1834 | 0.0013201 | 0.0027291 | 0.0017714 | 0.0017409
32 | 5.2167e-06 | 0.022067 | 0.00011137 | 0.023932 | 3.0995 | [12 empty] | 6.3959e-05 | 0.0015404 | 0.1156 | 6.7453 | 10.8818 | 6.623 | 0.0012994 | 0.0029238 | 0.0017719 | 0.0011693
33 | 5.1993e-06 | 0.022394 | 0.00011349 | 0.024307 | 3.0995 | [12 empty] | 6.3135e-05 | 0.0015461 | 0.1139 | 6.7076 | 5.8615 | 9.1795 | 0.0012751 | 0.00040077 | 0.0017809 | 0.0015953
34 | 5.1814e-06 | 0.022732 | 0.00011569 | 0.024693 | 3.0995 | [12 empty] | 6.2309e-05 | 0.001552 | 0.1122 | 6.7209 | 10.9232 | 6.7811 | 0.0012884 | 0.0033424 | 0.0017837 | 0.0013422
35 | 5.1629e-06 | 0.02308 | 0.00011798 | 0.025091 | 3.0994 | [12 empty] | 6.1482e-05 | 0.0015579 | 0.1105 | 6.6777 | 10.9853 | 6.9073 | 0.0012568 | 0.0037146 | 0.0017905 | 0.0014522
36 | 5.1438e-06 | 0.023439 | 0.00012035 | 0.025502 | 3.0994 | [12 empty] | 6.0653e-05 | 0.001564 | 0.1088 | 6.6301 | 5.4601 | 9.5314 | 0.0012184 | 0.0001622 | 0.0017958 | 0.0014104
37 | 5.1242e-06 | 0.023809 | 0.00012282 | 0.025927 | 3.0994 | [12 empty] | 5.9823e-05 | 0.0015702 | 0.1071 | 6.6439 | 5.3137 | 9.6726 | 0.0012351 | 0.0001082 | 0.0018019 | 0.0013046
38 | 5.1038e-06 | 0.024191 | 0.0001254 | 0.026366 | 3.0994 | [12 empty] | 5.8991e-05 | 0.0015765 | 0.1054 | 6.6578 | 11.0091 | 6.2993 | 0.0012533 | 0.0027844 | 0.0018099 | 0.00091869
39 | 5.0829e-06 | 0.024585 | 0.00012808 | 0.026819 | 3.0994 | [12 empty] | 5.8157e-05 | 0.0015829 | 0.1037 | 6.6191 | 11.0081 | 6.9353 | 0.0012282 | 0.0038924 | 0.0018245 | 0.0015114
40 | 5.0612e-06 | 0.024993 | 0.00013087 | 0.027288 | 3.0994 | [12 empty] | 5.7321e-05 | 0.0015895 | 0.102 | 6.5683 | 6.4762 | 8.7488 | 0.0011838 | 0.0010345 | 0.0018297 | 0.0017732
41 | 5.0387e-06 | 0.025414 | 0.00013379 | 0.027773 | 3.0993 | [12 empty] | 5.6484e-05 | 0.0015962 | 0.1003 | 6.5701 | 11.0229 | 6.249 | 0.0011864 | 0.0026755 | 0.0018307 | 0.00083977
42 | 5.0155e-06 | 0.02585 | 0.00013684 | 0.028276 | 3.0993 | [12 empty] | 5.5645e-05 | 0.0016031 | 0.0986 | 6.5326 | 11.0509 | 6.2375 | 0.0011607 | 0.0028287 | 0.0018478 | 0.00087732
43 | 4.9915e-06 | 0.026301 | 0.00014002 | 0.028796 | 3.0993 | [12 empty] | 5.4804e-05 | 0.0016101 | 0.0969 | 6.4931 | 10.9582 | 6.4474 | 0.0011314 | 0.0030195 | 0.0018648 | 0.0011188
44 | 4.9666e-06 | 0.026768 | 0.00014336 | 0.029335 | 3.0993 | [12 empty] | 5.3962e-05 | 0.0016173 | 0.0952 | 6.4529 | 5.1633 | 9.8119 | 0.0010977 | 7.0001e-05 | 0.0018781 | 0.0012237
45 | 4.9408e-06 | 0.027253 | 0.00014685 | 0.029895 | 3.0993 | [12 empty] | 5.3117e-05 | 0.0016246 | 0.0935 | 6.4637 | 11.0972 | 7.5797 | 0.0011164 | 0.0048334 | 0.00189 | 0.0018535
46 | 4.914e-06 | 0.027755 | 0.00015051 | 0.030476 | 3.0992 | [12 empty] | 5.2271e-05 | 0.0016321 | 0.0918 | 6.3987 | 11.019 | 6.3236 | 0.0010476 | 0.0029623 | 0.0018907 | 0.00099836
47 | 4.8862e-06 | 0.028275 | 0.00015436 | 0.031079 | 3.0992 | [12 empty] | 5.1422e-05 | 0.0016398 | 0.0901 | 6.3568 | 6.1507 | 8.9234 | 0.0010114 | 0.00072861 | 0.0019075 | 0.0018349
48 | 4.8574e-06 | 0.028816 | 0.0001584 | 0.031705 | 3.0992 | [12 empty] | 5.0572e-05 | 0.0016476 | 0.0884 | 6.3609 | 5.5334 | 9.4305 | 0.0010169 | 0.00020698 | 0.0019089 | 0.00154
49 | 4.8274e-06 | 0.029378 | 0.00016266 | 0.032357 | 3.0992 | [12 empty] | 4.9719e-05 | 0.0016557 | 0.0867 | 6.3715 | 11.0248 | 6.3262 | 0.0010327 | 0.0030193 | 0.0019162 | 0.0010196
50 | 4.7941e-06 | 0.029962 | 0.00016721 | 0.033034 | 3.0981 | [12 empty] | 4.8865e-05 | 0.0037438 | 0.085 | 6.3269 | 9.8322 | 8.2478 | 0.00099301 | 0.0025522 | 0.0019341 | 0.0019604
51 | 5.7211e-06 | 0.03057 | 0.00014505 | 0.03256 | 3.8974 | [12 empty] | 9.0309e-05 | 0.0014209 | 0.1715 | 6.298 | 5.0379 | 10.0046 | 0.00096119 | 3.7872e-05 | 0.0019336 | 0.00098556
52 | 5.6925e-06 | 0.031204 | 0.00014892 | 0.033263 | 3.8973 | [12 empty] | 8.8694e-05 | 0.0014283 | 0.168 | 6.306 | 5.1688 | 9.8404 | 0.00098043 | 7.1088e-05 | 0.0019533 | 0.0012249
53 | 5.6627e-06 | 0.031865 | 0.000153 | 0.033996 | 3.8973 | [12 empty] | 8.7074e-05 | 0.0014358 | 0.1645 | 6.3159 | 10.9781 | 6.8363 | 0.00099978 | 0.0039145 | 0.0019688 | 0.0015702
54 | 5.6315e-06 | 0.032554 | 0.00015731 | 0.034762 | 3.8973 | [12 empty] | 8.5449e-05 | 0.0014436 | 0.161 | 6.2562 | 7 | 12.3906 | 0.00093641 | -9.0002e-06 | 0.0019775 | 8.6509e-06
55 | 5.599e-06 | 0.033274 | 0.00016186 | 0.035562 | 3.8973 | [12 empty] | 8.3821e-05 | 0.0014516 | 0.1575 | 6.2561 | 7 | 12.3964 | 0.00095742 | -9.3407e-06 | 0.0020212 | 8.7487e-06
56 | 5.565e-06 | 0.034027 | 0.00016667 | 0.036399 | 3.8973 | [12 empty] | 8.2188e-05 | 0.0014598 | 0.154 | 6.256 | 7 | 12.4048 | 0.0009794 | -9.6255e-06 | 0.002067 | 8.7241e-06
57 | 5.5294e-06 | 0.034814 | 0.00017178 | 0.037276 | 3.8972 | [12 empty] | 8.055e-05 | 0.0014683 | 0.1505 | 6.2559 | 7 | 12.4133 | 0.0010024 | -9.9283e-06 | 0.0021148 | 8.6994e-06
58 | 5.4922e-06 | 0.035639 | 0.00017721 | 0.038195 | 3.8972 | [12 empty] | 7.8907e-05 | 0.001477 | 0.147 | 6.2557 | 7 | 12.422 | 0.0010265 | -1.0251e-05 | 0.002165 | 8.6748e-06
59 | 5.4531e-06 | 0.036504 | 0.00018298 | 0.03916 | 3.8972 | [12 empty] | 7.726e-05 | 0.001486 | 0.1435 | 6.2556 | 7 | 12.4308 | 0.0010518 | -1.0595e-05 | 0.0022176 | 8.65e-06
60 | 5.4121e-06 | 0.037412 | 0.00018914 | 0.040174 | 3.8972 | [12 empty] | 7.5607e-05 | 0.0014952 | 0.14 | 6.2554 | 7 | 12.4399 | 0.0010783 | -1.0964e-05 | 0.0022728 | 8.6251e-06
61 | 5.369e-06 | 0.038367 | 0.00019571 | 0.041241 | 3.8972 | [12 empty] | 7.3949e-05 | 0.0015048 | 0.1365 | 6.2553 | 7 | 12.4491 | 0.0011063 | -1.136e-05 | 0.0023309 | 8.6e-06
62 | 5.3236e-06 | 0.039371 | 0.00020275 | 0.042365 | 3.8971 | [12 empty] | 7.2286e-05 | 0.0015146 | 0.133 | 6.2551 | 7 | 12.4585 | 0.0011357 | -1.1785e-05 | 0.002392 | 8.5747e-06
63 | 5.2758e-06 | 0.04043 | 0.0002103 | 0.04355 | 3.8971 | [12 empty] | 7.0618e-05 | 0.0015248 | 0.1295 | 6.2549 | 7 | 12.4681 | 0.0011667 | -1.2244e-05 | 0.0024564 | 8.5492e-06
64 | 5.2253e-06 | 0.041547 | 0.00021842 | 0.044801 | 3.8971 | [12 empty] | 6.8944e-05 | 0.0015354 | 0.126 | 6.2547 | 7 | 12.478 | 0.0011994 | -1.2741e-05 | 0.0025244 | 8.5232e-06
65 | 5.172e-06 | 0.042728 | 0.00022718 | 0.046125 | 3.8971 | [12 empty] | 6.7264e-05 | 0.0015463 | 0.1225 | 6.2545 | 7 | 12.4881 | 0.0012341 | -1.3281e-05 | 0.0025963 | 8.497e-06
66 | 5.1156e-06 | 0.043978 | 0.00023665 | 0.047527 | 3.897 | [12 empty] | 6.5578e-05 | 0.0015576 | 0.119 | 6.2543 | 7 | 12.4984 | 0.0012708 | -1.3869e-05 | 0.0026724 | 8.4702e-06
67 | 5.0558e-06 | 0.045303 | 0.00024693 | 0.049014 | 3.897 | [12 empty] | 6.3885e-05 | 0.0015693 | 0.1155 | 6.254 | 7 | 12.509 | 0.0013097 | -1.4513e-05 | 0.0027531 | 8.443e-06
68 | 4.9924e-06 | 0.046711 | 0.00025811 | 0.050594 | 3.897 | [12 empty] | 6.2187e-05 | 0.0015815 | 0.112 | 6.2538 | 7 | 12.5199 | 0.0013511 | -1.5221e-05 | 0.0028389 | 8.4152e-06
69 | 4.925e-06 | 0.04821 | 0.00027033 | 0.052277 | 3.897 | [12 empty] | 6.0481e-05 | 0.0015942 | 0.1085 | 6.2535 | 7 | 12.5311 | 0.0013952 | -1.6003e-05 | 0.0029302 | 8.3868e-06
70 | 4.8531e-06 | 0.049808 | 0.00028373 | 0.054071 | 3.8969 | [12 empty] | 5.8769e-05 | 0.0016074 | 0.105 | 6.2532 | 7 | 12.5426 | 0.0014422 | -1.6873e-05 | 0.0030276 | 8.3576e-06
71 | 4.7764e-06 | 0.051515 | 0.00029848 | 0.055988 | 3.8969 | [12 empty] | 5.705e-05 | 0.0016212 | 0.1015 | 6.2528 | 7 | 12.5545 | 0.0014925 | -1.7847e-05 | 0.0031317 | 8.3276e-06
72 | 4.6945e-06 | 0.053345 | 0.00031479 | 0.058041 | 3.8969 | [12 empty] | 5.5323e-05 | 0.0016356 | 0.098 | 6.2525 | 7 | 12.5667 | 0.0015464 | -1.8943e-05 | 0.0032432 | 8.2966e-06
73 | 4.6066e-06 | 0.055309 | 0.00033294 | 0.060244 | 3.8969 | [12 empty] | 5.3588e-05 | 0.0016507 | 0.0945 | 6.2521 | 7 | 12.5793 | 0.0016044 | -2.0189e-05 | 0.003363 | 8.2646e-06
74 | 4.5094e-06 | 0.057423 | 0.00035343 | 0.062609 | 3.8951 | [12 empty] | 5.1846e-05 | 0.0039041 | 0.091 | 6.2517 | 7 | 12.5923 | 0.0016669 | -2.163e-05 | 0.0034921 | 8.2312e-06
75 | 6.1011e-06 | 0.059706 | 0.00025182 | 0.063897 | 6.4941 | [12 empty] | 8.9573e-05 | 0.0014007 | 0.17 | 6.25 | 7 | 12.6057 | 0.0017345 | -1.5745e-05 | 0.0036314 | 8.1257e-06
76 | 6.0279e-06 | 0.062183 | 0.00026587 | 0.066656 | 6.494 | [12 empty] | 8.6426e-05 | 0.0014152 | 0.1632 | 6.2493 | 7 | 12.6199 | 0.0018074 | -1.6854e-05 | 0.0037824 | 8.0887e-06
77 | 5.9484e-06 | 0.064875 | 0.00028155 | 0.069659 | 6.494 | [12 empty] | 8.3263e-05 | 0.0014305 | 0.1564 | 6.2487 | 7 | 12.6345 | 0.0018867 | -1.8158e-05 | 0.0039465 | 8.0503e-06
78 | 5.8617e-06 | 0.067811 | 0.00029915 | 0.072938 | 6.494 | [12 empty] | 8.0083e-05 | 0.0014466 | 0.1496 | 6.2479 | 7 | 12.6498 | 0.0019733 | -1.9717e-05 | 0.0041255 | 8.0103e-06
79 | 5.7668e-06 | 0.071026 | 0.00031904 | 0.076534 | 6.494 | [12 empty] | 7.6884e-05 | 0.0014637 | 0.1428 | 6.2471 | 7 | 12.6657 | 0.0020682 | -2.162e-05 | 0.0043216 | 7.9686e-06
80 | 5.6624e-06 | 0.074562 | 0.00034169 | 0.080492 | 6.4939 | [12 empty] | 7.3666e-05 | 0.0014818 | 0.136 | 6.2462 | 7 | 12.6823 | 0.0021727 | -2.4004e-05 | 0.0045373 | 7.9248e-06
81 | 5.5472e-06 | 0.078468 | 0.00036772 | 0.084868 | 6.4939 | [12 empty] | 7.0429e-05 | 0.0015012 | 0.1292 | 6.2453 | 7 | 12.6996 | 0.0022883 | -2.7078e-05 | 0.0047756 | 7.8789e-06
82 | 5.4195e-06 | 0.082807 | 0.00039792 | 0.089731 | 6.4939 | [12 empty] | 6.7169e-05 | 0.0015218 | 0.1224 | 6.2442 | 7 | 12.7178 | 0.0024169 | -3.1184e-05 | 0.0050405 | 7.8305e-06
83 | 5.277e-06 | 0.087654 | 0.00043335 | 0.095165 | 6.4938 | [12 empty] | 6.3887e-05 | 0.001544 | 0.1156 | 6.2431 | 7 | 12.7369 | 0.0025609 | -3.6892e-05 | 0.0053366 | 7.7795e-06
84 | 5.1173e-06 | 0.093106 | 0.00047548 | 0.10127 | 6.4938 | [12 empty] | 6.0581e-05 | 0.0015679 | 0.1088 | 6.2419 | 7 | 12.757 | 0.0027233 | -4.5181e-05 | 0.0056696 | 7.7255e-06
85 | 4.937e-06 | 0.099281 | 0.00052636 | 0.10818 | 6.4938 | [12 empty] | 5.7248e-05 | 0.0015937 | 0.102 | 6.2407 | 7 | 12.7782 | 0.0029078 | -5.7746e-05 | 0.0060471 | 7.6686e-06
86 | 4.7361e-06 | 0.10633 | 0.0005885 | 0.11605 | 6.4917 | [12 empty] | 5.3888e-05 | 0.003947 | 0.0952 | 6.2394 | 7 | 12.8007 | 0.0031197 | -7.741e-05 | 0.0064784 | 7.6093e-06
87 | 5.8841e-06 | 0.11447 | 0.00052368 | 0.12217 | 7.5204 | [12 empty] | 8.9938e-05 | 0.0014056 | 0.1703 | 6.2377 | 7 | 12.8259 | 0.0033656 | -8.3706e-05 | 0.0069762 | 7.4688e-06
88 | 5.8419e-06 | 0.11549 | 0.00053438 | 0.12378 | 7.5204 | [12 empty] | 8.3868e-05 | 0.0014343 | 0.1572 | 6.237 | 7 | 12.8721 | 0.003653 | -9.5543e-05 | 0.0075569 | 7.1729e-06
89 | 5.7967e-06 | 0.11652 | 0.00054602 | 0.1255 | 7.5203 | [12 empty] | 7.7734e-05 | 0.0014662 | 0.1441 | 6.2361 | 7 | 12.9218 | 0.0039938 | -0.00011017 | 0.0082433 | 6.8666e-06
90 | 5.7477e-06 | 0.11758 | 0.00055884 | 0.12737 | 7.5203 | [12 empty] | 7.1531e-05 | 0.001502 | 0.131 | 6.2352 | 7 | 12.9754 | 0.0044042 | -0.00012859 | 0.0090669 | 6.5495e-06
91 | 5.6939e-06 | 0.11865 | 0.00057318 | 0.12942 | 7.5202 | [12 empty] | 6.5249e-05 | 0.0015426 | 0.1179 | 6.2342 | 7 | 13.0337 | 0.0049079 | -0.00015231 | 0.010074 | 6.2208e-06
92 | 5.6338e-06 | 0.11974 | 0.00058952 | 0.13171 | 7.5202 | [12 empty] | 5.888e-05 | 0.0015893 | 0.1048 | 6.2331 | 7 | 13.0976 | 0.0055404 | -0.0001837 | 0.011332 | 5.88e-06
93 | 5.5627e-06 | 0.12086 | 0.00060887 | 0.13432 | 7.518 | [12 empty] | 5.2411e-05 | 0.0038916 | 0.0917 | 6.2318 | 7 | 13.1684 | 0.0063581 | -0.00022679 | 0.01295 | 5.5258e-06
94 | 5.7472e-06 | 0.12199 | 0.00057047 | 0.13001 | 7.5766 | [12 empty] | 8.9908e-05 | 0.0014022 | 0.1698 | 6.2303 | 7 | 13.2449 | 0.0074556 | -0.00022924 | 0.015107 | 5.1149e-06
95 | 5.68e-06 | 0.12315 | 0.00058856 | 0.13257 | 7.5766 | [12 empty] | 7.6715e-05 | 0.0014691 | 0.1415 | 6.2276 | 7 | 13.3351 | 0.0089926 | -0.00029695 | 0.018128 | 4.7343e-06
96 | 5.5957e-06 | 0.12433 | 0.00061187 | 0.13578 | 7.5765 | [12 empty] | 6.3187e-05 | 0.0015557 | 0.1132 | 6.2242 | 7 | 13.4395 | 0.011315 | -0.00040703 | 0.022659 | 4.3622e-06
97 | 5.4792e-06 | 0.12553 | 0.00064529 | 0.14023 | 7.5763 | [12 empty] | 4.9228e-05 | 0.001676 | 0.0849 | 6.2199 | 11.0645 | 6.386 | 0.015222 | 0.036301 | 0.03021 | 0.018376
98 | 5.2869e-06 | 0.12675 | 0.0007034 | 0.14752 | 7.5747 | [12 empty] | 3.4669e-05 | 0.0033139 | 0.0566 | 0 | 0 | 0 | 0.0046832 | 0 | 0.036127 | 0