## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate | d_CaPhosphate | cp_nh4 | NH4_Cpsd | NH4_p | NH3_p | NH4_Psd | Pnh4
0 | 5.9773e-06 | 0.024778 | 0.0014595 | 0.026385 | 6.9 | 20.8672 | 21.9051 | 23.0516 | 28.5788 | 6 | 4.8457 | 6.0258 | 0.002722 | 0.00016035 | 0.0081748 | 0.0056125 | 3.2316e-06 | 1.7081e-07 | 0 | 0 | 0 | -7.7894 | 0 | 0 | 0 | 0 | 0 | 0 | 1.256e-06
1 | 5.9713e-06 | 0.025013 | 0.0014755 | 0.026649 | 6.9 |  |  |  |  | 6.0039 | 4.8496 | 6.0298 | 0.0027479 | 0.00016205 | 0.0082007 | 0.0056142 | 3.2625e-06 | 1.7309e-07 | 0 | 0 | 0 | -7.7566 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2558e-06
2 | 5.9656e-06 | 0.025253 | 0.0014918 | 0.026919 | 6.9 |  |  |  |  | 6.0078 | 4.8535 | 6.0339 | 0.0027743 | 0.00016384 | 0.008227 | 0.005616 | 3.294e-06 | 1.7479e-07 | 0 | 0 | 0 | -7.7235 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2556e-06
3 | 5.9599e-06 | 0.025498 | 0.0015084 | 0.027194 | 6.9 |  |  |  |  | 6.0118 | 4.8575 | 6.038 | 0.0028012 | 0.00016566 | 0.008254 | 0.0056179 | 3.3262e-06 | 1.7652e-07 | 0 | 0 | 0 | -7.6901 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2553e-06
4 | 5.954e-06 | 0.025748 | 0.0015254 | 0.027474 | 6.8999 |  |  |  |  | 6.0158 | 4.8616 | 6.0422 | 0.0028286 | 0.00016753 | 0.0082814 | 0.0056198 | 3.359e-06 | 1.7829e-07 | 0 | 0 | 0 | -7.6564 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2551e-06
5 | 5.948e-06 | 0.026003 | 0.0015428 | 0.027761 | 6.8999 |  |  |  |  | 6.0198 | 4.8657 | 6.0465 | 0.0028567 | 0.00016943 | 0.0083094 | 0.0056217 | 3.3925e-06 | 1.801e-07 | 0 | 0 | 0 | -7.6224 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2549e-06
6 | 5.9418e-06 | 0.026263 | 0.0015606 | 0.028054 | 6.8999 |  |  |  |  | 6.0239 | 4.8699 | 6.0508 | 0.0028852 | 0.00017139 | 0.008338 | 0.0056237 | 3.4267e-06 | 1.8194e-07 | 0 | 0 | 0 | -7.588 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2547e-06
7 | 5.9356e-06 | 0.026529 | 0.0015788 | 0.028353 | 6.8999 |  |  |  |  | 6.028 | 4.8742 | 6.0551 | 0.0029144 | 0.00017339 | 0.0083672 | 0.0056257 | 3.4615e-06 | 1.8382e-07 | 0 | 0 | 0 | -7.5533 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2544e-06
8 | 5.9292e-06 | 0.0268 | 0.0015974 | 0.028659 | 6.8999 |  |  |  |  | 6.0321 | 4.8785 | 6.0595 | 0.0029442 | 0.00017543 | 0.008397 | 0.0056278 | 3.4972e-06 | 1.8574e-07 | 0 | 0 | 0 | -7.5183 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2542e-06
9 | 5.9226e-06 | 0.027077 | 0.0016165 | 0.028971 | 6.8999 |  |  |  |  | 6.0364 | 4.8829 | 6.064 | 0.0029746 | 0.00017753 | 0.0084275 | 0.0056299 | 3.5336e-06 | 1.877e-07 | 0 | 0 | 0 | -7.4829 | 0 | 0 | 0 | 0 | 0 | 0 | 1.254e-06
10 | 5.9159e-06 | 0.02736 | 0.0016361 | 0.029291 | 6.8998 |  |  |  |  | 6.0406 | 4.8874 | 6.0684 | 0.0030057 | 0.00017968 | 0.0084585 | 0.0056321 | 3.5707e-06 | 1.8971e-07 | 0 | 0 | 0 | -7.4471 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2537e-06
11 | 5.9091e-06 | 0.027649 | 0.0016562 | 0.029617 | 6.8998 |  |  |  |  | 6.0449 | 4.8919 | 6.073 | 0.0030375 | 0.00018188 | 0.0084903 | 0.0056344 | 3.6087e-06 | 1.9176e-07 | 0 | 0 | 0 | -7.411 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2535e-06
12 | 5.9021e-06 | 0.027944 | 0.0016767 | 0.029952 | 6.8998 |  |  |  |  | 6.0492 | 4.8965 | 6.0776 | 0.0030699 | 0.00018414 | 0.0085227 | 0.0056366 | 3.6476e-06 | 1.9385e-07 | 0 | 0 | 0 | -7.3745 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2532e-06
13 | 5.895e-06 | 0.028246 | 0.0016978 | 0.030294 | 6.8998 |  |  |  |  | 6.0536 | 4.9011 | 6.0822 | 0.0031031 | 0.00018645 | 0.0085559 | 0.005639 | 3.6872e-06 | 1.9599e-07 | 0 | 0 | 0 | -7.3377 | 0 | 0 | 0 | 0 | 0 | 0 | 1.253e-06
14 | 5.8877e-06 | 0.028555 | 0.0017194 | 0.030644 | 6.8998 |  |  |  |  | 6.0581 | 4.9059 | 6.0869 | 0.003137 | 0.00018883 | 0.0085898 | 0.0056414 | 3.7278e-06 | 1.9818e-07 | 0 | 0 | 0 | -7.3004 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2527e-06
15 | 5.8802e-06 | 0.028871 | 0.0017416 | 0.031002 | 6.8998 |  |  |  |  | 6.0626 | 4.9107 | 6.0916 | 0.0031717 | 0.00019126 | 0.0086245 | 0.0056439 | 3.7694e-06 | 2.0042e-07 | 0 | 0 | 0 | -7.2628 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2525e-06
16 | 5.8725e-06 | 0.029194 | 0.0017644 | 0.031369 | 6.8998 |  |  |  |  | 6.0671 | 4.9156 | 6.0964 | 0.0032072 | 0.00019376 | 0.00866 | 0.0056464 | 3.8119e-06 | 2.0271e-07 | 0 | 0 | 0 | -7.2247 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2522e-06
17 | 5.8647e-06 | 0.029524 | 0.0017878 | 0.031745 | 6.8997 |  |  |  |  | 6.0717 | 4.9205 | 6.1013 | 0.0032435 | 0.00019633 | 0.0086963 | 0.005649 | 3.8553e-06 | 2.0505e-07 | 0 | 0 | 0 | -7.1862 | 0 | 0 | 0 | 0 | 0 | 0 | 1.252e-06
18 | 5.8566e-06 | 0.029863 | 0.0018118 | 0.03213 | 6.8997 |  |  |  |  | 6.0763 | 4.9256 | 6.1062 | 0.0032806 | 0.00019897 | 0.0087335 | 0.0056517 | 3.8999e-06 | 2.0745e-07 | 0 | 0 | 0 | -7.1473 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2517e-06
19 | 5.8484e-06 | 0.030209 | 0.0018365 | 0.032524 | 6.8997 |  |  |  |  | 6.081 | 4.9307 | 6.1112 | 0.0033187 | 0.00020168 | 0.0087715 | 0.0056544 | 3.9454e-06 | 2.099e-07 | 0 | 0 | 0 | -7.108 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2515e-06
20 | 5.84e-06 | 0.030563 | 0.0018619 | 0.032929 | 6.8997 |  |  |  |  | 6.0858 | 4.9359 | 6.1162 | 0.0033577 | 0.00020446 | 0.0088105 | 0.0056573 | 3.9921e-06 | 2.1242e-07 | 0 | 0 | 0 | -7.0682 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2512e-06
21 | 5.8314e-06 | 0.030927 | 0.001888 | 0.033344 | 6.8997 |  |  |  |  | 6.0906 | 4.9413 | 6.1213 | 0.0033976 | 0.00020733 | 0.0088504 | 0.0056602 | 4.04e-06 | 2.1499e-07 | 0 | 0 | 0 | -7.028 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2509e-06
22 | 5.8225e-06 | 0.031299 | 0.0019148 | 0.03377 | 6.8997 |  |  |  |  | 6.0955 | 4.9466 | 6.1265 | 0.0034385 | 0.00021027 | 0.0088913 | 0.0056631 | 4.089e-06 | 2.1763e-07 | 0 | 0 | 0 | -6.9873 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2507e-06
23 | 5.8134e-06 | 0.031681 | 0.0019425 | 0.034207 | 6.8996 |  |  |  |  | 6.1004 | 4.9521 | 6.1317 | 0.0034804 | 0.00021331 | 0.0089332 | 0.0056662 | 4.1393e-06 | 2.2034e-07 | 0 | 0 | 0 | -6.9462 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2504e-06
24 | 5.8041e-06 | 0.032072 | 0.0019709 | 0.034655 | 6.8996 |  |  |  |  | 6.1054 | 4.9577 | 6.137 | 0.0035234 | 0.00021643 | 0.0089762 | 0.0056694 | 4.1909e-06 | 2.2311e-07 | 0 | 0 | 0 | -6.9045 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2501e-06
25 | 5.7945e-06 | 0.032473 | 0.0020002 | 0.035115 | 6.8996 |  |  |  |  | 6.1105 | 4.9634 | 6.1424 | 0.0035675 | 0.00021964 | 0.0090203 | 0.0056726 | 4.2438e-06 | 2.2596e-07 | 0 | 0 | 0 | -6.8624 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2498e-06
26 | 5.7847e-06 | 0.032885 | 0.0020304 | 0.035589 | 6.8996 |  |  |  |  | 6.1156 | 4.9692 | 6.1478 | 0.0036127 | 0.00022296 | 0.0090655 | 0.005676 | 4.2981e-06 | 2.2888e-07 | 0 | 0 | 0 | -6.8197 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2495e-06
27 | 5.7746e-06 | 0.033308 | 0.0020615 | 0.036075 | 6.8996 |  |  |  |  | 6.1208 | 4.9751 | 6.1534 | 0.0036592 | 0.00022637 | 0.009112 | 0.0056794 | 4.3538e-06 | 2.3188e-07 | 0 | 0 | 0 | -6.7765 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2492e-06
28 | 5.7642e-06 | 0.033742 | 0.0020936 | 0.036574 | 6.8996 |  |  |  |  | 6.1261 | 4.9811 | 6.159 | 0.0037068 | 0.0002299 | 0.0091597 | 0.005683 | 4.4111e-06 | 2.3496e-07 | 0 | 0 | 0 | -6.7328 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2489e-06
29 | 5.7536e-06 | 0.034188 | 0.0021268 | 0.037088 | 6.8995 |  |  |  |  | 6.1314 | 4.9872 | 6.1646 | 0.0037558 | 0.00023353 | 0.0092086 | 0.0056867 | 4.4699e-06 | 2.3812e-07 | 0 | 0 | 0 | -6.6886 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2486e-06
30 | 5.7426e-06 | 0.034646 | 0.002161 | 0.037617 | 6.8995 |  |  |  |  | 6.1368 | 4.9934 | 6.1704 | 0.0038061 | 0.00023729 | 0.0092589 | 0.0056905 | 4.5303e-06 | 2.4136e-07 | 0 | 0 | 0 | -6.6437 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2483e-06
31 | 5.7314e-06 | 0.035116 | 0.0021963 | 0.038161 | 6.8995 |  |  |  |  | 6.1423 | 4.9997 | 6.1762 | 0.0038578 | 0.00024116 | 0.0093106 | 0.0056944 | 4.5925e-06 | 2.447e-07 | 0 | 0 | 0 | -6.5983 | 0 | 0 | 0 | 0 | 0 | 0 | 1.248e-06
32 | 5.7198e-06 | 0.0356 | 0.0022328 | 0.038722 | 6.8995 |  |  |  |  | 6.1479 | 5.0062 | 6.1821 | 0.003911 | 0.00024517 | 0.0093638 | 0.0056985 | 4.6564e-06 | 2.4814e-07 | 0 | 0 | 0 | -6.5523 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2477e-06
33 | 5.7078e-06 | 0.036098 | 0.0022706 | 0.039299 | 6.8995 |  |  |  |  | 6.1535 | 5.0128 | 6.1881 | 0.0039657 | 0.00024932 | 0.0094185 | 0.0057027 | 4.7222e-06 | 2.5167e-07 | 0 | 0 | 0 | -6.5057 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2474e-06
34 | 5.6955e-06 | 0.036611 | 0.0023096 | 0.039894 | 6.8994 |  |  |  |  | 6.1592 | 5.0195 | 6.1942 | 0.0040221 | 0.0002536 | 0.0094748 | 0.005707 | 4.79e-06 | 2.553e-07 | 0 | 0 | 0 | -6.4585 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2471e-06
35 | 5.6828e-06 | 0.037139 | 0.0023501 | 0.040507 | 6.8994 |  |  |  |  | 6.165 | 5.0263 | 6.2004 | 0.00408 | 0.00025804 | 0.0095328 | 0.0057115 | 4.8597e-06 | 2.5904e-07 | 0 | 0 | 0 | -6.4106 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2468e-06
36 | 5.6698e-06 | 0.037682 | 0.002392 | 0.04114 | 6.8994 |  |  |  |  | 6.1709 | 5.0333 | 6.2067 | 0.0041397 | 0.00026264 | 0.0095925 | 0.0057161 | 4.9316e-06 | 2.6289e-07 | 0 | 0 | 0 | -6.362 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2464e-06
37 | 5.6563e-06 | 0.038242 | 0.0024354 | 0.041793 | 6.8994 |  |  |  |  | 6.1769 | 5.0405 | 6.2131 | 0.0042013 | 0.0002674 | 0.009654 | 0.005721 | 5.0057e-06 | 2.6686e-07 | 0 | 0 | 0 | -6.3128 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2461e-06
38 | 5.6424e-06 | 0.03882 | 0.0024804 | 0.042467 | 6.8994 |  |  |  |  | 6.183 | 5.0477 | 6.2195 | 0.0042647 | 0.00027234 | 0.0097175 | 0.005726 | 5.0821e-06 | 2.7095e-07 | 0 | 0 | 0 | -6.2629 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2458e-06
39 | 5.6281e-06 | 0.039416 | 0.0025271 | 0.043164 | 6.8994 |  |  |  |  | 6.1891 | 5.0551 | 6.2261 | 0.0043302 | 0.00027747 | 0.0097829 | 0.0057312 | 5.161e-06 | 2.7518e-07 | 0 | 0 | 0 | -6.2122 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2454e-06
40 | 5.6133e-06 | 0.040031 | 0.0025757 | 0.043884 | 6.8993 |  |  |  |  | 6.1954 | 5.0627 | 6.2328 | 0.0043977 | 0.0002828 | 0.0098504 | 0.0057365 | 5.2424e-06 | 2.7953e-07 | 0 | 0 | 0 | -6.1609 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2451e-06
41 | 5.5979e-06 | 0.040665 | 0.0026261 | 0.044628 | 6.8993 |  |  |  |  | 6.2018 | 5.0705 | 6.2396 | 0.0044675 | 0.00028833 | 0.0099202 | 0.0057421 | 5.3266e-06 | 2.8403e-07 | 0 | 0 | 0 | -6.1087 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2447e-06
42 | 5.5821e-06 | 0.041321 | 0.0026786 | 0.045399 | 6.8993 |  |  |  |  | 6.2082 | 5.0784 | 6.2465 | 0.0045395 | 0.00029409 | 0.0099922 | 0.005748 | 5.4135e-06 | 2.8867e-07 | 0 | 0 | 0 | -6.0558 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2443e-06
43 | 5.5657e-06 | 0.041999 | 0.0027332 | 0.046196 | 6.8993 |  |  |  |  | 6.2148 | 5.0865 | 6.2536 | 0.004614 | 0.00030008 | 0.010067 | 0.005754 | 5.5034e-06 | 2.9347e-07 | 0 | 0 | 0 | -6.002 | 0 | 0 | 0 | 0 | 0 | 0 | 1.244e-06
44 | 5.5488e-06 | 0.0427 | 0.00279 | 0.047022 | 6.8993 |  |  |  |  | 6.2215 | 5.0948 | 6.2607 | 0.004691 | 0.00030632 | 0.010144 | 0.0057603 | 5.5964e-06 | 2.9843e-07 | 0 | 0 | 0 | -5.9474 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2436e-06
45 | 5.5312e-06 | 0.043426 | 0.0028493 | 0.047879 | 6.8992 |  |  |  |  | 6.2283 | 5.1032 | 6.268 | 0.0047708 | 0.00031283 | 0.010223 | 0.0057669 | 5.6928e-06 | 3.0357e-07 | 0 | 0 | 0 | -5.8919 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2432e-06
46 | 6.3954e-06 | 0.044177 | 0.0024378 | 0.046982 | 7.7992 |  |  |  |  | 6.2352 | 5.0405 | 6.2601 | 0.0048533 | 0.00026747 | 0.010306 | 0.0057214 | 5.7926e-06 | 2.6019e-07 | 0 | 0 | 0 | -5.8356 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2428e-06
47 | 6.3773e-06 | 0.044965 | 0.00249 | 0.047859 | 7.7992 |  |  |  |  | 6.2423 | 5.0492 | 6.2678 | 0.0049399 | 0.00027338 | 0.010392 | 0.0057274 | 5.897e-06 | 2.6463e-07 | 0 | 0 | 0 | -5.7779 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2424e-06
48 | 6.3584e-06 | 0.045782 | 0.0025445 | 0.04877 | 7.7992 |  |  |  |  | 6.2496 | 5.0578 | 6.2754 | 0.0050296 | 0.00027936 | 0.010482 | 0.0057335 | 6.0053e-06 | 2.6926e-07 | 0 | 0 | 0 | -5.7193 | 0 | 0 | 0 | 0 | 0 | 0 | 1.242e-06
49 | 6.3389e-06 | 0.04663 | 0.0026015 | 0.049717 | 7.7992 |  |  |  |  | 6.257 | 5.0666 | 6.2832 | 0.0051227 | 0.0002856 | 0.010575 | 0.0057398 | 6.1177e-06 | 2.7406e-07 | 0 | 0 | 0 | -5.6597 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2416e-06
50 | 6.3186e-06 | 0.04751 | 0.002661 | 0.050701 | 7.7992 |  |  |  |  | 6.2645 | 5.0757 | 6.2911 | 0.0052195 | 0.00029214 | 0.010672 | 0.0057464 | 6.2346e-06 | 2.7903e-07 | 0 | 0 | 0 | -5.599 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2412e-06
51 | 6.2968e-06 | 0.048425 | 0.0027237 | 0.051725 | 7.7985 |  |  |  |  | 6.2722 | 5.085 | 6.2991 | 0.00532 | 0.00029902 | 0.010772 | 0.0057534 | 6.3562e-06 | 2.8422e-07 | 0 | 0 | 0 | -5.5373 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2408e-06
52 | 6.2748e-06 | 0.049378 | 0.0027891 | 0.052793 | 7.7984 |  |  |  |  | 6.28 | 5.0946 | 6.3073 | 0.0054246 | 0.0003062 | 0.010877 | 0.0057607 | 6.4827e-06 | 2.8958e-07 | 0 | 0 | 0 | -5.4745 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2403e-06
53 | 6.2519e-06 | 0.050369 | 0.0028578 | 0.053905 | 7.7984 |  |  |  |  | 6.288 | 5.1043 | 6.3157 | 0.0055335 | 0.00031373 | 0.010986 | 0.0057683 | 6.6144e-06 | 2.9515e-07 | 0 | 0 | 0 | -5.4105 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2399e-06
54 | 6.228e-06 | 0.051402 | 0.00293 | 0.055066 | 7.7984 |  |  |  |  | 6.2961 | 5.1144 | 6.3243 | 0.005647 | 0.00032164 | 0.011099 | 0.0057763 | 6.7518e-06 | 3.0093e-07 | 0 | 0 | 0 | -5.3453 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2394e-06
55 | 6.2031e-06 | 0.052479 | 0.0030058 | 0.056279 | 7.7984 |  |  |  |  | 6.3045 | 5.1247 | 6.333 | 0.0057654 | 0.00032997 | 0.011218 | 0.0057848 | 6.8952e-06 | 3.0696e-07 | 0 | 0 | 0 | -5.2789 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2389e-06
56 | 6.1771e-06 | 0.053603 | 0.0030858 | 0.057546 | 7.7984 |  |  |  |  | 6.313 | 5.1354 | 6.3419 | 0.0058889 | 0.00033874 | 0.011341 | 0.0057936 | 7.0449e-06 | 3.1323e-07 | 0 | 0 | 0 | -5.2112 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2385e-06
57 | 6.1499e-06 | 0.054778 | 0.0031701 | 0.058872 | 7.7983 |  |  |  |  | 6.3217 | 5.1463 | 6.3511 | 0.006018 | 0.00034799 | 0.01147 | 0.005803 | 7.2014e-06 | 3.1977e-07 | 0 | 0 | 0 | -5.1421 | 0 | 0 | 0 | 0 | 0 | 0 | 1.238e-06
58 | 6.1214e-06 | 0.056007 | 0.0032592 | 0.060261 | 7.7983 |  |  |  |  | 6.3305 | 5.1575 | 6.3604 | 0.006153 | 0.00035776 | 0.011605 | 0.0058129 | 7.3653e-06 | 3.2659e-07 | 0 | 0 | 0 | -5.0717 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2375e-06
59 | 6.0916e-06 | 0.057293 | 0.0033534 | 0.061718 | 7.7983 |  |  |  |  | 6.3396 | 5.1692 | 6.3699 | 0.0062943 | 0.00036809 | 0.011746 | 0.0058234 | 7.537e-06 | 3.3371e-07 | 0 | 0 | 0 | -4.9997 | 0 | 0 | 0 | 0 | 0 | 0 | 1.237e-06
60 | 6.0604e-06 | 0.058642 | 0.0034532 | 0.063247 | 7.7983 |  |  |  |  | 6.3489 | 5.1811 | 6.3797 | 0.0064425 | 0.00037904 | 0.011894 | 0.0058345 | 7.717e-06 | 3.4116e-07 | 0 | 0 | 0 | -4.9263 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2365e-06
61 | 6.0276e-06 | 0.060057 | 0.0035592 | 0.064854 | 7.7983 |  |  |  |  | 6.3584 | 5.1935 | 6.3898 | 0.0065979 | 0.00039066 | 0.01205 | 0.0058462 | 7.9062e-06 | 3.4896e-07 | 0 | 0 | 0 | -4.8513 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2359e-06
62 | 5.9931e-06 | 0.061544 | 0.0036719 | 0.066546 | 7.7982 |  |  |  |  | 6.3682 | 5.2062 | 6.4 | 0.0067613 | 0.00040302 | 0.012213 | 0.0058588 | 8.105e-06 | 3.5713e-07 | 0 | 0 | 0 | -4.7746 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2354e-06
63 | 5.9569e-06 | 0.063108 | 0.0037919 | 0.068328 | 7.7982 |  |  |  |  | 6.3782 | 5.2194 | 6.4106 | 0.0069331 | 0.00041618 | 0.012385 | 0.0058721 | 8.3144e-06 | 3.657e-07 | 0 | 0 | 0 | -4.6961 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2348e-06
64 | 5.9187e-06 | 0.064755 | 0.00392 | 0.070208 | 7.7982 |  |  |  |  | 6.3885 | 5.233 | 6.4214 | 0.0071142 | 0.00043023 | 0.012566 | 0.0058863 | 8.5352e-06 | 3.7471e-07 | 0 | 0 | 0 | -4.6158 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2342e-06
65 | 5.8784e-06 | 0.066494 | 0.004057 | 0.072195 | 7.7982 |  |  |  |  | 6.399 | 5.2472 | 6.4325 | 0.0073051 | 0.00044525 | 0.012756 | 0.0059015 | 8.7684e-06 | 3.8418e-07 | 0 | 0 | 0 | -4.5337 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2337e-06
66 | 5.8358e-06 | 0.06833 | 0.0042039 | 0.074298 | 7.7981 |  |  |  |  | 6.4098 | 5.2618 | 6.4439 | 0.0075069 | 0.00046136 | 0.012958 | 0.0059179 | 9.015e-06 | 3.9417e-07 | 0 | 0 | 0 | -4.4495 | 0 | 0 | 0 | 0 | 0 | 0 | 1.233e-06
67 | 5.7908e-06 | 0.070273 | 0.0043617 | 0.076526 | 7.7981 |  |  |  |  | 6.421 | 5.277 | 6.4556 | 0.0077204 | 0.00047866 | 0.013171 | 0.0059354 | 9.2762e-06 | 4.047e-07 | 0 | 0 | 0 | -4.3631 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2324e-06
68 | 5.743e-06 | 0.072333 | 0.0045318 | 0.078892 | 7.7981 |  |  |  |  | 6.4324 | 5.2928 | 6.4677 | 0.0079467 | 0.00049731 | 0.013398 | 0.0059543 | 9.5535e-06 | 4.1584e-07 | 0 | 0 | 0 | -4.2746 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2318e-06
69 | 5.6924e-06 | 0.07452 | 0.0047155 | 0.081408 | 7.7981 |  |  |  |  | 6.4442 | 5.3092 | 6.4801 | 0.008187 | 0.00051746 | 0.013638 | 0.0059747 | 9.8482e-06 | 4.2764e-07 | 0 | 0 | 0 | -4.1837 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2311e-06
70 | 5.6385e-06 | 0.076847 | 0.0049146 | 0.084089 | 7.798 |  |  |  |  | 6.4564 | 5.3263 | 6.493 | 0.0084426 | 0.00053929 | 0.013893 | 0.0059969 | 1.0162e-05 | 4.4016e-07 | 0 | 0 | 0 | -4.0903 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2304e-06
71 | 7.0276e-06 | 0.079327 | 0.0040181 | 0.084698 | 9.298 |  |  |  |  | 6.4689 | 5.2426 | 6.4954 | 0.0087152 | 0.00044048 | 0.014165 | 0.005898 | 1.0497e-05 | 3.5826e-07 | 0 | 0 | 0 | -3.9942 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2297e-06
72 | 6.9665e-06 | 0.082017 | 0.0041951 | 0.087694 | 9.298 |  |  |  |  | 6.4821 | 5.2607 | 6.5095 | 0.0090107 | 0.00046026 | 0.014461 | 0.0059182 | 1.086e-05 | 3.6868e-07 | 0 | 0 | 0 | -3.8947 | 0 | 0 | 0 | 0 | 0 | 0 | 1.229e-06
73 | 6.901e-06 | 0.084899 | 0.0043882 | 0.090911 | 9.298 |  |  |  |  | 6.4957 | 5.2792 | 6.5237 | 0.0093274 | 0.00048142 | 0.014777 | 0.0059397 | 1.1248e-05 | 3.7988e-07 | 0 | 0 | 0 | -3.7921 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2282e-06
74 | 6.8307e-06 | 0.087996 | 0.0045999 | 0.094372 | 9.298 |  |  |  |  | 6.5098 | 5.2987 | 6.5384 | 0.0096676 | 0.00050461 | 0.015117 | 0.0059634 | 1.1666e-05 | 3.9182e-07 | 0 | 0 | 0 | -3.6864 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2275e-06
75 | 6.754e-06 | 0.091332 | 0.0048334 | 0.098105 | 9.2969 |  |  |  |  | 6.5244 | 5.3191 | 6.5537 | 0.010034 | 0.00053021 | 0.015483 | 0.0059895 | 1.2117e-05 | 4.0465e-07 | 0 | 0 | 0 | -3.5773 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2266e-06
76 | 6.6723e-06 | 0.094936 | 0.0050911 | 0.10215 | 9.2969 |  |  |  |  | 6.5396 | 5.3406 | 6.5695 | 0.01043 | 0.00055843 | 0.015879 | 0.0060182 | 1.2605e-05 | 4.1837e-07 | 0 | 0 | 0 | -3.4645 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2258e-06
77 | 6.5838e-06 | 0.098842 | 0.0053774 | 0.10653 | 9.2969 |  |  |  |  | 6.5554 | 5.3632 | 6.586 | 0.010859 | 0.0005898 | 0.016307 | 0.0060502 | 1.3135e-05 | 4.3313e-07 | 0 | 0 | 0 | -3.3478 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2249e-06
78 | 6.4878e-06 | 0.10309 | 0.0056974 | 0.11131 | 9.2969 |  |  |  |  | 6.5718 | 5.3871 | 6.6031 | 0.011326 | 0.00062485 | 0.016774 | 0.0060859 | 1.3712e-05 | 4.4909e-07 | 0 | 0 | 0 | -3.2269 | 0 | 0 | 0 | 0 | 0 | 0 | 1.224e-06
79 | 6.3831e-06 | 0.10773 | 0.0060573 | 0.11653 | 9.2968 |  |  |  |  | 6.589 | 5.4125 | 6.621 | 0.011836 | 0.00066426 | 0.017282 | 0.0061261 | 1.4344e-05 | 4.6642e-07 | 0 | 0 | 0 | -3.1014 | 0 | 0 | 0 | 0 | 0 | 0 | 1.223e-06
80 | 6.2687e-06 | 0.11281 | 0.0064649 | 0.12226 | 9.2968 |  |  |  |  | 6.6069 | 5.4395 | 6.6397 | 0.012394 | 0.00070889 | 0.01784 | 0.0061717 | 1.5038e-05 | 4.8534e-07 | 0 | 0 | 0 | -2.971 | 0 | 0 | 0 | 0 | 0 | 0 | 1.222e-06
81 | 6.1432e-06 | 0.11841 | 0.0069301 | 0.12857 | 9.2968 |  |  |  |  | 6.6257 | 5.4683 | 6.6592 | 0.013009 | 0.00075983 | 0.018454 | 0.0062236 | 1.5804e-05 | 5.0611e-07 | 0 | 0 | 0 | -2.8353 | 0 | 0 | 0 | 0 | 0 | 0 | 1.221e-06
82 | 6.0049e-06 | 0.1246 | 0.0074658 | 0.13555 | 9.2967 |  |  |  |  | 6.6454 | 5.4992 | 6.6797 | 0.01369 | 0.00081847 | 0.019134 | 0.0062835 | 1.6654e-05 | 5.2908e-07 | 0 | 0 | 0 | -2.6937 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2199e-06
83 | 5.8518e-06 | 0.13149 | 0.0080887 | 0.14333 | 9.2967 |  |  |  |  | 6.6662 | 5.5324 | 6.7013 | 0.014447 | 0.00088665 | 0.01989 | 0.0063531 | 1.7602e-05 | 5.5468e-07 | 0 | 0 | 0 | -2.5456 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2187e-06
84 | 5.6816e-06 | 0.13921 | 0.0088215 | 0.15202 | 9.2967 |  |  |  |  | 6.6881 | 5.5684 | 6.724 | 0.015294 | 0.00096685 | 0.020736 | 0.0064349 | 1.8668e-05 | 5.8351e-07 | 0 | 0 | 0 | -2.3904 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2175e-06
85 | 5.4915e-06 | 0.1479 | 0.009695 | 0.16181 | 9.2966 |  |  |  |  | 6.7114 | 5.6075 | 6.7479 | 0.01625 | 0.0010624 | 0.021689 | 0.0065325 | 1.9873e-05 | 6.1635e-07 | 0 | 0 | 0 | -2.2273 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2162e-06
86 | 1.0059e-05 | 0.15777 | 0.0058694 | 0.17455 | 14.4966 |  |  |  |  | 6.736 | 5.3969 | 6.7756 | 0.017334 | 0.00064111 | 0.022772 | 0.0061137 | 2.1249e-05 | 3.5437e-07 | 0 | 0 | 0 | -2.0554 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2148e-06
87 | 9.7802e-06 | 0.16945 | 0.0065013 | 0.18817 | 14.4953 |  |  |  |  | 6.7632 | 5.4402 | 6.8053 | 0.018619 | 0.00071191 | 0.024053 | 0.006188 | 2.2856e-05 | 3.7155e-07 | 0 | 0 | 0 | -1.8713 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2133e-06
88 | 9.4587e-06 | 0.18303 | 0.0072796 | 0.20401 | 14.4953 |  |  |  |  | 6.7924 | 5.4868 | 6.8359 | 0.020111 | 0.00079689 | 0.025542 | 0.0062771 | 2.473e-05 | 3.9181e-07 | 0 | 0 | 0 | -1.6756 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2116e-06
89 | 9.0827e-06 | 0.19901 | 0.0082613 | 0.22264 | 14.4952 |  |  |  |  | 6.8239 | 5.539 | 6.8687 | 0.021867 | 0.00090404 | 0.027293 | 0.0063896 | 2.6942e-05 | 4.1554e-07 | 0 | 0 | 0 | -1.4667 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2099e-06
90 | 8.6378e-06 | 0.21809 | 0.0095346 | 0.24484 | 14.4952 |  |  |  |  | 6.8581 | 5.598 | 6.9042 | 0.023963 | 0.001043 | 0.029384 | 0.0065354 | 2.9595e-05 | 4.4414e-07 | 0 | 0 | 0 | -1.2423 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2079e-06
91 | 8.1052e-06 | 0.24126 | 0.011246 | 0.27167 | 14.4951 |  |  |  |  | 6.8956 | 5.6657 | 6.9426 | 0.02651 | 0.0012295 | 0.031923 | 0.0067312 | 3.2834e-05 | 4.7994e-07 | 0 | 0 | 0 | -0.99945 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2058e-06
92 | 7.459e-06 | 0.27001 | 0.013653 | 0.30462 | 14.4951 |  |  |  |  | 6.9368 | 5.7451 | 6.9844 | 0.02967 | 0.0014918 | 0.035071 | 0.0070063 | 3.6878e-05 | 5.2704e-07 | 0 | 0 | 0 | -0.73433 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2035e-06
93 | 6.6636e-06 | 0.30663 | 0.017259 | 0.34584 | 14.4928 |  |  |  |  | 6.9828 | 5.8405 | 7.0302 | 0.033695 | 0.0018845 | 0.039081 | 0.0074172 | 4.2071e-05 | 5.9356e-07 | 0 | 0 | 0 | -0.44153 | 0 | 0 | 0 | 0 | 0 | 0 | 1.201e-06
94 | 5.6792e-06 | 0.35486 | 0.023139 | 0.3986 | 14.4926 |  |  |  |  | 7.0346 | 5.959 | 7.0804 | 0.038997 | 0.0025246 | 0.044358 | 0.0080841 | 4.8984e-05 | 6.9636e-07 | 0 | 0 | 0 | -0.11332 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2e-06