## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate | d_CaPhosphate
0 | 5.5769e-06 | 0.036005 | 0.0024475 | 0.03816 | 6.9 | 19.2023 | 19.4658 | 19.2559 | 21.5101 | 8.3001 | 8.6391 | 8.2899 | 0.0097982 | 0.00081319 | 0.0087612 | 0.00066746 | 0.00071118 | 1.9896e-06 | 0.0026092 | 0.000663 | 9.2893 | 2.933 | 0.00014597
1 | 5.5688e-06 | 0.036344 | 0.0024749 | 0.038535 | 6.9 |  |  |  |  | 8.2989 | 8.686 | 8.3155 | 0.0098889 | 0.00083183 | 0.0088429 | 0.00066877 | 0.00071834 | 1.8088e-06 | 0.0026289 | 0.0006794 | 9.4042 | 2.9456 | 0.00014773
2 | 5.5612e-06 | 0.03669 | 0.0025027 | 0.038918 | 6.9 |  |  |  |  | 8.2976 | 8.683 | 8.3143 | 0.0099814 | 0.0008397 | 0.0089263 | 0.00067633 | 0.00072565 | 1.8307e-06 | 0.0026488 | 0.00068457 | 9.4667 | 2.9581 | 0.00014952
3 | 5.5534e-06 | 0.037042 | 0.0025312 | 0.03931 | 6.9 |  |  |  |  | 8.2963 | 8.6798 | 8.3132 | 0.010076 | 0.0008476 | 0.0090114 | 0.00068399 | 0.00073312 | 1.8519e-06 | 0.002669 | 0.00068992 | 9.5166 | 2.9707 | 0.00015134
4 | 5.5454e-06 | 0.037402 | 0.0025604 | 0.039709 | 6.8999 |  |  |  |  | 8.295 | 8.6765 | 8.3122 | 0.010172 | 0.00085568 | 0.0090981 | 0.00069182 | 0.00074073 | 1.8734e-06 | 0.0026896 | 0.00069538 | 9.5619 | 2.9834 | 0.00015321
5 | 5.5372e-06 | 0.037769 | 0.0025902 | 0.040117 | 6.8999 |  |  |  |  | 8.2937 | 8.6731 | 8.3111 | 0.01027 | 0.00086395 | 0.0091866 | 0.00069984 | 0.00074851 | 1.8955e-06 | 0.0027106 | 0.00070096 | 9.6051 | 2.9962 | 0.00015511
6 | 5.5289e-06 | 0.038143 | 0.0026208 | 0.040533 | 6.8999 |  |  |  |  | 8.2923 | 8.6698 | 8.31 | 0.01037 | 0.0008724 | 0.0092769 | 0.00070804 | 0.00075645 | 1.918e-06 | 0.002732 | 0.00070665 | 9.6473 | 3.0092 | 0.00015705
7 | 5.5205e-06 | 0.038525 | 0.0026521 | 0.040958 | 6.8999 |  |  |  |  | 8.291 | 8.6664 | 8.309 | 0.010472 | 0.00088105 | 0.009369 | 0.00071643 | 0.00076457 | 1.9411e-06 | 0.0027538 | 0.00071246 | 9.6892 | 3.0222 | 0.00015904
8 | 5.5118e-06 | 0.038915 | 0.0026841 | 0.041392 | 6.8999 |  |  |  |  | 8.2897 | 8.6629 | 8.3079 | 0.010576 | 0.00088991 | 0.0094631 | 0.00072503 | 0.00077286 | 1.9646e-06 | 0.002776 | 0.0007184 | 9.731 | 3.0355 | 0.00016107
9 | 5.503e-06 | 0.039313 | 0.002717 | 0.041836 | 6.8999 |  |  |  |  | 8.2883 | 8.6594 | 8.3068 | 0.010683 | 0.00089897 | 0.0095591 | 0.00073384 | 0.00078133 | 1.9887e-06 | 0.0027986 | 0.00072447 | 9.773 | 3.0488 | 0.00016315
10 | 5.4939e-06 | 0.039719 | 0.0027506 | 0.04229 | 6.8998 |  |  |  |  | 8.2869 | 8.6558 | 8.3057 | 0.010791 | 0.00090825 | 0.0096572 | 0.00074286 | 0.00078999 | 2.0133e-06 | 0.0028216 | 0.00073066 | 9.8152 | 3.0623 | 0.00016528
11 | 5.4847e-06 | 0.040135 | 0.0027852 | 0.042753 | 6.8998 |  |  |  |  | 8.2855 | 8.6522 | 8.3046 | 0.010902 | 0.00091775 | 0.0097573 | 0.00075211 | 0.00079884 | 2.0385e-06 | 0.0028451 | 0.000737 | 9.8578 | 3.0759 | 0.00016745
12 | 5.4753e-06 | 0.040559 | 0.0028206 | 0.043228 | 6.8998 |  |  |  |  | 8.2841 | 8.6486 | 8.3036 | 0.011016 | 0.0009275 | 0.0098597 | 0.00076159 | 0.0008079 | 2.0643e-06 | 0.0028691 | 0.00074348 | 9.9008 | 3.0897 | 0.00016968
13 | 5.4656e-06 | 0.040993 | 0.002857 | 0.043713 | 6.8998 |  |  |  |  | 8.2827 | 8.6449 | 8.3025 | 0.011132 | 0.00093748 | 0.0099642 | 0.00077131 | 0.00081716 | 2.0907e-06 | 0.0028935 | 0.00075011 | 9.9443 | 3.1036 | 0.00017195
14 | 5.4558e-06 | 0.041436 | 0.0028943 | 0.044209 | 6.8998 |  |  |  |  | 8.2813 | 8.6411 | 8.3014 | 0.01125 | 0.00094771 | 0.010071 | 0.00078128 | 0.00082664 | 2.1178e-06 | 0.0029184 | 0.00075689 | 9.9883 | 3.1176 | 0.00017428
15 | 5.4457e-06 | 0.04189 | 0.0029326 | 0.044716 | 6.8998 |  |  |  |  | 8.2799 | 8.6373 | 8.3002 | 0.011372 | 0.00095821 | 0.01018 | 0.00079151 | 0.00083634 | 2.1455e-06 | 0.0029439 | 0.00076383 | 10.0329 | 3.1319 | 0.00017667
16 | 5.4354e-06 | 0.042354 | 0.0029719 | 0.045236 | 6.8998 |  |  |  |  | 8.2785 | 8.6334 | 8.2991 | 0.011496 | 0.00096898 | 0.010292 | 0.00080202 | 0.00084627 | 2.1738e-06 | 0.0029698 | 0.00077094 | 10.0781 | 3.1462 | 0.00017912
17 | 5.4248e-06 | 0.042828 | 0.0030123 | 0.045768 | 6.8997 |  |  |  |  | 8.277 | 8.6295 | 8.298 | 0.011622 | 0.00098004 | 0.010407 | 0.0008128 | 0.00085644 | 2.2029e-06 | 0.0029963 | 0.00077822 | 10.124 | 3.1608 | 0.00018162
18 | 5.414e-06 | 0.043314 | 0.0030539 | 0.046313 | 6.8997 |  |  |  |  | 8.2755 | 8.6255 | 8.2969 | 0.011752 | 0.00099138 | 0.010524 | 0.00082389 | 0.00086685 | 2.2328e-06 | 0.0030234 | 0.00078567 | 10.1705 | 3.1754 | 0.00018419
19 | 5.4029e-06 | 0.043811 | 0.0030966 | 0.046872 | 6.8997 |  |  |  |  | 8.2741 | 8.6215 | 8.2958 | 0.011885 | 0.001003 | 0.010643 | 0.00083527 | 0.00087753 | 2.2634e-06 | 0.003051 | 0.00079331 | 10.2178 | 3.1903 | 0.00018682
20 | 5.3916e-06 | 0.04432 | 0.0031406 | 0.047444 | 6.8997 |  |  |  |  | 8.2726 | 8.6174 | 8.2946 | 0.012021 | 0.001015 | 0.010766 | 0.00084697 | 0.00088847 | 2.2948e-06 | 0.0030792 | 0.00080114 | 10.2657 | 3.2053 | 0.00018952
21 | 5.38e-06 | 0.044841 | 0.0031858 | 0.04803 | 6.8997 |  |  |  |  | 8.2711 | 8.6132 | 8.2935 | 0.01216 | 0.0010273 | 0.010891 | 0.00085901 | 0.00089969 | 2.327e-06 | 0.003108 | 0.00080917 | 10.3144 | 3.2205 | 0.00019229
22 | 5.3681e-06 | 0.045375 | 0.0032324 | 0.048632 | 6.8997 |  |  |  |  | 8.2696 | 8.609 | 8.2924 | 0.012303 | 0.00104 | 0.01102 | 0.00087139 | 0.00091119 | 2.3601e-06 | 0.0031375 | 0.0008174 | 10.3639 | 3.2359 | 0.00019513
23 | 5.3559e-06 | 0.045922 | 0.0032803 | 0.049249 | 6.8996 |  |  |  |  | 8.2681 | 8.6047 | 8.2912 | 0.012449 | 0.001053 | 0.011152 | 0.00088413 | 0.00092299 | 2.3941e-06 | 0.0031676 | 0.00082586 | 10.4142 | 3.2514 | 0.00019805
24 | 5.3434e-06 | 0.046483 | 0.0033297 | 0.049882 | 6.8996 |  |  |  |  | 8.2665 | 8.6003 | 8.2901 | 0.012599 | 0.0010664 | 0.011287 | 0.00089726 | 0.00093511 | 2.4291e-06 | 0.0031985 | 0.00083452 | 10.4653 | 3.2672 | 0.00020105
25 | 5.3306e-06 | 0.047059 | 0.0033807 | 0.050531 | 6.8996 |  |  |  |  | 8.265 | 8.5958 | 8.2889 | 0.012753 | 0.0010802 | 0.011425 | 0.00091077 | 0.00094754 | 2.465e-06 | 0.00323 | 0.00084343 | 10.5173 | 3.2831 | 0.00020413
26 | 5.3174e-06 | 0.047649 | 0.0034332 | 0.051198 | 6.8996 |  |  |  |  | 8.2634 | 8.5913 | 8.2877 | 0.012911 | 0.0010944 | 0.011568 | 0.0009247 | 0.00096031 | 2.502e-06 | 0.0032622 | 0.00085258 | 10.5702 | 3.2993 | 0.00020729
27 | 5.3039e-06 | 0.048255 | 0.0034874 | 0.051884 | 6.8996 |  |  |  |  | 8.2619 | 8.5867 | 8.2866 | 0.013073 | 0.001109 | 0.011713 | 0.00093906 | 0.00097343 | 2.54e-06 | 0.0032952 | 0.00086198 | 10.624 | 3.3156 | 0.00021054
28 | 5.2901e-06 | 0.048876 | 0.0035434 | 0.052588 | 6.8996 |  |  |  |  | 8.2603 | 8.5821 | 8.2854 | 0.013239 | 0.0011241 | 0.011863 | 0.00095387 | 0.00098692 | 2.5791e-06 | 0.003329 | 0.00087165 | 10.6788 | 3.3322 | 0.00021388
29 | 5.2758e-06 | 0.049515 | 0.0036012 | 0.053311 | 6.8995 |  |  |  |  | 8.2587 | 8.5773 | 8.2843 | 0.013409 | 0.0011397 | 0.012017 | 0.00096916 | 0.0010008 | 2.6193e-06 | 0.0033636 | 0.0008816 | 10.7346 | 3.3489 | 0.00021732
30 | 5.2612e-06 | 0.050171 | 0.0036609 | 0.054055 | 6.8995 |  |  |  |  | 8.2571 | 8.5725 | 8.2831 | 0.013585 | 0.0011557 | 0.012174 | 0.00098494 | 0.001015 | 2.6608e-06 | 0.0033991 | 0.00089183 | 10.7914 | 3.3659 | 0.00022086
31 | 5.2462e-06 | 0.050845 | 0.0037226 | 0.05482 | 6.8995 |  |  |  |  | 8.2554 | 8.5676 | 8.2819 | 0.013765 | 0.0011723 | 0.012337 | 0.0010012 | 0.0010297 | 2.7036e-06 | 0.0034354 | 0.00090237 | 10.8493 | 3.3831 | 0.00022451
32 | 5.2307e-06 | 0.051538 | 0.0037865 | 0.055608 | 6.8995 |  |  |  |  | 8.2538 | 8.5626 | 8.2807 | 0.01395 | 0.0011894 | 0.012503 | 0.0010181 | 0.0010448 | 2.7477e-06 | 0.0034727 | 0.00091322 | 10.9082 | 3.4005 | 0.00022826
33 | 5.2148e-06 | 0.052251 | 0.0038526 | 0.056419 | 6.8995 |  |  |  |  | 8.2521 | 8.5575 | 8.2795 | 0.014141 | 0.0012071 | 0.012675 | 0.0010355 | 0.0010604 | 2.7933e-06 | 0.0035109 | 0.0009244 | 10.9683 | 3.4182 | 0.00023213
34 | 5.1985e-06 | 0.052984 | 0.0039211 | 0.057254 | 6.8994 |  |  |  |  | 8.2504 | 8.5523 | 8.2783 | 0.014337 | 0.0012254 | 0.012851 | 0.0010536 | 0.0010764 | 2.8402e-06 | 0.0035501 | 0.00093592 | 11.0296 | 3.4361 | 0.00023611
35 | 5.1816e-06 | 0.053739 | 0.0039921 | 0.058114 | 6.8994 |  |  |  |  | 8.2488 | 8.547 | 8.2771 | 0.014538 | 0.0012444 | 0.013033 | 0.0010722 | 0.0010929 | 2.8887e-06 | 0.0035903 | 0.00094782 | 11.0921 | 3.4543 | 0.00024022
36 | 5.1643e-06 | 0.054516 | 0.0040656 | 0.059001 | 6.8994 |  |  |  |  | 8.247 | 8.5416 | 8.2759 | 0.014746 | 0.001264 | 0.01322 | 0.0010916 | 0.0011099 | 2.9388e-06 | 0.0036316 | 0.00096009 | 11.1559 | 3.4727 | 0.00024447
37 | 5.1464e-06 | 0.055317 | 0.004142 | 0.059915 | 6.8994 |  |  |  |  | 8.2453 | 8.5361 | 8.2747 | 0.01496 | 0.0012843 | 0.013412 | 0.0011116 | 0.0011275 | 2.9907e-06 | 0.003674 | 0.00097277 | 11.221 | 3.4914 | 0.00024884
38 | 5.128e-06 | 0.056142 | 0.0042213 | 0.060858 | 6.8994 |  |  |  |  | 8.2436 | 8.5305 | 8.2735 | 0.015181 | 0.0013054 | 0.01361 | 0.0011324 | 0.0011457 | 3.0443e-06 | 0.0037176 | 0.00098586 | 11.2875 | 3.5104 | 0.00025337
39 | 5.109e-06 | 0.056993 | 0.0043037 | 0.061832 | 6.8993 |  |  |  |  | 8.2418 | 8.5248 | 8.2722 | 0.015408 | 0.0013272 | 0.013815 | 0.001154 | 0.0011644 | 3.0999e-06 | 0.0037623 | 0.0009994 | 11.3553 | 3.5297 | 0.00025804
40 | 5.0894e-06 | 0.057871 | 0.0043893 | 0.062838 | 6.8993 |  |  |  |  | 8.24 | 8.519 | 8.271 | 0.015643 | 0.0013499 | 0.014026 | 0.0011764 | 0.0011837 | 3.1575e-06 | 0.0038084 | 0.0010134 | 11.4247 | 3.5492 | 0.00026287
41 | 5.0692e-06 | 0.058778 | 0.0044785 | 0.063877 | 6.8993 |  |  |  |  | 8.2382 | 8.513 | 8.2698 | 0.015885 | 0.0013734 | 0.014244 | 0.0011997 | 0.0012037 | 3.2171e-06 | 0.0038558 | 0.0010279 | 11.4956 | 3.5691 | 0.00026787
42 | 5.0483e-06 | 0.059714 | 0.0045713 | 0.064952 | 6.8993 |  |  |  |  | 8.2364 | 8.5069 | 8.2685 | 0.016135 | 0.0013979 | 0.014469 | 0.0012239 | 0.0012244 | 3.279e-06 | 0.0039045 | 0.0010429 | 11.5681 | 3.5892 | 0.00027304
43 | 5.0267e-06 | 0.060682 | 0.0046681 | 0.066063 | 6.8993 |  |  |  |  | 8.2345 | 8.5007 | 8.2673 | 0.016394 | 0.0014234 | 0.014701 | 0.0012492 | 0.0012459 | 3.3433e-06 | 0.0039547 | 0.0010585 | 11.6422 | 3.6097 | 0.0002784
44 | 5.0044e-06 | 0.061682 | 0.004769 | 0.067214 | 6.8993 |  |  |  |  | 8.2327 | 8.4944 | 8.266 | 0.016661 | 0.00145 | 0.014941 | 0.0012755 | 0.0012681 | 3.4101e-06 | 0.0040064 | 0.0010746 | 11.7181 | 3.6306 | 0.00028395
45 | 4.9814e-06 | 0.062717 | 0.0048744 | 0.068405 | 6.8992 |  |  |  |  | 8.2308 | 8.4879 | 8.2648 | 0.016938 | 0.0014776 | 0.01519 | 0.0013029 | 0.0012911 | 3.4795e-06 | 0.0040598 | 0.0010914 | 11.7958 | 3.6518 | 0.00028971
46 | 5.8165e-06 | 0.063788 | 0.0041571 | 0.067422 | 7.7992 |  |  |  |  | 8.2289 | 8.4922 | 8.25 | 0.017224 | 0.0012976 | 0.015447 | 0.0011385 | 0.0013149 | 3.1527e-06 | 0.0041147 | 0.00098362 | 11.838 | 3.6733 | 0.00029568
47 | 5.7923e-06 | 0.064913 | 0.0042499 | 0.068657 | 7.7992 |  |  |  |  | 8.227 | 8.4761 | 8.2453 | 0.017524 | 0.0013213 | 0.015717 | 0.0011654 | 0.0013396 | 3.2583e-06 | 0.0041738 | 0.00099745 | 11.8826 | 3.6951 | 0.00030189
48 | 5.7671e-06 | 0.066079 | 0.0043469 | 0.069938 | 7.7992 |  |  |  |  | 8.2251 | 8.4685 | 8.2439 | 0.017836 | 0.0013471 | 0.015997 | 0.0011913 | 0.0013653 | 3.3275e-06 | 0.0042349 | 0.0010138 | 11.9299 | 3.7174 | 0.00030834
49 | 5.7411e-06 | 0.06729 | 0.0044484 | 0.071269 | 7.7992 |  |  |  |  | 8.2232 | 8.4608 | 8.2424 | 0.018159 | 0.0013741 | 0.016287 | 0.0012184 | 0.0013921 | 3.3999e-06 | 0.004298 | 0.0010308 | 11.9802 | 3.7401 | 0.00031505
50 | 5.714e-06 | 0.068547 | 0.0045549 | 0.072652 | 7.7992 |  |  |  |  | 8.2212 | 8.4528 | 8.2409 | 0.018495 | 0.0014023 | 0.016588 | 0.0012468 | 0.0014198 | 3.4755e-06 | 0.0043634 | 0.0010484 | 12.0333 | 3.7632 | 0.00032203
51 | 5.6852e-06 | 0.069853 | 0.004667 | 0.074089 | 7.7985 |  |  |  |  | 8.2193 | 8.4447 | 8.2394 | 0.018844 | 0.001432 | 0.016901 | 0.0012766 | 0.0014487 | 3.555e-06 | 0.004431 | 0.001067 | 12.0894 | 3.7867 | 0.00032929
52 | 5.656e-06 | 0.071211 | 0.0047843 | 0.075586 | 7.7984 |  |  |  |  | 8.2173 | 8.4363 | 8.2379 | 0.019207 | 0.0014629 | 0.017227 | 0.0013077 | 0.0014788 | 3.6376e-06 | 0.0045011 | 0.0010862 | 12.1484 | 3.8106 | 0.00033687
53 | 5.6256e-06 | 0.072624 | 0.0049077 | 0.077145 | 7.7984 |  |  |  |  | 8.2153 | 8.4277 | 8.2364 | 0.019584 | 0.0014954 | 0.017566 | 0.0013405 | 0.0015102 | 3.724e-06 | 0.0045738 | 0.0011064 | 12.2105 | 3.8351 | 0.00034477
54 | 5.594e-06 | 0.074096 | 0.0050376 | 0.078769 | 7.7984 |  |  |  |  | 8.2132 | 8.4188 | 8.2348 | 0.019977 | 0.0015296 | 0.017918 | 0.0013748 | 0.001543 | 3.8148e-06 | 0.0046492 | 0.0011274 | 12.2757 | 3.86 | 0.00035301
55 | 5.561e-06 | 0.075631 | 0.0051746 | 0.080465 | 7.7984 |  |  |  |  | 8.2111 | 8.4097 | 8.2333 | 0.020387 | 0.0015655 | 0.018286 | 0.001411 | 0.0015772 | 3.91e-06 | 0.0047274 | 0.0011495 | 12.3441 | 3.8854 | 0.00036163
56 | 5.5267e-06 | 0.077232 | 0.0053192 | 0.082235 | 7.7984 |  |  |  |  | 8.209 | 8.4004 | 8.2317 | 0.020815 | 0.0016033 | 0.01867 | 0.0014492 | 0.0016129 | 4.01e-06 | 0.0048087 | 0.0011726 | 12.4158 | 3.9113 | 0.00037065
57 | 5.4908e-06 | 0.078904 | 0.0054721 | 0.084086 | 7.7983 |  |  |  |  | 8.2069 | 8.3907 | 8.2302 | 0.021262 | 0.0016432 | 0.01907 | 0.0014894 | 0.0016504 | 4.1153e-06 | 0.0048933 | 0.0011969 | 12.4908 | 3.9378 | 0.00038008
58 | 5.4533e-06 | 0.080653 | 0.0056341 | 0.086022 | 7.7983 |  |  |  |  | 8.2047 | 8.3808 | 8.2286 | 0.021729 | 0.0016854 | 0.019489 | 0.001532 | 0.0016895 | 4.2263e-06 | 0.0049813 | 0.0012224 | 12.5694 | 3.9649 | 0.00038998
59 | 5.4142e-06 | 0.082483 | 0.0058059 | 0.08805 | 7.7983 |  |  |  |  | 8.2025 | 8.3706 | 8.227 | 0.022218 | 0.00173 | 0.019927 | 0.001577 | 0.0017307 | 4.3435e-06 | 0.005073 | 0.0012492 | 12.6516 | 3.9926 | 0.00040036
60 | 5.3732e-06 | 0.084399 | 0.0059884 | 0.090176 | 7.7983 |  |  |  |  | 8.2003 | 8.36 | 8.2254 | 0.02273 | 0.0017772 | 0.020385 | 0.0016248 | 0.0017738 | 4.4674e-06 | 0.0051686 | 0.0012775 | 12.7377 | 4.0209 | 0.00041126
61 | 5.3302e-06 | 0.08641 | 0.0061827 | 0.092408 | 7.7983 |  |  |  |  | 8.198 | 8.3491 | 8.2237 | 0.023267 | 0.0018274 | 0.020866 | 0.0016755 | 0.0018192 | 4.5986e-06 | 0.0052684 | 0.0013074 | 12.8277 | 4.0498 | 0.00042273
62 | 5.2852e-06 | 0.088521 | 0.00639 | 0.094753 | 7.7982 |  |  |  |  | 8.1957 | 8.3379 | 8.2221 | 0.023831 | 0.0018808 | 0.021371 | 0.0017295 | 0.0018669 | 4.7377e-06 | 0.0053726 | 0.0013391 | 12.9219 | 4.0795 | 0.00043481
63 | 5.2379e-06 | 0.090741 | 0.0066115 | 0.09722 | 7.7982 |  |  |  |  | 8.1934 | 8.3262 | 8.2204 | 0.024425 | 0.0019376 | 0.021902 | 0.0017871 | 0.0019173 | 4.8857e-06 | 0.0054816 | 0.0013726 | 13.0204 | 4.1099 | 0.00044755
64 | 5.1883e-06 | 0.093078 | 0.0068488 | 0.09982 | 7.7982 |  |  |  |  | 8.191 | 8.3142 | 8.2188 | 0.025049 | 0.0019984 | 0.022461 | 0.0018487 | 0.0019704 | 5.0434e-06 | 0.0055957 | 0.0014081 | 13.1237 | 4.1411 | 0.000461
65 | 5.136e-06 | 0.095542 | 0.0071035 | 0.10256 | 7.7982 |  |  |  |  | 8.1886 | 8.3018 | 8.2171 | 0.025708 | 0.0020634 | 0.02305 | 0.0019146 | 0.0020265 | 5.2118e-06 | 0.0057154 | 0.001446 | 13.2318 | 4.173 | 0.00047523
66 | 5.081e-06 | 0.098143 | 0.0073777 | 0.10546 | 7.7981 |  |  |  |  | 8.1861 | 8.2889 | 8.2154 | 0.026403 | 0.0021331 | 0.023672 | 0.0019853 | 0.002086 | 5.392e-06 | 0.005841 | 0.0014863 | 13.3451 | 4.2059 | 0.0004903
67 | 5.0229e-06 | 0.10089 | 0.0076736 | 0.10852 | 7.7981 |  |  |  |  | 8.1836 | 8.2756 | 8.2136 | 0.027139 | 0.0022081 | 0.024329 | 0.0020614 | 0.002149 | 5.5855e-06 | 0.0059729 | 0.0015293 | 13.464 | 4.2397 | 0.0005063
68 | 4.9616e-06 | 0.10381 | 0.0079938 | 0.11177 | 7.7981 |  |  |  |  | 8.181 | 8.2618 | 8.2119 | 0.027918 | 0.0022891 | 0.025025 | 0.0021436 | 0.002216 | 5.7937e-06 | 0.0061118 | 0.0015754 | 13.5887 | 4.2744 | 0.0005233
69 | 4.8967e-06 | 0.1069 | 0.0083414 | 0.11521 | 7.7981 |  |  |  |  | 8.1784 | 8.2474 | 8.2101 | 0.028745 | 0.0023766 | 0.025763 | 0.0022326 | 0.0022873 | 6.0184e-06 | 0.0062581 | 0.0016249 | 13.7199 | 4.3101 | 0.00054141
70 | 4.828e-06 | 0.11018 | 0.00872 | 0.11887 | 7.798 |  |  |  |  | 8.1757 | 8.2326 | 8.2083 | 0.029624 | 0.0024716 | 0.026547 | 0.0023291 | 0.0023634 | 6.2617e-06 | 0.0064126 | 0.0016782 | 13.8578 | 4.347 | 0.00056073
71 | 6.1438e-06 | 0.11368 | 0.0070457 | 0.1203 | 9.298 |  |  |  |  | 8.1729 | 8.2402 | 8.1978 | 0.03056 | 0.0020764 | 0.027382 | 0.0019496 | 0.0024446 | 5.2304e-06 | 0.0065758 | 0.0014585 | 13.9491 | 4.3851 | 0.0005814
72 | 6.0639e-06 | 0.11749 | 0.007379 | 0.12445 | 9.298 |  |  |  |  | 8.17 | 8.204 | 8.1913 | 0.031577 | 0.0021604 | 0.02829 | 0.0020429 | 0.0025318 | 5.5392e-06 | 0.0067586 | 0.0015053 | 14.047 | 4.4238 | 0.00060355
73 | 5.9786e-06 | 0.12157 | 0.0077451 | 0.1289 | 9.298 |  |  |  |  | 8.1671 | 8.1849 | 8.1891 | 0.032667 | 0.0022537 | 0.029263 | 0.002139 | 0.0026253 | 5.7821e-06 | 0.0069531 | 0.0015599 | 14.1525 | 4.4639 | 0.00062735
74 | 5.8873e-06 | 0.12595 | 0.0081488 | 0.13367 | 9.298 |  |  |  |  | 8.1641 | 8.1651 | 8.1869 | 0.033836 | 0.0023562 | 0.030306 | 0.0022447 | 0.0027261 | 6.0487e-06 | 0.0071606 | 0.0016194 | 14.2663 | 4.5054 | 0.000653
75 | 5.7885e-06 | 0.13066 | 0.0085976 | 0.13881 | 9.2969 |  |  |  |  | 8.161 | 8.1444 | 8.1846 | 0.035095 | 0.0024696 | 0.031428 | 0.0023616 | 0.0028349 | 6.3431e-06 | 0.0073822 | 0.0016847 | 14.3892 | 4.5485 | 0.00068071
76 | 5.6832e-06 | 0.13574 | 0.0090962 | 0.14436 | 9.2969 |  |  |  |  | 8.1579 | 8.1229 | 8.1822 | 0.036455 | 0.0025951 | 0.032639 | 0.0024909 | 0.0029527 | 6.6677e-06 | 0.0076196 | 0.0017562 | 14.5219 | 4.5932 | 0.00071075
77 | 5.5699e-06 | 0.14125 | 0.0096549 | 0.15036 | 9.2969 |  |  |  |  | 8.1547 | 8.1005 | 8.1798 | 0.037927 | 0.0027349 | 0.03395 | 0.0026352 | 0.0030808 | 7.0289e-06 | 0.0078745 | 0.0018352 | 14.6654 | 4.6397 | 0.00074341
78 | 5.4474e-06 | 0.14723 | 0.010285 | 0.15688 | 9.2969 |  |  |  |  | 8.1513 | 8.0773 | 8.1774 | 0.039527 | 0.0028919 | 0.035373 | 0.0027971 | 0.0032205 | 7.4332e-06 | 0.008149 | 0.0019229 | 14.8208 | 4.6881 | 0.00077906
79 | 5.3148e-06 | 0.15375 | 0.011001 | 0.16397 | 9.2968 |  |  |  |  | 8.1479 | 8.0532 | 8.1748 | 0.041271 | 0.0030692 | 0.036925 | 0.0029801 | 0.0033735 | 7.8893e-06 | 0.0084455 | 0.0020209 | 14.9894 | 4.7386 | 0.00081813
80 | 5.1708e-06 | 0.16089 | 0.01182 | 0.17174 | 9.2968 |  |  |  |  | 8.1443 | 8.0284 | 8.1723 | 0.043181 | 0.0032712 | 0.038622 | 0.0031884 | 0.0035418 | 8.4075e-06 | 0.0087668 | 0.0021311 | 15.173 | 4.7916 | 0.00086112
81 | 5.014e-06 | 0.16874 | 0.012767 | 0.18025 | 9.2968 |  |  |  |  | 8.1406 | 8.0029 | 8.1696 | 0.045282 | 0.0035031 | 0.040487 | 0.0034276 | 0.0037278 | 9.0021e-06 | 0.009116 | 0.002256 | 15.3735 | 4.847 | 0.00090866
82 | 4.8427e-06 | 0.1774 | 0.013872 | 0.18963 | 9.2967 |  |  |  |  | 8.1368 | 7.9768 | 8.1669 | 0.047603 | 0.0037723 | 0.042546 | 0.0037051 | 0.0039344 | 9.691e-06 | 0.0094971 | 0.0023988 | 15.5932 | 4.9054 | 0.00096151
83 | 4.6553e-06 | 0.18702 | 0.015176 | 0.20002 | 9.2967 |  |  |  |  | 8.1329 | 7.9503 | 8.164 | 0.050181 | 0.0040882 | 0.04483 | 0.0040306 | 0.0041653 | 1.0499e-05 | 0.0099147 | 0.0025637 | 15.8352 | 4.967 | 0.0010206
84 | 4.4495e-06 | 0.19776 | 0.016735 | 0.21157 | 9.2967 |  |  |  |  | 8.1288 | 7.9237 | 8.1611 | 0.053062 | 0.0044638 | 0.04738 | 0.0044173 | 0.0044249 | 1.1459e-05 | 0.010374 | 0.0027562 | 16.1032 | 5.0323 | 0.0010871
85 | 4.2231e-06 | 0.20983 | 0.01863 | 0.22448 | 9.2966 |  |  |  |  | 8.1246 | 7.8972 | 8.1581 | 0.056302 | 0.0049172 | 0.050245 | 0.0048837 | 0.0047192 | 1.2617e-05 | 0.010882 | 0.0029838 | 16.4021 | 5.1016 | 0.0011626
86 | 8.4456e-06 | 0.22349 | 0.010523 | 0.24306 | 14.4966 |  |  |  |  | 8.1201 | 7.9055 | 8.1592 | 0.059972 | 0.0030748 | 0.053485 | 0.0030462 | 0.0050553 | 6.8567e-06 | 0.011446 | 0.0020368 | 16.5415 | 5.1758 | 0.0012488
87 | 8.0927e-06 | 0.23987 | 0.011785 | 0.26132 | 14.4953 |  |  |  |  | 8.1142 | 7.7674 | 8.141 | 0.064349 | 0.0033849 | 0.057365 | 0.0034151 | 0.0054437 | 7.9475e-06 | 0.01217 | 0.0021955 | 16.7031 | 5.2508 | 0.0013483
88 | 7.6895e-06 | 0.25887 | 0.013373 | 0.28242 | 14.4953 |  |  |  |  | 8.1083 | 7.7255 | 8.1362 | 0.069429 | 0.0037778 | 0.06186 | 0.0038332 | 0.0058967 | 8.8673e-06 | 0.013001 | 0.0024117 | 16.8951 | 5.3324 | 0.0014644
89 | 7.224e-06 | 0.28119 | 0.015428 | 0.30704 | 14.4952 |  |  |  |  | 8.102 | 7.6866 | 8.131 | 0.075398 | 0.0042808 | 0.067136 | 0.0043666 | 0.0064319 | 1.0044e-05 | 0.013964 | 0.002683 | 17.1251 | 5.4208 | 0.0016018
90 | 6.6827e-06 | 0.30777 | 0.018181 | 0.33608 | 14.4952 |  |  |  |  | 8.0952 | 7.6518 | 8.1254 | 0.082509 | 0.0049464 | 0.073413 | 0.0050696 | 0.0070741 | 1.1603e-05 | 0.015092 | 0.0030341 | 17.4041 | 5.5174 | 0.0017667
91 | 6.0494e-06 | 0.33994 | 0.022033 | 0.37077 | 14.4951 |  |  |  |  | 8.0879 | 7.6225 | 8.1193 | 0.091127 | 0.0058661 | 0.081006 | 0.0060362 | 0.0078588 | 1.3763e-05 | 0.016432 | 0.0035065 | 17.7489 | 5.6241 | 0.0019683
92 | 5.3057e-06 | 0.37968 | 0.027738 | 0.4128 | 14.4951 |  |  |  |  | 8.0799 | 7.601 | 8.1125 | 0.10178 | 0.0072113 | 0.090377 | 0.0074413 | 0.0088395 | 1.6934e-05 | 0.018047 | 0.0041746 | 18.187 | 5.7433 | 0.0022206
93 | 4.4346e-06 | 0.42996 | 0.036863 | 0.46459 | 14.4928 |  |  |  |  | 8.0711 | 7.5903 | 8.1048 | 0.1153 | 0.0093373 | 0.10223 | 0.0096457 | 0.0101 | 2.1975e-05 | 0.020029 | 0.0051845 | 18.7663 | 5.8789 | 0.0025451
94 | 3.4411e-06 | 0.49548 | 0.052971 | 0.52989 | 14.4926 |  |  |  |  | 8.0614 | 7.5943 | 8.0961 | 0.13296 | 0.01305 | 0.11766 | 0.013464 | 0.011779 | 3.0819e-05 | 0.022503 | 0.0068362 | 19.577 | 6.0367 | 0.0029782
95 | 2.3848e-06 | 0.58398 | 0.084984 | 0.61525 | 14.4924 |  |  |  |  | 0 | 0 | 0 | 0.15694 | 0 | 0.13849 | 0 | 0.014129 | 0 | 0.025637 | 0 | 19.373 | 0 | 0