## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate | d_CaPhosphate
0 | 5.6325e-06 | 0.0334 | 0.0022508 | 0.03542 | 6.9 | 19.4613 | 19.9043 | 20.0079 | 22.9406 | 8.3002 | 7.1321 | 8.2929 | 0.0095639 | 0.00057278 | 0.0087608 | 0.00066215 | 0.00071115 | 1.9705e-06 | 0 | 0 | 0 | 2.9539 | 0.00013921
1 | 5.625e-06 | 0.033715 | 0.0022758 | 0.03577 | 6.9 |  |  |  |  | 8.3005 | 7.1278 | 8.2931 | 0.0096548 | 0.00057813 | 0.0088426 | 0.00066923 | 0.00071832 | 1.9879e-06 | 0 | 0 | 0 | 2.9692 | 0.00014105
2 | 5.6179e-06 | 0.034036 | 0.0023012 | 0.036126 | 6.9 |  |  |  |  | 8.3009 | 7.1289 | 8.2936 | 0.0097474 | 0.00058451 | 0.008926 | 0.00067636 | 0.00072563 | 2.0044e-06 | 0 | 0 | 0 | 2.9846 | 0.00014292
3 | 5.6106e-06 | 0.034363 | 0.0023272 | 0.03649 | 6.9 |  |  |  |  | 8.3012 | 7.13 | 8.294 | 0.0098418 | 0.00059102 | 0.0090111 | 0.00068364 | 0.00073309 | 2.0212e-06 | 0 | 0 | 0 | 3.0001 | 0.00014484
4 | 5.6032e-06 | 0.034696 | 0.0023538 | 0.036861 | 6.8999 |  |  |  |  | 8.3016 | 7.1311 | 8.2944 | 0.0099382 | 0.00059769 | 0.0090978 | 0.00069109 | 0.0007407 | 2.0384e-06 | 0 | 0 | 0 | 3.0157 | 0.00014679
5 | 5.5956e-06 | 0.035037 | 0.002381 | 0.03724 | 6.8999 |  |  |  |  | 8.3019 | 7.1322 | 8.2948 | 0.010037 | 0.0006045 | 0.0091863 | 0.00069871 | 0.00074848 | 2.056e-06 | 0 | 0 | 0 | 3.0315 | 0.00014878
6 | 5.5879e-06 | 0.035384 | 0.0024089 | 0.037628 | 6.8999 |  |  |  |  | 8.3023 | 7.1333 | 8.2952 | 0.010137 | 0.00061148 | 0.0092766 | 0.0007065 | 0.00075642 | 2.074e-06 | 0 | 0 | 0 | 3.0474 | 0.00015082
7 | 5.58e-06 | 0.035739 | 0.0024374 | 0.038023 | 6.8999 |  |  |  |  | 8.3026 | 7.1344 | 8.2956 | 0.010239 | 0.00061863 | 0.0093688 | 0.00071448 | 0.00076453 | 2.0924e-06 | 0 | 0 | 0 | 3.0634 | 0.0001529
8 | 5.5719e-06 | 0.036101 | 0.0024667 | 0.038427 | 6.8999 |  |  |  |  | 8.303 | 7.1356 | 8.296 | 0.010344 | 0.00062595 | 0.0094628 | 0.00072266 | 0.00077282 | 2.1113e-06 | 0 | 0 | 0 | 3.0796 | 0.00015503
9 | 5.5637e-06 | 0.03647 | 0.0024966 | 0.03884 | 6.8999 |  |  |  |  | 8.3033 | 7.1367 | 8.2963 | 0.010451 | 0.00063345 | 0.0095589 | 0.00073103 | 0.00078129 | 2.1305e-06 | 0 | 0 | 0 | 3.0959 | 0.0001572
10 | 5.5552e-06 | 0.036848 | 0.0025273 | 0.039262 | 6.8998 |  |  |  |  | 8.3037 | 7.1379 | 8.2967 | 0.01056 | 0.00064113 | 0.009657 | 0.0007396 | 0.00078994 | 2.1502e-06 | 0 | 0 | 0 | 3.1124 | 0.00015943
11 | 5.5466e-06 | 0.037234 | 0.0025588 | 0.039693 | 6.8998 |  |  |  |  | 8.304 | 7.139 | 8.2971 | 0.010671 | 0.00064901 | 0.0097572 | 0.00074838 | 0.00079879 | 2.1703e-06 | 0 | 0 | 0 | 3.129 | 0.0001617
12 | 5.5379e-06 | 0.037628 | 0.0025911 | 0.040134 | 6.8998 |  |  |  |  | 8.3043 | 7.1402 | 8.2975 | 0.010785 | 0.00065709 | 0.0098596 | 0.00075739 | 0.00080785 | 2.1909e-06 | 0 | 0 | 0 | 3.1458 | 0.00016403
13 | 5.5289e-06 | 0.03803 | 0.0026242 | 0.040586 | 6.8998 |  |  |  |  | 8.3046 | 7.1414 | 8.2979 | 0.010901 | 0.00066537 | 0.0099642 | 0.00076663 | 0.00081711 | 2.2121e-06 | 0 | 0 | 0 | 3.1626 | 0.0001664
14 | 5.5197e-06 | 0.038442 | 0.0026582 | 0.041047 | 6.8998 |  |  |  |  | 8.305 | 7.1427 | 8.2983 | 0.011021 | 0.00067387 | 0.010071 | 0.0007761 | 0.00082658 | 2.2337e-06 | 0 | 0 | 0 | 3.1797 | 0.00016884
15 | 5.5103e-06 | 0.038863 | 0.0026931 | 0.04152 | 6.8998 |  |  |  |  | 8.3053 | 7.1439 | 8.2987 | 0.011142 | 0.0006826 | 0.01018 | 0.00078581 | 0.00083628 | 2.2558e-06 | 0 | 0 | 0 | 3.1969 | 0.00017133
16 | 5.5007e-06 | 0.039294 | 0.0027289 | 0.042003 | 6.8998 |  |  |  |  | 8.3056 | 7.1451 | 8.299 | 0.011267 | 0.00069156 | 0.010292 | 0.00079579 | 0.00084621 | 2.2786e-06 | 0 | 0 | 0 | 3.2143 | 0.00017388
17 | 5.4908e-06 | 0.039734 | 0.0027657 | 0.042499 | 6.8997 |  |  |  |  | 8.3059 | 7.1464 | 8.2994 | 0.011394 | 0.00070076 | 0.010407 | 0.00080603 | 0.00085638 | 2.3019e-06 | 0 | 0 | 0 | 3.2318 | 0.0001765
18 | 5.4807e-06 | 0.040185 | 0.0028035 | 0.043006 | 6.8997 |  |  |  |  | 8.3062 | 7.1477 | 8.2998 | 0.011525 | 0.00071021 | 0.010524 | 0.00081655 | 0.00086679 | 2.3258e-06 | 0 | 0 | 0 | 3.2496 | 0.00017918
19 | 5.4704e-06 | 0.040647 | 0.0028424 | 0.043526 | 6.8997 |  |  |  |  | 8.3065 | 7.149 | 8.3001 | 0.011658 | 0.00071993 | 0.010644 | 0.00082736 | 0.00087747 | 2.3504e-06 | 0 | 0 | 0 | 3.2674 | 0.00018192
20 | 5.4598e-06 | 0.041119 | 0.0028824 | 0.044058 | 6.8997 |  |  |  |  | 8.3068 | 7.1503 | 8.3005 | 0.011795 | 0.00072992 | 0.010766 | 0.00083847 | 0.0008884 | 2.3755e-06 | 0 | 0 | 0 | 3.2855 | 0.00018473
21 | 5.449e-06 | 0.041603 | 0.0029235 | 0.044604 | 6.8997 |  |  |  |  | 8.3071 | 7.1517 | 8.3008 | 0.011935 | 0.0007402 | 0.010892 | 0.0008499 | 0.00089962 | 2.4015e-06 | 0 | 0 | 0 | 3.3037 | 0.00018762
22 | 5.4379e-06 | 0.042099 | 0.0029659 | 0.045164 | 6.8997 |  |  |  |  | 8.3074 | 7.153 | 8.3012 | 0.012078 | 0.00075078 | 0.011021 | 0.00086165 | 0.00091112 | 2.428e-06 | 0 | 0 | 0 | 3.3222 | 0.00019058
23 | 5.4265e-06 | 0.042607 | 0.0030095 | 0.045739 | 6.8996 |  |  |  |  | 8.3077 | 7.1544 | 8.3015 | 0.012226 | 0.00076167 | 0.011153 | 0.00087375 | 0.00092292 | 2.4554e-06 | 0 | 0 | 0 | 3.3408 | 0.00019361
24 | 5.4149e-06 | 0.043128 | 0.0030544 | 0.046328 | 6.8996 |  |  |  |  | 8.3079 | 7.1558 | 8.3019 | 0.012376 | 0.00077288 | 0.011288 | 0.0008862 | 0.00093504 | 2.4834e-06 | 0 | 0 | 0 | 3.3596 | 0.00019673
25 | 5.4029e-06 | 0.043663 | 0.0031007 | 0.046933 | 6.8996 |  |  |  |  | 8.3082 | 7.1572 | 8.3022 | 0.012531 | 0.00078444 | 0.011427 | 0.00089903 | 0.00094747 | 2.5123e-06 | 0 | 0 | 0 | 3.3786 | 0.00019993
26 | 5.3906e-06 | 0.044211 | 0.0031484 | 0.047554 | 6.8996 |  |  |  |  | 8.3085 | 7.1587 | 8.3026 | 0.01269 | 0.00079635 | 0.011569 | 0.00091225 | 0.00096024 | 2.5421e-06 | 0 | 0 | 0 | 3.3978 | 0.00020322
27 | 5.378e-06 | 0.044773 | 0.0031976 | 0.048192 | 6.8996 |  |  |  |  | 8.3087 | 7.1601 | 8.3029 | 0.012853 | 0.00080864 | 0.011715 | 0.00092587 | 0.00097336 | 2.5727e-06 | 0 | 0 | 0 | 3.4173 | 0.0002066
28 | 5.3651e-06 | 0.045351 | 0.0032485 | 0.048848 | 6.8996 |  |  |  |  | 8.309 | 7.1616 | 8.3032 | 0.01302 | 0.00082131 | 0.011865 | 0.00093992 | 0.00098684 | 2.6042e-06 | 0 | 0 | 0 | 3.4369 | 0.00021007
29 | 5.3518e-06 | 0.045944 | 0.0033009 | 0.049522 | 6.8995 |  |  |  |  | 8.3092 | 7.1632 | 8.3036 | 0.013192 | 0.0008344 | 0.012019 | 0.00095442 | 0.0010007 | 2.6366e-06 | 0 | 0 | 0 | 3.4567 | 0.00021364
30 | 5.3381e-06 | 0.046553 | 0.0033551 | 0.050215 | 6.8995 |  |  |  |  | 8.3095 | 7.1647 | 8.3039 | 0.013368 | 0.00084792 | 0.012177 | 0.00096939 | 0.001015 | 2.6702e-06 | 0 | 0 | 0 | 3.4768 | 0.00021731
31 | 5.3241e-06 | 0.047179 | 0.0034111 | 0.050928 | 6.8995 |  |  |  |  | 8.3097 | 7.1663 | 8.3042 | 0.01355 | 0.00086189 | 0.012339 | 0.00098485 | 0.0010296 | 2.7047e-06 | 0 | 0 | 0 | 3.4972 | 0.00022109
32 | 5.3096e-06 | 0.047822 | 0.0034691 | 0.051662 | 6.8995 |  |  |  |  | 8.3099 | 7.1679 | 8.3045 | 0.013736 | 0.00087633 | 0.012506 | 0.0010008 | 0.0010447 | 2.7403e-06 | 0 | 0 | 0 | 3.5177 | 0.00022498
33 | 5.2948e-06 | 0.048484 | 0.003529 | 0.052418 | 6.8995 |  |  |  |  | 8.3101 | 7.1696 | 8.3048 | 0.013928 | 0.00089127 | 0.012678 | 0.0010174 | 0.0010603 | 2.777e-06 | 0 | 0 | 0 | 3.5385 | 0.00022898
34 | 5.2795e-06 | 0.049166 | 0.0035911 | 0.053196 | 6.8994 |  |  |  |  | 8.3104 | 7.1712 | 8.3051 | 0.014126 | 0.00090674 | 0.012854 | 0.0010344 | 0.0010763 | 2.8151e-06 | 0 | 0 | 0 | 3.5596 | 0.00023311
35 | 5.2637e-06 | 0.049867 | 0.0036554 | 0.053998 | 6.8994 |  |  |  |  | 8.3106 | 7.173 | 8.3054 | 0.014329 | 0.00092276 | 0.013036 | 0.0010521 | 0.0010928 | 2.8543e-06 | 0 | 0 | 0 | 3.5809 | 0.00023736
36 | 5.2475e-06 | 0.050589 | 0.003722 | 0.054825 | 6.8994 |  |  |  |  | 8.3107 | 7.1747 | 8.3056 | 0.014539 | 0.00093937 | 0.013224 | 0.0010705 | 0.0011099 | 2.8951e-06 | 0 | 0 | 0 | 3.6024 | 0.00024175
37 | 5.2308e-06 | 0.051333 | 0.0037912 | 0.055678 | 6.8994 |  |  |  |  | 8.3109 | 7.1765 | 8.3059 | 0.014755 | 0.00095659 | 0.013416 | 0.0010895 | 0.0011274 | 2.937e-06 | 0 | 0 | 0 | 3.6243 | 0.00024628
38 | 5.2136e-06 | 0.052099 | 0.003863 | 0.056558 | 6.8994 |  |  |  |  | 8.3111 | 7.1783 | 8.3062 | 0.014977 | 0.00097446 | 0.013615 | 0.0011092 | 0.0011456 | 2.9807e-06 | 0 | 0 | 0 | 3.6464 | 0.00025095
39 | 5.1958e-06 | 0.05289 | 0.0039375 | 0.057466 | 6.8993 |  |  |  |  | 8.3113 | 7.1802 | 8.3065 | 0.015207 | 0.00099302 | 0.01382 | 0.0011296 | 0.0011643 | 3.0258e-06 | 0 | 0 | 0 | 3.6689 | 0.00025578
40 | 5.1775e-06 | 0.053706 | 0.004015 | 0.058404 | 6.8993 |  |  |  |  | 8.3114 | 7.1821 | 8.3067 | 0.015444 | 0.0010123 | 0.014032 | 0.0011509 | 0.0011836 | 3.0727e-06 | 0 | 0 | 0 | 3.6916 | 0.00026077
41 | 5.1586e-06 | 0.054548 | 0.0040956 | 0.059374 | 6.8993 |  |  |  |  | 8.3116 | 7.184 | 8.307 | 0.015688 | 0.0010324 | 0.01425 | 0.001173 | 0.0012037 | 3.1212e-06 | 0 | 0 | 0 | 3.7146 | 0.00026592
42 | 5.139e-06 | 0.055418 | 0.0041795 | 0.060377 | 6.8993 |  |  |  |  | 8.3117 | 7.186 | 8.3072 | 0.015941 | 0.0010532 | 0.014476 | 0.0011959 | 0.0012244 | 3.1716e-06 | 0 | 0 | 0 | 3.738 | 0.00027126
43 | 5.1188e-06 | 0.056317 | 0.0042669 | 0.061414 | 6.8993 |  |  |  |  | 8.3119 | 7.1881 | 8.3075 | 0.016202 | 0.001075 | 0.014709 | 0.0012198 | 0.0012458 | 3.224e-06 | 0 | 0 | 0 | 3.7617 | 0.00027678
44 | 5.0979e-06 | 0.057247 | 0.0043581 | 0.062488 | 6.8993 |  |  |  |  | 8.312 | 7.1902 | 8.3077 | 0.016472 | 0.0010977 | 0.014949 | 0.0012447 | 0.001268 | 3.2786e-06 | 0 | 0 | 0 | 3.7857 | 0.0002825
45 | 5.0763e-06 | 0.058208 | 0.0044532 | 0.0636 | 6.8992 |  |  |  |  | 8.3121 | 7.1924 | 8.3079 | 0.016752 | 0.0011213 | 0.015199 | 0.0012707 | 0.001291 | 3.3353e-06 | 0 | 0 | 0 | 3.8101 | 0.00028843
46 | 5.9125e-06 | 0.059204 | 0.0038032 | 0.062638 | 7.7992 |  |  |  |  | 8.3122 | 7.1339 | 8.3084 | 0.017041 | 0.00095676 | 0.015457 | 0.0011039 | 0.0013148 | 2.8532e-06 | 0 | 0 | 0 | 3.8348 | 0.00029458
47 | 5.8898e-06 | 0.060249 | 0.0038871 | 0.063788 | 7.7992 |  |  |  |  | 8.3121 | 7.137 | 8.3083 | 0.017345 | 0.00097865 | 0.015727 | 0.0011279 | 0.0013396 | 2.9037e-06 | 0 | 0 | 0 | 3.8596 | 0.00030095
48 | 5.8664e-06 | 0.061333 | 0.0039747 | 0.064982 | 7.7992 |  |  |  |  | 8.3121 | 7.139 | 8.3084 | 0.017659 | 0.0010004 | 0.016008 | 0.0011522 | 0.0013653 | 2.9556e-06 | 0 | 0 | 0 | 3.8848 | 0.00030757
49 | 5.842e-06 | 0.062458 | 0.0040664 | 0.066222 | 7.7992 |  |  |  |  | 8.312 | 7.141 | 8.3085 | 0.017986 | 0.0010232 | 0.016299 | 0.0011776 | 0.001392 | 3.0098e-06 | 0 | 0 | 0 | 3.9104 | 0.00031444
50 | 5.8167e-06 | 0.063625 | 0.0041624 | 0.067511 | 7.7992 |  |  |  |  | 8.3119 | 7.1431 | 8.3085 | 0.018325 | 0.001047 | 0.016602 | 0.0012042 | 0.0014198 | 3.0664e-06 | 0 | 0 | 0 | 3.9364 | 0.00032159
51 | 5.7898e-06 | 0.064839 | 0.0042636 | 0.068851 | 7.7985 |  |  |  |  | 8.3118 | 7.1454 | 8.3085 | 0.018678 | 0.0010721 | 0.016916 | 0.0012321 | 0.0014487 | 3.1258e-06 | 0 | 0 | 0 | 3.9628 | 0.00032904
52 | 5.7624e-06 | 0.066101 | 0.0043693 | 0.070246 | 7.7984 |  |  |  |  | 8.3116 | 7.1476 | 8.3085 | 0.019045 | 0.0010984 | 0.017243 | 0.0012613 | 0.0014788 | 3.1877e-06 | 0 | 0 | 0 | 3.9897 | 0.00033679
53 | 5.734e-06 | 0.067414 | 0.0044805 | 0.071699 | 7.7984 |  |  |  |  | 8.3115 | 7.1499 | 8.3085 | 0.019426 | 0.001126 | 0.017583 | 0.001292 | 0.0015102 | 3.2527e-06 | 0 | 0 | 0 | 4.017 | 0.00034488
54 | 5.7044e-06 | 0.068782 | 0.0045974 | 0.073215 | 7.7984 |  |  |  |  | 8.3113 | 7.1523 | 8.3085 | 0.019824 | 0.001155 | 0.017937 | 0.0013242 | 0.0015429 | 3.3207e-06 | 0 | 0 | 0 | 4.0448 | 0.00035331
55 | 5.6735e-06 | 0.070209 | 0.0047207 | 0.074796 | 7.7984 |  |  |  |  | 8.3111 | 7.1548 | 8.3084 | 0.020239 | 0.0011855 | 0.018306 | 0.001358 | 0.0015772 | 3.3922e-06 | 0 | 0 | 0 | 4.0731 | 0.00036212
56 | 5.6414e-06 | 0.071697 | 0.0048507 | 0.076448 | 7.7984 |  |  |  |  | 8.3109 | 7.1574 | 8.3084 | 0.020672 | 0.0012178 | 0.018691 | 0.0013938 | 0.0016129 | 3.4674e-06 | 0 | 0 | 0 | 4.1019 | 0.00037133
57 | 5.6078e-06 | 0.073252 | 0.0049881 | 0.078175 | 7.7983 |  |  |  |  | 8.3107 | 7.1601 | 8.3083 | 0.021125 | 0.0012518 | 0.019094 | 0.0014314 | 0.0016504 | 3.5466e-06 | 0 | 0 | 0 | 4.1313 | 0.00038097
58 | 5.5727e-06 | 0.074877 | 0.0051335 | 0.079982 | 7.7983 |  |  |  |  | 8.3104 | 7.1628 | 8.3082 | 0.021598 | 0.0012878 | 0.019514 | 0.0014713 | 0.0016896 | 3.6302e-06 | 0 | 0 | 0 | 4.1613 | 0.00039106
59 | 5.536e-06 | 0.076578 | 0.0052876 | 0.081875 | 7.7983 |  |  |  |  | 8.3101 | 7.1657 | 8.3081 | 0.022093 | 0.001326 | 0.019954 | 0.0015134 | 0.0017307 | 3.7184e-06 | 0 | 0 | 0 | 4.1918 | 0.00040165
60 | 5.4975e-06 | 0.07836 | 0.0054512 | 0.083861 | 7.7983 |  |  |  |  | 8.3098 | 7.1688 | 8.3079 | 0.022612 | 0.0013665 | 0.020415 | 0.0015581 | 0.0017739 | 3.8117e-06 | 0 | 0 | 0 | 4.223 | 0.00041277
61 | 5.4572e-06 | 0.08023 | 0.0056252 | 0.085945 | 7.7983 |  |  |  |  | 8.3094 | 7.1719 | 8.3078 | 0.023157 | 0.0014096 | 0.020899 | 0.0016056 | 0.0018192 | 3.9107e-06 | 0 | 0 | 0 | 4.2548 | 0.00042445
62 | 5.415e-06 | 0.082193 | 0.0058107 | 0.088137 | 7.7982 |  |  |  |  | 8.309 | 7.1752 | 8.3076 | 0.023729 | 0.0014555 | 0.021407 | 0.001656 | 0.001867 | 4.0158e-06 | 0 | 0 | 0 | 4.2873 | 0.00043676
63 | 5.3706e-06 | 0.084257 | 0.0060087 | 0.090443 | 7.7982 |  |  |  |  | 8.3086 | 7.1787 | 8.3073 | 0.024331 | 0.0015044 | 0.02194 | 0.0017099 | 0.0019174 | 4.1276e-06 | 0 | 0 | 0 | 4.3206 | 0.00044972
64 | 5.3239e-06 | 0.086431 | 0.0062206 | 0.092873 | 7.7982 |  |  |  |  | 8.3082 | 7.1823 | 8.3071 | 0.024966 | 0.0015568 | 0.022502 | 0.0017674 | 0.0019705 | 4.2468e-06 | 0 | 0 | 0 | 4.3546 | 0.00046341
65 | 5.2748e-06 | 0.088723 | 0.0064479 | 0.095437 | 7.7982 |  |  |  |  | 8.3077 | 7.1861 | 8.3068 | 0.025634 | 0.001613 | 0.023095 | 0.0018289 | 0.0020267 | 4.3741e-06 | 0 | 0 | 0 | 4.3894 | 0.00047787
66 | 5.223e-06 | 0.091143 | 0.0066922 | 0.098146 | 7.7981 |  |  |  |  | 8.3071 | 7.1902 | 8.3065 | 0.026341 | 0.0016734 | 0.02372 | 0.001895 | 0.0020862 | 4.5105e-06 | 0 | 0 | 0 | 4.425 | 0.00049319
67 | 5.1684e-06 | 0.093702 | 0.0069556 | 0.10101 | 7.7981 |  |  |  |  | 8.3066 | 7.1944 | 8.3061 | 0.027088 | 0.0017384 | 0.024382 | 0.001966 | 0.0021493 | 4.657e-06 | 0 | 0 | 0 | 4.4616 | 0.00050943
68 | 5.1106e-06 | 0.096413 | 0.0072402 | 0.10405 | 7.7981 |  |  |  |  | 8.3059 | 7.1989 | 8.3058 | 0.027881 | 0.0018087 | 0.025082 | 0.0020427 | 0.0022163 | 4.8146e-06 | 0 | 0 | 0 | 4.4991 | 0.00052669
69 | 5.0495e-06 | 0.099289 | 0.0075488 | 0.10728 | 7.7981 |  |  |  |  | 8.3053 | 7.2037 | 8.3054 | 0.028722 | 0.0018849 | 0.025825 | 0.0021256 | 0.0022876 | 4.9848e-06 | 0 | 0 | 0 | 4.5376 | 0.00054506
70 | 4.9846e-06 | 0.10235 | 0.0078844 | 0.11071 | 7.798 |  |  |  |  | 8.3045 | 7.2088 | 8.3049 | 0.029616 | 0.0019677 | 0.026615 | 0.0022156 | 0.0023637 | 5.1691e-06 | 0 | 0 | 0 | 4.5771 | 0.00056466
71 | 6.3088e-06 | 0.1056 | 0.006394 | 0.11194 | 9.298 |  |  |  |  | 8.3038 | 7.1191 | 8.305 | 0.03057 | 0.0015929 | 0.027457 | 0.0018431 | 0.002445 | 4.1748e-06 | 0 | 0 | 0 | 4.6179 | 0.0005856
72 | 6.2338e-06 | 0.10915 | 0.0066905 | 0.11581 | 9.298 |  |  |  |  | 8.3027 | 7.1252 | 8.304 | 0.031604 | 0.0016684 | 0.028371 | 0.0019263 | 0.0025322 | 4.3367e-06 | 0 | 0 | 0 | 4.6591 | 0.00060803
73 | 6.1537e-06 | 0.11294 | 0.0070156 | 0.11997 | 9.298 |  |  |  |  | 8.3015 | 7.1302 | 8.3031 | 0.032713 | 0.0017485 | 0.029351 | 0.0020151 | 0.0026258 | 4.5113e-06 | 0 | 0 | 0 | 4.7016 | 0.00063212
74 | 6.0678e-06 | 0.11702 | 0.0073735 | 0.12444 | 9.298 |  |  |  |  | 8.3003 | 7.1355 | 8.3021 | 0.033904 | 0.0018366 | 0.030402 | 0.0021127 | 0.0027266 | 4.7027e-06 | 0 | 0 | 0 | 4.7454 | 0.00065805
75 | 5.9747e-06 | 0.1214 | 0.0077706 | 0.12924 | 9.2969 |  |  |  |  | 8.299 | 7.1413 | 8.3011 | 0.035187 | 0.0019342 | 0.031534 | 0.0022206 | 0.0028355 | 4.9139e-06 | 0 | 0 | 0 | 4.7907 | 0.00068606
76 | 5.8756e-06 | 0.12614 | 0.0082108 | 0.13444 | 9.2969 |  |  |  |  | 8.2976 | 7.1475 | 8.2999 | 0.036572 | 0.0020425 | 0.032755 | 0.0023399 | 0.0029535 | 5.1468e-06 | 0 | 0 | 0 | 4.8376 | 0.00071641
77 | 5.7686e-06 | 0.13126 | 0.0087031 | 0.14006 | 9.2969 |  |  |  |  | 8.296 | 7.1543 | 8.2987 | 0.038074 | 0.0021635 | 0.034078 | 0.0024728 | 0.0030816 | 5.4057e-06 | 0 | 0 | 0 | 4.8862 | 0.00074939
78 | 5.653e-06 | 0.13684 | 0.0092568 | 0.14617 | 9.2969 |  |  |  |  | 8.2944 | 7.1617 | 8.2975 | 0.039706 | 0.0022995 | 0.035514 | 0.0026219 | 0.0032215 | 5.6952e-06 | 0 | 0 | 0 | 4.9367 | 0.00078537
79 | 5.5275e-06 | 0.14291 | 0.0098841 | 0.15283 | 9.2968 |  |  |  |  | 8.2927 | 7.1699 | 8.2961 | 0.041487 | 0.0024536 | 0.03708 | 0.00279 | 0.0033746 | 6.0214e-06 | 0 | 0 | 0 | 4.9893 | 0.00082478
80 | 5.3911e-06 | 0.14956 | 0.0106 | 0.16012 | 9.2968 |  |  |  |  | 8.2908 | 7.179 | 8.2946 | 0.043439 | 0.0026293 | 0.038795 | 0.0029812 | 0.003543 | 6.3915e-06 | 0 | 0 | 0 | 5.0441 | 0.00086812
81 | 5.2423e-06 | 0.15688 | 0.011424 | 0.16812 | 9.2968 |  |  |  |  | 8.2887 | 7.189 | 8.293 | 0.045587 | 0.0028315 | 0.04068 | 0.0032004 | 0.0037292 | 6.8149e-06 | 0 | 0 | 0 | 5.1013 | 0.00091604
82 | 5.0793e-06 | 0.16496 | 0.012383 | 0.17695 | 9.2967 |  |  |  |  | 8.2865 | 7.2003 | 8.2913 | 0.047962 | 0.0030665 | 0.042762 | 0.0034541 | 0.003936 | 7.3041e-06 | 0 | 0 | 0 | 5.1614 | 0.00096927
83 | 4.9005e-06 | 0.17393 | 0.01351 | 0.18673 | 9.2967 |  |  |  |  | 8.2841 | 7.2131 | 8.2894 | 0.050603 | 0.0033427 | 0.045074 | 0.0037509 | 0.0041671 | 7.8757e-06 | 0 | 0 | 0 | 5.2245 | 0.0010288
84 | 4.7035e-06 | 0.18396 | 0.014852 | 0.19762 | 9.2967 |  |  |  |  | 8.2816 | 7.2275 | 8.2874 | 0.053557 | 0.0036713 | 0.047657 | 0.0041025 | 0.004427 | 8.5516e-06 | 0 | 0 | 0 | 5.291 | 0.0010957
85 | 4.4858e-06 | 0.19523 | 0.016473 | 0.20981 | 9.2966 |  |  |  |  | 8.2787 | 7.2441 | 8.2853 | 0.056882 | 0.0040682 | 0.050561 | 0.0045252 | 0.0047216 | 9.3628e-06 | 0 | 0 | 0 | 5.3616 | 0.0011716
86 | 8.7633e-06 | 0.208 | 0.009485 | 0.22696 | 14.4966 |  |  |  |  | 8.2757 | 6.9872 | 8.2817 | 0.060655 | 0.0023284 | 0.053849 | 0.0028206 | 0.0050582 | 5.288e-06 | 0 | 0 | 0 | 5.4366 | 0.0012583
87 | 8.4293e-06 | 0.22327 | 0.01059 | 0.24414 | 14.4953 |  |  |  |  | 8.2715 | 7.0036 | 8.277 | 0.065141 | 0.0026085 | 0.057774 | 0.0031369 | 0.0054469 | 5.8176e-06 | 0 | 0 | 0 | 5.5133 | 0.0013583
88 | 8.0468e-06 | 0.24099 | 0.011972 | 0.26403 | 14.4953 |  |  |  |  | 8.2668 | 7.0198 | 8.2726 | 0.070353 | 0.0029449 | 0.062327 | 0.0035164 | 0.0059003 | 6.4617e-06 | 0 | 0 | 0 | 5.5956 | 0.001475
89 | 7.6036e-06 | 0.26181 | 0.013749 | 0.28727 | 14.4952 |  |  |  |  | 8.2616 | 7.0396 | 8.2678 | 0.07648 | 0.0033771 | 0.067674 | 0.003999 | 0.0064361 | 7.2804e-06 | 0 | 0 | 0 | 5.6844 | 0.0016129
90 | 7.086e-06 | 0.28662 | 0.016108 | 0.31474 | 14.4952 |  |  |  |  | 8.2558 | 7.0643 | 8.2625 | 0.083791 | 0.0039505 | 0.074041 | 0.004632 | 0.007079 | 8.3548e-06 | 0 | 0 | 0 | 5.781 | 0.0017784
91 | 6.4765e-06 | 0.31668 | 0.019372 | 0.34764 | 14.4951 |  |  |  |  | 8.2492 | 7.0958 | 8.2567 | 0.092662 | 0.0047434 | 0.081753 | 0.0054963 | 0.0078646 | 9.8237e-06 | 0 | 0 | 0 | 5.8872 | 0.0019808
92 | 5.7544e-06 | 0.35384 | 0.024142 | 0.38762 | 14.4951 |  |  |  |  | 8.2417 | 7.137 | 8.2503 | 0.10365 | 0.0059009 | 0.091285 | 0.0067406 | 0.0088464 | 1.1943e-05 | 0 | 0 | 0 | 6.0052 | 0.0022337
93 | 4.8962e-06 | 0.40094 | 0.031643 | 0.43701 | 14.4928 |  |  |  |  | 8.233 | 7.1927 | 8.2431 | 0.11762 | 0.0077207 | 0.10336 | 0.0086674 | 0.010109 | 1.5233e-05 | 0 | 0 | 0 | 6.1387 | 0.0025591
94 | 3.8929e-06 | 0.46249 | 0.04465 | 0.49943 | 14.4926 |  |  |  |  | 8.2229 | 7.2699 | 8.2353 | 0.13593 | 0.010875 | 0.11915 | 0.011956 | 0.011791 | 2.0856e-05 | 0 | 0 | 0 | 6.2929 | 0.002993
95 | 2.7749e-06 | 0.54606 | 0.070326 | 0.58092 | 14.4924 |  |  |  |  | 0 | 0 | 0 | 0.16094 | 0 | 0.14058 | 0 | 0.014145 | 0 | 0 | 0 | 0 | 0 | 0