## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Salinity | Mass transfer | Pressure drop Corr | CP modulus Corr | CP Factor | Reynolds number | Cross-flow Velocity | u5
0 | 5.4997e-06 | 0.01381 | 6.4152e-05 | 0.01468 | 4.9 | 19.1872 | 19.9648 | 19.5554 | 19.4079 | 19.5209 | 0.33722 | 0.0093063 | 0.0022026 | 0.0065822 | 0.0079371 | 0.36324 | 1.0135 | 0.41861 | 8.964e-05 | 0.0013984 | 1.0554 | 1.063 | 270.7039 | 0.17
1 | 5.4954e-06 | 0.013949 | 6.488e-05 | 0.014835 | 4.9 | [12 empty] | 0.42284 | 8.8855e-05 | 0.0014019 | 1.0556 | 1.0742 | 267.9955 | 0.1683
2 | 5.4909e-06 | 0.014091 | 6.5625e-05 | 0.014993 | 4.9 | [12 empty] | 0.42715 | 8.8069e-05 | 0.0014054 | 1.0559 | 1.0856 | 265.2872 | 0.1666
3 | 5.4864e-06 | 0.014235 | 6.6387e-05 | 0.015154 | 4.9 | [12 empty] | 0.43156 | 8.7282e-05 | 0.0014091 | 1.0561 | 1.0973 | 262.5788 | 0.1649
4 | 5.4817e-06 | 0.014383 | 6.7166e-05 | 0.015319 | 4.8999 | [12 empty] | 0.43605 | 8.6494e-05 | 0.0014127 | 1.0564 | 1.1093 | 259.8704 | 0.1632
5 | 5.477e-06 | 0.014533 | 6.7964e-05 | 0.015488 | 4.8999 | [12 empty] | 0.44064 | 8.5705e-05 | 0.0014164 | 1.0566 | 1.1215 | 257.1621 | 0.1615
6 | 5.4721e-06 | 0.014687 | 6.8781e-05 | 0.01566 | 4.8999 | [12 empty] | 0.44533 | 8.4915e-05 | 0.0014202 | 1.0569 | 1.134 | 254.4537 | 0.1598
7 | 5.4672e-06 | 0.014844 | 6.9618e-05 | 0.015837 | 4.8999 | [12 empty] | 0.45012 | 8.4124e-05 | 0.001424 | 1.0571 | 1.1467 | 251.7453 | 0.1581
8 | 5.4621e-06 | 0.015005 | 7.0475e-05 | 0.016017 | 4.8999 | [12 empty] | 0.45501 | 8.3331e-05 | 0.0014279 | 1.0574 | 1.1598 | 249.037 | 0.1564
9 | 5.4569e-06 | 0.015169 | 7.1354e-05 | 0.016201 | 4.8999 | [12 empty] | 0.46001 | 8.2538e-05 | 0.0014318 | 1.0577 | 1.1731 | 246.3286 | 0.1547
10 | 5.4516e-06 | 0.015337 | 7.2254e-05 | 0.01639 | 4.8999 | [12 empty] | 0.46512 | 8.1744e-05 | 0.0014357 | 1.0579 | 1.1868 | 243.6202 | 0.153
11 | 5.4462e-06 | 0.015508 | 7.3177e-05 | 0.016583 | 4.8998 | [12 empty] | 0.47035 | 8.0948e-05 | 0.0014398 | 1.0582 | 1.2008 | 240.9118 | 0.1513
12 | 5.4407e-06 | 0.015684 | 7.4124e-05 | 0.01678 | 4.8998 | [12 empty] | 0.47569 | 8.0151e-05 | 0.0014439 | 1.0585 | 1.2151 | 238.2035 | 0.1496
13 | 5.435e-06 | 0.015863 | 7.5096e-05 | 0.016983 | 4.8998 | [12 empty] | 0.48116 | 7.9354e-05 | 0.001448 | 1.0588 | 1.2297 | 235.4951 | 0.1479
14 | 5.4292e-06 | 0.016047 | 7.6093e-05 | 0.01719 | 4.8998 | [12 empty] | 0.48675 | 7.8555e-05 | 0.0014522 | 1.0591 | 1.2447 | 232.7867 | 0.1462
15 | 5.4232e-06 | 0.016235 | 7.7117e-05 | 0.017402 | 4.8998 | [12 empty] | 0.49248 | 7.7754e-05 | 0.0014565 | 1.0593 | 1.2601 | 230.0783 | 0.1445
16 | 5.4171e-06 | 0.016427 | 7.8168e-05 | 0.017619 | 4.8998 | [12 empty] | 0.49834 | 7.6953e-05 | 0.0014608 | 1.0596 | 1.2758 | 227.37 | 0.1428
17 | 5.4109e-06 | 0.016624 | 7.9248e-05 | 0.017842 | 4.8997 | [12 empty] | 0.50435 | 7.6151e-05 | 0.0014652 | 1.0599 | 1.292 | 224.6616 | 0.1411
18 | 5.4045e-06 | 0.016826 | 8.0358e-05 | 0.018071 | 4.8997 | [12 empty] | 0.5105 | 7.5347e-05 | 0.0014696 | 1.0603 | 1.3086 | 221.9532 | 0.1394
19 | 5.3979e-06 | 0.017033 | 8.15e-05 | 0.018306 | 4.8997 | [12 empty] | 0.5168 | 7.4542e-05 | 0.0014742 | 1.0606 | 1.3255 | 219.2449 | 0.1377
20 | 5.3912e-06 | 0.017244 | 8.2674e-05 | 0.018546 | 4.8997 | [12 empty] | 0.52326 | 7.3736e-05 | 0.0014787 | 1.0609 | 1.343 | 216.5365 | 0.136
21 | 5.3843e-06 | 0.017462 | 8.3882e-05 | 0.018793 | 4.8997 | [12 empty] | 0.52989 | 7.2929e-05 | 0.0014834 | 1.0612 | 1.3608 | 213.8281 | 0.1343
22 | 5.3772e-06 | 0.017684 | 8.5126e-05 | 0.019047 | 4.8997 | [12 empty] | 0.53668 | 7.212e-05 | 0.0014882 | 1.0615 | 1.3792 | 211.1197 | 0.1326
23 | 5.3699e-06 | 0.017913 | 8.6406e-05 | 0.019307 | 4.8996 | [12 empty] | 0.54365 | 7.131e-05 | 0.001493 | 1.0619 | 1.3981 | 208.4114 | 0.1309
24 | 5.3624e-06 | 0.018148 | 8.7725e-05 | 0.019575 | 4.8996 | [12 empty] | 0.5508 | 7.0499e-05 | 0.0014979 | 1.0622 | 1.4174 | 205.703 | 0.1292
25 | 5.3547e-06 | 0.018388 | 8.9085e-05 | 0.01985 | 4.8996 | [12 empty] | 0.55815 | 6.9686e-05 | 0.0015029 | 1.0626 | 1.4374 | 202.9946 | 0.1275
26 | 5.3468e-06 | 0.018636 | 9.0487e-05 | 0.020133 | 4.8996 | [12 empty] | 0.56569 | 6.8872e-05 | 0.0015079 | 1.0629 | 1.4578 | 200.2863 | 0.1258
27 | 5.3387e-06 | 0.01889 | 9.1934e-05 | 0.020424 | 4.8996 | [12 empty] | 0.57344 | 6.8056e-05 | 0.0015131 | 1.0633 | 1.4789 | 197.5779 | 0.1241
28 | 5.3304e-06 | 0.019151 | 9.3427e-05 | 0.020723 | 4.8996 | [12 empty] | 0.5814 | 6.724e-05 | 0.0015183 | 1.0637 | 1.5006 | 194.8695 | 0.1224
29 | 5.3218e-06 | 0.019419 | 9.4968e-05 | 0.021031 | 4.8995 | [12 empty] | 0.58959 | 6.6422e-05 | 0.0015236 | 1.064 | 1.5229 | 192.1611 | 0.1207
30 | 5.3129e-06 | 0.019695 | 9.6561e-05 | 0.021349 | 4.8995 | [12 empty] | 0.59801 | 6.5602e-05 | 0.0015291 | 1.0644 | 1.5459 | 189.4528 | 0.119
31 | 5.3038e-06 | 0.019979 | 9.8208e-05 | 0.021676 | 4.8995 | [12 empty] | 0.60668 | 6.4781e-05 | 0.0015346 | 1.0648 | 1.5696 | 186.7444 | 0.1173
32 | 5.2944e-06 | 0.020272 | 9.9911e-05 | 0.022013 | 4.8995 | [12 empty] | 0.6156 | 6.3958e-05 | 0.0015402 | 1.0652 | 1.594 | 184.036 | 0.1156
33 | 5.2848e-06 | 0.020573 | 0.00010167 | 0.02236 | 4.8995 | [12 empty] | 0.62479 | 6.3134e-05 | 0.001546 | 1.0656 | 1.6191 | 181.3276 | 0.1139
34 | 5.2748e-06 | 0.020883 | 0.0001035 | 0.022719 | 4.8995 | [12 empty] | 0.63426 | 6.2308e-05 | 0.0015518 | 1.066 | 1.6451 | 178.6193 | 0.1122
35 | 5.2645e-06 | 0.021203 | 0.00010539 | 0.023089 | 4.8994 | [12 empty] | 0.64401 | 6.1481e-05 | 0.0015577 | 1.0665 | 1.6719 | 175.9109 | 0.1105
36 | 5.2539e-06 | 0.021532 | 0.00010735 | 0.023471 | 4.8994 | [12 empty] | 0.65408 | 6.0652e-05 | 0.0015638 | 1.0669 | 1.6996 | 173.2025 | 0.1088
37 | 5.2429e-06 | 0.021872 | 0.00010938 | 0.023866 | 4.8994 | [12 empty] | 0.66446 | 5.9822e-05 | 0.00157 | 1.0674 | 1.7282 | 170.4941 | 0.1071
38 | 5.2316e-06 | 0.022223 | 0.00011149 | 0.024274 | 4.8994 | [12 empty] | 0.67518 | 5.899e-05 | 0.0015763 | 1.0678 | 1.7577 | 167.7858 | 0.1054
39 | 5.2199e-06 | 0.022586 | 0.00011369 | 0.024696 | 4.8994 | [12 empty] | 0.68624 | 5.8156e-05 | 0.0015827 | 1.0683 | 1.7883 | 165.0774 | 0.1037
40 | 5.2077e-06 | 0.02296 | 0.00011596 | 0.025133 | 4.8994 | [12 empty] | 0.69768 | 5.7321e-05 | 0.0015893 | 1.0688 | 1.8199 | 162.369 | 0.102
41 | 5.1952e-06 | 0.023348 | 0.00011834 | 0.025585 | 4.8993 | [12 empty] | 0.70951 | 5.6483e-05 | 0.001596 | 1.0692 | 1.8527 | 159.6606 | 0.1003
42 | 5.1822e-06 | 0.023748 | 0.0001208 | 0.026054 | 4.8993 | [12 empty] | 0.72174 | 5.5644e-05 | 0.0016029 | 1.0698 | 1.8866 | 156.9523 | 0.0986
43 | 5.1688e-06 | 0.024163 | 0.00012338 | 0.02654 | 4.8993 | [12 empty] | 0.7344 | 5.4804e-05 | 0.0016099 | 1.0703 | 1.9218 | 154.2439 | 0.0969
44 | 5.1548e-06 | 0.024592 | 0.00012606 | 0.027044 | 4.8993 | [12 empty] | 0.74752 | 5.3961e-05 | 0.0016171 | 1.0708 | 1.9583 | 151.5355 | 0.0952
45 | 5.1403e-06 | 0.025037 | 0.00012886 | 0.027568 | 4.8993 | [12 empty] | 0.76111 | 5.3116e-05 | 0.0016244 | 1.0713 | 1.9962 | 148.8271 | 0.0935
46 | 5.1253e-06 | 0.025498 | 0.00013178 | 0.028111 | 4.8992 | [12 empty] | 0.7752 | 5.227e-05 | 0.0016319 | 1.0719 | 2.0356 | 146.1187 | 0.0918
47 | 5.1097e-06 | 0.025977 | 0.00013484 | 0.028676 | 4.8992 | [12 empty] | 0.78983 | 5.1422e-05 | 0.0016396 | 1.0725 | 2.0765 | 143.4104 | 0.0901
48 | 5.0934e-06 | 0.026474 | 0.00013804 | 0.029264 | 4.8992 | [12 empty] | 0.80502 | 5.0571e-05 | 0.0016474 | 1.073 | 2.1191 | 140.702 | 0.0884
49 | 5.0766e-06 | 0.02699 | 0.00014139 | 0.029876 | 4.8992 | [12 empty] | 0.8208 | 4.9719e-05 | 0.0016555 | 1.0736 | 2.1634 | 137.9936 | 0.0867
50 | 5.0577e-06 | 0.027527 | 0.00014494 | 0.030513 | 4.8981 | [12 empty] | 0.83722 | 4.8864e-05 | 0.0037433 | 1.0743 | 2.2095 | 135.2852 | 0.085
51 | 5.9506e-06 | 0.028086 | 0.00012712 | 0.02999 | 5.5693 | [12 empty] | 0.8543 | 9.0308e-05 | 0.0014207 | 1.0552 | 2.1716 | 272.9523 | 0.1715
52 | 5.9324e-06 | 0.028668 | 0.00013028 | 0.030642 | 5.5692 | [12 empty] | 0.8721 | 8.8692e-05 | 0.0014281 | 1.0557 | 2.2188 | 267.3763 | 0.168
53 | 5.9134e-06 | 0.029275 | 0.0001336 | 0.031323 | 5.5692 | [12 empty] | 0.89066 | 8.7072e-05 | 0.0014356 | 1.0562 | 2.2682 | 261.8002 | 0.1645
54 | 5.8936e-06 | 0.029909 | 0.00013709 | 0.032035 | 5.5692 | [12 empty] | 0.91002 | 8.5448e-05 | 0.0014434 | 1.0567 | 2.3197 | 256.2241 | 0.161
55 | 5.8729e-06 | 0.03057 | 0.00014077 | 0.032779 | 5.5692 | [12 empty] | 0.93024 | 8.3819e-05 | 0.0014514 | 1.0573 | 2.3736 | 250.648 | 0.1575
56 | 5.8512e-06 | 0.031262 | 0.00014465 | 0.033558 | 5.5692 | [12 empty] | 0.95138 | 8.2186e-05 | 0.0014596 | 1.0578 | 2.43 | 245.0719 | 0.154
57 | 5.8284e-06 | 0.031986 | 0.00014874 | 0.034375 | 5.5691 | [12 empty] | 0.97351 | 8.0548e-05 | 0.001468 | 1.0584 | 2.4891 | 239.4959 | 0.1505
58 | 5.8046e-06 | 0.032744 | 0.00015307 | 0.035232 | 5.5691 | [12 empty] | 0.99669 | 7.8906e-05 | 0.0014767 | 1.059 | 2.5512 | 233.9198 | 0.147
59 | 5.7796e-06 | 0.033539 | 0.00015766 | 0.036132 | 5.5691 | [12 empty] | 1.021 | 7.7258e-05 | 0.0014857 | 1.0596 | 2.6163 | 228.3437 | 0.1435
60 | 5.7533e-06 | 0.034373 | 0.00016253 | 0.037078 | 5.5691 | [12 empty] | 1.0465 | 7.5606e-05 | 0.001495 | 1.0602 | 2.6849 | 222.7676 | 0.14
61 | 5.7257e-06 | 0.03525 | 0.0001677 | 0.038075 | 5.5691 | [12 empty] | 1.0734 | 7.3948e-05 | 0.0015045 | 1.0608 | 2.757 | 217.1915 | 0.1365
62 | 5.6966e-06 | 0.036174 | 0.0001732 | 0.039125 | 5.569 | [12 empty] | 1.1016 | 7.2285e-05 | 0.0015143 | 1.0615 | 2.8331 | 211.6154 | 0.133
63 | 5.6659e-06 | 0.037147 | 0.00017907 | 0.040235 | 5.569 | [12 empty] | 1.1314 | 7.0616e-05 | 0.0015245 | 1.0622 | 2.9135 | 206.0393 | 0.1295
64 | 5.6334e-06 | 0.038173 | 0.00018535 | 0.041408 | 5.569 | [12 empty] | 1.1628 | 6.8942e-05 | 0.0015351 | 1.0629 | 2.9984 | 200.4632 | 0.126
65 | 5.5991e-06 | 0.039259 | 0.00019208 | 0.04265 | 5.569 | [12 empty] | 1.196 | 6.7262e-05 | 0.001546 | 1.0637 | 3.0883 | 194.8871 | 0.1225
66 | 5.5627e-06 | 0.040408 | 0.0001993 | 0.043967 | 5.569 | [12 empty] | 1.2312 | 6.5576e-05 | 0.0015573 | 1.0645 | 3.1837 | 189.311 | 0.119
67 | 5.524e-06 | 0.041626 | 0.00020708 | 0.045367 | 5.5689 | [12 empty] | 1.2685 | 6.3884e-05 | 0.001569 | 1.0653 | 3.2851 | 183.7349 | 0.1155
68 | 5.483e-06 | 0.042921 | 0.00021547 | 0.046857 | 5.5689 | [12 empty] | 1.3082 | 6.2185e-05 | 0.0015812 | 1.0661 | 3.393 | 178.1588 | 0.112
69 | 5.4392e-06 | 0.044298 | 0.00022456 | 0.048446 | 5.5689 | [12 empty] | 1.3504 | 6.048e-05 | 0.0015939 | 1.067 | 3.508 | 172.5827 | 0.1085
70 | 5.3925e-06 | 0.045767 | 0.00023443 | 0.050143 | 5.5689 | [12 empty] | 1.3954 | 5.8768e-05 | 0.0016071 | 1.068 | 3.6309 | 167.0066 | 0.105
71 | 5.3425e-06 | 0.047337 | 0.00024519 | 0.051961 | 5.5688 | [12 empty] | 1.4435 | 5.7048e-05 | 0.0016208 | 1.069 | 3.7625 | 161.4305 | 0.1015
72 | 5.289e-06 | 0.049019 | 0.00025696 | 0.053911 | 5.5688 | [12 empty] | 1.495 | 5.5321e-05 | 0.0016352 | 1.07 | 3.9038 | 155.8544 | 0.098
73 | 5.2314e-06 | 0.050825 | 0.00026989 | 0.05601 | 5.5688 | [12 empty] | 1.5504 | 5.3587e-05 | 0.0016502 | 1.0711 | 4.0557 | 150.2783 | 0.0945
74 | 5.1694e-06 | 0.05277 | 0.00028414 | 0.058273 | 5.5687 | [12 empty] | 1.61 | 5.1844e-05 | 0.001666 | 1.0722 | 4.2196 | 144.7021 | 0.091
75 | 5.1025e-06 | 0.054869 | 0.00029994 | 0.060721 | 5.5687 | [12 empty] | 1.6744 | 5.0093e-05 | 0.0016825 | 1.0734 | 4.3969 | 139.126 | 0.0875
76 | 5.0299e-06 | 0.057143 | 0.00031755 | 0.063375 | 5.5687 | [12 empty] | 1.7442 | 4.8333e-05 | 0.0016999 | 1.0747 | 4.5891 | 133.5498 | 0.084
77 | 4.9511e-06 | 0.059614 | 0.00033728 | 0.066264 | 5.5686 | [12 empty] | 1.82 | 4.6564e-05 | 0.0017182 | 1.0761 | 4.7982 | 127.9737 | 0.0805
78 | 4.8634e-06 | 0.062308 | 0.00035965 | 0.069414 | 5.5671 | [12 empty] | 1.9028 | 4.4786e-05 | 0.0036481 | 1.0775 | 5.0264 | 122.3975 | 0.077
79 | 6.6551e-06 | 0.065258 | 0.00026885 | 0.070159 | 5.2688 | [12 empty] | 1.9934 | 9.1531e-05 | 0.0014634 | 1.0549 | 5.0803 | 277.0336 | 0.1743
80 | 6.5091e-06 | 0.068507 | 0.00028897 | 0.073763 | 5.2688 | [12 empty] | 2.093 | 8.77e-05 | 0.0014815 | 1.0561 | 5.3413 | 263.8101 | 0.166
81 | 6.348e-06 | 0.072098 | 0.00031226 | 0.077744 | 5.2688 | [12 empty] | 2.2032 | 8.3845e-05 | 0.0015008 | 1.0573 | 5.6295 | 250.5865 | 0.1577
82 | 6.1696e-06 | 0.076086 | 0.00033951 | 0.082161 | 5.2687 | [12 empty] | 2.3256 | 7.9965e-05 | 0.0015214 | 1.0586 | 5.9494 | 237.363 | 0.1494
83 | 5.9709e-06 | 0.080541 | 0.00037179 | 0.087089 | 5.2687 | [12 empty] | 2.4624 | 7.6057e-05 | 0.0015436 | 1.0601 | 6.3062 | 224.1394 | 0.1411
84 | 5.7485e-06 | 0.085552 | 0.00041062 | 0.092616 | 5.2687 | [12 empty] | 2.6163 | 7.2121e-05 | 0.0015674 | 1.0617 | 6.7065 | 210.9157 | 0.1328
85 | 5.4981e-06 | 0.091228 | 0.00045815 | 0.098854 | 5.2686 | [12 empty] | 2.7907 | 6.8153e-05 | 0.0015932 | 1.0634 | 7.1582 | 197.692 | 0.1245
86 | 5.2141e-06 | 0.097712 | 0.0005176 | 0.10594 | 5.2686 | [12 empty] | 2.9901 | 6.4153e-05 | 0.0016213 | 1.0653 | 7.6714 | 184.4683 | 0.1162
87 | 4.8901e-06 | 0.10519 | 0.00059396 | 0.11405 | 5.2685 | [12 empty] | 3.2201 | 6.0116e-05 | 0.001652 | 1.0673 | 8.2587 | 171.2445 | 0.1079
88 | 4.5175e-06 | 0.1139 | 0.0006954 | 0.12341 | 5.2685 | [12 empty] | 3.4884 | 5.604e-05 | 0.0016859 | 1.0697 | 8.9362 | 158.0205 | 0.0996
89 | 4.0856e-06 | 0.1242 | 0.00083624 | 0.1343 | 5.2684 | [12 empty] | 3.8055 | 5.1921e-05 | 0.0017236 | 1.0723 | 9.7245 | 144.7965 | 0.0913
90 | 3.578e-06 | 0.13653 | 0.0010448 | 0.14707 | 5.2665 | [12 empty] | 4.1861 | 4.7755e-05 | 0.0038481 | 1.0753 | 10.6498 | 131.5723 | 0.083
91 | 7.7277e-06 | 0.15159 | 0.00051961 | 0.16515 | 7.4787 | [12 empty] | 4.6512 | 8.986e-05 | 0.0014194 | 1.0556 | 11.9589 | 270.9169 | 0.171
92 | 6.8209e-06 | 0.17047 | 0.00066052 | 0.18538 | 7.4786 | [12 empty] | 5.2326 | 8.103e-05 | 0.0014627 | 1.0584 | 13.4238 | 240.6436 | 0.152
93 | 5.6927e-06 | 0.19473 | 0.00089872 | 0.21066 | 7.4786 | [12 empty] | 5.9801 | 7.2059e-05 | 0.0015137 | 1.0619 | 15.2543 | 210.3695 | 0.133
94 | 4.2663e-06 | 0.22703 | 0.0013805 | 0.24286 | 7.4785 | [12 empty] | 6.9768 | 6.2925e-05 | 0.0015749 | 1.0661 | 17.586 | 180.0941 | 0.114
95 | 2.4478e-06 | 0.27216 | 0.0028093 | 0.28475 | 7.4761 | [12 empty] | 8.3722 | 5.3597e-05 | 0.0039947 | 1.0715 | 20.6191 | 149.8168 | 0.095
96 | 7.6375e-06 | 0.3395 | 0.0011749 | 0.3691 | 11.8986 | [12 empty] | 10.4652 | 9.1069e-05 | 0.0014787 | 1.0555 | 26.727 | 274.3042 | 0.1744
97 | 3.105e-06 | 0.45228 | 0.0036821 | 0.47244 | 11.8984 | [12 empty] | 13.9536 | 7.0632e-05 | 0.0015951 | 1.0629 | 34.2098 | 204.8042 | 0.1308
98 | 1.0241e-07 | 0.67658 | 0.13036 | 0.67771 | 11.896 | [12 empty] | 20.9305 | 4.9289e-05 | 0.0040032 | 1.0754 | 49.074 | 135.2715 | 0.0872