## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate | d_CaPhosphate | d_Calcite | SI_Calcite
0 | 5.5347e-06 | 0.036682 | 0.0025357 | 0.038857 | 6.7 | 19.021 | 19.108 | 18.9075 | 19.2789 | 6.5 | 5.1869 | 6.5216 | 0.00568 | 0.00023183 | 0.0087614 | 0.0035699 | 0.00087283 | 2.5982e-05 | 0.0026093 | 0.00049572 | 6.9455 | -0.49958 | 0 | 0 | -0.92541
1 | 5.527e-06 | 0.037027 | 0.002564 | 0.039239 | 6.7 |  |  |  |  | 6.5036 | 5.1922 | 6.5268 | 0.0057351 | 0.00023445 | 0.0088138 | 0.0035667 | 0.00088139 | 2.5326e-05 | 0.0026306 | 0.00050041 | 6.9783 | -0.47086 | 0 | 0 | -0.91501
2 | 5.5191e-06 | 0.037378 | 0.0025929 | 0.039628 | 6.7 |  |  |  |  | 6.5071 | 5.1964 | 6.5306 | 0.0057912 | 0.00023712 | 0.0088674 | 0.0035713 | 0.00089012 | 2.5532e-05 | 0.0026524 | 0.00050518 | 7.0116 | -0.44193 | 0 | 0 | -0.90453
3 | 5.5109e-06 | 0.037737 | 0.0026225 | 0.040026 | 6.7 |  |  |  |  | 6.5107 | 5.2008 | 6.5343 | 0.0058484 | 0.00023984 | 0.008922 | 0.0035761 | 0.00089904 | 2.5741e-05 | 0.0026745 | 0.00051006 | 7.0453 | -0.41276 | 0 | 0 | -0.89395
4 | 5.5027e-06 | 0.038103 | 0.0026528 | 0.040432 | 6.6999 |  |  |  |  | 6.5143 | 5.2051 | 6.5381 | 0.0059069 | 0.00024262 | 0.0089777 | 0.0035809 | 0.00090813 | 2.5954e-05 | 0.0026971 | 0.00051505 | 7.0795 | -0.38334 | 0 | 0 | -0.88327
5 | 5.4942e-06 | 0.038476 | 0.0026839 | 0.040846 | 6.6999 |  |  |  |  | 6.5179 | 5.2096 | 6.5419 | 0.0059665 | 0.00024547 | 0.0090345 | 0.0035858 | 0.00091742 | 2.6171e-05 | 0.00272 | 0.00052014 | 7.1142 | -0.35368 | 0 | 0 | -0.8725
6 | 5.4856e-06 | 0.038857 | 0.0027156 | 0.041269 | 6.6999 |  |  |  |  | 6.5216 | 5.2141 | 6.5457 | 0.0060273 | 0.00024839 | 0.0090924 | 0.0035909 | 0.0009269 | 2.6392e-05 | 0.0027434 | 0.00052535 | 7.1494 | -0.32377 | 0 | 0 | -0.86163
7 | 5.4768e-06 | 0.039245 | 0.0027482 | 0.041701 | 6.6999 |  |  |  |  | 6.5252 | 5.2186 | 6.5496 | 0.0060895 | 0.00025138 | 0.0091516 | 0.0035961 | 0.00093658 | 2.6617e-05 | 0.0027673 | 0.00053067 | 7.1852 | -0.2936 | 0 | 0 | -0.85065
8 | 5.4678e-06 | 0.039642 | 0.0027815 | 0.042142 | 6.6999 |  |  |  |  | 6.529 | 5.2232 | 6.5535 | 0.0061529 | 0.00025444 | 0.009212 | 0.0036014 | 0.00094647 | 2.6846e-05 | 0.0027916 | 0.00053611 | 7.2214 | -0.26316 | 0 | 0 | -0.83956
9 | 5.4587e-06 | 0.040047 | 0.0028157 | 0.042593 | 6.6999 |  |  |  |  | 6.5327 | 5.2279 | 6.5575 | 0.0062178 | 0.00025758 | 0.0092736 | 0.0036069 | 0.00095658 | 2.7079e-05 | 0.0028164 | 0.00054168 | 7.2582 | -0.23247 | 0 | 0 | -0.82837
10 | 5.4493e-06 | 0.040461 | 0.0028507 | 0.043054 | 6.6998 |  |  |  |  | 6.5365 | 5.2326 | 6.5615 | 0.006284 | 0.0002608 | 0.0093366 | 0.0036125 | 0.00096691 | 2.7317e-05 | 0.0028416 | 0.00054737 | 7.2956 | -0.20149 | 0 | 0 | -0.81708
11 | 5.4397e-06 | 0.040883 | 0.0028867 | 0.043525 | 6.6998 |  |  |  |  | 6.5404 | 5.2374 | 6.5655 | 0.0063517 | 0.0002641 | 0.0094009 | 0.0036182 | 0.00097746 | 2.7559e-05 | 0.0028674 | 0.0005532 | 7.3335 | -0.17025 | 0 | 0 | -0.80566
12 | 5.4299e-06 | 0.041315 | 0.0029235 | 0.044006 | 6.6998 |  |  |  |  | 6.5442 | 5.2422 | 6.5696 | 0.0064208 | 0.00026748 | 0.0094666 | 0.0036241 | 0.00098826 | 2.7806e-05 | 0.0028937 | 0.00055916 | 7.372 | -0.13872 | 0 | 0 | -0.79414
13 | 5.4199e-06 | 0.041756 | 0.0029613 | 0.044499 | 6.6998 |  |  |  |  | 6.5481 | 5.2471 | 6.5737 | 0.0064916 | 0.00027095 | 0.0095338 | 0.0036302 | 0.0009993 | 2.8057e-05 | 0.0029206 | 0.00056527 | 7.4112 | -0.1069 | 0 | 0 | -0.7825
14 | 5.4097e-06 | 0.042207 | 0.0030001 | 0.045003 | 6.6998 |  |  |  |  | 6.5521 | 5.2521 | 6.5778 | 0.0065639 | 0.00027452 | 0.0096024 | 0.0036364 | 0.0010106 | 2.8314e-05 | 0.0029479 | 0.00057153 | 7.451 | -0.074796 | 0 | 0 | -0.77074
15 | 5.3992e-06 | 0.042669 | 0.00304 | 0.045519 | 6.6998 |  |  |  |  | 6.5561 | 5.2571 | 6.582 | 0.0066379 | 0.00027818 | 0.0096726 | 0.0036427 | 0.0010221 | 2.8575e-05 | 0.0029759 | 0.00057794 | 7.4914 | -0.042389 | 0 | 0 | -0.75886
16 | 5.3886e-06 | 0.04314 | 0.003081 | 0.046047 | 6.6998 |  |  |  |  | 6.5601 | 5.2622 | 6.5863 | 0.0067136 | 0.00028194 | 0.0097444 | 0.0036493 | 0.001034 | 2.8842e-05 | 0.0030045 | 0.00058452 | 7.5324 | -0.0096778 | 0 | 0 | -0.74685
17 | 5.3776e-06 | 0.043623 | 0.003123 | 0.046587 | 6.6997 |  |  |  |  | 6.5642 | 5.2674 | 6.5905 | 0.0067911 | 0.0002858 | 0.0098178 | 0.003656 | 0.0010461 | 2.9114e-05 | 0.0030336 | 0.00059125 | 7.5742 | 0.023345 | 3.793e-06 | 0 | -0.73472
18 | 5.3664e-06 | 0.044117 | 0.0031663 | 0.04714 | 6.6997 |  |  |  |  | 6.5683 | 5.2726 | 6.5949 | 0.0068704 | 0.00028978 | 0.009893 | 0.0036629 | 0.0010585 | 2.9392e-05 | 0.0030634 | 0.00059817 | 7.6167 | 0.056684 | 9.2076e-06 | 0 | -0.72246
19 | 5.3549e-06 | 0.044623 | 0.0032108 | 0.047707 | 6.6997 |  |  |  |  | 6.5724 | 5.278 | 6.5992 | 0.0069517 | 0.00029386 | 0.0099699 | 0.00367 | 0.0010712 | 2.9675e-05 | 0.0030938 | 0.00060526 | 7.6598 | 0.090347 | 1.4752e-05 | 0 | -0.71007
20 | 5.3432e-06 | 0.04514 | 0.0032565 | 0.048288 | 6.6997 |  |  |  |  | 6.5766 | 5.2834 | 6.6037 | 0.0070349 | 0.00029806 | 0.010049 | 0.0036773 | 0.0010842 | 2.9965e-05 | 0.0031249 | 0.00061254 | 7.7038 | 0.12434 | 2.0429e-05 | 0 | -0.69754
21 | 5.3312e-06 | 0.04567 | 0.0033036 | 0.048884 | 6.6997 |  |  |  |  | 6.5808 | 5.2888 | 6.6081 | 0.0071202 | 0.00030239 | 0.010129 | 0.0036848 | 0.0010976 | 3.0261e-05 | 0.0031567 | 0.00062001 | 7.7485 | 0.15867 | 2.6246e-05 | 0 | -0.68487
22 | 5.3189e-06 | 0.046214 | 0.0033521 | 0.049495 | 6.6997 |  |  |  |  | 6.5851 | 5.2944 | 6.6126 | 0.0072076 | 0.00030684 | 0.010212 | 0.0036925 | 0.0011112 | 3.0563e-05 | 0.0031893 | 0.00062769 | 7.7939 | 0.19335 | 3.2208e-05 | 0 | -0.67206
23 | 5.3062e-06 | 0.04677 | 0.0034021 | 0.050121 | 6.6996 |  |  |  |  | 6.5894 | 5.3 | 6.6172 | 0.0072972 | 0.00031143 | 0.010297 | 0.0037005 | 0.0011253 | 3.0872e-05 | 0.0032225 | 0.00063558 | 7.8402 | 0.22837 | 3.8319e-05 | 0 | -0.65911
24 | 5.2933e-06 | 0.047341 | 0.0034535 | 0.050763 | 6.6996 |  |  |  |  | 6.5938 | 5.3058 | 6.6218 | 0.0073891 | 0.00031616 | 0.010383 | 0.0037087 | 0.0011397 | 3.1188e-05 | 0.0032566 | 0.00064368 | 7.8874 | 0.26376 | 4.4586e-05 | 0 | -0.64601
25 | 5.28e-06 | 0.047926 | 0.0035066 | 0.051423 | 6.6996 |  |  |  |  | 6.5982 | 5.3116 | 6.6265 | 0.0074834 | 0.00032103 | 0.010472 | 0.0037171 | 0.0011545 | 3.151e-05 | 0.0032914 | 0.00065202 | 7.9354 | 0.29952 | 5.1016e-05 | 0 | -0.63275
26 | 5.2664e-06 | 0.048526 | 0.0035613 | 0.0521 | 6.6996 |  |  |  |  | 6.6026 | 5.3175 | 6.6312 | 0.0075802 | 0.00032606 | 0.010564 | 0.0037258 | 0.0011696 | 3.1841e-05 | 0.0033271 | 0.0006606 | 7.9843 | 0.33565 | 5.7613e-05 | 0 | -0.61934
27 | 5.2524e-06 | 0.049142 | 0.0036178 | 0.052795 | 6.6996 |  |  |  |  | 6.6072 | 5.3235 | 6.636 | 0.0076796 | 0.00033124 | 0.010657 | 0.0037348 | 0.0011852 | 3.2179e-05 | 0.0033636 | 0.00066943 | 8.0341 | 0.37217 | 6.4386e-05 | 0 | -0.60577
28 | 5.238e-06 | 0.049774 | 0.0036761 | 0.05351 | 6.6996 |  |  |  |  | 6.6117 | 5.3296 | 6.6408 | 0.0077816 | 0.0003366 | 0.010753 | 0.003744 | 0.0012012 | 3.2525e-05 | 0.003401 | 0.00067853 | 8.0849 | 0.40908 | 7.1341e-05 | 0 | -0.59203
29 | 5.2233e-06 | 0.050424 | 0.0037364 | 0.054244 | 6.6995 |  |  |  |  | 6.6163 | 5.3358 | 6.6457 | 0.0078865 | 0.00034213 | 0.010852 | 0.0037536 | 0.0012177 | 3.288e-05 | 0.0034394 | 0.00068789 | 8.1367 | 0.4464 | 7.8486e-05 | 0 | -0.57813
30 | 5.2081e-06 | 0.051091 | 0.0037986 | 0.054999 | 6.6995 |  |  |  |  | 6.621 | 5.3421 | 6.6506 | 0.0079943 | 0.00034785 | 0.010954 | 0.0037634 | 0.0012346 | 3.3243e-05 | 0.0034787 | 0.00069755 | 8.1895 | 0.48412 | 8.583e-05 | 0 | -0.56405
31 | 5.1926e-06 | 0.051776 | 0.003863 | 0.055775 | 6.6995 |  |  |  |  | 6.6257 | 5.3485 | 6.6557 | 0.0081051 | 0.00035376 | 0.011058 | 0.0037736 | 0.001252 | 3.3615e-05 | 0.003519 | 0.00070751 | 8.2433 | 0.52228 | 9.338e-05 | 0 | -0.5498
32 | 5.1766e-06 | 0.052481 | 0.0039296 | 0.056574 | 6.6995 |  |  |  |  | 6.6305 | 5.355 | 6.6607 | 0.0082191 | 0.00035988 | 0.011165 | 0.0037841 | 0.0012699 | 3.3997e-05 | 0.0035603 | 0.00071778 | 8.2983 | 0.56086 | 0.00010115 | 0 | -0.53536
33 | 5.1601e-06 | 0.053205 | 0.0039986 | 0.057397 | 6.6995 |  |  |  |  | 6.6353 | 5.3616 | 6.6659 | 0.0083364 | 0.00036622 | 0.011275 | 0.003795 | 0.0012884 | 3.4389e-05 | 0.0036027 | 0.00072838 | 8.3544 | 0.5999 | 0.00010914 | 0 | -0.52073
34 | 5.1432e-06 | 0.053951 | 0.00407 | 0.058244 | 6.6994 |  |  |  |  | 6.6402 | 5.3683 | 6.6711 | 0.0084572 | 0.00037278 | 0.011388 | 0.0038062 | 0.0013074 | 3.4791e-05 | 0.0036463 | 0.00073934 | 8.4116 | 0.63938 | 0.00011736 | 0 | -0.50592
35 | 5.1258e-06 | 0.054718 | 0.004144 | 0.059116 | 6.6994 |  |  |  |  | 6.6452 | 5.3752 | 6.6763 | 0.0085815 | 0.00037958 | 0.011505 | 0.0038178 | 0.001327 | 3.5203e-05 | 0.003691 | 0.00075066 | 8.4701 | 0.67933 | 0.00012584 | 0 | -0.4909
36 | 5.1079e-06 | 0.055509 | 0.0042208 | 0.060016 | 6.6994 |  |  |  |  | 6.6502 | 5.3821 | 6.6817 | 0.0087097 | 0.00038664 | 0.011625 | 0.0038299 | 0.0013472 | 3.5627e-05 | 0.003737 | 0.00076236 | 8.5299 | 0.71977 | 0.00013457 | 0 | -0.47569
37 | 5.0894e-06 | 0.056323 | 0.0043005 | 0.060943 | 6.6994 |  |  |  |  | 6.6552 | 5.3892 | 6.6871 | 0.0088418 | 0.00039396 | 0.011749 | 0.0038423 | 0.001368 | 3.6063e-05 | 0.0037842 | 0.00077447 | 8.591 | 0.7607 | 0.00014357 | 0 | -0.46026
38 | 5.0703e-06 | 0.057162 | 0.0043832 | 0.0619 | 6.6994 |  |  |  |  | 6.6604 | 5.3965 | 6.6925 | 0.008978 | 0.00040156 | 0.011876 | 0.0038552 | 0.0013895 | 3.6511e-05 | 0.0038327 | 0.00078701 | 8.6534 | 0.80213 | 0.00015285 | 0 | -0.44462
39 | 5.0507e-06 | 0.058027 | 0.0044692 | 0.062887 | 6.6993 |  |  |  |  | 6.6656 | 5.4038 | 6.6981 | 0.0091186 | 0.00040947 | 0.012008 | 0.0038686 | 0.0014116 | 3.6971e-05 | 0.0038826 | 0.00079999 | 8.7173 | 0.84409 | 0.00016243 | 0 | -0.42875
40 | 5.0305e-06 | 0.05892 | 0.0045587 | 0.063907 | 6.6993 |  |  |  |  | 6.6709 | 5.4113 | 6.7037 | 0.0092638 | 0.00041769 | 0.012144 | 0.0038825 | 0.0014345 | 3.7446e-05 | 0.003934 | 0.00081346 | 8.7827 | 0.88658 | 0.00017232 | 0 | -0.41266
41 | 5.0096e-06 | 0.059841 | 0.0046518 | 0.06496 | 6.6993 |  |  |  |  | 6.6762 | 5.419 | 6.7094 | 0.0094137 | 0.00042625 | 0.012284 | 0.0038969 | 0.0014582 | 3.7935e-05 | 0.0039869 | 0.00082742 | 8.8496 | 0.92962 | 0.00018254 | 0 | -0.39633
42 | 4.988e-06 | 0.060792 | 0.0047487 | 0.066049 | 6.6993 |  |  |  |  | 6.6816 | 5.4268 | 6.7152 | 0.0095687 | 0.00043517 | 0.012428 | 0.0039119 | 0.0014827 | 3.8438e-05 | 0.0040414 | 0.00084192 | 8.9181 | 0.97322 | 0.0001931 | 0 | -0.37976
43 | 4.9657e-06 | 0.061776 | 0.0048498 | 0.067176 | 6.6993 |  |  |  |  | 6.6871 | 5.4348 | 6.7211 | 0.0097289 | 0.00044446 | 0.012578 | 0.0039275 | 0.0015081 | 3.8958e-05 | 0.0040975 | 0.00085698 | 8.9883 | 1.0174 | 0.00020402 | 0 | -0.36293
44 | 4.9427e-06 | 0.062792 | 0.0049553 | 0.068341 | 6.6993 |  |  |  |  | 6.6927 | 5.4429 | 6.7271 | 0.0098947 | 0.00045416 | 0.012732 | 0.0039437 | 0.0015343 | 3.9494e-05 | 0.0041554 | 0.00087264 | 9.0603 | 1.0622 | 0.00021532 | 0 | -0.34584
45 | 4.9189e-06 | 0.063844 | 0.0050654 | 0.069548 | 6.6992 |  |  |  |  | 6.6983 | 5.4512 | 6.7331 | 0.010066 | 0.0004643 | 0.012892 | 0.0039605 | 0.0015615 | 4.0047e-05 | 0.0042151 | 0.00088893 | 9.1341 | 1.1076 | 0.00022703 | 0 | -0.32849
46 | 5.7299e-06 | 0.064932 | 0.0043319 | 0.068569 | 7.5492 |  |  |  |  | 6.704 | 5.3851 | 6.7263 | 0.010244 | 0.00039614 | 0.013057 | 0.0038963 | 0.0015896 | 3.4982e-05 | 0.0042767 | 0.00077931 | 9.172 | 1.1537 | 0.00023916 | 0 | -0.31086
47 | 5.7048e-06 | 0.066076 | 0.0044292 | 0.069822 | 7.5492 |  |  |  |  | 6.7099 | 5.3933 | 6.7321 | 0.01043 | 0.00040532 | 0.01323 | 0.0039158 | 0.001619 | 3.5649e-05 | 0.0043427 | 0.00079427 | 9.2128 | 1.2005 | 0.00025176 | 0 | -0.29288
48 | 5.6789e-06 | 0.067261 | 0.0045309 | 0.071121 | 7.5492 |  |  |  |  | 6.7158 | 5.4017 | 6.7383 | 0.010623 | 0.00041461 | 0.013409 | 0.0039329 | 0.0016494 | 3.6162e-05 | 0.0044109 | 0.00080987 | 9.2564 | 1.2479 | 0.00026484 | 0 | -0.27459
49 | 5.6519e-06 | 0.068491 | 0.0046374 | 0.07247 | 7.5492 |  |  |  |  | 6.7218 | 5.4103 | 6.7447 | 0.010823 | 0.00042434 | 0.013595 | 0.0039507 | 0.0016811 | 3.6693e-05 | 0.0044815 | 0.00082616 | 9.3027 | 1.2961 | 0.00027842 | 0 | -0.25599
50 | 5.624e-06 | 0.069768 | 0.0047491 | 0.073872 | 7.5492 |  |  |  |  | 6.728 | 5.4191 | 6.7511 | 0.011031 | 0.00043455 | 0.013788 | 0.0039693 | 0.0017139 | 3.7242e-05 | 0.0045546 | 0.00084317 | 9.352 | 1.345 | 0.00029252 | 0 | -0.23707
51 | 5.5943e-06 | 0.071095 | 0.0048669 | 0.075329 | 7.5485 |  |  |  |  | 6.7342 | 5.4282 | 6.7576 | 0.011247 | 0.0004453 | 0.013988 | 0.0039888 | 0.0017482 | 3.7816e-05 | 0.0046304 | 0.00086105 | 9.4041 | 1.3947 | 0.0003072 | 0 | -0.21782
52 | 5.5641e-06 | 0.072475 | 0.00499 | 0.076845 | 7.5484 |  |  |  |  | 6.7405 | 5.4374 | 6.7643 | 0.011472 | 0.00045656 | 0.014197 | 0.0040091 | 0.0017838 | 3.8407e-05 | 0.0047089 | 0.00087967 | 9.4592 | 1.4451 | 0.00032247 | 0 | -0.19822
53 | 5.5327e-06 | 0.073911 | 0.0051196 | 0.078425 | 7.5484 |  |  |  |  | 6.7469 | 5.4469 | 6.771 | 0.011707 | 0.0004684 | 0.014413 | 0.0040304 | 0.0018209 | 3.9021e-05 | 0.0047904 | 0.00089919 | 9.5174 | 1.4964 | 0.00033838 | 0 | -0.17826
54 | 5.5e-06 | 0.075406 | 0.0052561 | 0.080071 | 7.5484 |  |  |  |  | 6.7535 | 5.4566 | 6.7779 | 0.011951 | 0.00048087 | 0.014639 | 0.0040527 | 0.0018597 | 3.9659e-05 | 0.0048749 | 0.00091967 | 9.5786 | 1.5485 | 0.00035497 | 0 | -0.15793
55 | 5.466e-06 | 0.076965 | 0.0054 | 0.081789 | 7.5484 |  |  |  |  | 6.7601 | 5.4665 | 6.7849 | 0.012206 | 0.00049402 | 0.014874 | 0.0040761 | 0.0019001 | 4.0324e-05 | 0.0049628 | 0.00094119 | 9.6431 | 1.6014 | 0.00037228 | 0 | -0.1372
56 | 5.4306e-06 | 0.078592 | 0.0055521 | 0.083582 | 7.5484 |  |  |  |  | 6.7668 | 5.4767 | 6.792 | 0.012472 | 0.00050791 | 0.01512 | 0.0041007 | 0.0019424 | 4.1016e-05 | 0.0050542 | 0.00096382 | 9.7108 | 1.6553 | 0.00039037 | 0 | -0.11607
57 | 5.3936e-06 | 0.08029 | 0.0057129 | 0.085456 | 7.5483 |  |  |  |  | 6.7737 | 5.4872 | 6.7992 | 0.01275 | 0.00052261 | 0.015376 | 0.0041265 | 0.0019866 | 4.1739e-05 | 0.0051494 | 0.00098765 | 9.782 | 1.7101 | 0.00040928 | 0 | -0.094516
58 | 5.355e-06 | 0.082066 | 0.0058833 | 0.087417 | 7.5483 |  |  |  |  | 6.7807 | 5.498 | 6.8066 | 0.013041 | 0.00053819 | 0.015644 | 0.0041538 | 0.0020329 | 4.2494e-05 | 0.0052485 | 0.0010128 | 9.8567 | 1.7659 | 0.00042908 | 0 | -0.072517
59 | 5.3146e-06 | 0.083924 | 0.0060641 | 0.08947 | 7.5483 |  |  |  |  | 6.7878 | 5.5091 | 6.8142 | 0.013346 | 0.00055472 | 0.015924 | 0.0041825 | 0.0020814 | 4.3284e-05 | 0.0053518 | 0.0010394 | 9.9351 | 1.8227 | 0.00044983 | 0 | -0.050055
60 | 5.2724e-06 | 0.08587 | 0.0062563 | 0.091622 | 7.5483 |  |  |  |  | 6.7951 | 5.5205 | 6.8218 | 0.013666 | 0.00057229 | 0.016218 | 0.0042128 | 0.0021324 | 4.4112e-05 | 0.0054596 | 0.0010675 | 10.0174 | 1.8806 | 0.0004716 | 0 | -0.027109
61 | 5.2282e-06 | 0.087912 | 0.006461 | 0.093881 | 7.5483 |  |  |  |  | 6.8025 | 5.5323 | 6.8297 | 0.014002 | 0.00059101 | 0.016525 | 0.0042448 | 0.0021859 | 4.4981e-05 | 0.0055722 | 0.0010972 | 10.1038 | 1.9396 | 0.00049447 | 0 | -0.0036549
62 | 5.1818e-06 | 0.090055 | 0.0066794 | 0.096254 | 7.5482 |  |  |  |  | 6.81 | 5.5445 | 6.8377 | 0.014355 | 0.00061099 | 0.016849 | 0.0042788 | 0.0022423 | 4.5896e-05 | 0.00569 | 0.0011289 | 10.1945 | 1.9998 | 0.00051853 | 0 | 0.02033
63 | 5.1332e-06 | 0.092309 | 0.006913 | 0.09875 | 7.5482 |  |  |  |  | 6.8177 | 5.557 | 6.8458 | 0.014726 | 0.00063235 | 0.017188 | 0.0043147 | 0.0023016 | 4.6859e-05 | 0.0058132 | 0.0011625 | 10.2897 | 2.0612 | 0.00054387 | 0 | 0.044877
64 | 5.0821e-06 | 0.094681 | 0.0071633 | 0.10138 | 7.5482 |  |  |  |  | 6.8256 | 5.57 | 6.8542 | 0.015118 | 0.00065526 | 0.017546 | 0.004353 | 0.0023643 | 4.7876e-05 | 0.0059424 | 0.0011984 | 10.3897 | 2.1238 | 0.00057059 | 0 | 0.070008
65 | 5.0284e-06 | 0.097181 | 0.0074322 | 0.10415 | 7.5482 |  |  |  |  | 6.8336 | 5.5834 | 6.8627 | 0.015531 | 0.00067987 | 0.017923 | 0.0043937 | 0.0024305 | 4.8952e-05 | 0.006078 | 0.0012367 | 10.4948 | 2.1878 | 0.00059883 | 0 | 0.09576
66 | 4.9718e-06 | 0.099821 | 0.0077218 | 0.10708 | 7.5481 |  |  |  |  | 6.8418 | 5.5974 | 6.8714 | 0.015968 | 0.00070639 | 0.018321 | 0.0044371 | 0.0025005 | 5.0093e-05 | 0.0062204 | 0.0012777 | 10.6054 | 2.2533 | 0.0006287 | 0 | 0.12217
67 | 4.9122e-06 | 0.10261 | 0.0080345 | 0.11017 | 7.5481 |  |  |  |  | 6.8502 | 5.6118 | 6.8803 | 0.01643 | 0.00073503 | 0.018742 | 0.0044835 | 0.0025748 | 5.1306e-05 | 0.0063701 | 0.0013217 | 10.7217 | 2.3202 | 0.00066036 | 0 | 0.14926
68 | 4.8492e-06 | 0.10557 | 0.0083731 | 0.11345 | 7.5481 |  |  |  |  | 6.8588 | 5.6268 | 6.8895 | 0.016921 | 0.00076605 | 0.019187 | 0.0045333 | 0.0026536 | 5.26e-05 | 0.0065279 | 0.0013691 | 10.8443 | 2.3887 | 0.00069398 | 0 | 0.17709
69 | 4.7827e-06 | 0.1087 | 0.0087409 | 0.11693 | 7.5481 |  |  |  |  | 6.8675 | 5.6424 | 6.8988 | 0.017442 | 0.00079978 | 0.01966 | 0.0045868 | 0.0027375 | 5.3983e-05 | 0.0066943 | 0.0014201 | 10.9737 | 2.4588 | 0.00072974 | 0 | 0.20568
70 | 4.7123e-06 | 0.11203 | 0.0091418 | 0.12063 | 7.548 |  |  |  |  | 6.8765 | 5.6587 | 6.9084 | 0.017996 | 0.00083654 | 0.020162 | 0.0046444 | 0.002827 | 5.5466e-05 | 0.0068701 | 0.0014754 | 11.1103 | 2.5307 | 0.00076786 | 0 | 0.2351
71 | 5.9271e-06 | 0.11558 | 0.0045277 | 0.12223 | 11.048 |  |  |  |  | 6.8857 | 5.5772 | 6.9096 | 0.018588 | 0.00068292 | 0.020697 | 0.0045128 | 0.0029225 | 4.5298e-05 | 0.0070561 | 0.0012372 | 11.1967 | 2.6045 | 0.00080863 | 0 | 0.2654
72 | 5.8607e-06 | 0.11955 | 0.0047392 | 0.12656 | 11.048 |  |  |  |  | 6.8952 | 5.5925 | 6.9188 | 0.019228 | 0.00071468 | 0.021275 | 0.0045774 | 0.0030253 | 4.675e-05 | 0.007264 | 0.0012859 | 11.2902 | 2.6799 | 0.00085224 | 0 | 0.29667
73 | 5.7897e-06 | 0.1238 | 0.0049712 | 0.13121 | 11.048 |  |  |  |  | 6.905 | 5.6089 | 6.9291 | 0.019913 | 0.00074857 | 0.021894 | 0.0046377 | 0.0031356 | 4.7972e-05 | 0.0074854 | 0.0013389 | 11.3911 | 2.7576 | 0.00089907 | 0 | 0.32898
74 | 5.7134e-06 | 0.12837 | 0.0052268 | 0.1362 | 11.048 |  |  |  |  | 6.9151 | 5.6261 | 6.9397 | 0.02065 | 0.00078587 | 0.022558 | 0.0047032 | 0.0032544 | 4.9287e-05 | 0.0077218 | 0.0013969 | 11.5002 | 2.8375 | 0.00094946 | 0 | 0.36236
75 | 5.6305e-06 | 0.1333 | 0.0055104 | 0.14159 | 11.0469 |  |  |  |  | 6.9254 | 5.6442 | 6.9507 | 0.021445 | 0.00082717 | 0.023272 | 0.0047745 | 0.0033826 | 5.0718e-05 | 0.0079748 | 0.0014607 | 11.6181 | 2.9197 | 0.0010039 | 0 | 0.3969
76 | 5.542e-06 | 0.13862 | 0.0058253 | 0.14742 | 11.0469 |  |  |  |  | 6.9361 | 5.6631 | 6.962 | 0.022304 | 0.00087296 | 0.024042 | 0.0048523 | 0.0035214 | 5.2266e-05 | 0.0082462 | 0.0015308 | 11.7458 | 3.0046 | 0.0010628 | 0 | 0.43268
77 | 5.4462e-06 | 0.1444 | 0.0061777 | 0.15374 | 11.0469 |  |  |  |  | 6.9471 | 5.6832 | 6.9737 | 0.023236 | 0.0009241 | 0.024877 | 0.0049378 | 0.0036722 | 5.396e-05 | 0.0085382 | 0.0016085 | 11.8841 | 3.0922 | 0.0011268 | 0 | 0.46981
78 | 5.3423e-06 | 0.15068 | 0.0065747 | 0.16063 | 11.0469 |  |  |  |  | 6.9584 | 5.7044 | 6.9857 | 0.02425 | 0.00098159 | 0.025783 | 0.0050321 | 0.0038367 | 5.5823e-05 | 0.0088531 | 0.0016952 | 12.0344 | 3.1829 | 0.0011965 | 0 | 0.50841
79 | 5.2291e-06 | 0.15754 | 0.0070249 | 0.16814 | 11.0468 |  |  |  |  | 6.9702 | 5.7269 | 6.9982 | 0.025358 | 0.0010467 | 0.026771 | 0.0051368 | 0.0040168 | 5.7888e-05 | 0.009194 | 0.0017924 | 12.1979 | 3.2768 | 0.0012729 | 0 | 0.54859
80 | 5.1056e-06 | 0.16507 | 0.0075398 | 0.17638 | 11.0468 |  |  |  |  | 6.9823 | 5.7509 | 7.0112 | 0.026574 | 0.0011209 | 0.027853 | 0.0052537 | 0.0042147 | 6.0195e-05 | 0.0095641 | 0.0019023 | 12.3763 | 3.3743 | 0.0013569 | 0 | 0.59052
81 | 4.9702e-06 | 0.17336 | 0.0081339 | 0.18545 | 11.0468 |  |  |  |  | 6.9949 | 5.7767 | 7.0246 | 0.027913 | 0.0012064 | 0.029042 | 0.0053852 | 0.0044334 | 6.2795e-05 | 0.0099673 | 0.0020274 | 12.5718 | 3.4757 | 0.0014497 | 0 | 0.63436
82 | 4.8213e-06 | 0.18254 | 0.0088265 | 0.19547 | 11.0467 |  |  |  |  | 7.008 | 5.8045 | 7.0386 | 0.029397 | 0.0013058 | 0.030357 | 0.0055346 | 0.0046762 | 6.5757e-05 | 0.010408 | 0.0021728 | 12.7871 | 3.5814 | 0.0015528 | 0 | 0.6803
83 | 4.6569e-06 | 0.19275 | 0.0096435 | 0.20661 | 11.0467 |  |  |  |  | 7.0217 | 5.8345 | 7.0531 | 0.031049 | 0.0014227 | 0.031817 | 0.0057059 | 0.0049474 | 6.9169e-05 | 0.010893 | 0.0023428 | 13.0256 | 3.6918 | 0.001668 | 0 | 0.72858
84 | 4.4745e-06 | 0.2042 | 0.010621 | 0.21905 | 11.0467 |  |  |  |  | 7.0359 | 5.8673 | 7.0683 | 0.032901 | 0.0015621 | 0.033449 | 0.0059046 | 0.0052523 | 7.3157e-05 | 0.011427 | 0.0025422 | 13.2915 | 3.8075 | 0.0017975 | 0 | 0.77946
85 | 4.2715e-06 | 0.2171 | 0.011808 | 0.23302 | 11.0466 |  |  |  |  | 7.0507 | 5.9033 | 7.0842 | 0.03499 | 0.0017309 | 0.035285 | 0.0061387 | 0.0055975 | 7.7899e-05 | 0.01202 | 0.0027796 | 13.5898 | 3.9292 | 0.0019442 | 0 | 0.83326
86 | 7.4842e-06 | 0.23177 | 0.0073894 | 0.24995 | 16.0466 |  |  |  |  | 7.0662 | 5.7112 | 7.1018 | 0.037366 | 0.0011063 | 0.037367 | 0.0055853 | 0.0059918 | 4.6269e-05 | 0.01268 | 0.0018362 | 13.7293 | 4.0575 | 0.002112 | 0 | 0.89037
87 | 7.1931e-06 | 0.24903 | 0.0082661 | 0.26905 | 16.0453 |  |  |  |  | 7.0828 | 5.7441 | 7.1148 | 0.040155 | 0.0012362 | 0.039812 | 0.0058544 | 0.0064491 | 5.0228e-05 | 0.013514 | 0.0020293 | 13.8963 | 4.1935 | 0.0023059 | 0 | 0.95191
88 | 6.8584e-06 | 0.26909 | 0.0093689 | 0.29119 | 16.0453 |  |  |  |  | 7.1006 | 5.7853 | 7.1338 | 0.043398 | 0.0013952 | 0.042641 | 0.0061115 | 0.0069824 | 5.3735e-05 | 0.014471 | 0.002269 | 14.0974 | 4.3389 | 0.0025322 | 0 | 1.0182
89 | 6.4691e-06 | 0.2927 | 0.010797 | 0.31713 | 16.0452 |  |  |  |  | 7.1195 | 5.8321 | 7.154 | 0.047217 | 0.0016001 | 0.045962 | 0.0064272 | 0.0076122 | 5.8146e-05 | 0.01558 | 0.0025735 | 14.3414 | 4.4945 | 0.0027997 | 0 | 1.0897
90 | 6.0119e-06 | 0.32089 | 0.012711 | 0.34787 | 16.0452 |  |  |  |  | 7.1395 | 5.886 | 7.1753 | 0.051779 | 0.0018729 | 0.049916 | 0.0068269 | 0.0083677 | 6.3904e-05 | 0.016881 | 0.0029723 | 14.6414 | 4.6624 | 0.0031208 | 0 | 1.1673
91 | 5.4699e-06 | 0.35514 | 0.015397 | 0.38479 | 16.0451 |  |  |  |  | 7.161 | 5.9495 | 7.198 | 0.057324 | 0.0022531 | 0.054703 | 0.0073541 | 0.0092903 | 7.1792e-05 | 0.018426 | 0.0035158 | 15.0177 | 4.8448 | 0.0035132 | 0 | 1.2524
92 | 4.8218e-06 | 0.3976 | 0.019406 | 0.42981 | 16.0451 |  |  |  |  | 7.1839 | 6.0265 | 7.2221 | 0.064207 | 0.0028158 | 0.060622 | 0.0080904 | 0.010443 | 8.3315e-05 | 0.02029 | 0.0042961 | 15.5035 | 5.0451 | 0.0040039 | 0 | 1.3464
93 | 4.0427e-06 | 0.45163 | 0.025929 | 0.48568 | 16.0428 |  |  |  |  | 7.2086 | 6.1234 | 7.2474 | 0.072978 | 0.0037232 | 0.068127 | 0.0092086 | 0.011923 | 0.00010174 | 0.022575 | 0.005499 | 16.1582 | 5.2679 | 0.004635 | 0 | 1.4518
94 | 3.1188e-06 | 0.52258 | 0.037919 | 0.55661 | 16.0426 |  |  |  |  | 7.2354 | 6.2511 | 7.2738 | 0.08452 | 0.0053751 | 0.077946 | 0.011127 | 0.013893 | 0.00013499 | 0.025421 | 0.0075297 | 17.0986 | 5.52 | 0.0054489 | 9.838e-05 | 1.5716
95 | 2.0828e-06 | 0.61951 | 0.064113 | 0.64979 | 16.0424 |  |  |  |  | 0 | 0 | 0 | 0.10035 | 0 | 0.09131 | 0 | 0.016644 | 0 | 0.028999 | 0 | 16.9205 | 0 | 0 | 0 | 0