## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Rejection | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate
0 | 4.7345e-06 | 0.036947 | 0.0024862 | 0.93271 | 0.038816 | 5.6 | 16.0988 | 16.8514 | 13.3779 | 15.6752 | 4.5 | 4.1372 | 4.5301 | 0.00020542 | 1.924e-05 | 0.015321 | 0.015091 | 0.00034432 | 2.2907e-05 | 0.010467 | 0.0011304 | 15.8379 | 0
1 | 4.7268e-06 | 0.037295 | 0.0025143 | 0.93258 | 0.039195 | 5.6 |  |  |  |  | 4.5027 | 4.1359 | 4.5268 | 0.0002073 | 1.8743e-05 | 0.015324 | 0.015091 | 0.00034756 | 1.9329e-05 | 0.010561 | 0.0011423 | 15.9213 | 0
2 | 4.7184e-06 | 0.03765 | 0.0025433 | 0.93245 | 0.039582 | 5.6 |  |  |  |  | 4.5055 | 4.1363 | 4.5299 | 0.00020923 | 1.8941e-05 | 0.015326 | 0.015091 | 0.00035091 | 1.9522e-05 | 0.010657 | 0.001155 | 16.0083 | 0
3 | 4.7099e-06 | 0.038012 | 0.0025731 | 0.93231 | 0.039976 | 5.6 |  |  |  |  | 4.5083 | 4.1368 | 4.533 | 0.00021119 | 1.9138e-05 | 0.015329 | 0.015092 | 0.00035433 | 1.9717e-05 | 0.010755 | 0.0011679 | 16.0972 | 0
4 | 4.7011e-06 | 0.038381 | 0.0026035 | 0.93217 | 0.040379 | 5.5999 |  |  |  |  | 4.5111 | 4.1373 | 4.5361 | 0.00021319 | 1.9339e-05 | 0.015331 | 0.015093 | 0.00035782 | 1.9917e-05 | 0.010855 | 0.0011812 | 16.1878 | 0
5 | 4.6923e-06 | 0.038758 | 0.0026346 | 0.93202 | 0.04079 | 5.5999 |  |  |  |  | 4.514 | 4.1378 | 4.5394 | 0.00021523 | 1.9546e-05 | 0.015334 | 0.015094 | 0.00036137 | 2.012e-05 | 0.010957 | 0.0011948 | 16.2799 | 0
6 | 4.6832e-06 | 0.039142 | 0.0026666 | 0.93187 | 0.04121 | 5.5999 |  |  |  |  | 4.5169 | 4.1383 | 4.5426 | 0.00021731 | 1.9759e-05 | 0.015336 | 0.015094 | 0.000365 | 2.0328e-05 | 0.011061 | 0.0012087 | 16.3735 | 0
7 | 4.6739e-06 | 0.039534 | 0.0026993 | 0.93172 | 0.041638 | 5.5999 |  |  |  |  | 4.5199 | 4.1389 | 4.5459 | 0.00021944 | 1.9976e-05 | 0.015339 | 0.015095 | 0.00036871 | 2.0541e-05 | 0.011167 | 0.001223 | 16.4687 | 0
8 | 4.6645e-06 | 0.039934 | 0.0027328 | 0.93157 | 0.042076 | 5.5999 |  |  |  |  | 4.5228 | 4.1394 | 4.5492 | 0.0002216 | 2.02e-05 | 0.015341 | 0.015096 | 0.00037249 | 2.0758e-05 | 0.011275 | 0.0012376 | 16.5655 | 0
9 | 4.6549e-06 | 0.040343 | 0.0027672 | 0.93141 | 0.042523 | 5.5999 |  |  |  |  | 4.5259 | 4.14 | 4.5526 | 0.00022382 | 2.0429e-05 | 0.015344 | 0.015097 | 0.00037636 | 2.098e-05 | 0.011385 | 0.0012526 | 16.6639 | 0
10 | 4.645e-06 | 0.040761 | 0.0028025 | 0.93125 | 0.04298 | 5.5998 |  |  |  |  | 4.529 | 4.1405 | 4.5561 | 0.00022608 | 2.0665e-05 | 0.015347 | 0.015097 | 0.00038031 | 2.1207e-05 | 0.011498 | 0.0012679 | 16.764 | 0
11 | 4.635e-06 | 0.041187 | 0.0028387 | 0.93108 | 0.043447 | 5.5998 |  |  |  |  | 4.5321 | 4.1411 | 4.5596 | 0.00022839 | 2.0908e-05 | 0.01535 | 0.015098 | 0.00038434 | 2.1439e-05 | 0.011613 | 0.0012837 | 16.8658 | 0
12 | 4.6247e-06 | 0.041623 | 0.0028758 | 0.93091 | 0.043924 | 5.5998 |  |  |  |  | 4.5353 | 4.1417 | 4.5631 | 0.00023074 | 2.1156e-05 | 0.015352 | 0.015099 | 0.00038847 | 2.1676e-05 | 0.01173 | 0.0012998 | 16.9693 | 0
13 | 4.6142e-06 | 0.042068 | 0.0029139 | 0.93073 | 0.044412 | 5.5998 |  |  |  |  | 4.5385 | 4.1423 | 4.5667 | 0.00023315 | 2.1412e-05 | 0.015355 | 0.0151 | 0.00039268 | 2.1919e-05 | 0.01185 | 0.0013164 | 17.0746 | 0
14 | 4.6035e-06 | 0.042524 | 0.0029531 | 0.93055 | 0.044912 | 5.5998 |  |  |  |  | 4.5417 | 4.143 | 4.5704 | 0.00023561 | 2.1676e-05 | 0.015358 | 0.0151 | 0.00039699 | 2.2167e-05 | 0.011972 | 0.0013334 | 17.1818 | 0
15 | 4.5925e-06 | 0.042989 | 0.0029934 | 0.93037 | 0.045422 | 5.5998 |  |  |  |  | 4.5451 | 4.1436 | 4.5741 | 0.00023813 | 2.1946e-05 | 0.015361 | 0.015101 | 0.0004014 | 2.2422e-05 | 0.012097 | 0.0013509 | 17.2909 | 0
16 | 4.5813e-06 | 0.043465 | 0.0030347 | 0.93018 | 0.045945 | 5.5998 |  |  |  |  | 4.5484 | 4.1443 | 4.5778 | 0.0002407 | 2.2224e-05 | 0.015364 | 0.015102 | 0.00040592 | 2.2682e-05 | 0.012225 | 0.0013688 | 17.402 | 0
17 | 4.5698e-06 | 0.043952 | 0.0030773 | 0.92999 | 0.04648 | 5.5997 |  |  |  |  | 4.5518 | 4.145 | 4.5816 | 0.00024334 | 2.2511e-05 | 0.015368 | 0.015103 | 0.00041053 | 2.2949e-05 | 0.012356 | 0.0013873 | 17.5151 | 0
18 | 4.5581e-06 | 0.044451 | 0.003121 | 0.92979 | 0.047028 | 5.5997 |  |  |  |  | 4.5553 | 4.1457 | 4.5855 | 0.00024603 | 2.2807e-05 | 0.015371 | 0.015104 | 0.00041526 | 2.3222e-05 | 0.01249 | 0.0014063 | 17.6302 | 0
19 | 4.546e-06 | 0.044961 | 0.0031661 | 0.92958 | 0.047589 | 5.5997 |  |  |  |  | 4.5588 | 4.1464 | 4.5895 | 0.00024879 | 2.3111e-05 | 0.015374 | 0.015104 | 0.0004201 | 2.3502e-05 | 0.012627 | 0.0014258 | 17.7476 | 0
20 | 4.5337e-06 | 0.045484 | 0.0032124 | 0.92937 | 0.048164 | 5.5997 |  |  |  |  | 4.5624 | 4.1472 | 4.5935 | 0.00025161 | 2.3425e-05 | 0.015378 | 0.015105 | 0.00042506 | 2.3789e-05 | 0.012767 | 0.0014459 | 17.8671 | 0
21 | 4.5211e-06 | 0.046019 | 0.0032602 | 0.92916 | 0.048753 | 5.5997 |  |  |  |  | 4.566 | 4.148 | 4.5976 | 0.00025449 | 2.3749e-05 | 0.015381 | 0.015106 | 0.00043014 | 2.4084e-05 | 0.01291 | 0.0014666 | 17.989 | 0
22 | 4.5082e-06 | 0.046567 | 0.0033094 | 0.92893 | 0.049357 | 5.5997 |  |  |  |  | 4.5697 | 4.1488 | 4.6017 | 0.00025745 | 2.4083e-05 | 0.015384 | 0.015107 | 0.00043534 | 2.4386e-05 | 0.013057 | 0.0014879 | 18.1132 | 0
23 | 4.495e-06 | 0.047129 | 0.0033601 | 0.9287 | 0.049976 | 5.5996 |  |  |  |  | 4.5735 | 4.1496 | 4.6059 | 0.00026048 | 2.4427e-05 | 0.015388 | 0.015108 | 0.00044068 | 2.4696e-05 | 0.013207 | 0.0015098 | 18.2399 | 0
24 | 4.4815e-06 | 0.047705 | 0.0034124 | 0.92847 | 0.050611 | 5.5996 |  |  |  |  | 4.5773 | 4.1505 | 4.6102 | 0.00026359 | 2.4782e-05 | 0.015392 | 0.015109 | 0.00044615 | 2.5014e-05 | 0.013361 | 0.0015324 | 18.3691 | 0
25 | 4.4676e-06 | 0.048295 | 0.0034663 | 0.92823 | 0.051263 | 5.5996 |  |  |  |  | 4.5811 | 4.1514 | 4.6146 | 0.00026677 | 2.515e-05 | 0.015396 | 0.015109 | 0.00045177 | 2.5341e-05 | 0.013519 | 0.0015557 | 18.501 | 0
26 | 4.4534e-06 | 0.048901 | 0.003522 | 0.92798 | 0.051932 | 5.5996 |  |  |  |  | 4.5851 | 4.1523 | 4.619 | 0.00027004 | 2.5529e-05 | 0.015399 | 0.01511 | 0.00045753 | 2.5676e-05 | 0.01368 | 0.0015798 | 18.6356 | 0
27 | 4.4388e-06 | 0.049523 | 0.0035795 | 0.92772 | 0.052619 | 5.5996 |  |  |  |  | 4.5891 | 4.1532 | 4.6235 | 0.00027339 | 2.5921e-05 | 0.015403 | 0.015111 | 0.00046345 | 2.6021e-05 | 0.013846 | 0.0016046 | 18.773 | 0
28 | 4.4238e-06 | 0.050161 | 0.003639 | 0.92745 | 0.053324 | 5.5996 |  |  |  |  | 4.5931 | 4.1542 | 4.6281 | 0.00027683 | 2.6326e-05 | 0.015407 | 0.015112 | 0.00046952 | 2.6376e-05 | 0.014016 | 0.0016303 | 18.9133 | 0
29 | 4.4084e-06 | 0.050816 | 0.0037004 | 0.92718 | 0.054049 | 5.5995 |  |  |  |  | 4.5973 | 4.1552 | 4.6328 | 0.00028035 | 2.6747e-05 | 0.015412 | 0.015113 | 0.00047576 | 2.6741e-05 | 0.014191 | 0.0016568 | 19.0566 | 0
30 | 4.3926e-06 | 0.051489 | 0.003764 | 0.9269 | 0.054794 | 5.5995 |  |  |  |  | 4.6015 | 4.1562 | 4.6375 | 0.00028398 | 2.7181e-05 | 0.015416 | 0.015114 | 0.00048218 | 2.7116e-05 | 0.01437 | 0.0016842 | 19.2031 | 0
31 | 4.3764e-06 | 0.052181 | 0.0038298 | 0.92661 | 0.055559 | 5.5995 |  |  |  |  | 4.6057 | 4.1573 | 4.6424 | 0.0002877 | 2.7632e-05 | 0.01542 | 0.015115 | 0.00048877 | 2.7503e-05 | 0.014553 | 0.0017126 | 19.3528 | 0
32 | 4.3597e-06 | 0.052892 | 0.0038979 | 0.9263 | 0.056347 | 5.5995 |  |  |  |  | 4.6101 | 4.1584 | 4.6473 | 0.00029152 | 2.8098e-05 | 0.015425 | 0.015116 | 0.00049556 | 2.7901e-05 | 0.014742 | 0.0017419 | 19.5059 | 0
33 | 4.3425e-06 | 0.053623 | 0.0039685 | 0.92599 | 0.057158 | 5.5995 |  |  |  |  | 4.6145 | 4.1596 | 4.6523 | 0.00029545 | 2.8582e-05 | 0.015429 | 0.015117 | 0.00050254 | 2.8311e-05 | 0.014936 | 0.0017723 | 19.6626 | 0
34 | 4.3249e-06 | 0.054375 | 0.0040417 | 0.92567 | 0.057993 | 5.5994 |  |  |  |  | 4.619 | 4.1608 | 4.6574 | 0.0002995 | 2.9084e-05 | 0.015434 | 0.015118 | 0.00050972 | 2.8734e-05 | 0.015136 | 0.0018038 | 19.8229 | 0
35 | 4.3068e-06 | 0.05515 | 0.0041177 | 0.92534 | 0.058852 | 5.5994 |  |  |  |  | 4.6236 | 4.162 | 4.6626 | 0.00030366 | 2.9606e-05 | 0.015439 | 0.015119 | 0.00051712 | 2.917e-05 | 0.015341 | 0.0018365 | 19.987 | 0
36 | 4.2881e-06 | 0.055947 | 0.0041965 | 0.92499 | 0.059738 | 5.5994 |  |  |  |  | 4.6283 | 4.1633 | 4.6679 | 0.00030794 | 3.0148e-05 | 0.015444 | 0.01512 | 0.00052474 | 2.9619e-05 | 0.015552 | 0.0018704 | 20.1551 | 0
37 | 4.2689e-06 | 0.056768 | 0.0042785 | 0.92463 | 0.06065 | 5.5994 |  |  |  |  | 4.633 | 4.1647 | 4.6733 | 0.00031235 | 3.0711e-05 | 0.015449 | 0.015121 | 0.0005326 | 3.0084e-05 | 0.015769 | 0.0019056 | 20.3273 | 0
38 | 4.2492e-06 | 0.057615 | 0.0043637 | 0.92426 | 0.061592 | 5.5994 |  |  |  |  | 4.6379 | 4.1661 | 4.6787 | 0.00031689 | 3.1296e-05 | 0.015454 | 0.015122 | 0.00054071 | 3.0563e-05 | 0.015993 | 0.0019421 | 20.5038 | 0
39 | 4.2288e-06 | 0.058488 | 0.0044523 | 0.92388 | 0.062563 | 5.5994 |  |  |  |  | 4.6428 | 4.1675 | 4.6843 | 0.00032157 | 3.1906e-05 | 0.01546 | 0.015123 | 0.00054907 | 3.1059e-05 | 0.016223 | 0.0019802 | 20.6848 | 0
40 | 4.2078e-06 | 0.059389 | 0.0045446 | 0.92348 | 0.063565 | 5.5993 |  |  |  |  | 4.6478 | 4.169 | 4.69 | 0.0003264 | 3.2541e-05 | 0.015465 | 0.015124 | 0.00055771 | 3.1572e-05 | 0.01646 | 0.0020198 | 20.8705 | 0
41 | 4.1861e-06 | 0.060318 | 0.0046408 | 0.92306 | 0.064601 | 5.5993 |  |  |  |  | 4.6529 | 4.1706 | 4.6959 | 0.00033138 | 3.3203e-05 | 0.015471 | 0.015125 | 0.00056662 | 3.2102e-05 | 0.016705 | 0.002061 | 21.0611 | 0
42 | 4.1638e-06 | 0.061278 | 0.0047411 | 0.92263 | 0.06567 | 5.5993 |  |  |  |  | 4.6581 | 4.1722 | 4.7018 | 0.00033652 | 3.3894e-05 | 0.015477 | 0.015127 | 0.00057584 | 3.2651e-05 | 0.016958 | 0.002104 | 21.2569 | 0
43 | 4.1407e-06 | 0.06227 | 0.0048459 | 0.92218 | 0.066776 | 5.5993 |  |  |  |  | 4.6635 | 4.1739 | 4.7079 | 0.00034183 | 3.4615e-05 | 0.015483 | 0.015128 | 0.00058537 | 3.322e-05 | 0.017218 | 0.0021489 | 21.4581 | 0
44 | 4.1169e-06 | 0.063295 | 0.0049553 | 0.92171 | 0.06792 | 5.5993 |  |  |  |  | 4.6689 | 4.1757 | 4.714 | 0.00034732 | 3.5368e-05 | 0.01549 | 0.015129 | 0.00059523 | 3.381e-05 | 0.017487 | 0.0021957 | 21.6649 | 0
45 | 4.0923e-06 | 0.064356 | 0.0050698 | 0.92122 | 0.069104 | 5.5992 |  |  |  |  | 4.6744 | 4.1775 | 4.7204 | 0.00035299 | 3.6157e-05 | 0.015496 | 0.01513 | 0.00060544 | 3.4422e-05 | 0.017765 | 0.0022447 | 21.8776 | 0
46 | 5.1276e-06 | 0.065454 | 0.0040853 | 0.93758 | 0.068739 | 6.6492 |  |  |  |  | 4.6801 | 4.1651 | 4.7196 | 0.00035886 | 3.0874e-05 | 0.015503 | 0.015125 | 0.00061601 | 3.0851e-05 | 0.018053 | 0.0018037 | 21.9498 | 0
47 | 5.1009e-06 | 0.066612 | 0.0041802 | 0.93725 | 0.069992 | 6.6492 |  |  |  |  | 4.6859 | 4.1676 | 4.7262 | 0.00036505 | 3.1892e-05 | 0.01551 | 0.015126 | 0.00062705 | 3.3016e-05 | 0.018359 | 0.0018447 | 22.031 | 0
48 | 5.0733e-06 | 0.067813 | 0.0042797 | 0.93689 | 0.071292 | 6.6492 |  |  |  |  | 4.6919 | 4.1694 | 4.7329 | 0.00037145 | 3.265e-05 | 0.015517 | 0.015128 | 0.00063848 | 3.3708e-05 | 0.018677 | 0.0018874 | 22.1211 | 0
49 | 5.0447e-06 | 0.069058 | 0.0043839 | 0.93652 | 0.072642 | 6.6492 |  |  |  |  | 4.698 | 4.1713 | 4.7398 | 0.0003781 | 3.3448e-05 | 0.015525 | 0.015129 | 0.00065033 | 3.4431e-05 | 0.019006 | 0.0019322 | 22.2201 | 0
50 | 5.015e-06 | 0.070352 | 0.0044934 | 0.93613 | 0.074044 | 6.6492 |  |  |  |  | 4.7043 | 4.1733 | 4.7468 | 0.00038499 | 3.4286e-05 | 0.015533 | 0.01513 | 0.00066265 | 3.5188e-05 | 0.019348 | 0.0019791 | 22.3281 | 0
51 | 4.9834e-06 | 0.071696 | 0.0046091 | 0.93571 | 0.075501 | 6.6485 |  |  |  |  | 4.7107 | 4.1754 | 4.754 | 0.00039215 | 3.517e-05 | 0.015541 | 0.015131 | 0.00067546 | 3.5985e-05 | 0.019702 | 0.0020287 | 22.4453 | 0
52 | 4.9514e-06 | 0.073093 | 0.0047302 | 0.93529 | 0.077018 | 6.6484 |  |  |  |  | 4.7172 | 4.1776 | 4.7613 | 0.00039958 | 3.6097e-05 | 0.01555 | 0.015133 | 0.00068878 | 3.6813e-05 | 0.02007 | 0.0020806 | 22.5719 | 0
53 | 4.9181e-06 | 0.074548 | 0.0048578 | 0.93484 | 0.078597 | 6.6484 |  |  |  |  | 4.7238 | 4.1799 | 4.7689 | 0.00040732 | 3.7075e-05 | 0.015559 | 0.015134 | 0.00070265 | 3.7682e-05 | 0.020453 | 0.0021353 | 22.7079 | 0
54 | 4.8835e-06 | 0.076063 | 0.0049925 | 0.93436 | 0.080242 | 6.6484 |  |  |  |  | 4.7307 | 4.1823 | 4.7765 | 0.00041537 | 3.8106e-05 | 0.015568 | 0.015135 | 0.00071711 | 3.8595e-05 | 0.020851 | 0.002193 | 22.8537 | 0
55 | 4.8475e-06 | 0.077642 | 0.0051348 | 0.93387 | 0.081958 | 6.6484 |  |  |  |  | 4.7377 | 4.1849 | 4.7844 | 0.00042375 | 3.9196e-05 | 0.015578 | 0.015137 | 0.00073218 | 3.9554e-05 | 0.021266 | 0.0022539 | 23.0095 | 0
56 | 4.8099e-06 | 0.07929 | 0.0052854 | 0.93334 | 0.08375 | 6.6484 |  |  |  |  | 4.7448 | 4.1876 | 4.7925 | 0.00043249 | 4.0348e-05 | 0.015588 | 0.015138 | 0.00074793 | 4.0564e-05 | 0.021698 | 0.0023183 | 23.1757 | 0
57 | 4.7708e-06 | 0.081011 | 0.0054451 | 0.93279 | 0.085621 | 6.6483 |  |  |  |  | 4.7521 | 4.1905 | 4.8008 | 0.00044161 | 4.157e-05 | 0.015598 | 0.01514 | 0.00076438 | 4.1628e-05 | 0.022149 | 0.0023866 | 23.3526 | 0
58 | 4.7299e-06 | 0.082811 | 0.0056146 | 0.9322 | 0.087578 | 6.6483 |  |  |  |  | 4.7596 | 4.1935 | 4.8093 | 0.00045113 | 4.2866e-05 | 0.015609 | 0.015141 | 0.00078158 | 4.2752e-05 | 0.022619 | 0.002459 | 23.5407 | 0
59 | 4.6872e-06 | 0.084693 | 0.0057948 | 0.93158 | 0.089627 | 6.6483 |  |  |  |  | 4.7673 | 4.1967 | 4.818 | 0.00046109 | 4.4243e-05 | 0.01562 | 0.015143 | 0.00079961 | 4.3939e-05 | 0.023111 | 0.002536 | 23.7406 | 0
60 | 4.6426e-06 | 0.086666 | 0.0059869 | 0.93092 | 0.091774 | 6.6483 |  |  |  |  | 4.7752 | 4.2001 | 4.8269 | 0.00047151 | 4.571e-05 | 0.015632 | 0.015145 | 0.0008185 | 4.5197e-05 | 0.023625 | 0.002618 | 23.9527 | 0
61 | 4.596e-06 | 0.088735 | 0.006192 | 0.93022 | 0.094026 | 6.6483 |  |  |  |  | 4.7832 | 4.2037 | 4.8361 | 0.00048243 | 4.7272e-05 | 0.015645 | 0.015146 | 0.00083832 | 4.6532e-05 | 0.024164 | 0.0027056 | 24.1778 | 0
62 | 4.5471e-06 | 0.090907 | 0.0064114 | 0.92947 | 0.096391 | 6.6482 |  |  |  |  | 4.7915 | 4.2075 | 4.8455 | 0.00049388 | 4.8943e-05 | 0.015658 | 0.015148 | 0.00085916 | 4.795e-05 | 0.024729 | 0.0027992 | 24.4166 | 0
63 | 4.4959e-06 | 0.09319 | 0.0066467 | 0.92868 | 0.098878 | 6.6482 |  |  |  |  | 4.8 | 4.2116 | 4.8552 | 0.00050591 | 5.0731e-05 | 0.015672 | 0.01515 | 0.00088109 | 4.946e-05 | 0.025321 | 0.0028996 | 24.6699 | 0
64 | 4.4421e-06 | 0.095594 | 0.0068997 | 0.92782 | 0.1015 | 6.6482 |  |  |  |  | 4.8087 | 4.216 | 4.8651 | 0.00051855 | 5.265e-05 | 0.015686 | 0.015152 | 0.00090419 | 5.1072e-05 | 0.025944 | 0.0030075 | 24.9386 | 0
65 | 4.3857e-06 | 0.098128 | 0.0071722 | 0.92691 | 0.10426 | 6.6482 |  |  |  |  | 4.8177 | 4.2207 | 4.8754 | 0.00053186 | 5.4712e-05 | 0.015701 | 0.015154 | 0.00092856 | 5.2796e-05 | 0.026599 | 0.0031236 | 25.2239 | 0
66 | 4.3263e-06 | 0.1008 | 0.0074667 | 0.92593 | 0.10717 | 6.6481 |  |  |  |  | 4.8269 | 4.2257 | 4.8859 | 0.0005459 | 5.6935e-05 | 0.015718 | 0.015156 | 0.00095432 | 5.4645e-05 | 0.02729 | 0.0032491 | 25.5268 | 0
67 | 4.2638e-06 | 0.10363 | 0.0077858 | 0.92487 | 0.11025 | 6.6481 |  |  |  |  | 4.8364 | 4.2311 | 4.8968 | 0.00056071 | 5.9337e-05 | 0.015735 | 0.015159 | 0.00098158 | 5.6633e-05 | 0.028018 | 0.003385 | 25.8489 | 0
68 | 4.1979e-06 | 0.10663 | 0.0081327 | 0.92373 | 0.1135 | 6.6481 |  |  |  |  | 4.8462 | 4.2369 | 4.9079 | 0.00057638 | 6.1941e-05 | 0.015753 | 0.015161 | 0.0010105 | 5.8776e-05 | 0.028788 | 0.0035328 | 26.1916 | 0
69 | 4.1283e-06 | 0.1098 | 0.0085111 | 0.92249 | 0.11696 | 6.6481 |  |  |  |  | 4.8563 | 4.2432 | 4.9195 | 0.00059298 | 6.4769e-05 | 0.015772 | 0.015164 | 0.0010412 | 6.1093e-05 | 0.029603 | 0.0036938 | 26.5568 | 0
70 | 4.0549e-06 | 0.11318 | 0.0089253 | 0.92114 | 0.12063 | 6.648 |  |  |  |  | 4.8666 | 4.2499 | 4.9314 | 0.00061058 | 6.7854e-05 | 0.015792 | 0.015167 | 0.0010739 | 6.3608e-05 | 0.030467 | 0.0038701 | 26.9465 | 0
71 | 4.5134e-06 | 0.11678 | 0.0081504 | 0.9302 | 0.12169 | 7.148 |  |  |  |  | 4.8773 | 4.2441 | 4.9353 | 0.0006293 | 6.5076e-05 | 0.015813 | 0.015164 | 0.0011087 | 6.387e-05 | 0.031384 | 0.0035411 | 27.2613 | 0
72 | 4.4305e-06 | 0.12066 | 0.0085719 | 0.92896 | 0.12579 | 7.148 |  |  |  |  | 4.8885 | 4.2524 | 4.948 | 0.00064945 | 6.88e-05 | 0.015837 | 0.015168 | 0.001146 | 6.8387e-05 | 0.032378 | 0.0037217 | 27.6022 | 0
73 | 4.3423e-06 | 0.12481 | 0.0090383 | 0.92758 | 0.13017 | 7.148 |  |  |  |  | 4.9 | 4.2605 | 4.9611 | 0.00067096 | 7.25e-05 | 0.015861 | 0.015171 | 0.0011859 | 7.1761e-05 | 0.033439 | 0.003921 | 27.9716 | 0
74 | 4.2484e-06 | 0.12926 | 0.0095569 | 0.92606 | 0.13487 | 7.148 |  |  |  |  | 4.9119 | 4.2693 | 4.9748 | 0.00069397 | 7.6595e-05 | 0.015888 | 0.015174 | 0.0012288 | 7.5493e-05 | 0.034575 | 0.0041427 | 28.3725 | 0
75 | 4.1471e-06 | 0.13405 | 0.010139 | 0.92436 | 0.13992 | 7.1469 |  |  |  |  | 4.9243 | 4.279 | 4.9889 | 0.00071867 | 8.1159e-05 | 0.015916 | 0.015178 | 0.0012749 | 7.9662e-05 | 0.035792 | 0.0043915 | 28.8088 | 0
76 | 4.04e-06 | 0.13921 | 0.010792 | 0.92248 | 0.14535 | 7.1469 |  |  |  |  | 4.937 | 4.2897 | 5.0035 | 0.00074523 | 8.6245e-05 | 0.015947 | 0.015182 | 0.0013247 | 8.43e-05 | 0.0371 | 0.0046703 | 29.2845 | 0
77 | 3.9252e-06 | 0.14479 | 0.011531 | 0.92036 | 0.15122 | 7.1469 |  |  |  |  | 4.9503 | 4.3015 | 5.0188 | 0.00077388 | 9.1961e-05 | 0.01598 | 0.015187 | 0.0013786 | 8.9523e-05 | 0.03851 | 0.0049859 | 29.8046 | 0
78 | 3.8022e-06 | 0.15085 | 0.012374 | 0.91797 | 0.15758 | 7.1469 |  |  |  |  | 4.964 | 4.3147 | 5.0347 | 0.00080488 | 9.8427e-05 | 0.016017 | 0.015192 | 0.0014372 | 9.5446e-05 | 0.040034 | 0.005346 | 30.3755 | 0
79 | 3.67e-06 | 0.15745 | 0.013344 | 0.91525 | 0.16449 | 7.1468 |  |  |  |  | 4.9783 | 4.3293 | 5.0512 | 0.00083852 | 0.0001058 | 0.016056 | 0.015198 | 0.0015011 | 0.00010221 | 0.041686 | 0.00576 | 31.0046 | 0
80 | 3.5279e-06 | 0.16465 | 0.014469 | 0.91212 | 0.17201 | 7.1468 |  |  |  |  | 4.9931 | 4.3458 | 5.0685 | 0.00087516 | 0.00011426 | 0.016099 | 0.015205 | 0.0015711 | 0.00011002 | 0.043482 | 0.0062405 | 31.7013 | 0
81 | 3.3748e-06 | 0.17255 | 0.015789 | 0.9085 | 0.18025 | 7.1468 |  |  |  |  | 5.0086 | 4.3643 | 5.0865 | 0.0009152 | 0.00012407 | 0.016146 | 0.015213 | 0.001648 | 0.00011912 | 0.045442 | 0.0068036 | 32.4772 | 0
82 | 3.21e-06 | 0.18126 | 0.017354 | 0.90426 | 0.18928 | 7.1467 |  |  |  |  | 5.0247 | 4.3854 | 5.1054 | 0.00095916 | 0.00013557 | 0.016197 | 0.015223 | 0.0017329 | 0.00012984 | 0.047589 | 0.0074712 | 33.3471 | 0
83 | 3.0324e-06 | 0.19091 | 0.019234 | 0.89925 | 0.19925 | 7.1467 |  |  |  |  | 5.0415 | 4.4094 | 5.1252 | 0.0010076 | 0.00014919 | 0.016255 | 0.015234 | 0.0018272 | 0.00014265 | 0.049949 | 0.0082726 | 34.33 | 0
84 | 2.8412e-06 | 0.20164 | 0.021525 | 0.89325 | 0.21028 | 7.1467 |  |  |  |  | 5.059 | 4.4369 | 5.146 | 0.0010613 | 0.00016556 | 0.016319 | 0.015247 | 0.0019325 | 0.00015817 | 0.052554 | 0.0092481 | 35.4505 | 0
85 | 2.6359e-06 | 0.21364 | 0.024362 | 0.88597 | 0.22256 | 7.1466 |  |  |  |  | 5.0773 | 4.4686 | 5.1679 | 0.001121 | 0.00018552 | 0.01639 | 0.015264 | 0.0020508 | 0.00017731 | 0.055441 | 0.010454 | 36.7414 | 0
86 | 6.7104e-06 | 0.22716 | 0.011184 | 0.95077 | 0.24281 | 11.9966 |  |  |  |  | 5.0965 | 4.3379 | 5.2007 | 0.0011878 | 0.00010892 | 0.016471 | 0.015177 | 0.0021846 | 6.8749e-05 | 0.058654 | 0.0045643 | 37.0541 | 0
87 | 6.3464e-06 | 0.24378 | 0.012662 | 0.94806 | 0.26068 | 11.9953 |  |  |  |  | 5.1188 | 4.3889 | 5.2245 | 0.0012708 | 0.00013513 | 0.01657 | 0.0152 | 0.0023474 | 9.9554e-05 | 0.062815 | 0.0051799 | 37.4578 | 0
88 | 5.9343e-06 | 0.26304 | 0.014561 | 0.94464 | 0.28126 | 11.9953 |  |  |  |  | 5.1421 | 4.4212 | 5.2528 | 0.0013654 | 0.0001533 | 0.016684 | 0.015212 | 0.0025347 | 0.00011311 | 0.067618 | 0.0059592 | 37.975 | 0
89 | 5.464e-06 | 0.28562 | 0.017084 | 0.94019 | 0.30519 | 11.9952 |  |  |  |  | 5.1668 | 4.4602 | 5.2831 | 0.0014756 | 0.0001766 | 0.016818 | 0.015229 | 0.0027548 | 0.00013099 | 0.073223 | 0.0069976 | 38.6424 | 0
90 | 4.9255e-06 | 0.31248 | 0.020571 | 0.93417 | 0.3333 | 11.9952 |  |  |  |  | 5.1931 | 4.5073 | 5.3157 | 0.0016055 | 0.0002073 | 0.016977 | 0.015251 | 0.0030172 | 0.00015553 | 0.079846 | 0.0084389 | 39.5171 | 0
91 | 4.3096e-06 | 0.34491 | 0.025643 | 0.92565 | 0.36672 | 11.9951 |  |  |  |  | 5.221 | 4.5655 | 5.3509 | 0.0017609 | 0.00024955 | 0.017169 | 0.015283 | 0.0033352 | 0.00019099 | 0.08778 | 0.010546 | 40.6936 | 0
92 | 3.6113e-06 | 0.38482 | 0.033514 | 0.91291 | 0.40705 | 11.9951 |  |  |  |  | 5.2507 | 4.6387 | 5.3889 | 0.0019498 | 0.00031113 | 0.017404 | 0.015333 | 0.0037282 | 0.00024586 | 0.097434 | 0.013833 | 42.3402 | 0
93 | 2.8402e-06 | 0.43501 | 0.046758 | 0.89251 | 0.45664 | 11.9928 |  |  |  |  | 5.2819 | 4.7331 | 5.4304 | 0.0021839 | 0.00040796 | 0.0177 | 0.015416 | 0.0042257 | 0.00033825 | 0.10938 | 0.019389 | 44.7797 | 0
94 | 2.0503e-06 | 0.49972 | 0.070873 | 0.85817 | 0.51935 | 11.9926 |  |  |  |  | 5.3145 | 4.8556 | 5.4762 | 0.0024798 | 0.00057289 | 0.018081 | 0.015565 | 0.0048736 | 0.0005065 | 0.12438 | 0.029464 | 48.6538 | 0