## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate | NH4+ Permeability
0 | 5.4913e-06 | 0.036947 | 0.0019128 | 0.03916 | 8.8 | 19.0622 | 19.3774 | 18.8982 | 19.7565 | 6 | 4.7929 | 6.0268 | 0.0052053 | 0.00027548 | 0.015321 | 0.010399 | 0.00034432 | 1.5766e-05 | 0.010467 | 0.001322 | 18.5228 | 0 | 7.9e-07
1 | 5.4855e-06 | 0.037301 | 0.0019339 | 0.039553 | 8.8 |  |  |  |  | 6.0039 | 4.7972 | 6.0319 | 0.0052551 | 0.00027835 | 0.015371 | 0.010394 | 0.00034764 | 1.2326e-05 | 0.010559 | 0.0013354 | 18.6163 | 0 | 7.9027e-07
2 | 5.4793e-06 | 0.037662 | 0.0019556 | 0.039953 | 8.8 |  |  |  |  | 6.0077 | 4.8015 | 6.036 | 0.0053059 | 0.00028151 | 0.015422 | 0.010397 | 0.00035106 | 1.242e-05 | 0.010653 | 0.0013495 | 18.7135 | 0 | 7.9054e-07
3 | 5.473e-06 | 0.03803 | 0.0019778 | 0.040363 | 8.8 |  |  |  |  | 6.0116 | 4.8058 | 6.0401 | 0.0053577 | 0.00028473 | 0.015474 | 0.0104 | 0.00035455 | 1.2515e-05 | 0.010749 | 0.0013639 | 18.8127 | 0 | 7.9081e-07
4 | 5.4666e-06 | 0.038405 | 0.0020005 | 0.04078 | 8.7999 |  |  |  |  | 6.0155 | 4.8102 | 6.0443 | 0.0054105 | 0.00028803 | 0.015527 | 0.010404 | 0.00035811 | 1.261e-05 | 0.010847 | 0.0013787 | 18.9136 | 0 | 7.9109e-07
5 | 5.46e-06 | 0.038788 | 0.0020237 | 0.041207 | 8.7999 |  |  |  |  | 6.0195 | 4.8146 | 6.0485 | 0.0054644 | 0.0002914 | 0.015581 | 0.010407 | 0.00036175 | 1.2708e-05 | 0.010947 | 0.0013938 | 19.0161 | 0 | 7.9136e-07
6 | 5.4534e-06 | 0.03918 | 0.0020475 | 0.041642 | 8.7999 |  |  |  |  | 6.0235 | 4.8191 | 6.0528 | 0.0055195 | 0.00029485 | 0.015636 | 0.010411 | 0.00036546 | 1.2807e-05 | 0.011048 | 0.0014093 | 19.1203 | 0 | 7.9164e-07
7 | 5.4465e-06 | 0.039579 | 0.0020718 | 0.042087 | 8.7999 |  |  |  |  | 6.0275 | 4.8237 | 6.0571 | 0.0055757 | 0.00029839 | 0.015692 | 0.010414 | 0.00036925 | 1.2907e-05 | 0.011152 | 0.0014251 | 19.226 | 0 | 7.9193e-07
8 | 5.4395e-06 | 0.039987 | 0.0020968 | 0.042542 | 8.7999 |  |  |  |  | 6.0316 | 4.8283 | 6.0614 | 0.005633 | 0.00030201 | 0.015749 | 0.010418 | 0.00037313 | 1.3009e-05 | 0.011258 | 0.0014412 | 19.3335 | 0 | 7.9221e-07
9 | 5.4324e-06 | 0.040403 | 0.0021223 | 0.043007 | 8.7999 |  |  |  |  | 6.0358 | 4.833 | 6.0658 | 0.0056916 | 0.00030572 | 0.015808 | 0.010422 | 0.00037709 | 1.3112e-05 | 0.011365 | 0.0014578 | 19.4426 | 0 | 7.925e-07
10 | 5.4251e-06 | 0.040828 | 0.0021485 | 0.043482 | 8.7998 |  |  |  |  | 6.0399 | 4.8378 | 6.0703 | 0.0057514 | 0.00030953 | 0.015868 | 0.010426 | 0.00038113 | 1.3217e-05 | 0.011476 | 0.0014747 | 19.5535 | 0 | 7.9279e-07
11 | 5.4177e-06 | 0.041263 | 0.0021754 | 0.043968 | 8.7998 |  |  |  |  | 6.0441 | 4.8426 | 6.0748 | 0.0058126 | 0.00031343 | 0.015929 | 0.010429 | 0.00038526 | 1.3323e-05 | 0.011588 | 0.0014921 | 19.6662 | 0 | 7.9309e-07
12 | 5.4101e-06 | 0.041707 | 0.0022029 | 0.044465 | 8.7998 |  |  |  |  | 6.0484 | 4.8475 | 6.0793 | 0.0058751 | 0.00031743 | 0.015991 | 0.010433 | 0.00038949 | 1.3432e-05 | 0.011703 | 0.0015099 | 19.7807 | 0 | 7.9339e-07
13 | 5.4023e-06 | 0.042161 | 0.0022312 | 0.044974 | 8.7998 |  |  |  |  | 6.0527 | 4.8525 | 6.0839 | 0.005939 | 0.00032153 | 0.016055 | 0.010438 | 0.00039381 | 1.3541e-05 | 0.01182 | 0.0015281 | 19.8971 | 0 | 7.9369e-07
14 | 5.3943e-06 | 0.042625 | 0.0022602 | 0.045494 | 8.7998 |  |  |  |  | 6.0571 | 4.8576 | 6.0886 | 0.0060043 | 0.00032574 | 0.01612 | 0.010442 | 0.00039823 | 1.3653e-05 | 0.011939 | 0.0015468 | 20.0154 | 0 | 7.9399e-07
15 | 5.3862e-06 | 0.0431 | 0.0022899 | 0.046027 | 8.7998 |  |  |  |  | 6.0615 | 4.8627 | 6.0933 | 0.0060711 | 0.00033007 | 0.016187 | 0.010446 | 0.00040276 | 1.3766e-05 | 0.012062 | 0.0015659 | 20.1357 | 0 | 7.943e-07
16 | 5.3778e-06 | 0.043586 | 0.0023205 | 0.046573 | 8.7998 |  |  |  |  | 6.0659 | 4.8679 | 6.0981 | 0.0061394 | 0.00033451 | 0.016256 | 0.010451 | 0.00040739 | 1.3881e-05 | 0.012187 | 0.0015856 | 20.2581 | 0 | 7.9461e-07
17 | 5.3693e-06 | 0.044083 | 0.0023519 | 0.047132 | 8.7997 |  |  |  |  | 6.0704 | 4.8732 | 6.1029 | 0.0062094 | 0.00033907 | 0.016325 | 0.010455 | 0.00041213 | 1.3998e-05 | 0.012314 | 0.0016058 | 20.3825 | 0 | 7.9493e-07
18 | 5.3605e-06 | 0.044592 | 0.0023841 | 0.047704 | 8.7997 |  |  |  |  | 6.0749 | 4.8786 | 6.1078 | 0.006281 | 0.00034376 | 0.016397 | 0.01046 | 0.00041699 | 1.4117e-05 | 0.012445 | 0.0016265 | 20.5092 | 0 | 7.9525e-07
19 | 5.3516e-06 | 0.045113 | 0.0024173 | 0.048291 | 8.7997 |  |  |  |  | 6.0795 | 4.884 | 6.1127 | 0.0063543 | 0.00034858 | 0.01647 | 0.010465 | 0.00042196 | 1.4237e-05 | 0.012579 | 0.0016477 | 20.638 | 0 | 7.9557e-07
20 | 5.3424e-06 | 0.045647 | 0.0024514 | 0.048892 | 8.7997 |  |  |  |  | 6.0842 | 4.8896 | 6.1177 | 0.0064293 | 0.00035354 | 0.016545 | 0.01047 | 0.00042706 | 1.436e-05 | 0.012715 | 0.0016696 | 20.7692 | 0 | 7.9589e-07
21 | 5.333e-06 | 0.046194 | 0.0024865 | 0.049509 | 8.7997 |  |  |  |  | 6.0889 | 4.8952 | 6.1228 | 0.0065062 | 0.00035864 | 0.016622 | 0.010475 | 0.00043228 | 1.4484e-05 | 0.012855 | 0.001692 | 20.9027 | 0 | 7.9622e-07
22 | 5.3233e-06 | 0.046754 | 0.0025226 | 0.050142 | 8.7997 |  |  |  |  | 6.0937 | 4.901 | 6.1279 | 0.006585 | 0.00036389 | 0.016701 | 0.01048 | 0.00043764 | 1.461e-05 | 0.012998 | 0.0017151 | 21.0387 | 0 | 7.9656e-07
23 | 5.3134e-06 | 0.047329 | 0.0025598 | 0.050791 | 8.7996 |  |  |  |  | 6.0985 | 4.9068 | 6.1331 | 0.0066658 | 0.00036929 | 0.016782 | 0.010486 | 0.00044313 | 1.4739e-05 | 0.013145 | 0.0017388 | 21.1772 | 0 | 7.9689e-07
24 | 5.3033e-06 | 0.047918 | 0.0025981 | 0.051458 | 8.7996 |  |  |  |  | 6.1034 | 4.9127 | 6.1383 | 0.0067487 | 0.00037486 | 0.016865 | 0.010491 | 0.00044877 | 1.4869e-05 | 0.013295 | 0.0017632 | 21.3183 | 0 | 7.9723e-07
25 | 5.2929e-06 | 0.048522 | 0.0026376 | 0.052142 | 8.7996 |  |  |  |  | 6.1083 | 4.9187 | 6.1436 | 0.0068337 | 0.0003806 | 0.01695 | 0.010497 | 0.00045455 | 1.5002e-05 | 0.013449 | 0.0017884 | 21.4621 | 0 | 7.9758e-07
26 | 5.2822e-06 | 0.049142 | 0.0026783 | 0.052845 | 8.7996 |  |  |  |  | 6.1133 | 4.9248 | 6.149 | 0.0069209 | 0.00038652 | 0.017037 | 0.010503 | 0.00046049 | 1.5136e-05 | 0.013606 | 0.0018142 | 21.6086 | 0 | 7.9793e-07
27 | 5.2712e-06 | 0.049778 | 0.0027203 | 0.053568 | 8.7996 |  |  |  |  | 6.1184 | 4.9311 | 6.1545 | 0.0070104 | 0.00039262 | 0.017126 | 0.010509 | 0.00046659 | 1.5273e-05 | 0.013768 | 0.0018409 | 21.7581 | 0 | 7.9828e-07
28 | 5.2599e-06 | 0.050432 | 0.0027636 | 0.05431 | 8.7996 |  |  |  |  | 6.1235 | 4.9374 | 6.1601 | 0.0071023 | 0.00039892 | 0.017218 | 0.010515 | 0.00047286 | 1.5412e-05 | 0.013933 | 0.0018684 | 21.9105 | 0 | 7.9864e-07
29 | 5.2483e-06 | 0.051103 | 0.0028083 | 0.055074 | 8.7995 |  |  |  |  | 6.1287 | 4.9439 | 6.1657 | 0.0071967 | 0.00040542 | 0.017313 | 0.010522 | 0.0004793 | 1.5554e-05 | 0.014103 | 0.0018967 | 22.066 | 0 | 7.9901e-07
30 | 5.2364e-06 | 0.051793 | 0.0028545 | 0.055859 | 8.7995 |  |  |  |  | 6.1339 | 4.9504 | 6.1714 | 0.0072937 | 0.00041214 | 0.01741 | 0.010529 | 0.00048593 | 1.5697e-05 | 0.014278 | 0.0019259 | 22.2246 | 0 | 7.9937e-07
31 | 5.2241e-06 | 0.052503 | 0.0029023 | 0.056668 | 8.7995 |  |  |  |  | 6.1393 | 4.9571 | 6.1772 | 0.0073935 | 0.00041909 | 0.017509 | 0.010536 | 0.00049274 | 1.5843e-05 | 0.014457 | 0.0019561 | 22.3865 | 0 | 7.9975e-07
32 | 5.2115e-06 | 0.053232 | 0.0029517 | 0.0575 | 8.7995 |  |  |  |  | 6.1447 | 4.9639 | 6.183 | 0.007496 | 0.00042627 | 0.017612 | 0.010543 | 0.00049976 | 1.5992e-05 | 0.01464 | 0.0019872 | 22.5519 | 0 | 8.0013e-07
33 | 5.1985e-06 | 0.053982 | 0.0030028 | 0.058357 | 8.7995 |  |  |  |  | 6.1501 | 4.9709 | 6.189 | 0.0076016 | 0.00043371 | 0.017718 | 0.01055 | 0.00050698 | 1.6142e-05 | 0.014829 | 0.0020194 | 22.7208 | 0 | 8.0051e-07
34 | 5.1852e-06 | 0.054755 | 0.0030557 | 0.059241 | 8.7994 |  |  |  |  | 6.1557 | 4.9779 | 6.195 | 0.0077102 | 0.0004414 | 0.017826 | 0.010558 | 0.00051441 | 1.6296e-05 | 0.015023 | 0.0020527 | 22.8933 | 0 | 8.009e-07
35 | 5.1714e-06 | 0.05555 | 0.0031105 | 0.060151 | 8.7994 |  |  |  |  | 6.1613 | 4.9851 | 6.2011 | 0.007822 | 0.00044937 | 0.017938 | 0.010566 | 0.00052208 | 1.6451e-05 | 0.015223 | 0.0020871 | 23.0697 | 0 | 8.0129e-07
36 | 5.1572e-06 | 0.05637 | 0.0031673 | 0.061091 | 8.7994 |  |  |  |  | 6.167 | 4.9925 | 6.2074 | 0.0079372 | 0.00045764 | 0.018053 | 0.010574 | 0.00052998 | 1.6609e-05 | 0.015428 | 0.0021227 | 23.25 | 0 | 8.0169e-07
37 | 5.1426e-06 | 0.057214 | 0.0032262 | 0.06206 | 8.7994 |  |  |  |  | 6.1728 | 5 | 6.2137 | 0.0080559 | 0.00046621 | 0.018172 | 0.010582 | 0.00053813 | 1.677e-05 | 0.015639 | 0.0021596 | 23.4344 | 0 | 8.021e-07
38 | 5.1275e-06 | 0.058085 | 0.0032874 | 0.06306 | 8.7994 |  |  |  |  | 6.1787 | 5.0076 | 6.2201 | 0.0081783 | 0.00047511 | 0.018294 | 0.010591 | 0.00054654 | 1.6933e-05 | 0.015857 | 0.0021978 | 23.6231 | 0 | 8.0251e-07
39 | 5.1119e-06 | 0.058983 | 0.0033509 | 0.064094 | 8.7994 |  |  |  |  | 6.1846 | 5.0154 | 6.2266 | 0.0083046 | 0.00048435 | 0.018421 | 0.0106 | 0.00055522 | 1.7099e-05 | 0.016081 | 0.0022375 | 23.8163 | 0 | 8.0292e-07
40 | 5.0958e-06 | 0.05991 | 0.0034169 | 0.065162 | 8.7993 |  |  |  |  | 6.1907 | 5.0234 | 6.2332 | 0.0084349 | 0.00049396 | 0.018551 | 0.01061 | 0.00056419 | 1.7267e-05 | 0.016311 | 0.0022786 | 24.0141 | 0 | 8.0335e-07
41 | 5.0792e-06 | 0.060868 | 0.0034856 | 0.066266 | 8.7993 |  |  |  |  | 6.1968 | 5.0315 | 6.24 | 0.0085695 | 0.00050395 | 0.018686 | 0.01062 | 0.00057346 | 1.7438e-05 | 0.016549 | 0.0023213 | 24.2167 | 0 | 8.0378e-07
42 | 5.062e-06 | 0.061857 | 0.0035571 | 0.067409 | 8.7993 |  |  |  |  | 6.203 | 5.0398 | 6.2468 | 0.0087086 | 0.00051435 | 0.018825 | 0.01063 | 0.00058304 | 1.7611e-05 | 0.016795 | 0.0023657 | 24.4243 | 0 | 8.0421e-07
43 | 5.0442e-06 | 0.06288 | 0.0036316 | 0.068591 | 8.7993 |  |  |  |  | 6.2094 | 5.0483 | 6.2538 | 0.0088524 | 0.00052519 | 0.018968 | 0.01064 | 0.00059296 | 1.7788e-05 | 0.017048 | 0.0024118 | 24.6372 | 0 | 8.0466e-07
44 | 5.0259e-06 | 0.063938 | 0.0037093 | 0.069816 | 8.7993 |  |  |  |  | 6.2158 | 5.057 | 6.2609 | 0.0090011 | 0.00053649 | 0.019117 | 0.010652 | 0.00060323 | 1.7966e-05 | 0.017309 | 0.0024598 | 24.8556 | 0 | 8.0511e-07
45 | 5.0068e-06 | 0.065033 | 0.0037903 | 0.071086 | 8.7992 |  |  |  |  | 6.2223 | 5.0659 | 6.2681 | 0.009155 | 0.00054828 | 0.019271 | 0.010663 | 0.00061388 | 1.8148e-05 | 0.017579 | 0.0025098 | 25.0797 | 0 | 8.0556e-07
46 | 5.7186e-06 | 0.066167 | 0.0032865 | 0.069932 | 9.8092 |  |  |  |  | 6.229 | 5.0089 | 6.2598 | 0.0093143 | 0.00047747 | 0.01943 | 0.01061 | 0.00062491 | 1.9079e-05 | 0.017858 | 0.002216 | 25.2067 | 0 | 8.0603e-07
47 | 5.6989e-06 | 0.067354 | 0.0033588 | 0.071237 | 9.8092 |  |  |  |  | 6.2358 | 5.0178 | 6.267 | 0.0094811 | 0.00048828 | 0.019597 | 0.010625 | 0.00063634 | 2.0114e-05 | 0.018153 | 0.0022623 | 25.3419 | 0 | 8.0651e-07
48 | 5.6784e-06 | 0.068584 | 0.0034344 | 0.072591 | 9.8092 |  |  |  |  | 6.2428 | 5.0269 | 6.2745 | 0.009654 | 0.00049934 | 0.019769 | 0.010637 | 0.00064819 | 2.04e-05 | 0.018459 | 0.0023104 | 25.4854 | 0 | 8.0699e-07
49 | 5.6572e-06 | 0.069862 | 0.0035135 | 0.073998 | 9.8092 |  |  |  |  | 6.2498 | 5.0362 | 6.2821 | 0.0098335 | 0.00051092 | 0.019948 | 0.010649 | 0.0006605 | 2.0694e-05 | 0.018775 | 0.0023607 | 25.6372 | 0 | 8.0749e-07
50 | 5.6352e-06 | 0.071189 | 0.0035963 | 0.075462 | 9.8092 |  |  |  |  | 6.257 | 5.0457 | 6.2898 | 0.01002 | 0.00052304 | 0.020134 | 0.010662 | 0.00067329 | 2.0997e-05 | 0.019104 | 0.0024133 | 25.7975 | 0 | 8.0799e-07
51 | 5.6117e-06 | 0.072568 | 0.0036835 | 0.076984 | 9.8085 |  |  |  |  | 6.2644 | 5.0555 | 6.2977 | 0.010214 | 0.0005358 | 0.020328 | 0.010675 | 0.00068661 | 2.1312e-05 | 0.019444 | 0.0024685 | 25.9665 | 0 | 8.0851e-07
52 | 5.5879e-06 | 0.074003 | 0.0037746 | 0.07857 | 9.8084 |  |  |  |  | 6.2718 | 5.0655 | 6.3058 | 0.010415 | 0.00054914 | 0.020529 | 0.010689 | 0.00070047 | 2.1633e-05 | 0.019798 | 0.0025261 | 26.1444 | 0 | 8.0903e-07
53 | 5.563e-06 | 0.075498 | 0.0038704 | 0.080222 | 9.8084 |  |  |  |  | 6.2794 | 5.0757 | 6.314 | 0.010625 | 0.00056316 | 0.020738 | 0.010703 | 0.00071491 | 2.1965e-05 | 0.020166 | 0.0025866 | 26.3313 | 0 | 8.0956e-07
54 | 5.5372e-06 | 0.077055 | 0.0039712 | 0.081947 | 9.8084 |  |  |  |  | 6.2872 | 5.0863 | 6.3224 | 0.010844 | 0.00057791 | 0.020956 | 0.010719 | 0.00072997 | 2.2307e-05 | 0.020548 | 0.0026501 | 26.5277 | 0 | 8.101e-07
55 | 5.5102e-06 | 0.078679 | 0.0040773 | 0.083747 | 9.8084 |  |  |  |  | 6.2951 | 5.0971 | 6.331 | 0.011072 | 0.00059344 | 0.021184 | 0.010735 | 0.0007457 | 2.266e-05 | 0.020945 | 0.0027168 | 26.7337 | 0 | 8.1066e-07
56 | 5.482e-06 | 0.080374 | 0.0041893 | 0.085628 | 9.8084 |  |  |  |  | 6.3031 | 5.1082 | 6.3398 | 0.01131 | 0.00060983 | 0.021421 | 0.010752 | 0.00076213 | 2.3024e-05 | 0.02136 | 0.002787 | 26.9498 | 0 | 8.1122e-07
57 | 5.4526e-06 | 0.082146 | 0.0043076 | 0.087596 | 9.8083 |  |  |  |  | 6.3114 | 5.1197 | 6.3487 | 0.011559 | 0.00062713 | 0.021669 | 0.010769 | 0.00077932 | 2.3401e-05 | 0.021792 | 0.0028611 | 27.1763 | 0 | 8.1179e-07
58 | 5.4218e-06 | 0.083999 | 0.0044327 | 0.089658 | 9.8083 |  |  |  |  | 6.3197 | 5.1314 | 6.3579 | 0.011819 | 0.00064544 | 0.021929 | 0.010788 | 0.00079732 | 2.3791e-05 | 0.022242 | 0.0029393 | 27.4136 | 0 | 8.1238e-07
59 | 5.3896e-06 | 0.08594 | 0.0045653 | 0.091818 | 9.8083 |  |  |  |  | 6.3283 | 5.1436 | 6.3673 | 0.012092 | 0.00066483 | 0.022201 | 0.010808 | 0.00081619 | 2.4193e-05 | 0.022713 | 0.0030219 | 27.6624 | 0 | 8.1298e-07
60 | 5.3558e-06 | 0.087974 | 0.0047061 | 0.094086 | 9.8083 |  |  |  |  | 6.3371 | 5.1561 | 6.3769 | 0.012378 | 0.00068542 | 0.022485 | 0.010829 | 0.00083599 | 2.4611e-05 | 0.023205 | 0.0031094 | 27.9231 | 0 | 8.1359e-07
61 | 5.3204e-06 | 0.090109 | 0.0048557 | 0.096468 | 9.8083 |  |  |  |  | 6.346 | 5.169 | 6.3867 | 0.012678 | 0.00070729 | 0.022784 | 0.010852 | 0.00085679 | 2.5043e-05 | 0.023721 | 0.0032022 | 28.1964 | 0 | 8.1422e-07
62 | 5.2832e-06 | 0.092353 | 0.0050152 | 0.098974 | 9.8082 |  |  |  |  | 6.3551 | 5.1823 | 6.3967 | 0.012993 | 0.0007306 | 0.023098 | 0.010875 | 0.00087868 | 2.5491e-05 | 0.024261 | 0.0033008 | 28.4829 | 0 | 8.1486e-07
63 | 5.2441e-06 | 0.094713 | 0.0051854 | 0.10161 | 9.8082 |  |  |  |  | 6.3645 | 5.1961 | 6.4071 | 0.013324 | 0.00075546 | 0.023429 | 0.010901 | 0.00090174 | 2.5956e-05 | 0.024827 | 0.0034057 | 28.7834 | 0 | 8.1551e-07
64 | 5.203e-06 | 0.0972 | 0.0053674 | 0.1044 | 9.8082 |  |  |  |  | 6.371 | 5.2104 | 6.4177 | 0.013673 | 0.00078201 | 0.023777 | 0.010925 | 0.00092606 | 2.6438e-05 | 0.025422 | 0.0035168 | 29.0987 | 1.3251e-05 | 8.1597e-07
65 | 5.1596e-06 | 0.099824 | 0.0055626 | 0.10734 | 9.8082 |  |  |  |  | 6.376 | 5.2253 | 6.4287 | 0.014041 | 0.00081044 | 0.024144 | 0.01095 | 0.00095177 | 2.694e-05 | 0.026048 | 0.0036352 | 29.4295 | 3.4112e-05 | 8.1632e-07
66 | 5.1137e-06 | 0.1026 | 0.0057723 | 0.11045 | 9.8081 |  |  |  |  | 6.3813 | 5.2408 | 6.4401 | 0.014431 | 0.00084098 | 0.024532 | 0.010977 | 0.00097897 | 2.7464e-05 | 0.026707 | 0.003762 | 29.777 | 5.5978e-05 | 8.1669e-07
67 | 5.0653e-06 | 0.10553 | 0.0059984 | 0.11374 | 9.8081 |  |  |  |  | 6.3867 | 5.2568 | 6.4517 | 0.014842 | 0.00087388 | 0.024943 | 0.011006 | 0.0010078 | 2.8011e-05 | 0.027403 | 0.0038981 | 30.1422 | 7.8928e-05 | 8.1707e-07
68 | 5.0141e-06 | 0.10864 | 0.0062425 | 0.11724 | 9.8081 |  |  |  |  | 6.3923 | 5.2734 | 6.4637 | 0.015279 | 0.0009094 | 0.025378 | 0.011037 | 0.0010384 | 2.8581e-05 | 0.028137 | 0.0040447 | 30.5267 | 0.00010305 | 8.1746e-07
69 | 4.9597e-06 | 0.11194 | 0.0065071 | 0.12095 | 9.8081 |  |  |  |  | 6.398 | 5.2908 | 6.476 | 0.015742 | 0.00094787 | 0.025841 | 0.011071 | 0.001071 | 2.9177e-05 | 0.028914 | 0.0042029 | 30.9318 | 0.00012844 | 8.1786e-07
70 | 4.902e-06 | 0.11546 | 0.0067948 | 0.12491 | 9.808 |  |  |  |  | 6.404 | 5.3088 | 6.4887 | 0.016236 | 0.00098967 | 0.026333 | 0.011107 | 0.0011057 | 2.9801e-05 | 0.029738 | 0.0043743 | 31.3594 | 0.00015521 | 8.1828e-07
71 | 5.9095e-06 | 0.11921 | 0.0057375 | 0.12597 | 11.308 |  |  |  |  | 6.4102 | 5.2407 | 6.4887 | 0.016761 | 0.0008434 | 0.026858 | 0.011011 | 0.0011428 | 2.8323e-05 | 0.030613 | 0.0037566 | 31.6549 | 0.0001835 | 8.1872e-07
72 | 5.8442e-06 | 0.12326 | 0.0060022 | 0.13039 | 11.308 |  |  |  |  | 6.4169 | 5.2589 | 6.5013 | 0.01733 | 0.00088261 | 0.027424 | 0.011064 | 0.0011826 | 3.0485e-05 | 0.031572 | 0.0039194 | 31.9735 | 0.00021356 | 8.1918e-07
73 | 5.7743e-06 | 0.1276 | 0.0062922 | 0.13513 | 11.308 |  |  |  |  | 6.4238 | 5.2783 | 6.5151 | 0.017939 | 0.00092516 | 0.02803 | 0.011106 | 0.0012253 | 3.1309e-05 | 0.032596 | 0.0040969 | 32.3171 | 0.00024543 | 8.1967e-07
74 | 5.6994e-06 | 0.13227 | 0.0066114 | 0.14023 | 11.308 |  |  |  |  | 6.431 | 5.2988 | 6.5294 | 0.018593 | 0.00097197 | 0.028681 | 0.011152 | 0.0012712 | 3.2186e-05 | 0.033692 | 0.0042914 | 32.6879 | 0.00027928 | 8.2017e-07
75 | 5.6181e-06 | 0.13729 | 0.0069651 | 0.14573 | 11.3069 |  |  |  |  | 6.4385 | 5.3203 | 6.5442 | 0.019298 | 0.0010238 | 0.029382 | 0.011203 | 0.0013208 | 3.3127e-05 | 0.034868 | 0.004506 | 33.0885 | 0.00031531 | 8.2069e-07
76 | 5.5313e-06 | 0.14272 | 0.0073573 | 0.15167 | 11.3069 |  |  |  |  | 6.4463 | 5.3429 | 6.5596 | 0.02006 | 0.0010812 | 0.03014 | 0.011259 | 0.0013744 | 3.413e-05 | 0.036133 | 0.0047431 | 33.5218 | 0.00035377 | 8.2124e-07
77 | 5.4375e-06 | 0.14861 | 0.0077955 | 0.15811 | 11.3069 |  |  |  |  | 6.4545 | 5.3668 | 6.5756 | 0.020885 | 0.0011452 | 0.030961 | 0.011321 | 0.0014327 | 3.521e-05 | 0.037498 | 0.0050067 | 33.9914 | 0.00039492 | 8.2181e-07
78 | 5.3359e-06 | 0.15501 | 0.0082882 | 0.16511 | 11.3069 |  |  |  |  | 6.463 | 5.392 | 6.5922 | 0.021782 | 0.0012171 | 0.031853 | 0.011392 | 0.0014962 | 3.6379e-05 | 0.038975 | 0.0053015 | 34.5014 | 0.00043907 | 8.2241e-07
79 | 5.2255e-06 | 0.162 | 0.008846 | 0.17276 | 11.3068 |  |  |  |  | 6.4719 | 5.4188 | 6.6096 | 0.022761 | 0.0012984 | 0.032828 | 0.011471 | 0.0015658 | 3.765e-05 | 0.040578 | 0.0056336 | 35.0568 | 0.00048661 | 8.2303e-07
80 | 5.1051e-06 | 0.16965 | 0.0094823 | 0.18114 | 11.3068 |  |  |  |  | 6.4813 | 5.4474 | 6.6277 | 0.023834 | 0.0013909 | 0.033896 | 0.011562 | 0.0016422 | 3.9042e-05 | 0.042326 | 0.0060101 | 35.6636 | 0.00053797 | 8.2369e-07
81 | 4.9734e-06 | 0.17808 | 0.010215 | 0.19036 | 11.3068 |  |  |  |  | 6.4911 | 5.4779 | 6.6467 | 0.025016 | 0.0014972 | 0.035071 | 0.011665 | 0.0017265 | 4.0579e-05 | 0.044237 | 0.0064406 | 36.3291 | 0.00059368 | 8.2437e-07
82 | 4.8288e-06 | 0.18741 | 0.011066 | 0.20055 | 11.3067 |  |  |  |  | 6.5013 | 5.5107 | 6.6666 | 0.026322 | 0.0016205 | 0.036371 | 0.011786 | 0.0018202 | 4.2292e-05 | 0.046337 | 0.0069373 | 37.0625 | 0.00065439 | 8.2509e-07
83 | 4.6694e-06 | 0.19778 | 0.012066 | 0.21186 | 11.3067 |  |  |  |  | 6.5121 | 5.5461 | 6.6874 | 0.027775 | 0.0017649 | 0.037818 | 0.011927 | 0.0019248 | 4.4224e-05 | 0.048654 | 0.0075164 | 37.875 | 0.00072088 | 8.2585e-07
84 | 4.4931e-06 | 0.20939 | 0.013257 | 0.22448 | 11.3067 |  |  |  |  | 6.5235 | 5.5845 | 6.7094 | 0.029401 | 0.0019364 | 0.039436 | 0.012094 | 0.0020423 | 4.6432e-05 | 0.051225 | 0.0081996 | 38.781 | 0.00079414 | 8.2664e-07
85 | 4.2973e-06 | 0.22247 | 0.014697 | 0.23865 | 11.3066 |  |  |  |  | 6.5354 | 5.6264 | 6.7326 | 0.031232 | 0.0021429 | 0.041259 | 0.012297 | 0.0021754 | 4.9e-05 | 0.054094 | 0.0090166 | 39.799 | 0.0008754 | 8.2748e-07
86 | 7.5448e-06 | 0.23731 | 0.0092226 | 0.25597 | 16.5066 |  |  |  |  | 6.548 | 5.4565 | 6.7592 | 0.03331 | 0.0014126 | 0.043327 | 0.011538 | 0.0023273 | 2.8543e-05 | 0.057314 | 0.0058258 | 40.2798 | 0.00096633 | 8.2836e-07
87 | 7.2607e-06 | 0.25485 | 0.010297 | 0.27542 | 16.5053 |  |  |  |  | 6.5619 | 5.4945 | 6.7786 | 0.035763 | 0.0015743 | 0.045773 | 0.01186 | 0.0025041 | 3.5606e-05 | 0.061274 | 0.0064715 | 40.8524 | 0.0010698 | 8.2933e-07
88 | 6.9348e-06 | 0.27523 | 0.011643 | 0.29796 | 16.5053 |  |  |  |  | 6.577 | 5.5447 | 6.8077 | 0.038612 | 0.0017769 | 0.048599 | 0.012058 | 0.0027098 | 3.7746e-05 | 0.065841 | 0.0072736 | 41.5385 | 0.0011879 | 8.3039e-07
89 | 6.5566e-06 | 0.29919 | 0.013375 | 0.32436 | 16.5052 |  |  |  |  | 6.5929 | 5.601 | 6.839 | 0.041961 | 0.002036 | 0.05192 | 0.01231 | 0.0029527 | 4.0355e-05 | 0.071165 | 0.0082965 | 42.3685 | 0.0013246 | 8.3151e-07
90 | 6.1137e-06 | 0.32778 | 0.015681 | 0.35563 | 16.5052 |  |  |  |  | 6.6098 | 5.6652 | 6.8727 | 0.045953 | 0.0023779 | 0.055882 | 0.012643 | 0.0032439 | 4.3661e-05 | 0.077452 | 0.0096426 | 43.3876 | 0.0014852 | 8.3269e-07
91 | 5.5905e-06 | 0.36245 | 0.018882 | 0.3932 | 16.5051 |  |  |  |  | 6.6276 | 5.7395 | 6.9092 | 0.050795 | 0.0028475 | 0.060686 | 0.013103 | 0.0035995 | 4.8072e-05 | 0.084987 | 0.011486 | 44.6651 | 0.0016776 | 8.3393e-07
92 | 4.9674e-06 | 0.4054 | 0.023585 | 0.43903 | 16.5051 |  |  |  |  | 6.6462 | 5.8272 | 6.9487 | 0.056789 | 0.0035279 | 0.066634 | 0.013775 | 0.0040434 | 5.4382e-05 | 0.094174 | 0.014143 | 46.3156 | 0.0019138 | 8.3523e-07
93 | 4.2217e-06 | 0.45994 | 0.031053 | 0.49594 | 16.5028 |  |  |  |  | 6.6654 | 5.9338 | 6.9912 | 0.064397 | 0.0045901 | 0.074185 | 0.01484 | 0.0046133 | 6.4318e-05 | 0.10561 | 0.018254 | 48.5437 | 0.0022125 | 8.3658e-07
94 | 3.3409e-06 | 0.53142 | 0.044236 | 0.5683 | 16.5026 |  |  |  |  | 6.685 | 6.0675 | 7.0365 | 0.074365 | 0.0064267 | 0.084076 | 0.016712 | 0.0053715 | 8.1952e-05 | 0.12017 | 0.025218 | 51.752 | 0.0026046 | 8.3795e-07