## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate | NH4+ Permeability
0 | 5.4913e-06 | 0.036947 | 0.0019128 | 0.03916 | 8.8 | 19.0622 | 19.3774 | 18.8982 | 19.7565 | 6.5 | 5.2796 | 6.5278 | 0.0095791 | 0.00050955 | 0.015321 | 0.0063098 | 0.00034432 | 1.2737e-05 | 0.010467 | 0.0013848 | 19.4029 | 0 | 8.25e-07
1 | 5.4855e-06 | 0.037301 | 0.0019339 | 0.039553 | 8.8 |  |  |  |  | 6.5038 | 5.2865 | 6.5346 | 0.0096708 | 0.00051589 | 0.015412 | 0.0062929 | 0.00034767 | 9.7784e-06 | 0.010559 | 0.001399 | 19.502 | 0 | 8.2526e-07
2 | 5.4793e-06 | 0.037662 | 0.0019556 | 0.039953 | 8.8 |  |  |  |  | 6.5075 | 5.2912 | 6.5386 | 0.0097642 | 0.00052179 | 0.015506 | 0.006299 | 0.00035112 | 9.8324e-06 | 0.010652 | 0.0014137 | 19.604 | 0 | 8.2553e-07
3 | 5.473e-06 | 0.03803 | 0.0019778 | 0.040363 | 8.8 |  |  |  |  | 6.5113 | 5.296 | 6.5427 | 0.0098594 | 0.00052779 | 0.0156 | 0.0063051 | 0.00035463 | 9.8861e-06 | 0.010747 | 0.0014288 | 19.7077 | 0 | 8.2579e-07
4 | 5.4666e-06 | 0.038405 | 0.0020005 | 0.04078 | 8.7999 |  |  |  |  | 6.5151 | 5.3008 | 6.5468 | 0.0099567 | 0.00053393 | 0.015697 | 0.0063114 | 0.00035823 | 9.9404e-06 | 0.010844 | 0.0014442 | 19.8132 | 0 | 8.2606e-07
5 | 5.46e-06 | 0.038788 | 0.0020237 | 0.041207 | 8.7999 |  |  |  |  | 6.519 | 5.3056 | 6.551 | 0.010056 | 0.00054021 | 0.015796 | 0.0063179 | 0.00036189 | 9.995e-06 | 0.010943 | 0.00146 | 19.9203 | 0 | 8.2633e-07
6 | 5.4534e-06 | 0.03918 | 0.0020475 | 0.041642 | 8.7999 |  |  |  |  | 6.5229 | 5.3105 | 6.5552 | 0.010157 | 0.00054665 | 0.015897 | 0.0063245 | 0.00036563 | 1.005e-05 | 0.011044 | 0.0014761 | 20.0291 | 0 | 8.266e-07
7 | 5.4465e-06 | 0.039579 | 0.0020718 | 0.042087 | 8.7999 |  |  |  |  | 6.5268 | 5.3155 | 6.5595 | 0.01026 | 0.00055324 | 0.016 | 0.0063312 | 0.00036946 | 1.0106e-05 | 0.011147 | 0.0014926 | 20.1396 | 0 | 8.2688e-07
8 | 5.4395e-06 | 0.039987 | 0.0020968 | 0.042542 | 8.7999 |  |  |  |  | 6.5308 | 5.3206 | 6.5638 | 0.010366 | 0.00055999 | 0.016105 | 0.0063381 | 0.00037336 | 1.0162e-05 | 0.011252 | 0.0015095 | 20.2518 | 0 | 8.2715e-07
9 | 5.4324e-06 | 0.040403 | 0.0021223 | 0.043007 | 8.7999 |  |  |  |  | 6.5348 | 5.3257 | 6.5681 | 0.010474 | 0.00056691 | 0.016212 | 0.0063452 | 0.00037736 | 1.0218e-05 | 0.011359 | 0.0015268 | 20.3658 | 0 | 8.2744e-07
10 | 5.4251e-06 | 0.040828 | 0.0021485 | 0.043482 | 8.7998 |  |  |  |  | 6.5388 | 5.3308 | 6.5725 | 0.010584 | 0.000574 | 0.016322 | 0.0063524 | 0.00038143 | 1.0275e-05 | 0.011468 | 0.0015444 | 20.4815 | 0 | 8.2772e-07
11 | 5.4177e-06 | 0.041263 | 0.0021754 | 0.043968 | 8.7998 |  |  |  |  | 6.5429 | 5.3361 | 6.577 | 0.010696 | 0.00058127 | 0.016434 | 0.0063599 | 0.00038561 | 1.0332e-05 | 0.01158 | 0.0015626 | 20.5992 | 0 | 8.28e-07
12 | 5.4101e-06 | 0.041707 | 0.0022029 | 0.044465 | 8.7998 |  |  |  |  | 6.5471 | 5.3414 | 6.5815 | 0.010811 | 0.00058873 | 0.016548 | 0.0063675 | 0.00038987 | 1.039e-05 | 0.011694 | 0.0015811 | 20.7187 | 0 | 8.2829e-07
13 | 5.4023e-06 | 0.042161 | 0.0022312 | 0.044974 | 8.7998 |  |  |  |  | 6.5512 | 5.3467 | 6.586 | 0.010929 | 0.00059639 | 0.016665 | 0.0063753 | 0.00039423 | 1.0448e-05 | 0.01181 | 0.0016001 | 20.8402 | 0 | 8.2859e-07
14 | 5.3943e-06 | 0.042625 | 0.0022602 | 0.045494 | 8.7998 |  |  |  |  | 6.5554 | 5.3522 | 6.5907 | 0.011049 | 0.00060424 | 0.016785 | 0.0063833 | 0.00039869 | 1.0506e-05 | 0.011929 | 0.0016196 | 20.9637 | 0 | 8.2888e-07
15 | 5.3862e-06 | 0.0431 | 0.0022899 | 0.046027 | 8.7998 |  |  |  |  | 6.5597 | 5.3577 | 6.5953 | 0.011172 | 0.00061231 | 0.016907 | 0.0063915 | 0.00040326 | 1.0565e-05 | 0.01205 | 0.0016396 | 21.0893 | 0 | 8.2918e-07
16 | 5.3778e-06 | 0.043586 | 0.0023205 | 0.046573 | 8.7998 |  |  |  |  | 6.564 | 5.3633 | 6.6 | 0.011297 | 0.00062059 | 0.017033 | 0.0063999 | 0.00040794 | 1.0625e-05 | 0.012174 | 0.0016601 | 21.217 | 0 | 8.2948e-07
17 | 5.3693e-06 | 0.044083 | 0.0023519 | 0.047132 | 8.7997 |  |  |  |  | 6.5683 | 5.369 | 6.6048 | 0.011426 | 0.00062911 | 0.017161 | 0.0064085 | 0.00041272 | 1.0684e-05 | 0.0123 | 0.0016812 | 21.3469 | 0 | 8.2978e-07
18 | 5.3605e-06 | 0.044592 | 0.0023841 | 0.047704 | 8.7997 |  |  |  |  | 6.5727 | 5.3747 | 6.6096 | 0.011558 | 0.00063785 | 0.017292 | 0.0064174 | 0.00041763 | 1.0744e-05 | 0.01243 | 0.0017028 | 21.479 | 0 | 8.3009e-07
19 | 5.3516e-06 | 0.045113 | 0.0024173 | 0.048291 | 8.7997 |  |  |  |  | 6.5772 | 5.3806 | 6.6145 | 0.011693 | 0.00064685 | 0.017426 | 0.0064265 | 0.00042265 | 1.0805e-05 | 0.012562 | 0.001725 | 21.6135 | 0 | 8.304e-07
20 | 5.3424e-06 | 0.045647 | 0.0024514 | 0.048892 | 8.7997 |  |  |  |  | 6.5817 | 5.3865 | 6.6194 | 0.011831 | 0.0006561 | 0.017564 | 0.0064359 | 0.0004278 | 1.0866e-05 | 0.012698 | 0.0017478 | 21.7504 | 0 | 8.3072e-07
21 | 5.333e-06 | 0.046194 | 0.0024865 | 0.049509 | 8.7997 |  |  |  |  | 6.5862 | 5.3925 | 6.6244 | 0.011972 | 0.00066563 | 0.017704 | 0.0064455 | 0.00043307 | 1.0927e-05 | 0.012836 | 0.0017712 | 21.8897 | 0 | 8.3103e-07
22 | 5.3233e-06 | 0.046754 | 0.0025226 | 0.050142 | 8.7997 |  |  |  |  | 6.5908 | 5.3986 | 6.6295 | 0.012117 | 0.00067543 | 0.017849 | 0.0064554 | 0.00043849 | 1.0988e-05 | 0.012978 | 0.0017952 | 22.0316 | 0 | 8.3136e-07
23 | 5.3134e-06 | 0.047329 | 0.0025598 | 0.050791 | 8.7996 |  |  |  |  | 6.5954 | 5.4048 | 6.6346 | 0.012266 | 0.00068552 | 0.017997 | 0.0064656 | 0.00044404 | 1.105e-05 | 0.013124 | 0.00182 | 22.1761 | 0 | 8.3168e-07
24 | 5.3033e-06 | 0.047918 | 0.0025981 | 0.051458 | 8.7996 |  |  |  |  | 6.6001 | 5.4111 | 6.6398 | 0.012418 | 0.00069592 | 0.018148 | 0.0064761 | 0.00044974 | 1.1112e-05 | 0.013272 | 0.0018455 | 22.3234 | 0 | 8.3201e-07
25 | 5.2929e-06 | 0.048522 | 0.0026376 | 0.052142 | 8.7996 |  |  |  |  | 6.6049 | 5.4175 | 6.6451 | 0.012574 | 0.00070664 | 0.018304 | 0.0064869 | 0.00045558 | 1.1175e-05 | 0.013425 | 0.0018717 | 22.4734 | 0 | 8.3234e-07
26 | 5.2822e-06 | 0.049142 | 0.0026783 | 0.052845 | 8.7996 |  |  |  |  | 6.6097 | 5.424 | 6.6504 | 0.012735 | 0.0007177 | 0.018464 | 0.006498 | 0.00046159 | 1.1237e-05 | 0.013581 | 0.0018987 | 22.6263 | 0 | 8.3268e-07
27 | 5.2712e-06 | 0.049778 | 0.0027203 | 0.053568 | 8.7996 |  |  |  |  | 6.6146 | 5.4306 | 6.6558 | 0.012899 | 0.0007291 | 0.018628 | 0.0065095 | 0.00046776 | 1.13e-05 | 0.013741 | 0.0019265 | 22.7822 | 0 | 8.3302e-07
28 | 5.2599e-06 | 0.050432 | 0.0027636 | 0.05431 | 8.7996 |  |  |  |  | 6.6195 | 5.4373 | 6.6613 | 0.013068 | 0.00074088 | 0.018796 | 0.0065213 | 0.0004741 | 1.1363e-05 | 0.013905 | 0.0019551 | 22.9412 | 0 | 8.3336e-07
29 | 5.2483e-06 | 0.051103 | 0.0028083 | 0.055074 | 8.7995 |  |  |  |  | 6.6245 | 5.4441 | 6.6669 | 0.013242 | 0.00075303 | 0.018969 | 0.0065334 | 0.00048062 | 1.1427e-05 | 0.014073 | 0.0019846 | 23.1034 | 0 | 8.3371e-07
30 | 5.2364e-06 | 0.051793 | 0.0028545 | 0.055859 | 8.7995 |  |  |  |  | 6.6295 | 5.451 | 6.6725 | 0.01342 | 0.0007656 | 0.019147 | 0.006546 | 0.00048732 | 1.149e-05 | 0.014246 | 0.0020151 | 23.2689 | 0 | 8.3406e-07
31 | 5.2241e-06 | 0.052503 | 0.0029023 | 0.056668 | 8.7995 |  |  |  |  | 6.6346 | 5.458 | 6.6782 | 0.013604 | 0.00077858 | 0.019329 | 0.0065589 | 0.00049421 | 1.1553e-05 | 0.014423 | 0.0020466 | 23.4378 | 0 | 8.3442e-07
32 | 5.2115e-06 | 0.053232 | 0.0029517 | 0.0575 | 8.7995 |  |  |  |  | 6.6398 | 5.4652 | 6.684 | 0.013792 | 0.00079202 | 0.019517 | 0.0065723 | 0.00050131 | 1.1617e-05 | 0.014605 | 0.002079 | 23.6103 | 0 | 8.3478e-07
33 | 5.1985e-06 | 0.053982 | 0.0030028 | 0.058357 | 8.7995 |  |  |  |  | 6.645 | 5.4725 | 6.6899 | 0.013986 | 0.00080592 | 0.01971 | 0.0065862 | 0.00050862 | 1.1681e-05 | 0.014792 | 0.0021126 | 23.7864 | 0 | 8.3515e-07
34 | 5.1852e-06 | 0.054755 | 0.0030557 | 0.059241 | 8.7994 |  |  |  |  | 6.6503 | 5.4799 | 6.6959 | 0.014186 | 0.00082032 | 0.019909 | 0.0066004 | 0.00051615 | 1.1744e-05 | 0.014984 | 0.0021472 | 23.9664 | 0 | 8.3552e-07
35 | 5.1714e-06 | 0.05555 | 0.0031105 | 0.060151 | 8.7994 |  |  |  |  | 6.6557 | 5.4875 | 6.702 | 0.014392 | 0.00083523 | 0.020114 | 0.0066152 | 0.00052391 | 1.1808e-05 | 0.015182 | 0.0021831 | 24.1503 | 0 | 8.359e-07
36 | 5.1572e-06 | 0.05637 | 0.0031673 | 0.061091 | 8.7994 |  |  |  |  | 6.6611 | 5.4952 | 6.7081 | 0.014603 | 0.0008507 | 0.020325 | 0.0066305 | 0.00053191 | 1.1871e-05 | 0.015385 | 0.0022202 | 24.3383 | 0 | 8.3628e-07
37 | 5.1426e-06 | 0.057214 | 0.0032262 | 0.06206 | 8.7994 |  |  |  |  | 6.6656 | 5.5031 | 6.7144 | 0.014822 | 0.00086674 | 0.020542 | 0.0066456 | 0.00054017 | 1.1934e-05 | 0.015594 | 0.0022585 | 24.5306 | 3.1966e-06 | 8.3659e-07
38 | 5.1275e-06 | 0.058085 | 0.0032874 | 0.06306 | 8.7994 |  |  |  |  | 6.6691 | 5.5112 | 6.7209 | 0.015047 | 0.0008834 | 0.020766 | 0.0066602 | 0.00054869 | 1.1996e-05 | 0.015809 | 0.002298 | 24.7272 | 1.0254e-05 | 8.3684e-07
39 | 5.1119e-06 | 0.058983 | 0.0033509 | 0.064094 | 8.7994 |  |  |  |  | 6.6727 | 5.5195 | 6.7275 | 0.015279 | 0.00090071 | 0.020997 | 0.0066755 | 0.00055749 | 1.2058e-05 | 0.01603 | 0.0023389 | 24.9283 | 1.7493e-05 | 8.3709e-07
40 | 5.0958e-06 | 0.05991 | 0.0034169 | 0.065162 | 8.7993 |  |  |  |  | 6.6763 | 5.5279 | 6.7342 | 0.015519 | 0.0009187 | 0.021236 | 0.0066913 | 0.00056658 | 1.2119e-05 | 0.016259 | 0.0023814 | 25.1341 | 2.4922e-05 | 8.3734e-07
41 | 5.0792e-06 | 0.060868 | 0.0034856 | 0.066266 | 8.7993 |  |  |  |  | 6.6799 | 5.5365 | 6.741 | 0.015766 | 0.00093742 | 0.021483 | 0.0067077 | 0.00057597 | 1.218e-05 | 0.016494 | 0.0024255 | 25.3448 | 3.2547e-05 | 8.376e-07
42 | 5.062e-06 | 0.061857 | 0.0035571 | 0.067409 | 8.7993 |  |  |  |  | 6.6837 | 5.5453 | 6.7479 | 0.016022 | 0.00095691 | 0.021737 | 0.0067248 | 0.00058569 | 1.2241e-05 | 0.016736 | 0.0024713 | 25.5606 | 4.0379e-05 | 8.3786e-07
43 | 5.0442e-06 | 0.06288 | 0.0036316 | 0.068591 | 8.7993 |  |  |  |  | 6.6874 | 5.5543 | 6.7549 | 0.016286 | 0.00097722 | 0.022001 | 0.0067425 | 0.00059575 | 1.2301e-05 | 0.016987 | 0.0025189 | 25.7818 | 4.8427e-05 | 8.3812e-07
44 | 5.0259e-06 | 0.063938 | 0.0037093 | 0.069816 | 8.7993 |  |  |  |  | 6.6913 | 5.5635 | 6.7621 | 0.016559 | 0.0009984 | 0.022273 | 0.006761 | 0.00060617 | 1.236e-05 | 0.017245 | 0.0025685 | 26.0086 | 5.67e-05 | 8.3839e-07
45 | 5.0068e-06 | 0.065033 | 0.0037903 | 0.071086 | 8.7992 |  |  |  |  | 6.6952 | 5.5729 | 6.7694 | 0.016842 | 0.0010205 | 0.022555 | 0.0067803 | 0.00061697 | 1.2418e-05 | 0.017512 | 0.0026201 | 26.2412 | 6.521e-05 | 8.3866e-07
46 | 5.7186e-06 | 0.066167 | 0.0032865 | 0.069932 | 9.8092 |  |  |  |  | 6.6992 | 5.5115 | 6.7582 | 0.017135 | 0.00088898 | 0.022847 | 0.0066975 | 0.00062817 | 1.3315e-05 | 0.017787 | 0.0023165 | 26.3734 | 7.3976e-05 | 8.3894e-07
47 | 5.6989e-06 | 0.067354 | 0.0033588 | 0.071237 | 9.8092 |  |  |  |  | 6.7034 | 5.5201 | 6.7648 | 0.017442 | 0.00090892 | 0.023152 | 0.0067257 | 0.00063977 | 1.3996e-05 | 0.018079 | 0.0023642 | 26.5141 | 8.3038e-05 | 8.3923e-07
48 | 5.6784e-06 | 0.068584 | 0.0034344 | 0.072591 | 9.8092 |  |  |  |  | 6.7076 | 5.5296 | 6.7722 | 0.01776 | 0.00092967 | 0.023468 | 0.0067457 | 0.0006518 | 1.4121e-05 | 0.018382 | 0.002414 | 26.6633 | 9.2377e-05 | 8.3953e-07
49 | 5.6572e-06 | 0.069862 | 0.0035135 | 0.073998 | 9.8092 |  |  |  |  | 6.7119 | 5.5394 | 6.7798 | 0.01809 | 0.0009514 | 0.023796 | 0.0067667 | 0.0006643 | 1.4247e-05 | 0.018695 | 0.002466 | 26.821 | 0.000102 | 8.3984e-07
50 | 5.6352e-06 | 0.071189 | 0.0035963 | 0.075462 | 9.8092 |  |  |  |  | 6.7164 | 5.5493 | 6.7875 | 0.018433 | 0.00097416 | 0.024136 | 0.0067886 | 0.00067731 | 1.4376e-05 | 0.019019 | 0.0025204 | 26.9875 | 0.00011193 | 8.4015e-07
51 | 5.6117e-06 | 0.072568 | 0.0036835 | 0.076984 | 9.8085 |  |  |  |  | 6.7209 | 5.5596 | 6.7954 | 0.018789 | 0.0009981 | 0.024491 | 0.0068117 | 0.00069083 | 1.4509e-05 | 0.019356 | 0.0025774 | 27.163 | 0.00012219 | 8.4046e-07
52 | 5.5879e-06 | 0.074003 | 0.0037746 | 0.07857 | 9.8084 |  |  |  |  | 6.7255 | 5.57 | 6.8034 | 0.01916 | 0.0010232 | 0.024859 | 0.0068357 | 0.00070492 | 1.4642e-05 | 0.019706 | 0.002637 | 27.3476 | 0.00013277 | 8.4078e-07
53 | 5.563e-06 | 0.075498 | 0.0038704 | 0.080222 | 9.8084 |  |  |  |  | 6.7301 | 5.5808 | 6.8116 | 0.019545 | 0.0010495 | 0.025242 | 0.006861 | 0.00071961 | 1.4777e-05 | 0.020069 | 0.0026995 | 27.5416 | 0.00014372 | 8.4111e-07
54 | 5.5372e-06 | 0.077055 | 0.0039712 | 0.081947 | 9.8084 |  |  |  |  | 6.7349 | 5.5918 | 6.8199 | 0.019948 | 0.0010772 | 0.025642 | 0.0068875 | 0.00073493 | 1.4915e-05 | 0.020446 | 0.0027651 | 27.7452 | 0.00015503 | 8.4144e-07
55 | 5.5102e-06 | 0.078679 | 0.0040773 | 0.083747 | 9.8084 |  |  |  |  | 6.7398 | 5.603 | 6.8285 | 0.020367 | 0.0011064 | 0.026059 | 0.0069154 | 0.00075093 | 1.5054e-05 | 0.020839 | 0.002834 | 27.9588 | 0.00016675 | 8.4178e-07
56 | 5.482e-06 | 0.080374 | 0.0041893 | 0.085628 | 9.8084 |  |  |  |  | 6.7448 | 5.6147 | 6.8372 | 0.020805 | 0.0011372 | 0.026494 | 0.0069448 | 0.00076766 | 1.5196e-05 | 0.021248 | 0.0029066 | 28.1828 | 0.00017889 | 8.4213e-07
57 | 5.4526e-06 | 0.082146 | 0.0043076 | 0.087596 | 9.8083 |  |  |  |  | 6.7498 | 5.6266 | 6.8461 | 0.021262 | 0.0011698 | 0.026948 | 0.0069757 | 0.00078516 | 1.5341e-05 | 0.021675 | 0.0029831 | 28.4175 | 0.00019147 | 8.4249e-07
58 | 5.4218e-06 | 0.083999 | 0.0044327 | 0.089658 | 9.8083 |  |  |  |  | 6.755 | 5.6389 | 6.8552 | 0.02174 | 0.0012042 | 0.027424 | 0.0070084 | 0.00080349 | 1.5488e-05 | 0.02212 | 0.0030638 | 28.6634 | 0.00020453 | 8.4285e-07
59 | 5.3896e-06 | 0.08594 | 0.0045653 | 0.091818 | 9.8083 |  |  |  |  | 6.7603 | 5.6515 | 6.8646 | 0.022241 | 0.0012407 | 0.027922 | 0.0070431 | 0.00082271 | 1.5638e-05 | 0.022585 | 0.0031491 | 28.9211 | 0.0002181 | 8.4322e-07
60 | 5.3558e-06 | 0.087974 | 0.0047061 | 0.094086 | 9.8083 |  |  |  |  | 6.7657 | 5.6645 | 6.8741 | 0.022766 | 0.0012795 | 0.028444 | 0.0070797 | 0.00084288 | 1.579e-05 | 0.023071 | 0.0032394 | 29.191 | 0.0002322 | 8.436e-07
61 | 5.3204e-06 | 0.090109 | 0.0048557 | 0.096468 | 9.8083 |  |  |  |  | 6.7712 | 5.678 | 6.8839 | 0.023317 | 0.0013207 | 0.028992 | 0.0071186 | 0.00086409 | 1.5945e-05 | 0.023579 | 0.0033351 | 29.4739 | 0.00024688 | 8.4399e-07
62 | 5.2832e-06 | 0.092353 | 0.0050152 | 0.098974 | 9.8082 |  |  |  |  | 6.7769 | 5.6918 | 6.894 | 0.023896 | 0.0013646 | 0.029567 | 0.00716 | 0.00088641 | 1.6103e-05 | 0.024112 | 0.0034368 | 29.7704 | 0.00026218 | 8.4438e-07
63 | 5.2441e-06 | 0.094713 | 0.0051854 | 0.10161 | 9.8082 |  |  |  |  | 6.7827 | 5.7061 | 6.9043 | 0.024505 | 0.0014114 | 0.030173 | 0.007204 | 0.00090993 | 1.6264e-05 | 0.024671 | 0.0035451 | 30.0813 | 0.00027814 | 8.4479e-07
64 | 5.203e-06 | 0.0972 | 0.0053674 | 0.1044 | 9.8082 |  |  |  |  | 6.7886 | 5.721 | 6.9149 | 0.025147 | 0.0014616 | 0.030811 | 0.0072511 | 0.00093476 | 1.6428e-05 | 0.025258 | 0.0036605 | 30.4075 | 0.00029481 | 8.452e-07
65 | 5.1596e-06 | 0.099824 | 0.0055626 | 0.10734 | 9.8082 |  |  |  |  | 6.7946 | 5.7363 | 6.9257 | 0.025823 | 0.0015153 | 0.031484 | 0.0073014 | 0.00096099 | 1.6596e-05 | 0.025875 | 0.0037839 | 30.7501 | 0.00031224 | 8.4562e-07
66 | 5.1137e-06 | 0.1026 | 0.0057723 | 0.11045 | 9.8081 |  |  |  |  | 6.8008 | 5.7522 | 6.9369 | 0.026538 | 0.001573 | 0.032195 | 0.0073553 | 0.00098877 | 1.6767e-05 | 0.026524 | 0.0039159 | 31.11 | 0.0003305 | 8.4606e-07
67 | 5.0653e-06 | 0.10553 | 0.0059984 | 0.11374 | 9.8081 |  |  |  |  | 6.8071 | 5.7687 | 6.9484 | 0.027295 | 0.0016353 | 0.032948 | 0.0074133 | 0.0010182 | 1.6942e-05 | 0.027209 | 0.0040577 | 31.4886 | 0.00034965 | 8.465e-07
68 | 5.0141e-06 | 0.10864 | 0.0062425 | 0.11724 | 9.8081 |  |  |  |  | 6.8136 | 5.7859 | 6.9602 | 0.028097 | 0.0017025 | 0.033746 | 0.0074759 | 0.0010495 | 1.7121e-05 | 0.027933 | 0.0042104 | 31.8872 | 0.00036978 | 8.4695e-07
69 | 4.9597e-06 | 0.11194 | 0.0065071 | 0.12095 | 9.8081 |  |  |  |  | 6.8202 | 5.8037 | 6.9724 | 0.028948 | 0.0017753 | 0.034593 | 0.0075435 | 0.0010828 | 1.7306e-05 | 0.028698 | 0.0043751 | 32.3074 | 0.00039096 | 8.4742e-07
70 | 4.902e-06 | 0.11546 | 0.0067948 | 0.12491 | 9.808 |  |  |  |  | 6.827 | 5.8224 | 6.985 | 0.029854 | 0.0018544 | 0.035495 | 0.0076168 | 0.0011183 | 1.7495e-05 | 0.029509 | 0.0045533 | 32.7509 | 0.00041329 | 8.4789e-07
71 | 5.9095e-06 | 0.11921 | 0.0057375 | 0.12597 | 11.308 |  |  |  |  | 6.834 | 5.7493 | 6.9798 | 0.030819 | 0.0015846 | 0.036456 | 0.0074483 | 0.0011563 | 1.6829e-05 | 0.030369 | 0.0039236 | 33.0595 | 0.0004369 | 8.4838e-07
72 | 5.8442e-06 | 0.12326 | 0.0060022 | 0.13039 | 11.308 |  |  |  |  | 6.8414 | 5.7664 | 6.9908 | 0.031863 | 0.0016581 | 0.037492 | 0.0075475 | 0.001197 | 1.7984e-05 | 0.031314 | 0.0040932 | 33.3923 | 0.00046199 | 8.489e-07
73 | 5.7743e-06 | 0.1276 | 0.0062922 | 0.13513 | 11.308 |  |  |  |  | 6.8492 | 5.7864 | 7.0044 | 0.032982 | 0.001739 | 0.038601 | 0.0076262 | 0.0012407 | 1.8272e-05 | 0.032322 | 0.0042787 | 33.7512 | 0.00048863 | 8.4944e-07
74 | 5.6994e-06 | 0.13227 | 0.0066114 | 0.14023 | 11.308 |  |  |  |  | 6.8571 | 5.8074 | 7.0184 | 0.034184 | 0.0018281 | 0.039793 | 0.0077124 | 0.0012877 | 1.8575e-05 | 0.033401 | 0.0044819 | 34.1384 | 0.00051698 | 8.5e-07
75 | 5.6181e-06 | 0.13729 | 0.0069651 | 0.14573 | 11.3069 |  |  |  |  | 6.8652 | 5.8296 | 7.0329 | 0.035478 | 0.0019267 | 0.041076 | 0.0078076 | 0.0013384 | 1.8898e-05 | 0.034557 | 0.0047061 | 34.5568 | 0.00054722 | 8.5057e-07
76 | 5.5313e-06 | 0.14272 | 0.0073573 | 0.15167 | 11.3069 |  |  |  |  | 6.8736 | 5.8528 | 7.0479 | 0.036876 | 0.0020359 | 0.042462 | 0.0079128 | 0.0013934 | 1.9238e-05 | 0.035801 | 0.0049535 | 35.0094 | 0.0005796 | 8.5115e-07
77 | 5.4375e-06 | 0.14861 | 0.0077955 | 0.15811 | 11.3069 |  |  |  |  | 6.8822 | 5.8774 | 7.0636 | 0.038391 | 0.0021578 | 0.043964 | 0.0080297 | 0.0014532 | 1.9602e-05 | 0.037142 | 0.0052284 | 35.4997 | 0.00061436 | 8.5176e-07
78 | 5.3359e-06 | 0.15501 | 0.0082882 | 0.16511 | 11.3069 |  |  |  |  | 6.8911 | 5.9034 | 7.0799 | 0.040038 | 0.0022948 | 0.045598 | 0.0081607 | 0.0015183 | 1.9994e-05 | 0.038593 | 0.0055357 | 36.0322 | 0.00065184 | 8.5238e-07
79 | 5.2255e-06 | 0.162 | 0.008846 | 0.17276 | 11.3068 |  |  |  |  | 6.9002 | 5.931 | 7.0968 | 0.041835 | 0.0024495 | 0.04738 | 0.0083084 | 0.0015897 | 2.0419e-05 | 0.040167 | 0.0058814 | 36.6118 | 0.0006924 | 8.5301e-07
80 | 5.1051e-06 | 0.16965 | 0.0094823 | 0.18114 | 11.3068 |  |  |  |  | 6.9095 | 5.9604 | 7.1146 | 0.043804 | 0.0026257 | 0.049334 | 0.0084762 | 0.0016681 | 2.0885e-05 | 0.041882 | 0.0062731 | 37.2449 | 0.0007365 | 8.5367e-07
81 | 4.9734e-06 | 0.17808 | 0.010215 | 0.19036 | 11.3068 |  |  |  |  | 6.9191 | 5.9919 | 7.1331 | 0.045972 | 0.0028279 | 0.051484 | 0.0086685 | 0.0017548 | 2.1402e-05 | 0.043756 | 0.0067203 | 37.939 | 0.00078469 | 8.5434e-07
82 | 4.8288e-06 | 0.18741 | 0.011066 | 0.20055 | 11.3067 |  |  |  |  | 6.9289 | 6.0257 | 7.1525 | 0.048368 | 0.0030623 | 0.053863 | 0.0088911 | 0.0018511 | 2.1983e-05 | 0.045813 | 0.0072355 | 38.7033 | 0.00083765 | 8.5502e-07
83 | 4.6694e-06 | 0.19778 | 0.012066 | 0.21186 | 11.3067 |  |  |  |  | 6.939 | 6.0622 | 7.1728 | 0.051033 | 0.0033369 | 0.056508 | 0.0091519 | 0.0019587 | 2.2645e-05 | 0.048083 | 0.0078352 | 39.5494 | 0.0008962 | 8.5573e-07
84 | 4.4931e-06 | 0.20939 | 0.013257 | 0.22448 | 11.3067 |  |  |  |  | 6.9493 | 6.1017 | 7.1941 | 0.054015 | 0.0036625 | 0.059468 | 0.0094612 | 0.0020797 | 2.3415e-05 | 0.050598 | 0.0085413 | 40.492 | 0.0009614 | 8.5645e-07
85 | 4.2973e-06 | 0.22247 | 0.014697 | 0.23865 | 11.3066 |  |  |  |  | 6.9598 | 6.1449 | 7.2166 | 0.057371 | 0.0040541 | 0.062802 | 0.009834 | 0.0022168 | 2.4328e-05 | 0.053402 | 0.0093839 | 41.55 | 0.0010346 | 8.5719e-07
86 | 7.5448e-06 | 0.23731 | 0.0092226 | 0.25597 | 16.5066 |  |  |  |  | 6.9705 | 5.987 | 7.2431 | 0.06118 | 0.0027306 | 0.066585 | 0.008459 | 0.0023734 | 1.3902e-05 | 0.056546 | 0.0061849 | 42.0685 | 0.0011174 | 8.5793e-07
87 | 7.2607e-06 | 0.25485 | 0.010297 | 0.27542 | 16.5053 |  |  |  |  | 6.9819 | 6.015 | 7.2539 | 0.065676 | 0.0030325 | 0.071057 | 0.0089661 | 0.0025549 | 1.7348e-05 | 0.06042 | 0.0068533 | 42.6816 | 0.0012126 | 8.5874e-07
88 | 6.9348e-06 | 0.27523 | 0.011643 | 0.29796 | 16.5053 |  |  |  |  | 6.9943 | 6.0677 | 7.2818 | 0.070896 | 0.0034256 | 0.076231 | 0.009328 | 0.0027664 | 1.8072e-05 | 0.064884 | 0.0076975 | 43.4138 | 0.0013228 | 8.596e-07
89 | 6.5566e-06 | 0.29919 | 0.013375 | 0.32436 | 16.5052 |  |  |  |  | 7.0068 | 6.1269 | 7.3116 | 0.07703 | 0.0039271 | 0.082313 | 0.0097892 | 0.0030163 | 1.8976e-05 | 0.070082 | 0.0087705 | 44.2968 | 0.001452 | 8.6048e-07
90 | 6.1137e-06 | 0.32778 | 0.015681 | 0.35563 | 16.5052 |  |  |  |  | 7.0194 | 6.1941 | 7.3435 | 0.08434 | 0.0045861 | 0.089565 | 0.010399 | 0.003316 | 2.0172e-05 | 0.076214 | 0.010176 | 45.3768 | 0.001606 | 8.6136e-07
91 | 5.5905e-06 | 0.36245 | 0.018882 | 0.3932 | 16.5051 |  |  |  |  | 7.0319 | 6.2718 | 7.3775 | 0.093202 | 0.0054869 | 0.098362 | 0.01124 | 0.0036822 | 2.1846e-05 | 0.083551 | 0.012089 | 46.7247 | 0.0017931 | 8.6223e-07
92 | 4.9674e-06 | 0.4054 | 0.023585 | 0.43903 | 16.5051 |  |  |  |  | 7.0441 | 6.3629 | 7.4136 | 0.10417 | 0.0067836 | 0.10925 | 0.012468 | 0.0041397 | 2.4361e-05 | 0.092484 | 0.014828 | 48.4562 | 0.0020257 | 8.6308e-07
93 | 4.2217e-06 | 0.45994 | 0.031053 | 0.49594 | 16.5028 |  |  |  |  | 7.0556 | 6.4725 | 7.4514 | 0.11808 | 0.0087918 | 0.12308 | 0.014404 | 0.0047276 | 2.8508e-05 | 0.10358 | 0.019027 | 50.7768 | 0.0023234 | 8.6389e-07
94 | 3.3409e-06 | 0.53142 | 0.044236 | 0.5683 | 16.5026 |  |  |  |  | 7.0658 | 6.6076 | 7.4902 | 0.13629 | 0.012235 | 0.14119 | 0.017788 | 0.0055108 | 3.6149e-05 | 0.11767 | 0.026065 | 54.0864 | 0.0027185 | 8.6461e-07