## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate | NH4+ Permeability
0 | 5.4913e-06 | 0.036947 | 0.0019128 | 0.03916 | 8.8 | 19.0622 | 19.3774 | 18.8982 | 19.7565 | 7.4036 | 6.4607 | 7.537 | 0.014923 | 0.00092413 | 0.015321 | 0.0016022 | 0.00034432 | 3.5325e-06 | 0.010467 | 0.0016174 | 22.6608 | 0.0001087 | 8.8825e-07
1 | 5.4855e-06 | 0.037301 | 0.0019339 | 0.039553 | 8.8 |  |  |  |  | 7.4046 | 6.5219 | 7.5724 | 0.015065 | 0.00095031 | 0.01546 | 0.0015548 | 0.00034776 | 2.4078e-06 | 0.010556 | 0.0016461 | 22.862 | 0.00011079 | 8.8832e-07
2 | 5.4793e-06 | 0.037662 | 0.0019556 | 0.039953 | 8.8 |  |  |  |  | 7.4054 | 6.5276 | 7.5753 | 0.015209 | 0.00096164 | 0.015602 | 0.001565 | 0.00035128 | 2.4036e-06 | 0.010647 | 0.0016633 | 23.0095 | 0.00011289 | 8.8838e-07
3 | 5.473e-06 | 0.03803 | 0.0019778 | 0.040363 | 8.8 |  |  |  |  | 7.4062 | 6.5328 | 7.578 | 0.015356 | 0.00097301 | 0.015747 | 0.001576 | 0.00035488 | 2.407e-06 | 0.01074 | 0.0016808 | 23.1447 | 0.00011503 | 8.8844e-07
4 | 5.4666e-06 | 0.038405 | 0.0020005 | 0.04078 | 8.7999 |  |  |  |  | 7.407 | 6.5381 | 7.5808 | 0.015505 | 0.00098463 | 0.015894 | 0.0015872 | 0.00035855 | 2.4104e-06 | 0.010834 | 0.0016987 | 23.276 | 0.00011721 | 8.8849e-07
5 | 5.46e-06 | 0.038788 | 0.0020237 | 0.041207 | 8.7999 |  |  |  |  | 7.4078 | 6.5434 | 7.5835 | 0.015658 | 0.00099652 | 0.016045 | 0.0015986 | 0.0003623 | 2.4139e-06 | 0.01093 | 0.001717 | 23.4063 | 0.00011943 | 8.8855e-07
6 | 5.4534e-06 | 0.03918 | 0.0020475 | 0.041642 | 8.7999 |  |  |  |  | 7.4087 | 6.5488 | 7.5863 | 0.015814 | 0.0010087 | 0.016198 | 0.0016103 | 0.00036613 | 2.4173e-06 | 0.011028 | 0.0017358 | 23.5368 | 0.00012169 | 8.8861e-07
7 | 5.4465e-06 | 0.039579 | 0.0020718 | 0.042087 | 8.7999 |  |  |  |  | 7.4095 | 6.5543 | 7.5891 | 0.015973 | 0.0010212 | 0.016355 | 0.0016223 | 0.00037004 | 2.4208e-06 | 0.011128 | 0.0017549 | 23.6682 | 0.000124 | 8.8866e-07
8 | 5.4395e-06 | 0.039987 | 0.0020968 | 0.042542 | 8.7999 |  |  |  |  | 7.4103 | 6.5599 | 7.5919 | 0.016136 | 0.0010339 | 0.016516 | 0.0016345 | 0.00037404 | 2.4243e-06 | 0.01123 | 0.0017745 | 23.8008 | 0.00012635 | 8.8872e-07
9 | 5.4324e-06 | 0.040403 | 0.0021223 | 0.043007 | 8.7999 |  |  |  |  | 7.4111 | 6.5655 | 7.5947 | 0.016302 | 0.001047 | 0.016679 | 0.0016471 | 0.00037812 | 2.4277e-06 | 0.011334 | 0.0017945 | 23.935 | 0.00012875 | 8.8878e-07
10 | 5.4251e-06 | 0.040828 | 0.0021485 | 0.043482 | 8.7998 |  |  |  |  | 7.4119 | 6.5712 | 7.5976 | 0.016471 | 0.0010604 | 0.016846 | 0.0016599 | 0.0003823 | 2.4312e-06 | 0.01144 | 0.001815 | 24.0709 | 0.00013119 | 8.8883e-07
11 | 5.4177e-06 | 0.041263 | 0.0021754 | 0.043968 | 8.7998 |  |  |  |  | 7.4127 | 6.5769 | 7.6004 | 0.016645 | 0.0010741 | 0.017017 | 0.0016731 | 0.00038656 | 2.4347e-06 | 0.011548 | 0.001836 | 24.2086 | 0.00013369 | 8.8889e-07
12 | 5.4101e-06 | 0.041707 | 0.0022029 | 0.044465 | 8.7998 |  |  |  |  | 7.4135 | 6.5828 | 7.6033 | 0.016822 | 0.0010882 | 0.017191 | 0.0016865 | 0.00039093 | 2.4381e-06 | 0.011658 | 0.0018574 | 24.3483 | 0.00013624 | 8.8895e-07
13 | 5.4023e-06 | 0.042161 | 0.0022312 | 0.044974 | 8.7998 |  |  |  |  | 7.4143 | 6.5887 | 7.6062 | 0.017002 | 0.0011026 | 0.017369 | 0.0017003 | 0.00039539 | 2.4416e-06 | 0.011771 | 0.0018794 | 24.4901 | 0.00013884 | 8.89e-07
14 | 5.3943e-06 | 0.042625 | 0.0022602 | 0.045494 | 8.7998 |  |  |  |  | 7.4152 | 6.5948 | 7.6092 | 0.017187 | 0.0011175 | 0.017551 | 0.0017145 | 0.00039996 | 2.4451e-06 | 0.011886 | 0.001902 | 24.634 | 0.00014149 | 8.8906e-07
15 | 5.3862e-06 | 0.0431 | 0.0022899 | 0.046027 | 8.7998 |  |  |  |  | 7.416 | 6.6009 | 7.6121 | 0.017376 | 0.0011327 | 0.017738 | 0.001729 | 0.00040464 | 2.4485e-06 | 0.012004 | 0.0019251 | 24.7801 | 0.0001442 | 8.8912e-07
16 | 5.3778e-06 | 0.043586 | 0.0023205 | 0.046573 | 8.7998 |  |  |  |  | 7.4168 | 6.6071 | 7.6151 | 0.01757 | 0.0011483 | 0.017928 | 0.0017439 | 0.00040943 | 2.452e-06 | 0.012124 | 0.0019488 | 24.9286 | 0.00014697 | 8.8918e-07
17 | 5.3693e-06 | 0.044083 | 0.0023519 | 0.047132 | 8.7997 |  |  |  |  | 7.4176 | 6.6134 | 7.6181 | 0.017768 | 0.0011643 | 0.018123 | 0.0017591 | 0.00041433 | 2.4555e-06 | 0.012246 | 0.0019731 | 25.0795 | 0.0001498 | 8.8923e-07
18 | 5.3605e-06 | 0.044592 | 0.0023841 | 0.047704 | 8.7997 |  |  |  |  | 7.4184 | 6.6197 | 7.6212 | 0.01797 | 0.0011807 | 0.018323 | 0.0017748 | 0.00041935 | 2.4589e-06 | 0.012371 | 0.001998 | 25.2329 | 0.00015269 | 8.8929e-07
19 | 5.3516e-06 | 0.045113 | 0.0024173 | 0.048291 | 8.7997 |  |  |  |  | 7.4192 | 6.6262 | 7.6242 | 0.018177 | 0.0011976 | 0.018527 | 0.0017909 | 0.0004245 | 2.4623e-06 | 0.0125 | 0.0020235 | 25.3888 | 0.00015565 | 8.8935e-07
20 | 5.3424e-06 | 0.045647 | 0.0024514 | 0.048892 | 8.7997 |  |  |  |  | 7.4201 | 6.6328 | 7.6273 | 0.01839 | 0.001215 | 0.018736 | 0.0018074 | 0.00042978 | 2.4658e-06 | 0.01263 | 0.0020498 | 25.5474 | 0.00015867 | 8.894e-07
21 | 5.333e-06 | 0.046194 | 0.0024865 | 0.049509 | 8.7997 |  |  |  |  | 7.4209 | 6.6395 | 7.6304 | 0.018607 | 0.0012329 | 0.018951 | 0.0018244 | 0.00043519 | 2.4692e-06 | 0.012764 | 0.0020767 | 25.7087 | 0.00016177 | 8.8946e-07
22 | 5.3233e-06 | 0.046754 | 0.0025226 | 0.050142 | 8.7997 |  |  |  |  | 7.4217 | 6.6463 | 7.6336 | 0.01883 | 0.0012513 | 0.01917 | 0.0018418 | 0.00044073 | 2.4726e-06 | 0.012901 | 0.0021044 | 25.8729 | 0.00016493 | 8.8952e-07
23 | 5.3134e-06 | 0.047329 | 0.0025598 | 0.050791 | 8.7996 |  |  |  |  | 7.4225 | 6.6533 | 7.6367 | 0.019058 | 0.0012702 | 0.019395 | 0.0018598 | 0.00044642 | 2.4759e-06 | 0.013042 | 0.0021329 | 26.04 | 0.00016817 | 8.8958e-07
24 | 5.3033e-06 | 0.047918 | 0.0025981 | 0.051458 | 8.7996 |  |  |  |  | 7.4233 | 6.6603 | 7.6399 | 0.019292 | 0.0012897 | 0.019626 | 0.0018782 | 0.00045227 | 2.4793e-06 | 0.013185 | 0.0021621 | 26.2102 | 0.00017149 | 8.8963e-07
25 | 5.2929e-06 | 0.048522 | 0.0026376 | 0.052142 | 8.7996 |  |  |  |  | 7.4242 | 6.6674 | 7.6431 | 0.019532 | 0.0013098 | 0.019863 | 0.0018972 | 0.00045826 | 2.4826e-06 | 0.013332 | 0.0021922 | 26.3834 | 0.00017489 | 8.8969e-07
26 | 5.2822e-06 | 0.049142 | 0.0026783 | 0.052845 | 8.7996 |  |  |  |  | 7.425 | 6.6747 | 7.6464 | 0.019778 | 0.0013305 | 0.020105 | 0.0019168 | 0.00046442 | 2.486e-06 | 0.013483 | 0.0022231 | 26.5599 | 0.00017837 | 8.8975e-07
27 | 5.2712e-06 | 0.049778 | 0.0027203 | 0.053568 | 8.7996 |  |  |  |  | 7.4258 | 6.6821 | 7.6497 | 0.020031 | 0.0013518 | 0.020355 | 0.0019369 | 0.00047075 | 2.4892e-06 | 0.013637 | 0.002255 | 26.7397 | 0.00018194 | 8.8981e-07
28 | 5.2599e-06 | 0.050432 | 0.0027636 | 0.05431 | 8.7996 |  |  |  |  | 7.4266 | 6.6896 | 7.653 | 0.02029 | 0.0013738 | 0.02061 | 0.0019576 | 0.00047725 | 2.4925e-06 | 0.013795 | 0.0022878 | 26.923 | 0.0001856 | 8.8986e-07
29 | 5.2483e-06 | 0.051103 | 0.0028083 | 0.055074 | 8.7995 |  |  |  |  | 7.4274 | 6.6973 | 7.6563 | 0.020557 | 0.0013964 | 0.020873 | 0.001979 | 0.00048394 | 2.4957e-06 | 0.013957 | 0.0023216 | 27.1098 | 0.00018936 | 8.8992e-07
30 | 5.2364e-06 | 0.051793 | 0.0028545 | 0.055859 | 8.7995 |  |  |  |  | 7.4282 | 6.7051 | 7.6597 | 0.020831 | 0.0014199 | 0.021143 | 0.0020011 | 0.00049082 | 2.4989e-06 | 0.014123 | 0.0023564 | 27.3003 | 0.00019321 | 8.8998e-07
31 | 5.2241e-06 | 0.052503 | 0.0029023 | 0.056668 | 8.7995 |  |  |  |  | 7.429 | 6.7131 | 7.6631 | 0.021112 | 0.001444 | 0.02142 | 0.0020238 | 0.0004979 | 2.5021e-06 | 0.014294 | 0.0023923 | 27.4946 | 0.00019717 | 8.9003e-07
32 | 5.2115e-06 | 0.053232 | 0.0029517 | 0.0575 | 8.7995 |  |  |  |  | 7.4298 | 6.7212 | 7.6665 | 0.021401 | 0.001469 | 0.021706 | 0.0020473 | 0.00050518 | 2.5052e-06 | 0.014469 | 0.0024293 | 27.6929 | 0.00020123 | 8.9009e-07
33 | 5.1985e-06 | 0.053982 | 0.0030028 | 0.058357 | 8.7995 |  |  |  |  | 7.4306 | 6.7295 | 7.67 | 0.021699 | 0.0014949 | 0.021999 | 0.0020716 | 0.00051268 | 2.5083e-06 | 0.014649 | 0.0024676 | 27.8952 | 0.0002054 | 8.9014e-07
34 | 5.1852e-06 | 0.054755 | 0.0030557 | 0.059241 | 8.7994 |  |  |  |  | 7.4314 | 6.7379 | 7.6735 | 0.022005 | 0.0015216 | 0.022301 | 0.0020967 | 0.00052041 | 2.5113e-06 | 0.014833 | 0.0025071 | 28.1018 | 0.00020969 | 8.902e-07
35 | 5.1714e-06 | 0.05555 | 0.0031105 | 0.060151 | 8.7994 |  |  |  |  | 7.4322 | 6.7466 | 7.6771 | 0.02232 | 0.0015492 | 0.022612 | 0.0021226 | 0.00052838 | 2.5142e-06 | 0.015023 | 0.0025478 | 28.3128 | 0.0002141 | 8.9025e-07
36 | 5.1572e-06 | 0.05637 | 0.0031673 | 0.061091 | 8.7994 |  |  |  |  | 7.433 | 6.7554 | 7.6806 | 0.022644 | 0.0015778 | 0.022932 | 0.0021494 | 0.0005366 | 2.5172e-06 | 0.015218 | 0.00259 | 28.5284 | 0.00021864 | 8.9031e-07
37 | 5.1426e-06 | 0.057214 | 0.0032262 | 0.06206 | 8.7994 |  |  |  |  | 7.4337 | 6.7644 | 7.6843 | 0.022979 | 0.0016075 | 0.023262 | 0.0021772 | 0.00054508 | 2.52e-06 | 0.015418 | 0.0026336 | 28.7487 | 0.00022331 | 8.9036e-07
38 | 5.1275e-06 | 0.058085 | 0.0032874 | 0.06306 | 8.7994 |  |  |  |  | 7.4345 | 6.7736 | 7.6879 | 0.023324 | 0.0016383 | 0.023602 | 0.0022059 | 0.00055383 | 2.5227e-06 | 0.015624 | 0.0026788 | 28.9739 | 0.00022812 | 8.9042e-07
39 | 5.1119e-06 | 0.058983 | 0.0033509 | 0.064094 | 8.7994 |  |  |  |  | 7.4353 | 6.7829 | 7.6916 | 0.023679 | 0.0016702 | 0.023953 | 0.0022357 | 0.00056286 | 2.5254e-06 | 0.015837 | 0.0027255 | 29.2043 | 0.00023308 | 8.9047e-07
40 | 5.0958e-06 | 0.05991 | 0.0034169 | 0.065162 | 8.7993 |  |  |  |  | 7.436 | 6.7925 | 7.6953 | 0.024046 | 0.0017033 | 0.024315 | 0.0022667 | 0.0005722 | 2.528e-06 | 0.016055 | 0.002774 | 29.4399 | 0.00023819 | 8.9052e-07
41 | 5.0792e-06 | 0.060868 | 0.0034856 | 0.066266 | 8.7993 |  |  |  |  | 7.4368 | 6.8024 | 7.6991 | 0.024425 | 0.0017377 | 0.024688 | 0.0022987 | 0.00058186 | 2.5305e-06 | 0.01628 | 0.0028242 | 29.6811 | 0.00024346 | 8.9057e-07
42 | 5.062e-06 | 0.061857 | 0.0035571 | 0.067409 | 8.7993 |  |  |  |  | 7.4375 | 6.8124 | 7.7029 | 0.024816 | 0.0017735 | 0.025074 | 0.0023321 | 0.00059185 | 2.5329e-06 | 0.016512 | 0.0028763 | 29.9281 | 0.0002489 | 8.9062e-07
43 | 5.0442e-06 | 0.06288 | 0.0036316 | 0.068591 | 8.7993 |  |  |  |  | 7.4382 | 6.8227 | 7.7068 | 0.02522 | 0.0018107 | 0.025473 | 0.0023667 | 0.00060219 | 2.5352e-06 | 0.016751 | 0.0029305 | 30.1811 | 0.00025452 | 8.9067e-07
44 | 5.0259e-06 | 0.063938 | 0.0037093 | 0.069816 | 8.7993 |  |  |  |  | 7.4389 | 6.8333 | 7.7107 | 0.025638 | 0.0018495 | 0.025886 | 0.0024027 | 0.00061289 | 2.5374e-06 | 0.016998 | 0.0029867 | 30.4403 | 0.00026032 | 8.9072e-07
45 | 5.0068e-06 | 0.065033 | 0.0037903 | 0.071086 | 8.7992 |  |  |  |  | 7.4396 | 6.8441 | 7.7147 | 0.02607 | 0.0018899 | 0.026313 | 0.0024402 | 0.00062399 | 2.5394e-06 | 0.017253 | 0.0030452 | 30.7061 | 0.00026633 | 8.9077e-07
46 | 5.7186e-06 | 0.066167 | 0.0032865 | 0.069932 | 9.8092 |  |  |  |  | 7.4403 | 6.719 | 7.6786 | 0.026518 | 0.0016589 | 0.026755 | 0.0023133 | 0.0006355 | 3.0414e-06 | 0.017516 | 0.0027064 | 30.8595 | 0.00027254 | 8.9082e-07
47 | 5.6989e-06 | 0.067354 | 0.0033588 | 0.071237 | 9.8092 |  |  |  |  | 7.4414 | 6.7162 | 7.6772 | 0.026987 | 0.001691 | 0.027216 | 0.002362 | 0.00064743 | 3.239e-06 | 0.017795 | 0.0027567 | 31.0213 | 0.000279 | 8.909e-07
48 | 5.6784e-06 | 0.068584 | 0.0034344 | 0.072591 | 9.8092 |  |  |  |  | 7.4426 | 6.726 | 7.6811 | 0.027474 | 0.001729 | 0.027694 | 0.0023991 | 0.00065982 | 3.261e-06 | 0.018085 | 0.0028134 | 31.1927 | 0.00028571 | 8.9098e-07
49 | 5.6572e-06 | 0.069862 | 0.0035135 | 0.073998 | 9.8092 |  |  |  |  | 7.4437 | 6.7361 | 7.685 | 0.027979 | 0.0017689 | 0.02819 | 0.0024376 | 0.00067269 | 3.2818e-06 | 0.018384 | 0.0028725 | 31.3737 | 0.00029266 | 8.9106e-07
50 | 5.6352e-06 | 0.071189 | 0.0035963 | 0.075462 | 9.8092 |  |  |  |  | 7.4449 | 6.7464 | 7.6891 | 0.028503 | 0.0018105 | 0.028705 | 0.0024779 | 0.00068608 | 3.3034e-06 | 0.018694 | 0.0029342 | 31.5647 | 0.00029986 | 8.9114e-07
51 | 5.6117e-06 | 0.072568 | 0.0036835 | 0.076984 | 9.8085 |  |  |  |  | 7.4461 | 6.757 | 7.6931 | 0.029047 | 0.0018542 | 0.029241 | 0.0025201 | 0.00070002 | 3.3261e-06 | 0.019016 | 0.0029989 | 31.7657 | 0.00030735 | 8.9122e-07
52 | 5.5879e-06 | 0.074003 | 0.0037746 | 0.07857 | 9.8084 |  |  |  |  | 7.4472 | 6.7679 | 7.6973 | 0.029614 | 0.0018998 | 0.029797 | 0.0025641 | 0.00071453 | 3.3491e-06 | 0.01935 | 0.0030663 | 31.9769 | 0.00031512 | 8.913e-07
53 | 5.563e-06 | 0.075498 | 0.0038704 | 0.080222 | 9.8084 |  |  |  |  | 7.4484 | 6.7791 | 7.7014 | 0.030204 | 0.0019477 | 0.030377 | 0.0026102 | 0.00072966 | 3.373e-06 | 0.019696 | 0.0031368 | 32.1986 | 0.00032321 | 8.9138e-07
54 | 5.5372e-06 | 0.077055 | 0.0039712 | 0.081947 | 9.8084 |  |  |  |  | 7.4495 | 6.7906 | 7.7057 | 0.030818 | 0.001998 | 0.03098 | 0.0026586 | 0.00074545 | 3.3977e-06 | 0.020056 | 0.0032108 | 32.4311 | 0.00033163 | 8.9146e-07
55 | 5.5102e-06 | 0.078679 | 0.0040773 | 0.083747 | 9.8084 |  |  |  |  | 7.4506 | 6.8024 | 7.71 | 0.031458 | 0.0020508 | 0.03161 | 0.0027094 | 0.00076194 | 3.4235e-06 | 0.02043 | 0.0032884 | 32.6748 | 0.0003404 | 8.9154e-07
56 | 5.482e-06 | 0.080374 | 0.0041893 | 0.085628 | 9.8084 |  |  |  |  | 7.4517 | 6.8146 | 7.7143 | 0.032127 | 0.0021064 | 0.032266 | 0.0027628 | 0.00077918 | 3.4502e-06 | 0.02082 | 0.0033699 | 32.9299 | 0.00034954 | 8.9162e-07
57 | 5.4526e-06 | 0.082146 | 0.0043076 | 0.087596 | 9.8083 |  |  |  |  | 7.4528 | 6.8271 | 7.7187 | 0.032825 | 0.0021649 | 0.032953 | 0.002819 | 0.00079722 | 3.478e-06 | 0.021226 | 0.0034556 | 33.1969 | 0.00035909 | 8.917e-07
58 | 5.4218e-06 | 0.083999 | 0.0044327 | 0.089658 | 9.8083 |  |  |  |  | 7.4539 | 6.84 | 7.7232 | 0.033555 | 0.0022267 | 0.03367 | 0.0028783 | 0.00081612 | 3.507e-06 | 0.021649 | 0.0035458 | 33.4762 | 0.00036907 | 8.9177e-07
59 | 5.3896e-06 | 0.08594 | 0.0045653 | 0.091818 | 9.8083 |  |  |  |  | 7.455 | 6.8533 | 7.7278 | 0.034319 | 0.002292 | 0.034421 | 0.0029408 | 0.00083594 | 3.5373e-06 | 0.02209 | 0.003641 | 33.7686 | 0.00037952 | 8.9185e-07
60 | 5.3558e-06 | 0.087974 | 0.0047061 | 0.094086 | 9.8083 |  |  |  |  | 7.456 | 6.867 | 7.7324 | 0.03512 | 0.0023611 | 0.035208 | 0.0030069 | 0.00085675 | 3.569e-06 | 0.022552 | 0.0037415 | 34.0744 | 0.00039045 | 8.9192e-07
61 | 5.3204e-06 | 0.090109 | 0.0048557 | 0.096468 | 9.8083 |  |  |  |  | 7.457 | 6.8812 | 7.7371 | 0.03596 | 0.0024344 | 0.036034 | 0.0030769 | 0.00087863 | 3.6021e-06 | 0.023034 | 0.0038479 | 34.3943 | 0.00040193 | 8.9199e-07
62 | 5.2832e-06 | 0.092353 | 0.0050152 | 0.098974 | 9.8082 |  |  |  |  | 7.458 | 6.8959 | 7.7418 | 0.036842 | 0.0025122 | 0.036901 | 0.0031512 | 0.00090165 | 3.6369e-06 | 0.023539 | 0.0039605 | 34.7292 | 0.00041398 | 8.9206e-07
63 | 5.2441e-06 | 0.094713 | 0.0051854 | 0.10161 | 9.8082 |  |  |  |  | 7.459 | 6.9111 | 7.7467 | 0.03777 | 0.002595 | 0.037813 | 0.0032302 | 0.00092592 | 3.6734e-06 | 0.024068 | 0.0040801 | 35.0798 | 0.00042665 | 8.9213e-07
64 | 5.203e-06 | 0.0972 | 0.0053674 | 0.1044 | 9.8082 |  |  |  |  | 7.4599 | 6.9268 | 7.7516 | 0.038747 | 0.0026832 | 0.038774 | 0.0033142 | 0.00095154 | 3.7119e-06 | 0.024623 | 0.0042072 | 35.447 | 0.00044 | 8.9219e-07
65 | 5.1596e-06 | 0.099824 | 0.0055626 | 0.10734 | 9.8082 |  |  |  |  | 7.4608 | 6.9432 | 7.7566 | 0.039777 | 0.0027774 | 0.039787 | 0.0034039 | 0.00097862 | 3.7524e-06 | 0.025207 | 0.0043427 | 35.8318 | 0.00045408 | 8.9226e-07
66 | 5.1137e-06 | 0.1026 | 0.0057723 | 0.11045 | 9.8081 |  |  |  |  | 7.4617 | 6.9602 | 7.7617 | 0.040865 | 0.0028783 | 0.040857 | 0.0034999 | 0.0010073 | 3.7954e-06 | 0.02582 | 0.0044873 | 36.2354 | 0.00046895 | 8.9232e-07
67 | 5.0653e-06 | 0.10553 | 0.0059984 | 0.11374 | 9.8081 |  |  |  |  | 7.4625 | 6.9778 | 7.7669 | 0.042017 | 0.0029865 | 0.041989 | 0.0036028 | 0.0010377 | 3.841e-06 | 0.026467 | 0.0046421 | 36.659 | 0.0004847 | 8.9237e-07
68 | 5.0141e-06 | 0.10864 | 0.0062425 | 0.11724 | 9.8081 |  |  |  |  | 7.4632 | 6.9962 | 7.7722 | 0.043236 | 0.0031029 | 0.043189 | 0.0037133 | 0.00107 | 3.8895e-06 | 0.027149 | 0.0048081 | 37.104 | 0.00050139 | 8.9243e-07
69 | 4.9597e-06 | 0.11194 | 0.0065071 | 0.12095 | 9.8081 |  |  |  |  | 7.464 | 7.0154 | 7.7776 | 0.044531 | 0.0032284 | 0.044462 | 0.0038325 | 0.0011044 | 3.9413e-06 | 0.027869 | 0.0049867 | 37.5721 | 0.00051913 | 8.9248e-07
70 | 4.902e-06 | 0.11546 | 0.0067948 | 0.12491 | 9.808 |  |  |  |  | 7.4646 | 7.0354 | 7.7831 | 0.045908 | 0.0033642 | 0.045816 | 0.0039613 | 0.0011411 | 3.9968e-06 | 0.028632 | 0.0051792 | 38.0649 | 0.00053801 | 8.9252e-07
71 | 5.9095e-06 | 0.11921 | 0.0057375 | 0.12597 | 11.308 |  |  |  |  | 7.4652 | 6.9084 | 7.7591 | 0.047375 | 0.0029292 | 0.04726 | 0.0036485 | 0.0011803 | 4.1012e-06 | 0.029441 | 0.004525 | 38.4168 | 0.00055816 | 8.9256e-07
72 | 5.8442e-06 | 0.12326 | 0.0060022 | 0.13039 | 11.308 |  |  |  |  | 7.4663 | 6.906 | 7.7578 | 0.048962 | 0.0030468 | 0.048817 | 0.0037981 | 0.0012223 | 4.4619e-06 | 0.030331 | 0.0047003 | 38.7927 | 0.00057974 | 8.9264e-07
73 | 5.7743e-06 | 0.1276 | 0.0062922 | 0.13513 | 11.308 |  |  |  |  | 7.4676 | 6.9259 | 7.7636 | 0.050662 | 0.0031869 | 0.050485 | 0.0039339 | 0.0012674 | 4.5557e-06 | 0.03128 | 0.0049022 | 39.1966 | 0.00060288 | 8.9273e-07
74 | 5.6994e-06 | 0.13227 | 0.0066114 | 0.14023 | 11.308 |  |  |  |  | 7.4687 | 6.9472 | 7.7696 | 0.052488 | 0.0033403 | 0.052275 | 0.0040819 | 0.001316 | 4.654e-06 | 0.032295 | 0.0051227 | 39.631 | 0.00062775 | 8.9281e-07
75 | 5.6181e-06 | 0.13729 | 0.0069651 | 0.14573 | 11.3069 |  |  |  |  | 7.4699 | 6.9695 | 7.7758 | 0.054454 | 0.0035091 | 0.054203 | 0.0042445 | 0.0013684 | 4.762e-06 | 0.033381 | 0.0053648 | 40.0986 | 0.00065457 | 8.9289e-07
76 | 5.5313e-06 | 0.14272 | 0.0073573 | 0.15167 | 11.3069 |  |  |  |  | 7.4709 | 6.993 | 7.7821 | 0.056577 | 0.0036951 | 0.056284 | 0.0044235 | 0.0014253 | 4.8796e-06 | 0.034549 | 0.0056306 | 40.6024 | 0.00068356 | 8.9296e-07
77 | 5.4375e-06 | 0.14861 | 0.0077955 | 0.15811 | 11.3069 |  |  |  |  | 7.4718 | 7.0179 | 7.7886 | 0.058876 | 0.0039013 | 0.058539 | 0.0046218 | 0.001487 | 5.0095e-06 | 0.035806 | 0.0059246 | 41.146 | 0.00071503 | 8.9303e-07
78 | 5.3359e-06 | 0.15501 | 0.0082882 | 0.16511 | 11.3069 |  |  |  |  | 7.4727 | 7.0442 | 7.7953 | 0.061375 | 0.0041314 | 0.06099 | 0.0048428 | 0.0015544 | 5.1539e-06 | 0.037164 | 0.0062514 | 41.7339 | 0.00074929 | 8.9309e-07
79 | 5.2255e-06 | 0.162 | 0.008846 | 0.17276 | 11.3068 |  |  |  |  | 7.4734 | 7.0721 | 7.8021 | 0.064101 | 0.0043895 | 0.063664 | 0.0050907 | 0.0016281 | 5.3155e-06 | 0.038636 | 0.006617 | 42.3711 | 0.00078676 | 8.9314e-07
80 | 5.1051e-06 | 0.16965 | 0.0094823 | 0.18114 | 11.3068 |  |  |  |  | 7.4739 | 7.1018 | 7.8091 | 0.067087 | 0.0046813 | 0.066592 | 0.0053708 | 0.0017093 | 5.498e-06 | 0.040237 | 0.0070287 | 43.0638 | 0.0008279 | 8.9317e-07
81 | 4.9734e-06 | 0.17808 | 0.010215 | 0.19036 | 11.3068 |  |  |  |  | 7.4743 | 7.1334 | 7.8164 | 0.070371 | 0.0050138 | 0.069814 | 0.00569 | 0.001799 | 5.706e-06 | 0.041985 | 0.0074958 | 43.8194 | 0.00087332 | 8.932e-07
82 | 4.8288e-06 | 0.18741 | 0.011066 | 0.20055 | 11.3067 |  |  |  |  | 7.4745 | 7.1671 | 7.8239 | 0.074002 | 0.005396 | 0.073377 | 0.006057 | 0.0018986 | 5.9458e-06 | 0.043901 | 0.0080303 | 44.6471 | 0.0009237 | 8.9321e-07
83 | 4.6694e-06 | 0.19778 | 0.012066 | 0.21186 | 11.3067 |  |  |  |  | 7.4744 | 7.203 | 7.8316 | 0.078038 | 0.00584 | 0.077337 | 0.0064836 | 0.0020099 | 6.2258e-06 | 0.046011 | 0.008648 | 45.558 | 0.00097993 | 8.9321e-07
84 | 4.4931e-06 | 0.20939 | 0.013257 | 0.22448 | 11.3067 |  |  |  |  | 7.4741 | 7.2412 | 7.8395 | 0.08255 | 0.0063619 | 0.081765 | 0.0069858 | 0.0021351 | 6.5577e-06 | 0.048347 | 0.0093698 | 46.5665 | 0.0010431 | 8.9319e-07
85 | 4.2973e-06 | 0.22247 | 0.014697 | 0.23865 | 11.3066 |  |  |  |  | 7.4734 | 7.2819 | 7.8477 | 0.087629 | 0.0069842 | 0.08675 | 0.0075856 | 0.0022771 | 6.9582e-06 | 0.050945 | 0.010224 | 47.6908 | 0.0011146 | 8.9314e-07
86 | 7.5448e-06 | 0.23731 | 0.0092226 | 0.25597 | 16.5066 |  |  |  |  | 7.4724 | 7.2136 | 7.8594 | 0.09339 | 0.0050625 | 0.092405 | 0.0056128 | 0.0024392 | 4.0597e-06 | 0.053854 | 0.0072064 | 48.3032 | 0.0011963 | 8.9307e-07
87 | 7.2607e-06 | 0.25485 | 0.010297 | 0.27542 | 16.5053 |  |  |  |  | 7.4711 | 7.1435 | 7.846 | 0.10018 | 0.0055053 | 0.099081 | 0.0062299 | 0.0026265 | 5.268e-06 | 0.057442 | 0.0078511 | 49.0043 | 0.0012904 | 8.9298e-07
88 | 6.9348e-06 | 0.27523 | 0.011643 | 0.29796 | 16.5053 |  |  |  |  | 7.4704 | 7.1992 | 7.856 | 0.10807 | 0.0061429 | 0.10682 | 0.0068314 | 0.002845 | 5.6536e-06 | 0.061574 | 0.0087336 | 49.8286 | 0.0014002 | 8.9293e-07
89 | 6.5566e-06 | 0.29919 | 0.013375 | 0.32436 | 16.5052 |  |  |  |  | 7.4691 | 7.2636 | 7.8669 | 0.11734 | 0.0069464 | 0.11591 | 0.0075859 | 0.0031031 | 6.1248e-06 | 0.066378 | 0.0098424 | 50.8072 | 0.0015298 | 8.9284e-07
90 | 6.1137e-06 | 0.32778 | 0.015681 | 0.35563 | 16.5052 |  |  |  |  | 7.4671 | 7.3352 | 7.8784 | 0.12838 | 0.0079875 | 0.12674 | 0.0085665 | 0.0034128 | 6.7483e-06 | 0.072032 | 0.011275 | 51.9848 | 0.0016852 | 8.9269e-07
91 | 5.5905e-06 | 0.36245 | 0.018882 | 0.3932 | 16.5051 |  |  |  |  | 7.464 | 7.4132 | 7.8903 | 0.14176 | 0.0093903 | 0.13987 | 0.0098949 | 0.0037912 | 7.6159e-06 | 0.078782 | 0.013196 | 53.4295 | 0.0018749 | 8.9248e-07
92 | 4.9674e-06 | 0.4054 | 0.023585 | 0.43903 | 16.5051 |  |  |  |  | 7.4598 | 7.4948 | 7.9027 | 0.1583 | 0.011383 | 0.15612 | 0.011797 | 0.0042642 | 8.9028e-06 | 0.086981 | 0.015904 | 55.251 | 0.0021119 | 8.9218e-07
93 | 4.2217e-06 | 0.45994 | 0.031053 | 0.49594 | 16.5028 |  |  |  |  | 7.4539 | 7.5741 | 7.9154 | 0.17929 | 0.014432 | 0.17674 | 0.014737 | 0.0048721 | 1.0988e-05 | 0.097135 | 0.019988 | 57.6424 | 0.0024163 | 8.9177e-07
94 | 3.3409e-06 | 0.53142 | 0.044236 | 0.5683 | 16.5026 |  |  |  |  | 7.4458 | 7.6424 | 7.9281 | 0.20677 | 0.019614 | 0.20374 | 0.019791 | 0.0056822 | 1.4769e-05 | 0.10999 | 0.026722 | 60.9767 | 0.0028219 | 8.912e-07