## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | Brine pH | Permeate pH | Film layer pH | Brine Alkalinity | Permeate Alkalinity | Trace Conc. of C in Brine | Trace Conc. of C in Permeate | Ptb | Ptp | Ntb | Ntp | Ntp_Accum_mgl | SI_Armp_CaPhosphate | NH4+ Permeability
0 | 3.781e-06 | 0.036947 | 0.0026669 | 0.038424 | 6.3 | 12.9734 | 13.5442 | 11.1666 | 12.8877 | 8.4327 | 9.0805 | 8.4857 | 0.017514 | 0.0024693 | 0.015321 | 0.0011682 | 0.00034432 | 6.3825e-07 | 0.010467 | 0.0030959 | 43.3765 | 0.0001643 | 9.6029e-07
1 | 3.7759e-06 | 0.037293 | 0.002696 | 0.038795 | 6.3 |  |  |  |  | 8.43 | 9.0993 | 8.5031 | 0.017666 | 0.0025393 | 0.015464 | 0.001176 | 0.00034779 | 4.7803e-07 | 0.010541 | 0.0031608 | 43.8311 | 0.00016605 | 9.601e-07
2 | 3.7702e-06 | 0.037646 | 0.0027261 | 0.039173 | 6.3 |  |  |  |  | 8.4271 | 9.0961 | 8.5009 | 0.01782 | 0.002555 | 0.01561 | 0.0011894 | 0.00035133 | 4.8497e-07 | 0.010617 | 0.0031801 | 44.0731 | 0.00016783 | 9.599e-07
3 | 3.7644e-06 | 0.038006 | 0.0027569 | 0.03956 | 6.3 |  |  |  |  | 8.4242 | 9.0929 | 8.4988 | 0.017978 | 0.0025712 | 0.015759 | 0.0012031 | 0.00035495 | 4.9116e-07 | 0.010693 | 0.0032002 | 44.2643 | 0.00016964 | 9.5969e-07
4 | 3.7585e-06 | 0.038373 | 0.0027885 | 0.039954 | 6.2999 |  |  |  |  | 8.4213 | 9.0897 | 8.4967 | 0.018138 | 0.0025878 | 0.01591 | 0.0012171 | 0.00035864 | 4.9749e-07 | 0.010771 | 0.0032206 | 44.4363 | 0.0001715 | 9.5949e-07
5 | 3.7525e-06 | 0.038748 | 0.0028207 | 0.040356 | 6.2999 |  |  |  |  | 8.4183 | 9.0865 | 8.4945 | 0.018302 | 0.0026047 | 0.016065 | 0.0012314 | 0.00036241 | 5.0395e-07 | 0.010851 | 0.0032415 | 44.5997 | 0.00017339 | 9.5928e-07
6 | 3.7464e-06 | 0.03913 | 0.0028537 | 0.040766 | 6.2999 |  |  |  |  | 8.4153 | 9.0832 | 8.4924 | 0.018469 | 0.002622 | 0.016223 | 0.0012461 | 0.00036626 | 5.1054e-07 | 0.010932 | 0.0032629 | 44.7591 | 0.00017532 | 9.5907e-07
7 | 3.7402e-06 | 0.03952 | 0.0028876 | 0.041185 | 6.2999 |  |  |  |  | 8.4123 | 9.0799 | 8.4902 | 0.018639 | 0.0026397 | 0.016384 | 0.0012611 | 0.0003702 | 5.1729e-07 | 0.011014 | 0.0032846 | 44.9169 | 0.00017729 | 9.5886e-07
8 | 3.7338e-06 | 0.039918 | 0.0029222 | 0.041614 | 6.2999 |  |  |  |  | 8.4093 | 9.0766 | 8.488 | 0.018813 | 0.0026579 | 0.016548 | 0.0012765 | 0.00037421 | 5.2418e-07 | 0.011098 | 0.0033069 | 45.0743 | 0.00017931 | 9.5865e-07
9 | 3.7273e-06 | 0.040325 | 0.0029577 | 0.042051 | 6.2999 |  |  |  |  | 8.4062 | 9.0732 | 8.4858 | 0.018991 | 0.0026764 | 0.016716 | 0.0012923 | 0.00037832 | 5.3124e-07 | 0.011184 | 0.0033297 | 45.2321 | 0.00018137 | 9.5843e-07
10 | 3.7206e-06 | 0.04074 | 0.0029941 | 0.042498 | 6.2998 |  |  |  |  | 8.4031 | 9.0697 | 8.4836 | 0.019172 | 0.0026954 | 0.016888 | 0.0013084 | 0.00038252 | 5.3845e-07 | 0.011271 | 0.003353 | 45.3908 | 0.00018347 | 9.5821e-07
11 | 3.7138e-06 | 0.041164 | 0.0030314 | 0.042954 | 6.2998 |  |  |  |  | 8.3999 | 9.0663 | 8.4814 | 0.019357 | 0.0027149 | 0.017063 | 0.001325 | 0.00038681 | 5.4582e-07 | 0.01136 | 0.0033768 | 45.551 | 0.00018563 | 9.5799e-07
12 | 3.7069e-06 | 0.041598 | 0.0030697 | 0.043421 | 6.2998 |  |  |  |  | 8.3967 | 9.0628 | 8.4792 | 0.019546 | 0.0027348 | 0.017241 | 0.0013419 | 0.0003912 | 5.5338e-07 | 0.011451 | 0.0034012 | 45.7127 | 0.00018783 | 9.5777e-07
13 | 3.6998e-06 | 0.04204 | 0.003109 | 0.043898 | 6.2998 |  |  |  |  | 8.3935 | 9.0592 | 8.4769 | 0.01974 | 0.0027553 | 0.017424 | 0.0013594 | 0.00039569 | 5.611e-07 | 0.011543 | 0.0034261 | 45.8763 | 0.00019008 | 9.5755e-07
14 | 3.6926e-06 | 0.042493 | 0.0031493 | 0.044386 | 6.2998 |  |  |  |  | 8.3903 | 9.0556 | 8.4747 | 0.019937 | 0.0027762 | 0.017611 | 0.0013772 | 0.00040028 | 5.6901e-07 | 0.011638 | 0.0034516 | 46.042 | 0.00019238 | 9.5732e-07
15 | 3.6852e-06 | 0.042956 | 0.0031906 | 0.044886 | 6.2998 |  |  |  |  | 8.387 | 9.052 | 8.4724 | 0.020139 | 0.0027977 | 0.017802 | 0.0013956 | 0.00040499 | 5.7711e-07 | 0.011734 | 0.0034778 | 46.2098 | 0.00019474 | 9.5709e-07
16 | 3.6776e-06 | 0.043429 | 0.0032331 | 0.045397 | 6.2998 |  |  |  |  | 8.3836 | 9.0483 | 8.4701 | 0.020345 | 0.0028197 | 0.017997 | 0.0014144 | 0.0004098 | 5.854e-07 | 0.011832 | 0.0035046 | 46.3799 | 0.00019715 | 9.5686e-07
17 | 3.6698e-06 | 0.043914 | 0.0032768 | 0.04592 | 6.2997 |  |  |  |  | 8.3803 | 9.0446 | 8.4678 | 0.020557 | 0.0028423 | 0.018197 | 0.0014337 | 0.00041473 | 5.939e-07 | 0.011933 | 0.003532 | 46.5525 | 0.00019962 | 9.5662e-07
18 | 3.6619e-06 | 0.044409 | 0.0033217 | 0.046455 | 6.2997 |  |  |  |  | 8.3769 | 9.0408 | 8.4655 | 0.020773 | 0.0028655 | 0.018402 | 0.0014536 | 0.00041978 | 6.0261e-07 | 0.012035 | 0.0035601 | 46.7277 | 0.00020216 | 9.5638e-07
19 | 3.6538e-06 | 0.044916 | 0.0033678 | 0.047004 | 6.2997 |  |  |  |  | 8.3735 | 9.0369 | 8.4632 | 0.020994 | 0.0028893 | 0.018611 | 0.001474 | 0.00042496 | 6.1153e-07 | 0.01214 | 0.003589 | 46.9056 | 0.00020475 | 9.5614e-07
20 | 3.6455e-06 | 0.045436 | 0.0034153 | 0.047565 | 6.2997 |  |  |  |  | 8.37 | 9.0331 | 8.4608 | 0.02122 | 0.0029138 | 0.018825 | 0.001495 | 0.00043026 | 6.2068e-07 | 0.012247 | 0.0036186 | 47.0863 | 0.00020741 | 9.559e-07
21 | 3.637e-06 | 0.045968 | 0.0034641 | 0.048141 | 6.2997 |  |  |  |  | 8.3665 | 9.0291 | 8.4585 | 0.021452 | 0.002939 | 0.019044 | 0.0015167 | 0.0004357 | 6.3006e-07 | 0.012356 | 0.0036489 | 47.2698 | 0.00021013 | 9.5565e-07
22 | 3.6283e-06 | 0.046513 | 0.0035143 | 0.048731 | 6.2997 |  |  |  |  | 8.3629 | 9.0251 | 8.4561 | 0.021689 | 0.0029648 | 0.019269 | 0.0015389 | 0.00044128 | 6.3969e-07 | 0.012467 | 0.0036801 | 47.4564 | 0.00021293 | 9.554e-07
23 | 3.6194e-06 | 0.047071 | 0.0035661 | 0.049336 | 6.2996 |  |  |  |  | 8.3593 | 9.0211 | 8.4537 | 0.021932 | 0.0029914 | 0.019499 | 0.0015618 | 0.000447 | 6.4956e-07 | 0.012581 | 0.0037121 | 47.6462 | 0.0002158 | 9.5515e-07
24 | 3.6102e-06 | 0.047644 | 0.0036194 | 0.049956 | 6.2996 |  |  |  |  | 8.3557 | 9.017 | 8.4513 | 0.022181 | 0.0030188 | 0.019735 | 0.0015853 | 0.00045287 | 6.597e-07 | 0.012698 | 0.003745 | 47.8391 | 0.00021874 | 9.549e-07
25 | 3.6009e-06 | 0.04823 | 0.0036744 | 0.050593 | 6.2996 |  |  |  |  | 8.352 | 9.0128 | 8.4489 | 0.022437 | 0.003047 | 0.019977 | 0.0016096 | 0.0004589 | 6.7011e-07 | 0.012818 | 0.0037787 | 48.0355 | 0.00022176 | 9.5464e-07
26 | 3.5912e-06 | 0.048833 | 0.0037311 | 0.051246 | 6.2996 |  |  |  |  | 8.3482 | 9.0086 | 8.4464 | 0.022699 | 0.003076 | 0.020226 | 0.0016347 | 0.0004651 | 6.808e-07 | 0.01294 | 0.0038135 | 48.2353 | 0.00022486 | 9.5438e-07
27 | 3.5814e-06 | 0.04945 | 0.0037896 | 0.051917 | 6.2996 |  |  |  |  | 8.3444 | 9.0043 | 8.444 | 0.022968 | 0.0031059 | 0.02048 | 0.0016605 | 0.00047146 | 6.9179e-07 | 0.013065 | 0.0038492 | 48.4387 | 0.00022805 | 9.5411e-07
28 | 3.5713e-06 | 0.050085 | 0.00385 | 0.052606 | 6.2996 |  |  |  |  | 8.3406 | 9 | 8.4415 | 0.023244 | 0.0031367 | 0.020742 | 0.0016871 | 0.000478 | 7.0308e-07 | 0.013193 | 0.0038859 | 48.6458 | 0.00023132 | 9.5384e-07
29 | 3.5609e-06 | 0.050736 | 0.0039123 | 0.053314 | 6.2995 |  |  |  |  | 8.3367 | 8.9956 | 8.439 | 0.023527 | 0.0031684 | 0.02101 | 0.0017146 | 0.00048472 | 7.1469e-07 | 0.013324 | 0.0039238 | 48.8568 | 0.00023469 | 9.5357e-07
30 | 3.5502e-06 | 0.051405 | 0.0039768 | 0.054042 | 6.2995 |  |  |  |  | 8.3328 | 8.9911 | 8.4365 | 0.023818 | 0.0032012 | 0.021286 | 0.001743 | 0.00049163 | 7.2663e-07 | 0.013458 | 0.0039627 | 49.0718 | 0.00023815 | 9.533e-07
31 | 3.5392e-06 | 0.052092 | 0.0040434 | 0.05479 | 6.2995 |  |  |  |  | 8.3288 | 8.9866 | 8.434 | 0.024116 | 0.003235 | 0.021569 | 0.0017724 | 0.00049875 | 7.3892e-07 | 0.013596 | 0.0040029 | 49.291 | 0.00024171 | 9.5302e-07
32 | 3.528e-06 | 0.052799 | 0.0041123 | 0.055559 | 6.2995 |  |  |  |  | 8.3248 | 8.9819 | 8.4315 | 0.024423 | 0.0032699 | 0.02186 | 0.0018027 | 0.00050607 | 7.5156e-07 | 0.013737 | 0.0040443 | 49.5144 | 0.00024538 | 9.5273e-07
33 | 3.5164e-06 | 0.053525 | 0.0041836 | 0.056351 | 6.2995 |  |  |  |  | 8.3207 | 8.9773 | 8.4289 | 0.024739 | 0.003306 | 0.022159 | 0.0018341 | 0.00051361 | 7.6458e-07 | 0.013881 | 0.0040869 | 49.7423 | 0.00024915 | 9.5245e-07
34 | 3.5045e-06 | 0.054273 | 0.0042575 | 0.057166 | 6.2994 |  |  |  |  | 8.3165 | 8.9725 | 8.4264 | 0.025064 | 0.0033433 | 0.022467 | 0.0018666 | 0.00052138 | 7.78e-07 | 0.01403 | 0.004131 | 49.9748 | 0.00025304 | 9.5216e-07
35 | 3.4923e-06 | 0.055042 | 0.004334 | 0.058006 | 6.2994 |  |  |  |  | 8.3123 | 8.9677 | 8.4238 | 0.025398 | 0.0033819 | 0.022784 | 0.0019002 | 0.00052939 | 7.9182e-07 | 0.014182 | 0.0041765 | 50.212 | 0.00025705 | 9.5186e-07
36 | 3.4797e-06 | 0.055835 | 0.0044133 | 0.058871 | 6.2994 |  |  |  |  | 8.308 | 8.9627 | 8.4212 | 0.025742 | 0.0034219 | 0.023111 | 0.0019351 | 0.00053765 | 8.0608e-07 | 0.014338 | 0.0042235 | 50.4543 | 0.00026119 | 9.5156e-07
37 | 3.4667e-06 | 0.056651 | 0.0044957 | 0.059762 | 6.2994 |  |  |  |  | 8.3037 | 8.9577 | 8.4186 | 0.026096 | 0.0034633 | 0.023447 | 0.0019712 | 0.00054617 | 8.2078e-07 | 0.014499 | 0.004272 | 50.7017 | 0.00026545 | 9.5126e-07
38 | 3.4533e-06 | 0.057492 | 0.0045812 | 0.060682 | 6.2994 |  |  |  |  | 8.2993 | 8.9526 | 8.416 | 0.026461 | 0.0035061 | 0.023793 | 0.0020088 | 0.00055497 | 8.3596e-07 | 0.014664 | 0.0043223 | 50.9544 | 0.00026986 | 9.5095e-07
39 | 3.4396e-06 | 0.05836 | 0.00467 | 0.06163 | 6.2994 |  |  |  |  | 8.2949 | 8.9475 | 8.4133 | 0.026838 | 0.0035506 | 0.02415 | 0.0020477 | 0.00056405 | 8.5163e-07 | 0.014834 | 0.0043743 | 51.2128 | 0.0002744 | 9.5064e-07
40 | 3.4254e-06 | 0.059254 | 0.0047624 | 0.062609 | 6.2993 |  |  |  |  | 8.2903 | 8.9422 | 8.4107 | 0.027226 | 0.0035968 | 0.024519 | 0.0020882 | 0.00057344 | 8.6782e-07 | 0.015008 | 0.0044281 | 51.4769 | 0.0002791 | 9.5032e-07
41 | 3.4107e-06 | 0.060178 | 0.0048585 | 0.063621 | 6.2993 |  |  |  |  | 8.2857 | 8.9368 | 8.408 | 0.027626 | 0.0036447 | 0.024899 | 0.0021302 | 0.00058314 | 8.8454e-07 | 0.015187 | 0.0044839 | 51.7471 | 0.00028395 | 9.5e-07
42 | 3.3956e-06 | 0.061132 | 0.0049586 | 0.064666 | 6.2993 |  |  |  |  | 8.2811 | 8.9313 | 8.4053 | 0.02804 | 0.0036945 | 0.025291 | 0.002174 | 0.00059318 | 9.0185e-07 | 0.015372 | 0.0045418 | 52.0235 | 0.00028898 | 9.4967e-07
43 | 3.38e-06 | 0.062117 | 0.0050629 | 0.065746 | 6.2993 |  |  |  |  | 8.2763 | 8.9258 | 8.4026 | 0.028467 | 0.0037463 | 0.025697 | 0.0022196 | 0.00060357 | 9.1975e-07 | 0.015562 | 0.0046018 | 52.3066 | 0.00029418 | 9.4934e-07
44 | 3.3639e-06 | 0.063136 | 0.0051718 | 0.066864 | 6.2993 |  |  |  |  | 8.2715 | 8.9201 | 8.3999 | 0.028908 | 0.0038003 | 0.026116 | 0.0022671 | 0.00061434 | 9.3829e-07 | 0.015757 | 0.0046642 | 52.5964 | 0.00029956 | 9.49e-07
45 | 3.3472e-06 | 0.06419 | 0.0052854 | 0.068021 | 6.2992 |  |  |  |  | 8.2666 | 8.9143 | 8.3972 | 0.029365 | 0.0038565 | 0.02655 | 0.0023167 | 0.00062549 | 9.575e-07 | 0.015959 | 0.004729 | 52.8934 | 0.00030514 | 9.4866e-07
46 | 4.0642e-06 | 0.065281 | 0.0044023 | 0.067849 | 7.3492 |  |  |  |  | 8.2616 | 8.9651 | 8.3833 | 0.029837 | 0.0034553 | 0.026998 | 0.0019695 | 0.00063705 | 9.5389e-07 | 0.016167 | 0.0041977 | 53.0194 | 0.00031092 | 9.4831e-07
47 | 4.0462e-06 | 0.066429 | 0.0045004 | 0.069074 | 7.3492 |  |  |  |  | 8.2566 | 8.9537 | 8.3763 | 0.030335 | 0.0034927 | 0.027471 | 0.0020167 | 0.00064906 | 1.0281e-06 | 0.016393 | 0.004245 | 53.1539 | 0.00031693 | 9.4796e-07
48 | 4.0276e-06 | 0.06762 | 0.004603 | 0.070345 | 7.3492 |  |  |  |  | 8.2515 | 8.9474 | 8.3733 | 0.030851 | 0.003545 | 0.02796 | 0.0020626 | 0.00066152 | 1.0522e-06 | 0.016627 | 0.0043064 | 53.3005 | 0.00032316 | 9.4761e-07
49 | 4.0083e-06 | 0.068856 | 0.0047105 | 0.071664 | 7.3492 |  |  |  |  | 8.2464 | 8.941 | 8.3702 | 0.031387 | 0.0035996 | 0.028468 | 0.0021107 | 0.00067447 | 1.0777e-06 | 0.016868 | 0.0043704 | 53.4592 | 0.00032964 | 9.4725e-07
50 | 3.9883e-06 | 0.070139 | 0.0048231 | 0.073035 | 7.3492 |  |  |  |  | 8.2412 | 8.9344 | 8.367 | 0.031942 | 0.0036568 | 0.028995 | 0.002161 | 0.00068794 | 1.1043e-06 | 0.017118 | 0.0044371 | 53.6299 | 0.00033637 | 9.4688e-07
51 | 3.9669e-06 | 0.071472 | 0.0049418 | 0.074459 | 7.3485 |  |  |  |  | 8.2359 | 8.9277 | 8.3639 | 0.03252 | 0.0037167 | 0.029543 | 0.002214 | 0.00070195 | 1.1323e-06 | 0.017377 | 0.0045071 | 53.813 | 0.00034338 | 9.4651e-07
52 | 3.9453e-06 | 0.072858 | 0.0050659 | 0.075941 | 7.3484 |  |  |  |  | 8.2305 | 8.9208 | 8.3607 | 0.03312 | 0.0037794 | 0.030112 | 0.0022694 | 0.00071655 | 1.1613e-06 | 0.017645 | 0.00458 | 54.0085 | 0.00035068 | 9.4613e-07
53 | 3.9229e-06 | 0.0743 | 0.0051965 | 0.077484 | 7.3484 |  |  |  |  | 8.225 | 8.9138 | 8.3575 | 0.033744 | 0.0038451 | 0.030705 | 0.0023275 | 0.00073177 | 1.1916e-06 | 0.017923 | 0.0046563 | 54.2164 | 0.00035829 | 9.4575e-07
54 | 3.8995e-06 | 0.075803 | 0.005334 | 0.079092 | 7.3484 |  |  |  |  | 8.2194 | 8.9066 | 8.3543 | 0.034394 | 0.0039141 | 0.031321 | 0.0023887 | 0.00074766 | 1.2235e-06 | 0.018211 | 0.0047363 | 54.4372 | 0.00036623 | 9.4536e-07
55 | 3.8751e-06 | 0.077369 | 0.005479 | 0.080769 | 7.3484 |  |  |  |  | 8.2137 | 8.8992 | 8.3511 | 0.035071 | 0.0039866 | 0.031964 | 0.0024531 | 0.00076424 | 1.2568e-06 | 0.018511 | 0.0048202 | 54.6711 | 0.00037453 | 9.4496e-07
56 | 3.8498e-06 | 0.079002 | 0.0056322 | 0.08252 | 7.3484 |  |  |  |  | 8.2079 | 8.8917 | 8.3478 | 0.035778 | 0.0040629 | 0.032635 | 0.002521 | 0.00078159 | 1.2919e-06 | 0.018822 | 0.0049083 | 54.9185 | 0.0003832 | 9.4455e-07
57 | 3.8233e-06 | 0.080709 | 0.0057941 | 0.08435 | 7.3483 |  |  |  |  | 8.202 | 8.8839 | 8.3446 | 0.036515 | 0.0041434 | 0.033335 | 0.0025927 | 0.00079973 | 1.3287e-06 | 0.019146 | 0.0050009 | 55.1797 | 0.00039227 | 9.4414e-07
58 | 3.7957e-06 | 0.082492 | 0.0059656 | 0.086263 | 7.3483 |  |  |  |  | 8.196 | 8.876 | 8.3413 | 0.037286 | 0.0042284 | 0.034067 | 0.0026686 | 0.00081874 | 1.3674e-06 | 0.019482 | 0.0050985 | 55.4552 | 0.00040177 | 9.4372e-07
59 | 3.7668e-06 | 0.084359 | 0.0061477 | 0.088266 | 7.3483 |  |  |  |  | 8.1898 | 8.8678 | 8.338 | 0.038092 | 0.0043183 | 0.034833 | 0.0027489 | 0.00083868 | 1.4083e-06 | 0.019833 | 0.0052014 | 55.7455 | 0.00041174 | 9.4329e-07
60 | 3.7367e-06 | 0.086314 | 0.0063411 | 0.090365 | 7.3483 |  |  |  |  | 8.1836 | 8.8594 | 8.3347 | 0.038937 | 0.0044134 | 0.035635 | 0.0028341 | 0.00085961 | 1.4514e-06 | 0.020199 | 0.0053102 | 56.0514 | 0.0004222 | 9.4285e-07
61 | 3.7051e-06 | 0.088365 | 0.0065471 | 0.092568 | 7.3483 |  |  |  |  | 8.1772 | 8.8508 | 8.3313 | 0.039822 | 0.0045144 | 0.036476 | 0.0029247 | 0.00088161 | 1.4969e-06 | 0.020581 | 0.0054252 | 56.3733 | 0.0004332 | 9.424e-07
62 | 3.672e-06 | 0.090518 | 0.0067669 | 0.094881 | 7.3482 |  |  |  |  | 8.1706 | 8.8419 | 8.328 | 0.040751 | 0.0046217 | 0.037359 | 0.0030212 | 0.00090477 | 1.5452e-06 | 0.020979 | 0.0055472 | 56.7122 | 0.00044478 | 9.4194e-07
63 | 3.6373e-06 | 0.092781 | 0.0070019 | 0.097314 | 7.3482 |  |  |  |  | 8.164 | 8.8327 | 8.3246 | 0.041728 | 0.004736 | 0.038287 | 0.0031242 | 0.00092919 | 1.5964e-06 | 0.021397 | 0.0056767 | 57.0688 | 0.00045698 | 9.4148e-07
64 | 3.6009e-06 | 0.095164 | 0.0072537 | 0.099877 | 7.3482 |  |  |  |  | 8.1571 | 8.8232 | 8.3212 | 0.042755 | 0.004858 | 0.039264 | 0.0032342 | 0.00095495 | 1.6508e-06 | 0.021833 | 0.0058145 | 57.4442 | 0.00046986 | 9.41e-07
65 | 3.5626e-06 | 0.097676 | 0.0075241 | 0.10258 | 7.3482 |  |  |  |  | 8.1501 | 8.8135 | 8.3178 | 0.043838 | 0.0049884 | 0.040294 | 0.0033522 | 0.00098219 | 1.7087e-06 | 0.022291 | 0.0059614 | 57.8393 | 0.00048348 | 9.4051e-07
66 | 3.5223e-06 | 0.10033 | 0.0078153 | 0.10543 | 7.3481 |  |  |  |  | 8.143 | 8.8034 | 8.3144 | 0.044981 | 0.0051283 | 0.04138 | 0.0034789 | 0.001011 | 1.7706e-06 | 0.022771 | 0.0061184 | 58.2555 | 0.00049789 | 9.4001e-07
67 | 3.4798e-06 | 0.10313 | 0.0081297 | 0.10845 | 7.3481 |  |  |  |  | 8.1357 | 8.7929 | 8.311 | 0.046188 | 0.0052785 | 0.042529 | 0.0036154 | 0.0010416 | 1.8368e-06 | 0.023276 | 0.0062866 | 58.6941 | 0.00051318 | 9.395e-07
68 | 3.4349e-06 | 0.1061 | 0.0084702 | 0.11164 | 7.3481 |  |  |  |  | 8.1282 | 8.782 | 8.3076 | 0.047467 | 0.0054405 | 0.043745 | 0.0037628 | 0.0010741 | 1.9079e-06 | 0.023807 | 0.0064672 | 59.1567 | 0.00052942 | 9.3897e-07
69 | 3.3876e-06 | 0.10925 | 0.00884 | 0.11503 | 7.3481 |  |  |  |  | 8.1205 | 8.7708 | 8.3042 | 0.048822 | 0.0056155 | 0.045034 | 0.0039226 | 0.0011087 | 1.9844e-06 | 0.024366 | 0.0066616 | 59.645 | 0.0005467 | 9.3843e-07
70 | 3.3375e-06 | 0.1126 | 0.009243 | 0.11863 | 7.348 |  |  |  |  | 8.1126 | 8.7591 | 8.3008 | 0.050263 | 0.0058053 | 0.046405 | 0.0040961 | 0.0011456 | 2.0669e-06 | 0.024956 | 0.0068716 | 60.161 | 0.00056514 | 9.3788e-07
71 | 3.6518e-06 | 0.11616 | 0.0086079 | 0.12008 | 7.848 |  |  |  |  | 8.1045 | 8.7649 | 8.2845 | 0.051796 | 0.0055039 | 0.047864 | 0.0038647 | 0.001185 | 2.2315e-06 | 0.02558 | 0.0065116 | 60.5925 | 0.00058485 | 9.3731e-07
72 | 3.5954e-06 | 0.12 | 0.0090263 | 0.12411 | 7.848 |  |  |  |  | 8.0964 | 8.7487 | 8.2786 | 0.053449 | 0.0056936 | 0.049435 | 0.0040502 | 0.0012273 | 2.3886e-06 | 0.026261 | 0.0067249 | 61.0532 | 0.00060596 | 9.3675e-07
73 | 3.5352e-06 | 0.12411 | 0.0094869 | 0.12842 | 7.848 |  |  |  |  | 8.0882 | 8.7354 | 8.2749 | 0.055218 | 0.0059103 | 0.051116 | 0.00425 | 0.0012726 | 2.5052e-06 | 0.026984 | 0.006966 | 61.5471 | 0.00062864 | 9.3618e-07
74 | 3.4711e-06 | 0.12852 | 0.0099964 | 0.13304 | 7.848 |  |  |  |  | 8.0798 | 8.7213 | 8.2712 | 0.057114 | 0.0061485 | 0.052918 | 0.0044702 | 0.0013215 | 2.6335e-06 | 0.027754 | 0.0072298 | 62.0771 | 0.00065306 | 9.3559e-07
75 | 3.4018e-06 | 0.13326 | 0.010565 | 0.13801 | 7.8469 |  |  |  |  | 8.0712 | 8.7065 | 8.2675 | 0.059153 | 0.0064123 | 0.054856 | 0.0047149 | 0.0013742 | 2.7756e-06 | 0.028575 | 0.0075209 | 62.6468 | 0.00067943 | 9.3498e-07
76 | 3.3284e-06 | 0.13837 | 0.011198 | 0.14336 | 7.8469 |  |  |  |  | 8.0622 | 8.691 | 8.2638 | 0.06135 | 0.0067044 | 0.056946 | 0.0049865 | 0.0014314 | 2.9324e-06 | 0.029453 | 0.0078416 | 63.2601 | 0.00070799 | 9.3436e-07
77 | 3.2496e-06 | 0.1439 | 0.01191 | 0.14915 | 7.8469 |  |  |  |  | 8.0531 | 8.6747 | 8.2602 | 0.063726 | 0.0070307 | 0.059205 | 0.0052907 | 0.0014935 | 3.1073e-06 | 0.030392 | 0.0081979 | 63.9216 | 0.00073904 | 9.3371e-07
78 | 3.1648e-06 | 0.1499 | 0.012716 | 0.15543 | 7.8469 |  |  |  |  | 8.0436 | 8.6574 | 8.2565 | 0.066303 | 0.0073972 | 0.061655 | 0.0056336 | 0.0015612 | 3.3036e-06 | 0.031401 | 0.0085959 | 64.637 | 0.0007729 | 9.3305e-07
79 | 3.0735e-06 | 0.15643 | 0.013636 | 0.16226 | 7.8468 |  |  |  |  | 8.0337 | 8.639 | 8.2529 | 0.069108 | 0.0078121 | 0.064323 | 0.0060229 | 0.0016354 | 3.5257e-06 | 0.032487 | 0.0090437 | 65.413 | 0.00080998 | 9.3236e-07
80 | 2.9749e-06 | 0.16357 | 0.014694 | 0.16971 | 7.8468 |  |  |  |  | 8.0236 | 8.6194 | 8.2494 | 0.072173 | 0.0082855 | 0.067238 | 0.0064686 | 0.001717 | 3.7789e-06 | 0.033659 | 0.0095511 | 66.2575 | 0.00085077 | 9.3165e-07
81 | 2.8682e-06 | 0.17141 | 0.015923 | 0.17787 | 7.8468 |  |  |  |  | 8.0131 | 8.5984 | 8.2459 | 0.075535 | 0.0088303 | 0.070436 | 0.0069834 | 0.0018072 | 4.0705e-06 | 0.034928 | 0.010131 | 67.1804 | 0.00089585 | 9.3091e-07
82 | 2.7526e-06 | 0.18005 | 0.017364 | 0.18685 | 7.8467 |  |  |  |  | 8.0021 | 8.5758 | 8.2426 | 0.079241 | 0.009464 | 0.073962 | 0.0075844 | 0.0019073 | 4.4099e-06 | 0.036306 | 0.010798 | 68.1939 | 0.00094592 | 9.3015e-07
83 | 2.627e-06 | 0.18962 | 0.019075 | 0.19677 | 7.8467 |  |  |  |  | 7.9908 | 8.5514 | 8.2393 | 0.083346 | 0.010209 | 0.077866 | 0.008294 | 0.0020193 | 4.81e-06 | 0.037806 | 0.011576 | 69.3129 | 0.0010019 | 9.2935e-07
84 | 2.4906e-06 | 0.20028 | 0.021134 | 0.20779 | 7.8467 |  |  |  |  | 7.9789 | 8.5249 | 8.2362 | 0.087917 | 0.011097 | 0.082214 | 0.0091433 | 0.0021452 | 5.2883e-06 | 0.039445 | 0.012491 | 70.5565 | 0.0010648 | 9.2852e-07
85 | 2.3423e-06 | 0.21222 | 0.02365 | 0.22009 | 7.8466 |  |  |  |  | 7.9665 | 8.4959 | 8.2333 | 0.093038 | 0.012172 | 0.087086 | 0.010175 | 0.0022878 | 5.8695e-06 | 0.041242 | 0.013583 | 71.9489 | 0.0011361 | 9.2766e-07
86 | 5.2404e-06 | 0.22569 | 0.012137 | 0.23768 | 12.6966 |  |  |  |  | 7.9535 | 8.7699 | 8.2417 | 0.098814 | 0.0078104 | 0.09258 | 0.0056585 | 0.0024508 | 2.6551e-06 | 0.043218 | 0.0084381 | 72.4808 | 0.0012176 | 9.2675e-07
87 | 4.9941e-06 | 0.24212 | 0.013638 | 0.25517 | 12.6953 |  |  |  |  | 7.9377 | 8.6985 | 8.2157 | 0.10581 | 0.0084029 | 0.099266 | 0.0063792 | 0.0026392 | 3.6309e-06 | 0.045893 | 0.0090576 | 73.0993 | 0.0013117 | 9.2564e-07
88 | 4.7141e-06 | 0.26116 | 0.015543 | 0.27536 | 12.6953 |  |  |  |  | 7.9223 | 8.6669 | 8.212 | 0.11393 | 0.009295 | 0.10701 | 0.0071983 | 0.0028588 | 4.0655e-06 | 0.048963 | 0.0099823 | 73.8494 | 0.0014215 | 9.2456e-07
89 | 4.3927e-06 | 0.28348 | 0.018032 | 0.29892 | 12.6952 |  |  |  |  | 7.9059 | 8.6308 | 8.2084 | 0.12344 | 0.010437 | 0.11608 | 0.0082558 | 0.0031183 | 4.6312e-06 | 0.052507 | 0.011159 | 74.766 | 0.0015512 | 9.2342e-07
90 | 4.0217e-06 | 0.31003 | 0.021409 | 0.32673 | 12.6952 |  |  |  |  | 7.8884 | 8.5889 | 8.2052 | 0.13475 | 0.01195 | 0.12686 | 0.0096697 | 0.0034297 | 5.3873e-06 | 0.056642 | 0.012707 | 75.9009 | 0.0017068 | 9.2219e-07
91 | 3.592e-06 | 0.3421 | 0.026204 | 0.35999 | 12.6951 |  |  |  |  | 7.8694 | 8.5392 | 8.2025 | 0.14839 | 0.014047 | 0.13988 | 0.011649 | 0.0038101 | 6.448e-06 | 0.061523 | 0.014833 | 77.3349 | 0.0018969 | 9.2086e-07
92 | 3.0952e-06 | 0.38159 | 0.033433 | 0.40039 | 12.6951 |  |  |  |  | 7.8489 | 8.4785 | 8.2004 | 0.16518 | 0.017129 | 0.15591 | 0.014587 | 0.0042856 | 8.0326e-06 | 0.06736 | 0.017913 | 79.202 | 0.0021346 | 9.1942e-07
93 | 2.528e-06 | 0.43132 | 0.045202 | 0.45042 | 12.6928 |  |  |  |  | 7.8262 | 8.4026 | 8.1991 | 0.18633 | 0.022019 | 0.1761 | 0.019303 | 0.0048967 | 1.06e-05 | 0.074423 | 0.022682 | 81.7403 | 0.00244 | 9.1783e-07
94 | 1.9115e-06 | 0.49568 | 0.066079 | 0.51399 | 12.6926 |  |  |  |  | 7.8009 | 8.3083 | 8.1994 | 0.21372 | 0.030491 | 0.20224 | 0.027558 | 0.005711 | 1.5128e-05 | 0.083047 | 0.030565 | 85.3878 | 0.0028471 | 9.1607e-07
95 | 1.3095e-06 | 0.58159 | 0.10593 | 0.59781 | 12.6924 |  |  |  |  | 0 | 0 | 0 | 0.25036 | 0 | 0.23717 | 0 | 0.0068502 | 0 | 0.093543 | 0 | 84.4983 | 0 | 0