## Sheet1
Recovery | Jw(m/s) | Cb(M) | Cp(M) | Cm(M) | P(Bar) | first_stage_Avg_flux(LMH) | second_stage_Avg_flux(LMH) | third_stage_Avg_flux(LMH) | fourth_stage_Avg_flux(LMH) | fifth_stage_Avg_flux(LMH) | SEC_1 (kWh/m3) | SEC_2 (kWh/m3) | SEC_3 (kWh/m3) | SEC_4 (kWh/m3) | SEC_5 (kWh/m3) | Total_SEC (kWh/m3) | Density | Salinity | Mass transfer | Pressure drop Corr | CP modulus Corr | CP Factor | Reynolds number | Cross-flow Velocity
0 | 5.4762e-06 | 0.0147 | 6.8561e-05 | 0.015622 | 4.9 | 19.0833 | 19.6679 | 18.8125 | 18.7097 | 17.7948 | 0.3854 | 0.009723 | 0.010715 | 0.011353 | 0.0098647 | 0.42706 | 1.017 | 0.44715 | 8.9647e-05 | 0.0013985 | 1.0554 | 1.0627 | 270.733 | 0.17
1 | 5.4737e-06 | 0.014848 | 6.9316e-05 | 0.015787 | 4.9 | [12 empty] | 0.45166 | 8.8862e-05 | 0.0014021 | 1.0556 | 1.0739 | 268.0244 | 0.1683
2 | 5.4691e-06 | 0.014999 | 7.0114e-05 | 0.015955 | 4.9 | [12 empty] | 0.45627 | 8.8075e-05 | 0.0014056 | 1.0559 | 1.0854 | 265.3158 | 0.1666
3 | 5.4643e-06 | 0.015152 | 7.0931e-05 | 0.016127 | 4.9 | [12 empty] | 0.46098 | 8.7288e-05 | 0.0014093 | 1.0561 | 1.0971 | 262.6072 | 0.1649
4 | 5.4595e-06 | 0.01531 | 7.1766e-05 | 0.016302 | 4.8999 | [12 empty] | 0.46578 | 8.65e-05 | 0.0014129 | 1.0564 | 1.109 | 259.8985 | 0.1632
5 | 5.4545e-06 | 0.01547 | 7.2622e-05 | 0.016482 | 4.8999 | [12 empty] | 0.47068 | 8.5711e-05 | 0.0014166 | 1.0566 | 1.1212 | 257.1899 | 0.1615
6 | 5.4494e-06 | 0.015634 | 7.3497e-05 | 0.016665 | 4.8999 | [12 empty] | 0.47569 | 8.4921e-05 | 0.0014204 | 1.0569 | 1.1337 | 254.4813 | 0.1598
7 | 5.4443e-06 | 0.015801 | 7.4394e-05 | 0.016852 | 4.8999 | [12 empty] | 0.4808 | 8.413e-05 | 0.0014242 | 1.0571 | 1.1464 | 251.7727 | 0.1581
8 | 5.439e-06 | 0.015972 | 7.5313e-05 | 0.017044 | 4.8999 | [12 empty] | 0.48603 | 8.3337e-05 | 0.0014281 | 1.0574 | 1.1595 | 249.064 | 0.1564
9 | 5.4336e-06 | 0.016147 | 7.6255e-05 | 0.01724 | 4.8999 | [12 empty] | 0.49137 | 8.2544e-05 | 0.001432 | 1.0577 | 1.1728 | 246.3554 | 0.1547
10 | 5.428e-06 | 0.016325 | 7.7221e-05 | 0.017441 | 4.8999 | [12 empty] | 0.49683 | 8.1749e-05 | 0.001436 | 1.0579 | 1.1864 | 243.6468 | 0.153
11 | 5.4224e-06 | 0.016508 | 7.8211e-05 | 0.017646 | 4.8998 | [12 empty] | 0.50241 | 8.0954e-05 | 0.00144 | 1.0582 | 1.2004 | 240.9382 | 0.1513
12 | 5.4166e-06 | 0.016695 | 7.9226e-05 | 0.017856 | 4.8998 | [12 empty] | 0.50812 | 8.0157e-05 | 0.0014441 | 1.0585 | 1.2147 | 238.2296 | 0.1496
13 | 5.4107e-06 | 0.016886 | 8.0268e-05 | 0.018071 | 4.8998 | [12 empty] | 0.51396 | 7.9359e-05 | 0.0014482 | 1.0588 | 1.2293 | 235.5209 | 0.1479
14 | 5.4046e-06 | 0.017081 | 8.1338e-05 | 0.018292 | 4.8998 | [12 empty] | 0.51994 | 7.856e-05 | 0.0014524 | 1.059 | 1.2443 | 232.8123 | 0.1462
15 | 5.3984e-06 | 0.017281 | 8.2436e-05 | 0.018517 | 4.8998 | [12 empty] | 0.52606 | 7.776e-05 | 0.0014567 | 1.0593 | 1.2597 | 230.1037 | 0.1445
16 | 5.392e-06 | 0.017486 | 8.3564e-05 | 0.018749 | 4.8998 | [12 empty] | 0.53232 | 7.6959e-05 | 0.001461 | 1.0596 | 1.2754 | 227.3951 | 0.1428
17 | 5.3855e-06 | 0.017695 | 8.4723e-05 | 0.018986 | 4.8997 | [12 empty] | 0.53873 | 7.6156e-05 | 0.0014654 | 1.0599 | 1.2916 | 224.6864 | 0.1411
18 | 5.3788e-06 | 0.01791 | 8.5914e-05 | 0.019229 | 4.8997 | [12 empty] | 0.5453 | 7.5353e-05 | 0.0014699 | 1.0602 | 1.3081 | 221.9778 | 0.1394
19 | 5.3719e-06 | 0.01813 | 8.7139e-05 | 0.019478 | 4.8997 | [12 empty] | 0.55203 | 7.4548e-05 | 0.0014744 | 1.0606 | 1.3251 | 219.2692 | 0.1377
20 | 5.3649e-06 | 0.018356 | 8.8399e-05 | 0.019734 | 4.8997 | [12 empty] | 0.55893 | 7.3741e-05 | 0.001479 | 1.0609 | 1.3425 | 216.5606 | 0.136
21 | 5.3577e-06 | 0.018587 | 8.9695e-05 | 0.019997 | 4.8997 | [12 empty] | 0.56601 | 7.2934e-05 | 0.0014836 | 1.0612 | 1.3603 | 213.852 | 0.1343
22 | 5.3503e-06 | 0.018824 | 9.103e-05 | 0.020267 | 4.8997 | [12 empty] | 0.57327 | 7.2125e-05 | 0.0014884 | 1.0615 | 1.3787 | 211.1433 | 0.1326
23 | 5.3427e-06 | 0.019067 | 9.2404e-05 | 0.020544 | 4.8996 | [12 empty] | 0.58071 | 7.1315e-05 | 0.0014932 | 1.0619 | 1.3975 | 208.4347 | 0.1309
24 | 5.3349e-06 | 0.019317 | 9.3821e-05 | 0.020828 | 4.8996 | [12 empty] | 0.58835 | 7.0504e-05 | 0.0014981 | 1.0622 | 1.4169 | 205.7261 | 0.1292
25 | 5.3269e-06 | 0.019573 | 9.5281e-05 | 0.021121 | 4.8996 | [12 empty] | 0.5962 | 6.9691e-05 | 0.0015031 | 1.0626 | 1.4368 | 203.0175 | 0.1275
26 | 5.3187e-06 | 0.019837 | 9.6786e-05 | 0.021421 | 4.8996 | [12 empty] | 0.60425 | 6.8877e-05 | 0.0015082 | 1.0629 | 1.4572 | 200.3088 | 0.1258
27 | 5.3102e-06 | 0.020107 | 9.834e-05 | 0.021731 | 4.8996 | [12 empty] | 0.61253 | 6.8062e-05 | 0.0015133 | 1.0633 | 1.4783 | 197.6002 | 0.1241
28 | 5.3015e-06 | 0.020385 | 9.9943e-05 | 0.022049 | 4.8996 | [12 empty] | 0.62104 | 6.7245e-05 | 0.0015186 | 1.0636 | 1.4999 | 194.8916 | 0.1224
29 | 5.2925e-06 | 0.020671 | 0.0001016 | 0.022376 | 4.8995 | [12 empty] | 0.62978 | 6.6427e-05 | 0.0015239 | 1.064 | 1.5222 | 192.183 | 0.1207
30 | 5.2833e-06 | 0.020964 | 0.00010331 | 0.022714 | 4.8995 | [12 empty] | 0.63878 | 6.5607e-05 | 0.0015293 | 1.0644 | 1.5452 | 189.4743 | 0.119
31 | 5.2738e-06 | 0.021267 | 0.00010508 | 0.023061 | 4.8995 | [12 empty] | 0.64804 | 6.4786e-05 | 0.0015349 | 1.0648 | 1.5688 | 186.7657 | 0.1173
32 | 5.264e-06 | 0.021578 | 0.00010691 | 0.02342 | 4.8995 | [12 empty] | 0.65757 | 6.3963e-05 | 0.0015405 | 1.0652 | 1.5932 | 184.0571 | 0.1156
33 | 5.2539e-06 | 0.021898 | 0.0001088 | 0.023789 | 4.8995 | [12 empty] | 0.66738 | 6.3139e-05 | 0.0015462 | 1.0656 | 1.6183 | 181.3485 | 0.1139
34 | 5.2435e-06 | 0.022229 | 0.00011076 | 0.02417 | 4.8995 | [12 empty] | 0.6775 | 6.2313e-05 | 0.0015521 | 1.066 | 1.6442 | 178.6398 | 0.1122
35 | 5.2328e-06 | 0.022569 | 0.0001128 | 0.024564 | 4.8994 | [12 empty] | 0.68792 | 6.1486e-05 | 0.001558 | 1.0665 | 1.671 | 175.9312 | 0.1105
36 | 5.2218e-06 | 0.02292 | 0.0001149 | 0.02497 | 4.8994 | [12 empty] | 0.69867 | 6.0657e-05 | 0.0015641 | 1.0669 | 1.6986 | 173.2226 | 0.1088
37 | 5.2103e-06 | 0.023282 | 0.00011709 | 0.02539 | 4.8994 | [12 empty] | 0.70976 | 5.9827e-05 | 0.0015703 | 1.0673 | 1.7272 | 170.514 | 0.1071
38 | 5.1985e-06 | 0.023655 | 0.00011936 | 0.025823 | 4.8994 | [12 empty] | 0.7212 | 5.8994e-05 | 0.0015766 | 1.0678 | 1.7567 | 167.8053 | 0.1054
39 | 5.1863e-06 | 0.024041 | 0.00012172 | 0.026272 | 4.8994 | [12 empty] | 0.73303 | 5.8161e-05 | 0.001583 | 1.0683 | 1.7872 | 165.0967 | 0.1037
40 | 5.1737e-06 | 0.02444 | 0.00012417 | 0.026736 | 4.8994 | [12 empty] | 0.74525 | 5.7325e-05 | 0.0015896 | 1.0687 | 1.8188 | 162.3881 | 0.102
41 | 5.1606e-06 | 0.024852 | 0.00012672 | 0.027217 | 4.8993 | [12 empty] | 0.75788 | 5.6488e-05 | 0.0015963 | 1.0692 | 1.8515 | 159.6794 | 0.1003
42 | 5.1471e-06 | 0.025278 | 0.00012938 | 0.027715 | 4.8993 | [12 empty] | 0.77094 | 5.5649e-05 | 0.0016032 | 1.0697 | 1.8854 | 156.9708 | 0.0986
43 | 5.1331e-06 | 0.025719 | 0.00013215 | 0.028232 | 4.8993 | [12 empty] | 0.78447 | 5.4808e-05 | 0.0016102 | 1.0703 | 1.9205 | 154.2622 | 0.0969
44 | 5.1186e-06 | 0.026176 | 0.00013503 | 0.028767 | 4.8993 | [12 empty] | 0.79848 | 5.3965e-05 | 0.0016174 | 1.0708 | 1.957 | 151.5536 | 0.0952
45 | 5.1035e-06 | 0.02665 | 0.00013805 | 0.029323 | 4.8993 | [12 empty] | 0.81299 | 5.3121e-05 | 0.0016247 | 1.0713 | 1.9948 | 148.8449 | 0.0935
46 | 5.0879e-06 | 0.027141 | 0.0001412 | 0.029901 | 4.8992 | [12 empty] | 0.82805 | 5.2274e-05 | 0.0016322 | 1.0719 | 2.0341 | 146.1363 | 0.0918
47 | 5.0716e-06 | 0.02765 | 0.00014449 | 0.030501 | 4.8992 | [12 empty] | 0.84367 | 5.1426e-05 | 0.0016399 | 1.0725 | 2.0749 | 143.4277 | 0.0901
48 | 5.0547e-06 | 0.028179 | 0.00014794 | 0.031126 | 4.8992 | [12 empty] | 0.8599 | 5.0575e-05 | 0.0016477 | 1.073 | 2.1174 | 140.719 | 0.0884
49 | 5.0372e-06 | 0.028729 | 0.00015155 | 0.031776 | 4.8992 | [12 empty] | 0.87676 | 4.9723e-05 | 0.0016558 | 1.0736 | 2.1616 | 138.0104 | 0.0867
50 | 5.0176e-06 | 0.0293 | 0.00015538 | 0.032452 | 4.8981 | [12 empty] | 0.89429 | 4.8868e-05 | 0.0037441 | 1.0743 | 2.2076 | 135.3018 | 0.085
51 | 5.879e-06 | 0.029895 | 0.00013044 | 0.031897 | 5.5993 | [12 empty] | 0.91254 | 9.0315e-05 | 0.001421 | 1.0552 | 2.1699 | 272.9859 | 0.1715
52 | 5.8602e-06 | 0.030515 | 0.0001337 | 0.03259 | 5.5992 | [12 empty] | 0.93156 | 8.8699e-05 | 0.0014284 | 1.0557 | 2.217 | 267.4093 | 0.168
53 | 5.8407e-06 | 0.031162 | 0.00013712 | 0.033314 | 5.5992 | [12 empty] | 0.95138 | 8.7079e-05 | 0.0014359 | 1.0562 | 2.2663 | 261.8327 | 0.1645
54 | 5.8203e-06 | 0.031836 | 0.00014072 | 0.03407 | 5.5992 | [12 empty] | 0.97206 | 8.5455e-05 | 0.0014437 | 1.0567 | 2.3177 | 256.2561 | 0.161
55 | 5.799e-06 | 0.03254 | 0.00014452 | 0.034861 | 5.5992 | [12 empty] | 0.99366 | 8.3826e-05 | 0.0014517 | 1.0572 | 2.3715 | 250.6795 | 0.1575
56 | 5.7767e-06 | 0.033277 | 0.00014852 | 0.035689 | 5.5992 | [12 empty] | 1.0162 | 8.2193e-05 | 0.0014599 | 1.0578 | 2.4278 | 245.1029 | 0.154
57 | 5.7533e-06 | 0.034047 | 0.00015274 | 0.036556 | 5.5991 | [12 empty] | 1.0399 | 8.0555e-05 | 0.0014684 | 1.0584 | 2.4868 | 239.5263 | 0.1505
58 | 5.7288e-06 | 0.034854 | 0.00015721 | 0.037467 | 5.5991 | [12 empty] | 1.0646 | 7.8912e-05 | 0.0014771 | 1.0589 | 2.5488 | 233.9497 | 0.147
59 | 5.7031e-06 | 0.0357 | 0.00016195 | 0.038423 | 5.5991 | [12 empty] | 1.0906 | 7.7265e-05 | 0.0014861 | 1.0595 | 2.6138 | 228.3731 | 0.1435
60 | 5.6761e-06 | 0.036589 | 0.00016697 | 0.039428 | 5.5991 | [12 empty] | 1.1179 | 7.5612e-05 | 0.0014953 | 1.0602 | 2.6822 | 222.7965 | 0.14
61 | 5.6477e-06 | 0.037523 | 0.00017232 | 0.040487 | 5.5991 | [12 empty] | 1.1465 | 7.3954e-05 | 0.0015049 | 1.0608 | 2.7542 | 217.2199 | 0.1365
62 | 5.6178e-06 | 0.038506 | 0.000178 | 0.041603 | 5.599 | [12 empty] | 1.1767 | 7.2291e-05 | 0.0015147 | 1.0615 | 2.8301 | 211.6432 | 0.133
63 | 5.5863e-06 | 0.039542 | 0.00018408 | 0.042781 | 5.599 | [12 empty] | 1.2085 | 7.0623e-05 | 0.0015249 | 1.0622 | 2.9103 | 206.0666 | 0.1295
64 | 5.553e-06 | 0.040635 | 0.00019057 | 0.044027 | 5.599 | [12 empty] | 1.2421 | 6.8948e-05 | 0.0015354 | 1.0629 | 2.995 | 200.49 | 0.126
65 | 5.5177e-06 | 0.04179 | 0.00019752 | 0.045346 | 5.599 | [12 empty] | 1.2776 | 6.7268e-05 | 0.0015464 | 1.0637 | 3.0848 | 194.9134 | 0.1225
66 | 5.4804e-06 | 0.043014 | 0.000205 | 0.046745 | 5.599 | [12 empty] | 1.3151 | 6.5582e-05 | 0.0015577 | 1.0645 | 3.1799 | 189.3368 | 0.119
67 | 5.4407e-06 | 0.044311 | 0.00021305 | 0.048231 | 5.5989 | [12 empty] | 1.355 | 6.389e-05 | 0.0015694 | 1.0653 | 3.281 | 183.7601 | 0.1155
68 | 5.3986e-06 | 0.045689 | 0.00022175 | 0.049812 | 5.5989 | [12 empty] | 1.3973 | 6.2191e-05 | 0.0015816 | 1.0661 | 3.3886 | 178.1835 | 0.112
69 | 5.3537e-06 | 0.047156 | 0.00023117 | 0.051498 | 5.5989 | [12 empty] | 1.4424 | 6.0486e-05 | 0.0015943 | 1.067 | 3.5033 | 172.6069 | 0.1085
70 | 5.3058e-06 | 0.04872 | 0.0002414 | 0.0533 | 5.5989 | [12 empty] | 1.4905 | 5.8773e-05 | 0.0016075 | 1.068 | 3.6258 | 167.0302 | 0.105
71 | 5.2546e-06 | 0.050392 | 0.00025256 | 0.055229 | 5.5988 | [12 empty] | 1.5419 | 5.7054e-05 | 0.0016213 | 1.0689 | 3.757 | 161.4536 | 0.1015
72 | 5.1997e-06 | 0.052182 | 0.00026478 | 0.057298 | 5.5988 | [12 empty] | 1.597 | 5.5327e-05 | 0.0016357 | 1.07 | 3.8978 | 155.8769 | 0.098
73 | 5.1407e-06 | 0.054105 | 0.00027821 | 0.059524 | 5.5988 | [12 empty] | 1.6561 | 5.3592e-05 | 0.0016508 | 1.0711 | 4.0493 | 150.3003 | 0.0945
74 | 5.0772e-06 | 0.056175 | 0.00029303 | 0.061924 | 5.5987 | [12 empty] | 1.7198 | 5.185e-05 | 0.0016665 | 1.0722 | 4.2125 | 144.7236 | 0.091
75 | 5.0087e-06 | 0.058411 | 0.00030947 | 0.06452 | 5.5987 | [12 empty] | 1.7886 | 5.0098e-05 | 0.0016831 | 1.0734 | 4.3891 | 139.147 | 0.0875
76 | 4.9344e-06 | 0.060832 | 0.0003278 | 0.067334 | 5.5987 | [12 empty] | 1.8631 | 4.8339e-05 | 0.0017005 | 1.0747 | 4.5805 | 133.5703 | 0.084
77 | 4.8538e-06 | 0.063462 | 0.00034837 | 0.070395 | 5.5986 | [12 empty] | 1.9441 | 4.6569e-05 | 0.0017189 | 1.0761 | 4.7888 | 127.9936 | 0.0805
78 | 4.7642e-06 | 0.066331 | 0.00037172 | 0.073733 | 5.5971 | [12 empty] | 2.0325 | 4.4791e-05 | 0.0036495 | 1.0775 | 5.0159 | 122.4169 | 0.077
79 | 6.0798e-06 | 0.069472 | 0.00029354 | 0.074222 | 6.6988 | [12 empty] | 2.1293 | 9.1542e-05 | 0.0014639 | 1.0549 | 5.0491 | 277.0782 | 0.1743
80 | 5.979e-06 | 0.072931 | 0.00031387 | 0.078053 | 6.6988 | [12 empty] | 2.2357 | 8.7711e-05 | 0.0014821 | 1.0561 | 5.3098 | 263.8534 | 0.166
81 | 5.8677e-06 | 0.076753 | 0.00033716 | 0.082291 | 6.6988 | [12 empty] | 2.3534 | 8.3856e-05 | 0.0015014 | 1.0573 | 5.598 | 250.6286 | 0.1577
82 | 5.7442e-06 | 0.080998 | 0.0003641 | 0.087003 | 6.6987 | [12 empty] | 2.4842 | 7.9975e-05 | 0.0015221 | 1.0586 | 5.9185 | 237.4037 | 0.1494
83 | 5.6064e-06 | 0.085741 | 0.00039559 | 0.092269 | 6.6987 | [12 empty] | 2.6303 | 7.6067e-05 | 0.0015443 | 1.0601 | 6.2768 | 224.1788 | 0.1411
84 | 5.4517e-06 | 0.091075 | 0.00043287 | 0.098192 | 6.6987 | [12 empty] | 2.7947 | 7.213e-05 | 0.0015682 | 1.0616 | 6.6797 | 210.9539 | 0.1328
85 | 5.2769e-06 | 0.097118 | 0.00047768 | 0.1049 | 6.6986 | [12 empty] | 2.981 | 6.8163e-05 | 0.001594 | 1.0634 | 7.1358 | 197.7289 | 0.1245
86 | 5.0781e-06 | 0.10402 | 0.00053248 | 0.11254 | 6.6986 | [12 empty] | 3.1939 | 6.4162e-05 | 0.0016222 | 1.0652 | 7.6561 | 184.5038 | 0.1162
87 | 4.85e-06 | 0.11198 | 0.00060095 | 0.12134 | 6.6985 | [12 empty] | 3.4396 | 6.0125e-05 | 0.001653 | 1.0673 | 8.2543 | 171.2786 | 0.1079
88 | 4.586e-06 | 0.12126 | 0.00068881 | 0.13154 | 6.6985 | [12 empty] | 3.7262 | 5.6049e-05 | 0.001687 | 1.0697 | 8.9486 | 158.0533 | 0.0996
89 | 4.2775e-06 | 0.13222 | 0.00080535 | 0.14351 | 6.6984 | [12 empty] | 4.065 | 5.193e-05 | 0.0017248 | 1.0723 | 9.7625 | 144.8279 | 0.0913
90 | 3.911e-06 | 0.14537 | 0.00096734 | 0.15769 | 6.6965 | [12 empty] | 4.4715 | 4.7763e-05 | 0.003851 | 1.0753 | 10.7271 | 131.6022 | 0.083
91 | 6.6858e-06 | 0.16141 | 0.00062537 | 0.17383 | 9.3487 | [12 empty] | 4.9683 | 8.9877e-05 | 0.0014206 | 1.0555 | 11.825 | 270.9821 | 0.171
92 | 6.1233e-06 | 0.18151 | 0.00076846 | 0.19569 | 9.3486 | [12 empty] | 5.5893 | 8.1046e-05 | 0.0014641 | 1.0584 | 13.3125 | 240.7053 | 0.152
93 | 5.4129e-06 | 0.20733 | 0.00099198 | 0.22342 | 9.3486 | [12 empty] | 6.3878 | 7.2075e-05 | 0.0015152 | 1.0618 | 15.1988 | 210.4275 | 0.133
94 | 4.4934e-06 | 0.24172 | 0.0013867 | 0.2595 | 9.3485 | [12 empty] | 7.4525 | 6.2941e-05 | 0.0015767 | 1.0661 | 17.6533 | 180.1482 | 0.114
95 | 3.2704e-06 | 0.28979 | 0.0022559 | 0.30787 | 9.3461 | [12 empty] | 8.9429 | 5.3612e-05 | 0.0040004 | 1.0715 | 20.9436 | 149.8666 | 0.095
96 | 6.3339e-06 | 0.36167 | 0.0014716 | 0.3876 | 13.5985 | [12 empty] | 11.1787 | 9.1098e-05 | 0.0014813 | 1.0555 | 26.3675 | 274.4072 | 0.1744
97 | 3.3742e-06 | 0.48173 | 0.0035881 | 0.50512 | 13.5984 | [12 empty] | 14.9049 | 7.0659e-05 | 0.0015988 | 1.0629 | 34.3619 | 204.8931 | 0.1308
98 | 1.7795e-07 | 0.72081 | 0.086377 | 0.7231 | 13.596 | [12 empty] | 22.3574 | 4.9313e-05 | 0.0040171 | 1.0754 | 49.1904 | 135.3401 | 0.0872